

Elemental Composition Report

Single Mass Analysis

Tolerance = 5.0 PPM / DBE: min = -1.5, max = 50.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

346 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 18-56 H: 0-50 N: 0-10 O: 0-15 S: 1-2

Minimum: -1.5

Maximum: 5.0 5.0 50.0

Mass Calc. Mass mDa PPM DBE i-FIT Formula

332.1319 332.1320 -0.1 -0.3 8.5 249.0 C18 H22 N O3 S