Elemental Composition Report

Single Mass Analysis

Tolerance = 5.0 PPM / DBE: min = -1.5, max = 50.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

335 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 24-24 H: 0-50 N: 0-10 O: 0-15 S: 1-2

Minimum: -1.5

Maximum: 5.0 5.0 50.0

Mass Calc. Mass mDa PPM DBE i-FIT Formula

469.1436 469.1433 0.3 0.6 13.5 0.6 C24 H25 N2 O6 S