

Elemental Composition Report for [2M+H]+

Single Mass Analysis

Tolerance = 5.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

198 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 26-26 H: 0-100 N: 1-20 O: 1-10

Minimum: -1.5

Maximum: 5.0 5.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

443.2917 443.2910 0.7 1.6 8.5 141.7 0.0 C26 H39 N2 O4