 Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 100.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

102 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 14-14 H: 0-200 N: 0-10 O: 0-15

Minimum: -1.5

Maximum: 5.0 10.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT Formula

212.1075 212.1075 0.0 0.0 8.5 2773017.5 C14 H14 N O

REPORT MASSES AS +/-5mDa, referenced against

 Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

ANALYSIS RUN USING: WATERS LCT PREMIER (ESI POSITIVE/ESI NEGATIVE)

150.9035 1.266e-2

150.9621 1.013e0

150.9948 1.266e-2

151.2119 2.532e-2

151.2561 2.532e-2

151.4419 1.013e0

151.4685 1.266e-2

151.5205 1.266e-2

151.5437 1.266e-2

151.5891 1.266e-2

151.6810 1.013e0

151.7363 1.266e-2

151.8366 1.025e0

151.8549 1.266e-2

151.8936 1.025e0

151.9162 3.038e0

152.1462 1.266e-2

152.2475 1.013e0

152.5870 2.025e0

152.6708 1.266e-2

152.7363 1.266e-2

152.7629 1.266e-2

152.8396 1.038e0

152.9543 2.025e0

153.0533 2.532e-2

153.0849 3.798e-2

153.1346 1.051e0

153.2783 1.013e0

153.3639 1.266e-2

153.3839 1.013e0

153.4201 1.266e-2

153.4378 1.025e0

153.6308 1.266e-2

153.8253 1.013e0

153.9321 3.798e-2

153.9885 2.532e-2

154.1571 2.532e-2

154.3201 1.266e-2

154.3925 1.025e0

154.4549 1.013e0

154.4883 1.013e0

154.5875 1.013e0

154.6450 2.532e-2

154.8184 1.013e0

154.8469 2.532e-2

154.9505 2.532e-2

155.0730 1.013e0

155.1756 1.266e-2

155.2683 2.025e0

155.3112 1.266e-2

155.5566 1.013e0

155.6886 1.013e0

155.7121 1.013e0

155.7439 2.025e0

155.7717 1.025e0

155.8566 1.025e0

155.8842 1.266e-2

155.9448 1.013e0

156.1059 2.038e0

156.3197 2.532e-2

156.3362 1.013e0

156.3858 1.266e-2

156.6740 3.798e-2

156.9149 2.025e0

157.1044 1.266e-2

157.1296 2.532e-2

157.2195 2.532e-2

157.4075 1.025e0

157.4638 1.266e-2

157.5198 2.038e0

157.6611 1.025e0

157.7496 2.532e-2

157.8344 1.013e0

157.8904 3.798e-2

157.9463 2.532e-2

158.0176 1.266e-2

158.0413 1.025e0

158.1313 1.266e-2

158.2279 2.025e0

158.4259 1.266e-2

158.4925 1.013e0

158.6664 1.013e0

158.7200 1.013e0

158.9341 1.266e-2

158.9772 2.038e0

159.0400 1.038e0

159.1703 1.025e0

159.1923 1.013e0

159.2859 1.013e0

159.5006 1.013e0

159.5410 1.013e0

159.5816 1.266e-2

159.6651 1.013e0

159.6990 1.266e-2

159.9102 1.266e-2

160.4109 1.266e-2

160.4857 1.266e-2

160.5173 1.025e0

160.6536 1.013e0

160.6802 1.266e-2

160.7176 1.266e-2

160.9281 2.025e0

161.2195 1.266e-2

161.5064 1.266e-2

161.5334 1.266e-2

161.6152 1.266e-2

161.6418 1.025e0

161.8443 1.013e0

161.9293 1.013e0

162.0900 1.025e0

162.1997 1.266e-2

162.2837 1.266e-2

162.3828 1.266e-2

162.4906 2.532e-2

162.5985 2.025e0

162.6293 1.266e-2

162.6481 2.532e-2

162.7748 1.013e0

162.8091 2.532e-2

162.9564 1.025e0

163.0230 1.266e-2

163.0966 2.532e-2

163.1926 1.266e-2

163.4299 1.266e-2

163.6297 2.025e0

163.7567 1.266e-2

163.8489 3.798e-2

163.8889 1.266e-2

164.0879 1.025e0

164.1611 1.266e-2

164.1778 1.266e-2

164.2048 1.013e0

164.2905 1.013e0

164.4289 3.798e-2

164.6377 1.013e0

164.8457 1.266e-2

164.9281 2.532e-2

165.0160 1.013e0

165.1396 1.266e-2

165.1603 2.025e0

165.2143 1.266e-2

165.2929 1.266e-2

165.3994 1.266e-2

165.4163 2.532e-2

165.4465 1.013e0

165.5939 1.266e-2

165.6112 1.266e-2

165.7543 1.266e-2

165.7783 1.266e-2

165.8127 1.025e0

165.8948 1.266e-2

166.0419 1.013e0

166.3659 2.532e-2

166.6074 2.025e0

166.6928 1.266e-2

166.9268 1.025e0

167.0702 1.266e-2

167.1564 1.266e-2

167.1771 2.025e0

167.3672 1.025e0

167.4312 5.063e0

167.4898 1.266e-2

167.5689 1.266e-2

167.6957 2.025e0

167.7785 1.013e0

167.9113 1.025e0

167.9573 3.038e0

168.0779 2.532e-2

168.1263 2.025e0

168.3877 1.266e-2

168.4189 1.266e-2

168.5192 1.013e0

168.6677 1.013e0

168.7717 3.038e0

168.8433 1.013e0

168.8710 1.013e0

168.9748 1.266e-2

168.9921 1.013e0

169.0357 1.038e0

169.5454 1.266e-2

169.6384 1.013e0

169.6865 1.013e0

169.9291 1.013e0

170.2444 1.266e-2

170.2927 1.266e-2

170.4139 1.266e-2

170.4834 3.038e0

170.5251 1.013e0

170.5842 1.266e-2

170.6190 1.266e-2

170.6537 1.025e0

170.6780 1.013e0

170.7163 1.266e-2

170.7963 1.266e-2

171.0253 1.266e-2

171.0703 1.013e0

171.0980 1.013e0

171.1742 1.013e0

171.2054 1.266e-2

171.4213 1.266e-2

171.4839 1.013e0

171.6685 1.013e0

171.7417 1.266e-2

171.8253 1.013e0

172.0380 1.266e-2

172.2996 1.013e0

172.3675 2.025e0

172.4286 1.266e-2

172.4496 1.013e0

172.5472 1.025e0

172.7391 1.266e-2

172.9906 1.266e-2

173.0850 1.266e-2

173.1326 2.051e0

173.2083 1.038e0

173.4453 1.266e-2

173.5973 2.025e0

173.7740 1.013e0

173.8580 1.013e0

173.9035 1.013e0

173.9735 1.013e0

174.4603 1.013e0

174.5307 1.013e0

174.7209 1.266e-2

174.7597 1.013e0

174.7914 1.266e-2

174.8160 1.025e0

174.9561 2.532e-2

175.2404 1.266e-2

175.5790 1.025e0

175.6316 2.025e0

175.6597 1.025e0

175.8266 1.025e0

175.8951 2.532e-2

176.0008 1.013e0

176.1230 3.798e-2

176.1426 2.025e0

176.1990 1.266e-2

176.2288 2.025e0

176.3924 1.266e-2

176.4522 1.025e0

176.5121 1.013e0

176.6080 1.266e-2

176.8268 1.013e0

176.8550 1.013e0

176.9605 1.266e-2

177.1343 5.498e0

177.2016 1.266e-2

177.2422 3.051e0

177.2721 2.532e-2

177.3250 1.013e0

177.4848 1.266e-2

177.5169 1.266e-2

177.5380 1.266e-2

177.5779 3.038e0

177.6050 1.266e-2

177.6685 1.266e-2

177.7495 1.013e0

177.9346 1.266e-2

178.0934 1.266e-2

178.2520 1.025e0

178.3102 1.013e0

178.3562 1.013e0

178.4162 1.025e0

178.6208 2.025e0

178.9883 2.025e0

179.1521 1.266e-2

179.3329 1.266e-2

179.3505 1.266e-2

179.4760 2.038e0

179.5503 2.025e0

179.5963 1.013e0

179.6281 1.013e0

179.8174 1.025e0

179.9438 2.025e0

179.9922 1.025e0

180.0491 1.013e0

180.1395 1.025e0

180.3520 1.013e0

180.4051 1.025e0

180.5061 1.266e-2

180.5805 1.013e0

180.7129 1.013e0

181.0182 2.025e0

181.0978 1.933e1

181.1487 2.532e-2

181.1848 1.266e-2

181.2701 1.013e0

181.4625 1.038e0

181.5257 2.025e0

181.5558 1.266e-2

181.6177 1.266e-2

181.6552 2.025e0

181.6747 1.266e-2

181.7816 1.266e-2

181.8895 1.025e0

182.0077 1.013e0

182.0672 2.532e-2

182.0930 6.642e-1

182.1134 1.025e0

182.1792 1.266e-2

182.3035 2.025e0

182.3267 2.532e-2

182.4458 1.025e0

182.5471 2.532e-2

182.5959 1.025e0

182.7715 1.266e-2

183.1709 1.013e0

183.2142 1.266e-2

183.3691 1.013e0

183.4944 1.025e0

183.8324 1.013e0

183.8727 1.013e0

184.0855 1.013e0

184.1712 2.532e-2

184.9188 1.266e-2

184.9925 2.532e-2

185.0670 1.266e-2

185.1047 1.038e0

185.3347 1.013e0

185.3995 1.025e0

185.4423 1.013e0

185.4978 1.266e-2

185.7034 1.266e-2

185.8089 3.798e-2

185.8911 1.266e-2

186.0436 2.532e-2

186.1148 2.532e-2

186.1996 1.013e0

186.3224 1.013e0

186.3869 2.025e0

186.4317 1.266e-2

186.7218 2.025e0

186.8024 1.013e0

187.3107 1.013e0

187.3599 2.025e0

187.4603 1.266e-2

187.4855 1.013e0

187.5538 1.013e0

187.6923 1.266e-2

187.7798 1.013e0

188.0168 1.013e0

188.0955 2.051e0

188.2247 1.025e0

188.2862 2.532e-2

188.3814 1.013e0

188.5342 1.266e-2

188.6366 1.025e0

188.6582 1.266e-2

188.6833 1.266e-2

188.7245 1.266e-2

188.7859 1.025e0

188.8956 1.266e-2

188.9578 1.013e0

189.0323 2.532e-2

189.0558 1.266e-2

189.1492 1.025e0

189.2247 1.013e0

189.5423 1.013e0

189.5973 1.266e-2

189.6594 1.013e0

189.7433 1.013e0

189.8351 1.013e0

189.9162 1.266e-2

189.9540 2.532e-2

190.0034 1.013e0

190.0621 1.013e0

190.2000 2.038e0

190.2533 1.266e-2

190.2766 2.025e0

190.2965 1.025e0

190.4731 1.013e0

190.5110 2.532e-2

190.5489 1.013e0

190.6337 1.013e0

190.7041 1.013e0

190.9105 1.038e0

191.0307 1.266e-2

191.2726 1.013e0

191.3147 2.532e-2

191.4268 1.013e0

191.4749 2.025e0

191.5563 1.013e0

191.7767 1.266e-2

191.8445 2.025e0

191.8833 1.013e0

192.3731 1.013e0

192.4649 1.266e-2

192.5020 1.013e0

192.7971 1.025e0

192.8501 1.025e0

192.9148 1.013e0

193.2844 1.266e-2

193.3279 2.025e0

193.3876 1.266e-2

193.4616 2.532e-2

193.5575 2.025e0

193.6500 1.013e0

193.7086 1.013e0

193.7351 2.532e-2

193.8065 2.025e0

193.9157 2.025e0

193.9970 1.266e-2

194.0895 2.025e0

194.4344 1.266e-2

194.5979 1.266e-2

194.7015 1.266e-2

194.7640 1.266e-2

194.8722 1.266e-2

194.9086 1.266e-2

195.0577 1.266e-2

195.1939 1.025e0

195.2258 2.025e0

195.4178 1.013e0

195.5027 1.038e0

195.7498 1.025e0

195.9745 1.266e-2

196.2095 1.266e-2

196.2377 3.038e0

196.3423 1.013e0

196.4171 1.013e0

196.5738 1.266e-2

196.6147 1.266e-2

196.6849 1.266e-2

196.7160 1.266e-2

196.9656 1.013e0

197.0378 2.025e0

197.1920 1.266e-2

197.2740 1.266e-2

197.3453 2.532e-2

197.5657 4.051e0

197.6720 2.532e-2

197.7377 2.532e-2

197.7653 2.025e0

197.8236 1.266e-2

197.8506 3.038e0

197.9843 2.532e-2

198.0400 2.532e-2

198.1851 3.798e-2

198.4362 2.532e-2

198.5116 1.025e0

198.5381 1.013e0

198.7476 1.266e-2

198.9314 2.025e0

198.9679 1.013e0

199.0738 2.532e-2

199.2238 1.013e0

199.2425 1.013e0

199.3884 1.025e0

199.4220 1.013e0

199.4406 1.013e0

199.4824 1.266e-2

199.5080 1.266e-2

199.6582 2.532e-2

199.7681 1.013e0

199.8653 1.013e0

200.0011 1.013e0

200.2704 1.013e0

200.3806 1.013e0

200.4364 1.266e-2

200.4668 2.038e0

200.5274 1.013e0

200.5988 1.266e-2

200.7071 2.025e0

200.8843 1.013e0

201.0331 1.025e0

201.1781 1.013e0

201.2230 2.532e-2

201.4269 1.266e-2

201.6604 1.013e0

201.7027 1.266e-2

202.0510 2.025e0

202.1255 1.013e0

202.1774 1.266e-2

202.3711 3.038e0

202.4421 3.038e0

202.4845 1.266e-2

202.5746 1.013e0

202.6575 1.266e-2

202.7406 1.266e-2

202.8010 1.013e0

203.0480 2.532e-2

203.1609 1.266e-2

203.2450 1.266e-2

203.3538 1.266e-2

203.4922 2.025e0

203.7144 1.266e-2

203.9514 1.025e0

204.2664 2.025e0

204.3819 1.266e-2

204.4092 1.266e-2

204.7362 1.013e0

205.2240 2.025e0

205.5495 1.266e-2

206.0382 1.266e-2

206.2049 1.266e-2

206.4160 1.013e0

206.5353 2.532e-2

206.6007 3.038e0

206.6578 1.025e0

206.8125 1.266e-2

206.8351 2.025e0

207.0382 1.266e-2

207.0993 1.013e0

207.1724 1.013e0

207.2056 1.013e0

207.2558 1.013e0

207.3133 1.013e0

207.4743 1.266e-2

207.5081 1.013e0

207.5767 1.013e0

207.7073 2.038e0

207.7457 1.025e0

207.8107 1.266e-2

207.8720 1.013e0

207.9498 4.051e0

208.4311 1.266e-2

208.6691 1.266e-2

208.7733 1.266e-2

208.8495 1.013e0

208.9173 2.025e0

209.0076 1.266e-2

209.2141 1.266e-2

209.2962 1.266e-2

209.6418 1.013e0

209.7150 1.013e0

210.1670 2.025e0

210.2964 2.025e0

210.5425 1.025e0

210.5636 2.532e-2

210.6396 1.266e-2

210.7122 1.025e0

210.7589 1.013e0

210.9665 1.013e0

210.9940 1.013e0

211.0369 3.038e0

211.0709 2.051e0

211.1398 4.051e0

211.1901 1.013e0

211.2329 2.025e0

211.3450 2.025e0

211.3843 1.266e-2

211.4802 1.013e0

211.5046 1.038e0

211.7724 2.025e0

211.9559 1.013e0

212.0448 1.266e-2

212.1075 1.723e2

212.1605 2.434e0

212.2856 1.038e0

212.3197 3.038e0

212.3638 2.025e0

212.4589 1.013e0

212.6254 1.266e-2

212.6662 1.051e0

212.6893 8.689e-1

212.7191 2.532e-2

212.7554 2.532e-2

212.8482 2.532e-2

212.8969 2.038e0

213.0421 2.025e0

213.1158 4.787e1

213.1988 1.266e-2

213.2656 1.266e-2

213.3819 1.013e0

213.4474 1.013e0

213.5413 1.266e-2

213.6180 1.266e-2

213.7969 2.025e0

213.8317 1.266e-2

213.8553 1.266e-2

213.8869 3.798e-2

213.9584 2.532e-2

214.2667 1.013e0

214.4018 2.025e0

214.5051 1.013e0

214.7848 2.532e-2

214.8806 2.025e0

215.0495 1.013e0

215.0809 1.013e0

215.1264 3.038e0

215.2525 1.266e-2

215.3415 2.025e0

215.3727 1.266e-2

215.4159 2.025e0

215.7850 3.038e0

215.8333 1.266e-2

215.8689 1.013e0

215.9462 1.013e0

216.0007 1.013e0

216.2153 1.266e-2

216.3130 2.532e-2

216.3377 1.266e-2

216.3898 2.025e0

216.4902 1.013e0

216.7518 1.013e0

216.7742 1.266e-2

216.9268 1.266e-2

217.0543 3.038e0

217.2793 1.013e0

217.3077 1.266e-2

217.3565 2.532e-2

217.5617 2.025e0

217.6790 1.025e0

217.7187 1.013e0

217.7514 2.532e-2

217.7883 1.266e-2

217.8094 1.266e-2

217.9032 1.013e0

218.2481 1.013e0

218.5463 2.025e0

218.6209 1.266e-2

218.6644 1.266e-2

218.7589 1.266e-2

218.9863 1.013e0

219.1660 1.038e0

219.1897 2.038e0

219.2343 1.013e0

219.3911 2.025e0

219.5350 1.025e0

219.5623 2.025e0

219.6153 1.266e-2

219.7309 1.013e0

219.9295 2.532e-2

219.9749 1.266e-2

220.0920 1.013e0

220.1699 2.532e-2

220.2664 1.266e-2

220.4746 1.013e0

220.5854 1.013e0

220.7295 2.532e-2

220.9296 1.266e-2

221.0632 1.013e0

221.1380 1.266e-2

221.3011 3.038e0

221.3520 1.266e-2

221.7687 2.532e-2

221.9480 1.013e0

222.0317 1.266e-2

222.0693 2.038e0

222.1778 1.013e0

222.2559 2.025e0

222.3927 1.266e-2

222.5940 1.266e-2

222.8695 2.025e0

223.3004 1.013e0

223.3830 1.013e0

223.4956 1.013e0

223.5181 1.266e-2

223.5788 1.266e-2

223.6840 2.025e0

223.7180 1.266e-2

223.7501 2.532e-2

223.8007 1.013e0

223.8399 1.266e-2

223.8799 1.013e0

224.0477 1.025e0

224.0952 1.266e-2

224.1325 1.051e0

224.1791 2.532e-2

224.4830 2.025e0

224.7699 1.025e0

224.8043 1.025e0

225.1303 1.025e0

225.2696 1.266e-2

225.2900 1.013e0

225.4852 1.013e0

225.6572 2.025e0

225.9603 3.038e0

226.0619 2.025e0

226.1367 1.013e0

226.1900 1.025e0

226.2339 2.025e0

226.3715 1.013e0

226.4268 1.013e0

226.4816 2.532e-2

226.7082 1.266e-2

226.8319 1.013e0

226.8878 1.266e-2

227.1518 1.266e-2

227.3776 1.025e0

227.4197 1.013e0

227.4485 1.266e-2

227.5077 1.266e-2

227.7539 3.038e0

227.7746 1.025e0

227.8121 1.266e-2

227.8487 1.025e0

228.0983 5.114e0

228.2412 1.266e-2

228.2987 1.266e-2

228.4466 1.266e-2

228.5470 1.266e-2

228.6115 1.025e0

228.6725 3.051e0

228.7371 3.798e-2

228.8320 1.013e0

228.9088 2.025e0

228.9491 1.025e0

229.0298 1.266e-2

229.2610 2.025e0

229.3909 1.013e0

229.4635 1.013e0

229.5329 1.013e0

229.6766 1.266e-2

229.7738 1.013e0

229.8399 1.025e0

230.1226 2.532e-2

230.2532 1.013e0

230.3049 1.266e-2

230.3453 1.266e-2

230.7014 1.013e0

230.8170 1.025e0

230.9478 1.013e0

230.9834 2.532e-2

231.0169 1.038e0

231.0904 2.025e0

231.4557 1.013e0

231.9413 1.266e-2

232.1437 1.013e0

232.3500 1.266e-2

232.7669 1.013e0

232.9538 1.266e-2

233.0554 1.013e0

233.1894 1.013e0

233.2743 1.013e0

233.5099 1.266e-2

233.9854 1.266e-2

234.0994 1.013e0

234.2327 1.013e0

234.3605 1.025e0

234.5592 1.025e0

235.1688 2.063e0

235.2430 2.025e0

235.4257 2.025e0

235.7118 1.266e-2

235.8708 1.013e0

235.9397 1.013e0

236.0126 1.013e0

236.1281 2.532e-2

236.2993 2.025e0

236.3230 1.013e0

236.4951 1.013e0

236.6747 1.266e-2

236.8257 1.266e-2

236.8590 2.038e0

236.9277 1.013e0

236.9902 1.266e-2

237.1406 8.215e0

237.2789 1.266e-2

237.3293 1.266e-2

237.5414 1.266e-2

237.6446 1.266e-2

237.6778 1.013e0

237.7834 1.025e0

237.8206 2.532e-2

237.9261 1.266e-2

238.0038 1.266e-2

238.0498 2.025e0

238.0911 1.266e-2

238.2842 1.266e-2

238.3366 1.013e0

238.5585 2.532e-2

238.7407 2.038e0

238.8136 1.013e0

238.8952 1.266e-2

239.1519 2.532e-2

239.2436 1.013e0

239.3470 1.266e-2

239.5564 1.013e0

239.7658 1.013e0

239.8069 1.025e0

240.0004 1.013e0

240.0490 2.532e-2

240.0830 3.798e-2

240.2066 1.266e-2

240.4041 1.025e0

240.4290 2.532e-2

240.4867 1.266e-2

240.5107 1.013e0

240.5478 1.013e0

240.6351 1.013e0

240.6676 1.013e0

240.7047 1.013e0

240.7780 3.798e-2

241.0851 1.266e-2

241.2411 1.013e0

241.4266 1.266e-2

241.5674 1.025e0

241.8438 1.025e0

241.9439 2.532e-2

241.9681 3.603e-2

242.0883 2.532e-2

242.3951 2.025e0

242.5435 1.266e-2

242.8818 1.266e-2

243.0152 1.266e-2

243.2159 2.025e0

243.2459 1.266e-2

243.3011 1.013e0

243.3314 2.025e0

243.4698 1.013e0

243.5823 2.532e-2

243.7604 1.025e0

243.9297 1.266e-2

244.0653 2.532e-2

244.1282 1.051e0

244.3705 3.038e0

244.5283 1.266e-2

244.7068 1.025e0

244.7662 1.013e0

244.8405 1.266e-2

244.8604 1.013e0

244.9338 2.025e0

245.1195 1.266e-2

245.3766 1.013e0

245.5849 1.013e0

245.6299 1.013e0

245.9128 1.266e-2

246.3431 1.266e-2

246.4227 1.266e-2

246.5978 1.013e0

246.7316 1.266e-2

246.7980 1.266e-2

246.8692 1.266e-2

246.9146 1.013e0

247.0190 3.038e0

247.0525 1.013e0

247.2912 4.063e0

247.4069 1.013e0

247.5410 1.025e0

247.7385 1.266e-2

247.9986 2.025e0

248.0613 2.025e0

248.3197 1.266e-2

248.4340 3.051e0

248.6536 1.013e0

248.9927 1.266e-2

249.1305 2.532e-2

249.3667 1.025e0

249.4178 1.013e0

249.6232 1.013e0

249.7441 1.266e-2

249.8112 1.266e-2

249.8561 3.038e0

250.0532 2.532e-2

250.2513 2.532e-2

250.2813 1.266e-2

250.3917 1.266e-2

250.6299 1.025e0

250.8493 1.025e0

251.0360 1.266e-2

251.2157 1.266e-2

251.4851 1.266e-2

251.5188 1.266e-2

251.5600 2.532e-2

251.7282 4.051e0

251.8362 1.013e0

251.8777 1.013e0

252.1097 1.266e-2

252.2244 1.025e0

252.2968 2.025e0

252.4257 1.013e0

252.5037 2.025e0

252.6712 1.266e-2

252.7483 3.038e0

252.9448 2.025e0

253.0423 1.266e-2

253.1349 7.738e1

253.4616 2.025e0

253.4954 2.532e-2

253.5348 2.025e0

253.5744 2.051e0

253.6264 2.532e-2

253.6539 1.025e0

253.7159 2.038e0

253.7654 1.025e0

253.8173 1.266e-2

253.9920 2.025e0

254.1388 4.358e1

254.2745 1.266e-2

254.3669 2.025e0

254.5668 1.266e-2

254.6069 2.025e0

254.6301 2.532e-2

254.8338 2.532e-2

254.8544 2.025e0

255.1901 2.025e0

255.3768 1.013e0

255.5665 2.038e0

255.6405 1.266e-2

255.6800 1.025e0

255.7232 2.025e0

255.7582 1.013e0

255.8395 1.266e-2

256.6695 1.266e-2

256.9153 1.266e-2

257.0564 1.266e-2

257.1503 2.980e0

257.2152 2.051e0

257.3352 1.025e0

257.4611 1.013e0

257.5270 1.025e0

257.7029 3.051e0

257.8855 1.025e0

258.0414 1.266e-2

258.3236 1.013e0

258.3463 2.025e0

258.4630 1.013e0

258.5510 3.038e0

258.6052 1.266e-2

258.8014 1.013e0

258.8523 2.532e-2

258.9895 1.013e0

259.0347 2.025e0

259.2658 1.025e0

259.3275 1.013e0

259.3660 1.266e-2

259.5018 1.266e-2

259.5959 1.013e0

259.6626 2.532e-2

259.7354 3.038e0

259.8918 1.025e0

260.0270 1.133e0

260.1551 1.025e0

260.2134 1.266e-2

260.2757 2.532e-2

260.4999 1.025e0

260.6330 1.266e-2

260.7873 1.013e0

260.8221 2.025e0

261.1745 1.013e0

261.3253 1.266e-2

261.3517 2.025e0

261.3933 1.266e-2

261.4612 1.025e0

261.5099 1.013e0

261.6763 1.266e-2

261.7845 1.013e0

261.9818 2.025e0

262.3818 1.013e0

262.5730 1.025e0

262.6535 1.266e-2

262.7400 1.013e0

262.7929 1.025e0

262.9096 1.038e0

262.9406 1.013e0

263.0010 1.013e0

263.1608 5.484e0

263.2350 1.013e0

263.2710 2.025e0

263.3218 1.266e-2

263.3860 1.013e0

263.4139 2.025e0

263.7036 1.266e-2

263.8168 1.013e0

263.9114 1.013e0

263.9802 1.266e-2

264.0204 1.013e0

264.0506 1.266e-2

264.1252 1.038e0

264.2325 2.025e0

264.3779 1.266e-2

264.4254 1.266e-2

264.4839 2.532e-2

264.5727 1.266e-2

264.6099 4.051e0

264.8317 1.266e-2

264.8792 1.013e0

265.0265 1.013e0

265.1952 1.013e0

265.3292 1.013e0

265.3629 3.798e-2

265.4124 2.532e-2

265.6806 1.266e-2

265.7362 1.013e0

265.8742 1.013e0

266.0591 3.798e-2

266.1008 3.798e-2

266.3949 2.025e0

266.5309 2.025e0

266.7090 2.025e0

266.8974 1.266e-2

267.0202 1.051e0

267.1765 3.020e0

267.2979 1.013e0

267.7069 2.038e0

267.7696 1.025e0

267.9253 2.532e-2

267.9700 1.051e0

268.2672 1.266e-2

268.4106 1.025e0

268.4458 1.013e0

268.5020 1.013e0

268.6098 1.266e-2

268.6364 1.266e-2

268.6808 2.025e0

268.9830 1.025e0

269.0178 2.025e0

269.0848 1.266e-2

269.3004 2.025e0

269.3869 1.266e-2

269.4332 1.013e0

269.5345 1.038e0

269.6041 1.013e0

269.6739 1.266e-2

270.1459 1.266e-2

270.3636 1.266e-2

270.4128 1.266e-2

270.5519 1.266e-2

270.8879 1.266e-2

270.9326 1.013e0

270.9695 2.025e0

271.0741 2.532e-2

271.1899 1.051e0

271.3804 2.025e0

271.4251 2.025e0

271.5356 1.013e0

271.6212 2.038e0

271.8686 1.013e0

272.1311 1.266e-2

272.1599 2.532e-2

272.3347 2.025e0

272.5154 1.025e0

272.5837 1.266e-2

272.7761 1.013e0

272.8590 1.013e0

272.9266 2.025e0

273.0352 1.013e0

273.2346 2.025e0

273.2726 1.266e-2

273.3088 2.025e0

273.3847 2.025e0

273.4193 1.025e0

273.6059 1.013e0

273.7202 1.013e0

273.7945 1.013e0

274.0269 1.266e-2

274.2922 1.266e-2

274.3391 1.013e0

274.3849 1.013e0

274.8265 2.532e-2

274.8709 1.025e0

274.9853 2.532e-2

275.0761 4.051e0

275.1145 1.520e1

275.1939 1.013e0

275.5858 1.266e-2

275.6088 1.013e0

275.6432 1.013e0

275.7582 1.013e0

276.0432 3.038e0

276.1340 2.038e0

276.1821 2.532e-2

276.2932 2.025e0

276.3511 1.025e0

276.4880 1.038e0

276.7015 1.038e0

276.7306 1.013e0

276.7768 1.025e0

276.8321 1.013e0

276.9292 1.025e0

276.9865 2.532e-2

277.1994 5.063e0

277.4333 1.266e-2

277.4729 1.266e-2

277.5103 3.038e0

277.5975 1.013e0

277.6675 1.013e0

277.7924 1.013e0

277.8149 1.013e0

277.9644 2.025e0

278.0940 1.013e0

278.1752 2.025e0

278.3008 1.013e0

278.3646 1.038e0

278.5186 1.013e0

278.7147 8.215e0

279.0705 2.025e0

279.1654 1.013e0

279.5909 2.025e0

279.6469 1.266e-2

279.6810 2.025e0

279.8150 2.038e0

279.9072 2.025e0

279.9564 1.038e0

280.2531 1.025e0

280.4155 1.266e-2

280.5270 1.266e-2

280.5886 1.013e0

280.6863 2.025e0

280.7609 1.013e0

280.8337 1.013e0

280.9889 2.532e-2

281.1376 2.038e0

281.2474 1.266e-2

281.5045 3.038e0

281.5794 1.051e0

281.6346 1.013e0

281.6805 1.013e0

282.0051 2.532e-2

282.3243 2.025e0

282.5396 1.025e0

282.6313 1.266e-2

282.8577 1.266e-2

282.8933 1.266e-2

282.9152 1.013e0

283.0339 2.025e0

283.0836 2.532e-2

283.1876 1.266e-2

283.2144 1.266e-2

283.3911 1.013e0

283.5022 1.013e0

283.5849 2.025e0

283.6591 1.013e0

283.8147 1.013e0

283.9592 1.013e0

283.9971 2.025e0

284.6192 3.798e-2

284.7205 1.025e0

284.7818 1.266e-2

285.0240 1.013e0

285.4088 2.025e0

285.5996 1.266e-2

285.6440 1.013e0

285.9354 1.266e-2

286.0187 1.025e0

286.2957 2.532e-2

286.4002 2.532e-2

286.6149 1.013e0

286.6418 1.266e-2

286.6815 1.266e-2

286.9478 2.532e-2

287.0226 2.532e-2

287.0672 2.532e-2

287.4984 2.532e-2

287.5325 2.025e0

287.5772 1.013e0

288.0159 1.013e0

288.0547 1.013e0

288.0974 1.025e0

288.1260 1.025e0

288.2380 1.051e0

288.3033 2.532e-2

288.4843 2.532e-2

288.5581 1.025e0

288.5871 1.266e-2

288.6470 1.013e0

288.6919 2.025e0

288.7367 1.013e0

288.8446 1.266e-2

289.0219 1.266e-2

289.0448 1.266e-2

289.1529 1.013e0

289.2512 2.532e-2

289.3067 1.013e0

289.6452 1.266e-2

289.8375 2.532e-2

289.9705 1.013e0

290.1133 1.025e0

290.1482 2.532e-2

290.2676 2.532e-2

290.3178 1.013e0

290.3561 1.013e0

290.4181 1.013e0

290.6448 1.902e0

290.6805 1.266e-2

290.8218 1.013e0

291.2991 1.025e0

291.4749 1.013e0

291.5877 1.013e0

291.7332 1.013e0

291.8376 1.013e0

291.9238 1.266e-2

292.1403 1.266e-2

292.3450 1.013e0

292.6212 3.063e0

292.7316 1.266e-2

292.8012 1.013e0

292.9062 1.025e0

293.1105 1.266e-2

293.1432 1.025e0

293.2872 1.013e0

293.3231 1.025e0

293.3696 1.013e0

293.4857 2.532e-2

293.5487 2.025e0

293.5860 1.013e0

293.7460 1.266e-2

293.8878 1.266e-2

293.9844 1.025e0

294.0559 1.013e0

294.1199 2.063e0

294.2246 1.013e0

294.2651 2.532e-2

294.3086 1.025e0

294.3384 1.013e0

294.4605 1.266e-2

294.5032 1.013e0

294.6387 1.013e0

294.7141 2.532e-2

294.7664 1.025e0

294.8209 1.013e0

294.8542 1.013e0

295.0647 1.013e0

295.1422 1.013e0

295.2819 1.266e-2

295.3430 1.013e0

295.4208 1.013e0

295.5099 1.266e-2

295.6543 2.532e-2

295.7115 1.266e-2

295.8838 1.038e0

296.1064 1.025e0

296.1725 1.266e-2

296.3004 1.266e-2

296.3896 1.013e0

296.8919 2.025e0

296.9968 1.025e0

297.0567 1.013e0

297.1380 1.266e-2

297.4549 2.532e-2

297.5106 1.013e0

297.5515 1.266e-2

297.5921 1.013e0

297.6633 2.532e-2

297.7150 3.051e0

297.8323 2.025e0

297.8597 2.025e0

298.1160 1.013e0

298.1978 3.798e-2

298.3918 1.266e-2

298.4465 4.063e0

298.5207 2.025e0

298.7350 3.038e0

298.8202 2.025e0

299.0872 2.025e0

299.1514 1.618e1

299.3549 1.013e0

299.4054 1.013e0

299.5648 3.798e-2

299.6832 2.025e0

299.7916 2.532e-2

299.8309 3.132e-1

300.0226 1.266e-2

300.0959 1.266e-2

300.1615 4.076e0

300.3538 1.013e0

300.4608 2.532e-2

300.6019 1.025e0

300.8466 1.013e0

300.8879 2.532e-2

300.9484 1.013e0

301.1084 1.266e-2

301.2368 1.013e0

301.3575 2.025e0

301.4819 1.013e0

301.7310 1.013e0