Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 100.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

91 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 13-13    H: 0-200    N: 0-10    O: 0-15

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	Formula

198.0923   	198.0919       	0.4      	2.0      	8.5      	0.8        	C13  H12  N  O

REPORT MASSES AS +/-5mDa, referenced against

Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

ANALYSIS RUN USING:  WATERS LCT PREMIER (ESI POSITIVE/ESI NEGATIVE)

145.9333	1.013e0

145.9624	3.038e0

145.9880	1.013e0

146.0169	3.038e0

146.0719	1.007e2

146.1081	2.025e0

146.1504	2.025e0

146.1936	1.013e0

146.2141	3.038e0

146.2675	1.013e0

146.2898	1.013e0

146.3252	1.013e0

146.3706	1.013e0

146.4797	1.013e0

146.5147	2.025e0

146.5775	2.025e0

146.6273	1.013e0

146.6534	1.013e0

146.6723	1.013e0

146.6950	1.013e0

146.7497	1.013e0

146.7778	2.025e0

146.8109	1.013e0

146.8272	2.025e0

146.8491	1.013e0

146.8852	1.013e0

146.9527	3.038e0

146.9814	2.025e0

147.0394	1.013e0

147.0719	7.089e0

147.1105	1.013e0

147.1376	2.025e0

147.1619	1.013e0

147.2134	1.013e0

147.2522	1.013e0

147.2648	1.013e0

147.3195	1.013e0

147.3392	1.013e0

147.3714	1.013e0

147.4071	1.013e0

147.5199	2.025e0

147.5551	1.013e0

147.5681	1.013e0

147.6228	1.013e0

147.7006	1.013e0

147.7881	2.025e0

147.8332	1.013e0

147.8493	1.013e0

147.9013	1.013e0

147.9494	1.013e0

147.9766	2.025e0

148.0010	1.013e0

148.0334	1.013e0

148.0591	2.025e0

148.0822	1.013e0

148.1123	2.025e0

148.1721	1.013e0

148.1984	1.013e0

148.2208	2.025e0

148.2983	1.013e0

148.3180	1.013e0

148.4179	1.013e0

148.4926	2.025e0

148.5123	1.013e0

148.6090	1.013e0

148.6653	3.038e0

148.7018	2.025e0

148.8428	1.013e0

148.8699	2.025e0

148.9153	2.025e0

148.9847	1.013e0

149.0211	2.025e0

149.0612	2.025e0

149.0989	1.013e0

149.1376	2.025e0

149.1700	2.025e0

149.1894	1.013e0

149.2224	1.013e0

149.2510	1.013e0

149.2873	1.013e0

149.3616	1.013e0

149.3890	2.025e0

149.4105	1.013e0

149.4328	1.013e0

149.4523	1.013e0

149.5370	1.013e0

149.6102	4.051e0

149.6887	2.025e0

149.7022	1.034e0

149.7303	2.025e0

149.8200	1.013e0

149.8438	2.025e0

149.8670	2.025e0

149.9336	1.013e0

149.9855	2.025e0

150.0119	1.013e0

150.0769	1.013e0

150.1971	2.025e0

150.2982	1.013e0

150.3240	1.013e0

150.3438	1.013e0

150.3957	1.013e0

150.4255	1.013e0

150.4957	2.025e0

150.5720	1.013e0

150.6175	1.013e0

150.6529	1.013e0

150.6761	2.025e0

150.7478	1.013e0

150.7869	1.013e0

150.8080	2.025e0

150.8328	1.013e0

150.8649	1.013e0

150.8831	2.025e0

150.9181	2.025e0

150.9366	1.013e0

150.9765	2.025e0

151.0677	1.013e0

151.0970	2.025e0

151.1522	1.013e0

151.1688	1.013e0

151.2005	2.025e0

151.2274	1.013e0

151.2488	3.038e0

151.2817	2.025e0

151.3391	1.013e0

151.4365	1.013e0

151.4896	1.013e0

151.6003	1.013e0

151.6431	1.013e0

151.6788	1.013e0

151.7151	1.013e0

151.7524	2.025e0

151.8427	2.025e0

151.8948	1.013e0

151.9213	1.013e0

151.9917	2.025e0

152.0587	1.013e0

152.0820	1.013e0

152.1241	1.013e0

152.1542	3.038e0

152.2094	1.013e0

152.2343	2.025e0

152.3536	1.013e0

152.3950	2.025e0

152.4223	1.013e0

152.4877	1.013e0

152.5077	1.013e0

152.5566	2.025e0

152.6058	3.038e0

152.6292	1.013e0

152.6586	1.013e0

152.6918	3.038e0

152.7474	1.013e0

152.8295	1.013e0

152.8884	1.013e0

152.9135	3.038e0

152.9380	1.013e0

152.9772	1.013e0

153.0444	2.025e0

153.0828	2.025e0

153.1350	1.013e0

153.1747	1.013e0

153.2039	1.013e0

153.2272	1.013e0

153.3244	2.025e0

153.3600	2.025e0

153.3850	1.013e0

153.4540	2.025e0

153.5330	1.013e0

153.5731	1.013e0

153.5952	1.013e0

153.6504	2.025e0

153.6680	1.013e0

153.7504	1.013e0

153.7799	1.013e0

153.9580	1.013e0

153.9993	2.025e0

154.0237	1.013e0

154.0789	2.025e0

154.0960	1.013e0

154.1362	2.025e0

154.1885	3.038e0

154.2516	3.038e0

154.4036	1.013e0

154.4263	2.025e0

154.4460	1.013e0

154.4727	1.013e0

154.5015	2.025e0

154.5250	1.013e0

154.5519	1.013e0

154.6713	1.013e0

154.6873	1.013e0

154.7828	1.013e0

154.7995	1.013e0

154.8431	2.025e0

155.0506	1.013e0

155.0841	1.013e0

155.1533	1.013e0

155.1734	1.013e0

155.2102	1.013e0

155.2325	1.013e0

155.2528	1.013e0

155.3092	1.013e0

155.3488	1.013e0

155.3689	1.013e0

155.4751	1.013e0

155.5377	1.013e0

155.5595	2.025e0

155.5873	1.013e0

155.6506	1.013e0

155.7266	1.013e0

155.7621	2.025e0

155.7824	2.025e0

155.8127	1.013e0

155.8721	2.025e0

155.9523	2.025e0

155.9985	1.013e0

156.0404	2.025e0

156.0779	1.013e0

156.0947	1.013e0

156.1425	3.038e0

156.1625	2.025e0

156.1977	1.013e0

156.3007	1.013e0

156.3438	1.013e0

156.4003	1.013e0

156.4306	1.013e0

156.4434	1.013e0

156.5101	1.013e0

156.5594	1.013e0

156.6459	2.025e0

156.7456	2.025e0

156.8094	1.013e0

156.8295	1.013e0

156.8423	1.013e0

156.8671	2.025e0

156.8857	1.013e0

156.9261	1.013e0

156.9687	1.013e0

157.0389	1.013e0

157.0753	2.025e0

157.1650	1.013e0

157.1886	1.013e0

157.2106	3.038e0

157.3290	1.013e0

157.3519	1.013e0

157.3749	1.013e0

157.3918	1.013e0

157.4187	1.013e0

157.4585	1.013e0

157.4985	1.013e0

157.5220	1.013e0

157.5951	1.013e0

157.6458	2.025e0

157.7254	2.025e0

157.7754	1.013e0

157.8120	1.013e0

157.8412	3.038e0

157.8660	1.013e0

157.9154	2.025e0

157.9390	1.013e0

157.9728	1.013e0

158.0104	2.025e0

158.0323	1.013e0

158.0930	2.025e0

158.1324	1.013e0

158.1662	1.013e0

158.1951	2.025e0

158.3427	1.013e0

158.4019	2.025e0

158.4433	1.013e0

158.5838	1.013e0

158.6142	1.013e0

158.6379	2.025e0

158.6873	1.013e0

158.7178	1.013e0

158.8777	3.038e0

158.9018	1.013e0

158.9522	1.013e0

158.9826	1.013e0

159.0389	1.013e0

159.0610	2.025e0

159.1016	2.025e0

159.1799	2.025e0

159.2769	1.013e0

159.3548	1.013e0

159.3842	1.013e0

159.4349	2.025e0

159.4552	1.013e0

159.5114	2.025e0

159.5319	1.013e0

159.5590	1.013e0

159.5759	1.013e0

159.6063	1.013e0

159.6357	1.013e0

159.7769	1.013e0

159.8210	1.013e0

159.8810	1.013e0

159.9283	1.013e0

160.0322	2.025e0

160.0628	2.025e0

160.1167	1.013e0

160.1668	1.013e0

160.2708	1.013e0

160.4329	4.051e0

160.5009	3.038e0

160.5638	1.013e0

160.6482	1.013e0

160.6679	1.013e0

160.7154	1.013e0

160.7719	3.038e0

160.8027	1.013e0

160.8331	1.013e0

160.8603	1.013e0

160.8827	3.038e0

160.9542	1.013e0

161.0212	3.038e0

161.0993	1.013e0

161.1350	4.051e0

161.1639	1.013e0

161.2545	3.038e0

161.3826	2.025e0

161.4184	2.025e0

161.4371	1.013e0

161.4911	1.013e0

161.5346	1.013e0

161.5516	1.013e0

161.5959	1.013e0

161.7071	1.013e0

161.7309	1.013e0

161.7803	2.025e0

161.8318	1.013e0

161.8540	2.025e0

161.9239	1.013e0

161.9503	1.013e0

161.9976	2.025e0

162.0146	2.025e0

162.0555	2.025e0

162.0860	1.013e0

162.1057	2.025e0

162.1464	1.013e0

162.1907	1.013e0

162.2350	2.025e0

162.3088	1.013e0

162.3327	1.013e0

162.4404	2.025e0

162.4782	1.013e0

162.5191	2.025e0

162.6510	1.013e0

162.6714	2.025e0

162.7057	1.013e0

162.7726	1.013e0

162.7932	1.013e0

162.8102	1.013e0

162.8410	4.051e0

162.8886	1.013e0

162.9167	2.025e0

162.9524	1.013e0

163.0310	1.013e0

163.0515	2.025e0

163.0981	1.013e0

163.1271	2.025e0

163.1442	2.025e0

163.3036	2.025e0

163.3498	1.013e0

163.4293	2.025e0

163.4545	1.013e0

163.5161	1.013e0

163.5845	1.013e0

163.6178	1.013e0

163.6380	1.013e0

163.6860	1.013e0

163.7232	4.051e0

163.7646	1.013e0

163.7964	2.025e0

163.8147	1.013e0

163.8524	1.013e0

163.8696	1.013e0

163.9209	1.013e0

163.9684	1.013e0

164.0037	3.038e0

164.0961	3.038e0

164.1183	1.013e0

164.1523	1.013e0

164.2438	1.013e0

164.2900	2.025e0

164.3665	1.013e0

164.4020	3.038e0

164.4276	1.013e0

164.4653	2.025e0

164.5695	5.063e0

164.6294	3.038e0

164.7075	1.013e0

164.7572	2.025e0

164.8023	1.013e0

164.8469	1.013e0

164.9327	1.013e0

164.9567	1.013e0

165.0058	5.087e0

165.0619	2.025e0

165.0893	1.013e0

165.1511	1.013e0

165.1987	1.013e0

165.2155	1.013e0

165.2597	1.013e0

165.3215	1.013e0

165.3696	1.013e0

165.4852	1.013e0

165.5230	1.013e0

165.5539	1.013e0

165.5952	1.013e0

165.6222	3.038e0

165.6667	1.013e0

165.6835	1.013e0

165.7417	1.013e0

165.8242	2.025e0

165.8742	2.025e0

165.9163	1.013e0

165.9674	1.013e0

166.0122	1.013e0

166.0328	2.025e0

166.0809	1.013e0

166.1155	2.025e0

166.1966	1.013e0

166.2707	2.025e0

166.3034	1.013e0

166.3637	2.025e0

166.4401	1.013e0

166.4708	1.013e0

166.5260	2.025e0

166.5432	1.013e0

166.5983	1.013e0

166.6328	1.013e0

166.6500	1.013e0

166.7042	1.013e0

166.8451	1.013e0

166.9037	2.025e0

166.9687	1.013e0

166.9958	1.013e0

167.0284	3.038e0

167.0921	2.025e0

167.1645	2.025e0

167.1886	1.013e0

167.2129	1.013e0

167.2319	2.025e0

167.2607	1.013e0

167.2913	1.013e0

167.3426	1.013e0

167.4151	1.013e0

167.4323	1.013e0

167.4772	1.013e0

167.5048	1.013e0

167.5463	1.013e0

167.5667	1.013e0

167.5905	1.013e0

167.6681	3.038e0

167.8385	1.013e0

167.8768	3.038e0

167.9653	1.013e0

168.0116	2.025e0

168.0964	1.013e0

168.1949	2.025e0

168.2140	2.025e0

168.3270	1.013e0

168.3820	2.025e0

168.4997	1.013e0

168.5273	1.013e0

168.5966	1.013e0

168.6770	3.038e0

168.7099	2.025e0

168.7408	1.013e0

168.7682	1.013e0

168.8687	3.038e0

168.8930	1.013e0

168.9865	1.013e0

169.0333	2.025e0

169.1040	2.025e0

169.1314	1.013e0

169.1619	4.051e0

169.1896	3.038e0

169.2380	1.013e0

169.2623	2.025e0

169.2935	2.025e0

169.3230	2.025e0

169.3905	1.013e0

169.5032	4.051e0

169.5345	2.025e0

169.5743	1.013e0

169.6465	1.013e0

169.6602	1.013e0

169.7015	1.013e0

169.7707	1.013e0

169.7985	1.013e0

169.8332	1.013e0

169.8610	1.013e0

169.9303	1.013e0

169.9836	5.063e0

170.0101	1.013e0

170.0657	2.025e0

170.0831	1.013e0

170.1109	1.013e0

170.1545	3.038e0

170.1871	2.025e0

170.3112	1.013e0

170.3769	1.013e0

170.3977	1.013e0

170.4577	3.038e0

170.5160	1.013e0

170.5333	1.013e0

170.6150	2.025e0

170.6341	1.013e0

170.6828	1.013e0

170.7036	1.013e0

170.7419	1.013e0

170.7592	1.013e0

170.8219	1.013e0

170.8628	3.038e0

170.9019	1.013e0

170.9227	1.013e0

170.9884	2.025e0

171.0992	1.013e0

171.1444	3.038e0

171.1928	2.025e0

171.2274	2.025e0

171.3215	1.013e0

171.3424	1.013e0

171.3703	1.013e0

171.4121	1.013e0

171.4424	3.038e0

171.4852	1.013e0

171.5723	1.013e0

171.7168	2.025e0

171.8126	1.013e0

171.9286	3.038e0

171.9555	1.013e0

171.9939	2.025e0

172.0549	2.025e0

172.0811	1.013e0

172.1160	1.013e0

172.3567	2.025e0

172.3776	1.013e0

172.4055	1.013e0

172.4334	1.013e0

172.4543	1.013e0

172.4996	1.013e0

172.5240	1.013e0

172.5589	2.025e0

172.5833	1.013e0

172.6793	2.025e0

172.6985	1.013e0

172.7753	1.013e0

172.8143	3.038e0

172.8817	2.025e0

172.9068	3.038e0

172.9534	1.013e0

173.0277	3.038e0

173.1177	1.013e0

173.1368	3.038e0

173.1947	1.013e0

173.2297	1.013e0

173.2857	1.013e0

173.3801	2.025e0

173.4151	1.013e0

173.4955	2.025e0

173.7368	1.013e0

173.7727	3.038e0

173.7979	1.667e0

173.8452	1.013e0

173.8691	4.463e0

173.8907	1.613e0

173.9170	2.025e0

173.9538	1.013e0

174.0308	2.025e0

174.0833	1.013e0

174.1324	1.013e0

174.1639	1.013e0

174.1954	1.013e0

174.2339	1.013e0

174.2830	1.013e0

174.3793	2.025e0

174.5285	1.013e0

174.5602	1.013e0

174.5813	1.013e0

174.6236	1.013e0

174.6905	1.013e0

174.7117	1.013e0

174.7540	1.013e0

174.7786	1.013e0

174.8312	1.013e0

174.9995	1.013e0

175.0592	1.013e0

175.1399	2.025e0

175.1610	1.013e0

175.2276	1.013e0

175.3719	2.025e0

175.4019	2.025e0

175.4557	4.051e0

175.4991	1.013e0

175.5203	1.013e0

175.5557	2.025e0

175.5873	1.013e0

175.6259	1.013e0

175.7066	2.025e0

175.7708	3.038e0

175.8543	1.013e0

175.8929	3.038e0

175.9245	2.025e0

175.9660	3.038e0

175.9949	1.013e0

176.0694	4.051e0

176.1209	8.101e0

176.1546	1.013e0

176.2266	2.025e0

176.2952	1.013e0

176.3321	2.025e0

176.3972	1.013e0

176.4710	1.013e0

176.5010	2.025e0

176.6236	1.013e0

176.6873	1.013e0

176.7066	2.025e0

176.7999	1.013e0

176.8175	2.025e0

176.8685	2.025e0

176.8844	1.013e0

176.9126	2.025e0

176.9622	3.908e0

176.9957	2.025e0

177.1079	1.013e0

177.1344	3.038e0

177.1581	3.038e0

177.1782	1.013e0

177.2064	1.013e0

177.2699	1.013e0

177.3016	1.013e0

177.3933	1.013e0

177.4218	1.013e0

177.4861	1.013e0

177.5182	1.013e0

177.5851	1.013e0

177.6098	1.013e0

177.6557	1.013e0

177.6945	1.013e0

177.7614	1.013e0

177.7829	2.025e0

177.9976	2.025e0

178.0241	1.013e0

178.0524	1.013e0

178.0876	1.013e0

178.1630	4.051e0

178.1873	2.025e0

178.2105	2.025e0

178.2339	1.013e0

178.4211	1.013e0

178.4832	2.025e0

178.6151	2.025e0

178.6593	1.013e0

178.7194	1.013e0

178.8243	2.025e0

178.8584	1.013e0

178.9065	2.025e0

178.9329	1.013e0

178.9931	1.013e0

179.0602	1.013e0

179.0922	1.013e0

179.1294	3.038e0

179.1498	1.013e0

179.1892	2.025e0

179.2209	2.025e0

179.2740	2.025e0

179.3183	2.025e0

179.3715	2.025e0

179.3947	1.013e0

179.4199	1.013e0

179.4596	1.013e0

179.4844	1.013e0

179.5445	2.025e0

179.5799	1.013e0

179.6868	1.013e0

179.8506	1.013e0

179.9360	1.013e0

180.0292	1.013e0

180.0753	4.051e0

180.1108	1.013e0

180.3675	1.013e0

180.4605	2.025e0

180.5463	1.013e0

180.5889	1.013e0

180.6816	1.013e0

180.7142	1.013e0

180.7820	1.013e0

180.8104	1.013e0

180.8778	1.013e0

180.9464	1.013e0

181.0995	2.633e1

181.1897	2.025e0

181.2750	1.013e0

181.3247	1.013e0

181.4079	1.013e0

181.4346	2.025e0

181.6547	1.013e0

181.6867	1.013e0

181.7400	1.013e0

181.8731	1.013e0

181.9982	2.025e0

182.0273	1.013e0

182.1014	3.038e0

182.2640	1.013e0

182.3102	1.013e0

182.3369	2.025e0

182.3635	1.013e0

182.4180	1.013e0

182.5360	1.013e0

182.5538	2.025e0

182.6118	1.013e0

182.6764	1.013e0

182.7912	2.025e0

182.8095	1.013e0

182.8419	1.013e0

182.9024	1.013e0

182.9415	1.013e0

182.9769	3.038e0

183.0287	1.013e0

183.0527	3.038e0

183.1077	3.806e0

183.1319	1.013e0

183.1906	1.013e0

183.2103	3.038e0

183.2477	1.013e0

183.2762	1.013e0

183.2976	1.013e0

183.3411	1.013e0

183.3812	2.025e0

183.4097	1.013e0

183.4525	1.013e0

183.4990	1.013e0

183.5257	3.038e0

183.5576	1.013e0

183.5860	1.013e0

183.6110	1.013e0

183.6360	1.013e0

183.6538	1.013e0

183.6827	1.013e0

183.7340	1.013e0

183.7731	1.013e0

183.7981	1.013e0

183.8740	1.013e0

183.9532	1.013e0

183.9782	1.013e0

183.9960	1.013e0

184.0451	2.025e0

184.1315	2.025e0

184.1618	1.013e0

184.2073	2.025e0

184.2670	1.013e0

184.3348	1.013e0

184.3898	1.013e0

184.4481	3.038e0

184.4740	2.025e0

184.4971	1.013e0

184.5595	1.013e0

184.6131	1.013e0

184.6797	2.025e0

184.7327	1.013e0

184.7505	1.013e0

184.7828	1.013e0

184.8113	1.013e0

184.8291	1.013e0

184.9309	1.013e0

184.9595	1.013e0

184.9792	2.025e0

185.0013	2.025e0

185.0683	3.038e0

185.1078	1.013e0

185.1398	1.013e0

185.2025	1.013e0

185.2614	2.025e0

185.3361	1.013e0

185.4001	3.038e0

185.4547	1.013e0

185.5169	1.013e0

185.5348	1.013e0

185.6181	2.025e0

185.6578	3.038e0

185.6868	1.013e0

185.7226	2.025e0

185.7477	1.013e0

185.7959	1.013e0

185.8604	1.013e0

185.9222	1.013e0

185.9408	2.025e0

185.9658	1.013e0

185.9909	1.013e0

186.0597	1.013e0

186.1180	1.469e0

186.1466	3.038e0

186.2190	2.025e0

186.2557	1.013e0

186.3535	1.013e0

186.4008	2.025e0

186.4636	2.025e0

186.4875	1.013e0

186.5279	1.013e0

186.5996	1.013e0

186.6440	1.013e0

186.6694	2.025e0

186.8127	2.025e0

186.8432	1.013e0

186.9776	1.013e0

186.9956	2.025e0

187.0228	2.025e0

187.0468	1.013e0

187.0995	2.025e0

187.1166	3.038e0

187.1850	1.013e0

187.2197	2.025e0

187.2455	1.581e0

187.2717	1.013e0

187.3452	1.013e0

187.4504	1.013e0

187.4707	2.025e0

187.5084	1.013e0

187.5300	2.025e0

187.5851	1.013e0

187.6610	1.013e0

187.7162	1.013e0

187.7471	2.025e0

187.7794	2.025e0

187.8136	1.013e0

187.8323	1.013e0

187.8620	2.025e0

187.9747	1.013e0

188.0145	1.013e0

188.0505	1.013e0

188.0910	1.013e0

188.1313	1.013e0

188.1816	1.013e0

188.2035	1.013e0

188.2732	1.013e0

188.3020	1.013e0

188.3259	2.025e0

188.3537	1.013e0

188.4423	2.025e0

188.4702	1.013e0

188.5032	1.013e0

188.5829	1.013e0

188.6200	1.013e0

188.8161	1.013e0

188.8554	2.025e0

188.9185	1.013e0

188.9922	2.025e0

189.0684	1.013e0

189.1020	1.013e0

189.1235	1.013e0

189.1488	1.013e0

189.2069	4.051e0

189.2441	1.013e0

189.4601	1.013e0

189.5213	1.013e0

189.5475	1.013e0

189.5879	1.013e0

189.8293	2.025e0

189.8671	3.038e0

189.8989	1.013e0

189.9230	2.025e0

189.9446	2.025e0

190.0852	1.013e0

190.1518	1.013e0

190.2005	2.025e0

190.2433	1.013e0

190.2654	2.025e0

190.2834	1.013e0

190.3231	2.025e0

190.3608	1.013e0

190.3790	1.013e0

190.4366	1.013e0

190.4872	2.025e0

190.5395	1.013e0

190.5786	2.025e0

190.6291	3.038e0

190.6641	1.013e0

190.6945	1.013e0

190.7216	2.025e0

190.7560	1.013e0

190.7800	2.025e0

190.8371	1.013e0

190.9928	2.025e0

191.0682	1.013e0

191.1238	2.025e0

191.1675	2.025e0

191.1999	1.013e0

191.2452	1.013e0

191.2849	1.013e0

191.3987	1.013e0

191.4655	1.013e0

191.5017	1.013e0

191.5196	1.013e0

191.5649	1.013e0

191.6841	2.025e0

191.7889	1.013e0

191.9155	2.025e0

191.9619	1.013e0

192.0023	1.013e0

192.0330	2.025e0

192.0593	4.051e0

192.1289	4.051e0

192.1832	1.013e0

192.2410	1.013e0

192.3098	2.025e0

192.3594	2.025e0

192.4256	1.013e0

192.4854	1.013e0

192.5752	2.025e0

192.6356	1.013e0

192.6708	2.025e0

192.7243	1.013e0

192.7610	1.013e0

192.8645	1.013e0

192.8945	1.013e0

192.9108	2.025e0

192.9795	1.013e0

193.1559	1.013e0

193.1765	2.025e0

193.2133	2.025e0

193.2404	1.013e0

193.2664	2.025e0

193.2997	4.051e0

193.3593	1.013e0

193.4181	2.025e0

193.4588	3.038e0

193.4816	2.025e0

193.4996	1.013e0

193.5885	1.013e0

193.6139	1.013e0

193.6399	1.013e0

193.7825	2.025e0

193.8098	2.025e0

193.8515	1.013e0

193.8914	2.025e0

193.9169	1.013e0

193.9438	1.013e0

193.9948	1.013e0

194.0193	2.025e0

194.0457	3.038e0

194.1208	2.025e0

194.1545	1.013e0

194.1943	1.013e0

194.2534	3.038e0

194.3360	1.013e0

194.3871	1.013e0

194.4268	2.025e0

194.4686	1.013e0

194.5248	1.013e0

194.6175	2.025e0

194.6430	1.013e0

194.6766	1.013e0

194.7029	1.013e0

194.7428	1.013e0

194.7732	1.013e0

194.9701	1.013e0

195.0100	1.013e0

195.0284	1.013e0

195.0627	1.013e0

195.2103	1.013e0

195.2718	2.025e0

195.3071	1.013e0

195.3555	1.013e0

195.4078	1.013e0

195.4373	1.013e0

195.4814	1.013e0

195.5519	1.013e0

195.5784	1.013e0

195.6229	1.013e0

195.6466	2.025e0

195.7011	2.025e0

195.8085	1.013e0

195.8536	2.025e0

195.9031	2.025e0

195.9687	2.025e0

196.0151	2.025e0

196.0785	3.038e0

196.1254	2.025e0

196.1635	2.025e0

196.2036	1.013e0

196.3074	1.013e0

196.3329	1.013e0

196.4003	1.013e0

196.4353	2.025e0

196.4969	2.025e0

196.5227	1.013e0

196.5460	1.013e0

196.5971	1.013e0

196.6573	2.025e0

196.6863	1.013e0

196.7762	2.025e0

196.8141	1.013e0

196.9070	1.013e0

196.9709	1.013e0

197.0450	1.013e0

197.1081	2.643e1

197.1459	3.038e0

197.1934	1.013e0

197.3575	1.013e0

197.3863	3.038e0

197.4708	1.013e0

197.5146	1.013e0

197.5530	1.013e0

197.5895	1.013e0

197.6351	1.013e0

197.7688	3.038e0

197.7995	2.025e0

197.8396	2.025e0

197.8604	2.025e0

197.9017	4.051e0

197.9366	2.025e0

197.9968	1.013e0

198.0923	8.326e2

198.1483	3.038e0

198.2140	4.051e0

198.2620	1.125e1

198.2950	6.976e0

198.3562	1.013e0

198.4085	6.076e0

198.4518	4.473e0

198.4711	3.038e0

198.4902	1.013e0

198.5250	1.013e0

198.5568	5.063e0

198.5958	2.273e0

198.6255	1.013e0

198.6861	5.063e0

198.7192	4.573e0

198.7645	2.025e0

198.7920	2.025e0

198.8228	3.038e0

198.8629	4.051e0

198.9862	4.051e0

199.0265	4.051e0

199.0977	1.408e2

199.1977	4.051e0

199.2292	1.013e0

199.2605	2.025e0

199.3556	1.013e0

199.3875	5.063e0

199.4617	1.013e0

199.5288	1.013e0

199.5626	1.013e0

199.6065	3.253e0

199.6653	2.025e0

199.7055	1.013e0

199.7879	1.013e0

199.8419	4.051e0

199.8960	1.013e0

199.9157	1.013e0

199.9456	2.025e0

199.9908	1.013e0

200.0374	3.038e0

200.0955	1.013e1

200.1894	1.013e0

200.2789	3.038e0

200.2979	3.086e0

200.3966	1.013e0

200.4299	1.013e0

200.4497	1.013e0

200.4866	1.013e0

200.5765	1.013e0

200.6479	2.025e0

200.7012	2.025e0

200.7311	1.013e0

200.7802	2.025e0

200.8064	1.013e0

200.9234	2.025e0

200.9492	3.038e0

200.9803	2.025e0

201.0099	3.923e0

201.0665	1.013e0

201.0978	3.038e0

201.1382	1.013e0

201.2512	2.025e0

201.3045	3.038e0

201.3494	1.013e0

201.4211	1.013e0

201.4618	1.013e0

201.5572	1.013e0

201.6011	1.013e0

201.6655	2.025e0

201.7133	2.025e0

201.8161	1.013e0

201.8903	3.038e0

201.9413	2.025e0

201.9753	2.025e0

201.9983	1.013e0

202.0277	1.013e0

202.0811	1.013e0

202.1639	1.013e0

202.1888	2.025e0

202.2761	2.025e0

202.3110	1.013e0

202.4251	1.013e0

202.4566	2.025e0

202.4860	1.013e0

202.6332	2.025e0

202.7461	1.013e0

202.8068	5.063e0

202.8743	1.013e0

202.8981	1.013e0

202.9813	1.013e0

203.0605	2.025e0

203.0922	4.051e0

203.1543	1.013e0

203.2005	2.025e0

203.2383	3.038e0

203.2816	2.025e0

203.4510	1.013e0

203.4807	1.013e0

203.6318	1.013e0

203.6573	2.025e0

203.7327	2.480e0

203.7646	1.013e0

203.8017	2.025e0

203.8543	2.025e0

203.8939	1.013e0

203.9127	1.013e0

204.0230	1.013e0

204.0802	2.025e0

204.1362	3.038e0

204.2666	1.013e0

204.3460	1.013e0

204.3645	1.013e0

204.4518	2.025e0

204.5123	1.013e0

204.5364	1.013e0

204.5848	1.013e0

204.6194	3.038e0

204.6914	1.013e0

204.7635	1.013e0

204.8207	1.013e0

204.8548	2.025e0

204.8854	1.013e0

204.9155	1.013e0

204.9464	1.013e0

204.9666	2.025e0

205.0296	1.013e0

205.0648	1.013e0

205.0943	1.013e0

205.1516	2.025e0

205.2126	2.025e0

205.2663	1.013e0

205.2847	1.013e0

205.4013	2.025e0

205.4347	4.051e0

205.6084	1.013e0

205.6471	1.013e0

205.6956	4.051e0

205.7342	1.013e0

205.7767	1.013e0

205.8196	2.025e0

205.8546	2.025e0

206.0507	2.025e0

206.0956	2.025e0

206.1415	2.025e0

206.1693	1.013e0

206.2186	1.013e0

206.2600	1.013e0

206.3082	2.025e0

206.4663	1.013e0

206.5564	2.025e0

206.5841	1.013e0

206.8484	1.013e0

206.9415	4.051e0

206.9689	3.038e0

207.0764	3.038e0

207.1163	1.013e0

207.1812	1.013e0

207.2034	1.013e0

207.2610	2.025e0

207.3296	1.013e0

207.4298	1.013e0

207.5450	1.013e0

207.5634	1.013e0

207.6136	1.013e0

207.6358	1.013e0

207.7207	1.013e0

207.8029	3.038e0

207.8940	3.038e0

207.9255	2.025e0

207.9699	1.013e0

207.9973	3.038e0

208.0352	7.089e0

208.0576	2.595e0

208.1224	1.013e0

208.1874	1.013e0

208.2264	1.013e0

208.2989	1.013e0

208.3339	1.013e0

208.4253	1.013e0

208.4755	3.038e0

208.5100	1.013e0

208.5368	2.025e0

208.6669	1.013e0

208.6862	1.013e0

208.7134	1.013e0

208.8976	1.013e0

208.9544	5.722e0

209.0805	3.038e0

209.1244	3.038e0

209.2045	1.013e0

209.2585	1.013e0

209.3014	1.013e0

209.3273	1.013e0

209.3721	2.025e0

209.4391	1.013e0

209.4623	1.013e0

209.5005	1.013e0

209.5693	2.025e0

209.6588	3.038e0

209.7407	2.025e0

209.8009	2.025e0

209.8669	3.038e0

209.9237	4.460e0

209.9513	3.038e0

209.9772	1.013e0

210.0239	1.013e0

210.0429	1.013e0

210.1047	1.013e0

210.1357	1.013e0

210.2047	1.013e0

210.2634	3.038e0

210.3276	1.013e0

210.3481	1.013e0

210.4048	4.051e0

210.5133	4.051e0

210.6290	1.013e0

210.6671	1.013e0

210.7794	3.038e0

210.8369	1.013e0

210.9304	2.025e0

211.0816	3.038e0

211.1378	1.013e0

211.1617	2.025e0

211.2099	2.025e0

211.4320	1.013e0

211.4660	1.013e0

211.6248	2.025e0

211.7107	3.038e0

211.9464	1.013e0

211.9965	1.013e0

212.0715	2.025e0

212.1193	4.051e0

212.1678	3.038e0

212.2210	1.013e0

212.2667	1.013e0

212.3249	2.025e0

212.4081	2.025e0

212.4957	1.013e0

212.5222	1.013e0

212.5886	2.025e0

212.6159	1.013e0

212.6813	1.013e0

212.7280	3.038e0

212.7541	2.025e0

212.7824	1.013e0

212.8207	3.038e0

212.8948	2.025e0

212.9416	1.013e0

213.0145	1.013e0

213.0762	1.013e0

213.1039	2.025e0

213.1461	1.013e0

213.2505	1.013e0

213.3008	1.013e0

213.3403	2.025e0

213.3947	1.013e0

213.5071	1.013e0

213.5263	1.013e0

213.5652	1.013e0

213.5848	1.013e0

213.6291	2.025e0

213.7319	1.013e0

213.8040	2.025e0

213.8295	1.013e0

213.9120	4.051e0

213.9493	1.013e0

213.9926	2.025e0

214.0580	1.013e0

214.0995	2.025e0

214.1371	1.013e0

214.2496	1.013e0

214.2885	1.013e0

214.3667	3.038e0

214.4411	3.038e0

214.5723	1.013e0

214.6379	3.038e0

214.6701	2.025e0

214.8020	2.025e0

214.8408	1.013e0

214.9385	1.013e0

214.9892	1.013e0

215.0763	2.025e0

215.1008	5.728e0

215.1877	1.013e0

215.2541	2.025e0

215.2971	1.013e0

215.3856	1.013e0

215.4138	1.013e0

215.4445	1.013e0

215.5209	2.025e0

215.5579	2.025e0

215.6714	1.013e0

215.7486	2.025e0

215.7841	1.013e0

215.8210	2.025e0

215.8969	2.025e0

215.9761	3.038e0

216.0437	2.025e0

216.1001	1.013e0

216.1218	2.025e0

216.1734	3.038e0

216.2563	1.013e0

216.3733	1.013e0

216.4198	1.013e0

216.4521	1.013e0

216.4748	1.013e0

216.5048	2.025e0

216.5256	1.013e0

216.5868	2.025e0

216.6480	1.013e0

216.7571	1.013e0

216.8267	1.013e0

216.9195	4.051e0

216.9756	1.013e0

217.0848	3.038e0

217.2031	2.025e0

217.2659	2.025e0

217.2969	2.025e0

217.3769	3.038e0

217.4732	1.013e0

217.5601	2.025e0

217.5925	2.025e0

217.6184	1.013e0

217.6731	1.013e0

217.7006	1.013e0

217.8843	1.013e0

217.9259	2.025e0

217.9749	1.013e0

217.9984	1.013e0

218.0843	1.013e0

218.2110	1.013e0

218.2334	1.013e0

218.4335	1.013e0

218.5008	2.025e0

218.5281	1.013e0

218.6995	3.038e0

218.7530	1.013e0

218.8000	1.013e0

218.8481	2.025e0

218.8738	1.013e0

218.9339	2.025e0

218.9683	2.025e0

219.0338	3.038e0

219.1138	1.013e0

219.1723	1.013e0

219.2279	2.025e0

219.2556	1.013e0

219.2953	2.025e0

219.3502	1.013e0

219.4125	1.013e0

219.4523	1.013e0

219.4841	1.013e0

219.5071	1.013e0

219.5864	2.025e0

219.6378	1.013e0

219.6565	1.013e0

219.6851	1.013e0

219.7283	1.013e0

219.8495	1.013e0

219.8893	1.013e0

219.9954	2.025e0

220.0275	1.013e0

220.0689	2.025e0

220.0973	1.013e0

220.1373	1.013e0

220.2206	1.013e0

220.3898	2.025e0

220.4101	1.013e0

220.5710	1.013e0

220.5996	1.013e0

220.6897	2.025e0

220.8656	2.025e0

220.9462	1.013e0

221.0818	6.076e0

221.1079	1.013e0

221.2700	3.038e0

221.3217	1.013e0

221.3729	3.038e0

221.4356	1.013e0

221.4696	2.025e0

221.5964	3.038e0

221.6402	2.511e0

221.6687	1.013e0

221.7669	2.025e0

221.8322	1.013e0

221.8547	1.013e0

221.9109	2.025e0

221.9496	1.013e0

222.0019	2.025e0

222.0514	3.038e0

222.1183	3.038e0

222.1961	1.013e0

222.2213	2.025e0

222.3031	1.013e0

222.3347	1.013e0

222.4380	2.025e0

222.5080	1.013e0

222.5405	1.013e0

222.6119	1.013e0

222.6509	1.013e0

222.6831	1.013e0

222.7287	2.025e0

222.7594	1.013e0

222.8275	2.025e0

222.9018	1.013e0

222.9206	1.013e0

223.0805	1.013e0

223.1109	1.013e0

223.1319	1.013e0

223.1945	1.013e0

223.2604	3.038e0

223.3108	1.013e0

223.3499	1.013e0

223.3934	1.013e0

223.4210	1.013e0

223.4890	1.013e0

223.5961	1.013e0

223.6436	1.013e0

223.7938	1.013e0

223.8994	3.038e0

223.9897	1.013e0

224.0130	2.025e0

224.0506	4.051e0

224.1292	2.025e0

224.1728	1.013e0

224.2077	1.013e0

224.3429	1.013e0

224.3787	1.013e0

224.4263	1.013e0

224.4550	1.013e0

224.5009	2.025e0

224.5300	2.025e0

224.6093	1.013e0

224.6617	1.013e0

224.7010	1.013e0

224.7408	1.013e0

224.8379	2.025e0

224.8687	1.013e0

224.9069	2.025e0

224.9677	1.013e0

225.0265	2.025e0

225.0606	3.038e0

225.0899	2.025e0

225.2140	2.025e0

225.2587	3.038e0

225.3067	3.038e0

225.3590	1.013e0

225.4211	2.025e0

225.4869	1.013e0

225.5063	1.013e0

225.5969	2.025e0

225.6536	2.025e0

225.7542	1.013e0

225.7981	1.013e0

225.8704	1.013e0

225.9187	1.013e0

226.1295	1.013e0

226.2488	1.013e0

226.3537	1.013e0

226.4246	1.013e0

226.4497	1.013e0

226.5171	2.025e0

226.5693	1.013e0

226.5930	1.013e0

226.6618	1.013e0

226.8920	3.038e0

226.9836	5.063e0

227.0309	2.025e0

227.1094	1.013e0

227.1612	2.025e0

227.2144	2.025e0

227.2415	1.013e0

227.2893	1.013e0

227.3584	1.013e0

227.3848	1.013e0

227.4409	2.025e0

227.5018	1.013e0

227.5262	1.013e0

227.5860	1.013e0

227.7085	2.025e0

227.8006	2.025e0

227.8427	1.013e0

227.8981	1.013e0

227.9673	1.013e0

227.9951	3.038e0

228.0592	1.013e0

228.0789	1.013e0

228.1952	1.013e0

228.2373	2.025e0

228.2813	2.025e0

228.3601	1.013e0

228.4003	1.013e0

228.5364	1.013e0

228.5814	2.025e0

228.7782	1.013e0

228.8186	1.013e0

228.9185	2.025e0

229.0429	1.013e0

229.0870	1.013e0

229.1122	2.025e0

229.1752	1.013e0

229.2596	1.013e0

229.3404	1.013e0

229.3693	1.013e0

229.3881	1.013e0

229.5305	1.013e0

229.6190	1.013e0

229.6508	1.013e0

229.6763	2.025e0

229.7476	2.025e0

229.9243	1.013e0

229.9647	1.013e0

230.0181	2.025e0

230.0608	1.013e0

230.1149	9.114e0

230.1628	1.013e0

230.1848	2.025e0

230.2069	1.013e0

230.2711	2.025e0

230.3296	2.025e0

230.5161	1.013e0

230.5377	1.013e0

230.6799	2.025e0

230.7473	1.013e0

230.7664	1.013e0

230.8386	3.038e0

230.8685	1.013e0

231.0100	2.025e0

231.0579	4.051e0

231.1225	1.013e0

231.2363	1.013e0

231.3614	2.025e0

231.3933	1.013e0

231.4292	1.013e0

231.4650	1.013e0

231.6154	1.013e0

231.6804	1.013e0

231.7077	1.013e0

231.7444	1.013e0

231.8139	1.013e0

231.8734	2.025e0

232.0183	2.025e0

232.0441	1.013e0

232.0800	1.013e0

232.1295	1.013e0

232.2014	1.013e0

232.3186	1.013e0

232.3922	1.013e0

232.4364	1.013e0

232.4893	1.013e0

232.6100	3.038e0

232.6370	2.025e0

232.6920	1.013e0

232.7452	5.780e0

232.7731	2.321e0

232.8339	1.013e0

232.9226	1.013e0

232.9499	2.025e0

233.0066	2.025e0

233.1468	1.013e0

233.1834	1.013e0

233.2195	1.013e0

233.2602	1.013e0

233.2873	1.013e0

233.3647	1.013e0

233.3863	1.013e0

233.4438	2.025e0

233.5312	1.013e0

233.5599	1.013e0

233.6004	1.013e0

233.6589	4.051e0

233.6984	1.013e0

233.7183	1.013e0

233.7948	3.038e0

233.8846	2.025e0

233.9060	2.025e0

233.9617	1.013e0

234.0023	1.013e0

234.1088	1.013e0

234.1283	1.013e0

234.2014	1.013e0

234.2344	2.025e0

234.3411	2.025e0

234.4138	1.013e0

234.5186	1.013e0

234.6133	1.013e0

234.7877	3.038e0

234.9220	1.013e0

234.9426	1.013e0

234.9908	1.013e0

235.0276	1.013e0

235.0856	1.013e0

235.1174	1.013e0

235.1739	8.101e0

235.2311	1.013e0

235.2766	2.025e0

235.3646	2.025e0

235.5177	1.013e0

235.5396	2.025e0

235.7414	2.025e0

235.7807	2.025e0

235.8229	2.025e0

235.8763	2.025e0

235.9095	1.013e0

235.9369	1.013e0

235.9862	2.025e0

236.0276	1.013e0

236.0534	2.025e0

236.0908	2.025e0

236.1127	1.013e0

236.1553	2.025e0

236.1824	2.025e0

236.2386	2.025e0

236.3292	1.013e0

236.3618	2.025e0

236.4800	1.013e0

236.5337	1.013e0

236.5706	1.013e0

236.6339	2.025e0

236.7176	1.013e0

236.7780	1.013e0

236.9143	1.013e0

236.9487	3.038e0

236.9875	1.013e0

237.0308	3.038e0

237.1020	1.013e0

237.1449	2.025e0

237.1816	2.025e0

237.2119	1.013e0

237.2416	2.025e0

237.2822	3.038e0

237.3432	2.025e0

237.3801	1.025e0

237.4365	1.013e0

237.4986	2.025e0

237.5511	1.013e0

237.6383	1.013e0

237.6871	1.013e0

237.7987	3.038e0

237.8540	1.013e0

237.9278	2.025e0

238.0056	1.013e0

238.0561	1.013e0

238.1050	1.013e0

238.1342	2.025e0

238.2011	2.025e0

238.2644	1.013e0

238.3220	2.025e0

238.3633	2.025e0

238.4385	2.025e0

238.4608	1.013e0

238.6633	1.013e0

238.7002	1.013e0

238.7415	1.013e0

238.7804	3.038e0

238.8638	1.013e0

238.8970	1.013e0

238.9340	1.013e0

239.1202	1.194e2

239.1975	3.038e0

239.2626	1.013e0

239.2824	1.013e0

239.3299	2.025e0

239.4258	3.038e0

239.5055	3.038e0

239.5748	2.025e0

239.6381	4.051e0

239.6897	1.013e0

239.7493	3.389e0

239.8046	1.013e0

239.8587	1.013e0

239.9119	3.038e0

240.0594	3.059e0

240.1203	2.633e1

240.1862	2.025e0

240.2310	2.025e0

240.2901	2.025e0

240.4602	1.013e0

240.5049	1.013e0

240.5728	3.038e0

240.6161	2.025e0

240.6456	1.013e0

240.7001	2.025e0

240.7368	4.051e0

240.8271	1.013e0

240.8549	1.013e0

240.9750	3.598e0

241.0086	4.051e0

241.0407	1.013e0

241.1364	1.418e1

241.1887	4.576e0

241.2875	1.013e0

241.3617	1.013e0

241.4208	2.025e0

241.4541	2.025e0

241.5026	1.013e0

241.5283	1.013e0

241.5730	1.013e0

241.5987	1.013e0

241.6177	1.013e0

241.6491	2.025e0

241.7176	2.025e0

241.7489	3.038e0

241.8036	1.013e0

241.8475	3.038e0

241.9738	2.025e0

241.9978	1.272e0

242.0263	3.038e0

242.0803	3.119e0

242.1223	2.025e0

242.1480	1.013e0

242.2092	1.013e0

242.2465	1.013e0

242.2885	2.025e0

242.4785	1.013e0

242.5079	1.013e0

242.5359	1.013e0

242.5567	1.013e0

242.6253	2.025e0

242.6519	2.025e0

242.6807	1.013e0

242.8482	2.025e0

242.9312	2.025e0

243.0208	2.025e0

243.0841	3.038e0

243.1318	3.038e0

243.2233	1.013e0

243.2561	1.013e0

243.3069	3.038e0

243.3732	1.013e0

243.4517	1.013e0

243.4966	1.013e0

243.5659	3.038e0

243.6377	1.013e0

243.6672	1.013e0

243.7789	1.013e0

244.0486	1.013e0

244.1654	1.013e0

244.2224	1.013e0

244.2436	1.013e0

244.2809	2.025e0

244.3329	2.025e0

244.4057	1.013e0

244.4555	1.013e0

244.5007	2.025e0

244.6174	1.013e0

244.7421	1.013e0

244.8083	2.025e0

244.8603	2.025e0

244.8951	1.013e0

244.9771	2.025e0

245.0209	1.013e0

245.1251	1.013e0

245.2413	2.025e0

245.3156	2.025e0

245.3668	3.038e0

245.4079	1.110e0

245.4657	2.025e0

245.5089	2.025e0

245.6651	1.013e0

245.7321	1.013e0

245.7655	1.013e0

245.8152	1.013e0

245.8908	2.025e0

245.9664	1.013e0

246.0083	3.038e0

246.0947	5.063e0

246.1373	3.038e0

246.1745	1.013e0

246.2086	2.025e0

246.4444	1.013e0

246.5068	1.013e0

246.5482	3.038e0

246.5739	1.013e0

246.7490	1.013e0

246.8046	1.013e0

246.8288	2.025e0

246.8766	3.038e0

247.0025	2.025e0

247.0703	1.013e0

247.0993	1.013e0

247.2168	2.025e0

247.2631	2.025e0

247.3044	1.013e0

247.3637	1.013e0

247.4115	2.025e0

247.4539	3.038e0

247.4796	1.013e0

247.5332	3.038e0

247.5763	1.013e0

247.6595	2.025e0

247.7440	1.013e0

247.8070	2.025e0

247.8634	2.025e0

247.9491	1.013e0

248.0163	1.013e0

248.0515	2.025e0

248.1070	1.013e0

248.1284	1.013e0

248.2302	3.038e0

248.4281	2.025e0

248.5128	1.013e0

248.5426	1.013e0

248.6357	1.013e0

248.6693	1.013e0

248.7223	1.013e0

248.8525	1.013e0

248.8942	1.013e0

248.9707	1.013e0

249.0165	1.013e0

249.0718	3.038e0

249.1211	1.013e0

249.1883	1.013e0

249.2258	1.013e0

249.2852	1.013e0

249.3102	1.013e0

249.3587	4.051e0

249.4210	2.025e0

249.4862	3.038e0

249.5391	2.351e0

249.6122	2.025e0

249.7000	1.013e0

249.7411	1.013e0

249.7969	1.013e0

249.8542	3.038e0

249.9640	2.025e0

250.0265	2.025e0

250.0923	3.038e0

250.2207	1.013e0

250.4656	1.013e0

250.4896	1.013e0

250.5703	2.025e0

250.6734	2.025e0

250.7127	1.013e0

250.7502	1.013e0

250.8574	4.051e0

250.9667	2.025e0

250.9971	3.038e0

251.0262	2.025e0

251.0911	3.038e0

251.1667	5.690e0

251.2474	1.013e0

251.3316	1.013e0

251.3839	2.025e0

251.4209	2.025e0

251.4714	1.013e0

251.6372	2.025e0

251.6813	1.013e0

251.7270	1.013e0

251.7747	1.013e0

251.8867	3.038e0

251.9346	1.013e0

252.0940	1.013e0

252.1640	2.025e0

252.2204	1.013e0

252.2868	3.038e0

252.3560	3.038e0

252.4034	1.013e0

252.6584	2.025e0

252.7742	1.013e0

252.8456	1.013e0

252.9167	1.013e0

252.9727	1.013e0

253.0145	2.025e0

253.1249	1.013e0

253.1881	3.038e0

253.2464	1.013e0

253.2725	1.013e0

253.3141	1.013e0

253.3917	1.013e0

253.4451	1.013e0

253.5811	2.025e0

253.6659	1.013e0

253.7335	1.013e0

253.7932	1.013e0

253.8191	1.013e0

253.8646	2.025e0

253.9245	2.025e0

254.0475	5.063e0

254.0971	1.013e0

254.2168	1.013e0

254.2882	1.013e0

254.3348	1.013e0

254.4614	1.013e0

254.5394	1.013e0

254.6068	1.013e0

254.6444	1.013e0

254.6821	1.013e0

254.7496	1.013e0

254.7886	2.025e0

254.9294	1.013e0

254.9880	1.013e0

255.0084	1.013e0

255.0816	2.025e0

255.1100	1.013e0

255.1540	2.025e0

255.3273	1.013e0

255.3871	1.013e0

255.5247	4.051e0

255.5786	1.013e0

255.6035	1.013e0

255.7177	1.013e0

255.7699	1.013e0

255.8237	1.013e0

255.8879	3.038e0

255.9216	1.013e0

255.9652	1.013e0

255.9990	1.013e0

256.1216	2.025e0

256.1812	1.013e0

256.2620	1.013e0

256.3183	1.013e0

256.3479	1.013e0

256.4459	1.013e0

256.4739	2.025e0

256.5473	1.013e0

256.6490	1.013e0

256.7201	2.025e0

256.7897	2.025e0

256.8366	1.013e0

256.8781	1.013e0

256.9420	1.013e0

257.0553	2.025e0

257.1487	7.089e0

257.2069	2.025e0

257.2416	1.013e0

257.3139	1.013e0

257.3817	1.013e0

257.4156	1.013e0

257.4813	2.025e0

257.5117	3.038e0

257.5833	2.025e0

257.6558	4.051e0

257.7652	1.013e0

257.8122	3.038e0

257.8669	1.013e0

257.9062	3.038e0

257.9493	2.156e0

257.9909	1.013e0

258.0432	3.038e0

258.1075	1.648e0

258.1346	3.038e0

258.1598	3.038e0

258.2614	1.013e0

258.3030	1.013e0

258.3886	2.025e0

258.4218	3.038e0

258.5589	1.013e0

258.6983	2.025e0

258.7553	1.013e0

258.8585	3.038e0

258.8907	2.025e0

258.9169	3.038e0

258.9828	1.013e0

259.0594	1.013e0

259.1177	2.025e0

259.1736	2.025e0

259.2193	2.025e0

259.2670	2.025e0

259.3244	2.025e0

259.3980	1.013e0

259.4829	1.013e0

259.5260	1.013e0

259.5523	1.013e0

259.6183	2.025e0

259.6561	2.025e0

259.7408	1.013e0

259.8524	2.025e0

259.8946	1.013e0

259.9725	2.025e0

260.0023	4.051e0

260.0628	2.025e0

260.1552	1.013e0

260.2193	1.013e0

260.2417	1.013e0

260.2795	1.013e0

260.3018	1.013e0

260.5111	2.025e0

260.5620	3.038e0

260.5962	1.013e0

260.6399	1.013e0

260.6788	1.013e0

260.7090	1.013e0

260.7295	1.013e0

260.8621	3.038e0

260.9137	1.013e0

260.9506	3.599e0

260.9995	1.013e0

261.1046	2.329e1

261.1502	2.025e0

261.2426	2.025e0

261.3048	1.013e0

261.4071	2.025e0

261.4381	2.025e0

261.5069	1.013e0

261.5498	1.013e0

261.6541	2.025e0

261.7016	3.038e0

261.7930	2.025e0

261.8324	3.038e0

261.8855	1.013e0

261.9365	2.025e0

261.9818	2.025e0

262.0313	1.013e0

262.1062	5.063e0

262.1423	1.013e0

262.2775	4.051e0

262.3497	2.025e0

262.4441	1.013e0

262.5347	2.025e0

262.5611	1.013e0

262.6467	1.013e0

262.8221	1.013e0

262.9123	1.013e0

262.9535	2.025e0

263.0358	2.025e0

263.0686	2.025e0

263.1279	3.038e0

263.1932	1.013e0

263.2555	4.051e0

263.3253	2.025e0

263.5486	2.025e0

263.6150	1.013e0

263.6715	1.013e0

263.7222	2.025e0

263.7867	2.025e0

263.8528	2.025e0

263.9124	3.078e0

263.9677	3.038e0

263.9963	3.038e0

264.0267	3.038e0

264.0908	1.013e0

264.1250	1.013e0

264.1935	1.013e0

264.2911	2.025e0

264.3289	1.013e0

264.3932	2.025e0

264.4273	1.013e0

264.4802	1.013e0

264.5008	1.013e0

264.5786	1.013e0

264.6391	1.013e0

264.7221	1.013e0

264.8734	1.013e0

264.9245	1.013e0

265.0153	2.025e0

265.0580	2.025e0

265.1101	4.051e0

265.1387	2.025e0

265.2087	3.038e0

265.2480	1.013e0

265.3184	1.013e0

265.3690	1.013e0

265.4201	2.025e0

265.5089	1.013e0

265.5959	1.013e0

265.6398	2.025e0

265.8647	1.013e0

265.9243	2.025e0

265.9740	2.025e0

266.0727	4.051e0

266.1146	2.025e0

266.1496	2.025e0

266.2266	3.038e0

266.3309	1.013e0

266.4156	2.025e0

266.6220	1.013e0

266.7166	1.013e0

266.7642	2.025e0

266.8384	1.013e0

266.9388	2.025e0

267.0192	3.038e0

267.0569	1.013e0

267.1106	2.025e0

267.1521	2.025e0

267.1904	3.860e0

267.2305	2.473e0

267.2959	1.013e0

267.3519	1.013e0

267.3881	3.038e0

267.4700	3.038e0

267.5300	1.013e0

267.5792	2.025e0

267.6198	2.025e0

267.6726	1.013e0

267.6981	1.013e0

267.9254	2.025e0

267.9899	2.025e0

268.0905	1.013e0

268.1643	1.013e0

268.2997	1.013e0

268.3426	1.013e0

268.4865	1.013e0

268.6649	1.013e0

268.7597	1.013e0

268.7863	2.025e0

268.9742	1.013e0

268.9998	1.013e0

269.0868	1.013e0

269.1372	2.025e0

269.1737	3.038e0

269.2352	1.013e0

269.2681	2.025e0

269.4237	1.013e0

269.4614	3.038e0

269.5371	4.051e0

269.6287	1.013e0

269.7217	2.025e0

269.7521	2.025e0

269.8376	1.013e0

269.9207	2.025e0

270.0428	2.025e0

270.0995	1.013e0

270.1261	1.013e0

270.1622	2.025e0

270.2262	2.025e0

270.2819	1.013e0

270.4529	2.025e0

270.5230	1.013e0

270.5847	1.013e0

270.6194	2.025e0

270.6968	3.038e0

270.7720	1.013e0

270.9037	1.013e0

270.9793	2.025e0

271.0685	1.013e0

271.1787	1.013e0

271.2128	1.013e0

271.2887	1.013e0

271.4371	1.013e0

271.4676	2.025e0

271.4941	1.013e0

271.5376	1.013e0

271.5685	1.013e0

271.6602	2.025e0

271.7222	1.013e0

271.8059	1.013e0

271.8309	2.025e0

271.9334	3.038e0

272.0642	1.013e0

272.1597	1.013e0

272.2395	1.013e0

272.2776	1.013e0

272.3817	2.025e0

272.4411	1.013e0

272.5668	1.013e0

272.6148	3.038e0

272.6772	2.025e0

272.7607	1.013e0

272.8001	3.038e0

272.9055	3.025e0

272.9439	1.013e0

273.1032	2.025e0

273.1361	6.076e0

273.2630	2.025e0

273.3395	1.013e0

273.3966	1.013e0

273.4727	1.013e0

273.6859	1.013e0

273.7430	1.013e0

273.7887	1.013e0

273.8387	2.025e0

274.0301	2.025e0

274.1049	1.013e0

274.1373	2.025e0

274.1868	2.025e0

274.2232	1.013e0

274.2630	2.025e0

274.3375	1.013e0

274.4111	2.025e0

274.5051	1.013e0

274.5919	3.038e0

274.6592	3.038e0

274.7031	3.038e0

274.7786	1.013e0

274.8320	3.038e0

275.0731	2.025e0

275.1025	4.051e0

275.1740	2.025e0

275.2141	1.013e0

275.3160	1.013e0

275.3642	2.025e0

275.4430	1.013e0

275.5269	1.013e0

275.6414	1.013e0

275.7653	2.025e0

275.8129	1.013e0

275.8397	1.013e0

275.9197	2.025e0

276.0282	4.051e0

276.1107	9.114e0

276.1601	2.025e0

276.5569	2.025e0

276.6219	1.013e0

276.7554	1.013e0

276.8372	2.025e0

276.9667	2.025e0

277.0470	3.038e0

277.1031	1.013e0

277.1336	1.013e0

277.2582	2.025e0

277.3330	1.013e0

277.5854	1.013e0

277.6341	1.013e0

277.7104	1.013e0

277.7524	3.038e0

277.8906	1.013e0

277.9476	4.051e0

278.0117	1.013e0

278.0543	1.013e0

278.0855	1.013e0

278.1281	3.038e0

278.1698	1.013e0

278.2343	3.038e0

278.4018	1.013e0

278.4442	1.013e0

278.4710	1.013e0

278.5226	2.025e0

278.5817	4.051e0

278.6213	7.089e0

278.7055	2.633e1

278.7654	1.013e0

278.8266	1.013e0

278.8877	1.013e0

278.9284	2.025e0

278.9814	2.025e0

279.1116	6.653e0

279.2236	2.025e0

279.2993	3.038e0

279.3459	3.038e0

279.3896	1.013e0

279.4118	1.013e0

279.4988	2.025e0

279.5457	1.013e0

279.6095	2.025e0

279.6980	4.051e0

279.7370	2.025e0

279.7905	1.013e0

279.9015	1.013e0

280.0303	1.013e0

280.0661	1.013e0

280.1007	1.013e0

280.1466	1.013e0

280.1976	3.038e0

280.2307	1.013e0

280.2796	1.013e0

280.5727	3.038e0

280.6422	2.025e0

280.6788	1.013e0

280.7375	2.025e0

280.8754	3.038e0

281.0136	2.025e0

281.0694	3.038e0

281.1964	2.025e0

281.2897	2.025e0

281.3913	1.013e0

281.4641	1.013e0

281.4862	1.013e0

281.5714	1.013e0

281.6194	1.013e0

281.7899	1.013e0

281.8113	1.013e0

281.8433	1.013e0

281.9644	2.025e0

282.0607	2.025e0

282.1542	2.025e0

282.2366	2.025e0

282.2754	1.013e0

282.4089	1.013e0

282.5332	3.038e0

282.6227	2.025e0

282.6640	1.013e0

282.7082	1.013e0

282.7484	1.013e0

282.8790	1.013e0

282.9327	2.025e0

282.9612	2.025e0

283.0147	2.025e0

283.0666	1.013e0

283.1283	1.013e0

283.1802	2.025e0

283.2204	4.051e0

283.3002	2.025e0

283.3336	2.025e0

283.3650	2.025e0

283.4237	1.013e0

283.4545	1.013e0

283.5754	2.025e0

283.6827	1.013e0

283.7578	1.013e0

283.7999	1.013e0

283.8382	1.013e0

283.9509	1.013e0

284.0851	1.013e0

284.1571	1.013e0

284.2303	2.025e0

284.2607	1.013e0

284.3482	2.025e0

284.4881	1.013e0

284.6064	1.013e0

284.6986	1.013e0

284.7933	3.038e0

284.9309	2.025e0

285.0021	2.025e0

285.0989	7.089e0

285.2019	2.025e0

285.2634	1.013e0

285.2955	1.013e0

285.3455	4.051e0

285.4171	1.013e0

285.6881	2.025e0

285.7150	2.025e0

285.7689	2.025e0

285.8439	1.013e0

285.9478	1.013e0

286.0024	2.025e0

286.0711	2.025e0

286.1020	2.025e0

286.1465	2.025e0

286.1860	1.013e0

286.2438	1.013e0

286.3286	1.013e0

286.4576	3.038e0

286.4887	2.025e0

286.5362	1.013e0

286.6257	3.038e0

286.6748	1.013e0

286.7432	1.013e0

286.7748	1.013e0

286.8437	2.025e0

287.0172	1.013e0

287.0942	3.144e0

287.1925	1.114e1

287.2309	2.025e0

287.2905	1.013e0

287.3773	1.013e0

287.5524	1.013e0

287.6215	1.013e0

287.7013	5.063e0

287.8007	1.013e0

287.8412	1.013e0

287.8762	3.038e0

287.9144	1.013e0

287.9542	2.025e0

288.0615	1.013e0

288.1120	2.025e0

288.1839	2.025e0

288.2085	3.038e0

288.3800	2.025e0

288.4137	2.025e0

288.4883	2.025e0

288.5394	3.038e0

288.5892	1.013e0

288.6578	1.013e0

288.7581	1.013e0

288.8158	1.013e0

288.8698	2.025e0

288.9161	1.013e0

288.9651	1.013e0

289.0317	1.013e0

289.1396	2.025e0

289.2110	2.025e0

289.2706	1.013e0

289.3633	1.013e0

289.4070	1.013e0

289.5654	1.013e0

289.6746	1.013e0

289.7074	2.025e0

289.7334	1.013e0

289.7729	1.013e0

289.8495	1.013e0

289.9534	1.013e0

289.9972	2.025e0

290.0616	2.025e0

290.0956	1.013e0

290.1795	2.025e0

290.4095	2.025e0

290.4897	1.013e0

290.5514	1.013e0

290.6430	1.013e0

290.6869	1.013e0

290.7288	1.013e0

290.7636	1.013e0

290.8060	2.025e0

290.8350	2.025e0

290.9142	2.025e0

290.9683	1.013e0

291.0184	1.013e0

291.0492	1.013e0

291.1383	3.038e0

291.1630	4.051e0

291.2307	1.013e0

291.3080	1.013e0

291.4084	2.025e0

291.4549	1.013e0

291.6254	1.013e0

291.6671	1.013e0

291.7078	1.013e0

291.7483	1.013e0

291.8102	2.025e0

291.8893	1.013e0

291.9299	1.013e0

291.9938	1.013e0

292.0222	2.025e0

292.1075	1.013e0

292.1424	2.025e0

292.1761	3.823e0

292.2389	2.025e0

292.3076	1.013e0

292.3741	1.013e0

292.4206	2.025e0

292.4912	2.025e0

292.5692	5.063e0

292.6061	1.013e0

292.6643	2.025e0

292.7066	1.013e0

292.7607	1.013e0

292.7981	3.038e0

292.8533	1.013e0

292.9540	2.025e0

293.1203	2.025e0

293.1937	1.013e0

293.2247	1.013e0

293.3021	1.013e0

293.3932	2.025e0

293.4441	1.013e0

293.5341	1.013e0

293.5612	1.013e0

293.6138	2.025e0

293.6393	2.025e0

293.7585	1.013e0

293.8612	4.051e0

293.9861	1.013e0

294.0298	2.025e0

294.0719	1.013e0

294.1400	2.025e0

294.2187	2.025e0

294.4485	2.025e0

294.5208	2.025e0

294.6004	4.695e0

294.6722	2.025e0

294.7010	1.013e0

294.7584	2.025e0

294.9719	3.038e0

295.0285	1.013e0

295.1351	4.051e0

295.1984	1.013e0

295.2759	2.025e0

295.3730	1.013e0

295.4327	2.025e0

295.4813	1.013e0

295.5278	1.013e0

295.6227	2.025e0

295.6556	1.013e0

295.7663	2.025e0

295.8558	4.051e0

295.9561	2.025e0

296.0017	1.013e0

296.1671	1.013e0

296.2485	1.013e0

296.3725	1.013e0

296.4164	3.038e0

296.4810	1.013e0

296.5201	1.013e0

296.5703	1.013e0

296.6875	1.013e0

296.8104	2.025e0

296.8805	1.013e0

296.9554	2.025e0

297.0247	2.025e0

297.0617	2.025e0

297.1231	1.013e0

297.2141	5.063e0

297.2838	1.013e0

297.3654	1.013e0

297.3984	2.025e0

297.4429	1.013e0

297.4799	2.025e0

297.6264	1.013e0

297.8839	1.013e0

297.9745	1.013e0

298.0763	2.025e0

298.2146	1.013e0

298.2875	1.013e0

298.3099	1.013e0

298.4153	2.025e0

298.5680	1.013e0

298.6634	1.013e0

298.7278	1.013e0

298.8520	1.013e0

298.9218	1.013e0

299.0288	2.025e0

299.1151	5.063e0

299.1533	3.038e0

299.2073	2.025e0

299.3434	1.013e0

299.4166	1.013e0

299.4853	1.013e0

299.5342	3.038e0

299.5699	3.644e0

299.6098	2.054e0

299.6605	2.025e0

299.7363	1.273e0

299.7638	2.025e0

299.8145	2.025e0

299.8780	1.013e0

299.9550	3.038e0

300.0080	2.025e0

300.0797	3.038e0

300.1150	2.025e0

300.1886	1.013e0

300.3136	3.179e0

300.4337	1.013e0

300.5026	2.025e0

300.6906	1.013e0

300.7565	1.013e0

300.8659	2.025e0

300.9449	1.013e0

301.0930	2.025e0

301.1565	2.025e0

301.2201	3.038e0

301.2634	2.025e0

301.3408	1.013e0

301.3748	1.013e0

301.5814	1.013e0

301.6635	1.013e0

301.6975	1.013e0

301.7712	1.013e0

301.8343	1.013e0

301.8827	4.051e0

301.9866	1.013e0

302.0331	2.451e0

302.0758	1.013e0

302.1701	2.025e0

302.2361	1.013e0

302.3383	1.013e0

302.4280	2.025e0

302.6893	2.025e0

302.9405	1.013e0

302.9860	1.013e0

303.0223	1.013e0

303.1015	3.038e0

303.1418	4.051e0

303.2170	1.013e0

303.2541	2.025e0

303.2911	2.025e0

303.3786	1.013e0

303.4241	1.013e0

303.4565	2.025e0

303.5551	1.013e0

303.8602	1.013e0

303.9361	2.025e0

304.0397	1.013e0

304.1702	2.025e0

304.2451	1.013e0

304.3008	8.101e0

304.3707	1.013e0

304.4088	2.025e0

304.5934	2.025e0

304.6563	1.013e0

304.6849	1.013e0

304.7455	2.025e0

304.8049	1.013e0

304.8387	2.025e0

304.9101	2.025e0

305.0051	1.013e0

305.1252	1.013e0

305.2137	2.025e0

305.3191	3.038e0

305.3943	1.013e0

305.4557	1.013e0

305.5473	2.025e0

305.7993	1.013e0

305.8969	1.013e0

305.9322	2.025e0

306.0416	1.013e0

306.0806	3.038e0

306.1569	1.013e0

306.1898	1.013e0

306.2258	1.013e0

306.2774	1.013e0

306.3004	1.013e0

306.4904	1.013e0

306.5298	1.013e0

306.6078	1.013e0

306.7384	2.025e0

306.8119	1.013e0

306.8349	1.013e0

306.9339	2.025e0

307.0220	1.013e0

307.0625	2.025e0

307.1470	4.051e0

307.1777	2.025e0

307.2242	2.025e0

307.3338	3.038e0

307.4556	3.038e0

307.6927	5.063e0

307.8544	1.013e0

307.8977	1.013e0

308.0658	1.013e0

308.1675	1.013e0

308.2812	1.013e0

308.3219	1.013e0

308.4433	1.013e0

308.5444	2.025e0

308.6996	1.013e0

308.7853	2.025e0

308.8154	2.025e0

308.9188	3.038e0

309.0042	1.013e0

309.0993	2.025e0

309.2241	2.025e0

309.2937	1.013e0

309.3169	1.013e0

309.4245	2.025e0

309.5177	1.013e0

309.5545	1.013e0

309.6390	1.013e0

309.6994	1.013e0

309.7802	2.025e0

309.8819	1.013e0

309.9246	3.038e0

309.9895	1.013e0

310.0540	2.025e0

310.0894	3.988e0

310.1521	1.013e0

310.2023	3.038e0

310.3554	1.013e0

310.4381	2.025e0

310.4851	1.013e0

310.5359	1.013e0

310.6461	1.013e0

310.6868	1.013e0

310.7910	1.013e0

310.8489	4.664e0

310.9261	2.025e0

310.9713	2.025e0

311.0593	2.025e0

311.1232	1.013e0

311.1966	3.038e0

311.2534	1.013e0

311.2805	1.013e0

311.3795	1.013e0

311.4997	2.025e0

311.6300	1.013e0

311.7826	1.013e0

311.8457	1.013e0

311.9278	1.013e0

311.9746	1.013e0

312.0496	2.025e0

312.0925	1.013e0

312.1765	6.076e0

312.2611	1.013e0

312.2964	2.025e0

312.3600	1.013e0

312.4827	1.013e0

312.5529	1.013e0

312.6851	1.013e0

312.7322	1.013e0

312.7635	1.013e0

312.8304	1.013e0

312.8629	1.013e0

312.9443	1.013e0

313.0270	2.025e0

313.0934	2.025e0

313.1323	1.013e0

313.1967	1.013e0

313.4545	1.013e0

313.5308	1.013e0

313.5955	3.038e0

313.6589	1.013e0

313.7008	1.013e0

313.7373	1.013e0

313.8156	2.025e0

313.9356	1.013e0

313.9825	1.013e0

314.0354	1.013e0

314.1182	1.013e0

314.1834	2.025e0

314.2186	2.025e0

314.3640	2.025e0

314.3974	1.013e0

314.4643	1.013e0

314.5349	1.013e0

314.6283	4.051e0

314.7426	3.038e0

314.7949	4.051e0

314.8585	1.013e0

314.8966	2.025e0

314.9399	1.013e0

315.0145	2.025e0

315.1390	3.038e0

315.2269	3.400e2

315.3465	3.038e0

315.4238	4.158e0

315.4835	5.063e0

315.5253	2.025e0

315.6243	1.013e0

315.7297	1.313e2

315.8168	2.025e0

315.8994	2.025e0

315.9255	1.013e0

315.9727	1.013e0

316.0887	4.051e0

316.1535	3.505e0

316.2255	2.843e1

316.3598	2.025e0

316.4052	2.025e0

316.4922	4.051e0

316.5546	4.051e0

316.6366	3.038e0

316.7261	7.089e0

316.7680	2.707e0

316.8386	2.025e0

316.8935	2.025e0

316.9589	3.038e0

317.0028	3.038e0

317.0408	1.013e0

317.0977	2.025e0

317.1357	5.529e0

317.2147	3.038e0

317.2887	4.051e0

317.3867	1.013e0

317.4449	3.038e0

317.4796	3.038e0

317.5291	1.013e0

317.6039	1.013e0

317.6358	1.013e0

317.7340	2.025e0

317.7732	1.013e0

317.8440	1.013e0

317.9112	2.025e0

317.9742	1.013e0

318.0200	2.025e0

318.0531	1.013e0

318.1307	3.038e0

318.2147	1.013e0

318.2482	2.025e0

318.3054	1.013e0

318.3849	4.051e0

318.6247	3.038e0

318.6837	1.013e0

318.7351	1.013e0

318.7980	1.013e0

318.8789	2.025e0

318.9400	1.013e0

319.0208	2.025e0

319.0599	3.038e0

319.1302	4.051e0

319.2168	2.025e0

319.2711	1.013e0

319.3459	2.025e0

319.3817	1.013e0

319.4725	1.013e0

319.5197	1.013e0

319.5513	1.013e0

319.6050	1.013e0

319.6527	1.013e0

319.8908	2.025e0

319.9294	3.038e0

320.0048	2.025e0

320.0366	1.013e0

320.0885	1.013e0

320.1602	1.013e0

320.1945	1.013e0

320.3216	1.013e0

320.3993	1.013e0

320.4830	1.013e0

320.6124	2.025e0

320.7787	1.013e0

320.8483	2.025e0

320.9326	3.038e0

321.0636	1.013e0

321.1380	2.025e0

321.1815	2.025e0

321.2524	2.025e0

321.3019	4.051e0

321.4026	1.013e0

321.5405	3.038e0

321.7385	2.025e0

321.8071	1.013e0

322.0545	1.013e0

322.1049	2.025e0

322.2316	3.038e0

322.3195	3.038e0

322.3785	1.013e0

322.4256	2.025e0

322.4894	1.013e0

322.5522	1.013e0

322.6179	2.025e0

322.6892	2.025e0

322.7662	1.013e0

322.8050	1.013e0

322.8611	1.013e0

322.9133	1.013e0

322.9692	2.025e0

323.0097	1.013e0

323.1181	1.013e0

323.2270	2.025e0

323.3634	1.013e0

323.4677	1.013e0

323.5731	1.013e0

323.6547	2.025e0

323.7652	2.025e0

323.8357	1.013e0

323.8659	1.013e0

323.9431	2.025e0

323.9927	1.162e0

324.0359	1.013e0

324.0712	1.013e0

324.1192	2.025e0

324.1619	1.013e0

324.2100	2.025e0

324.3520	2.025e0

324.3855	1.013e0

324.4822	1.013e0

324.5674	3.038e0

324.6954	3.038e0

324.7968	1.013e0

324.9460	4.051e0

325.0511	1.013e0

325.1726	3.038e0

325.2217	3.038e0

325.3269	4.051e0

325.3681	2.025e0

325.4397	3.038e0

325.5785	1.013e0

325.6240	2.025e0

325.6755	1.013e0

325.7708	1.013e0

325.9194	2.025e0

325.9644	2.025e0

326.0155	1.013e0

326.0992	3.038e0

326.2007	3.038e0

326.3799	8.191e0

326.4603	1.013e0

326.5258	2.025e0

326.5564	1.013e0

326.6389	1.013e0

326.6902	1.013e0

326.7698	2.025e0

326.8650	1.013e0

326.9446	2.025e0

327.0000	1.013e0

327.0311	1.013e0

327.0859	1.013e0

327.1225	1.013e0

327.1662	1.013e0

327.2139	1.013e0

327.3784	1.013e0

327.4937	2.025e0

327.6186	3.038e0

327.7054	2.025e0

327.8932	2.025e0

327.9362	1.013e0

328.0074	1.013e0

328.0450	2.025e0

328.1290	1.013e0

328.1779	1.013e0

328.2537	2.025e0

328.4025	2.025e0

328.4601	1.013e0

328.4896	1.013e0

328.5547	2.025e0

328.6555	2.025e0

328.7101	1.013e0

328.7954	4.051e0

328.8452	1.068e0

328.9328	1.013e0

328.9966	1.013e0

329.0679	1.013e0

329.1317	2.025e0

329.1873	1.013e0

329.2801	4.051e0

329.3419	1.013e0

329.4018	1.013e0

329.4692	1.013e0

329.5249	2.025e0

329.5919	1.013e0

329.7271	1.013e0

329.9853	2.025e0

330.0576	1.013e0

330.1099	2.025e0

330.1784	3.038e0

330.2660	2.025e0

330.3246	2.025e0

330.3793	1.013e0

330.4696	2.025e0

330.5868	1.013e0

330.6797	2.025e0

330.9683	1.013e0

331.1530	1.013e0

331.2068	1.013e0

331.2982	1.013e0

331.3575	2.025e0

331.4056	1.013e0

331.4510	2.025e0

331.5536	1.013e0

331.8682	1.013e0

331.9071	1.013e0

331.9748	1.013e0

332.0040	1.013e0

332.1702	1.013e0

332.2623	3.038e0

332.3093	1.013e0

332.3375	1.013e0

332.3808	1.013e0

332.4308	2.025e0

332.5229	1.013e0

332.7115	1.013e0

332.7916	2.025e0

332.8870	1.013e0

332.9498	1.013e0

333.1351	3.038e0

333.2614	3.038e0

333.3381	3.038e0

333.4825	1.013e0

333.5840	1.013e0

333.7148	2.025e0

333.7814	2.025e0

333.8216	2.025e0

333.8856	1.013e0

333.9228	1.013e0

333.9844	3.038e0

334.0689	3.038e0

334.1525	1.013e0

334.1860	1.013e0

334.2582	2.025e0

334.3105	3.038e0

334.4054	1.013e0

334.4933	1.013e0

334.5886	1.013e0

334.6434	1.013e0

334.6726	1.013e0

334.7165	1.013e0

334.9108	1.013e0

334.9544	1.013e0

335.0277	3.038e0

335.1997	2.025e0

335.2310	1.013e0

335.2967	2.025e0

335.3871	2.025e0

335.4874	3.038e0

335.6021	1.013e0

335.6720	2.025e0

335.7452	1.620e1

335.8828	2.025e0

335.9613	2.025e0

336.0412	2.025e0

336.1074	6.076e0

336.1611	1.013e0

336.2419	6.076e0

336.4186	2.025e0

336.5009	1.013e0

336.5884	1.013e0

336.6245	1.013e0

336.6723	1.013e0

336.7530	4.051e0

336.8445	1.013e0

336.9761	1.013e0

337.0137	1.013e0

337.0562	2.025e0

337.1552	6.076e0

337.2085	9.114e0

337.2814	2.025e0

337.3235	2.025e0

337.4897	2.025e0

337.5517	1.013e0

337.6368	4.051e0

337.6873	1.013e0

337.8937	2.025e0

338.0129	8.997e0

338.0916	1.013e0

338.1546	1.013e0

338.4896	3.038e0

338.5470	1.013e0

338.5947	1.013e0

338.7322	1.013e0

338.7957	3.038e0

338.8870	2.025e0

338.9870	1.013e0

339.0440	3.038e0

339.1154	1.013e0

339.1955	5.063e0

339.2607	1.013e0

339.3306	2.025e0

339.4132	2.025e0

339.4873	1.013e0

339.5945	1.013e0

339.6756	2.025e0

339.7457	1.013e0

339.7769	2.025e0

339.8644	3.038e0

340.1039	1.013e0

340.1582	2.025e0

340.1982	2.025e0

340.2755	1.013e0

340.3158	4.051e0

340.4050	3.038e0

340.4562	1.013e0

340.5407	1.013e0

340.6123	1.013e0

340.7051	2.025e0

340.7845	2.025e0

340.8441	1.013e0

340.8973	2.025e0

340.9321	2.542e0

341.0148	1.013e0

341.0669	2.025e0

341.1413	1.013e0

341.2932	2.025e0

341.4135	1.013e0

341.4578	1.013e0

341.6328	2.025e0

341.7053	2.025e0

341.8146	1.013e0

341.8621	2.025e0

342.0275	1.013e0

342.0937	4.051e0

342.1432	1.013e0

342.2030	2.025e0

342.3073	1.013e0

342.3553	2.025e0

342.5564	1.013e0

342.5866	1.013e0

342.6748	2.025e0

342.7663	2.025e0

342.8613	1.013e0

342.9861	1.013e0

343.0602	3.038e0

343.1239	4.051e0

343.1888	2.025e0

343.4067	1.013e0

343.4454	2.025e0

343.4959	1.013e0

343.5691	3.038e0

343.7082	1.013e0

343.7442	1.013e0

343.7903	2.025e0

344.0727	3.038e0

344.1330	1.013e0

344.1713	1.013e0

344.2325	1.620e1

344.2773	3.038e0

344.3246	2.025e0

344.4967	1.013e0

344.5554	1.013e0

344.6234	3.038e0

344.6767	2.025e0

344.7290	5.063e0

344.8224	2.025e0

344.8671	2.025e0

344.9248	1.013e0

345.0536	1.013e0

345.2379	2.025e0

345.2762	1.013e0

345.3581	4.051e0

345.4297	1.013e0

345.5040	1.013e0

345.5885	3.038e0

345.6365	1.013e0

345.7247	1.013e0

345.7621	2.025e0

345.8808	3.038e0

345.9716	3.038e0

346.0467	1.013e0

346.1214	1.013e0

346.1632	2.025e0

346.2664	2.025e0

346.3138	1.013e0

346.4089	1.013e0

346.4421	1.013e0

346.5915	2.025e0

346.7437	1.013e0

346.8794	3.038e0

346.9756	1.013e0

347.0431	3.038e0

347.1117	3.038e0

347.1868	2.025e0

347.2490	4.051e0

347.3401	2.025e0

347.4185	2.025e0

347.4706	1.013e0

347.5214	1.013e0

347.5958	1.013e0

347.7146	2.025e0

347.7808	2.025e0

347.9217	1.013e0

348.0181	3.038e0

348.1130	2.025e0

348.1537	3.038e0

348.2556	2.025e0

348.3690	1.013e0

348.4372	1.013e0

348.4799	2.025e0

348.5281	2.995e0

348.6013	2.025e0

348.6305	1.013e0

348.7114	1.013e0

348.7716	1.013e0

348.8943	1.013e0

348.9670	3.038e0

349.0337	1.013e0

349.1184	1.013e0

349.2070	2.025e0

349.5472	2.025e0

349.7596	1.013e0

349.7936	2.025e0

349.8354	2.025e0

349.8862	4.051e0

350.0002	3.038e0

350.0415	1.013e0

350.1298	1.013e0

350.2211	2.025e0

350.3044	1.013e0

350.3602	1.013e0

350.4247	1.013e0

350.4589	2.025e0

350.5335	1.013e0

350.6790	1.013e0

350.7583	1.013e0

350.7972	1.013e0

350.8928	1.013e0

350.9818	2.025e0

351.0309	1.013e0

351.0828	1.013e0

351.1104	1.013e0

351.1834	4.051e0

351.3088	2.025e0

351.3686	1.013e0

351.4336	1.013e0

351.6026	1.013e0

351.6432	1.013e0

351.7650	1.013e0

351.8190	2.025e0

351.9382	2.025e0

352.0190	1.013e0

352.0796	4.051e0

352.1251	2.025e0

352.1724	1.013e0

352.2274	1.013e0

352.2948	4.051e0

352.3509	2.025e0

352.3828	1.013e0

352.4307	1.013e0

352.5075	1.013e0

352.5562	1.013e0

352.6170	2.025e0

352.6902	2.025e0

352.7498	1.013e0

352.7887	2.025e0

352.8270	1.013e0

352.9129	3.038e0

352.9705	1.013e0

353.0044	1.013e0

353.0818	5.063e0

353.1524	2.025e0

353.2249	2.025e0

353.3063	3.038e0

353.4275	4.051e0

353.4861	1.013e0

353.5255	1.013e0

353.6392	1.013e0

353.7085	1.013e0

353.7408	1.013e0

353.8028	2.025e0

353.8860	3.271e0

353.9585	2.025e0

354.0136	2.025e0

354.0808	2.025e0

354.1549	2.025e0

354.2253	1.013e0

354.3503	2.025e0

354.4479	1.013e0

354.5731	2.025e0

354.6949	1.013e0

354.7799	2.025e0

354.9063	3.038e0

354.9516	2.025e0

355.0348	1.013e0

355.0823	3.632e0

355.1114	4.051e0

355.2190	4.051e0

355.3063	1.013e0

355.3499	2.025e0

355.3949	1.013e0

355.4392	1.013e0

355.4781	2.025e0

355.5204	1.013e0

355.5959	1.013e0

355.6563	2.025e0

355.7469	1.013e0

355.8125	1.013e0

355.8653	1.013e0

355.9086	2.103e0

355.9823	1.013e0

356.1080	1.013e0

356.1826	2.025e0

356.2336	1.013e0

356.2795	2.025e0

356.3624	4.051e0

356.5232	1.013e0

356.5693	1.035e0

356.6302	1.418e1

356.7225	8.928e0

356.8045	1.013e0

356.8328	1.013e0

356.9524	2.025e0

357.0348	4.051e0

357.1370	6.076e0

357.1817	2.446e0

357.2381	2.025e0

357.2811	1.013e0

357.3960	1.013e0

357.4923	1.013e0

357.6372	2.025e0

357.6714	2.025e0

357.7426	2.025e0

357.8089	2.025e0

357.9150	1.013e0

358.0588	2.025e0

358.2490	2.025e0

358.3408	1.013e0

358.4969	1.013e0

358.5275	1.013e0

358.6126	1.013e0

358.6425	1.013e0

358.7021	1.013e0

358.9140	1.013e0

358.9405	1.013e0

359.0683	2.025e0

359.1326	1.013e0

359.1798	3.038e0

359.2584	1.013e0

359.3433	1.013e0

359.4260	2.025e0

359.4842	1.013e0

359.5374	1.013e0

359.5837	1.013e0

359.6301	1.013e0

359.6700	1.013e0

359.7449	1.013e0

359.7768	2.025e0

359.9043	3.038e0

359.9924	4.051e0

360.0618	1.013e0

360.1318	3.038e0

360.1884	2.025e0

360.2321	3.038e0

360.3210	2.025e0

360.3763	2.025e0

360.4805	1.013e0

360.5166	1.013e0

360.5609	1.013e0

360.6018	2.025e0

360.6592	2.025e0

360.7684	1.013e0

360.8054	1.013e0

360.8598	1.013e0

360.9109	1.013e0

360.9703	2.025e0

360.9997	2.025e0

361.0423	2.025e0

361.1167	2.025e0

361.1795	1.013e0

361.2395	2.025e0

361.2766	2.025e0

361.3363	5.063e0

361.4394	1.013e0

361.4794	1.013e0

361.5528	1.013e0

361.6662	1.013e0

361.7238	1.013e0

361.7779	3.038e0

361.8618	2.025e0

361.9529	2.025e0

362.0250	2.025e0

362.0866	1.013e0

362.1565	2.025e0

362.2359	3.038e0

362.2888	2.025e0

362.3703	1.013e0

362.4307	2.025e0

362.4926	1.013e0

362.5508	2.025e0

362.6288	2.025e0

362.7951	1.013e0

362.9156	1.013e0

363.0661	2.025e0

363.1297	2.025e0

363.2040	1.013e0

363.2615	1.013e0

363.3575	1.013e0

363.4177	1.013e0

363.4709	2.025e0

363.5103	1.351e0

363.5931	2.025e0

363.7993	1.013e0

363.8675	2.025e0

363.9697	1.013e0

364.1048	9.852e0

364.1871	3.038e0

364.3033	3.508e0

364.3645	1.013e0

364.4666	1.013e0

364.5382	1.013e0

364.6189	2.025e0

364.6693	2.025e0

364.7197	1.013e0

364.7930	2.025e0

364.8555	2.025e0

364.9023	1.013e0

364.9684	2.025e0

365.0973	5.063e0

365.1636	1.013e0

365.2479	2.025e0

365.3105	1.013e0

365.4197	1.013e0

365.6036	1.013e0

365.7145	3.038e0

365.7764	1.013e0

365.9549	4.051e0

366.0168	3.038e0

366.0947	2.025e0

366.1666	3.038e0

366.2552	1.013e0

366.2962	2.025e0

366.5806	2.025e0

366.6149	1.013e0

366.7176	2.025e0

366.7819	1.013e0

366.8635	4.051e0

366.9218	2.603e0

367.0295	6.076e0

367.1496	1.013e0

367.2755	1.013e0

367.3516	4.051e0

367.4242	1.013e0

367.4902	2.025e0

367.5887	2.025e0

367.7153	2.025e0

367.8347	2.025e0

367.9042	2.025e0

367.9550	3.038e0

368.0880	1.013e0

368.4067	1.013e0

368.4643	1.013e0

368.5016	1.013e0

368.7460	1.013e0

368.9022	1.013e0

368.9294	1.013e0

369.0166	3.038e0

369.0797	6.076e0

369.1203	2.025e0

369.1824	3.038e0

369.2283	1.013e0

369.2829	3.038e0

369.4117	3.038e0

369.4514	2.025e0

369.4900	1.013e0

369.5683	1.013e0

369.6979	2.025e0

369.8474	1.013e0

369.9984	6.076e0

370.0605	7.089e0

370.1283	4.051e0

370.1870	2.025e0

370.2424	1.013e0

370.2705	1.013e0

370.3357	2.025e0

370.3959	3.806e0

370.4469	1.013e0

370.5198	2.025e0

370.6042	3.038e0

370.7312	2.025e0

370.7926	2.025e0

370.8516	2.142e0

370.9006	2.025e0

370.9454	3.038e0

371.0562	2.025e0

371.1224	1.013e0

371.1874	1.013e0

371.2982	2.025e0

371.3613	2.025e0

371.4626	3.038e0

371.5208	2.025e0

371.6848	2.025e0

371.8333	1.013e0

371.9349	6.076e0

372.0869	4.051e0

372.2652	1.924e1

372.3672	1.013e0

372.4585	2.025e0

372.5344	1.013e0

372.5659	1.013e0

372.6433	3.038e0

372.7065	2.025e0

372.7532	3.038e0

372.7902	2.025e0

372.9955	2.025e0

373.0851	2.025e0

373.1702	2.025e0

373.2249	2.025e0

373.3960	1.013e0

373.4314	1.013e0

373.4927	1.013e0

373.5336	1.013e0

373.6291	1.013e0

373.7395	1.013e0

373.8229	3.038e0

373.8984	4.051e0

373.9360	2.025e0

374.0202	2.025e0

374.1186	2.025e0

374.2191	1.013e0

374.2842	1.013e0

374.3476	2.025e0

374.4131	3.038e0

374.4480	1.013e0

374.5433	1.013e0

374.6472	4.051e0

374.7456	2.025e0

374.8131	1.013e0

374.9000	4.051e0

374.9364	4.051e0

375.0612	1.013e0

375.1337	2.025e0

375.2084	2.025e0

375.2820	1.013e0

375.3534	2.025e0

375.4330	4.051e0

375.5038	2.025e0

375.6387	1.013e0

375.6879	4.051e0

375.7886	3.038e0

375.8539	2.025e0

375.8907	3.038e0

376.0040	1.013e0

376.0825	1.013e0

376.1475	1.013e0

376.3306	2.025e0

376.4067	1.013e0

376.4819	3.038e0

376.7551	1.013e0

376.8114	2.025e0

376.9402	4.051e0

377.0576	3.038e0

377.1592	2.025e0

377.2147	2.025e0

377.2962	2.025e0

377.4004	1.013e0

377.5027	1.013e0

377.6371	3.038e0

377.7418	1.013e0

377.8443	1.013e0

377.8953	3.038e0

377.9579	2.025e0

378.0438	2.025e0

378.1036	1.013e0

378.2403	5.063e0

378.3217	1.013e0

378.3773	1.013e0

378.4162	2.025e0

378.5059	2.025e0

378.5442	2.025e0

378.6535	2.025e0

378.9474	1.013e0

379.0313	3.038e0

379.0799	2.025e0

379.1702	2.025e0

379.2193	2.025e0

379.2983	2.025e0

379.3376	2.025e0

379.4054	2.025e0

379.5296	2.025e0

379.6369	3.038e0

379.8421	3.038e0

379.9279	3.038e0

380.0336	1.013e0

380.1317	2.025e0

380.2024	1.013e0

380.2352	1.013e0

380.3211	1.013e0

380.4633	2.025e0

380.5190	1.013e0

380.5516	1.013e0

380.6145	1.013e0

380.7123	1.013e0

380.7542	1.013e0

380.8366	1.013e0

380.9500	1.013e0

380.9973	1.013e0

381.1017	2.025e0

381.2465	4.994e0

381.5940	1.013e0

381.7901	1.013e0

381.9987	1.013e0

382.1126	1.013e0

382.1611	2.025e0

382.2173	2.025e0

382.2642	3.463e0

382.4564	1.013e0

382.6177	1.013e0

382.6750	3.038e0

382.7783	1.013e0

382.8228	1.013e0

382.8918	1.013e0

382.9275	2.025e0

383.0211	1.013e0

383.0897	3.038e0

383.2273	3.038e0

383.3065	1.013e0

383.3596	1.013e0

383.4944	3.038e0

383.5784	1.013e0

383.6195	1.013e0

383.7181	2.025e0

383.8344	1.013e0

383.9187	2.025e0

384.0105	1.013e0

384.0880	1.013e0

384.3958	1.013e0

384.4815	3.038e0

384.5956	2.025e0

384.7968	2.025e0

384.8569	2.025e0

384.8920	1.013e0

384.9365	1.013e0

384.9955	3.038e0

385.0526	1.013e0

385.0827	1.013e0

385.1555	1.013e0

385.2028	1.013e0

385.2715	1.013e0

385.3087	1.013e0

385.3539	1.013e0

385.4151	2.025e0

385.4700	1.013e0

385.7095	1.013e0

385.7895	2.025e0

385.8815	1.013e0

385.9663	1.013e0

386.0019	1.013e0

386.1647	1.013e0

386.2057	1.013e0

386.3495	1.013e0

386.4023	2.025e0

386.5082	2.025e0

386.5480	1.013e0

386.5974	2.025e0

386.7056	2.025e0

386.8247	3.038e0

386.8938	2.025e0

386.9510	4.354e0

387.1146	2.025e0

387.1536	4.051e0

387.2644	2.025e0

387.3270	2.025e0

387.3678	2.025e0

387.5620	2.025e0

387.6330	1.013e0

387.7041	1.013e0

387.8368	2.025e0

387.9514	1.013e0

387.9925	1.013e0

388.0507	1.013e0

388.0809	1.013e0

388.1378	1.013e0

388.1912	1.013e0

388.2588	2.025e0

388.3224	3.038e0

388.4794	1.013e0

388.5645	2.025e0

388.6005	1.013e0

388.6842	1.013e0

388.7893	5.063e0

388.8453	1.013e0

388.9206	1.013e0

388.9567	1.013e0

389.0581	2.025e0

389.1775	1.013e0

389.2129	2.025e0

389.2919	1.013e0

389.3470	2.025e0

389.3917	5.063e0

389.4993	1.013e0

389.5633	4.051e0

389.6816	2.025e0

389.7744	3.038e0

389.8840	6.076e0

389.9772	1.013e0

390.0576	2.025e0

390.1672	1.013e0

390.2168	2.025e0

390.3146	2.025e0

390.3866	1.013e0

390.5030	1.013e0

390.7853	1.013e0

390.8216	1.013e0

390.9214	1.013e0

391.0503	1.013e0

391.1076	1.013e0

391.2478	2.025e0

391.2945	1.013e0

391.3790	4.051e0

391.6142	3.038e0

391.7354	3.038e0

391.8149	4.051e0

391.8751	2.025e0

391.9432	2.025e0

392.0211	1.013e0

392.0830	1.013e0

392.2294	2.025e0

392.2769	2.025e0

392.5471	2.025e0

392.6483	1.013e0

392.7084	2.025e0

392.7513	1.013e0

392.9261	1.013e0

392.9860	3.038e0

393.0340	2.025e0

393.1254	1.013e0

393.2049	4.051e0

393.2982	2.025e0

393.3375	1.013e0

393.4164	1.013e0

393.4539	1.013e0

393.5312	2.025e0

393.6700	1.013e0

393.7801	3.038e0

393.8779	2.025e0

393.9273	1.013e0

394.0026	1.013e0

394.0404	1.013e0

394.1215	2.025e0

394.2003	1.215e1

394.3041	2.025e0

394.4106	2.025e0

394.4554	1.013e0

394.5359	2.025e0

394.5890	2.025e0

394.6568	2.025e0

394.8463	1.013e0

394.9595	2.025e0

395.0370	1.013e0

395.1759	6.667e1

395.4449	2.025e0

395.5714	2.025e0

395.6675	2.025e0

395.7171	1.013e0

395.7823	1.013e0

395.8466	2.025e0

395.9127	1.013e0

395.9647	1.013e0

396.0586	4.051e0

396.1776	3.038e1

396.2823	1.013e0

396.4097	6.076e0

396.4998	1.013e0

396.5724	1.013e0

396.6245	2.025e0

396.6740	1.013e0

396.7247	2.025e0

396.8445	3.038e0

396.9256	3.038e0

396.9823	2.025e0

397.0149	2.025e0

397.0860	3.038e0

397.1718	7.968e0

397.2224	2.025e0

397.3098	2.025e0

397.4199	2.025e0

397.6159	2.025e0

397.6599	1.013e0

397.7563	2.025e0

397.9128	2.025e0

397.9604	1.115e0

398.0854	5.063e0

398.1987	3.038e0

398.2908	2.025e0

398.4772	1.013e0

398.6597	1.013e0

398.7705	3.038e0

398.8424	2.025e0

398.9059	3.896e0

399.0435	1.013e0

399.2162	4.051e0

399.2874	2.025e0

399.3301	3.038e0

399.5096	3.038e0

399.8130	1.013e0

399.8902	2.025e0

399.9446	1.013e0

400.0653	2.025e0

400.2109	8.101e0

400.3543	1.013e0

400.4348	2.025e0

400.5154	1.013e0

400.5739	1.013e0

400.6362	2.025e0

400.6786	1.013e0

400.7536	3.038e0

400.8083	1.013e0

400.8742	2.025e0

400.9291	2.025e0

401.0839	3.038e0

401.2089	4.051e0

401.2568	5.063e0

401.3059	1.418e1

401.4137	1.013e0