Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 100.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

142 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 15-15    H: 0-200    N: 0-10    O: 0-15    I: 0-1

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	Formula

226.1234   	226.1232       	0.2      	0.9      	8.5      	0.8        	C15  H16  N  O

REPORT MASSES AS +/-5mDa, referenced against

Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

ANALYSIS RUN USING:  WATERS LCT PREMIER (ESI POSITIVE/ESI NEGATIVE)

149.0076	1.013e0

149.0305	1.013e0

149.0527	1.013e0

149.1109	2.430e1

149.1403	3.568e0

149.1924	1.013e0

149.2155	1.013e0

149.2932	2.025e0

149.3255	1.013e0

149.3856	4.051e0

149.4169	1.013e0

149.4421	1.013e0

149.5269	2.025e0

149.5561	1.013e0

149.6270	3.038e0

149.6568	1.013e0

149.7967	1.013e0

149.8368	2.025e0

149.8683	1.013e0

149.9013	3.038e0

149.9500	2.025e0

149.9858	3.038e0

150.0305	1.013e0

150.0436	1.013e0

150.0864	1.013e0

150.1139	8.574e0

150.1563	2.025e0

150.1770	1.013e0

150.2034	1.013e0

150.2619	1.013e0

150.3723	1.013e0

150.4119	1.013e0

150.4770	1.013e0

150.4956	3.038e0

150.5122	2.025e0

150.5621	1.013e0

150.5874	1.013e0

150.6073	1.013e0

150.6625	3.038e0

150.7574	1.013e0

150.8259	1.013e0

150.8488	1.013e0

150.8613	1.013e0

150.8944	1.013e0

150.9299	1.013e0

150.9464	1.013e0

150.9762	1.013e0

151.0048	1.013e0

151.1149	2.025e0

151.1652	2.025e0

151.2204	1.013e0

151.2495	3.038e0

151.3090	1.013e0

151.3355	2.025e0

151.3742	1.013e0

151.4123	2.065e0

151.4378	2.025e0

151.4660	1.013e0

151.4892	1.013e0

151.5445	1.013e0

151.6221	8.101e0

151.6542	3.038e0

151.6917	1.013e0

151.7131	2.025e0

151.7305	1.013e0

151.7704	1.013e0

151.8024	1.013e0

151.8224	2.025e0

151.8558	2.025e0

151.8878	1.013e0

152.0030	1.013e0

152.0750	1.013e0

152.1437	1.013e0

152.1695	1.013e0

152.1925	1.013e0

152.2473	4.051e0

152.3897	2.025e0

152.4386	1.013e0

152.4669	2.025e0

152.5353	3.038e0

152.5695	1.013e0

152.6062	2.025e0

152.6224	1.013e0

152.6450	1.013e0

152.6616	1.013e0

152.7537	1.013e0

152.8092	2.025e0

152.8359	1.013e0

152.8914	1.013e0

152.9936	2.025e0

153.0195	1.013e0

153.0424	2.025e0

153.0591	1.013e0

153.1048	2.025e0

153.1363	2.025e0

153.1580	1.013e0

153.1774	1.013e0

153.2152	2.025e0

153.2658	1.013e0

153.3353	1.013e0

153.3813	1.013e0

153.4081	1.013e0

153.4903	1.013e0

153.5029	1.013e0

153.5852	2.025e0

153.6499	2.025e0

153.7144	5.063e0

153.7515	2.025e0

153.7662	2.025e0

153.8259	1.013e0

153.8748	4.051e0

153.9178	1.013e0

153.9309	1.013e0

153.9940	2.025e0

154.0334	1.013e0

154.0733	1.013e0

154.1158	1.013e0

154.1342	2.025e0

154.1701	2.025e0

154.2032	2.025e0

154.2266	2.025e0

154.2479	1.013e0

154.2673	1.013e0

154.3337	1.013e0

154.3598	1.013e0

154.3888	3.038e0

154.4133	2.025e0

154.4523	1.013e0

154.4824	2.025e0

154.5085	1.013e0

154.5549	2.025e0

154.6274	1.013e0

154.6541	1.013e0

154.6899	2.025e0

154.8075	2.025e0

154.8512	2.025e0

154.8884	1.013e0

154.9339	3.038e0

155.0078	1.013e0

155.0469	1.013e0

155.0923	3.038e0

155.1298	1.013e0

155.1496	1.013e0

155.1664	1.013e0

155.2064	1.013e0

155.2959	1.013e0

155.3418	1.013e0

155.3635	2.025e0

155.3820	1.013e0

155.4013	1.013e0

155.4227	2.025e0

155.4479	1.013e0

155.4748	1.013e0

155.5205	1.013e0

155.5406	1.013e0

155.5727	2.025e0

155.6267	1.013e0

155.6536	1.013e0

155.6732	2.025e0

155.7061	1.013e0

155.7756	1.013e0

155.8023	1.013e0

155.8460	1.013e0

155.8717	1.013e0

155.9086	2.025e0

155.9536	2.025e0

155.9813	2.025e0

156.0417	2.025e0

156.0725	4.051e0

156.0920	2.383e0

156.2006	1.013e0

156.2309	1.013e0

156.2502	1.013e0

156.2835	1.013e0

156.3171	1.013e0

156.3433	1.013e0

156.3731	1.013e0

156.4067	2.025e0

156.4332	1.013e0

156.4559	1.013e0

156.4762	1.013e0

156.4963	1.013e0

156.5656	4.051e0

156.6028	2.025e0

156.6358	1.013e0

156.6605	2.025e0

156.6824	1.013e0

156.7242	3.038e0

156.7838	2.025e0

156.8192	1.013e0

156.8468	3.038e0

156.8853	2.025e0

156.9190	1.013e0

156.9717	1.013e0

156.9901	2.025e0

157.0121	1.013e0

157.0480	1.013e0

157.0782	3.038e0

157.1204	4.051e0

157.1815	1.013e0

157.2611	1.013e0

157.2906	3.038e0

157.3745	2.025e0

157.4531	2.025e0

157.4913	1.013e0

157.5115	2.025e0

157.5711	2.025e0

157.6048	2.025e0

157.6351	1.013e0

157.6616	1.013e0

157.7014	2.025e0

157.7267	2.025e0

157.7660	3.038e0

157.7991	3.038e0

157.8552	4.051e0

157.9499	4.051e0

157.9739	2.025e0

157.9918	1.013e0

158.0319	3.038e0

158.0589	2.025e0

158.0923	1.013e0

158.1303	2.025e0

158.1759	1.013e0

158.2380	3.038e0

158.2845	4.051e0

158.3161	1.013e0

158.3356	1.013e0

158.3964	1.013e0

158.4134	2.025e0

158.4330	1.013e0

158.4687	3.038e0

158.5237	1.013e0

158.5630	4.051e0

158.6002	1.013e0

158.6249	5.063e0

158.7275	2.025e0

158.7614	2.025e0

158.8007	1.013e0

158.8447	1.013e0

158.8784	1.013e0

158.9045	2.025e0

158.9433	2.025e0

158.9788	1.013e0

158.9957	1.013e0

159.0487	1.013e0

159.1325	1.013e0

159.1456	1.013e0

159.2032	2.025e0

159.2270	1.013e0

159.3103	1.013e0

159.3340	1.013e0

159.4184	3.038e0

159.4582	1.013e0

159.4733	2.025e0

159.5095	2.025e0

159.5372	2.315e0

159.5552	1.013e0

159.5926	1.013e0

159.6300	2.025e0

159.6489	1.013e0

159.7099	1.013e0

159.7314	2.903e0

159.7594	2.025e0

159.7833	1.013e0

159.8274	3.038e0

159.8673	1.013e0

159.9330	2.025e0

159.9584	1.013e0

159.9949	2.025e0

160.0164	2.025e0

160.0674	2.025e0

160.1079	2.025e0

160.1391	1.013e0

160.1697	5.063e0

160.1918	2.025e0

160.2423	2.025e0

160.3077	2.025e0

160.3283	1.560e0

160.4850	3.038e0

160.5097	1.013e0

160.6177	1.013e0

160.6565	4.051e0

160.6878	1.013e0

160.7759	2.025e0

160.7964	3.038e0

160.8310	2.025e0

160.8480	2.025e0

160.8889	4.051e0

160.9107	1.013e0

160.9572	1.013e0

161.0023	3.038e0

161.0218	1.013e0

161.0818	1.013e0

161.1362	1.013e0

161.1703	2.025e0

161.2070	1.013e0

161.2336	2.025e0

161.2983	1.013e0

161.3348	5.063e0

161.3586	1.013e0

161.4094	2.025e0

161.4502	1.013e0

161.5007	4.051e0

161.5256	2.025e0

161.5682	4.051e0

161.6091	1.013e0

161.6589	1.013e0

161.7197	4.051e0

161.7661	2.025e0

161.7977	1.013e0

161.8279	3.038e0

161.8722	1.013e0

161.9332	1.013e0

161.9564	2.025e0

162.0414	1.013e0

162.1020	1.013e0

162.1152	1.013e0

162.1902	2.025e0

162.2253	3.038e0

162.2576	1.013e0

162.3237	2.025e0

162.3867	3.038e0

162.4116	2.025e0

162.4487	2.025e0

162.4657	2.025e0

162.4913	2.025e0

162.5742	2.025e0

162.5925	1.013e0

162.6403	2.025e0

162.6835	4.051e0

162.7153	1.013e0

162.7419	1.013e0

162.7585	1.013e0

162.8090	3.038e0

162.8388	2.025e0

162.8576	2.025e0

162.9146	1.013e0

162.9656	1.013e0

162.9978	3.545e0

163.0289	2.025e0

163.0476	1.013e0

163.0795	3.038e0

163.1214	2.430e1

163.1864	1.013e0

163.2307	1.013e0

163.2506	1.013e0

163.3083	1.013e0

163.3664	2.025e0

163.3972	1.013e0

163.4272	1.013e0

163.4540	1.013e0

163.4763	2.025e0

163.5088	2.025e0

163.5430	1.013e0

163.5654	4.051e0

163.7191	4.051e0

163.7565	3.038e0

163.7841	2.025e0

163.8160	2.025e0

163.8793	1.013e0

163.9032	1.013e0

163.9611	1.013e0

163.9912	1.013e0

164.0373	2.025e0

164.0645	3.038e0

164.1238	3.038e0

164.1651	1.013e0

164.2021	1.013e0

164.2227	1.013e0

164.2604	3.038e0

164.3153	5.063e0

164.3927	1.013e0

164.4305	1.013e0

164.5283	2.025e0

164.5669	1.013e0

164.6453	1.013e0

164.6727	1.013e0

164.7104	1.013e0

164.7345	1.013e0

164.7715	2.025e0

164.8017	1.013e0

164.8670	1.013e0

164.8875	1.013e0

164.9305	2.025e0

164.9528	1.013e0

164.9839	3.038e0

165.0458	3.038e0

165.0665	2.025e0

165.0922	1.013e0

165.1357	3.038e0

165.1741	4.051e0

165.2454	2.025e0

165.2833	1.013e0

165.3142	1.013e0

165.3434	2.025e0

165.3657	2.025e0

165.4505	4.051e0

165.4812	1.013e0

165.5087	1.013e0

165.5465	2.025e0

165.5740	1.013e0

165.5946	1.013e0

165.6357	1.013e0

165.6728	1.013e0

165.7403	3.038e0

165.7653	2.025e0

165.8099	1.013e0

165.8409	1.013e0

165.9055	1.013e0

165.9359	1.013e0

166.0013	2.025e0

166.0770	2.025e0

166.1011	1.013e0

166.1352	1.013e0

166.1791	1.013e0

166.2151	2.025e0

166.2547	1.013e0

166.2925	1.013e0

166.3150	3.038e0

166.3580	2.025e0

166.4496	1.013e0

166.4900	3.038e0

166.5151	1.013e0

166.5495	1.013e0

166.5908	1.013e0

166.6150	1.013e0

166.6866	2.025e0

166.7292	2.025e0

166.7722	1.013e0

166.7929	1.013e0

166.8446	3.038e0

166.8946	2.025e0

166.9579	1.013e0

166.9782	1.013e0

166.9986	1.013e0

167.0294	1.013e0

167.0743	1.013e0

167.1157	1.013e0

167.1467	1.013e0

167.1708	1.013e0

167.1933	2.025e0

167.2143	3.038e0

167.2546	3.038e0

167.3129	2.025e0

167.3507	2.025e0

167.3710	2.326e0

167.5285	2.025e0

167.5457	1.013e0

167.5865	1.013e0

167.6001	1.013e0

167.6206	1.013e0

167.6583	1.013e0

167.6756	1.013e0

167.7516	1.013e0

167.8241	1.013e0

167.9955	1.013e0

168.0197	1.013e0

168.0474	1.013e0

168.1096	1.013e0

168.1442	2.025e0

168.1995	1.013e0

168.2547	1.013e0

168.2803	2.025e0

168.2957	1.013e0

168.3230	1.013e0

168.3616	4.051e0

168.5198	1.013e0

168.5371	1.013e0

168.5683	1.013e0

168.6134	1.013e0

168.6375	2.025e0

168.7025	1.013e0

168.7332	2.025e0

168.8470	5.063e0

168.9010	2.025e0

168.9235	2.025e0

168.9460	2.025e0

168.9911	2.025e0

169.0101	1.013e0

169.0690	1.013e0

169.1239	1.013e0

169.1411	1.013e0

169.1719	1.013e0

169.2166	1.013e0

169.2444	1.013e0

169.2773	2.025e0

169.3172	1.013e0

169.3380	1.013e0

169.3707	3.038e0

169.4489	2.025e0

169.4940	1.013e0

169.5114	1.013e0

169.5530	1.013e0

169.5737	1.013e0

169.6080	1.013e0

169.6321	1.013e0

169.6665	1.013e0

169.7234	2.025e0

169.7578	3.038e0

169.7874	1.013e0

169.8274	2.025e0

169.8804	4.051e0

169.9159	2.025e0

169.9540	1.013e0

170.0078	2.025e0

170.0547	1.013e0

170.1327	4.051e0

170.1795	1.013e0

170.2019	2.025e0

170.2502	2.025e0

170.2917	2.025e0

170.3071	2.025e0

170.3435	3.038e0

170.3850	2.025e0

170.4110	2.025e0

170.4736	1.013e0

170.5119	1.013e0

170.5640	2.025e0

170.5831	2.025e0

170.6404	3.038e0

170.7082	2.025e0

170.7726	1.013e0

170.8874	1.013e0

170.9067	3.038e0

170.9816	3.038e0

171.0363	1.013e0

171.0674	1.013e0

171.1678	3.038e0

171.2094	1.013e0

171.2442	1.013e0

171.2651	2.025e0

171.3139	4.051e0

171.4654	2.025e0

171.5090	1.013e0

171.5333	1.013e0

171.5647	1.013e0

171.5821	1.013e0

171.6396	2.025e0

171.6761	1.013e0

171.7023	4.051e0

171.7249	1.013e0

171.7737	1.013e0

171.8129	3.038e0

171.8451	2.025e0

171.9549	3.038e0

171.9985	2.025e0

172.0560	2.025e0

172.0918	1.264e0

172.1153	3.038e0

172.1607	1.013e0

172.1956	2.025e0

172.2340	1.013e0

172.2549	1.013e0

172.2863	1.013e0

172.3593	6.076e0

172.4049	2.025e0

172.4223	1.013e0

172.4572	1.013e0

172.5085	6.076e0

172.6246	1.013e0

172.6560	1.013e0

172.6769	1.013e0

172.7083	1.013e0

172.7607	2.025e0

172.8148	2.025e0

172.8549	1.013e0

172.8804	3.038e0

172.9089	4.051e0

172.9458	1.013e0

173.0220	5.063e0

173.0594	2.025e0

173.1013	2.025e0

173.1223	2.025e0

173.1486	1.013e0

173.1870	1.013e0

173.2220	2.025e0

173.2605	3.038e0

173.3375	2.025e0

173.3655	2.025e0

173.3934	2.025e0

173.4161	2.025e0

173.4399	5.063e0

173.4755	2.025e0

173.5088	1.013e0

173.5647	1.013e0

173.5892	2.025e0

173.6242	1.013e0

173.6976	2.025e0

173.7466	1.013e0

173.8551	1.013e0

173.8761	2.025e0

173.9146	1.013e0

173.9722	3.038e0

174.0174	4.559e0

174.0511	1.013e0

174.0792	2.025e0

174.1895	2.025e0

174.2263	2.025e0

174.2683	1.013e0

174.3103	1.013e0

174.3531	3.038e0

174.3839	3.038e0

174.4118	1.013e0

174.4594	2.025e0

174.4961	1.013e0

174.5384	2.025e0

174.5832	5.063e0

174.6626	3.038e0

174.7075	1.013e0

174.7478	2.025e0

174.7990	1.013e0

174.8393	2.025e0

174.8814	2.025e0

174.9217	1.013e0

174.9953	1.013e0

175.0445	2.025e0

175.0760	1.013e0

175.1047	4.051e0

175.1252	1.013e0

175.1989	5.063e0

175.2392	2.025e0

175.2831	1.013e0

175.3287	1.013e0

175.3499	2.025e0

175.3959	2.025e0

175.4348	1.013e0

175.4630	1.013e0

175.4859	2.025e0

175.5177	2.025e0

175.5853	4.051e0

175.6304	2.025e0

175.6708	1.013e0

175.7956	2.025e0

175.8290	3.038e0

175.9413	1.013e0

175.9908	2.025e0

176.0333	1.013e0

176.0865	1.013e0

176.1326	1.013e0

176.1908	2.025e0

176.2312	1.013e0

176.2820	3.038e0

176.3191	1.013e0

176.3895	1.013e0

176.4317	1.013e0

176.4756	2.025e0

176.5034	4.051e0

176.5394	2.025e0

176.5686	3.082e0

176.6585	1.013e0

176.7569	1.013e0

176.7957	1.013e0

176.8608	2.025e0

176.9013	1.013e0

176.9347	2.025e0

176.9505	1.013e0

177.0005	3.038e0

177.0767	5.063e0

177.1314	5.063e0

177.1881	1.013e0

177.2146	2.025e0

177.2586	1.013e0

177.3139	5.063e0

177.3432	1.013e0

177.3873	2.025e0

177.4568	1.013e0

177.4851	3.038e0

177.5246	2.025e0

177.5474	2.025e0

177.6091	1.013e0

177.6302	1.013e0

177.6707	3.038e0

177.6985	3.038e0

177.7579	3.038e0

177.7981	4.051e0

177.8748	3.038e0

177.8999	1.013e0

177.9210	1.013e0

177.9422	1.013e0

177.9898	2.025e0

178.0128	1.013e0

178.0516	1.013e0

178.0955	3.038e0

178.1293	1.013e0

178.1800	4.051e0

178.2188	2.025e0

178.2438	1.013e0

178.2720	1.013e0

178.3214	1.013e0

178.4415	1.013e0

178.4878	1.013e0

178.5112	2.025e0

178.5396	4.051e0

178.5809	1.013e0

178.6143	2.025e0

178.6620	3.038e0

178.7539	1.013e0

178.8254	1.013e0

178.8649	2.025e0

178.9322	2.025e0

178.9746	1.013e0

179.0136	2.025e0

179.0807	1.013e0

179.1114	2.025e0

179.1687	2.025e0

179.2025	2.025e0

179.2626	2.025e0

179.2874	2.025e0

179.3334	1.013e0

179.3940	1.013e0

179.4120	1.013e0

179.4481	1.013e0

179.4765	2.025e0

179.5101	2.025e0

179.5394	3.038e0

179.5933	1.013e0

179.6286	1.013e0

179.6861	1.013e0

179.7114	1.013e0

179.7789	1.013e0

179.8179	2.025e0

179.8463	2.025e0

179.8728	2.025e0

179.9120	2.025e0

179.9353	1.013e0

179.9641	2.025e0

179.9967	1.013e0

180.0320	1.013e0

180.0710	1.013e0

180.0905	2.025e0

180.1383	1.013e0

180.1775	2.025e0

180.2137	2.025e0

180.2639	1.013e0

180.3319	3.038e0

180.3587	3.038e0

180.3844	2.025e0

180.4816	1.013e0

180.5119	2.025e0

180.5349	1.013e0

180.6772	1.013e0

180.7440	2.025e0

180.8238	2.025e0

180.8664	1.013e0

180.9130	1.013e0

180.9312	1.013e0

180.9632	3.038e0

180.9957	1.013e0

181.0134	1.013e0

181.0982	6.278e1

181.1745	1.013e0

181.2086	3.349e0

181.2493	1.013e0

181.2920	2.025e0

181.3274	1.013e0

181.3997	3.038e0

181.4179	2.025e0

181.5118	3.038e0

181.5386	1.013e0

181.5928	1.013e0

181.6147	2.025e0

181.6539	1.013e0

181.6859	2.025e0

181.7152	3.038e0

181.7357	1.013e0

181.7872	3.038e0

181.8276	2.025e0

181.8794	1.013e0

181.9239	2.025e0

182.0047	1.013e0

182.0713	2.025e0

182.1026	5.063e0

182.1548	1.013e0

182.2099	4.051e0

182.2561	1.013e0

182.2987	1.013e0

182.4173	1.013e0

182.4604	1.013e0

182.4925	2.025e0

182.5405	2.025e0

182.5672	1.013e0

182.5928	1.013e0

182.6184	1.013e0

182.6720	1.013e0

182.7184	1.013e0

182.7468	1.013e0

182.7721	1.013e0

182.8010	2.025e0

182.8375	3.851e0

182.8874	2.025e0

182.9265	1.013e0

182.9553	1.013e0

182.9883	1.013e0

183.0066	2.025e0

183.0617	2.025e0

183.1229	2.895e0

183.1471	3.038e0

183.1970	1.013e0

183.2201	2.025e0

183.2397	1.013e0

183.2811	5.063e0

183.3621	4.051e0

183.4160	2.025e0

183.5203	1.013e0

183.6858	3.038e0

183.7096	3.038e0

183.7651	1.013e0

183.8293	1.013e0

183.8854	3.038e0

183.9327	3.038e0

183.9666	1.013e0

183.9987	1.013e0

184.0426	1.013e0

184.0914	2.025e0

184.1396	2.025e0

184.1645	1.013e0

184.1936	1.013e0

184.2554	1.013e0

184.2840	2.025e0

184.4463	1.013e0

184.4856	1.013e0

184.5403	1.013e0

184.5624	1.013e0

184.6266	1.013e0

184.7137	2.025e0

184.7783	1.013e0

184.8140	1.013e0

184.8885	3.038e0

184.9157	1.013e0

184.9622	1.013e0

185.0747	2.025e0

185.0962	2.025e0

185.1502	2.025e0

185.1912	4.051e0

185.2382	3.038e0

185.2875	3.038e0

185.3096	3.038e0

185.3535	2.025e0

185.4107	2.025e0

185.4687	2.025e0

185.5030	4.051e0

185.5483	2.025e0

185.6319	1.013e0

185.6859	1.013e0

185.7268	4.051e0

185.8272	1.013e0

185.9498	3.038e0

186.0617	3.038e0

186.0992	1.013e0

186.1332	2.025e0

186.1853	1.013e0

186.2477	2.025e0

186.2853	2.025e0

186.3267	2.025e0

186.3539	4.051e0

186.3856	1.013e0

186.4850	2.025e0

186.5164	2.025e0

186.5433	3.038e0

186.5808	1.013e0

186.6172	1.013e0

186.7443	3.038e0

186.7886	1.013e0

186.8710	1.013e0

186.9337	1.013e0

186.9696	1.013e0

187.0460	2.025e0

187.1148	1.013e0

187.1656	1.013e0

187.1880	1.013e0

187.2457	1.013e0

187.2946	2.025e0

187.3424	3.038e0

187.3658	2.025e0

187.3945	2.025e0

187.4235	1.013e0

187.4422	1.013e0

187.5224	3.774e0

187.5470	1.013e0

187.5694	1.013e0

187.6313	1.013e0

187.6565	3.038e0

187.7042	2.025e0

187.7731	1.013e0

187.7946	1.013e0

187.8428	1.013e0

187.8934	1.013e0

187.9756	2.025e0

188.0064	1.013e0

188.0388	1.013e0

188.0752	1.013e0

188.1089	1.013e0

188.1339	2.025e0

188.1699	2.025e0

188.2029	2.025e0

188.2435	1.013e0

188.2651	2.025e0

188.3205	3.038e0

188.3454	1.013e0

188.3639	1.013e0

188.3926	1.013e0

188.4286	1.013e0

188.4807	1.013e0

188.5597	1.013e0

188.5934	1.013e0

188.6137	2.025e0

188.6390	3.038e0

188.7063	1.013e0

188.7324	1.013e0

188.7611	2.025e0

188.8654	2.025e0

188.9104	1.013e0

188.9618	3.038e0

189.0237	3.038e0

189.1082	1.013e0

189.1316	2.025e0

189.1586	1.013e0

189.1996	2.025e0

189.2288	1.013e0

189.2540	1.013e0

189.2863	1.013e0

189.3239	2.025e0

189.4184	1.013e0

189.4501	2.025e0

189.5187	2.025e0

189.5689	2.025e0

189.6123	1.013e0

189.6472	2.025e0

189.7149	1.013e0

189.7491	2.025e0

189.7734	1.013e0

189.8247	1.013e0

189.8572	1.013e0

189.8815	3.038e0

189.9166	1.013e0

190.0040	1.013e0

190.0230	1.013e0

190.1100	1.013e0

190.1437	1.013e0

190.1942	2.025e0

190.2160	1.013e0

190.2608	2.025e0

190.3005	1.013e0

190.3411	2.141e0

190.3615	2.025e0

190.4153	3.038e0

190.4434	1.013e0

190.4916	1.013e0

190.5349	1.013e0

190.6124	1.013e0

190.6449	2.025e0

190.7135	2.025e0

190.7406	2.025e0

190.7621	1.013e0

190.8181	1.013e0

190.8502	4.051e0

190.8783	4.051e0

190.9080	2.025e0

190.9265	2.025e0

190.9579	3.038e0

190.9937	1.013e0

191.0311	1.013e0

191.1078	4.051e0

191.2406	1.013e0

191.2983	1.013e0

191.4537	1.013e0

191.4899	1.013e0

191.5318	4.051e0

191.5783	2.025e0

191.6407	1.013e0

191.7437	1.013e0

191.7700	2.025e0

191.8115	2.025e0

191.8466	1.013e0

191.8874	2.025e0

191.9328	2.025e0

191.9760	1.013e0

192.0194	1.013e0

192.0537	3.038e0

192.0827	1.013e0

192.1116	1.013e0

192.1465	2.025e0

192.2220	1.013e0

192.2925	2.025e0

192.3251	1.013e0

192.3737	1.013e0

192.3956	1.013e0

192.4210	1.013e0

192.4580	2.025e0

192.4808	1.013e0

192.5024	1.013e0

192.5535	1.013e0

192.5803	1.013e0

192.6128	1.013e0

192.6568	1.013e0

192.6760	1.013e0

192.7087	1.013e0

192.7341	1.013e0

192.8898	1.013e0

192.9297	1.013e0

192.9787	1.013e0

193.0221	2.025e0

193.0536	2.025e0

193.1306	3.038e0

193.1779	1.013e0

193.2032	1.013e0

193.2357	1.013e0

193.2664	1.013e0

193.3156	2.025e0

193.3394	2.025e0

193.4395	3.038e0

193.4695	3.038e0

193.5261	5.063e0

193.5766	1.013e0

193.7353	2.025e0

193.7779	2.025e0

193.8160	1.013e0

193.8409	2.025e0

193.9068	2.025e0

193.9315	1.013e0

193.9748	3.038e0

193.9994	3.038e0

194.0464	1.013e0

194.0700	2.025e0

194.1241	1.013e0

194.1607	1.013e0

194.1897	1.013e0

194.2570	1.013e0

194.2769	2.025e0

194.3168	1.013e0

194.3423	2.025e0

194.3819	2.306e0

194.4165	2.025e0

194.4711	1.013e0

194.4979	2.025e0

194.5348	1.013e0

194.5810	4.051e0

194.6074	2.025e0

194.6455	2.025e0

194.6907	3.038e0

194.7255	2.025e0

194.7685	1.013e0

194.8091	1.013e0

194.8497	1.013e0

194.8981	1.013e0

194.9654	1.013e0

194.9908	1.013e0

195.0276	1.013e0

195.0467	2.025e0

195.1129	2.025e0

195.1508	1.013e0

195.1979	1.013e0

195.2381	2.025e0

195.2762	1.013e0

195.2990	3.038e0

195.3745	2.025e0

195.4181	1.013e0

195.4399	1.013e0

195.4653	1.013e0

195.5126	3.038e0

195.5621	2.025e0

195.6000	1.013e0

195.6182	1.013e0

195.6745	2.025e0

195.7037	2.025e0

195.7711	2.025e0

195.7929	1.013e0

195.9458	2.025e0

195.9894	1.013e0

196.1315	1.013e0

196.1606	1.013e0

196.2244	1.013e0

196.3056	3.038e0

196.3700	2.025e0

196.3956	2.025e0

196.4323	1.013e0

196.4683	3.038e0

196.4959	1.013e0

196.5315	2.025e0

196.5560	2.025e0

196.5742	1.013e0

196.6153	1.013e0

196.6380	1.013e0

196.7201	1.013e0

196.7601	2.025e0

196.7818	3.038e0

196.8065	4.051e0

196.8474	3.038e0

196.8782	2.025e0

196.9206	1.013e0

196.9487	3.038e0

197.0766	3.038e0

197.1029	1.013e0

197.1632	2.025e0

197.2343	1.013e0

197.4639	2.025e0

197.5592	2.025e0

197.6167	2.025e0

197.6523	1.013e0

197.7116	2.025e0

197.7869	1.013e0

197.8240	1.013e0

197.8565	3.038e0

197.8786	2.025e0

197.9847	1.013e0

198.0221	2.025e0

198.0414	1.013e0

198.0833	2.025e0

198.1998	2.025e0

198.2332	2.025e0

198.3209	3.038e0

198.4260	1.013e0

198.4453	1.013e0

198.4837	5.063e0

198.5348	1.013e0

198.6134	2.025e0

198.8036	1.013e0

198.8286	2.025e0

198.8567	1.013e0

198.8937	1.013e0

198.9170	2.025e0

198.9354	1.013e0

198.9842	1.013e0

199.0251	2.025e0

199.0472	1.013e0

199.0909	2.025e0

199.1204	2.025e0

199.1496	1.013e0

199.1752	1.013e0

199.2110	2.025e0

199.2356	1.013e0

199.2951	2.025e0

199.3253	2.025e0

199.4187	1.013e0

199.4451	1.013e0

199.5201	2.025e0

199.5542	1.013e0

199.5706	2.025e0

199.5950	1.013e0

199.6293	2.025e0

199.6803	4.051e0

199.7264	2.025e0

199.7648	1.013e0

199.8015	1.013e0

199.8299	2.025e0

199.8602	2.025e0

199.8934	2.025e0

199.9482	2.025e0

199.9781	1.013e0

200.0354	4.051e0

200.0651	1.013e0

200.1021	1.013e0

200.1479	4.051e0

200.1940	2.025e0

200.2769	2.025e0

200.3277	2.025e0

200.4113	3.038e0

200.4890	1.013e0

200.5256	2.025e0

200.6138	1.013e0

200.6395	1.013e0

200.6730	5.021e0

200.7184	1.013e0

200.7395	2.025e0

200.7863	1.013e0

200.8175	1.013e0

200.8433	1.013e0

200.8889	1.013e0

200.9213	3.038e0

200.9524	1.013e0

200.9883	2.025e0

201.0066	2.025e0

201.0764	2.025e0

201.1112	1.013e0

201.1628	1.013e0

201.2503	1.013e0

201.2981	3.038e0

201.3297	1.013e0

201.3684	2.025e0

201.4181	2.025e0

201.4687	2.025e0

201.4880	2.025e0

201.5467	4.051e0

201.5743	1.013e0

201.6002	1.013e0

201.6201	1.013e0

201.6586	3.038e0

201.7195	2.025e0

201.8192	1.013e0

201.8388	2.025e0

201.8721	2.025e0

201.9047	3.099e0

201.9587	2.025e0

202.0045	2.025e0

202.0461	2.025e0

202.1297	1.013e0

202.1517	2.025e0

202.1700	1.013e0

202.2674	2.025e0

202.3098	1.013e0

202.3336	1.013e0

202.3596	1.013e0

202.3779	1.013e0

202.4277	2.025e0

202.4617	2.025e0

202.5124	3.038e0

202.5335	2.025e0

202.5713	2.025e0

202.6111	3.038e0

202.6639	2.025e0

202.7075	1.013e0

202.7277	2.025e0

202.8092	1.013e0

202.8328	1.013e0

202.9340	1.013e0

202.9613	1.013e0

203.0009	3.038e0

203.0373	1.013e0

203.2012	2.025e0

203.2489	3.038e0

203.2880	2.025e0

203.3094	4.051e0

203.3929	2.025e0

203.4186	1.013e0

203.5008	2.025e0

203.5220	1.013e0

203.5514	1.013e0

203.6638	4.051e0

203.6952	1.013e0

203.7451	1.013e0

203.7950	1.013e0

203.8486	3.038e0

203.8816	1.013e0

203.9138	4.051e0

203.9802	1.013e0

204.0181	2.025e0

204.0408	2.025e0

204.0876	3.038e0

204.1417	2.715e1

204.2007	3.038e0

204.2371	4.051e0

204.2692	1.013e0

204.2950	1.013e0

204.3356	2.025e0

204.4242	1.013e0

204.4510	1.013e0

204.5461	2.025e0

204.5912	3.038e0

204.6257	2.333e0

204.6538	4.051e0

204.7170	1.013e0

204.7807	3.038e0

204.8371	3.038e0

204.9268	2.025e0

204.9712	1.013e0

204.9913	1.013e0

205.1036	3.038e0

205.1458	4.051e0

205.1728	1.239e0

205.2260	2.025e0

205.2872	1.013e0

205.3576	2.025e0

205.4111	2.025e0

205.4572	4.051e0

205.5239	2.025e0

205.5461	2.025e0

205.6006	3.038e0

205.6260	1.013e0

205.6969	2.025e0

205.7385	2.025e0

205.7637	1.013e0

205.8772	1.013e0

205.9126	2.025e0

205.9958	1.013e0

206.0311	1.013e0

206.0870	2.025e0

206.1290	2.025e0

206.1661	3.038e0

206.2231	2.025e0

206.2628	2.025e0

206.2977	1.013e0

206.3607	2.025e0

206.4236	1.013e0

206.4849	3.038e0

206.5264	2.025e0

206.6109	2.025e0

206.6385	2.025e0

206.7174	2.025e0

206.7950	3.038e0

206.8561	3.038e0

206.9238	2.439e0

206.9527	8.161e0

207.0286	3.038e0

207.1651	1.013e0

207.2179	2.025e0

207.2634	1.013e0

207.2987	1.013e0

207.3191	2.025e0

207.3517	3.038e0

207.3748	1.013e0

207.4176	2.025e0

207.4586	3.038e0

207.5027	2.025e0

207.5357	3.038e0

207.6197	1.013e0

207.6542	2.025e0

207.7924	2.025e0

207.9485	1.013e0

207.9874	1.013e0

208.0412	2.025e0

208.0671	1.013e0

208.0989	3.038e0

208.1248	2.025e0

208.1489	1.013e0

208.1750	1.013e0

208.2764	3.038e0

208.3330	1.013e0

208.3939	3.038e0

208.4366	2.025e0

208.4931	2.025e0

208.6239	2.025e0

208.7169	4.051e0

208.7726	3.038e0

208.8142	2.025e0

208.9566	1.090e1

209.0559	3.038e0

209.0804	1.013e0

209.1381	1.013e0

209.1737	1.013e0

209.1958	1.013e0

209.3708	3.038e0

209.4050	2.025e0

209.4322	2.025e0

209.4992	1.013e0

209.5943	2.025e0

209.7473	4.051e0

209.7879	1.013e0

209.8147	3.038e0

209.8853	5.063e0

209.9463	2.025e0

209.9672	3.038e0

210.0152	1.013e0

210.0655	2.025e0

210.1233	2.025e0

210.1492	1.013e0

210.1810	1.013e0

210.2500	1.013e0

210.3003	1.013e0

210.3581	2.025e0

210.3767	1.013e0

210.4178	2.025e0

210.4923	1.013e0

210.5202	2.025e0

210.5561	2.025e0

210.7112	1.723e0

210.7397	2.307e0

210.7771	4.051e0

210.8418	2.025e0

210.8637	1.013e0

210.9790	3.038e0

211.0127	1.013e0

211.0674	3.038e0

211.1155	4.051e0

211.1745	3.038e0

211.2145	1.013e0

211.2873	1.013e0

211.3069	2.025e0

211.3415	2.025e0

211.4158	5.063e0

211.5039	1.013e0

211.5544	1.013e0

211.5767	1.013e0

211.6309	1.013e0

211.6509	1.013e0

211.7244	1.013e0

211.7547	1.013e0

211.8871	1.013e0

211.9167	2.025e0

211.9413	1.013e0

212.0000	3.038e0

212.0645	2.025e0

212.1456	3.182e0

212.1916	1.013e0

212.2176	2.025e0

212.2617	1.013e0

212.2927	1.013e0

212.3339	2.025e0

212.3740	1.013e0

212.3974	1.013e0

212.4401	2.025e0

212.4592	2.025e0

212.4986	1.013e0

212.5447	1.013e0

212.5905	1.013e0

212.6219	2.025e0

212.7304	1.013e0

212.7595	2.025e0

212.9008	1.013e0

212.9474	5.063e0

212.9962	2.025e0

213.0205	1.013e0

213.0731	3.038e0

213.1068	1.013e0

213.2454	1.013e0

213.2791	2.025e0

213.3352	1.013e0

213.4794	1.013e0

213.5488	1.013e0

213.5697	2.025e0

213.6373	2.025e0

213.6801	2.025e0

213.7032	3.038e0

213.7625	1.013e0

213.7894	2.167e0

213.8206	1.013e0

213.8680	3.038e0

213.9103	1.013e0

214.0030	2.025e0

214.0653	1.013e0

214.1506	2.025e0

214.1859	3.038e0

214.2384	2.025e0

214.3158	4.051e0

214.3924	1.013e0

214.4677	2.025e0

214.5472	2.025e0

214.6628	2.025e0

214.6868	3.590e0

214.7849	1.013e0

214.8039	1.013e0

214.8753	3.038e0

214.9371	2.025e0

215.0028	1.013e0

215.0365	2.025e0

215.0856	1.013e0

215.2295	2.025e0

215.2920	1.013e0

215.3541	1.013e0

215.4356	2.025e0

215.4803	2.025e0

215.5065	1.013e0

215.5629	2.025e0

215.5993	3.038e0

215.6614	2.025e0

215.7008	1.013e0

215.7902	1.013e0

215.8396	6.076e0

215.8690	2.025e0

215.9239	1.013e0

215.9503	2.025e0

215.9803	2.025e0

216.0329	1.013e0

216.0638	2.025e0

216.0968	2.025e0

216.1383	2.025e0

216.2585	1.013e0

216.3490	1.013e0

216.4202	2.025e0

216.4562	2.025e0

216.4977	1.013e0

216.5204	1.013e0

216.6088	2.025e0

216.6502	1.013e0

216.7166	3.038e0

216.7482	1.013e0

216.7717	2.025e0

216.8047	2.025e0

216.8263	3.038e0

216.9195	1.013e0

217.0003	2.025e0

217.0521	3.038e0

217.1305	1.013e0

217.1657	7.089e0

217.1960	2.025e0

217.2284	1.013e0

217.2793	1.013e0

217.3078	1.013e0

217.3507	2.025e0

217.4548	2.025e0

217.4914	1.013e0

217.5426	2.025e0

217.6207	2.025e0

217.7023	2.025e0

217.7524	2.025e0

217.7806	1.508e0

217.8244	1.013e0

217.8716	2.025e0

217.9259	4.974e0

217.9604	4.051e0

218.0003	2.025e0

218.0485	1.013e0

218.0940	4.051e0

218.1422	2.025e0

218.2359	1.013e0

218.2661	2.025e0

218.3208	2.025e0

218.3425	1.013e0

218.4100	4.051e0

218.4532	2.025e0

218.4934	2.025e0

218.5228	1.013e0

218.5551	1.013e0

218.5987	3.038e0

218.6533	1.013e0

218.6757	1.013e0

218.7117	2.025e0

218.7472	2.025e0

218.7683	2.025e0

218.8374	1.013e0

218.9376	3.038e0

218.9895	3.489e0

219.0121	2.025e0

219.0500	1.013e0

219.0844	4.051e0

219.1237	1.013e0

219.1814	2.025e0

219.2653	1.013e0

219.3070	3.038e0

219.3600	1.013e0

219.3997	1.013e0

219.4275	1.013e0

219.4746	1.013e0

219.5181	3.038e0

219.5659	2.025e0

219.6437	1.013e0

219.7607	3.038e0

219.8069	3.038e0

219.8423	2.025e0

219.8729	1.013e0

219.8990	1.013e0

219.9202	1.013e0

219.9546	2.025e0

220.0447	1.013e0

220.0809	3.038e0

220.1207	1.013e0

220.1520	1.013e0

220.1793	2.025e0

220.2191	2.025e0

220.2590	1.013e0

220.2884	2.025e0

220.3496	1.013e0

220.3890	2.025e0

220.4189	3.038e0

220.4484	1.013e0

220.5032	1.013e0

220.5469	1.013e0

220.5715	2.025e0

220.6055	1.013e0

220.6346	2.025e0

220.6725	2.025e0

220.6928	2.025e0

220.8171	2.025e0

220.8898	1.013e0

220.9087	1.013e0

220.9409	1.013e0

221.0121	1.013e0

221.1155	2.025e0

221.1685	2.025e0

221.1891	1.013e0

221.2215	1.013e0

221.2578	1.013e0

221.2879	1.013e0

221.3202	1.013e0

221.3600	1.013e0

221.3915	1.013e0

221.4706	2.025e0

221.5252	1.013e0

221.5648	1.013e0

221.5934	1.013e0

221.6484	3.038e0

221.7071	1.013e0

221.7320	1.013e0

221.7983	1.013e0

221.8544	5.063e0

221.9692	1.013e0

222.0186	2.025e0

222.1087	3.038e0

222.1303	2.025e0

222.2298	1.013e0

222.2654	1.013e0

222.3091	1.013e0

222.3490	1.013e0

222.4003	1.013e0

222.4365	2.025e0

222.5869	3.038e0

222.6438	2.025e0

222.7139	1.013e0

222.7453	1.013e0

222.7887	1.013e0

222.8434	3.038e0

222.9218	3.038e0

223.0244	2.025e0

223.0504	1.013e0

223.0903	1.013e0

223.1303	1.013e0

223.2533	1.013e0

223.3205	1.013e0

223.4499	3.038e0

223.5385	2.501e0

223.5620	3.038e0

223.6142	1.013e0

223.7056	1.013e0

223.7535	1.013e0

223.7734	1.013e0

223.8761	1.013e0

223.9124	1.013e0

223.9581	2.025e0

223.9926	1.013e0

224.0688	3.038e0

224.2144	7.089e0

224.2590	1.013e0

224.2933	4.051e0

224.3365	2.025e0

224.3734	3.038e0

224.4131	4.051e0

224.4854	2.025e0

224.5411	1.013e0

224.5832	2.025e0

224.6690	2.025e0

224.7203	1.013e0

224.7831	1.013e0

224.8376	2.025e0

224.9180	4.051e0

224.9711	2.025e0

225.0192	1.013e0

225.0388	1.013e0

225.0630	1.013e0

225.1444	1.620e1

225.1982	3.038e0

225.2307	2.490e0

225.2906	1.013e0

225.3278	2.025e0

225.3613	2.025e0

225.4047	3.038e0

225.4931	3.038e0

225.5254	2.025e0

225.5655	1.013e0

225.6282	1.013e0

225.6534	1.013e0

225.7449	1.013e0

225.7672	2.025e0

225.8221	2.025e0

225.8749	2.025e0

225.9089	1.013e0

225.9380	2.025e0

225.9797	1.013e0

226.0446	4.051e0

226.1234	7.323e2

226.1997	3.038e0

226.2470	5.063e0

226.2817	2.025e0

226.3087	1.013e0

226.3501	2.025e0

226.4316	2.025e0

226.4765	4.051e0

226.5322	1.013e0

226.5838	2.025e0

226.6161	2.025e0

226.6468	5.063e0

226.7081	1.013e0

226.7734	2.160e0

226.8055	2.025e0

226.8553	5.063e0

226.8860	2.025e0

226.9206	2.025e0

226.9559	1.013e0

226.9877	4.051e0

227.0236	2.025e0

227.1298	1.370e2

227.2099	3.038e0

227.2368	2.752e0

227.2881	6.298e0

227.3421	2.025e0

227.4083	2.025e0

227.4810	2.025e0

227.5404	1.013e0

227.5622	2.025e0

227.5882	1.013e0

227.6285	1.013e0

227.6886	1.013e0

227.7472	3.038e0

227.8076	6.076e0

227.8651	2.025e0

227.8889	1.013e0

227.9215	1.013e0

227.9694	3.038e0

228.0059	1.013e0

228.0407	2.025e0

228.1282	1.519e1

228.2000	2.025e0

228.2381	3.038e0

228.2993	1.013e0

228.3335	3.038e0

228.3658	1.013e0

228.4146	1.013e0

228.4792	1.013e0

228.5346	1.013e0

228.5674	1.013e0

228.6002	1.013e0

228.6403	5.063e0

228.7117	1.013e0

228.7517	1.013e0

228.7727	1.013e0

228.8131	1.013e0

228.8493	1.013e0

228.8848	1.013e0

228.9164	1.013e0

228.9471	3.038e0

229.0721	2.025e0

229.1218	1.013e0

229.1659	3.038e0

229.2186	2.025e0

229.2466	1.013e0

229.2811	3.038e0

229.3752	1.013e0

229.4405	1.013e0

229.5996	3.038e0

229.6249	2.025e0

229.6756	3.038e0

229.7557	3.106e0

229.7939	1.013e0

229.8746	1.013e0

229.9329	2.025e0

230.0455	2.025e0

230.0764	1.013e0

230.1188	2.025e0

230.1610	1.013e0

230.1973	2.025e0

230.2418	1.013e0

230.2859	1.013e0

230.3340	2.025e0

230.3900	1.013e0

230.4223	1.013e0

230.4551	1.013e0

230.4880	1.013e0

230.5515	2.025e0

230.5840	1.013e0

230.6396	3.038e0

230.6723	1.013e0

230.7252	1.013e0

230.7455	1.013e0

230.8226	1.013e0

230.9309	1.013e0

230.9801	1.013e0

231.0160	1.013e0

231.0417	2.025e0

231.1245	2.025e0

231.1573	3.038e0

231.2963	2.025e0

231.4152	1.013e0

231.4468	3.038e0

231.4809	1.013e0

231.5917	2.025e0

231.6685	3.038e0

231.7107	1.013e0

231.7601	1.013e0

231.8068	4.051e0

231.8857	1.013e0

231.9891	1.013e0

232.0296	1.013e0

232.1329	3.038e0

232.1784	2.025e0

232.2048	1.013e0

232.2813	1.013e0

232.3385	2.025e0

232.3668	1.013e0

232.4008	2.025e0

232.4428	4.051e0

232.5156	1.013e0

232.5738	1.013e0

232.6504	1.013e0

232.6909	1.013e0

232.7675	1.013e0

232.7954	1.013e0

232.8802	1.013e0

232.9094	2.025e0

232.9658	2.025e0

233.0848	2.025e0

233.1179	3.038e0

233.1626	2.025e0

233.2299	1.013e0

233.2564	2.025e0

233.3128	2.025e0

233.3553	1.013e0

233.3909	4.051e0

233.4442	1.013e0

233.4732	1.013e0

233.5001	2.025e0

233.5688	3.038e0

233.7013	1.013e0

233.7742	1.013e0

233.8268	1.013e0

233.8511	1.013e0

233.9156	1.013e0

233.9815	1.013e0

234.0158	2.025e0

234.0664	1.013e0

234.0910	1.013e0

234.1318	1.013e0

234.1533	2.025e0

234.1997	1.013e0

234.2803	2.025e0

234.3355	1.013e0

234.3719	2.025e0

234.4200	4.882e0

234.4609	1.013e0

234.5285	3.038e0

234.5789	1.013e0

234.6276	2.025e0

234.7121	1.013e0

234.7529	1.013e0

234.7896	1.013e0

234.8150	1.013e0

234.8712	3.038e0

234.9119	1.013e0

234.9369	1.013e0

235.0068	1.013e0

235.0257	1.013e0

235.0709	1.013e0

235.1072	1.013e0

235.1681	6.076e0

235.3337	2.025e0

235.4017	1.013e0

235.4386	1.013e0

235.5725	5.063e0

235.6669	1.013e0

235.7118	1.013e0

235.7601	1.013e0

235.8706	1.013e0

235.8993	1.013e0

235.9370	2.025e0

235.9888	1.013e0

236.1052	2.025e0

236.1661	3.038e0

236.2017	2.025e0

236.2418	2.025e0

236.2825	1.013e0

236.3398	1.013e0

236.3919	3.038e0

236.4660	2.025e0

236.4911	1.013e0

236.5357	1.013e0

236.5707	2.025e0

236.6426	1.013e0

236.7647	1.013e0

236.8423	1.013e0

236.8949	1.013e0

236.9656	2.025e0

237.0345	1.013e0

237.0549	2.025e0

237.1125	3.038e0

237.1510	3.038e0

237.2637	4.051e0

237.2841	3.038e0

237.3144	2.025e0

237.3574	1.013e0

237.4115	2.025e0

237.5041	3.038e0

237.5480	2.025e0

237.5996	2.025e0

237.6529	2.025e0

237.6968	2.025e0

237.7298	2.025e0

237.7534	2.025e0

237.8207	1.013e0

237.8575	2.025e0

237.8942	1.013e0

237.9376	3.038e0

237.9698	3.038e0

238.0090	1.013e0

238.0724	2.025e0

238.1478	1.013e0

238.2066	1.013e0

238.2343	1.013e0

238.2810	2.025e0

238.3068	2.025e0

238.3715	2.025e0

238.4251	2.025e0

238.4474	2.025e0

238.5175	2.025e0

238.5934	2.025e0

238.6161	1.013e0

238.6617	1.013e0

238.7221	1.013e0

238.7958	1.013e0

238.8230	2.025e0

238.9020	3.038e0

239.0011	2.025e0

239.0801	1.013e0

239.1572	3.038e0

239.1911	1.013e0

239.2774	2.025e0

239.3242	2.025e0

239.4370	2.025e0

239.4874	1.013e0

239.5155	1.013e0

239.5478	1.013e0

239.5804	1.013e0

239.6690	2.025e0

239.7060	2.025e0

239.7415	2.025e0

239.7912	3.038e0

239.8321	1.013e0

239.8742	3.038e0

239.9389	2.025e0

239.9852	3.038e0

240.0728	2.025e0

240.1246	1.013e0

240.1491	1.013e0

240.1769	1.013e0

240.2026	2.025e0

240.2472	4.051e0

240.2881	1.013e0

240.3223	2.658e0

240.3735	5.063e0

240.4039	1.013e0

240.4620	1.013e0

240.4991	1.013e0

240.5460	2.025e0

240.6059	2.025e0

240.6923	2.025e0

240.7197	2.025e0

240.7527	4.817e0

240.8304	3.038e0

240.8699	2.025e0

240.8946	1.236e0

240.9560	1.013e0

240.9979	4.051e0

241.0240	7.089e0

241.1249	5.063e0

241.1696	4.051e0

241.2162	1.013e0

241.2961	3.038e0

241.3696	1.013e0

241.3893	1.013e0

241.4264	1.013e0

241.4578	2.025e0

241.4812	1.013e0

241.5138	1.013e0

241.5883	1.013e0

241.6301	1.013e0

241.6786	1.013e0

241.7900	1.013e0

241.8281	3.038e0

241.9014	1.013e0

241.9347	2.025e0

242.0013	2.025e0

242.0318	3.038e0

242.1045	3.038e0

242.1373	4.051e0

242.1851	2.025e0

242.2134	2.025e0

242.2882	5.063e0

242.3192	2.179e0

242.3480	1.013e0

242.4061	1.013e0

242.4507	1.013e0

242.5061	1.013e0

242.5398	2.260e0

242.5800	2.736e0

242.6229	2.900e0

242.6796	1.013e0

242.7123	1.013e0

242.7474	3.038e0

242.7973	2.025e0

242.9521	1.013e0

242.9777	1.013e0

243.0149	1.013e0

243.0622	2.025e0

243.0931	1.013e0

243.1471	5.571e0

243.3791	1.013e0

243.4239	1.013e0

243.5104	3.038e0

243.5516	5.063e0

243.5821	2.025e0

243.6546	3.038e0

243.7339	2.025e0

243.7807	1.013e0

243.8203	2.025e0

243.8690	1.013e0

243.8972	1.013e0

243.9395	1.013e0

243.9826	2.025e0

244.0669	1.013e0

244.1097	4.377e0

244.1592	2.025e0

244.3183	2.025e0

244.3551	2.025e0

244.4236	3.038e0

244.4888	2.025e0

244.5409	1.013e0

244.6022	3.038e0

244.6492	1.013e0

244.7198	1.013e0

244.7401	1.013e0

244.7696	1.013e0

244.7974	2.025e0

244.8403	2.025e0

244.8775	1.013e0

244.9599	1.013e0

245.0023	1.013e0

245.0375	2.025e0

245.0972	1.013e0

245.1243	3.038e0

245.1564	1.013e0

245.3659	3.038e0

245.4220	1.013e0

245.4766	1.013e0

245.5572	2.025e0

245.6070	2.025e0

245.7053	1.013e0

245.7431	2.025e0

245.7930	1.013e0

245.8187	1.013e0

245.8518	1.013e0

245.8802	1.013e0

245.9385	1.013e0

246.0427	1.013e0

246.0929	1.013e0

246.1261	1.013e0

246.1751	4.051e0

246.2349	1.013e0

246.2633	1.013e0

246.2964	1.013e0

246.3349	1.263e0

246.3575	3.038e0

246.4006	1.013e0

246.4618	3.038e0

246.5181	2.025e0

246.5853	1.013e0

246.6074	2.025e0

246.6684	1.013e0

246.7161	2.025e0

246.7651	1.013e0

246.8024	1.013e0

246.8827	2.025e0

246.9555	2.025e0

247.0598	1.013e0

247.1118	1.013e0

247.1567	1.013e0

247.1872	4.051e0

247.2400	1.013e0

247.2798	3.038e0

247.3320	1.013e0

247.3801	3.038e0

247.4157	2.025e0

247.4828	2.025e0

247.5502	2.025e0

247.6078	1.013e0

247.7046	2.025e0

247.7549	3.038e0

247.8084	2.025e0

247.9192	2.025e0

247.9724	2.025e0

248.0107	4.051e0

248.1080	4.043e1

248.1725	2.025e0

248.2372	5.063e0

248.2902	3.038e0

248.3441	1.013e0

248.3871	1.013e0

248.5087	2.025e0

248.5497	2.025e0

248.6564	2.025e0

248.7171	2.025e0

248.7592	4.051e0

248.8387	1.013e0

248.9731	1.013e0

248.9934	1.013e0

249.0603	1.013e0

249.1100	9.052e0

249.1862	1.013e0

249.2216	2.054e0

249.2448	3.038e0

249.3259	2.025e0

249.3659	3.038e0

249.4018	5.063e0

249.4403	2.025e0

249.4765	1.013e0

249.5221	2.025e0

249.5596	1.013e0

249.5970	1.013e0

249.6680	1.013e0

249.7016	1.013e0

249.7700	4.051e0

249.8678	2.025e0

249.9237	4.051e0

249.9591	2.025e0

250.0263	1.013e0

250.1187	1.013e0

250.1608	1.013e0

250.1983	1.013e0

250.2435	1.013e0

250.2655	1.013e0

250.3031	3.038e0

250.3662	2.025e0

250.4635	1.013e0

250.5087	1.013e0

250.5493	3.038e0

250.5759	2.025e0

250.6278	2.025e0

250.6562	2.025e0

250.7048	2.025e0

250.7404	1.013e0

250.7912	1.013e0

250.8750	1.013e0

250.9783	3.038e0

251.0096	1.013e0

251.0433	1.013e0

251.1328	1.013e0

251.1618	1.013e0

251.2452	2.025e0

251.2919	1.013e0

251.3407	3.038e0

251.4078	2.068e0

251.4654	1.013e0

251.5482	1.013e0

251.5994	2.025e0

251.6293	1.013e0

251.7051	1.013e0

251.7628	2.025e0

251.8272	1.013e0

251.8658	1.013e0

251.8879	2.025e0

251.9285	1.013e0

251.9949	2.025e0

252.0331	3.038e0

252.0825	2.025e0

252.1169	1.013e0

252.2281	1.013e0

252.2702	1.013e0

252.3175	2.025e0

252.4504	3.038e0

252.5674	5.063e0

252.6317	2.025e0

252.7193	2.025e0

252.8117	3.038e0

252.8770	1.013e0

252.9250	1.013e0

252.9554	5.063e0

253.0303	1.013e0

253.0510	1.013e0

253.1418	4.051e0

253.2141	2.025e0

253.2538	2.025e0

253.3588	2.025e0

253.4051	1.013e0

253.4759	3.038e0

253.5586	1.013e0

253.6012	3.038e0

253.6560	1.013e0

253.6770	1.013e0

253.7891	2.025e0

253.8248	1.013e0

254.0090	4.051e0

254.0795	1.013e0

254.1135	3.038e0

254.1808	1.013e0

254.2209	2.025e0

254.2782	1.013e0

254.3336	1.013e0

254.3677	1.013e0

254.4057	1.013e0

254.4329	2.025e0

254.5019	3.038e0

254.5765	2.025e0

254.6007	1.013e0

254.6892	2.025e0

254.7325	3.038e0

254.8456	4.051e0

254.8794	1.013e0

254.9908	1.013e0

255.2713	3.038e0

255.3412	2.025e0

255.3810	2.025e0

255.4148	1.013e0

255.4486	1.013e0

255.5045	1.013e0

255.5387	1.013e0

255.5840	1.013e0

255.6700	1.013e0

255.6904	1.013e0

255.7295	1.013e0

255.7754	1.013e0

255.8953	1.013e0

255.9668	1.013e0

255.9967	1.013e0

256.0428	1.013e0

256.0644	1.013e0

256.0944	1.013e0

256.1582	2.025e0

256.2045	1.013e0

256.2339	1.013e0

256.2710	3.038e0

256.3496	1.013e0

256.4398	1.013e0

256.5074	1.013e0

256.5374	1.013e0

256.6148	2.025e0

256.6508	1.013e0

256.7405	1.013e0

256.8205	3.038e0

256.9395	3.038e0

256.9960	2.025e0

257.0203	2.025e0

257.0560	1.013e0

257.1157	6.076e0

257.1553	2.025e1

257.2354	2.025e0

257.3116	1.013e0

257.3794	1.013e0

257.4202	2.025e0

257.4568	1.013e0

257.5110	1.013e0

257.6039	2.025e0

257.6874	1.013e0

257.7769	1.013e0

257.8360	3.038e0

257.9130	1.013e0

257.9682	2.025e0

258.0201	3.038e0

258.1135	4.051e0

258.1523	2.629e1

258.2066	1.013e0

258.3786	1.013e0

258.4248	1.013e0

258.5613	1.013e0

258.6167	1.013e0

258.6505	1.013e0

258.6992	1.013e0

258.8047	2.025e0

258.8573	1.013e0

258.8950	1.013e0

258.9420	1.013e0

258.9717	1.013e0

259.0113	1.013e0

259.0360	1.013e0

259.0860	4.051e0

259.1578	8.101e0

259.2113	1.013e0

259.2452	1.013e0

259.3479	1.013e0

259.3956	1.013e0

259.4596	1.013e0

259.4937	1.013e0

259.5368	2.025e0

259.5801	1.013e0

259.6563	3.038e0

259.6857	1.013e0

259.7834	2.025e0

259.8439	1.013e0

259.9065	2.025e0

259.9868	1.013e0

260.0810	2.025e0

260.1192	2.025e0

260.1489	2.025e0

260.2130	1.013e0

260.3636	1.013e0

260.3992	3.038e0

260.4354	1.013e0

260.5258	1.013e0

260.5497	2.025e0

260.5822	2.025e0

260.6237	1.013e0

260.7104	1.013e0

260.7619	2.025e0

260.8128	1.013e0

260.8775	1.013e0

260.8990	1.013e0

260.9535	2.025e0

260.9836	2.025e0

261.0310	2.025e0

261.0696	3.038e0

261.1401	2.025e0

261.1653	2.025e0

261.2469	4.051e0

261.3210	1.013e0

261.3665	1.013e0

261.4431	3.038e0

261.5173	2.025e0

261.6341	2.025e0

261.7030	2.025e0

261.8375	3.038e0

261.9206	4.051e0

261.9890	2.025e0

262.0317	2.025e0

262.0719	2.025e0

262.1100	1.013e0

262.1850	1.013e0

262.2633	3.038e0

262.3229	2.025e0

262.3473	1.013e0

262.3775	1.013e0

262.4301	1.013e0

262.4756	1.013e0

262.5102	1.013e0

262.6152	1.013e0

262.6404	1.013e0

262.7133	1.013e0

262.7512	1.013e0

262.7802	2.025e0

262.8353	4.051e0

262.8798	2.379e0

262.9218	5.063e0

262.9762	1.013e0

263.0571	1.013e0

263.1880	1.855e0

263.2560	2.025e0

263.3073	1.013e0

263.3382	2.025e0

263.3726	1.013e0

263.4177	2.025e0

263.4621	4.051e0

263.5000	2.025e0

263.5423	2.025e0

263.6245	3.038e0

263.7871	3.038e0

263.8787	2.025e0

263.9204	1.013e0

263.9597	1.013e0

263.9938	1.013e0

264.0226	3.038e0

264.0790	4.075e1

264.1582	3.392e0

264.2132	1.013e0

264.2577	1.013e0

264.2879	1.013e0

264.3394	3.435e0

264.3946	1.013e0

264.4702	3.038e0

264.5765	3.038e0

264.6084	3.038e0

264.6417	2.025e0

264.6855	1.013e0

264.7415	1.013e0

264.7763	2.025e0

264.8332	3.038e0

264.8618	2.025e0

264.9361	2.025e0

264.9655	1.013e0

265.0221	2.025e0

265.0720	4.051e0

265.1149	4.160e0

265.2455	2.025e0

265.2857	2.025e0

265.3440	3.038e0

265.4156	2.025e0

265.4637	1.013e0

265.5152	3.038e0

265.6804	1.013e0

265.7145	1.013e0

265.7622	1.013e0

265.7925	1.013e0

265.8229	1.013e0

265.8620	1.013e0

265.9134	2.025e0

265.9463	2.025e0

266.0154	5.063e0

266.0851	6.076e0

266.1300	2.623e0

266.1674	1.367e0

266.2130	1.013e0

266.2941	1.013e0

266.3467	1.013e0

266.4016	2.025e0

266.4396	2.025e0

266.5002	3.038e0

266.5481	2.025e0

266.5853	2.025e0

266.6340	1.013e0

266.6610	3.038e0

266.6966	2.025e0

266.7388	3.038e0

266.8066	1.013e0

266.8277	1.013e0

266.8691	2.025e0

266.8930	1.013e0

266.9610	2.025e0

267.0348	2.025e0

267.1509	6.897e2

267.2252	1.013e1

267.2850	6.643e0

267.3299	3.038e0

267.3726	3.693e0

267.4745	4.051e0

267.5154	4.051e0

267.5511	3.038e0

267.5986	2.025e0

267.6688	2.025e0

267.6917	1.013e0

267.7473	4.051e0

267.8120	2.025e0

267.8691	8.101e0

267.9114	2.025e0

267.9644	2.025e0

267.9884	4.051e0

268.0505	6.076e0

268.1570	1.288e2

268.2321	1.013e0

268.2923	4.051e0

268.4056	1.013e0

268.4539	3.038e0

268.4878	3.038e0

268.5409	1.013e0

268.5961	5.063e0

268.7324	2.025e0

268.8051	3.038e0

268.8636	3.038e0

268.9164	1.013e0

268.9818	5.063e0

269.0458	2.025e0

269.0701	2.025e0

269.1024	1.013e0

269.1656	8.571e1

269.2544	2.025e0

269.3280	2.025e0

269.3775	2.025e0

269.4221	3.038e0

269.4837	2.025e0

269.5348	2.025e0

269.6034	1.013e0

269.6438	1.013e0

269.6808	3.038e0

269.7652	4.051e0

269.8654	1.013e0

269.9030	2.025e0

269.9621	2.025e0

270.0019	1.013e0

270.0234	1.013e0

270.0931	2.025e0

270.1716	2.284e1

270.2668	2.025e0

270.3185	2.025e0

270.3628	1.013e0

270.4600	1.013e0

270.5217	1.013e0

270.5661	2.025e0

270.6172	1.013e0

270.6705	1.013e0

270.7737	1.013e0

270.8663	1.013e0

270.9234	7.089e0

270.9810	3.038e0

271.0465	1.013e0

271.0886	1.013e0

271.1206	3.038e0

271.1869	6.853e0

271.3583	4.051e0

271.4743	1.013e0

271.4952	1.013e0

271.5523	1.013e0

271.5884	2.025e0

271.6454	2.545e0

271.6929	3.161e0

271.7323	1.013e0

271.8221	2.025e0

271.8769	1.013e0

271.9174	3.038e0

271.9647	1.013e0

272.0122	3.038e0

272.0695	1.013e0

272.1226	1.013e0

272.1732	5.063e0

272.2136	2.902e0

272.2935	3.038e0

272.3775	2.025e0

272.4179	2.025e0

272.4689	2.025e0

272.5158	3.484e0

272.5603	1.013e0

272.6135	1.013e0

272.6401	2.025e0

272.6764	2.025e0

272.7276	1.013e0

272.7767	1.013e0

272.8195	2.025e0

272.8647	1.013e0

272.9114	1.013e0

272.9410	2.025e0

272.9736	2.025e0

273.0047	1.013e0

273.0617	1.013e0

273.1084	1.013e0

273.1600	2.586e1

273.2395	2.025e0

273.3823	1.013e0

273.4471	2.025e0

273.4819	2.025e0

273.5270	1.013e0

273.5566	4.054e0

273.7282	2.025e0

273.7842	2.036e0

273.8315	2.025e0

273.8916	3.038e0

273.9651	1.013e0

274.0853	7.089e0

274.1400	3.710e0

274.2065	3.038e0

274.2601	2.657e0

274.2840	3.038e0

274.3449	2.025e0

274.3761	1.013e0

274.4487	2.025e0

274.5098	3.038e0

274.5708	2.025e0

274.6129	1.030e0

274.6834	1.013e0

274.7767	1.013e0

274.8262	2.025e0

274.8607	1.013e0

274.9864	1.013e0

275.0552	4.051e0

275.1149	2.025e0

275.2191	4.051e0

275.2628	2.025e0

275.3723	2.025e0

275.4807	2.025e0

275.5071	2.025e0

275.5393	2.025e0

275.6023	2.025e0

275.6779	2.025e0

275.7109	1.013e0

275.7902	1.013e0

275.8216	1.013e0

275.8635	1.013e0

275.8893	2.025e0

275.9438	1.013e0

275.9785	1.013e0

276.0338	4.571e0

276.0620	3.038e0

276.1303	1.013e0

276.1582	1.129e0

276.2834	1.013e0

276.3671	3.038e0

276.4027	2.025e0

276.4435	1.013e0

276.4818	1.013e0

276.5580	1.013e0

276.5949	2.025e0

276.7607	2.025e0

276.8484	1.013e0

276.9024	2.029e0

276.9601	2.025e0

276.9837	2.025e0

277.0926	3.038e0

277.1848	1.477e0

277.2984	3.038e0

277.3486	2.025e0

277.4050	2.025e0

277.5681	2.025e0

277.6297	2.025e0

277.6750	2.025e0

277.7261	1.013e0

277.7878	1.013e0

277.8871	2.025e0

277.9472	1.013e0

277.9865	1.013e0

278.0241	2.025e0

278.0578	1.013e0

278.1852	1.837e0

278.2674	2.025e0

278.2962	1.013e0

278.3497	1.013e0

278.3881	3.038e0

278.4165	2.025e0

278.4833	1.013e0

278.5323	1.013e0

278.5959	2.025e0

278.6288	1.013e0

278.6783	1.013e0

278.7275	1.013e0

278.7625	1.013e0

278.8860	1.013e0

278.9518	3.038e0

279.0074	2.025e0

279.0952	1.013e0

279.1803	2.897e0

279.2292	1.013e0

279.2942	1.013e0

279.3352	1.013e0

279.4089	3.038e0

279.4728	1.013e0

279.5141	2.025e0

279.5657	1.013e0

279.6156	1.013e0

279.7073	2.025e0

279.7428	1.013e0

279.7838	1.013e0

279.8329	2.025e0

279.8767	2.025e0

279.9214	2.025e0

280.0120	3.038e0

280.0709	2.025e0

280.1425	8.878e0

280.1989	1.978e0

280.2627	3.038e0

280.2994	1.013e0

280.3350	1.013e0

280.4208	5.063e0

280.4958	1.013e0

280.5930	3.435e0

280.6339	1.013e0

280.7007	5.063e0

280.7793	2.025e0

280.8145	1.013e0

280.8463	2.025e0

280.8821	2.025e0

280.9095	1.013e0

280.9877	4.051e0

281.0512	1.013e0

281.1830	1.790e0

281.3003	1.013e0

281.4251	2.025e0

281.4702	2.025e0

281.5168	2.025e0

281.5762	1.013e0

281.6349	3.038e0

281.7175	3.038e0

281.7813	4.051e0

281.9099	2.025e0

282.0246	2.025e0

282.2164	6.029e0

282.3391	1.013e0

282.3755	1.013e0

282.4118	1.013e0

282.5148	3.038e0

282.5576	1.013e0

282.6153	2.025e0

282.7067	1.013e0

282.7549	1.013e0

282.7916	1.013e0

282.8222	1.013e0

282.8990	1.013e0

282.9336	1.013e0

282.9782	2.025e0

283.0559	3.038e0

283.0946	1.013e0

283.1689	5.813e0

283.1958	3.976e0

283.2789	1.013e0

283.3363	2.025e0

283.3612	2.025e0

283.4347	1.013e0

283.4862	2.025e0

283.6046	2.025e0

283.6357	1.013e0

283.7011	3.038e0

283.7835	2.025e0

283.8200	1.013e0

283.8865	2.025e0

283.9542	3.038e0

284.0231	3.038e0

284.1045	4.051e0

284.1501	1.933e0

284.2111	4.051e0

284.2616	2.025e0

284.3269	2.025e0

284.3882	1.013e0

284.4383	1.013e0

284.4879	2.025e0

284.5617	3.038e0

284.6073	1.013e0

284.7018	1.013e0

284.7768	4.910e0

284.8773	2.025e0

284.9170	2.025e0

285.0087	4.283e0

285.0416	3.038e0

285.1405	4.855e0

285.1703	1.236e1

285.1974	1.418e1

285.2830	3.038e0

285.3182	2.025e0

285.3911	1.013e0

285.4234	1.013e0

285.5346	3.038e0

285.7147	1.013e0

285.7417	1.013e0

285.7957	2.025e0

285.8859	2.025e0

285.9793	2.025e0

286.0755	1.013e0

286.1293	1.013e0

286.1539	2.025e0

286.2025	9.114e0

286.2447	1.013e0

286.3197	2.025e0

286.3878	3.038e0

286.4658	2.025e0

286.5063	1.013e0

286.5523	1.013e0

286.6010	1.013e0

286.6447	1.013e0

286.7039	3.038e0

286.7924	2.025e0

286.9469	2.025e0

286.9873	1.013e0

287.0420	4.051e0

287.1264	3.038e0

287.1586	2.025e0

287.2017	3.038e0

287.3271	2.025e0

287.3568	1.013e0

287.4068	2.025e0

287.4376	2.025e0

287.4742	2.025e0

287.6019	2.025e0

287.6748	3.033e0

287.7108	4.051e0

287.7705	2.025e0

287.8073	1.013e0

287.8523	3.038e0

287.8975	3.038e0

287.9572	3.926e0

287.9999	2.025e0

288.0691	2.025e0

288.1340	2.025e0

288.1909	4.051e0

288.2888	3.038e0

288.3581	1.013e0

288.3954	2.025e0

288.4506	2.025e0

288.5276	3.038e0

288.5720	3.038e0

288.6223	8.101e0

288.6913	3.038e0

288.7486	6.076e0

288.8192	3.038e0

288.8739	4.980e0

288.9362	1.013e0

288.9874	2.025e0

289.0409	3.038e0

289.1329	1.133e3

289.2343	7.089e0

289.2821	4.379e0

289.3316	3.038e0

289.3728	1.013e0

289.4131	2.025e0

289.4642	3.038e0

289.5213	3.038e0

289.5911	3.038e0

289.6365	3.038e0

289.6979	2.931e0

289.7478	5.063e0

289.8046	3.038e0

289.8633	7.089e0

289.9294	6.076e0

290.0197	2.025e0

290.1386	2.479e2

290.2614	3.038e0

290.3028	3.218e0

290.3297	5.408e0

290.4300	3.038e0

290.4826	4.051e0

290.5155	4.051e0

290.5598	2.025e0

290.6080	4.051e0

290.6508	2.025e0

290.7083	4.051e0

290.7646	2.025e0

290.8372	3.038e0

290.8961	3.038e0

290.9615	6.076e0

291.0075	1.013e0

291.0616	1.013e0

291.1385	1.663e1

291.2723	3.038e0

291.3325	3.038e0

291.3743	1.013e0

291.4222	2.025e0

291.4700	1.013e0

291.5030	2.025e0

291.5508	2.025e0

291.6370	1.013e0

291.6759	2.025e0

291.7821	2.025e0

291.8146	2.025e0

291.8571	2.025e0

291.9168	2.025e0

291.9731	2.025e0

292.0002	1.013e0

292.0463	3.144e0

292.1268	3.038e0

292.1591	2.025e0

292.1960	1.013e0

292.2358	1.013e0

292.2725	2.025e0

292.3479	2.025e0

292.4052	1.013e0

292.4273	1.013e0

292.4699	1.274e0

292.5323	3.861e0

292.5982	2.025e0

292.6532	1.013e0

292.7251	4.490e0

292.8131	1.013e0

292.8904	1.013e0

292.9510	1.013e0

293.0173	2.025e0

293.0630	1.013e0

293.1135	3.313e0

293.2271	1.013e0

293.2874	1.013e0

293.3182	2.025e0

293.3491	1.013e0

293.4187	1.013e0

293.4740	4.051e0

293.5350	4.051e0

293.5949	3.038e0

293.6295	3.038e0

293.6872	2.025e0

293.7964	1.013e0

293.8327	1.013e0

293.8813	2.025e0

293.9279	2.025e0

293.9811	4.051e0

294.0146	1.013e0

294.0984	3.038e0

294.1491	2.945e0

294.2061	3.981e0

294.2491	4.051e0

294.2930	2.025e0

294.3242	1.013e0

294.3882	3.677e0

294.4331	4.051e0

294.4811	4.051e0

294.5386	1.013e0

294.5811	2.025e0

294.7112	1.013e0

294.7616	1.013e0

294.7984	2.025e0

294.8603	3.038e0

294.9270	1.013e0

294.9629	1.013e0

294.9992	1.013e0

295.0520	2.025e0

295.1043	2.025e0

295.2978	2.025e0

295.3463	1.013e0

295.3929	1.013e0

295.4197	2.025e0

295.5207	1.013e0

295.5680	2.025e0

295.6627	3.038e0

295.7090	4.051e0

295.7509	3.038e0

295.8227	2.025e0

295.8849	1.013e0

295.9795	2.025e0

296.0225	1.013e0

296.1079	4.051e0

296.1729	1.013e0

296.2732	1.013e0

296.2955	1.013e0

296.3805	3.038e0

296.4182	2.025e0

296.5153	3.038e0

296.5941	1.013e0

296.6571	3.038e0

296.7083	1.013e0

296.7687	1.013e0

296.8229	2.025e0

296.9272	3.038e0

296.9529	3.173e0

296.9930	1.013e0

297.0778	2.281e0

297.1216	2.025e0

297.1526	1.013e0

297.2132	2.025e0

297.2931	7.952e0

297.4538	3.038e0

297.5018	2.025e0

297.5635	2.025e0

297.5913	1.013e0

297.6414	4.051e0

297.7074	2.025e0

297.7836	2.025e0

297.8949	3.072e0

297.9777	2.025e0

298.0225	2.025e0

298.0561	1.013e0

298.1962	1.013e0

298.2903	2.306e0

298.3308	1.013e0

298.3711	1.013e0

298.4066	2.760e0

298.4486	2.025e0

298.5025	2.025e0

298.5690	3.038e0

298.6277	2.025e0

298.6588	2.025e0

298.7167	1.013e0

298.8168	4.051e0

298.8721	1.013e0

298.9090	1.013e0

299.0352	2.025e0

299.0955	3.038e0

299.1745	6.076e0

299.2406	1.013e0

299.3452	5.063e0

299.4882	1.013e0

299.5328	2.025e0

299.5753	1.013e0

299.6097	2.025e0

299.6724	1.013e0

299.7349	3.038e0

299.8025	2.025e0

299.8629	2.025e0

299.9134	2.025e0

300.0299	1.013e0

300.0627	1.013e0

300.1039	1.013e0

300.2010	2.025e0

300.3371	2.025e0

300.4462	2.025e0

300.5423	1.013e0

300.5913	3.038e0

300.6494	2.025e0

300.7218	3.038e0

300.7851	1.013e0

300.8777	2.025e0

300.9151	1.013e0

300.9516	1.013e0

301.0102	3.038e0

301.1228	1.013e0

301.1784	6.076e0

301.2661	3.038e0

301.3110	1.013e0

301.4265	3.038e0

301.5138	2.025e0

301.5883	2.025e0

301.6285	1.013e0

301.6620	1.013e0

301.7151	2.025e0

301.7766	2.025e0

301.8300	2.025e0

301.8776	1.013e0

301.9317	2.025e0

302.0144	3.038e0

302.0612	2.025e0

302.1327	3.038e0

302.1558	2.732e0

302.2516	1.013e0

302.2962	2.025e0

302.3626	4.051e0

302.4616	1.013e0

302.5014	3.038e0

302.5979	2.025e0

302.6493	2.025e0

302.6998	2.025e0

302.7755	2.025e0

302.8534	3.038e0

302.8991	1.013e0

302.9528	4.051e0

302.9972	5.063e0

303.0812	2.025e0

303.1209	1.013e0

303.1768	2.025e0

303.2046	2.025e0

303.2801	2.025e0

303.3201	1.013e0

303.4528	2.025e0

303.4966	1.013e0

303.5517	2.025e0

303.5934	1.013e0

303.6307	1.013e0

303.6814	2.025e0

303.7768	3.038e0

303.8296	1.013e0

303.9043	3.038e0

303.9494	3.038e0

304.0153	1.013e0

304.0479	1.013e0

304.0912	3.038e0

304.1357	9.114e0

304.3051	9.041e0

304.3716	1.013e0

304.4086	2.025e0

304.4548	1.013e0

304.4887	1.013e0

304.6134	1.013e0

304.6407	1.013e0

304.6914	2.025e0

304.7556	1.603e0

304.7871	2.025e0

304.8491	1.013e0

304.9058	4.051e0

304.9890	3.038e0

305.0435	1.013e0

305.1207	2.025e0

305.1694	2.025e0

305.2533	2.025e0

305.2939	4.051e0

305.3469	1.013e0

305.3978	1.013e0

305.4250	1.013e0

305.5775	2.253e0

305.6241	1.013e0

305.6672	1.013e0

305.6943	1.013e0

305.7649	2.025e0

305.8641	2.025e0

305.9487	1.013e0

306.0183	1.013e0

306.0749	2.025e0

306.1122	2.025e0

306.1845	2.025e0

306.2988	1.013e0

306.3218	1.013e0

306.3735	1.013e0

306.4762	4.051e0

306.5301	2.025e0

306.6052	3.038e0

306.6895	1.013e0

306.7243	2.025e0

306.7586	3.038e0

306.8001	3.038e0

306.8916	3.038e0

307.0127	3.038e0

307.0726	2.025e0

307.1007	2.025e0

307.1476	2.025e0

307.2082	2.025e0

307.2445	3.038e0

307.3078	1.013e0

307.3781	2.025e0

307.4406	2.025e0

307.4738	2.025e0

307.6281	1.013e0

307.6731	3.038e0

307.7570	4.739e0

307.8008	1.013e0

307.8472	2.025e0

307.9100	1.013e0

308.0201	1.013e0

308.1523	1.967e0

308.2306	1.013e0

308.2972	1.013e0

308.3320	1.013e0

308.3753	1.013e0

308.4342	2.025e0

308.4768	1.013e0

308.5246	2.025e0

308.6035	2.025e0

308.6691	2.025e0

308.7502	3.038e0

308.8331	1.013e0

308.8926	2.025e0

308.9348	1.013e0

309.0053	1.013e0

309.0326	1.013e0

309.1068	1.013e0

309.1999	1.851e0

309.2440	1.013e0

309.3381	2.025e0

309.3790	1.013e0

309.4496	2.025e0

309.5181	1.013e0

309.6530	2.025e0

309.6920	1.013e0

309.8193	3.038e0

309.8931	2.025e0

309.9357	1.013e0

309.9724	1.013e0

310.0286	1.013e0

310.0861	1.013e0

310.1481	6.076e0

310.2136	3.038e0

310.2575	2.025e0

310.3177	3.038e0

310.4933	1.013e0

310.5717	1.013e0

310.6037	1.013e0

310.6825	3.038e0

310.7831	3.038e0

310.8716	2.025e0

310.9237	1.013e0

310.9674	2.025e0

311.0486	3.038e0

311.0925	1.013e0

311.1663	2.025e0

311.2073	5.063e0

311.2789	1.013e0

311.3126	1.013e0

311.3584	2.025e0

311.4133	2.025e0

311.4851	1.013e0

311.5283	1.013e0

311.5696	3.038e0

311.6729	3.038e0

311.7561	2.025e0

311.8054	3.765e0

311.8795	2.025e0

311.9237	2.025e0

311.9665	3.038e0

312.0088	2.025e0

312.0955	1.013e0

312.1437	2.666e0

312.1830	5.063e0

312.2313	2.960e0

312.2890	2.025e0

312.3354	3.038e0

312.3776	2.025e0

312.4380	2.025e0

312.4854	1.013e0

312.5431	2.025e0

312.5834	1.013e0

312.6306	2.025e0

312.6689	3.038e0

312.7207	2.025e0

312.7720	2.421e0

312.7992	2.025e0

312.8682	2.283e0

312.9133	1.013e0

312.9764	3.038e0

313.0721	1.013e0

313.1701	7.089e0

313.2174	2.025e0

313.2439	2.025e0

313.2781	1.013e0

313.3397	2.201e0

313.3945	2.025e0

313.4783	2.025e0

313.6826	2.025e0

313.7533	1.013e0

313.7966	1.013e0

313.8950	2.025e0

313.9238	2.025e0

313.9616	1.013e0

314.0163	1.013e0

314.0871	1.013e0

314.1338	2.253e0

314.2052	7.089e0

314.3456	2.025e0

314.4039	1.013e0

314.4818	3.038e0

314.5352	2.025e0

314.5824	1.013e0

314.6401	4.051e0

314.7517	3.038e0

314.7862	2.025e0

314.8686	2.025e0

314.9480	2.025e0

314.9922	1.013e0

315.0504	1.013e0

315.0827	2.025e0

315.1859	3.690e1

315.2241	4.263e1

315.3669	3.038e0

315.4735	2.025e0

315.5425	2.025e0

315.5732	1.013e0

315.6307	3.038e0

315.6793	4.051e0

315.7300	1.418e1

315.8036	4.051e0

315.8819	2.025e0

315.9075	2.025e0

315.9592	1.013e0

315.9938	3.038e0

316.0807	2.025e0

316.1317	1.731e0

316.1897	1.187e1

316.2616	1.013e0

316.3235	2.025e0

316.3720	1.013e0

316.4268	1.013e0

316.4851	1.013e0

316.5324	1.013e0

316.5735	6.076e0

316.6313	4.051e0

316.7337	1.013e0

316.7632	1.013e0

316.8259	2.025e0

316.9112	2.025e0

316.9837	2.025e0

317.0722	2.025e0

317.1277	1.013e0

317.1895	1.013e0

317.2359	2.025e0

317.3068	2.025e0

317.3786	5.778e0

317.4563	6.076e0

317.5279	3.038e0

317.5891	2.025e0

317.6239	1.013e0

317.7207	4.051e0

317.8029	4.051e0

317.8564	1.013e0

317.8871	2.025e0

317.9273	1.013e0

317.9887	2.025e0

318.0275	3.038e0

318.1053	2.025e0

318.1560	1.013e0

318.2022	4.868e0

318.2661	2.025e0

318.3156	2.025e0

318.3766	2.025e0

318.4360	1.013e0

318.4809	3.038e0

318.5441	2.025e0

318.5965	1.013e0

318.6441	1.013e0

318.7312	3.038e0

318.8104	1.013e0

318.8851	4.051e0

318.9851	2.025e0

319.0294	2.025e0

319.0822	2.025e0

319.1612	2.902e0

319.2670	2.025e0

319.3672	4.051e0

319.4251	1.013e0

319.5233	2.025e0

319.5556	2.025e0

319.6106	1.013e0

319.6795	4.051e0

319.7235	3.038e0

319.9006	2.025e0

319.9435	1.013e0

319.9889	2.025e0

320.0450	1.013e0

320.0789	3.038e0

320.1471	2.025e0

320.2264	2.767e0

320.2960	2.025e0

320.3537	3.038e0

320.4279	3.038e0

320.5144	1.013e0

320.5891	1.013e0

320.6189	1.013e0

320.6680	2.025e0

320.7322	3.038e0

320.7902	2.025e0

320.8264	2.025e0

320.8835	2.025e0

320.9413	2.025e0

321.0098	3.038e0

321.0474	1.013e0

321.1112	6.076e0

321.1782	1.483e0

321.3041	1.013e0

321.3615	1.013e0

321.3988	1.013e0

321.4662	4.051e0

321.5503	2.025e0

321.6281	1.013e0

321.7574	2.025e0

321.8620	5.063e0

321.9489	2.025e0

322.0036	1.013e0

322.0576	1.013e0

322.1203	1.374e0

322.1553	2.025e0

322.1813	1.483e0

322.2407	2.025e0

322.3211	3.038e0

322.4149	3.038e0

322.4543	1.013e0

322.4904	1.013e0

322.5688	3.038e0

322.6147	2.025e0

322.6866	2.025e0

322.7784	2.025e0

322.8394	1.013e0

322.8731	1.013e0

322.9357	1.013e0

322.9839	1.013e0

323.0501	3.038e0

323.1648	2.767e0

323.2385	2.902e0

323.3165	3.038e0

323.3755	1.013e0

323.4268	1.013e0

323.4796	3.038e0

323.6445	2.025e0

323.6853	2.025e0

323.7331	2.025e0

323.7815	3.038e0

323.8521	1.013e0

323.9116	3.038e0

323.9566	2.409e0

324.0022	3.038e0

324.0956	1.013e0

324.1354	1.013e0

324.1747	1.754e0

324.2156	2.495e0

324.2531	4.051e0

324.3052	2.025e0

324.3961	1.013e0

324.4745	1.013e0

324.5127	2.025e0

324.5946	1.013e0

324.6656	1.013e0

324.8043	1.013e0

324.8803	3.038e0

324.9409	3.531e0

324.9990	3.038e0

325.0773	2.025e0

325.1342	2.046e0

325.1797	4.385e0

325.2329	1.890e0

325.3225	2.025e0

325.4291	2.025e0

325.4615	1.013e0

325.5492	2.025e0

325.6602	2.025e0

325.7276	4.051e0

325.8142	1.013e0

325.8817	1.013e0

325.9491	2.225e0

326.0263	3.038e0

326.0546	2.025e0

326.1221	3.038e0

326.1845	4.385e0

326.2264	1.890e0

326.2750	1.013e0

326.3175	1.013e0

326.3760	7.089e0

326.4655	2.025e0

326.5281	3.038e0

326.5945	3.038e0

326.6548	2.025e0

326.7151	3.038e0

326.7659	1.013e0

326.8655	4.051e0

326.9458	2.066e0

326.9959	2.025e0

327.0971	2.025e0

327.1308	1.013e0

327.1878	3.372e0

327.2458	1.013e0

327.2870	2.025e0

327.3249	4.051e0

327.3783	2.025e0

327.4216	3.038e0

327.5023	4.385e0

327.5535	1.013e0

327.6521	3.038e0

327.7286	2.025e0

327.8233	2.025e0

327.8647	2.025e0

327.9482	1.013e0

328.0672	3.601e0

328.1680	2.902e0

328.3052	2.025e0

328.3717	2.025e0

328.4206	1.013e0

328.4573	1.013e0

328.5062	2.025e0

328.6310	1.013e0

328.8456	2.025e0

328.9040	3.038e0

329.0018	1.013e0

329.0549	5.063e0

329.1013	3.038e0

329.1940	1.107e1

329.2508	2.025e0

329.3340	1.013e0

329.4536	2.025e0

329.5215	3.038e0

329.5941	2.025e0

329.6569	3.038e0

329.7005	1.013e0

329.7435	1.013e0

329.7940	3.038e0

329.8626	2.025e0

329.9183	1.013e0

330.0429	3.038e0

330.1039	2.025e0

330.1549	1.505e1

330.2421	2.902e0

330.3019	3.038e0

330.3951	1.013e0

330.4433	3.038e0

330.4990	1.013e0

330.5359	1.013e0

330.5742	1.013e0

330.6899	2.025e0

330.7388	1.013e0

330.8138	4.051e0

330.9417	5.937e0

331.0557	2.025e0

331.1705	6.767e0

331.2941	1.013e0

331.3361	2.025e0

331.3780	1.013e0

331.4162	1.013e0

331.5136	3.038e0

331.6130	2.025e0

331.6524	1.013e0

331.7773	5.032e0

331.8234	3.525e0

331.8911	1.013e0

331.9514	2.919e0

331.9919	3.628e0

332.0509	6.076e0

332.1460	2.025e0

332.2035	1.061e0

332.2825	4.051e0

332.3387	6.076e0

332.4056	3.038e0

332.4841	1.013e0

332.5397	1.013e0

332.5681	1.013e0

332.6497	2.025e0

332.6982	2.025e0

332.7438	1.013e0

332.8057	1.013e0

332.8428	1.013e0

332.9083	3.038e0

332.9877	1.937e0

333.0394	2.409e0

333.0854	3.038e0

333.1995	1.709e2

333.3400	3.038e0

333.4606	1.013e0

333.4993	1.013e0

333.5661	2.025e0

333.6515	2.025e0

333.6976	2.025e0

333.7383	2.025e0

333.7791	2.025e0

333.8696	2.025e0

333.9148	1.013e0

334.0079	1.013e0

334.0597	2.025e0

334.1273	4.051e0

334.2028	3.757e1

334.3090	2.025e0

334.3882	3.038e0

334.4690	1.013e0

334.5032	2.025e0

334.5429	2.025e0

334.5746	2.025e0

334.6540	2.025e0

334.6955	2.025e0

334.8073	2.025e0

334.9390	4.051e0

335.0217	2.025e0

335.0849	2.025e0

335.1152	2.025e0

335.1599	3.628e0

335.1940	4.171e0

335.2826	1.013e0

335.3347	1.013e0

335.3805	2.313e0

335.4482	2.025e0

335.4819	1.013e0

335.5255	1.013e0

335.5616	3.038e0

335.6376	2.025e0

335.7063	1.013e0

335.7929	4.051e0

335.8835	4.051e0

335.9460	2.025e0

335.9939	3.038e0

336.0916	3.038e0

336.1683	1.890e0

336.2403	1.754e0

336.3052	1.013e0

336.4919	2.025e0

336.5928	1.013e0

336.6203	2.025e0

336.7721	1.013e0

336.8200	1.013e0

336.9154	2.025e0

336.9720	3.038e0

337.0811	2.025e0

337.1277	2.025e0

337.2233	5.262e0

337.3222	5.063e0

337.3914	1.013e0

337.4354	1.013e0

337.4900	3.038e0

337.5353	2.025e0

337.5703	3.038e0

337.6152	1.013e0

337.7071	1.013e0

337.7671	1.013e0

337.8312	1.013e0

337.8738	3.038e0

338.0087	7.089e0

338.0395	4.051e0

338.1237	2.025e0

338.2843	1.013e0

338.3974	1.013e0

338.4986	2.025e0

338.6030	3.038e0

338.6439	3.038e0

338.7401	2.025e0

338.8310	1.013e0

338.9753	1.013e0

339.0352	2.025e0

339.0877	4.051e0

339.1964	4.630e0

339.2870	2.025e0

339.3667	2.025e0

339.4579	2.025e0

339.5422	1.013e0

339.5800	1.013e0

339.6323	2.025e0

339.6732	2.025e0

339.7123	1.013e0

339.7711	3.038e0

339.8235	2.025e0

339.8654	3.038e0

340.0178	3.038e0

340.1368	2.187e0

340.2922	1.013e0

340.3279	2.025e0

340.3907	2.025e0

340.4846	2.025e0

340.5526	2.025e0

340.6101	2.025e0

340.6598	2.025e0

340.7249	2.025e0

340.7853	1.013e0

340.8504	2.025e0

340.9326	1.013e0

340.9684	2.025e0

341.0509	1.013e0

341.0850	1.013e0

341.1870	3.097e0

341.3330	4.051e0

341.4318	2.025e0

341.5180	1.013e0

341.5763	1.013e0

341.6320	2.025e0

341.7011	2.025e0

341.7769	2.025e0

341.8170	1.013e0

341.8705	2.025e0

341.9483	3.038e0

342.0796	2.025e0

342.1270	4.051e0

342.2015	1.072e0

342.3266	4.051e0

342.4182	3.038e0

342.5715	3.038e0

342.6214	3.038e0

342.6927	1.013e0

342.7849	3.038e0

342.8511	2.025e0

342.9035	2.025e0

342.9708	3.038e0

343.0296	1.013e0

343.0804	1.013e0

343.1101	1.013e0

343.1949	2.234e0

343.3084	2.025e0

343.3448	3.038e0

343.4189	1.013e0

343.4678	2.025e0

343.5176	2.025e0

343.5982	3.038e0

343.7082	2.025e0

343.7461	2.025e0

343.8617	3.038e0

343.8966	1.013e0

343.9654	1.013e0

344.0272	1.114e1

344.2332	1.579e0

344.3403	3.935e0

344.4148	2.025e0

344.4948	1.013e0

344.5268	2.025e0

344.5702	3.038e0

344.6518	1.013e0

344.6940	2.025e0

344.7603	2.025e0

344.8008	1.013e0

344.8853	3.038e0

345.0074	2.025e0

345.1126	2.025e0

345.1518	2.167e0

345.2448	1.579e0

345.3609	3.038e0

345.4857	2.025e0

345.5197	1.013e0

345.5687	4.051e0

345.6775	1.013e0

345.7545	2.025e0

345.8287	2.025e0

345.8991	4.051e0

345.9905	1.013e0

346.0298	2.025e0

346.0951	2.025e0

346.1729	2.001e0

346.2718	1.013e0

346.3311	1.013e0

346.3803	1.013e0

346.4145	1.013e0

346.4447	1.013e0

346.4959	2.025e0

346.5975	1.013e0

346.6316	2.025e0

346.6709	3.038e0

346.7226	1.013e0

346.8013	3.038e0

346.8791	1.013e0

346.9397	2.025e0

346.9673	1.013e0

347.0437	2.025e0

347.0962	5.063e0

347.1454	3.038e0

347.2145	1.017e2

347.2818	3.539e0

347.3983	3.038e0

347.4681	1.013e0

347.5147	2.025e0

347.6204	3.038e0

347.6675	1.013e0

347.7126	1.013e0

347.7898	1.013e0

347.8643	8.101e0

347.9194	3.038e0

348.0023	1.013e0

348.0625	1.013e0

348.1219	4.051e0

348.2192	3.339e1

348.2963	6.179e0

348.3533	4.051e0

348.4406	1.013e0

348.4794	2.025e0

348.5361	2.025e0

348.6148	5.063e0

348.6609	2.025e0

348.7116	1.013e0

348.7632	1.013e0

348.8118	2.025e0

348.8606	2.025e0

348.9042	5.063e0

348.9762	2.025e0

349.0826	3.038e0

349.1523	1.221e1

349.2294	3.038e0

349.2690	2.025e0

349.3816	5.063e0

349.4480	1.013e0

349.4767	1.013e0

349.5450	1.013e0

349.5835	2.025e0

349.6483	4.051e0

349.6904	1.013e0

349.7623	1.471e0

349.8022	3.038e0

349.8944	1.013e0

349.9686	1.013e0

350.0177	2.025e0

350.0628	1.013e0

350.1138	3.758e0

350.1851	4.051e0

350.2401	3.695e0

350.3759	1.013e0

350.4848	2.025e0

350.5298	2.025e0

350.5778	2.025e0

350.6663	3.248e0

350.7419	3.038e0

350.7996	1.013e0

350.8523	2.025e0

350.9048	1.013e0

350.9730	1.013e0

351.0614	1.013e0

351.1154	2.025e0

351.1508	2.834e0

351.2287	5.063e0

351.2975	2.025e0

351.4651	1.013e0

351.4994	2.025e0

351.5747	1.013e0

351.6202	1.013e0

351.6789	1.013e0

351.7197	1.013e0

351.7893	1.013e0

351.8726	3.038e0

351.9557	3.038e0

352.0336	3.038e0

352.1318	2.025e0

352.1929	1.013e0

352.2559	2.025e0

352.3743	1.013e0

352.4223	1.013e0

352.4795	1.013e0

352.5882	1.013e0

352.6239	2.025e0

352.6934	1.013e0

352.7820	1.013e0

352.8631	2.025e0

352.9359	1.013e0

352.9684	1.013e0

353.0211	2.025e0

353.0533	1.013e0

353.1056	1.013e0

353.1860	2.025e0

353.2427	1.013e0

353.3015	1.013e0

353.4073	4.051e0

353.5804	2.025e0

353.9257	2.025e0

353.9951	2.025e0

354.0514	1.013e0

354.1317	1.013e0

354.1893	4.051e0

354.2496	1.013e0

354.3150	1.013e0

354.3506	1.013e0

354.4067	1.013e0

354.4558	2.025e0

354.5049	1.013e0

354.5508	1.013e0

354.5873	2.025e0

354.6256	1.013e0

354.6753	1.013e0

354.7867	1.013e0

354.9674	4.051e0

355.0503	1.013e0

355.2284	4.051e0

355.2783	2.025e0

355.3181	1.013e0

355.3983	2.025e0

355.4510	1.013e0

355.4880	1.013e0

355.6453	3.038e0

355.6924	1.013e0

355.7835	1.013e0

355.8722	1.013e0

355.9508	2.025e0

356.0421	1.013e0

356.0849	2.025e0

356.1585	1.743e0

356.2761	5.063e0

356.3896	1.013e0

356.4274	2.025e0

356.5278	1.013e0

356.6661	1.013e0

356.7351	2.025e0

356.8349	2.025e0

356.8967	1.013e0

356.9583	5.063e0

357.0104	1.013e0

357.0615	1.013e0

357.1011	1.013e0

357.1570	4.051e0

357.2066	1.013e0

357.2749	2.025e0

357.3318	3.038e0

357.4177	1.013e0

357.4969	1.013e0

357.6224	1.013e0

357.6628	1.013e0

357.6998	1.013e0

357.8205	1.013e0

357.8664	1.013e0

358.0422	2.025e0

358.0837	3.038e0

358.1468	4.051e0

358.2935	2.025e0

358.3457	2.025e0

358.4135	1.013e0

358.5218	2.025e0

358.5939	2.025e0

358.7134	1.013e0

358.8116	3.038e0

358.8879	2.025e0

358.9305	2.025e0

358.9916	1.013e0

359.0509	5.063e0

359.1072	1.013e0

359.2057	2.025e0

359.2871	3.038e0

359.3671	2.025e0

359.5288	1.013e0

359.6308	1.013e0

359.7159	1.013e0

359.7464	2.025e0

359.8621	1.013e0

359.9269	1.013e0

359.9879	1.013e0

360.0332	1.013e0

360.0897	1.013e0

360.1445	1.702e0

360.1911	5.615e0

360.2803	1.013e0

360.3323	1.013e0

360.3719	2.025e0

360.4520	1.013e0

360.5248	1.013e0

360.6049	1.013e0

360.6382	1.013e0

360.7384	2.025e0

360.8246	2.025e0

360.8911	1.013e0

360.9327	2.025e0

361.0476	2.025e0

361.0912	2.025e0

361.1714	5.063e0

361.2527	5.063e0

361.3708	2.025e0

361.4853	2.025e0

361.5897	4.051e0

361.6505	1.013e0

361.7418	4.051e0

361.7817	3.038e0

361.8740	2.025e0

361.9102	3.038e0

361.9398	3.038e0

361.9975	4.051e0

362.0401	4.051e0

362.2074	3.038e0

362.2947	3.038e0

362.3652	1.013e0

362.4737	2.025e0

362.5517	3.038e0

362.6528	2.025e0

362.7527	1.013e0

362.8042	2.025e0

362.8396	2.025e0

362.9297	3.122e0

362.9967	2.025e0

363.0407	2.025e0

363.0850	3.038e0

363.1436	2.025e0

363.2121	1.013e0

363.3704	2.025e0

363.4157	1.013e0

363.4837	3.038e0

363.5385	4.051e0

363.5967	1.013e0

363.6429	2.025e0

363.7241	1.013e0

363.7635	2.025e0

363.8488	3.038e0

363.8953	2.025e0

363.9521	1.013e0

364.0624	3.038e0

364.1073	1.013e0

364.1954	2.025e0

364.2736	2.541e0

364.3186	4.051e0

364.4133	1.013e0

364.4422	1.013e0

364.5359	1.013e0

364.6042	1.013e0

364.6706	1.013e0

364.7639	1.013e0

364.8048	1.013e0

364.9395	1.013e0

365.0132	2.025e0

365.0739	5.063e0

365.1864	1.947e1

365.3875	5.063e0

365.4638	2.025e0

365.5183	1.013e0

365.6357	1.013e0

365.7044	2.025e0

365.7828	6.076e0

365.8823	2.025e0

365.9799	2.025e0

366.0250	2.025e0

366.0845	1.013e0

366.1917	1.013e1

366.3072	2.025e0

366.4354	1.013e0

366.5021	2.025e0

366.5907	1.013e0

366.6177	1.013e0

366.6878	1.013e0

366.7754	2.025e0

366.8655	2.025e0

366.9554	4.051e0

367.0469	2.025e0

367.0875	4.051e0

367.1414	2.025e0

367.2048	4.051e0

367.2733	1.013e0

367.3286	4.051e0

367.4162	4.051e0

367.5117	4.051e0

367.6273	2.025e0

367.7268	1.013e0

367.7834	2.025e0

367.8488	1.013e0

367.9067	4.051e0

367.9614	1.013e0

368.0245	2.025e0

368.0840	1.013e0

368.1401	1.013e0

368.1980	2.025e0

368.2691	3.038e0

368.4436	2.025e0

368.4861	2.025e0

368.5539	1.013e0

368.6723	2.025e0

368.7142	1.617e0

368.7537	2.025e0

368.8480	3.047e0

368.9051	1.013e0

368.9632	2.025e0

369.0461	2.025e0

369.1043	2.025e0

369.1541	1.013e0

369.2462	3.038e0

369.3564	4.051e0

369.4243	4.051e0

369.5424	2.025e0

369.6841	3.038e0

369.7673	1.013e0

369.8322	1.013e0

369.9202	1.013e0

369.9719	4.051e0

370.0740	1.013e0

370.1088	2.025e0

370.1946	3.038e0

370.2438	3.038e0

370.4048	2.025e0

370.4604	3.038e0

370.5769	2.025e0

370.6298	1.013e0

370.6758	2.025e0

370.7381	1.013e0

370.8980	4.051e0

370.9838	1.013e0

371.0383	5.063e0

371.1171	1.013e0

371.2118	2.025e0

371.2457	2.025e0

371.2808	1.013e0

371.3506	2.025e0

371.3904	3.038e0

371.4683	6.076e0

371.5566	3.038e0

371.6776	2.025e0

371.7374	3.038e0

371.8807	3.038e0

371.9941	5.063e0

372.0564	2.025e0

372.1395	2.025e0

372.2362	6.973e0

372.2711	5.063e0

372.3827	4.051e0

372.4210	2.025e0

372.4679	1.013e0

372.5459	1.013e0

372.6804	1.013e0

372.7469	1.013e0

372.8655	1.013e0

372.9389	2.025e0

372.9925	1.013e0

373.0811	3.259e0

373.1811	1.013e0

373.2624	3.038e0

373.3552	2.025e0

373.4763	2.025e0

373.5175	1.013e0

373.6137	1.013e0

373.6725	2.025e0

373.7136	2.025e0

373.8464	3.038e0

373.9271	1.013e0

373.9800	2.025e0

374.1506	2.025e0

374.2289	9.147e0

374.3076	2.025e0

374.3427	1.013e0

374.4115	1.013e0

374.5139	1.013e0

374.5962	3.038e0

374.6663	1.013e0

374.7186	1.013e0

374.8441	2.025e0

374.9236	1.013e0

374.9557	1.013e0

374.9971	1.013e0

375.0464	1.013e0

375.1690	4.051e0

375.2004	3.038e0

375.2846	5.063e0

375.3706	1.013e0

375.4695	2.025e0

375.5683	1.013e0

375.6595	1.013e0

375.8107	1.013e0

375.8743	3.038e0

375.9252	4.051e0

376.0155	1.013e0

376.0500	2.025e0

376.1349	1.013e0

376.1958	4.051e0

376.2578	1.013e0

376.3254	3.038e0

376.4013	1.013e0

376.4958	1.013e0

376.5304	1.013e0

376.5788	1.013e0

376.6273	1.013e0

376.6870	2.025e0

376.8062	3.038e0

376.8861	1.013e0

377.0072	5.817e0

377.0913	2.025e0

377.2646	1.013e0

377.3211	2.025e0

377.3877	1.013e0

377.4771	2.025e0

377.5313	1.013e0

377.5928	1.013e0

377.6252	1.013e0

377.6711	1.013e0

377.8045	2.025e0

377.8820	1.013e0

377.9326	2.025e0

378.0000	1.013e0

378.0850	3.038e0

378.1542	4.051e0

378.2141	1.013e0

378.2717	3.038e0

378.3474	1.013e0

378.4221	2.025e0

378.4602	1.013e0

378.5244	2.025e0

378.5837	1.013e0

378.6862	5.063e0

378.7813	1.013e0

378.8170	2.025e0

378.9525	1.013e0

379.0260	3.038e0

379.0681	3.038e0

379.1141	2.025e0

379.1806	5.063e0

379.2253	1.013e0

379.3146	1.013e0

379.4780	3.038e0

379.5669	1.013e0

379.6454	2.025e0

379.7888	1.013e0

379.9017	5.063e0

380.0571	2.025e0

380.1347	2.025e0

380.2297	1.013e0

380.3120	1.013e0

380.4692	2.025e0

380.5627	2.025e0

380.5984	1.013e0

380.6584	2.025e0

380.7284	1.013e0

380.8480	1.013e0

380.9367	3.038e0

381.0140	3.038e0

381.0703	1.013e0

381.1508	2.025e0

381.2027	3.038e0

381.3080	3.038e0

381.3957	1.013e0

381.4290	1.013e0

381.5358	2.025e0

381.5728	1.013e0

381.6684	1.013e0

381.8651	1.013e0

381.9727	1.013e0

382.0888	1.013e0

382.1297	1.013e0

382.2204	2.025e0

382.2692	4.051e0

382.3145	1.013e0

382.4180	3.038e0

382.4964	1.013e0

382.5595	1.013e0

382.6119	1.013e0

382.7773	1.013e0

382.8930	3.038e0

382.9427	1.672e0

383.0021	1.013e0

383.1027	2.025e0

383.2339	3.038e0

383.3185	1.013e0

383.3818	1.013e0

383.4615	2.025e0

383.5416	3.038e0

383.5872	2.025e0

383.6389	2.025e0

383.7506	1.013e0

383.8513	2.025e0

383.9319	1.013e0

383.9942	1.013e0

384.0733	3.645e0

384.1496	3.038e0

384.2204	4.051e0

384.2548	3.038e0

384.3419	2.025e0

384.3869	1.352e0

384.4449	1.013e0

384.5793	1.013e0

384.6091	1.013e0

384.7134	1.013e0

384.7557	1.013e0

384.8244	1.013e0

384.9103	4.051e0

385.0247	2.025e0

385.0974	2.025e0

385.2043	3.038e0

385.2905	3.038e0

385.3719	2.025e0

385.4129	2.025e0

385.5015	4.051e0

385.6530	1.013e0

385.6834	1.013e0

385.7414	1.013e0

385.7910	2.025e0

385.8783	1.013e0

385.9722	2.025e0

386.0288	2.025e0

386.0803	1.013e0

386.1566	2.025e0

386.2794	4.051e0

386.3189	3.038e0

386.3759	2.025e0

386.4631	2.025e0

386.5025	1.013e0

386.5690	2.025e0

386.6176	1.013e0

386.6631	2.025e0

386.9153	1.013e0

386.9995	2.025e0

387.1288	3.038e0

387.1840	4.051e0

387.2834	6.076e0

387.3414	2.025e0

387.3751	1.013e0

387.4366	3.038e0

387.4989	2.025e0

387.5620	2.025e0

387.6367	3.038e0

387.7019	1.013e0

387.8005	3.038e0

387.8486	3.038e0

387.9405	2.025e0

388.0724	4.051e0

388.1654	3.038e0

388.2359	3.038e0

388.2944	3.038e0

388.3393	1.013e0

388.4216	1.013e0

388.5721	3.038e0

388.6551	2.025e0

388.7115	2.025e0

388.7618	4.051e0

388.8332	2.025e0

388.9353	1.013e0

389.0001	4.051e0

389.0992	2.025e0

389.1506	2.025e0

389.2112	2.025e0

389.2948	2.025e0

389.3669	3.038e0

389.4250	1.013e0

389.4891	3.052e0

389.5465	2.025e0

389.6251	2.025e0

389.7537	2.025e0

389.8257	1.013e0

389.8893	1.013e0

389.9866	5.063e0

390.0751	1.013e0

390.1287	2.025e0

390.1992	2.025e0

390.2609	1.013e0

390.3109	1.013e0

390.3896	1.013e0

390.4730	2.025e0

390.5746	2.025e0

390.6730	2.659e0

390.7485	2.025e0

390.8675	3.038e0

390.9185	2.025e0

390.9664	1.013e0

391.0223	4.051e0

391.1275	1.013e0

391.1854	4.051e0

391.2525	4.051e0

391.3028	5.063e0

391.3605	1.013e0

391.3921	1.013e0

391.4494	1.013e0

391.4975	1.013e0

391.5701	3.038e0

391.6552	1.013e0

391.7375	1.013e0

391.7959	3.038e0

391.8593	2.025e0

391.9647	3.038e0

392.0743	2.025e0

392.1488	2.025e0

392.2652	4.051e0

392.3896	1.013e0

392.5321	3.038e0

392.6771	4.051e0

392.7287	3.038e0

392.7868	3.038e0

392.9433	1.013e0

393.0114	2.025e0

393.1136	3.038e0

393.1714	3.038e0

393.2643	2.025e0

393.3285	2.025e0

393.3863	1.013e0

393.4184	1.013e0

393.5028	1.013e0

393.6699	3.038e0

393.7567	1.013e0

393.8034	2.025e0

393.8435	2.025e0

393.9348	1.013e0

393.9846	2.025e0

394.0690	5.063e0

394.1453	9.114e0

394.2512	3.038e0

394.3293	1.013e0

394.3746	2.025e0

394.5504	3.038e0

394.6110	4.051e0

394.6775	2.025e0

394.7391	4.051e0

394.8294	4.051e0

394.9155	2.025e0

394.9534	1.013e0

395.0573	3.038e0

395.1028	3.038e0

395.1794	1.013e0

395.2262	2.792e0

395.2827	3.038e0

395.3213	2.025e0

395.4217	2.025e0

395.4674	3.038e0

395.5266	1.013e0

395.6020	5.063e0

395.6855	4.051e0

395.7828	2.025e0

395.9177	1.013e0

395.9611	1.013e0

396.0888	4.051e0

396.1568	1.013e0

396.2262	1.013e0

396.2949	2.025e0

396.3842	1.013e0

396.5763	1.013e0

396.7255	2.025e0

396.7908	2.743e0

396.8459	1.013e0

396.9448	3.038e0

397.0495	2.025e0

397.1085	4.051e0

397.2091	1.013e0

397.2934	2.025e0

397.3980	2.025e0

397.4850	3.038e0

397.5956	1.013e0

397.6711	1.013e0

397.8618	3.038e0

397.9174	2.025e0

398.0830	1.013e0

398.1379	1.013e0

398.1838	1.013e0

398.2255	2.025e0

398.3233	2.025e0

398.3713	3.038e0

398.4388	1.013e0

398.5043	1.013e0

398.5554	2.025e0

398.6210	1.013e0

398.6853	3.038e0

398.8142	4.051e0

398.8821	2.025e0

398.9374	3.038e0

399.0340	1.013e0

399.0857	2.025e0

399.1714	1.013e0

399.2410	1.013e0

399.3174	2.025e0

399.4256	1.013e0

399.5130	2.025e0

399.5471	4.512e0

399.5882	4.051e0

399.6680	2.025e0

399.7140	1.013e0

399.8033	2.025e0

399.8687	1.013e0

399.9098	2.025e0

399.9789	1.013e0

400.0266	1.013e0

400.0959	1.013e0

400.2101	1.519e1

400.3012	1.013e0

400.3783	4.051e0

400.5570	1.013e0

400.7035	1.013e0

400.7914	1.013e0

400.8719	1.013e0

400.9333	3.038e0

401.0258	1.013e0

401.1020	2.025e0

401.1503	2.025e0

401.2106	5.063e0

401.3114	5.063e0

401.3595	3.038e0

401.4104	4.051e0

401.4623	3.038e0

401.5813	3.038e0

401.6653	3.038e0

401.7507	6.076e0

401.8372	4.051e0

401.8824	3.126e0

401.9393	4.051e0

401.9792	2.025e0

402.0467	1.013e0

402.2216	5.063e0

402.3399	1.013e0

402.3987	1.013e0

402.4575	1.013e0

402.6222	3.038e0

402.7997	2.025e0

402.8432	2.025e0

402.8821	2.025e0

402.9714	1.013e0

403.0462	1.013e0

403.1490	4.051e0

403.2264	3.038e0

403.3066	3.038e0

403.3959	2.025e0

403.4735	1.013e0

403.5177	1.013e0

403.5937	1.013e0

403.6468	2.025e0

403.6933	3.038e0

403.7852	2.025e0

403.8628	2.025e0

403.9488	3.038e0

404.0057	3.038e0

404.0971	5.063e0

404.1724	3.038e0

404.2726	7.213e0

404.3913	4.051e0

404.5004	3.038e0

404.6811	2.025e0

404.7357	1.013e0

404.8346	3.038e0

404.9279	1.013e0

405.0477	3.038e0

405.1067	2.025e0

405.1446	2.025e0

405.2218	5.063e0

405.3004	3.038e0

405.4136	3.389e0

405.5208	2.025e0

405.5718	1.013e0

405.6193	1.013e0

405.6571	1.013e0

405.7123	1.013e0

405.7644	1.013e0