Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 100.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

104 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 14-14    H: 0-200    N: 0-10    O: 0-15    S: 1-1

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	Formula

246.0956   	246.0953       	0.3      	1.2      	7.5      	1.3        	C14  H16  N  O  S

REPORT MASSES AS +/-5mDa, referenced against

Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

ANALYSIS RUN USING:  WATERS LCT PREMIER (ESI POSITIVE/ESI NEGATIVE)

148.1892	1.013e0

148.3154	1.266e-2

148.3414	1.013e0

148.4102	2.025e0

148.4416	2.532e-2

148.5419	2.038e0

148.5999	1.266e-2

148.7201	1.025e0

148.7786	1.013e0

148.7959	2.532e-2

149.1800	1.013e0

149.1966	1.266e-2

149.2354	2.532e-2

149.3004	1.266e-2

149.4579	2.025e0

149.5070	3.038e0

149.5711	1.025e0

149.7260	1.266e-2

149.8269	1.266e-2

149.9475	1.013e0

149.9993	1.266e-2

150.0254	1.266e-2

150.0462	1.025e0

150.3750	2.532e-2

150.4846	2.532e-2

150.6567	1.266e-2

150.7369	2.532e-2

150.8302	1.266e-2

150.9186	1.013e0

151.1628	2.025e0

151.2824	2.532e-2

151.2966	1.013e0

151.3398	1.013e0

151.4215	1.013e0

151.6390	2.532e-2

151.7010	2.025e0

151.8036	1.266e-2

152.0040	1.013e0

152.2167	1.013e0

152.2334	1.266e-2

152.2672	1.025e0

152.3723	3.798e-2

152.4263	1.266e-2

152.4756	1.025e0

152.6172	1.013e0

152.6493	1.013e0

152.7314	1.025e0

152.8269	1.266e-2

152.8661	1.266e-2

152.9057	1.025e0

152.9645	2.025e0

153.1912	1.013e0

153.2545	1.025e0

153.5269	1.013e0

153.5896	1.013e0

154.0110	1.013e0

154.0808	1.266e-2

154.1760	1.013e0

154.4111	1.266e-2

154.4868	1.266e-2

154.5659	1.266e-2

154.5827	1.266e-2

154.6618	1.025e0

154.9229	1.266e-2

154.9821	1.266e-2

155.0055	1.013e0

155.2366	1.266e-2

155.3225	1.025e0

155.3428	1.013e0

155.5283	2.025e0

155.5517	1.013e0

155.6412	1.266e-2

155.8134	1.013e0

155.8402	1.013e0

155.9466	1.013e0

156.0159	1.266e-2

156.0377	5.063e-2

156.1591	3.798e-2

156.3843	1.013e0

156.4356	1.038e0

156.4806	1.013e0

156.6435	1.013e0

156.7562	1.266e-2

156.8301	1.266e-2

157.0396	2.051e0

157.1960	1.013e0

157.2230	1.266e-2

157.2493	1.266e-2

157.2723	1.266e-2

157.3296	1.266e-2

157.4753	1.025e0

157.7696	1.013e0

157.8430	1.266e-2

157.8633	1.013e0

157.9296	1.013e0

158.2535	1.266e-2

158.3238	1.266e-2

158.3468	1.266e-2

158.3739	2.532e-2

158.4440	1.266e-2

158.4876	1.266e-2

158.5348	2.038e0

158.6216	2.532e-2

158.7068	1.038e0

158.8509	2.532e-2

158.8913	2.532e-2

158.9935	1.266e-2

159.0343	1.038e0

159.1874	1.266e-2

159.3131	1.025e0

159.4763	1.266e-2

159.5008	1.025e0

159.5224	1.013e0

159.8353	1.013e0

159.9391	1.266e-2

159.9698	2.532e-2

160.0059	2.532e-2

160.2486	2.532e-2

160.3666	1.266e-2

160.3830	1.266e-2

160.4536	1.013e0

160.5110	1.266e-2

160.5831	2.532e-2

160.6588	1.013e0

160.8968	2.532e-2

160.9293	3.038e0

160.9627	3.063e0

161.2115	1.013e0

161.2714	3.038e0

161.2926	1.013e0

161.4617	1.025e0

161.6034	1.013e0

161.7691	1.013e0

161.7824	1.013e0

161.8836	1.013e0

161.9331	1.025e0

162.0017	1.266e-2

162.0222	1.013e0

162.1437	1.013e0

162.1641	1.013e0

162.1905	3.038e0

162.3130	1.013e0

162.4618	1.013e0

162.6585	1.266e-2

162.9159	1.013e0

162.9566	1.013e0

163.1227	1.266e-2

163.1398	1.013e0

163.1825	1.025e0

163.2220	1.266e-2

163.3095	1.013e0

163.4351	1.013e0

163.4680	3.038e0

163.6252	1.013e0

163.6627	2.025e0

163.6901	1.013e0

163.7226	1.025e0

163.7500	2.025e0

163.8021	1.013e0

163.8394	1.013e0

163.8873	1.013e0

163.9250	1.038e0

164.0676	2.025e0

164.1563	1.266e-2

164.5850	1.266e-2

164.7929	1.013e0

165.0316	2.532e-2

165.1175	1.038e0

165.2297	1.266e-2

165.3240	1.025e0

165.4997	3.038e0

165.5409	1.013e0

165.7011	1.013e0

166.0679	2.025e0

166.3368	2.025e0

166.3662	1.266e-2

166.5921	1.013e0

166.6812	1.013e0

166.7631	1.013e0

166.9321	1.266e-2

167.2358	2.532e-2

167.5333	2.532e-2

168.4399	2.532e-2

168.5039	1.025e0

168.5350	1.266e-2

169.3220	1.266e-2

169.3410	2.025e0

169.5335	1.025e0

169.6663	3.798e-2

169.7731	2.025e0

170.2395	1.266e-2

170.2843	1.266e-2

170.3257	1.013e0

170.4228	1.266e-2

170.5654	2.532e-2

170.6262	2.025e0

170.7913	2.025e0

170.8540	1.013e0

171.2491	1.266e-2

171.3153	1.013e0

171.5434	2.025e0

171.5695	1.013e0

171.6078	1.013e0

171.7611	2.532e-2

171.8029	1.266e-2

171.9458	1.013e0

172.0888	1.266e-2

172.1795	1.013e0

172.3784	2.532e-2

172.4237	1.266e-2

172.5178	1.266e-2

172.5667	2.532e-2

172.5876	1.013e0

172.7202	1.013e0

172.7481	1.266e-2

172.8773	1.266e-2

173.0101	2.532e-2

173.1744	1.013e0

173.2199	1.013e0

173.3319	2.025e0

173.3755	2.025e0

173.3983	1.266e-2

173.4752	1.013e0

173.6221	1.266e-2

173.6501	1.266e-2

173.6746	1.013e0

173.7375	1.013e0

173.8110	1.266e-2

173.9860	1.266e-2

174.0281	1.013e0

174.0631	1.013e0

174.1559	2.532e-2

174.2032	1.025e0

174.2242	1.013e0

174.2557	1.013e0

174.2977	1.266e-2

174.6243	1.266e-2

174.6525	1.025e0

174.6913	2.532e-2

174.8705	1.013e0

174.9161	1.266e-2

175.0319	1.025e0

175.0986	2.038e0

175.2389	1.266e-2

175.3231	1.266e-2

175.5046	1.038e0

175.5475	1.025e0

175.5916	3.798e-2

175.8146	1.025e0

175.9533	1.266e-2

176.1003	2.532e-2

176.4191	1.266e-2

176.4507	1.013e0

176.5461	2.025e0

176.6740	1.013e0

176.9557	3.038e0

177.0053	1.266e-2

177.1357	9.408e0

177.1667	2.025e0

177.2160	1.025e0

177.3779	2.038e0

177.8050	1.266e-2

177.8443	1.013e0

177.9719	1.013e0

178.1343	1.013e0

178.1880	1.013e0

178.2418	1.013e0

178.5251	2.532e-2

178.5894	1.266e-2

178.7642	2.025e0

178.9620	1.266e-2

179.2147	1.266e-2

179.2996	1.025e0

179.4887	1.013e0

179.6373	1.013e0

179.8230	1.266e-2

179.9171	2.025e0

180.0406	1.013e0

180.3435	1.013e0

180.3630	2.532e-2

180.4036	1.025e0

180.7113	1.266e-2

180.7438	1.013e0

180.9020	2.532e-2

181.0612	1.266e-2

181.0984	2.948e1

181.5154	1.013e0

181.6161	2.038e0

181.7909	4.051e0

181.9149	2.038e0

182.0711	1.013e0

182.1671	1.266e-2

182.2398	1.013e0

182.2612	2.532e-2

182.2967	1.013e0

182.4692	1.025e0

182.6162	2.025e0

182.6843	2.025e0

182.7307	1.266e-2

182.7555	1.013e0

182.8320	1.266e-2

182.9032	1.266e-2

182.9494	1.266e-2

183.0189	2.025e0

183.0615	1.266e-2

183.1621	1.266e-2

183.3198	1.266e-2

183.4033	1.013e0

183.5512	1.013e0

183.6145	1.038e0

183.6616	2.025e0

183.7330	2.025e0

183.9540	1.013e0

184.1878	1.013e0

184.2660	2.532e-2

184.3721	1.013e0

184.4230	1.013e0

184.5345	1.013e0

184.6631	1.038e0

184.7460	2.025e0

184.7764	1.013e0

184.8410	1.266e-2

185.0611	3.798e-2

185.1888	1.013e0

185.2068	1.266e-2

185.2425	1.013e0

185.3406	1.013e0

185.4160	1.266e-2

185.6733	1.266e-2

185.7448	1.013e0

185.8253	2.532e-2

185.8504	1.266e-2

185.9156	1.013e0

186.3032	1.013e0

186.3761	4.051e0

186.4660	1.013e0

186.5843	1.025e0

186.6039	1.266e-2

186.6299	1.013e0

186.6631	2.025e0

186.8584	1.266e-2

186.9641	1.013e0

187.0717	2.025e0

187.1039	1.025e0

187.1307	3.038e0

187.2342	3.798e-2

187.3279	1.013e0

187.4106	1.266e-2

187.5128	1.013e0

187.7712	1.025e0

187.7964	1.013e0

187.9274	1.266e-2

188.0513	1.266e-2

188.2848	1.266e-2

188.5256	1.013e0

188.7628	1.025e0

188.8170	1.013e0

188.8905	1.266e-2

189.0363	1.266e-2

189.1196	1.038e0

189.2049	1.266e-2

189.2702	1.266e-2

189.4015	1.266e-2

189.4201	2.025e0

189.4897	1.013e0

189.5334	2.025e0

189.7238	1.013e0

190.0815	3.051e0

190.1491	1.266e-2

190.2590	1.013e0

190.3059	2.532e-2

190.3578	1.266e-2

190.3942	1.013e0

190.8947	2.532e-2

190.9372	1.266e-2

191.0691	1.013e0

191.2121	1.013e0

191.3453	1.266e-2

191.3652	2.025e0

191.4442	1.013e0

191.5242	1.266e-2

191.6295	2.532e-2

191.7121	1.266e-2

192.1589	3.038e0

192.2454	1.013e0

192.5078	1.266e-2

192.5440	2.532e-2

192.6400	1.266e-2

192.6875	1.038e0

192.7695	1.266e-2

192.8538	1.013e0

192.8730	1.266e-2

192.9388	1.266e-2

192.9841	1.013e0

193.0401	1.025e0

193.1529	1.013e0

193.4099	2.532e-2

193.4601	1.013e0

193.5258	2.025e0

193.6258	1.038e0

193.8106	1.013e0

193.8518	4.051e0

193.8886	1.013e0

194.0483	2.532e-2

194.2625	1.013e0

194.3477	2.532e-2

194.3958	1.025e0

194.4203	2.532e-2

194.4595	1.038e0

194.5421	1.025e0

194.6329	2.532e-2

194.8513	2.025e0

194.8760	2.025e0

195.0522	2.532e-2

195.0708	1.013e0

195.1071	1.025e0

195.1412	2.025e0

195.2927	2.025e0

195.4236	1.025e0

195.5273	1.266e-2

195.6164	1.025e0

195.7538	1.013e0

195.7875	2.025e0

195.8601	2.532e-2

196.2044	1.013e0

196.3046	1.266e-2

196.3338	1.266e-2

196.4978	1.266e-2

196.5688	1.013e0

196.8040	1.013e0

196.8664	1.266e-2

196.9718	1.013e0

197.0793	1.266e-2

197.1578	1.013e0

197.1742	1.025e0

197.3293	1.013e0

197.6488	1.025e0

197.7755	2.025e0

197.8222	1.013e0

197.9007	1.266e-2

197.9720	1.013e0

198.0049	1.025e0

198.3397	2.025e0

198.3905	1.013e0

198.7614	1.025e0

198.9465	1.025e0

198.9666	1.266e-2

199.4681	2.025e0

199.4944	1.603e0

199.5373	1.025e0

199.6642	1.266e-2

199.7028	1.025e0

199.7925	1.013e0

199.8494	1.266e-2

199.8786	3.038e0

199.9538	1.266e-2

200.2289	1.266e-2

200.3619	2.532e-2

200.4159	1.013e0

200.5061	1.266e-2

200.7131	1.266e-2

200.7590	1.266e-2

200.7847	1.266e-2

200.9848	1.013e0

201.0032	1.266e-2

201.0335	1.266e-2

201.1960	2.025e0

201.2677	1.266e-2

201.3354	1.266e-2

201.3613	1.266e-2

201.6962	3.038e0

201.8079	1.025e0

201.8289	1.266e-2

201.8705	1.266e-2

201.8966	1.013e0

202.1877	1.013e0

202.2437	1.013e0

202.2675	1.266e-2

202.9287	1.025e0

202.9895	1.266e-2

203.0724	1.266e-2

203.2770	1.013e0

203.5694	2.025e0

203.6900	1.013e0

203.9409	1.013e0

204.0462	1.013e0

204.3432	1.013e0

204.3802	1.013e0

204.5970	2.038e0

204.6663	1.266e-2

204.7115	3.798e-2

204.9285	1.266e-2

205.1142	1.013e0

205.1789	1.266e-2

205.6056	1.266e-2

205.6359	1.013e0

205.6741	2.532e-2

205.7425	1.013e0

205.7830	2.025e0

205.9147	1.013e0

205.9313	2.025e0

206.1775	1.013e0

206.2962	1.013e0

206.3256	2.025e0

206.3535	2.532e-2

206.4794	1.013e0

206.5128	1.266e-2

206.6053	1.266e-2

206.9521	2.038e0

207.1210	1.038e0

207.2909	1.025e0

207.4685	1.013e0

207.4994	3.798e-2

207.5285	2.038e0

207.6562	1.013e0

208.1734	1.013e0

208.2273	1.266e-2

208.3145	1.266e-2

208.6028	1.013e0

208.6257	1.013e0

208.6990	2.532e-2

208.7942	1.266e-2

208.9133	1.266e-2

208.9487	2.025e0

209.1980	1.266e-2

209.2864	1.013e0

209.4829	2.532e-2

209.5249	1.013e0

209.6039	1.025e0

209.7194	1.025e0

209.7975	1.266e-2

209.8515	2.532e-2

209.9849	1.025e0

210.0373	3.038e0

210.2099	1.025e0

210.2411	1.266e-2

210.2953	1.013e0

210.3175	1.266e-2

210.4146	1.025e0

210.5529	2.038e0

210.7147	1.025e0

210.8807	1.266e-2

210.9093	2.025e0

210.9386	1.013e0

210.9773	1.266e-2

211.0077	1.266e-2

211.1449	1.025e0

211.1926	1.266e-2

211.2451	1.025e0

211.9849	1.266e-2

212.4146	1.266e-2

212.4424	1.013e0

212.4787	1.025e0

212.5485	2.532e-2

212.6550	2.532e-2

212.6952	2.532e-2

212.8056	1.025e0

213.0683	3.051e0

213.1821	1.266e-2

213.4031	1.266e-2

213.4311	1.266e-2

213.7612	1.025e0

214.0442	2.532e-2

214.1148	2.532e-2

214.1846	1.266e-2

214.2975	2.025e0

214.3272	1.013e0

214.3762	2.532e-2

214.4137	1.266e-2

214.4937	2.532e-2

214.6277	1.013e0

214.8962	1.013e0

215.0388	2.532e-2

215.0876	1.013e0

215.1648	1.266e-2

215.2998	1.025e0

215.4413	1.013e0

215.5510	2.025e0

215.7108	2.025e0

216.1755	1.013e0

216.5350	1.013e0

217.0858	1.013e0

217.2385	1.013e0

217.4120	1.266e-2

217.4457	2.367e0

217.5910	1.266e-2

217.6194	1.266e-2

217.6885	3.798e-2

217.7288	1.013e0

217.8382	2.025e0

217.9524	2.038e0

218.0995	2.025e0

218.1722	2.025e0

218.2231	1.266e-2

218.2816	1.266e-2

218.4894	1.266e-2

218.6234	2.532e-2

218.6595	1.266e-2

218.8906	1.266e-2

218.9579	1.266e-2

218.9803	1.266e-2

219.0786	1.266e-2

219.1035	1.266e-2

219.1758	3.038e0

219.2326	1.013e0

219.3366	1.025e0

219.4180	2.532e-2

219.6102	1.266e-2

219.6650	1.013e0

219.6861	1.266e-2

219.9137	1.266e-2

220.0435	1.266e-2

220.2653	1.013e0

220.3276	1.013e0

220.4031	1.266e-2

220.4621	1.013e0

220.4963	2.038e0

220.5406	1.013e0

220.6099	2.532e-2

220.7299	1.013e0

220.7772	1.013e0

220.9016	5.063e0

220.9396	1.013e0

220.9667	1.013e0

220.9946	1.266e-2

221.2160	1.025e0

221.2828	1.013e0

221.3264	1.266e-2

221.3572	2.025e0

221.4213	1.013e0

221.8770	1.013e0

221.9716	3.038e0

222.1804	1.266e-2

222.4902	1.013e0

222.6365	1.266e-2

222.8246	1.025e0

222.8587	1.025e0

222.9199	3.051e0

222.9978	1.266e-2

223.1804	1.266e-2

223.2355	1.013e0

223.2868	1.266e-2

223.5571	1.013e0

223.6046	1.025e0

223.8161	1.013e0

224.1530	1.013e0

224.2330	1.266e-2

224.3612	3.051e0

224.5150	1.266e-2

224.6027	2.038e0

224.6466	1.266e-2

224.7857	1.266e-2

224.8220	1.266e-2

224.8561	2.532e-2

224.9173	1.266e-2

224.9381	1.266e-2

224.9731	1.013e0

225.0890	1.025e0

225.1247	2.532e-2

225.4478	1.013e0

225.5002	1.025e0

225.5243	6.649e-2

225.5907	1.013e0

225.6196	1.266e-2

225.6561	1.013e0

225.6827	1.266e-2

225.8982	1.013e0

226.1789	1.266e-2

226.2931	3.798e-2

226.4383	1.266e-2

226.6014	1.013e0

226.6380	1.013e0

226.7508	1.013e0

227.3745	1.266e-2

227.6864	1.266e-2

227.8523	4.051e0

227.9598	2.025e0

228.0516	2.025e0

228.0930	1.266e-2

228.1331	1.266e-2

228.2548	2.025e0

228.3686	1.013e0

228.3975	1.013e0

228.5008	1.013e0

228.5452	1.013e0

228.7830	1.013e0

228.8787	1.025e0

229.2353	2.025e0

229.2606	1.266e-2

229.3082	2.038e0

229.3535	1.013e0

229.4989	1.013e0

229.6755	1.013e0

229.7007	1.013e0

229.7275	1.013e0

229.7581	1.025e0

229.7890	1.266e-2

229.8408	1.013e0

229.8897	2.025e0

230.0662	1.266e-2

230.1549	5.063e-2

230.2402	1.013e0

230.2760	1.266e-2

230.5885	2.532e-2

230.6637	1.013e0

230.7505	3.038e0

230.7925	1.013e0

230.8167	1.266e-2

231.0646	1.025e0

231.1120	1.266e-2

231.3047	1.266e-2

231.4391	1.013e0

231.4750	1.013e0

231.7896	1.266e-2

231.8149	1.266e-2

231.9238	1.025e0

232.3545	2.025e0

232.3893	1.013e0

232.4257	1.025e0

232.7134	2.025e0

232.9160	1.266e-2

233.0300	1.266e-2

233.1799	1.266e-2

233.2522	1.013e0

233.2973	1.013e0

233.3581	1.013e0

233.7763	1.013e0

233.8532	1.013e0

234.1873	2.532e-2

234.2924	1.266e-2

234.4193	1.013e0

234.5101	1.025e0

234.5837	2.025e0

234.6420	3.798e-2

234.7233	1.013e0

234.7687	1.266e-2

234.7962	1.266e-2

234.8368	1.266e-2

234.9185	1.013e0

234.9766	1.013e0

235.1653	5.576e0

235.2534	1.013e0

235.3272	1.013e0

235.4732	2.025e0

235.5424	1.038e0

235.5786	1.013e0

235.6302	2.532e-2

235.6605	5.228e-1

235.7465	1.266e-2

235.9105	1.266e-2

236.0287	1.025e0

236.0693	1.013e0

236.1099	1.266e-2

236.1972	3.038e0

236.4490	1.013e0

236.6610	1.025e0

236.8604	2.051e0

236.9428	1.013e0

236.9851	2.038e0

237.1112	1.266e-2

237.1450	2.532e-2

237.3579	1.025e0

237.4375	2.025e0

237.4627	1.013e0

237.6346	2.025e0

237.7583	1.013e0

238.1306	1.013e0

238.2597	1.025e0

238.3238	1.013e0

238.3839	1.266e-2

238.5861	1.266e-2

238.6352	1.013e0

238.6575	1.025e0

239.1353	1.013e0

239.1921	3.616e0

239.2243	2.532e-2

239.3060	1.025e0

239.3283	1.266e-2

239.4999	2.025e0

239.5464	1.013e0

239.6460	1.266e-2

239.6869	1.025e0

239.9245	1.013e0

239.9754	1.266e-2

240.0124	1.013e0

240.0906	1.013e0

240.2835	1.013e0

240.4765	1.266e-2

240.6171	1.266e-2

240.6466	1.266e-2

240.6989	1.013e0

240.7987	1.013e0

240.8281	1.266e-2

240.9157	2.025e0

241.1175	2.532e-2

241.2263	3.038e0

241.4959	1.266e-2

241.6187	1.266e-2

241.8596	1.013e0

242.0713	2.038e0

242.2522	1.013e0

242.4669	1.266e-2

242.5616	1.266e-2

243.0704	1.266e-2

243.1495	1.013e0

243.2802	2.025e0

243.4491	1.013e0

243.4838	1.025e0

243.5233	1.013e0

243.5890	2.025e0

243.6349	1.013e0

243.8248	2.532e-2

243.8627	2.532e-2

243.9698	1.013e0

244.0367	1.013e0

244.0848	2.025e0

244.1928	1.025e0

244.3602	1.013e0

244.3972	2.038e0

244.4308	2.025e0

244.4703	2.038e0

244.5532	1.051e0

244.5902	1.013e0

244.6411	2.532e-2

244.6724	1.013e0

244.8660	2.025e0

244.9141	1.266e-2

245.0917	1.063e0

245.3912	1.013e0

245.6547	1.013e0

245.7982	1.025e0

245.8657	2.038e0

245.8972	1.025e0

245.9769	2.532e-2

246.0956	3.988e2

246.2110	3.038e0

246.2522	3.051e0

246.3309	8.643e-1

246.3613	5.063e0

246.4294	1.266e-2

246.4764	3.038e0

246.5207	2.051e0

246.5730	4.051e0

246.6203	5.063e0

246.7006	4.051e0

246.8171	1.266e-2

246.8642	3.038e0

246.9076	3.038e0

247.0107	2.532e-2

247.0425	3.038e0

247.1006	8.029e1

247.3610	1.596e0

247.3951	2.038e0

247.5232	2.025e0

247.5987	1.013e0

247.6273	1.013e0

247.6559	1.013e0

247.7322	2.025e0

247.9375	1.025e0

247.9747	1.266e-2

247.9953	1.266e-2

248.0927	2.026e1

248.7530	1.025e0

248.8199	1.266e-2

248.8420	1.266e-2

249.0420	3.798e-2

249.0935	2.063e0

249.1539	2.532e-2

249.2340	2.532e-2

249.2682	1.013e0

249.3089	2.532e-2

249.3405	2.532e-2

249.4117	1.266e-2

249.5019	2.025e0

249.5410	1.266e-2

249.5745	1.013e0

249.8188	1.013e0

249.9661	1.266e-2

250.0747	1.266e-2

250.1180	3.798e-2

250.3812	2.025e0

250.4282	1.013e0

250.5916	1.266e-2

250.7310	1.266e-2

250.7935	1.266e-2

250.8613	4.051e0

251.0167	1.266e-2

251.4428	1.266e-2

251.5199	2.532e-2

251.6748	1.013e0

251.8132	1.013e0

251.8508	1.013e0

252.1632	2.532e-2

252.3029	1.266e-2

252.3561	1.013e0

252.5546	1.013e0

252.6367	1.266e-2

252.6741	1.013e0

252.7335	1.013e0

252.7831	1.013e0

252.8804	1.013e0

252.9854	1.013e0

253.2570	1.266e-2

253.2775	1.266e-2

253.4283	3.038e0

253.5282	1.013e0

253.8956	1.013e0

253.9256	1.025e0

254.1581	1.266e-2

254.3137	2.532e-2

254.4041	1.013e0

254.5012	2.025e0

254.6379	1.013e0

254.8482	1.013e0

254.9501	1.266e-2

255.1293	1.013e0

255.2224	2.025e0

255.3921	1.013e0

255.4847	1.025e0

255.5753	1.266e-2

255.6095	1.013e0

255.8362	3.051e0

256.0843	1.013e0

256.3441	1.013e0

256.4716	1.013e0

256.5353	1.266e-2

256.5697	1.013e0

256.6286	1.266e-2

256.6725	1.266e-2

256.7163	2.025e0

256.9694	1.266e-2

257.0755	1.025e0

257.1496	4.063e0

257.3150	1.266e-2

257.3411	1.013e0

257.4767	1.013e0

257.5232	1.013e0

257.7475	2.532e-2

257.7842	1.266e-2

257.8501	2.532e-2

257.8864	1.266e-2

257.9166	1.266e-2

258.0652	1.266e-2

258.0948	1.266e-2

258.1461	3.038e0

258.3810	1.013e0

258.4846	1.266e-2

258.5939	1.013e0

258.6540	1.025e0

258.7383	1.025e0

258.8838	2.025e0

259.0866	1.013e0

259.2487	1.013e0

259.3206	1.266e-2

259.4029	1.013e0

259.7716	1.266e-2

259.8659	1.013e0

260.0198	1.266e-2

260.0997	1.038e0

260.1439	1.266e-2

260.3146	1.266e-2

260.5465	1.266e-2

260.6576	1.266e-2

260.7953	1.266e-2

260.8345	1.013e0

260.9146	4.051e0

261.0531	1.266e-2

261.2840	2.038e0

261.3459	1.299e0

261.4644	1.013e0

261.6028	1.266e-2

261.7595	2.025e0

261.8904	1.266e-2

261.9920	1.025e0

262.0901	2.532e-2

262.2524	1.013e0

262.3888	1.266e-2

262.4884	1.025e0

262.6226	1.013e0

262.6906	1.013e0

262.7982	1.266e-2

262.8834	2.532e-2

262.9786	1.013e0

263.1311	1.222e1

263.2419	1.266e-2

263.3253	2.532e-2

263.5251	2.532e-2

263.5889	1.025e0

263.6935	2.025e0

263.7897	2.025e0

263.9722	2.038e0

264.1393	1.013e0

264.1745	1.266e-2

264.2624	2.532e-2

264.2953	1.266e-2

264.5372	1.013e0

264.6574	2.532e-2

264.7440	1.266e-2

264.8823	1.013e0

264.9163	1.266e-2

264.9388	1.266e-2

265.3625	1.013e0

265.5024	1.025e0

265.6311	1.266e-2

265.7646	1.266e-2

265.8431	1.266e-2

266.0900	3.038e0

266.2349	2.532e-2

266.3200	1.013e0

266.3960	1.025e0

266.4413	1.266e-2

266.5019	1.266e-2

266.5663	1.266e-2

266.6495	1.266e-2

266.6914	2.532e-2

266.7888	1.013e0

267.0530	1.266e-2

267.1137	2.038e0

267.2404	1.266e-2

267.3125	1.266e-2

267.4792	1.013e0

267.6573	1.266e-2

268.1976	2.532e-2

268.6533	1.266e-2

268.6840	1.266e-2

268.7191	1.266e-2

268.8748	1.013e0

268.9051	1.266e-2

269.0118	3.038e0

269.1895	1.266e-2

269.2257	1.025e0

269.2769	1.013e0

269.3180	2.025e0

269.5768	1.266e-2

269.8565	1.266e-2

270.1195	2.532e-2

270.2588	2.532e-2

270.4463	1.266e-2

270.5476	2.025e0

270.8606	1.013e0

271.0194	3.038e0

271.2500	1.013e0

271.6729	3.038e0

272.4325	1.266e-2

272.5565	1.013e0

272.6700	3.038e0

272.9503	1.266e-2

273.0643	1.266e-2

273.1084	2.025e0

273.1312	1.266e-2

273.4689	1.266e-2

273.5779	2.025e0

273.6490	1.013e0

273.7234	1.266e-2

273.7538	2.025e0

273.9691	1.013e0

274.0221	2.532e-2

274.1100	1.013e0

274.2363	3.038e0

274.4072	2.532e-2

274.8372	1.266e-2

274.9026	1.013e0

274.9293	1.013e0

275.0667	1.266e-2

275.1009	1.025e0

275.1326	3.798e-2

275.2992	1.013e0

275.3336	1.266e-2

275.4669	1.013e0

275.5465	2.038e0

275.7512	2.532e-2

275.8841	2.025e0

276.1041	1.025e0

276.3529	1.013e0

276.4349	1.025e0

276.6098	1.025e0

276.8145	1.025e0

276.8484	1.013e0

276.9384	2.532e-2

277.4236	1.266e-2

277.6182	1.266e-2

277.7866	1.266e-2

278.0709	1.013e0

278.1299	4.114e0

278.1834	2.532e-2

278.2548	2.038e0

278.5349	1.013e0

278.7176	2.131e0

278.9043	1.266e-2

279.0393	3.038e0

279.2132	1.038e0

279.5430	1.266e-2

279.6461	2.532e-2

279.8037	1.013e0

279.8568	1.013e0

279.9563	1.013e0

280.0405	1.013e0

280.3073	1.266e-2

280.4312	1.266e-2

280.7936	2.025e0

280.8318	2.025e0

280.9289	1.266e-2

281.0767	2.025e0

281.2372	2.025e0

281.2771	1.151e0

281.3388	1.266e-2

281.4194	1.266e-2

281.5841	1.266e-2

281.7059	1.013e0

281.7272	1.013e0

281.8635	2.025e0

282.0748	1.266e-2

282.1744	1.013e0

282.5544	2.532e-2

282.5867	2.532e-2

282.7185	1.025e0

282.8073	1.013e0

282.8431	1.013e0

282.8839	1.013e0

283.2331	1.266e-2

283.2623	2.025e0

283.3981	2.025e0

283.5324	1.013e0

283.7965	1.266e-2

283.8234	1.013e0

283.9702	1.266e-2

284.0485	1.723e1

284.5809	2.025e0

284.6154	1.266e-2

284.6825	2.532e-2

284.9341	1.013e0

285.0606	4.051e0

285.1136	1.013e0

285.4953	1.025e0

285.7323	2.025e0

285.7622	1.025e0

285.8414	1.013e0

285.9528	1.266e-2

286.1278	1.025e0

286.3548	2.532e-2

286.3873	1.266e-2

286.5352	3.038e0

286.5990	1.266e-2

286.6337	2.532e-2

286.6991	1.025e0

286.7569	1.013e0

286.7917	2.532e-2

286.8436	4.051e0

286.9646	1.013e0

287.1223	4.516e2

287.2144	3.038e0

287.2819	3.063e0

287.3349	3.280e0

287.3733	3.038e0

287.4189	1.013e0

287.4939	2.025e0

287.5536	1.266e-2

287.6122	4.051e0

287.6486	1.051e0

287.6923	2.076e0

287.7530	1.013e0

287.7885	1.025e0

287.8424	1.266e-2

287.9429	2.051e0

288.0003	1.013e0

288.0489	3.038e0

288.1266	1.187e2

288.2784	3.051e0

288.3782	1.013e0

288.4539	1.051e0

288.5663	1.025e0

288.5905	1.266e-2

288.6953	2.025e0

288.7474	3.038e0

288.8056	1.025e0

288.9828	1.266e-2

289.1327	3.445e1

289.2642	1.013e0

289.5340	1.013e0

289.5804	1.013e0

289.6153	1.025e0

289.6786	3.038e0

289.7926	1.013e0

289.8890	1.013e0

289.9401	1.025e0

290.1388	9.253e0

290.3573	2.025e0

290.4362	1.013e0

290.5566	1.266e-2

290.6607	1.013e0

290.7484	1.013e0

290.8112	1.025e0

290.9951	2.025e0

291.1049	1.013e0

291.2696	1.013e0

291.3093	1.266e-2

291.4288	1.013e0

291.4508	1.013e0

291.4868	1.013e0

291.5222	1.266e-2

291.7017	2.532e-2

291.8229	1.013e0

291.8850	1.266e-2

291.9331	2.532e-2

291.9641	1.581e0

292.0336	2.038e0

292.1164	1.013e0

292.2262	1.266e-2

292.4080	1.013e0

292.5262	1.013e0

292.5996	1.013e0

292.6808	1.013e0

292.7442	1.266e-2

293.1278	1.827e1

293.2575	1.013e0

293.3563	2.038e0

293.3947	2.038e0

293.4951	1.013e0

293.5547	1.013e0

293.5818	1.013e0

293.6668	1.266e-2

293.8120	2.025e0

293.8642	1.013e0

293.9223	1.266e-2

293.9597	1.013e0

294.0085	3.038e0

294.0594	2.532e-2

294.1278	3.798e-2

294.2531	2.025e0

294.3524	2.051e0

294.6033	2.532e-2

295.0298	1.266e-2

295.2307	1.013e0

295.2811	2.025e0

295.3316	2.025e0

295.4631	2.025e0

295.6104	1.266e-2

295.6879	1.013e0

295.7383	1.013e0

295.9417	1.025e0

295.9707	1.266e-2

296.0639	1.266e-2

296.3777	1.266e-2

296.5830	1.266e-2

296.8988	1.025e0

296.9554	1.266e-2

297.3256	1.013e0

297.5215	1.025e0

297.6421	1.266e-2

297.8969	2.038e0

298.1878	1.266e-2

298.3392	2.025e0

298.3874	2.025e0

298.4243	2.532e-2

298.5075	1.013e0

298.5504	1.266e-2

298.7701	1.025e0

298.9679	2.025e0

299.0356	2.025e0

299.1647	1.013e0

299.3544	1.266e-2

299.5952	1.025e0

299.6303	1.266e-2

300.0346	3.798e-2

300.1516	2.038e0

300.2686	1.013e0

300.3025	1.013e0

300.4435	1.013e0

300.5052	1.013e0

300.6185	1.013e0

300.6411	1.266e-2

300.6976	1.013e0

300.7851	1.025e0

300.8275	1.013e0

301.0107	1.013e0

301.0653	4.051e0

301.1114	1.038e0

301.2982	2.051e0

301.3704	1.013e0

301.5023	1.025e0

301.5894	2.532e-2

301.6876	2.025e0

301.7159	1.013e0

301.8247	3.038e0

301.9760	1.013e0

302.1240	1.013e0

302.1921	1.266e-2

302.2204	1.013e0

302.3147	2.025e0

302.3574	1.013e0

302.5440	1.266e-2

302.6576	2.025e0

302.7975	1.013e0

302.9134	1.013e0

303.0328	1.013e0

303.0666	1.013e0

303.1834	2.532e-2

303.2924	1.266e-2

303.3287	1.266e-2

303.5323	3.038e0

303.5691	1.013e0

303.6590	1.013e0

303.8693	3.038e0

303.9553	1.266e-2

304.0604	1.013e0

304.1151	1.266e-2

304.3528	1.013e0

304.4815	1.266e-2

304.5091	1.013e0

304.6936	2.025e0

304.7234	1.266e-2

304.9778	1.266e-2

305.2640	2.532e-2

305.3953	3.798e-2

305.4930	1.013e0

305.5586	1.025e0

305.5968	3.038e0

305.6515	3.038e0

305.8046	1.266e-2

305.9402	1.013e0

305.9998	1.266e-2

306.1292	2.051e0

306.3161	1.025e0

306.3669	1.013e0

306.4277	2.038e0

306.4646	1.266e-2

306.5512	1.038e0

306.6194	2.038e0

306.9659	3.038e0

307.0199	2.532e-2

307.2384	1.013e0

307.2766	2.038e0

307.7197	2.025e0

307.7580	1.013e0

307.8846	1.266e-2

308.2430	1.013e0

308.2944	1.266e-2

308.3797	3.038e0

308.4818	1.013e0

308.8377	1.266e-2

308.8653	1.266e-2

308.9358	2.532e-2

309.0337	1.266e-2

309.1060	1.532e2

309.2543	1.025e0

309.3525	2.025e0

309.4212	1.013e0

309.4554	1.025e0

309.5095	2.532e-2

309.6913	1.013e0

309.8127	1.013e0

309.8634	1.266e-2

309.9341	1.266e-2

309.9851	1.266e-2

310.1094	4.456e1

310.2347	1.266e-2

310.3344	4.051e0

310.5061	1.013e0

310.6276	2.025e0

310.8626	1.013e0

311.0431	1.025e0

311.0939	9.114e0

311.2073	4.051e0

311.5135	1.013e0

311.5607	4.952e-1

311.6432	1.013e0

311.7139	3.051e0

311.7881	1.038e0

311.8706	1.013e0

312.0194	1.013e0

312.0665	1.013e0

312.1079	1.063e0

312.2119	3.038e0

312.4057	5.063e-2

312.6591	1.025e0

312.8553	1.266e-2

312.9221	1.013e0

313.2449	1.266e-2

313.5934	1.013e0

313.7622	1.013e0

313.8372	1.013e0

314.0837	1.013e0

314.1827	1.266e-2

314.2771	1.266e-2

314.3280	1.266e-2

314.4539	1.013e0

314.5373	2.038e0

314.6390	3.038e0

315.1356	2.025e0

315.3244	1.025e0

315.3883	2.038e0

315.4708	3.051e0

315.5433	1.266e-2

315.6629	1.025e0

315.7281	1.961e1

315.8791	2.025e0

315.9637	3.038e0

316.2314	3.190e0

316.3177	1.266e-2

316.4015	2.025e0

316.5026	3.798e-2

316.6852	2.025e0

316.7351	1.013e0

316.8017	1.013e0

316.9217	2.025e0

317.1092	2.025e0

317.2910	2.063e0

317.3927	1.013e0

317.7494	1.038e0

317.8142	1.013e0

317.8454	1.025e0

317.9106	5.063e0

318.1650	1.266e-2

318.2397	1.266e-2

318.3816	1.266e-2

318.4093	1.266e-2

318.7186	1.013e0

318.8634	2.025e0

318.9031	1.266e-2

319.0675	1.025e0

319.1434	2.025e0

319.2129	1.013e0

319.2411	1.013e0

319.2784	1.013e0

319.3346	2.532e-2

319.3738	1.013e0

319.6669	1.013e0

319.8093	1.266e-2

319.9048	1.013e0

319.9693	2.038e0

320.0481	1.013e0

320.1013	1.013e0

320.2094	1.013e0

320.2417	1.025e0

320.4091	2.038e0

320.5035	4.051e0

320.6220	1.266e-2

320.8866	2.025e0

320.9381	1.266e-2

321.1711	1.013e0

321.3330	1.025e0

321.3646	1.266e-2

321.4366	1.013e0

321.5085	2.532e-2

321.5894	2.025e0

321.7943	2.532e-2

321.9513	2.025e0

322.0520	1.266e-2

322.2733	1.025e0

322.6330	1.013e0

322.6884	2.025e0

322.8349	1.013e0

322.9733	1.013e0

323.1496	1.013e0

323.2777	1.266e-2

323.3885	1.013e0

323.4161	1.013e0

323.4816	2.532e-2

323.5707	1.266e-2

323.7920	2.038e0

323.9471	2.038e0

324.1150	6.076e0

324.3067	1.013e0

324.4728	1.266e-2

324.6866	1.038e0

324.8134	2.025e0

324.8610	1.266e-2

324.9133	1.013e0

324.9435	1.013e0

325.0586	1.038e0

325.0964	2.532e-2

325.1663	2.025e0

325.3560	4.051e0

325.5194	3.798e-2

325.5738	1.013e0

325.7862	1.013e0

325.9108	1.013e0

326.1017	2.532e-2

326.1309	2.025e0

326.1844	1.038e0

326.3030	1.013e0

326.4543	1.266e-2

326.4817	1.266e-2

326.5529	1.013e0

326.6004	1.013e0

326.6285	2.025e0

326.7890	2.025e0

326.9102	1.266e-2

326.9473	1.266e-2

327.0362	2.025e0

327.1001	1.266e-2

327.4413	1.013e0

327.6439	1.266e-2

327.7750	1.013e0

327.8089	1.025e0

327.8557	1.013e0

327.9359	2.038e0

327.9773	2.025e0

328.0689	1.266e-2

328.1793	1.013e0

328.4238	1.025e0

328.6439	1.013e0

328.8520	1.013e0

328.8764	1.013e0

329.1091	1.013e0

329.2318	1.013e0

329.5136	1.013e0

329.5565	2.025e0

329.6299	1.013e0

329.6609	1.013e0

329.7160	1.013e0

329.7925	1.013e0

329.9454	2.532e-2

330.1212	1.013e0

330.1580	1.013e0

330.2747	1.013e0

330.6436	1.266e-2

330.7350	1.266e-2

330.7913	1.013e0

330.8378	1.025e0

330.9123	2.025e0

330.9513	1.266e-2

331.0005	1.013e0

331.1245	1.025e0

331.3763	1.013e0

331.5334	2.038e0

331.8207	1.266e-2

332.0449	2.025e0

332.4321	2.051e0

332.4940	1.025e0

332.5491	1.013e0

332.6917	2.025e0

332.7903	2.025e0

333.2745	1.266e-2

333.4157	1.013e0

333.4700	1.013e0

333.8352	2.025e0

333.9243	1.013e0

334.0928	1.025e0

334.1530	8.114e0

334.2834	1.025e0

334.3987	1.025e0

334.5624	2.188e0

334.7567	1.013e0

334.8057	2.025e0

335.1056	3.038e0

335.1608	2.063e0

335.3047	2.025e0

335.5724	1.013e0

335.6632	2.025e0

335.7439	2.089e0

335.8230	2.025e0

335.8769	2.025e0

335.9529	1.013e0

336.0107	1.013e0

336.2104	1.266e-2

336.2583	3.038e0

336.3163	1.025e0

336.4100	1.266e-2

336.5752	3.038e0

336.6399	3.038e0

336.6737	1.013e0

336.7177	1.266e-2

336.7524	1.013e0

336.9338	1.013e0

337.0372	1.025e0

337.1011	3.798e-2

337.1721	5.063e0

337.4211	1.013e0

337.5367	1.266e-2

337.7741	1.025e0

337.8609	1.013e0

337.9021	2.532e-2

338.0061	1.038e0

338.1946	2.025e0

338.3524	1.266e-2

338.4850	3.038e0

338.5521	1.013e0

338.5924	1.266e-2

338.6685	2.532e-2

338.7364	2.025e0

338.9222	2.025e0

339.0493	2.025e0

339.3766	1.038e0

339.4888	2.025e0

339.7199	1.025e0

339.8165	2.025e0

339.8517	1.038e0

340.0019	2.051e0

340.0562	1.013e0

340.1053	2.038e0

340.2328	1.013e0

340.2633	2.025e0

340.3338	1.013e0

340.4854	1.266e-2

340.7128	1.013e0

340.8102	1.266e-2

340.9027	1.025e0

341.0266	1.266e-2

341.0985	2.025e0

341.5669	1.013e0

341.5993	1.266e-2

341.7823	1.013e0

341.9646	1.013e0

342.2643	1.013e0

342.4611	2.025e0

342.6516	1.013e0

342.9673	1.266e-2

343.1639	1.266e-2

343.2810	1.013e0

343.3446	1.266e-2

343.4146	1.013e0

343.6214	1.266e-2

343.7585	1.266e-2

343.9122	3.038e0

343.9467	1.025e0

344.2120	1.063e0

344.3004	1.013e0

344.6241	1.025e0

345.0028	1.013e0

345.2513	1.327e0

345.2906	2.532e-2

345.4056	1.013e0

345.5086	1.025e0

345.5400	1.013e0

345.5996	2.025e0

345.6821	1.266e-2

345.7513	1.266e-2

345.8410	1.013e0

346.1422	1.013e0

346.2448	1.013e0

346.3296	1.013e0

346.7902	1.025e0

347.1182	2.051e0

347.3328	2.025e0

347.5294	1.266e-2

347.7353	1.266e-2

347.7868	1.013e0

347.8752	1.013e0

348.1869	3.038e0

348.2957	1.013e0

348.4169	2.532e-2

348.5279	1.013e0

348.9022	1.013e0

349.0151	1.013e0

349.0701	1.013e0

349.1405	1.874e0

349.1743	4.051e0

349.4902	1.266e-2

349.5226	1.013e0

349.6138	2.025e0

349.6728	1.025e0

350.0894	2.532e-2

350.1591	1.063e0

350.4383	2.025e0

350.7285	1.266e-2

350.8095	1.025e0

350.9946	2.051e0

351.2170	1.013e0

351.3291	2.087e-1

351.3831	1.266e-2

351.4352	1.013e0

351.4677	1.266e-2

351.5324	1.013e0

351.8347	1.013e0

351.9140	1.025e0

352.0400	1.013e0

352.2289	1.013e0

352.6223	1.266e-2

352.6589	1.266e-2

352.6981	1.013e0

352.9580	1.266e-2

353.1585	1.038e0

353.3115	1.013e0

353.4160	1.266e-2

353.5110	2.025e0

353.6945	3.038e0

353.7864	1.013e0

353.8604	1.266e-2

354.1381	2.025e0

354.2044	2.532e-2

354.2399	1.013e0

354.3101	1.025e0

354.4757	1.013e0

354.7206	1.013e0

354.8258	1.266e-2

354.8807	3.038e0

354.9957	1.025e0

355.0399	1.538e-1

355.2335	2.532e-2

355.3372	2.025e0

355.3965	1.266e-2

355.7087	1.013e0

355.7973	1.266e-2

355.8432	1.025e0

355.8931	1.266e-2

355.9539	3.798e-2

356.2149	1.013e0

356.2628	1.266e-2

356.3075	1.013e0

356.5547	1.013e0

356.7007	1.013e0

356.8017	2.038e0

356.8672	1.013e0

357.3874	1.025e0

357.5316	2.532e-2

357.6286	1.013e0

357.6985	1.266e-2

357.7361	2.532e-2

357.9207	1.266e-2

358.1759	1.013e0

358.3132	1.013e0

358.4323	1.013e0

358.5735	1.013e0

359.1173	1.013e0

359.4791	1.013e0

359.5389	1.266e-2

359.6002	1.013e0

359.6903	3.798e-2

359.7409	2.038e0

360.1384	2.532e-2

360.2221	1.013e0

360.2605	2.025e0

360.5087	2.025e0

360.6351	1.013e0

360.6848	1.266e-2

361.0079	1.013e0

361.2661	1.013e0

361.4284	3.038e0

361.4941	1.013e0

361.6199	1.013e0

361.6846	1.013e0

361.9228	6.076e0

361.9814	1.266e-2

362.2632	2.038e0

362.5406	1.025e0

362.6161	1.013e0

362.7833	1.266e-2

363.0064	1.025e0

363.0443	1.013e0

363.1340	3.798e-2

363.2669	1.013e0

363.4863	1.013e0

363.5466	1.013e0

363.6172	1.266e-2

363.6995	3.038e0

363.8691	1.013e0

363.9123	2.532e-2

364.0972	2.025e0

364.1738	2.025e0

364.2197	1.013e0

364.4928	1.013e0

364.5701	1.013e0

364.6675	1.013e0

364.7862	2.025e0

364.9697	3.051e0

365.0979	2.532e-2

365.1304	2.025e0

365.3199	1.266e-2

365.5266	1.038e0

365.6365	1.013e0

365.6868	1.266e-2

365.7443	1.013e0

365.7943	2.532e-2

365.8538	2.025e0

365.8946	1.013e0

366.0135	1.013e0

366.2365	1.013e0

366.3255	2.038e0

366.3896	3.038e0

366.5403	1.013e0

366.6078	1.013e0

366.6945	1.266e-2

366.8003	1.266e-2

366.9186	1.013e0

366.9897	1.025e0

367.2025	1.013e0

367.4801	1.025e0

367.6289	1.013e0

367.6695	1.013e0

367.7027	1.013e0

367.7752	1.025e0

367.8770	2.025e0

368.0331	1.013e0

368.1065	2.025e0

368.6865	1.013e0

369.1076	1.266e-2

369.1503	2.025e0

369.5359	1.266e-2

369.5699	1.266e-2

369.6688	1.025e0

369.8800	1.013e0

370.3299	1.013e0

370.6114	2.025e0

370.6667	1.013e0

370.7220	1.013e0

370.8242	2.025e0

371.0689	8.101e0

371.1867	2.025e0

371.3426	1.013e0

371.4588	1.013e0

371.4959	1.013e0

371.7015	1.025e0

372.0279	1.013e0

372.0875	2.025e0

372.1736	1.025e0

372.2831	6.076e0

372.4579	1.013e0

372.4990	1.013e0

372.5937	1.266e-2

372.7526	1.013e0

373.0374	2.025e0

373.1874	1.013e0

373.4089	1.266e-2

373.6771	1.025e0

373.9088	1.025e0

374.0401	1.013e0

374.1003	1.038e0

374.1798	1.013e0

374.2617	2.532e-2

374.4462	2.532e-2

374.5943	1.266e-2

374.6371	2.025e0

375.6149	1.013e0

375.7737	1.013e0

375.8454	1.266e-2

375.8827	1.013e0

376.3300	1.013e0

376.3820	1.013e0

376.5065	1.266e-2

376.8181	1.266e-2

376.9426	1.266e-2

377.1151	1.013e0

377.1833	2.532e-2

377.3931	1.266e-2

377.4902	1.266e-2

377.8094	1.013e0

377.8628	1.266e-2

377.8996	1.013e0

377.9722	2.038e0

378.0385	1.013e0

378.0679	1.266e-2

378.4949	2.025e0

378.5388	1.266e-2

378.6988	1.013e0

378.7607	4.051e0

378.8352	2.532e-2

378.9405	2.532e-2

379.0570	3.798e-2

379.1024	1.013e0

379.5161	1.266e-2

379.7075	2.025e0

379.7937	2.025e0

379.9388	3.038e0

380.0184	1.266e-2

380.0962	3.798e-2

380.2442	7.736e-1

380.5289	1.025e0

380.6197	1.013e0

380.6915	2.532e-2

380.7349	1.013e0

380.8865	2.025e0

381.0706	1.266e-2

381.2587	1.013e0

381.2875	1.013e0

381.4603	1.013e0

381.5048	1.266e-2

381.6792	1.266e-2

381.9880	1.013e0

382.1031	1.013e0

382.1873	2.025e0

382.3668	1.013e0

382.4849	2.025e0

382.8407	2.025e0

383.1254	1.266e-2

383.5149	2.532e-2

383.5921	2.532e-2

383.7093	1.013e0

383.7580	1.013e0

383.8297	1.025e0

383.9921	1.025e0

384.0383	1.013e0

384.3975	1.266e-2

384.4844	1.013e0

384.5267	1.013e0

384.5832	1.013e0

384.9007	1.266e-2

385.0278	1.013e0

385.1520	4.051e0

385.2006	1.051e0

385.2334	2.051e0

385.5861	1.013e0

385.7215	1.025e0

385.7559	1.013e0

385.8054	1.013e0

385.9863	2.025e0

386.0672	1.013e0

386.1489	3.798e-2

386.5136	3.798e-2

386.8538	1.013e0

387.0355	2.409e0

387.0879	1.013e0

387.1589	1.013e0

387.2695	3.051e0

387.6176	1.013e0

387.7566	2.025e0

388.0319	1.266e-2

388.1312	1.013e0

388.2749	1.013e0

388.8657	1.025e0

389.0194	2.025e0

389.0742	2.894e0

389.1152	2.532e-2

389.3376	1.025e0

389.5010	1.266e-2

389.5959	3.038e0

389.6757	2.532e-2

389.7718	1.013e0

389.8271	3.038e0

389.9003	1.013e0

390.0251	3.038e0

390.1005	2.025e0

390.1910	2.025e0

390.2689	5.063e-2

390.3866	2.025e0

390.4841	1.013e0

390.5871	1.025e0

391.0481	1.025e0

391.2486	2.025e0

391.4677	1.013e0

391.5072	2.532e-2

391.5609	1.013e0

391.6210	2.025e0

391.7451	1.013e0

392.0775	1.013e0

392.1187	1.013e0

392.1614	2.025e0

392.2594	2.025e0

392.5804	1.013e0

392.6295	1.013e0

392.6913	1.013e0

392.8865	1.013e0

393.4295	1.266e-2

393.5758	1.013e0

393.6253	2.532e-2

393.7565	2.025e0

393.8123	1.013e0

393.9051	1.013e0

394.1431	2.063e0

394.1983	3.798e-2

394.3901	2.025e0

394.5376	2.025e0

394.7237	1.025e0

394.7785	1.025e0

394.9235	1.038e0

395.0175	2.025e0

395.0893	1.013e0

395.5135	1.266e-2

395.5632	2.532e-2

395.7879	1.013e0

395.8257	1.266e-2

395.8840	1.266e-2

396.2168	1.266e-2

396.4435	1.013e0

396.5001	2.025e0

396.6321	1.013e0

397.0242	1.013e0

397.1331	1.013e0

397.2745	1.038e0

397.3699	1.013e0

397.4696	1.266e-2

397.5547	1.013e0

397.6508	2.051e0

397.7406	1.013e0

397.8896	2.025e0

397.9985	1.013e0

398.0422	1.013e0

398.2533	1.266e-2

398.3568	2.025e0

398.4065	1.013e0

398.4640	1.038e0

399.0391	2.051e0

399.5021	2.532e-2

399.5684	3.798e-2

399.6951	2.532e-2

399.8407	2.038e0

399.9967	1.266e-2

400.2161	3.106e0

400.3505	2.025e0

400.4366	1.013e0

400.7881	1.013e0

400.9895	1.266e-2

401.0739	1.013e0

401.1063	1.013e0