Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 100.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

98 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 13-13    H: 0-200    N: 0-10    O: 0-15

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	Formula

204.1388   	204.1388       	0.0      	0.0      	5.5      	4.7        	C13  H18  N  O

REPORT MASSES AS +/-5mDa, referenced against

Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

ANALYSIS RUN USING:  WATERS LCT PREMIER (ESI POSITIVE/ESI NEGATIVE)

133.7021	2.025e0

133.7712	2.025e0

133.7986	1.013e0

133.8176	2.025e0

133.9004	1.013e0

134.0107	1.013e0

134.0477	1.013e0

134.0730	1.013e0

134.0941	1.013e0

134.1068	1.013e0

134.1311	2.025e0

134.1523	1.013e0

134.1775	1.013e0

134.2066	2.025e0

134.2710	2.025e0

134.3096	1.013e0

134.3403	1.013e0

134.3898	1.013e0

134.4495	3.038e0

134.4699	1.013e0

134.5040	1.013e0

134.5188	2.025e0

134.5387	3.038e0

134.5716	1.013e0

134.5835	1.013e0

134.6393	1.013e0

134.7425	2.025e0

134.8276	1.013e0

134.8533	3.038e0

134.8811	2.025e0

134.8953	2.025e0

134.9568	1.013e0

135.0128	1.013e0

135.0557	1.013e0

135.0899	1.013e0

135.1356	1.013e0

135.1610	2.025e0

135.2238	4.051e0

135.2438	1.013e0

135.3029	1.013e0

135.3835	1.013e0

135.4142	1.013e0

135.4726	1.013e0

135.4948	1.013e0

135.5398	3.038e0

135.5902	1.013e0

135.6120	1.013e0

135.6613	1.013e0

135.6803	1.013e0

135.7079	1.013e0

135.7293	1.013e0

135.7545	1.013e0

135.8407	2.025e0

135.8781	1.013e0

135.8904	1.013e0

135.9838	2.025e0

136.0003	2.025e0

136.0438	2.025e0

136.1165	1.013e0

136.1445	1.013e0

136.5043	1.013e0

136.5234	1.013e0

136.5447	1.013e0

136.5621	2.025e0

136.5851	2.025e0

136.6183	3.038e0

136.8173	4.051e0

136.8801	1.013e0

136.9607	1.013e0

137.0043	1.013e0

137.1629	1.013e0

137.2098	1.013e0

137.3100	2.025e0

137.3281	1.013e0

137.3530	1.013e0

137.3813	1.013e0

137.4091	1.013e0

137.5337	1.013e0

137.6020	1.013e0

137.6521	1.013e0

137.7897	1.013e0

137.8079	1.013e0

137.8270	1.013e0

137.9017	1.013e0

137.9231	1.013e0

137.9558	3.038e0

138.0868	2.025e0

138.1548	1.013e0

138.1857	1.013e0

138.3321	1.013e0

138.3513	1.013e0

138.3639	1.013e0

138.4221	3.038e0

138.4482	1.013e0

138.5042	1.013e0

138.5732	1.013e0

138.6998	2.025e0

138.8389	1.013e0

138.9488	1.013e0

138.9737	1.013e0

139.0487	1.013e0

139.0742	1.013e0

139.1493	1.013e0

139.2435	1.013e0

139.3185	1.013e0

139.3920	2.025e0

139.4217	1.013e0

139.4471	1.013e0

139.4783	2.025e0

139.5884	1.013e0

139.7356	3.038e0

139.7682	2.025e0

139.7892	1.013e0

139.8611	1.013e0

139.9523	1.013e0

140.0060	1.013e0

140.0564	1.013e0

140.1069	1.013e0

140.1949	1.013e0

140.3078	1.013e0

140.5313	1.013e0

140.5834	2.025e0

140.6323	1.013e0

140.6981	1.013e0

140.7582	3.038e0

140.7835	1.013e0

140.8432	1.013e0

140.9704	2.025e0

141.1618	1.013e0

141.2501	1.013e0

141.3039	1.013e0

141.3286	3.038e0

141.4271	1.013e0

141.4558	1.013e0

141.5313	1.013e0

141.6013	1.013e0

141.6439	2.025e0

141.7146	1.013e0

141.7766	2.025e0

141.8386	2.025e0

141.8950	1.013e0

141.9382	2.025e0

141.9616	1.013e0

141.9994	1.013e0

142.0878	1.013e0

142.1170	1.013e0

142.3612	1.013e0

142.4653	1.013e0

142.4972	1.013e0

142.5351	1.013e0

142.5665	1.013e0

142.6580	3.038e0

142.7094	1.013e0

142.7541	1.013e0

142.8525	1.013e0

142.9319	1.013e0

142.9634	1.013e0

143.1127	2.025e0

143.1528	3.038e0

143.2436	1.013e0

143.2556	1.013e0

143.3065	1.013e0

143.3325	1.013e0

143.3931	1.013e0

143.4392	2.025e0

143.4918	1.013e0

143.5091	4.051e0

143.5871	1.013e0

143.6056	1.013e0

143.6315	1.013e0

143.7367	1.013e0

143.7988	2.025e0

143.8419	1.013e0

143.8669	1.013e0

143.9623	1.013e0

144.0644	1.013e0

144.1989	1.013e0

144.2252	3.038e0

144.3010	1.013e0

144.3138	1.013e0

144.4160	1.013e0

144.4987	1.013e0

144.5563	1.013e0

144.5725	1.013e0

144.5911	1.013e0

144.6358	1.013e0

144.7193	1.013e0

144.7803	1.013e0

144.7987	1.013e0

144.8694	2.025e0

144.9303	2.025e0

144.9554	1.013e0

145.0550	1.013e0

145.1035	2.025e0

145.1861	1.013e0

145.2121	1.013e0

145.2982	1.013e0

145.3575	2.025e0

145.4904	1.013e0

145.6135	2.025e0

145.7115	1.013e0

145.7503	1.013e0

145.8015	1.013e0

145.8752	1.013e0

145.9328	1.013e0

146.0713	6.684e1

146.1515	1.013e0

146.2445	1.013e0

146.3308	1.013e0

146.3825	1.013e0

146.4148	1.013e0

146.4279	1.013e0

146.4464	1.013e0

146.5471	2.025e0

146.6108	1.013e0

146.7393	1.013e0

146.8038	1.013e0

146.8617	3.038e0

146.8847	1.013e0

146.9230	1.013e0

146.9554	1.013e0

146.9727	2.025e0

147.0210	2.025e0

147.0422	1.013e0

147.0737	5.707e0

147.1034	1.013e0

147.1355	1.013e0

147.1516	1.013e0

147.1997	1.013e0

147.2610	1.013e0

147.3519	2.025e0

147.4066	1.013e0

147.4745	1.013e0

147.5558	2.025e0

147.5840	1.013e0

147.6322	1.013e0

147.6552	2.025e0

147.7292	1.013e0

147.7550	2.025e0

147.7780	1.013e0

147.8163	1.013e0

147.8427	1.013e0

147.8777	1.013e0

147.9761	2.025e0

148.0298	1.013e0

148.0850	1.013e0

148.1102	2.025e0

148.1431	1.013e0

148.1979	1.013e0

148.4404	1.013e0

148.5398	3.038e0

148.7513	1.013e0

148.8562	2.025e0

148.9942	1.013e0

149.0367	1.013e0

149.0524	1.013e0

149.1046	1.013e0

149.1256	2.025e0

149.3642	1.013e0

149.3869	1.013e0

149.4354	1.013e0

149.4816	1.013e0

149.5201	1.013e0

149.5685	1.013e0

149.6081	1.013e0

149.6211	1.013e0

149.6798	2.025e0

149.7216	1.013e0

149.7448	2.025e0

149.7668	1.013e0

149.7833	1.013e0

149.8681	1.013e0

149.9232	1.013e0

149.9849	2.025e0

150.0080	1.013e0

150.0466	2.025e0

150.1050	1.013e0

150.1547	1.013e0

150.2293	1.013e0

150.2551	1.013e0

150.2914	1.013e0

150.3754	1.013e0

150.5237	2.025e0

150.5871	1.013e0

150.7210	1.013e0

150.7605	1.013e0

150.8191	1.013e0

150.8457	1.013e0

150.9923	1.013e0

151.0746	2.025e0

151.0931	1.013e0

151.1390	1.013e0

151.1566	2.025e0

151.2235	1.013e0

151.2634	2.025e0

151.3021	2.025e0

151.4005	1.013e0

151.4592	1.013e0

151.5443	1.013e0

151.5988	3.038e0

151.6199	1.553e0

151.7768	1.013e0

151.8421	1.013e0

151.9341	1.013e0

151.9562	1.013e0

152.0548	1.013e0

152.1319	2.025e0

152.1664	1.013e0

152.2155	1.013e0

152.2386	1.013e0

152.2677	1.013e0

152.3076	1.013e0

152.3431	3.038e0

152.3926	1.013e0

152.4069	2.025e0

152.4417	1.013e0

152.5138	2.025e0

152.5499	1.013e0

152.5826	3.038e0

152.6381	1.013e0

152.6581	1.013e0

152.7635	1.013e0

152.8075	3.038e0

152.9600	1.013e0

153.0755	1.013e0

153.1178	1.013e0

153.1378	1.013e0

153.1774	2.025e0

153.3812	2.025e0

153.4568	1.013e0

153.4998	1.013e0

153.5608	2.025e0

153.5820	1.013e0

153.6013	1.013e0

153.6347	1.013e0

153.6612	1.013e0

153.6837	2.025e0

153.7004	1.013e0

153.7435	1.013e0

153.8584	1.013e0

153.8884	1.013e0

153.9374	1.013e0

153.9641	1.013e0

154.1240	2.025e0

154.1654	2.025e0

154.2382	1.013e0

154.2772	1.013e0

154.3697	1.013e0

154.3897	1.013e0

154.4387	1.013e0

154.4856	1.013e0

154.5085	2.025e0

154.5614	1.013e0

154.5912	1.013e0

154.6372	1.013e0

154.6606	1.013e0

154.7186	3.038e0

154.7499	1.013e0

154.7759	1.013e0

154.7990	1.013e0

154.8358	1.013e0

154.8556	1.013e0

154.9016	1.013e0

154.9512	1.013e0

154.9640	1.013e0

155.0009	1.013e0

155.0309	1.013e0

155.0437	1.013e0

155.0869	2.025e0

155.1266	1.013e0

155.1662	1.013e0

155.3054	1.013e0

155.3819	2.025e0

155.4894	2.025e0

155.5170	2.025e0

155.5771	1.013e0

155.7093	2.025e0

155.7988	1.013e0

155.8256	1.013e0

155.8717	1.013e0

156.0841	2.025e0

156.1294	2.025e0

156.2598	1.013e0

156.3497	1.013e0

156.3763	1.013e0

156.4133	1.013e0

156.5232	1.013e0

156.6390	1.013e0

156.6789	2.025e0

156.7685	1.013e0

156.8616	1.013e0

156.8851	2.025e0

156.9320	1.013e0

157.0384	1.013e0

157.1545	1.013e0

157.1780	1.013e0

157.2577	1.013e0

157.2778	1.013e0

157.3098	2.025e0

157.4148	1.013e0

157.4450	1.013e0

157.4810	1.013e0

157.5484	1.013e0

157.5677	2.025e0

157.6047	1.013e0

157.6435	2.025e0

157.6778	1.013e0

157.6911	1.013e0

157.7417	2.025e0

157.7844	2.025e0

157.8752	1.013e0

158.0621	2.025e0

158.1085	1.013e0

158.1319	1.013e0

158.1842	2.025e0

158.2027	2.025e0

158.4427	1.013e0

158.5032	1.013e0

158.5832	1.013e0

158.6373	1.013e0

158.6637	1.013e0

158.6936	2.025e0

158.7173	1.013e0

158.7808	1.013e0

158.8378	1.013e0

158.8581	1.013e0

158.8915	1.013e0

158.9211	1.013e0

158.9483	1.013e0

158.9855	1.013e0

159.0119	1.013e0

159.0655	1.013e0

159.0875	2.025e0

159.1260	1.013e0

159.2564	1.013e0

159.3674	1.013e0

159.4038	1.013e0

159.4580	1.013e0

159.5382	1.013e0

159.6123	1.013e0

159.6488	1.013e0

159.6725	1.013e0

159.9312	1.013e0

160.0724	1.013e0

160.0894	1.013e0

160.1798	2.025e0

160.2440	1.013e0

160.3177	1.013e0

160.3585	1.013e0

160.3850	1.013e0

160.4320	2.025e0

160.4863	1.013e0

160.5229	1.013e0

160.5393	1.013e0

160.5802	1.013e0

160.7726	2.025e0

160.8087	1.013e0

160.8581	2.025e0

161.0149	1.013e0

161.0388	1.013e0

161.0654	1.013e0

161.0836	2.025e0

161.1226	2.025e0

161.1497	1.013e0

161.1770	1.013e0

161.1971	1.013e0

161.2249	2.025e0

161.2574	2.025e0

161.3404	2.025e0

161.4161	1.013e0

161.4433	1.013e0

161.5154	2.025e0

161.5885	1.013e0

161.6158	1.013e0

161.7031	2.025e0

161.7320	2.025e0

161.7712	2.025e0

161.8042	2.025e0

161.8347	1.013e0

161.8926	1.013e0

161.9398	1.013e0

161.9564	1.013e0

162.0920	1.013e0

162.1270	2.025e0

162.1492	1.013e0

162.2106	1.013e0

162.3083	2.025e0

162.3628	3.038e0

162.4233	1.013e0

162.4657	2.025e0

162.5659	1.013e0

162.6047	3.038e0

162.7385	1.013e0

162.8506	1.013e0

162.9013	1.013e0

163.0048	2.025e0

163.0974	2.025e0

163.1334	2.025e0

163.1659	1.013e0

163.2173	1.013e0

163.2791	2.025e0

163.3219	2.025e0

163.3629	2.025e0

163.4711	1.013e0

163.5292	1.013e0

163.6072	2.025e0

163.6273	1.013e0

163.7093	2.025e0

163.8108	1.013e0

163.8792	1.013e0

164.0971	2.025e0

164.1177	1.013e0

164.1517	1.013e0

164.2535	1.013e0

164.2740	1.013e0

164.3626	1.013e0

164.3927	1.013e0

164.4750	1.013e0

164.5770	1.013e0

164.6760	1.013e0

164.8549	2.025e0

164.8772	1.013e0

164.9425	1.013e0

165.0200	1.013e0

165.0561	2.025e0

165.1847	1.013e0

165.2250	1.013e0

165.2557	1.013e0

165.3004	1.013e0

165.3347	2.025e0

165.3725	1.013e0

165.4471	1.013e0

165.5620	2.025e0

165.7446	1.013e0

165.8819	1.013e0

166.0013	2.025e0

166.0623	3.038e0

166.0838	1.013e0

166.1183	1.013e0

166.2581	1.013e0

166.3372	1.013e0

166.4667	1.013e0

166.6115	1.013e0

166.6426	1.013e0

166.6901	1.013e0

166.7982	3.038e0

166.8290	2.025e0

166.8755	1.013e0

166.8928	2.025e0

166.9239	1.013e0

167.0466	1.013e0

167.1139	2.025e0

167.1541	4.051e0

167.1812	1.013e0

167.2054	1.013e0

167.2567	1.013e0

167.3558	1.013e0

167.4042	1.013e0

167.4559	1.013e0

167.5077	1.013e0

167.6376	1.013e0

167.6694	3.038e0

167.7032	1.013e0

167.7309	1.013e0

167.7619	2.025e0

167.7999	1.013e0

167.8241	2.025e0

167.9817	1.013e0

168.0336	1.013e0

168.0785	1.013e0

168.1148	2.025e0

168.1476	2.025e0

168.1701	2.025e0

168.2203	1.013e0

168.2529	3.038e0

168.3060	1.013e0

168.3676	3.038e0

168.4195	1.013e0

168.4369	1.013e0

168.4801	2.025e0

168.4991	1.013e0

168.5441	1.013e0

168.5648	1.013e0

168.5856	1.013e0

168.6203	1.013e0

168.6683	1.013e0

168.6854	2.025e0

168.9009	3.038e0

168.9443	1.013e0

169.1730	3.038e0

169.2095	2.025e0

169.2825	1.013e0

169.3103	3.038e0

169.3588	1.013e0

169.5166	2.025e0

169.7770	1.013e0

169.8100	2.025e0

169.8899	2.025e0

169.9540	1.013e0

169.9783	1.013e0

170.0061	1.013e0

170.0651	1.013e0

170.1658	1.013e0

170.3106	1.013e0

170.4424	1.013e0

170.4667	1.013e0

170.5188	1.013e0

170.5397	2.025e0

170.6535	3.038e0

170.6891	1.013e0

170.7127	2.644e0

170.8492	2.025e0

170.8944	1.013e0

170.9152	1.013e0

170.9775	1.013e0

171.0813	1.013e0

171.2721	1.013e0

171.2930	1.013e0

171.4164	3.038e0

171.4707	1.013e0

171.5368	1.013e0

171.5612	1.013e0

171.6030	1.013e0

171.8260	1.013e0

171.8678	1.013e0

171.9933	1.013e0

172.0177	1.013e0

172.0735	1.013e0

172.1904	2.025e0

172.2200	1.013e0

172.2663	4.051e0

172.3352	1.013e0

172.5060	2.025e0

172.6395	4.051e0

172.6874	1.013e0

172.7328	1.013e0

172.8340	1.013e0

172.8620	1.013e0

172.9004	1.013e0

172.9755	2.025e0

172.9983	1.013e0

173.0287	4.051e0

173.0612	2.025e0

173.0961	1.013e0

173.2144	3.038e0

173.2361	1.013e0

173.2921	1.013e0

173.3986	2.025e0

173.4197	2.025e0

173.4424	1.013e0

173.5123	1.013e0

173.5718	2.025e0

173.6260	2.025e0

173.6618	3.038e0

173.7047	1.013e0

173.7257	1.013e0

173.7852	1.013e0

173.9059	2.025e0

173.9882	1.013e0

174.0477	1.013e0

174.0932	1.013e0

174.2841	2.025e0

174.4348	2.025e0

174.4891	1.013e0

174.5103	2.025e0

174.5455	1.013e0

174.5807	1.013e0

174.6124	1.013e0

174.6793	1.013e0

174.7005	1.013e0

174.7216	1.013e0

174.7569	1.013e0

174.7991	1.013e0

174.8552	1.013e0

174.8902	1.013e0

174.9341	3.038e0

175.1375	2.025e0

175.1744	1.013e0

175.2294	3.038e0

175.3182	2.025e0

175.3853	1.013e0

175.4171	1.013e0

175.4419	1.013e0

175.4808	1.013e0

175.5726	1.013e0

175.6253	1.013e0

175.7587	1.013e0

176.0192	1.013e0

176.0688	1.013e0

176.1591	3.038e0

176.1891	1.013e0

176.2769	1.013e0

176.3755	2.025e0

176.4704	1.013e0

176.5305	1.013e0

176.5696	1.013e0

176.6797	1.013e0

176.7570	1.013e0

176.8239	1.013e0

176.8627	1.013e0

176.9155	1.013e0

177.0644	2.025e0

177.1372	2.025e0

177.1565	1.013e0

177.2446	1.013e0

177.4283	2.025e0

177.4641	1.013e0

177.5440	2.025e0

177.5880	1.013e0

177.6155	3.038e0

177.7186	1.013e0

177.7625	2.025e0

177.9071	1.013e0

178.0091	3.038e0

178.0376	1.013e0

178.1974	1.013e0

178.2404	1.013e0

178.2580	1.013e0

178.2880	2.025e0

178.4310	1.013e0

178.4986	1.013e0

178.6304	1.013e0

178.7011	2.025e0

178.7258	1.013e0

178.7646	1.013e0

178.8004	2.025e0

178.8702	2.025e0

178.9412	2.025e0

178.9783	1.013e0

179.0420	1.013e0

179.0952	1.013e0

179.1600	1.013e0

179.2451	1.013e0

179.3124	1.013e0

179.4697	1.013e0

179.4943	1.013e0

179.6672	3.038e0

179.7222	2.025e0

179.8322	1.013e0

179.8995	1.013e0

179.9173	1.013e0

179.9715	1.013e0

180.0145	1.013e0

180.0517	2.025e0

180.0889	1.013e0

180.1243	1.013e0

180.1561	1.013e0

180.2101	2.025e0

180.2606	1.013e0

180.3527	1.013e0

180.3721	2.025e0

180.3934	2.025e0

180.4382	1.013e0

180.4876	3.038e0

180.5563	1.013e0

180.6167	1.013e0

180.6520	2.025e0

180.6882	1.013e0

180.7314	2.025e0

180.7778	1.013e0

180.8346	1.013e0

180.8630	2.025e0

180.8986	2.025e0

180.9888	1.013e0

181.0207	1.013e0

181.0633	1.013e0

181.0980	5.378e0

181.2673	2.025e0

181.4517	2.025e0

181.4819	1.013e0

181.6002	1.013e0

181.6683	1.013e0

181.7323	1.013e0

181.8151	1.013e0

181.8477	1.013e0

181.8743	2.025e0

181.9152	1.013e0

181.9613	1.013e0

182.0084	1.013e0

182.0376	1.013e0

182.2429	3.038e0

182.2740	1.013e0

182.3812	2.025e0

182.4064	1.013e0

182.4393	1.013e0

182.4962	1.013e0

182.5265	2.025e0

182.5710	1.013e0

182.6395	3.038e0

182.6705	2.025e0

182.7166	3.038e0

182.7941	2.025e0

182.8235	1.013e0

182.8519	1.013e0

182.9373	1.013e0

183.1171	1.013e0

183.1744	3.038e0

183.2792	1.013e0

183.3983	1.013e0

183.5461	1.013e0

183.5889	2.025e0

183.7005	1.013e0

183.7189	1.013e0

183.7760	1.013e0

183.7975	1.013e0

183.8586	1.013e0

184.0648	1.013e0

184.1326	1.013e0

184.1540	2.025e0

184.2122	1.013e0

184.2343	1.013e0

184.3633	1.013e0

184.4429	1.013e0

184.5626	1.013e0

184.6733	1.013e0

184.7570	1.013e0

184.7749	1.013e0

184.8142	2.025e0

184.8507	1.013e0

184.8910	1.013e0

184.9339	1.013e0

184.9912	1.013e0

185.0821	2.025e0

185.1947	1.013e0

185.2268	1.013e0

185.2875	1.013e0

185.3822	3.038e0

185.4395	1.013e0

185.5056	1.013e0

185.5665	1.013e0

185.6227	2.025e0

185.6469	1.013e0

185.7507	1.013e0

185.8918	1.013e0

185.9616	1.013e0

185.9903	1.013e0

186.0251	3.038e0

186.0702	1.013e0

186.0923	2.025e0

186.1603	1.013e0

186.2040	1.013e0

186.2946	1.013e0

186.3421	2.025e0

186.3894	1.013e0

186.5739	1.013e0

186.6089	3.038e0

186.6921	2.025e0

186.7572	2.025e0

186.8509	2.713e0

186.8953	2.025e0

186.9193	1.013e0

186.9447	1.013e0

187.0021	1.013e0

187.1366	1.013e0

187.1696	2.025e0

187.1881	1.013e0

187.2817	1.013e0

187.3588	3.038e0

187.4386	1.013e0

187.4610	1.013e0

187.6746	1.013e0

187.8541	1.013e0

187.8972	2.025e0

188.0773	2.025e0

188.2104	1.013e0

188.2977	1.013e0

188.3568	1.013e0

188.4582	1.013e0

188.5010	4.051e0

188.6176	2.025e0

188.7758	2.025e0

188.8045	1.013e0

188.8728	3.038e0

189.0096	1.013e0

189.0276	1.013e0

189.1193	2.025e0

189.1391	2.025e0

189.2866	1.013e0

189.3496	1.013e0

189.3685	3.038e0

189.4335	1.013e0

189.4630	1.013e0

189.5009	2.025e0

189.5506	2.025e0

189.6179	3.038e0

189.7007	1.013e0

189.7332	1.013e0

189.7961	1.013e0

189.8503	2.025e0

189.8926	2.025e0

189.9295	2.025e0

190.0231	1.013e0

190.0484	1.013e0

190.1026	1.013e0

190.1710	4.051e0

190.2972	1.013e0

190.3412	1.013e0

190.3783	1.013e0

190.4359	1.013e0

190.5027	1.013e0

190.5854	2.025e0

190.7661	1.013e0

190.8077	1.013e0

190.8419	2.025e0

190.9790	1.013e0

191.0820	2.025e0

191.1041	1.013e0

191.1777	2.025e0

191.2144	1.013e0

191.2372	1.013e0

191.3690	1.013e0

191.4275	1.013e0

191.4974	1.013e0

191.5196	2.025e0

191.5750	2.025e0

191.6112	1.013e0

191.6523	1.013e0

191.6816	1.013e0

191.7250	1.013e0

191.7811	2.025e0

191.8815	3.038e0

191.9871	1.013e0

192.0270	1.013e0

192.0643	1.013e0

192.1483	1.013e0

192.2168	2.025e0

192.2367	1.013e0

192.2821	1.013e0

192.3254	1.013e0

192.3434	1.013e0

192.4286	1.013e0

192.4863	2.025e0

192.5914	1.013e0

192.6240	1.013e0

192.6570	1.013e0

192.6982	1.013e0

192.7236	1.013e0

192.7527	1.013e0

192.7719	1.013e0

192.8676	1.013e0

192.8902	1.013e0

193.0555	1.013e0

193.1239	2.025e0

193.1522	2.025e0

193.2742	1.013e0

193.3663	1.013e0

193.4102	1.013e0

193.4319	1.013e0

193.4737	1.013e0

193.5623	1.013e0

193.6659	1.013e0

193.7354	1.013e0

193.8127	1.013e0

194.0504	1.013e0

194.1502	1.013e0

194.1756	1.013e0

194.2013	1.013e0

194.4279	1.013e0

194.4736	2.025e0

194.5515	2.025e0

194.6423	1.013e0

194.6604	1.013e0

194.8459	1.013e0

194.8730	1.013e0

194.9911	1.013e0

195.0509	1.013e0

195.0875	1.013e0

195.1208	2.025e0

195.1839	2.025e0

195.3025	1.013e0

195.3693	1.013e0

195.6823	1.013e0

195.7295	1.013e0

195.8187	1.013e0

195.8751	1.013e0

195.9347	1.013e0

195.9716	1.013e0

195.9954	2.025e0

196.1355	1.013e0

196.1944	2.025e0

196.2539	1.013e0

196.3493	2.025e0

196.4635	1.013e0

196.6602	1.013e0

196.7051	1.013e0

196.7459	1.013e0

196.7677	1.013e0

196.8426	1.013e0

196.9210	2.025e0

197.0483	1.013e0

197.0851	2.025e0

197.1635	1.013e0

197.2215	2.025e0

197.2548	2.025e0

197.4318	1.013e0

197.5066	2.025e0

197.5723	2.025e0

197.6454	1.013e0

197.7312	1.013e0

197.9798	3.038e0

198.0182	1.013e0

198.0509	2.025e0

198.0867	3.038e0

198.1642	1.013e0

198.1946	1.013e0

198.2464	1.013e0

198.2885	1.013e0

198.3177	2.025e0

198.3516	1.013e0

198.3963	2.025e0

198.4147	2.025e0

198.4968	1.013e0

198.5833	1.013e0

198.6066	1.013e0

198.6907	2.025e0

198.8443	2.025e0

198.8645	1.013e0

198.9135	1.013e0

198.9431	1.013e0

198.9901	2.025e0

199.0647	2.025e0

199.1497	1.013e0

199.1902	1.013e0

199.2797	4.051e0

199.3221	2.025e0

199.3549	1.013e0

199.4264	1.013e0

199.6261	1.013e0

199.6626	1.013e0

199.8165	2.025e0

199.8624	1.013e0

199.8844	1.013e0

199.9190	1.013e0

200.0347	1.013e0

200.1741	1.013e0

200.1997	1.013e0

200.2986	1.013e0

200.3464	1.013e0

200.3850	1.013e0

200.4530	1.013e0

200.4748	1.013e0

200.5427	1.013e0

200.6106	1.013e0

200.6590	1.013e0

200.7079	2.025e0

200.7611	1.013e0

200.8049	3.038e0

200.8695	2.025e0

200.9062	2.025e0

200.9446	2.025e0

201.1104	2.025e0

201.2202	1.013e0

201.4054	1.013e0

201.4651	1.013e0

201.7477	1.013e0

201.9030	1.013e0

202.0013	1.013e0

202.0542	2.025e0

202.1263	1.013e0

202.2385	2.025e0

202.2699	1.013e0

202.3011	2.025e0

202.4616	1.013e0

202.4962	1.013e0

202.5375	1.013e0

202.5901	1.013e0

202.6705	3.038e0

202.7909	1.013e0

202.8498	2.025e0

202.8974	1.013e0

203.0745	2.025e0

203.1169	1.013e0

203.1500	2.025e0

203.1793	4.035e0

203.2533	1.013e0

203.2951	2.025e0

203.3399	2.025e0

203.5145	1.013e0

203.5629	1.013e0

203.6286	3.038e0

203.6663	1.013e0

203.7492	2.025e0

203.8064	3.890e0

203.8466	7.089e0

203.9164	5.307e0

203.9439	3.038e0

203.9920	5.063e0

204.0223	1.013e0

204.0763	4.051e0

204.1388	1.729e3

204.2211	5.063e0

204.2551	5.063e0

204.2902	1.823e1

204.3232	7.089e0

204.3809	2.025e0

204.4092	4.051e0

204.4499	4.051e0

204.4856	2.025e0

204.5255	4.051e0

204.5521	6.076e0

204.6150	1.163e1

204.6446	8.101e0

204.6735	8.101e0

204.7082	3.038e0

204.7480	3.038e0

204.7911	1.013e1

204.8394	4.158e0

204.8847	2.025e0

204.9237	3.038e0

204.9559	3.038e0

204.9794	2.025e0

205.0135	4.051e0

205.0456	3.038e0

205.0825	2.025e0

205.1444	3.186e2

205.2211	2.025e0

205.2532	4.051e0

205.3339	1.013e0

205.3839	2.338e0

205.4135	1.013e0

205.4808	2.775e0

205.5029	2.025e0

205.5531	3.038e0

205.6077	1.013e0

205.6753	5.063e0

205.7170	5.063e0

205.7640	2.025e0

205.8020	1.013e0

205.8327	1.013e0

205.8520	1.013e0

205.8994	2.025e0

205.9388	5.063e0

205.9732	4.051e0

206.0270	2.025e0

206.0524	4.051e0

206.1512	2.368e1

206.2298	1.013e0

206.2537	2.025e0

206.2906	2.025e0

206.3667	1.013e0

206.3889	1.013e0

206.4279	1.013e0

206.4482	2.025e0

206.4818	1.013e0

206.5897	2.025e0

206.6484	1.013e0

206.6781	2.025e0

206.7354	2.025e0

206.7626	1.528e0

206.8558	1.013e0

206.8782	1.013e0

206.9302	2.025e0

207.0043	1.013e0

207.0618	1.013e0

207.1065	3.038e0

207.1341	1.013e0

207.1810	4.935e0

207.2223	1.013e0

207.2712	1.013e0

207.3215	1.013e0

207.3753	1.013e0

207.4057	1.013e0

207.4707	2.025e0

207.5126	1.013e0

207.5590	1.013e0

207.6240	1.013e0

207.6424	1.013e0

207.7337	3.038e0

207.7840	2.025e0

207.8302	1.013e0

207.8543	1.013e0

207.8978	4.051e0

208.0567	1.013e0

208.0905	2.025e0

208.1253	1.013e0

208.2554	1.013e0

208.3129	1.013e0

208.3410	1.013e0

208.3987	1.013e0

208.5175	1.013e0

208.5545	1.013e0

208.5863	1.013e0

208.6281	2.025e0

208.6978	1.013e0

208.7552	1.013e0

208.7834	2.025e0

208.8354	1.013e0

208.8762	4.051e0

208.9275	2.025e0

208.9601	2.025e0

209.0233	1.013e0

209.1312	1.013e0

209.1816	2.025e0

209.2038	1.013e0

209.2430	1.013e0

209.3547	1.013e0

209.4961	1.013e0

209.5390	2.025e0

209.6059	2.025e0

209.7214	2.025e0

209.8193	2.025e0

209.8855	1.013e0

209.9187	1.013e0

210.0847	2.025e0

210.1462	1.013e0

210.1700	1.013e0

210.2431	1.013e0

210.3358	2.025e0

210.4707	1.013e0

210.5388	3.038e0

210.5863	1.013e0

210.6200	1.013e0

210.6944	1.013e0

210.7977	1.013e0

210.8306	2.025e0

210.8639	1.013e0

210.9177	1.013e0

210.9482	1.013e0

210.9985	1.013e0

211.0602	1.013e0

211.1610	1.013e0

211.1992	1.013e0

211.2225	1.013e0

211.2842	1.013e0

211.4111	1.013e0

211.4350	2.025e0

211.4893	1.013e0

211.5231	1.013e0

211.5662	1.013e0

211.6054	1.013e0

211.6451	2.025e0

211.6708	1.013e0

211.7175	1.013e0

211.7549	1.013e0

211.8836	1.013e0

211.9025	1.013e0

211.9334	1.013e0

211.9642	2.025e0

212.0109	1.013e0

212.0377	3.038e0

212.0773	3.038e0

212.1159	6.052e0

212.1620	1.013e0

212.1829	2.025e0

212.2119	1.013e0

212.2353	1.013e0

212.2761	2.025e0

212.3081	1.013e0

212.3825	1.013e0

212.4055	2.025e0

212.5215	1.013e0

212.6338	1.013e0

212.6574	1.013e0

212.6805	1.013e0

212.7494	3.038e0

212.7826	3.038e0

212.9089	1.013e0

212.9909	1.013e0

213.0211	2.025e0

213.1186	1.013e0

213.1691	1.013e0

213.1996	1.013e0

213.2443	2.025e0

213.2682	2.025e0

213.2928	1.013e0

213.3321	1.013e0

213.3709	1.013e0

213.5026	1.013e0

213.5214	1.013e0

213.6346	2.025e0

213.7311	2.025e0

213.7556	1.013e0

213.8682	1.013e0

213.8942	1.013e0

213.9375	1.013e0

213.9650	1.013e0

214.2019	1.013e0

214.3381	1.013e0

214.4307	1.013e0

214.5017	1.013e0

214.6260	1.013e0

214.7117	1.013e0

214.8870	2.025e0

214.9134	2.025e0

214.9452	1.013e0

214.9848	1.013e0

215.0268	2.025e0

215.0744	2.025e0

215.1442	4.051e0

215.2101	1.013e0

215.3511	1.013e0

215.3975	1.013e0

215.4168	1.013e0

215.4675	1.013e0

215.6235	1.013e0

215.6513	2.025e0

215.7364	1.013e0

215.7624	3.038e0

215.8379	1.013e0

215.8648	2.025e0

215.9395	1.013e0

216.1898	2.025e0

216.3810	1.013e0

216.6264	1.013e0

216.7323	2.025e0

216.7639	1.013e0

216.7970	2.025e0

216.8185	2.025e0

216.9127	1.013e0

216.9383	2.025e0

217.0070	1.013e0

217.1596	1.013e0

217.2496	1.013e0

217.2878	1.013e0

217.3472	1.013e0

217.3855	1.013e0

217.5309	1.013e0

217.5743	1.013e0

217.6252	1.013e0

217.6585	2.025e0

217.7381	1.013e0

217.8611	1.013e0

217.9875	2.025e0

218.1233	1.013e0

218.1527	3.038e0

218.4291	1.013e0

218.5052	3.038e0

218.5858	1.013e0

218.6578	1.013e0

218.6845	2.025e0

218.7992	1.013e0

218.8376	1.013e0

218.9089	1.013e0

218.9444	1.013e0

219.0695	1.013e0

219.1411	1.013e0

219.1736	2.025e0

219.2339	3.038e0

219.2908	1.013e0

219.3208	1.013e0

219.4748	2.025e0

219.5245	2.025e0

219.5611	1.013e0

219.6719	1.013e0

219.7504	1.013e0

219.7747	1.013e0

219.9119	1.013e0

219.9982	1.013e0

220.0306	2.025e0

220.0778	1.013e0

220.1479	1.013e0

220.1952	1.013e0

220.2218	2.025e0

220.3221	2.025e0

220.3910	3.038e0

220.5172	2.025e0

220.5819	1.013e0

220.8071	1.013e0

220.8853	3.038e0

221.0801	1.013e0

221.1131	2.025e0

221.1588	1.013e0

221.2580	1.013e0

221.3056	3.038e0

221.4348	1.013e0

221.5007	2.025e0

221.6055	1.013e0

221.6809	1.013e0

221.7241	1.013e0

221.7440	1.013e0

221.8289	2.025e0

221.8826	1.013e0

221.9376	2.025e0

222.0400	1.013e0

222.1674	2.025e0

222.2037	1.013e0

222.3137	1.013e0

222.3834	2.025e0

222.4373	1.013e0

222.4885	1.013e0

222.6112	1.013e0

222.6747	1.013e0

222.7623	1.013e0

222.8367	1.013e0

222.9010	1.013e0

222.9923	2.025e0

223.1061	1.013e0

223.1386	2.025e0

223.2187	1.013e0

223.3613	1.013e0

223.4040	2.025e0

223.4796	1.013e0

223.5133	2.025e0

223.5628	1.013e0

223.5878	1.013e0

223.6429	1.013e0

223.7537	1.013e0

224.0805	1.013e0

224.1127	2.025e0

224.1720	1.013e0

224.2113	1.013e0

224.2985	1.013e0

224.3666	1.013e0

224.4294	1.013e0

224.5057	1.013e0

224.6736	1.013e0

224.9193	1.013e0

224.9882	1.013e0

225.0662	3.038e0

225.2227	2.025e0

225.3067	1.013e0

225.4135	1.013e0

225.4384	1.013e0

225.4705	1.013e0

225.6503	1.013e0

225.8565	1.013e0

226.0208	1.013e0

226.0497	1.013e0

226.1252	2.025e1

226.1683	1.013e0

226.1965	2.025e0

226.3610	1.013e0

226.4849	1.013e0

226.5444	1.013e0

226.6248	1.013e0

226.6436	1.013e0

226.6763	1.013e0

226.7491	1.013e0

226.7884	3.038e0

226.8636	1.013e0

226.9650	1.013e0

227.0797	1.013e0

227.1263	2.025e0

227.1489	2.025e0

227.1722	1.013e0

227.3766	1.013e0

227.4494	1.013e0

227.4768	1.013e0

227.7229	4.051e0

227.7905	1.013e0

227.9144	1.013e0

228.0782	1.013e0

228.1269	1.013e0

228.2110	1.013e0

228.2807	2.025e0

228.3077	1.013e0

228.3480	1.013e0

228.5319	1.013e0

228.7006	1.013e0

228.7652	1.013e0

228.8414	2.025e0

228.8732	1.013e0

228.9339	1.013e0

229.0824	2.025e0

229.1555	1.013e0

229.1917	1.013e0

229.2361	1.013e0

229.3162	1.013e0

229.3799	2.025e0

229.4240	3.038e0

229.4971	1.013e0

229.5323	2.025e0

229.5654	1.013e0

229.6258	2.025e0

229.7064	1.013e0

229.8389	2.025e0

229.8793	1.013e0

229.9314	2.025e0

229.9600	1.013e0

229.9886	1.013e0

230.0127	2.025e0

230.0734	1.013e0

230.1267	4.051e0

230.2175	2.025e0

230.4523	1.013e0

230.4964	1.013e0

230.5993	2.025e0

230.6539	1.013e0

230.6733	1.013e0

230.7464	1.013e0

230.8104	1.013e0

230.8954	1.013e0

230.9561	1.013e0

231.0851	1.013e0

231.1543	2.025e0

231.2430	1.013e0

231.3880	1.013e0

231.4528	1.013e0

231.5037	2.025e0

231.5666	1.013e0

231.5943	2.025e0

231.6222	1.013e0

231.7514	1.013e0

231.8861	1.013e0

231.9055	1.013e0

231.9508	2.025e0

232.0029	2.412e0

232.0454	3.038e0

232.1287	1.013e0

232.2332	1.013e0

232.2591	3.038e0

232.6267	1.013e0

232.7192	1.013e0

232.7634	1.013e0

232.9706	1.013e0

232.9971	2.025e0

233.0725	1.013e0

233.1112	2.025e0

233.1736	1.013e0

233.2122	2.025e0

233.2865	1.013e0

233.3233	2.025e0

233.3601	1.013e0

233.3813	1.013e0

233.4129	1.013e0

233.4666	1.013e0

233.5629	2.025e0

233.6106	2.025e0

233.6569	1.013e0

233.7004	3.038e0

233.7745	1.013e0

233.8107	1.013e0

233.8677	2.025e0

233.9799	2.025e0

234.1527	5.063e0

234.2006	1.013e0

234.2589	1.013e0

234.5394	1.013e0

234.5672	1.013e0

234.6727	1.013e0

234.7214	1.013e0

234.7630	2.025e0

234.7944	1.013e0

234.8530	1.013e0

234.8973	1.013e0

235.0230	1.013e0

235.0757	1.013e0

235.1166	1.013e0

235.1808	2.033e1

235.2667	1.013e0

235.3531	1.013e0

235.4180	1.013e0

235.4993	1.013e0

235.6099	1.013e0

235.6353	1.013e0

235.6912	1.013e0

235.7204	1.013e0

235.7611	2.025e0

235.8321	2.025e0

235.8717	1.136e0

236.0136	1.013e0

236.1450	1.013e0

236.1823	3.038e0

236.2595	1.013e0

236.3371	1.013e0

236.4147	1.013e0

236.5292	1.013e0

236.5568	1.013e0

236.5934	1.013e0

236.6345	1.013e0

236.6757	1.013e0

236.6996	1.013e0

236.7772	1.013e0

236.8103	1.013e0

236.9089	1.013e0

236.9364	1.013e0

237.0920	1.013e0

237.1424	1.013e0

237.2157	1.013e0

237.2408	2.025e0

237.2861	3.038e0

237.3538	1.013e0

237.3995	2.025e0

237.4532	1.013e0

237.5465	2.025e0

237.5830	1.013e0

237.6283	1.013e0

237.6607	1.013e0

237.7154	1.013e0

237.7935	1.013e0

237.8164	1.013e0

237.8806	2.025e0

238.0194	2.025e0

238.0861	2.025e0

238.1858	2.025e0

238.2266	1.013e0

238.2759	1.013e0

238.3298	1.013e0

238.4361	2.025e0

238.4691	1.013e0

238.5149	1.013e0

238.5603	3.038e0

238.6296	1.013e0

238.6901	1.013e0

238.7316	1.013e0

238.7558	1.013e0

238.9076	1.013e0

239.1553	1.013e0

239.1823	3.038e0

239.4511	1.013e0

239.4892	4.051e0

239.6148	1.013e0

239.6637	1.013e0

239.7426	2.025e0

239.8294	1.013e0

239.8486	1.013e0

239.9481	1.013e0

240.0146	1.013e0

240.0846	1.013e0

240.1334	1.013e0

240.2296	2.025e0

240.4708	1.013e0

240.6778	1.013e0

240.9043	1.013e0

241.0307	1.013e0

241.0564	1.013e0

241.1231	1.013e0

241.1793	1.013e0

241.2049	2.025e0

241.3162	1.013e0

241.3456	1.013e0

241.4979	1.013e0

241.5274	2.025e0

241.6630	1.013e0

241.8027	1.013e0

241.8986	1.013e0

241.9319	1.013e0

241.9845	1.013e0

242.0975	1.106e2

242.1529	2.025e0

242.1887	2.416e0

242.2410	1.013e0

242.2789	2.633e1

242.3443	1.013e0

242.4110	1.013e0

242.4739	2.025e0

242.5110	1.013e0

242.5891	2.025e0

242.6472	1.013e0

242.7264	1.013e0

242.7827	1.013e0

242.8638	2.025e0

242.9493	1.013e0

242.9904	1.013e0

243.0413	3.038e0

243.1016	1.370e1

243.1523	1.013e0

243.2936	8.101e0

243.3958	1.013e0

243.4585	2.025e0

243.4938	3.038e0

243.5879	1.013e0

243.9398	1.013e0

244.0476	2.025e0

244.0840	5.063e0

244.1182	2.025e0

244.1558	1.013e0

244.1976	2.416e0

244.4425	1.013e0

244.4900	3.038e0

244.5215	1.013e0

244.5795	2.025e0

244.6212	1.013e0

244.6667	1.013e0

244.7162	3.038e0

244.7614	2.025e0

244.8237	1.013e0

244.8887	2.025e0

244.9414	1.013e0

244.9609	1.013e0

245.0027	1.013e0

245.0451	1.013e0

245.1111	1.013e0

245.1680	4.006e1

245.2855	1.013e0

245.3775	1.013e0

245.4373	2.025e0

245.4695	1.013e0

245.6528	1.013e0

245.6726	1.013e0

245.7981	1.013e0

245.8393	1.013e0

245.8708	2.025e0

245.9892	1.013e0

246.1707	1.294e1

246.2486	1.013e0

246.2897	1.013e0

246.4104	1.013e0

246.4610	1.013e0

246.5146	1.013e0

246.5525	1.013e0

246.6026	1.013e0

246.6482	2.025e0

246.7069	1.013e0

246.7563	1.013e0

246.7929	2.025e0

246.8898	1.013e0

246.9650	1.013e0

247.0200	1.013e0

247.0694	1.013e0

247.1848	4.861e1

247.2546	1.013e0

247.3705	1.013e0

247.3924	1.013e0

247.4414	2.025e0

247.4863	2.025e0

247.5255	1.013e0

247.5540	1.013e0

247.6254	1.013e0

247.6989	2.025e0

247.7896	2.025e0

247.8815	3.038e0

247.9498	2.025e0

248.0109	1.013e0

248.1788	8.418e0

248.2068	1.013e1

248.2777	1.013e0

248.3176	2.025e0

248.3624	1.013e0

248.4494	1.013e0

248.4875	1.013e0

248.5303	1.013e0

248.5823	2.025e0

248.6500	1.013e0

248.6721	1.013e0

248.8813	1.013e0

248.9188	1.013e0

249.0790	1.013e0

249.1036	1.013e0

249.1998	5.570e1

249.2403	4.051e0

249.2882	2.025e0

249.3631	1.013e0

249.4146	1.013e0

249.5047	3.376e0

249.5821	1.013e0

249.8075	1.013e0

249.8888	1.013e0

249.9445	2.025e0

250.0055	1.013e0

250.1802	3.949e1

250.2474	5.063e0

250.4034	2.025e0

250.4427	1.013e0

250.4872	3.038e0

250.5359	1.013e0

250.5886	2.025e0

250.6820	1.013e0

250.7154	4.184e0

250.8166	1.013e0

250.8819	2.025e0

250.9060	4.051e0

250.9495	2.025e0

251.0273	1.013e0

251.0899	1.013e0

251.1758	3.080e2

251.2455	3.038e0

251.2820	2.025e0

251.3204	2.025e0

251.3475	1.013e0

251.3812	1.013e0

251.4068	2.025e0

251.4317	2.025e0

251.4779	2.025e0

251.5332	2.025e0

251.5793	1.013e0

251.6062	2.025e0

251.6744	5.063e0

251.7262	1.013e0

251.7575	2.025e0

251.8227	1.013e0

251.8745	3.038e0

251.9143	2.025e0

252.1814	5.514e1

252.2582	2.025e0

252.2913	1.013e0

252.3842	2.025e0

252.4102	2.025e0

252.4516	1.013e0

252.5412	1.013e0

252.6799	1.013e0

252.7388	2.025e0

252.7931	3.038e0

252.8155	2.751e0

252.8962	1.013e0

252.9230	2.025e0

252.9926	2.025e0

253.0731	2.025e0

253.1651	8.388e0

253.2162	1.013e0

253.2501	1.013e0

253.3429	1.013e0

253.3690	1.013e0

253.4365	1.013e0

253.4917	2.025e0

253.5975	1.013e0

253.6352	1.013e0

253.7793	2.025e0

253.8644	2.025e0

253.9013	1.013e0

253.9535	1.013e0

253.9890	3.038e0

254.1561	1.013e0

254.1879	2.025e0

254.3290	1.013e0

254.3631	1.013e0

254.3848	1.013e0

254.4446	1.013e0

254.4676	2.025e0

254.5044	1.013e0

254.6697	1.013e0

254.6945	2.025e0

254.8007	2.025e0

254.9998	1.013e0

255.0413	1.013e0

255.1091	1.013e0

255.3485	1.013e0

255.4120	1.013e0

255.4500	1.013e0

255.4877	1.013e0

255.5515	1.013e0

255.7090	1.013e0

255.7298	1.013e0

255.8774	3.038e0

255.9025	2.025e0

255.9381	1.013e0

256.0019	1.013e0

256.0434	1.013e0

256.0872	1.013e0

256.1736	2.025e0

256.2185	2.025e0

256.2950	1.013e0

256.3289	1.013e0

256.4826	1.013e0

256.6181	1.013e0

256.6609	1.013e0

256.7002	2.025e0

256.7458	1.013e0

256.8658	1.013e0

256.8927	3.038e0

257.0440	1.013e0

257.1552	1.013e0

257.1891	1.013e0

257.2907	1.013e0

257.5047	1.013e0

257.5746	2.025e0

257.6365	1.013e0

257.6704	1.013e0

257.7228	1.013e0

257.8058	2.025e0

257.8413	1.013e0

257.9222	1.013e0

257.9744	1.013e0

258.0501	2.025e0

258.0933	2.025e0

258.1402	1.013e0

258.1703	1.013e0

258.2042	1.013e0

258.2342	2.025e0

258.2901	1.013e0

258.6012	1.013e0

258.6859	1.013e0

258.7685	1.013e0

258.8345	2.025e0

258.9644	1.013e0

259.0363	1.013e0

259.0759	2.025e0

259.1748	3.038e0

259.2227	2.025e0

259.2844	1.013e0

259.3284	1.013e0

259.4820	2.025e0

259.5591	1.013e0

259.5892	1.013e0

259.6319	2.025e0

259.6572	1.013e0

259.7696	1.013e0

259.8154	1.013e0

259.9234	1.013e0

260.0590	3.193e0

260.1121	1.013e0

260.1737	2.025e0

260.2292	2.025e0

260.2909	1.013e0

260.5693	1.013e0

260.6390	1.013e0

260.6689	1.013e0

260.6895	1.013e0

260.8362	1.013e0

260.9227	1.013e0

260.9453	2.025e0

260.9871	1.013e0

261.0971	1.013e0

261.1402	5.063e0

261.2068	1.418e1

261.2566	2.025e0

261.4415	2.025e0

261.5060	1.013e0

261.5830	1.013e0

261.6170	1.013e0

261.6509	2.025e0

261.7337	1.013e0

261.8300	2.025e0

261.9148	2.025e0

262.0431	1.013e0

262.0881	2.025e0

262.1919	3.038e0

262.2188	3.038e0

262.9816	1.013e0

263.0020	1.013e0

263.0322	1.013e0

263.0587	1.013e0

263.1151	1.013e0

263.1987	5.520e1

263.2832	2.025e0

263.5500	2.025e0

263.5840	1.013e0

263.6932	2.025e0

263.7311	1.013e0

263.7613	1.013e0

264.0516	1.013e0

264.1943	2.025e0

264.2675	1.013e0

264.3093	1.013e0

264.3659	1.013e0

264.4646	1.013e0

264.5095	1.013e0

264.5370	2.025e0

264.5906	1.013e0

264.7212	1.013e0

264.7894	1.013e0

264.8157	1.013e0

264.9632	1.013e0

265.1978	3.038e0

265.2961	1.013e0

265.4698	3.038e0

265.5248	1.013e0

265.5804	1.013e0

265.6411	1.013e0

265.7330	2.025e0

265.8030	1.013e0

265.8284	1.013e0

265.8675	1.013e0

265.9055	2.025e0

265.9926	1.013e0

266.0228	1.013e0

266.1836	2.025e0

266.2184	1.013e0

266.3097	1.013e0

266.3513	3.038e0

266.4142	2.025e0

266.4568	1.013e0

266.5430	1.013e0

266.6470	3.038e0

266.6739	1.013e0

266.7308	1.013e0

266.7850	3.038e0

266.8294	1.013e0

266.8680	1.013e0

266.8930	2.025e0

266.9848	1.013e0

267.0509	2.025e0

267.1492	6.288e2

267.2264	6.247e0

267.2707	2.025e0

267.3094	3.924e0

267.3559	1.013e0

267.4233	3.038e0

267.4637	2.025e0

267.5074	1.013e0

267.5589	2.025e0

267.5973	3.038e0

267.7159	7.496e0

267.7729	3.038e0

267.8177	2.739e0

267.9366	1.013e0

267.9774	1.013e0

268.0762	1.013e0

268.1550	1.255e2

268.2278	1.013e0

268.2581	1.013e0

268.2988	1.013e0

268.3321	3.038e0

268.4249	1.013e0

268.4630	2.025e0

268.6154	1.013e0

268.6407	2.025e0

268.6967	3.038e0

268.7381	1.013e0

268.8065	2.025e0

268.8864	1.013e0

269.0245	1.013e0

269.0999	2.025e0

269.1684	1.316e1

269.3736	1.013e0

269.4699	1.013e0

269.5130	2.025e0

269.5671	1.013e0

269.6089	1.013e0

269.6728	2.025e0

269.7266	1.013e0

269.7980	1.013e0

269.8185	1.013e0

269.8544	1.013e0

270.0171	2.025e0

270.0558	3.038e0

270.0948	1.013e0

270.1290	1.013e0

270.3216	1.013e0

270.3568	1.013e0

270.4082	2.025e0

270.4612	2.025e0

270.5327	2.025e0

270.5923	1.013e0

270.6760	1.013e0

270.8811	1.013e0

270.9155	1.013e0

270.9420	1.013e0

271.0067	1.013e0

271.0941	1.013e0

271.1795	2.025e0

271.2530	1.013e0

271.3734	2.025e0

271.6243	1.013e0

271.6986	1.013e0

271.7290	1.013e0

271.9613	2.025e0

272.0180	1.013e0

272.0670	2.025e0

272.1930	1.013e0

272.5581	1.013e0

272.7618	2.025e0

272.8169	1.013e0

272.9151	2.025e0

272.9388	1.013e0

273.0908	2.025e0

273.1317	3.038e0

273.2086	3.038e0

273.2548	1.013e0

273.3119	1.013e0

273.3526	1.013e0

273.3879	1.013e0

273.6164	1.013e0

273.7302	2.025e0

273.7689	1.013e0

273.8615	1.013e0

273.9447	1.013e0

273.9707	1.013e0

274.0468	1.013e0

274.1882	4.051e0

274.2222	1.013e0

274.3555	1.013e0

274.3817	1.013e0

274.4365	3.038e0

274.5456	3.038e0

274.5956	1.013e0

274.6413	1.013e0

274.6838	1.013e0

274.7412	1.013e0

274.8037	1.013e0

274.8631	2.025e0

274.9271	1.013e0

275.0110	1.013e0

275.0593	1.013e0

275.1119	3.038e0

275.2066	4.051e0

275.3199	1.013e0

275.3582	1.013e0

275.4300	1.013e0

275.5792	1.013e0

275.6265	2.025e0

275.7017	1.013e0

275.7338	2.025e0

275.8349	1.013e0

275.9147	2.025e0

275.9799	1.013e0

276.0426	2.025e0

276.0699	3.038e0

276.1237	2.025e0

276.2012	1.013e0

276.4264	1.013e0

276.4975	1.013e0

276.5370	1.013e0

276.5761	1.013e0

276.6210	1.013e0

276.8502	1.013e0

276.9321	2.025e0

276.9787	2.025e0

277.0372	1.013e0

277.1125	3.038e0

277.2254	1.418e1

277.3275	1.013e0

277.3951	1.013e0

277.4383	1.013e0

277.5145	1.013e0

277.5947	3.038e0

277.6521	1.013e0

277.7439	1.013e0

277.7896	1.013e0

277.8202	1.013e0

277.8707	2.025e0

277.9100	2.025e0

278.0190	1.013e0

278.0992	1.013e0

278.2266	6.689e0

278.3089	2.025e0

278.4483	1.013e0

278.4747	1.013e0

278.5929	2.025e0

278.8347	2.025e0

278.8712	2.025e0

279.1049	1.013e0

279.1493	2.025e0

279.3040	1.013e0

279.4950	1.013e0

279.5408	1.013e0

279.5715	2.025e0

279.6386	2.025e0

279.7485	1.013e0

279.8386	1.013e0

280.0559	1.013e0

280.1089	1.013e0

280.1915	2.025e0

280.2694	2.025e0

280.4291	3.038e0

280.4992	2.025e0

280.6127	1.013e0

280.6432	1.013e0

280.6821	1.013e0

280.7620	1.013e0

280.8119	1.013e0

280.9000	1.013e0

281.0754	1.013e0

281.1151	4.051e0

281.1508	2.025e0

281.2256	1.013e0

281.2524	1.013e0

281.3597	1.013e0

281.4401	2.025e0

281.5889	3.038e0

281.6241	2.025e0

281.6770	1.013e0

281.7250	1.013e0

281.7687	3.038e0

281.8050	1.013e0

281.8442	2.025e0

282.1474	2.025e0

282.2068	1.013e0

282.2835	2.025e0

282.4176	1.013e0

282.5020	1.013e0

282.6751	1.013e0

282.8676	1.013e0

282.9708	2.025e0

283.1274	1.692e1

283.2098	2.025e0

283.2521	2.025e0

283.3229	1.013e0

283.4158	2.025e0

283.4581	2.025e0

283.5533	3.038e0

283.6186	1.013e0

283.6763	1.013e0

283.7621	1.013e0

283.8104	1.013e0

283.9716	1.013e0

284.0157	3.038e0

284.0895	1.013e0

284.1867	1.013e0

284.2943	1.013e0

284.4185	4.051e0

284.4747	1.013e0

284.5055	2.025e0

284.5516	1.013e0

284.7186	2.025e0

284.9050	1.013e0

284.9358	2.025e0

284.9982	1.013e0

285.0435	1.013e0

285.1165	1.013e0

285.1471	1.013e0

285.1972	1.013e0

285.2318	1.013e0

285.3808	1.013e0

285.4083	2.025e0

285.4347	1.013e0

285.6046	1.013e0

285.6353	1.013e0

285.7161	1.013e0

285.8069	1.013e0

285.9365	1.013e0

286.0229	1.013e0

286.0662	1.013e0

286.1029	2.025e0

286.1472	1.013e0

286.2607	1.013e0

286.3007	1.013e0

286.3525	2.025e0

286.5161	1.013e0

286.6015	1.013e0

286.7122	2.025e0

286.8126	1.013e0

287.0162	1.013e0

287.1625	2.025e0

287.2184	5.430e1

287.2858	1.013e0

287.3372	3.038e0

287.3980	1.013e0

287.5553	1.013e0

287.6053	1.013e0

287.7671	1.013e0

287.8214	1.013e0

287.8709	1.013e0

287.9301	1.013e0

288.0333	1.013e0

288.0558	1.013e0

288.1350	1.268e0

288.1717	2.025e0

288.2227	9.114e0

288.3293	2.025e0

288.5716	3.038e0

288.6261	1.013e0

288.6530	1.013e0

288.7126	2.025e0

288.7526	3.512e0

288.7918	1.013e0

288.9421	1.013e0

288.9942	3.038e0

289.0476	2.025e0

289.1194	4.051e0

289.2300	4.175e2

289.3250	3.038e0

289.3582	3.038e0

289.4432	1.013e0

289.4966	3.038e0

289.5821	1.013e0

289.6130	2.025e0

289.7209	2.025e0

289.7594	2.025e0

289.8116	2.025e0

289.8423	2.025e0

289.8758	1.013e0

289.9086	1.013e0

289.9852	1.013e0

290.0729	5.063e0

290.1219	1.013e0

290.1493	2.025e0

290.2325	8.723e1

290.3817	3.038e0

290.4359	4.051e0

290.5060	2.025e0

290.5653	1.013e0

290.5983	2.025e0

290.7335	2.025e0

290.7955	1.013e0

290.8340	2.025e0

290.8726	2.025e0

290.9402	1.013e0

291.0192	2.025e0

291.0638	1.013e0

291.2220	1.215e1

291.3340	1.013e0

291.4196	4.051e0

291.5065	3.038e0

291.5529	3.038e0

291.5928	1.013e0

291.6295	2.025e0

291.6682	2.025e0

291.7285	4.051e0

291.8069	2.025e0

291.8668	2.025e0

292.0834	1.013e0

292.2011	2.025e1

292.2786	5.063e0

292.3616	1.013e0

292.3964	1.013e0

292.5324	2.025e0

292.5646	2.025e0

292.6206	1.013e0

292.6576	2.025e0

292.7144	1.013e0

292.8136	2.025e0

292.9878	1.013e0

293.0730	1.013e0

293.1061	1.013e0

293.1697	2.025e0

293.2165	4.051e0

293.3011	1.013e0

293.3281	1.013e0

293.3745	1.013e0

293.5757	1.013e0

293.7476	3.038e0

293.7964	2.025e0

293.8744	1.013e0

293.9179	2.025e0

294.0930	4.051e0

294.1401	1.013e0

294.1663	2.025e0

294.2139	2.025e0

294.2408	2.025e0

294.3618	1.013e0

294.4172	1.013e0

294.5684	2.025e0

294.6296	2.025e0

294.7444	1.013e0

294.8103	1.013e0

294.8450	1.013e0

294.9053	1.013e0

294.9381	1.013e0

295.0464	1.013e0

295.0830	1.013e0

295.1239	1.013e0

295.2568	2.025e0

295.3021	1.013e0

295.4009	2.025e0

295.4386	1.013e0

295.5443	1.013e0

295.6546	1.013e0

295.7591	1.013e0

295.7902	1.013e0

295.8366	1.013e0

296.0381	1.013e0

296.1660	1.013e0

296.4686	1.013e0

296.5033	1.013e0

296.5537	1.013e0

296.6312	1.013e0

296.6739	1.013e0

296.7121	2.025e0

297.1220	1.013e0

297.1699	2.025e0

297.3063	1.013e0

297.4302	4.051e0

297.6141	3.038e0

297.6758	1.013e0

297.7212	2.025e0

297.8144	1.013e0

297.8605	1.013e0

297.9271	2.025e0

298.0118	1.013e0

298.0510	1.013e0

298.1172	1.013e0

298.1715	2.025e0

298.2652	3.038e0

298.3089	1.013e0

298.3538	2.025e0

298.4099	1.013e0

298.4939	1.013e0

298.5333	1.013e0

298.6025	1.013e0

298.6898	2.025e0

298.7968	1.013e0

298.8365	1.013e0

298.9089	3.038e0