Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 100.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

99 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 13-13    H: 0-200    N: 0-10    O: 0-15

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	Formula

206.1549   	206.1545       	0.4      	1.9      	4.5      	0.9        	C13  H20  N  O

REPORT MASSES AS +/-5mDa, referenced against

Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

ANALYSIS RUN USING:  WATERS LCT PREMIER (ESI POSITIVE/ESI NEGATIVE)

148.9992	1.013e0

149.0412	1.013e0

149.0739	1.013e0

149.1487	1.013e0

149.1806	1.013e0

149.2136	1.013e0

149.3236	2.025e0

149.3786	3.038e0

149.4017	2.025e0

149.4925	2.025e0

149.5250	2.025e0

149.5448	1.013e0

149.6417	1.013e0

149.6814	1.013e0

149.7133	1.013e0

149.7558	1.013e0

149.8209	1.013e0

149.8494	4.259e0

149.8664	2.025e0

149.9050	1.013e0

149.9281	2.025e0

149.9605	1.013e0

149.9800	1.013e0

150.0166	3.038e0

150.0615	1.013e0

150.1233	1.013e0

150.1398	1.013e0

150.1884	1.013e0

150.2320	2.025e0

150.3152	1.013e0

150.3615	2.025e0

150.4001	3.038e0

150.4553	1.013e0

150.4918	2.025e0

150.5106	1.013e0

150.6219	1.013e0

150.6739	1.013e0

150.6921	2.025e0

150.7816	1.013e0

150.8373	1.013e0

150.8549	2.025e0

150.9091	1.013e0

151.0031	1.013e0

151.0196	1.013e0

151.0428	1.013e0

151.0624	1.013e0

151.1420	2.025e0

151.1799	1.013e0

151.1981	2.025e0

151.2718	2.025e0

151.3037	2.025e0

151.3236	2.025e0

151.4036	3.038e0

151.4608	2.025e0

151.5236	3.038e0

151.6130	6.076e0

151.6503	1.013e0

151.8007	1.013e0

151.8405	2.025e0

151.8959	1.013e0

151.9579	1.013e0

151.9745	1.013e0

152.0011	1.013e0

152.0234	1.013e0

152.0565	1.013e0

152.0799	2.025e0

152.2039	1.013e0

152.2338	2.025e0

152.2925	3.038e0

152.3646	2.025e0

152.4201	1.013e0

152.5155	1.013e0

152.6378	2.025e0

152.6797	1.013e0

152.7025	1.013e0

152.7319	1.013e0

152.7973	1.013e0

152.8190	2.025e0

152.8895	1.013e0

152.9095	1.013e0

152.9389	1.013e0

152.9583	2.025e0

152.9792	3.038e0

153.0051	1.013e0

153.0461	4.051e0

153.0755	4.051e0

153.1177	4.051e0

153.1561	1.013e0

153.2166	2.025e0

153.2350	1.013e0

153.2922	2.025e0

153.4063	2.025e0

153.4751	1.013e0

153.6347	2.025e0

153.6920	1.013e0

153.7513	1.013e0

153.7710	1.013e0

153.8534	1.013e0

153.9098	1.013e0

153.9274	2.025e0

153.9474	2.025e0

154.0018	2.025e0

154.0541	3.038e0

154.0699	2.025e0

154.0843	1.013e0

154.1106	1.013e0

154.1323	2.025e0

154.1863	1.013e0

154.2314	2.141e0

154.2557	1.013e0

154.2822	1.013e0

154.3122	1.013e0

154.3913	1.013e0

154.4114	1.013e0

154.4403	2.025e0

154.4872	1.013e0

154.5164	1.013e0

154.5588	3.038e0

154.6188	2.025e0

154.6489	1.013e0

154.6882	1.013e0

154.7147	2.025e0

154.7381	2.025e0

154.8274	2.025e0

154.8460	2.025e0

154.8798	1.013e0

154.9033	1.013e0

154.9463	1.013e0

154.9792	1.013e0

155.0356	1.013e0

155.0501	2.025e0

155.0768	2.025e0

155.1377	1.013e0

155.1678	1.013e0

155.1846	2.025e0

155.2572	1.013e0

155.2908	1.013e0

155.3599	1.013e0

155.3842	4.051e0

155.4158	1.013e0

155.4611	2.025e0

155.5047	3.038e0

155.5387	1.013e0

155.5738	2.025e0

155.6013	1.013e0

155.6567	2.025e0

155.6907	1.013e0

155.7479	1.013e0

155.8365	3.038e0

155.9134	4.051e0

155.9437	1.013e0

155.9760	1.013e0

156.0197	1.013e0

156.0672	2.025e0

156.0899	2.315e0

156.1393	1.013e0

156.1593	3.038e0

156.2388	1.013e0

156.2516	1.013e0

156.3152	3.038e0

156.3416	1.013e0

156.3780	1.013e0

156.4777	1.013e0

156.5344	1.013e0

156.5774	1.013e0

156.6341	4.051e0

156.6670	1.013e0

156.7108	2.025e0

156.8004	1.013e0

156.8207	1.013e0

156.8530	1.013e0

156.8699	2.025e0

156.9553	3.110e0

156.9946	2.356e0

157.0203	1.013e0

157.0463	1.013e0

157.0817	4.051e0

157.1257	3.038e0

157.1964	1.013e0

157.2234	1.013e0

157.2596	3.038e0

157.3098	1.013e0

157.3625	1.013e0

157.4334	2.025e0

157.4497	1.013e0

157.4776	2.025e0

157.5096	1.013e0

157.5333	1.013e0

157.5564	1.013e0

157.5826	1.013e0

157.6631	1.013e0

157.7502	1.013e0

157.7731	1.013e0

157.8164	1.013e0

157.8333	1.013e0

157.8637	2.025e0

157.8961	2.025e0

157.9131	2.025e0

157.9333	2.025e0

157.9706	2.025e0

158.0472	5.063e0

158.0901	4.051e0

158.1267	1.013e0

158.1892	2.025e0

158.2089	2.025e0

158.2268	1.013e0

158.2471	2.025e0

158.2843	1.013e0

158.3030	2.025e0

158.3306	1.013e0

158.3525	5.063e0

158.3979	2.025e0

158.4442	1.013e0

158.4609	2.025e0

158.4813	1.013e0

158.5353	2.025e0

158.5579	1.013e0

158.5984	1.013e0

158.6220	1.013e0

158.6652	4.051e0

158.7274	3.038e0

158.7693	1.013e0

158.7988	1.013e0

158.8462	3.038e0

158.8828	4.051e0

158.9027	2.025e0

158.9262	1.013e0

158.9634	1.013e0

158.9885	3.038e0

159.0200	1.013e0

159.0400	1.013e0

159.0823	2.025e0

159.1210	1.013e0

159.1423	2.025e0

159.1692	2.025e0

159.2114	1.013e0

159.2481	1.013e0

159.2880	6.076e0

159.3321	1.013e0

159.3706	3.038e0

159.4123	1.013e0

159.4410	2.025e0

159.4798	2.025e0

159.5027	1.013e0

159.5411	4.051e0

159.6203	1.013e0

159.6402	1.013e0

159.6741	2.025e0

159.6978	1.013e0

159.7445	1.013e0

159.8408	2.025e0

159.9520	3.038e0

160.0128	2.025e0

160.0752	4.051e0

160.1508	2.025e0

160.1848	1.013e0

160.2034	2.025e0

160.2751	2.025e0

160.3611	3.038e0

160.3832	1.013e0

160.3996	1.013e0

160.5274	3.038e0

160.5614	3.038e0

160.7573	1.013e0

160.7888	2.025e0

160.8120	2.025e0

160.8376	1.013e0

160.8631	2.025e0

160.8932	3.038e0

160.9418	1.013e0

160.9724	1.013e0

161.0063	1.013e0

161.0268	1.013e0

161.0636	1.013e0

161.0901	1.013e0

161.1131	3.038e0

161.1836	2.025e0

161.2046	3.038e0

161.2437	2.025e0

161.2658	1.013e0

161.3118	2.025e0

161.3601	1.013e0

161.4007	2.025e0

161.4245	1.013e0

161.4483	1.013e0

161.4837	3.038e0

161.5220	1.013e0

161.5663	1.013e0

161.6391	2.025e0

161.6791	2.025e0

161.7081	1.013e0

161.7456	2.025e0

161.8025	1.013e0

161.8295	2.025e0

161.8534	3.038e0

161.8891	2.025e0

161.9182	2.025e0

161.9597	3.038e0

162.0004	2.025e0

162.0532	1.013e0

162.0902	3.038e0

162.1591	5.063e0

162.2296	2.025e0

162.2573	2.025e0

162.2916	3.038e0

162.3542	1.013e0

162.3765	2.025e0

162.4196	1.013e1

162.4843	4.051e0

162.5509	1.013e0

162.5940	1.013e0

162.6316	1.013e0

162.6725	1.013e0

162.7102	1.013e0

162.7433	2.025e0

162.7686	2.025e0

162.7993	2.025e0

162.8364	3.369e0

162.8796	1.013e0

162.9205	4.051e0

162.9779	4.051e0

163.0141	3.038e0

163.0691	1.013e0

163.0956	2.025e0

163.1250	4.152e1

163.1864	3.038e0

163.2077	3.038e0

163.2471	2.025e0

163.2739	2.819e0

163.2979	2.025e0

163.3542	1.013e0

163.3817	1.013e0

163.4054	1.013e0

163.4454	1.013e0

163.4830	1.013e0

163.5411	3.038e0

163.5651	1.013e0

163.5921	1.013e0

163.6144	3.038e0

163.6356	2.025e0

163.6870	3.038e0

163.7212	3.038e0

163.7661	3.038e0

163.8569	2.025e0

163.8843	1.013e0

163.9185	1.013e0

164.0080	2.151e0

164.0554	4.051e0

164.0902	2.025e0

164.1210	4.051e0

164.2054	2.025e0

164.2311	2.025e0

164.2465	2.025e0

164.2791	2.025e0

164.3271	1.013e0

164.3574	1.013e0

164.3792	2.025e0

164.5517	1.013e0

164.5883	2.025e0

164.6400	1.013e0

164.6992	3.038e0

164.7429	1.013e0

164.7697	1.013e0

164.8077	3.038e0

164.8565	2.025e0

164.8805	2.025e0

164.9234	1.013e0

164.9441	1.013e0

165.0029	2.025e0

165.0216	1.013e0

165.0629	1.013e0

165.1092	2.025e0

165.1556	2.025e0

165.1963	1.013e0

165.2561	3.038e0

165.3054	4.051e0

165.3294	2.025e0

165.3555	3.038e0

165.3996	3.038e0

165.5069	1.013e0

165.5429	2.025e0

165.5687	1.013e0

165.6306	1.013e0

165.6789	3.038e0

165.7479	2.025e0

165.7703	1.013e0

165.7977	1.013e0

165.8206	4.051e0

165.8494	1.013e0

165.8802	2.025e0

165.9171	2.948e0

165.9401	3.038e0

165.9734	3.038e0

166.0544	1.013e0

166.1198	1.013e0

166.1469	1.013e0

166.2786	2.025e0

166.3106	3.038e0

166.3389	1.013e0

166.4190	2.025e0

166.4913	3.038e0

166.5218	2.025e0

166.5408	1.013e0

166.5821	1.013e0

166.6166	1.013e0

166.6442	2.025e0

166.6781	2.025e0

166.7599	2.025e0

166.8427	1.013e0

166.9117	2.025e0

166.9538	3.038e0

167.0137	2.025e0

167.0396	2.025e0

167.0862	1.013e0

167.1293	2.025e0

167.2035	1.013e0

167.2483	2.025e0

167.2838	2.025e0

167.3643	1.013e0

167.3989	1.013e0

167.4472	1.013e0

167.5197	2.025e0

167.5498	3.038e0

167.5847	1.013e0

167.6703	2.025e0

167.7152	1.013e0

167.7583	2.025e0

167.7980	1.013e0

167.8396	1.013e0

167.9085	2.025e0

167.9321	1.013e0

167.9697	1.013e0

168.0076	3.038e0

168.0456	1.013e0

168.0663	1.013e0

168.1319	1.013e0

168.2167	2.025e0

168.2870	1.013e0

168.3587	1.013e0

168.4281	1.013e0

168.4488	1.013e0

168.4765	1.013e0

168.5068	3.038e0

168.5457	2.025e0

168.6011	1.013e0

168.6184	1.013e0

168.6818	2.025e0

168.7007	3.038e0

168.7349	2.025e0

168.7658	1.013e0

168.8213	1.013e0

168.8940	1.013e0

168.9563	3.038e0

168.9875	3.038e0

169.0128	1.731e0

169.0656	2.025e0

169.0894	2.025e0

169.1255	1.013e0

169.1461	2.025e0

169.1691	4.051e0

169.2009	2.025e0

169.2582	3.038e0

169.3188	1.013e0

169.3361	1.013e0

169.4019	1.013e0

169.4886	1.013e0

169.5130	3.038e0

169.5373	1.013e0

169.5615	1.013e0

169.5822	1.013e0

169.6371	1.013e0

169.7007	2.025e0

169.7197	1.013e0

169.7759	3.038e0

169.8620	1.013e0

169.8880	2.025e0

169.9157	2.025e0

170.0737	2.025e0

170.1085	2.025e0

170.1949	2.025e0

170.2397	1.013e0

170.2794	2.025e0

170.3171	4.051e0

170.3639	1.013e0

170.4092	1.013e0

170.4301	1.013e0

170.4944	2.025e0

170.5587	1.013e0

170.6021	2.025e0

170.6351	1.013e0

170.6629	1.013e0

170.6942	1.013e0

170.7220	1.013e0

170.7454	2.686e0

170.7776	1.013e0

170.8229	2.025e0

170.8403	1.013e0

170.8681	1.013e0

170.9286	7.089e0

171.0050	2.025e0

171.0310	1.013e0

171.0668	3.038e0

171.1002	1.013e0

171.1348	2.025e0

171.1505	2.025e0

171.1972	2.025e0

171.2319	1.013e0

171.2563	1.013e0

171.3643	2.025e0

171.4148	2.025e0

171.4549	1.013e0

171.4758	2.025e0

171.5071	2.025e0

171.5245	1.013e0

171.5549	3.038e0

171.5907	1.013e0

171.6762	3.038e0

171.7492	2.025e0

171.7683	2.025e0

171.8136	2.025e0

171.8624	1.013e0

171.8938	2.025e0

171.9740	3.038e0

172.1623	2.025e0

172.1777	4.051e0

172.2147	2.025e0

172.2530	1.013e0

172.2845	3.038e0

172.3124	2.025e0

172.3383	2.025e0

172.3620	3.038e0

172.3821	1.013e0

172.4274	1.013e0

172.4483	2.025e0

172.4814	2.025e0

172.5529	1.013e0

172.5878	1.013e0

172.6960	1.013e0

172.7204	2.025e0

172.7658	1.013e0

172.7902	1.013e0

172.8706	1.013e0

172.9195	1.013e0

172.9369	1.013e0

172.9649	2.025e0

173.0033	1.013e0

173.0208	1.013e0

173.0663	1.013e0

173.0947	4.051e0

173.1623	2.025e0

173.2062	2.025e0

173.2289	2.025e0

173.2552	1.013e0

173.2972	1.013e0

173.3496	1.013e0

173.3671	1.013e0

173.4125	1.013e0

173.4615	1.013e0

173.5226	2.025e0

173.5594	1.013e0

173.5769	1.013e0

173.6363	1.013e0

173.7098	1.013e0

173.7552	1.013e0

173.8235	2.025e0

173.8742	1.013e0

173.9162	1.013e0

173.9582	3.038e0

174.0318	1.013e0

174.0817	3.038e0

174.1193	1.013e0

174.1439	1.013e0

174.2139	1.013e0

174.3015	1.013e0

174.3190	2.025e0

174.3750	1.013e0

174.4345	1.013e0

174.4610	2.025e0

174.5048	1.013e0

174.6034	1.013e0

174.6246	1.013e0

174.6844	1.013e0

174.7162	1.013e0

174.7585	4.051e0

174.7937	1.013e0

174.8602	2.025e0

174.8988	1.013e0

174.9373	3.038e0

174.9875	3.455e0

175.0777	1.013e0

175.1348	3.038e0

175.1900	1.013e0

175.2181	1.013e0

175.2672	1.013e0

175.2917	1.013e0

175.3092	1.013e0

175.3480	1.013e0

175.3958	2.025e0

175.4329	1.013e0

175.4647	1.013e0

175.4859	1.013e0

175.5531	1.013e0

175.5724	2.025e0

175.6198	2.025e0

175.6690	1.013e0

175.7287	1.013e0

175.7603	2.025e0

175.7902	2.025e0

175.8342	1.013e0

175.9676	1.013e0

176.0049	2.025e0

176.0303	3.038e0

176.0598	1.013e0

176.1007	3.038e0

176.1501	2.025e0

176.2891	1.013e0

176.3181	3.038e0

176.4509	1.013e0

176.4720	1.013e0

176.5392	1.013e0

176.5819	1.013e0

176.6566	1.013e0

176.6847	1.013e0

176.7410	1.013e0

176.7586	2.025e0

176.8114	1.013e0

176.8326	1.013e0

176.8643	1.013e0

176.9417	1.013e0

176.9805	1.013e0

177.0080	3.038e0

177.0661	1.013e0

177.1440	1.013e0

177.1983	4.051e0

177.2673	2.025e0

177.3237	2.025e0

177.3765	2.025e0

177.4086	2.025e0

177.4461	2.025e0

177.4907	1.013e0

177.5403	1.013e0

177.5966	1.013e0

177.6496	1.013e0

177.7377	1.013e0

177.7659	1.013e0

177.7980	1.013e0

177.8159	1.013e0

177.8480	3.038e0

177.9310	5.063e0

177.9756	2.025e0

178.0639	1.013e0

178.0886	1.013e0

178.1383	4.051e0

178.1972	2.025e0

178.2525	1.013e0

178.3152	3.038e0

178.3584	1.013e0

178.4255	1.013e0

178.5270	4.051e0

178.5557	4.051e0

178.6178	1.013e0

178.6755	4.051e0

178.7009	2.025e0

178.7661	2.025e0

178.8432	2.025e0

178.8845	1.013e0

178.9236	2.375e0

178.9490	3.038e0

179.0011	1.013e0

179.0188	1.013e0

179.0576	1.013e0

179.1076	1.013e0

179.1472	1.013e0

179.1796	1.013e0

179.2060	2.025e0

179.2502	1.013e0

179.2856	1.013e0

179.3033	1.013e0

179.3333	2.025e0

179.3528	1.013e0

179.3885	1.013e0

179.5100	1.013e0

179.5738	2.025e0

179.5986	1.013e0

179.6198	1.013e0

179.6687	3.038e0

179.7369	3.038e0

179.7683	2.025e0

179.8196	1.013e0

179.8798	2.025e0

179.9633	3.038e0

180.0078	3.038e0

180.0408	1.013e0

180.0744	2.025e0

180.1188	1.013e0

180.1365	2.025e0

180.2154	1.013e0

180.2621	1.013e0

180.2939	1.013e0

180.3275	3.038e0

180.3631	2.025e0

180.4376	4.051e0

180.4905	1.013e0

180.5313	2.025e0

180.6040	2.025e0

180.6753	1.013e0

180.7248	3.038e0

180.8450	3.038e0

180.9329	1.013e0

180.9868	1.013e0

181.0187	1.013e0

181.0966	2.618e1

181.1482	3.038e0

181.1762	1.013e0

181.2297	2.025e0

181.2759	1.013e0

181.3256	2.025e0

181.4161	1.013e0

181.4480	3.038e0

181.5049	1.013e0

181.5319	2.356e0

181.5640	4.051e0

181.5982	1.013e0

181.6253	2.025e0

181.6556	2.025e0

181.6876	1.013e0

181.7267	1.013e0

181.7659	2.025e0

181.7895	2.025e0

181.8882	1.013e0

181.9487	1.013e0

182.0397	3.038e0

182.0676	1.013e0

182.0949	4.051e0

182.1388	1.013e0

182.1744	2.025e0

182.2198	2.025e0

182.3040	1.013e0

182.3503	1.013e0

182.3752	1.013e0

182.4693	1.013e0

182.5440	3.038e0

182.5910	2.025e0

182.6382	2.025e0

182.6845	1.013e0

182.7166	1.013e0

182.7922	1.013e0

182.8251	1.013e0

182.8483	3.038e0

182.8819	1.013e0

182.9122	2.025e0

182.9473	2.920e0

182.9680	2.025e0

183.0172	2.025e0

183.0527	2.025e0

183.1115	1.013e0

183.1293	1.013e0

183.1770	1.013e0

183.2201	2.025e0

183.2664	1.013e0

183.3421	1.013e0

183.4955	3.038e0

183.5331	1.013e0

183.6083	3.038e0

183.6929	2.025e0

183.7883	1.013e0

183.8419	2.025e0

183.8622	2.025e0

183.9027	4.051e0

183.9344	2.025e0

183.9577	1.013e0

184.0075	1.013e0

184.0370	1.013e0

184.1637	4.051e0

184.2027	1.013e0

184.2322	1.013e0

184.2786	1.013e0

184.3214	2.025e0

184.3760	1.013e0

184.4195	2.025e0

184.4373	2.025e0

184.4802	3.038e0

184.5089	1.013e0

184.5384	1.013e0

184.5568	1.013e0

184.6319	1.013e0

184.6624	2.025e0

184.7190	3.038e0

184.7765	1.013e0

184.8051	1.013e0

184.8535	3.038e0

184.8979	2.025e0

184.9497	1.013e0

184.9921	3.038e0

185.0278	2.025e0

185.0926	2.025e0

185.1703	3.088e0

185.2104	1.013e0

185.2677	2.025e0

185.3297	1.013e0

185.3517	1.013e0

185.4053	1.013e0

185.4338	2.025e0

185.4594	1.013e0

185.5054	2.025e0

185.6627	1.013e0

185.6877	1.013e0

185.7360	2.025e0

185.7858	1.013e0

185.8075	1.013e0

185.8577	1.013e0

185.8864	2.025e0

185.9232	2.025e0

185.9511	4.051e0

185.9990	2.025e0

186.0331	2.025e0

186.0809	2.025e0

186.1188	1.013e0

186.1475	1.013e0

186.2003	2.025e0

186.2240	3.038e0

186.2692	2.025e0

186.3313	3.038e0

186.4035	2.025e0

186.4232	1.013e0

186.4589	1.013e0

186.5145	1.013e0

186.5933	2.025e0

186.6525	1.013e0

186.6972	2.025e0

186.7419	1.013e0

186.8261	2.025e0

186.8804	2.025e0

186.9284	1.013e0

187.0312	2.025e0

187.0606	2.025e0

187.0986	1.013e0

187.1166	1.013e0

187.1526	2.025e0

187.1786	1.013e0

187.2501	3.038e0

187.2707	2.025e0

187.3425	1.013e0

187.3918	3.038e0

187.4627	1.013e0

187.5057	2.025e0

187.5451	1.013e0

187.5712	1.013e0

187.5936	1.013e0

187.6295	1.013e0

187.6564	2.025e0

187.6874	2.025e0

187.7245	2.025e0

187.7893	1.013e0

187.8332	2.025e0

187.8700	1.013e0

187.9014	3.038e0

187.9274	2.025e0

187.9940	5.063e0

188.0478	1.013e0

188.1591	4.051e0

188.2267	3.038e0

188.2632	2.025e0

188.3199	3.038e0

188.3621	2.025e0

188.4339	1.013e0

188.4748	2.025e0

188.6280	1.013e0

188.6443	2.025e0

188.6855	1.013e0

188.7118	1.013e0

188.7657	3.038e0

188.8172	1.013e0

188.8397	1.013e0

188.8906	1.013e0

188.9122	1.013e0

188.9452	1.013e0

189.0183	2.025e0

189.0435	2.025e0

189.0806	2.025e0

189.1298	2.025e0

189.1604	2.025e0

189.1994	2.025e0

189.2413	1.013e0

189.2666	1.013e0

189.3032	1.013e0

189.3511	1.013e0

189.3999	3.038e0

189.4444	2.025e0

189.4817	3.613e0

189.5131	2.025e0

189.5481	2.025e0

189.6284	1.013e0

189.7676	1.013e0

189.7903	1.013e0

189.8612	5.063e0

189.9625	3.038e0

190.0247	1.013e0

190.0427	1.013e0

190.0860	1.013e0

190.1306	2.025e0

190.1526	1.013e0

190.2067	1.013e0

190.4006	3.038e0

190.4639	3.038e0

190.4898	1.013e0

190.6287	1.013e0

190.6495	3.038e0

190.6917	2.025e0

190.7935	2.025e0

190.9118	2.025e0

190.9628	4.051e0

191.0293	1.013e0

191.0528	2.025e0

191.1020	1.013e0

191.1292	3.038e0

191.1938	3.038e0

191.2351	1.013e0

191.2830	4.051e0

191.3379	1.013e0

191.4067	1.013e0

191.5197	3.038e0

191.5838	2.025e0

191.6332	2.025e0

191.6651	1.013e0

191.7324	2.025e0

191.7910	3.038e0

191.8205	2.025e0

191.8675	2.025e0

191.8964	2.025e0

191.9386	2.025e0

191.9706	1.013e0

192.0507	1.013e0

192.0953	1.013e0

192.1500	1.013e0

192.2129	1.013e0

192.2848	3.038e0

192.3605	2.025e0

192.4228	2.025e0

192.5151	1.013e0

192.6110	1.013e0

192.6381	2.025e0

192.6848	2.025e0

192.7552	2.025e0

192.8029	1.013e0

192.8463	1.013e0

192.8871	2.378e0

192.9249	6.900e0

192.9805	1.013e0

193.0644	2.025e0

193.1145	2.025e0

193.1492	1.013e0

193.1795	3.038e0

193.2014	2.025e0

193.2321	3.038e0

193.2758	1.013e0

193.3373	1.013e0

193.3811	3.038e0

193.4262	2.025e0

193.5857	1.013e0

193.6255	1.013e0

193.6745	1.013e0

193.7108	1.013e0

193.7843	3.038e0

193.8092	3.038e0

193.8850	1.013e0

193.9666	2.025e0

194.0029	2.025e0

194.0627	1.013e0

194.0827	2.025e0

194.1105	1.013e0

194.1444	1.013e0

194.2068	1.013e0

194.2588	1.013e0

194.3332	2.025e0

194.4053	2.025e0

194.4276	2.025e0

194.4704	5.063e0

194.5625	3.038e0

194.6219	1.013e0

194.6474	1.013e0

194.7019	2.025e0

194.7626	1.013e0

194.8081	3.038e0

194.8579	5.063e0

194.8890	1.013e0

194.9145	1.013e0

194.9482	1.013e0

194.9926	2.025e0

195.0890	1.013e0

195.1316	2.025e0

195.1817	1.013e0

195.2172	3.038e0

195.2653	2.025e0

195.2889	1.013e0

195.3251	2.025e0

195.3563	2.025e0

195.4417	1.013e0

195.4958	2.025e0

195.5455	1.013e0

195.5678	1.013e0

195.6164	1.013e0

195.6382	1.013e0

195.6764	1.013e0

195.7380	3.038e0

195.7992	3.038e0

195.8766	1.013e0

195.9156	2.025e0

195.9913	2.025e0

196.0405	1.013e0

196.0696	2.025e0

196.1316	2.025e0

196.2668	1.013e0

196.3548	2.025e0

196.3757	1.013e0

196.4242	3.038e0

196.4825	2.614e0

196.5086	1.013e0

196.5761	1.013e0

196.6211	2.025e0

196.6835	2.025e0

196.7638	2.025e0

196.8349	2.025e0

196.8897	1.013e0

196.9517	3.038e0

197.0266	1.013e0

197.0751	4.051e0

197.1049	2.025e0

197.1260	2.025e0

197.2253	2.025e0

197.2526	2.025e0

197.2825	2.025e0

197.3111	2.025e0

197.3555	2.025e0

197.3986	2.025e0

197.4917	2.025e0

197.5249	2.025e0

197.5478	3.038e0

197.5975	1.013e0

197.6205	1.013e0

197.6633	2.025e0

197.7363	1.013e0

197.7718	2.025e0

197.8112	1.013e0

197.8597	3.038e0

197.9164	3.038e0

197.9472	2.025e0

197.9911	3.038e0

198.0412	2.025e0

198.1924	1.013e0

198.2670	1.013e0

198.3868	1.013e0

198.4050	1.013e0

198.4580	1.013e0

198.4800	1.013e0

198.5403	1.013e0

198.6409	2.025e0

198.6793	1.013e0

198.7123	1.013e0

198.7407	2.025e0

198.7762	1.013e0

198.8000	2.025e0

198.8404	1.013e0

198.9191	1.013e0

198.9714	2.025e0

198.9978	1.013e0

199.0367	4.051e0

199.0910	1.013e0

199.1436	1.013e0

199.2302	1.013e0

199.2521	1.013e0

199.2933	1.013e0

199.3144	2.025e0

199.3913	1.013e0

199.5451	1.013e0

199.5853	1.013e0

199.6172	4.051e0

199.7283	1.013e0

199.7814	1.013e0

199.8195	3.354e0

199.8602	1.013e0

199.9167	1.013e0

199.9573	3.038e0

199.9958	1.013e0

200.0630	1.013e0

200.1040	1.013e0

200.1572	2.025e0

200.2014	1.013e0

200.2766	1.013e0

200.3040	1.013e0

200.3369	1.013e0

200.3857	3.038e0

200.4085	1.013e0

200.4508	1.013e0

200.6048	1.013e0

200.6213	2.025e0

200.6433	2.025e0

200.7358	3.038e0

200.7956	1.013e0

200.8341	1.013e0

200.8848	2.025e0

200.9083	1.766e0

200.9464	2.025e0

200.9810	1.013e0

201.0165	2.025e0

201.0377	1.013e0

201.0783	1.013e0

201.1352	1.013e0

201.1806	1.013e0

201.2325	1.013e0

201.3158	1.013e0

201.3820	2.025e0

201.4329	1.013e0

201.4668	1.013e0

201.5345	1.013e0

201.7122	1.013e0

201.7415	1.013e0

201.7839	1.013e0

201.8023	2.025e0

201.8214	2.025e0

201.8813	1.013e0

201.9310	1.013e0

201.9530	1.013e0

202.0101	2.025e0

202.0366	2.025e0

202.0562	1.013e0

202.1201	1.013e0

202.1462	1.013e0

202.1759	1.013e0

202.2106	1.013e0

202.2438	1.013e0

202.2860	1.013e0

202.3139	2.025e0

202.3798	2.025e0

202.4222	2.025e0

202.4443	2.025e0

202.4793	1.013e0

202.5032	2.025e0

202.6230	1.013e0

202.7039	2.025e0

202.7471	1.013e0

202.7738	1.013e0

202.8136	2.025e0

202.8925	2.025e0

202.9194	2.025e0

203.0336	3.038e0

203.0667	2.025e0

203.1294	1.013e0

203.1902	1.013e0

203.2123	1.013e0

203.2507	2.025e0

203.3911	1.013e0

203.4150	2.025e0

203.4589	4.966e0

203.5162	1.013e0

203.5724	1.013e0

203.5958	1.013e0

203.6622	2.025e0

203.7544	1.013e0

203.8724	1.013e0

203.8909	1.013e0

203.9334	2.025e0

203.9821	1.013e0

204.0089	1.013e0

204.0663	1.013e0

204.1440	1.924e1

204.1940	2.025e0

204.2341	2.025e0

204.2932	1.013e0

204.3925	1.013e0

204.4114	1.013e0

204.4475	2.025e0

204.4834	1.013e0

204.5294	1.013e0

204.5657	5.063e0

204.6100	4.051e0

204.6958	1.013e0

204.7208	2.025e0

204.7605	1.013e0

204.7994	1.013e0

204.8324	2.025e0

204.8787	1.013e0

204.9118	3.038e0

204.9655	1.013e0

205.0704	3.038e0

205.1182	2.025e0

205.1537	4.051e0

205.1860	2.025e0

205.2267	5.063e0

205.2555	2.025e0

205.3124	1.013e0

205.3906	2.025e0

205.4203	2.025e0

205.4536	2.025e0

205.5388	2.025e0

205.5963	3.038e0

205.6748	6.076e0

205.7616	1.013e0

205.8580	3.038e0

205.9305	3.038e0

205.9642	1.013e0

205.9978	1.013e0

206.0250	1.013e0

206.0789	2.025e0

206.1549	1.033e3

206.2440	3.038e0

206.2930	5.063e0

206.3394	3.038e0

206.3608	2.025e0

206.4064	1.013e0

206.4582	8.574e0

206.5185	2.025e0

206.5765	4.051e0

206.6092	2.025e0

206.6358	3.038e0

206.6703	2.025e0

206.7187	7.389e0

206.7703	4.125e0

206.8241	3.038e0

206.8760	6.845e0

206.9371	2.025e0

206.9724	3.038e0

207.0067	3.038e0

207.0399	3.038e0

207.1604	1.726e2

207.2306	3.038e0

207.3000	5.063e0

207.3851	3.038e0

207.4473	5.063e0

207.5011	2.025e0

207.5244	2.025e0

207.5567	2.025e0

207.6047	2.025e0

207.6646	1.013e0

207.6830	1.013e0

207.7282	4.051e0

207.7789	1.013e0

207.8134	4.051e0

207.8759	5.063e0

207.9326	3.038e0

207.9893	1.013e0

208.0359	1.013e0

208.0617	2.527e0

208.1008	1.013e0

208.1242	3.038e0

208.1648	1.519e1

208.2271	1.013e0

208.2848	2.025e0

208.3106	1.013e0

208.3759	1.013e0

208.3997	3.038e0

208.4348	3.402e0

208.4613	1.013e0

208.5586	4.051e0

208.5877	2.025e0

208.6385	3.038e0

208.6602	1.013e0

208.7253	1.013e0

208.7607	1.013e0

208.8257	1.013e0

208.8516	1.013e0

208.8773	3.038e0

208.9113	2.025e0

208.9448	1.013e0

208.9722	3.038e0

209.0401	2.025e0

209.1056	3.038e0

209.1616	2.025e0

209.1978	1.013e0

209.2264	2.025e0

209.2628	3.038e0

209.3524	1.013e0

209.3764	2.025e0

209.4900	1.013e0

209.5268	2.025e0

209.5477	1.013e0

209.5940	2.025e0

209.6440	2.025e0

209.6781	1.013e0

209.7172	2.025e0

209.7604	2.373e0

209.8022	2.025e0

209.8768	2.025e0

209.9478	3.038e0

209.9863	1.013e0

210.0097	1.013e0

210.0911	4.051e0

210.1364	3.038e0

210.1677	1.013e0

210.1979	2.025e0

210.2295	1.013e0

210.2762	3.038e0

210.3098	1.013e0

210.3410	1.013e0

210.4179	1.013e0

210.4584	3.038e0

210.5102	2.025e0

210.5482	4.051e0

210.6454	1.013e0

210.7052	2.025e0

210.8029	3.038e0

210.8492	1.013e0

210.8861	2.025e0

210.9384	1.013e0

210.9609	1.013e0

211.0151	2.025e0

211.0541	1.013e0

211.0933	1.013e0

211.1408	2.025e0

211.1969	1.013e0

211.2314	1.013e0

211.2818	1.013e0

211.3087	1.013e0

211.3828	1.013e0

211.4331	1.013e0

211.4518	1.013e0

211.5171	1.013e0

211.6106	1.013e0

211.6722	1.013e0

211.6985	1.013e0

211.7191	1.013e0

211.7549	2.025e0

211.7825	2.025e0

211.8148	1.013e0

211.8348	1.013e0

211.9311	1.013e0

211.9971	2.025e0

212.0272	1.013e0

212.1134	1.013e0

212.2156	2.025e0

212.2367	1.013e0

212.2705	3.038e0

212.3377	1.013e0

212.3649	2.025e0

212.4032	1.013e0

212.5154	2.025e0

212.5387	2.025e0

212.6277	2.025e0

212.6508	1.013e0

212.7092	2.025e0

212.8392	2.025e0

212.8880	2.025e0

212.9760	1.013e0

213.0114	1.013e0

213.0582	1.013e0

213.1026	3.038e0

213.1331	2.025e0

213.1854	2.025e0

213.2174	1.013e0

213.2944	2.025e0

213.3256	2.025e0

213.4075	2.025e0

213.4440	2.025e0

213.4984	2.025e0

213.5385	2.025e0

213.6266	2.025e0

213.6863	1.013e0

213.7232	2.025e0

213.7832	1.013e0

213.8189	1.013e0

213.8537	1.013e0

213.9091	3.038e0

214.0253	1.013e0

214.0753	2.025e0

214.1020	1.013e0

214.1547	4.051e0

214.2154	2.025e0

214.2428	1.013e0

214.2728	1.013e0

214.2935	1.013e0

214.4322	1.013e0

214.4604	2.025e0

214.5113	4.051e0

214.5959	1.013e0

214.6162	1.013e0

214.7233	2.025e0

214.7758	2.025e0

214.8228	2.025e0

214.8507	2.025e0

214.9032	2.025e0

214.9577	1.013e0

215.0167	2.025e0

215.0894	3.038e0

215.1382	1.013e0

215.1929	1.013e0

215.2299	3.038e0

215.2622	1.013e0

215.3092	2.025e0

215.3867	1.013e0

215.4456	2.025e0

215.4764	1.013e0

215.4962	1.013e0

215.5507	2.025e0

215.5797	2.025e0

215.7154	1.013e0

215.7377	1.013e0

215.8355	1.013e0

215.8788	2.025e0

215.8975	1.013e0

215.9991	1.013e0

216.0242	3.038e0

216.0797	3.038e0

216.1186	2.025e0

216.1630	2.025e0

216.2438	2.025e0

216.2729	2.025e0

216.3077	1.013e0

216.3824	3.196e0

216.4131	1.013e0

216.4565	2.025e0

216.5340	2.025e0

216.6071	2.025e0

216.6283	2.025e0

216.6791	1.013e0

216.7692	2.025e0

216.8236	2.025e0

216.9460	1.013e0

217.0120	1.013e0

217.0859	1.013e0

217.1063	1.013e0

217.1655	3.038e0

217.1962	1.013e0

217.2344	1.013e0

217.2777	1.013e0

217.3533	1.013e0

217.4229	1.013e0

217.5322	2.025e0

217.5663	2.025e0

217.5912	1.013e0

217.6729	3.038e0

217.7301	2.025e0

217.8665	4.051e0

217.9336	4.051e0

217.9867	1.013e0

218.0283	2.025e0

218.1284	2.025e0

218.1774	2.025e0

218.2209	2.025e0

218.3682	1.013e0

218.3914	1.013e0

218.4116	1.013e0

218.4980	1.013e0

218.5364	1.013e0

218.7176	1.013e0

218.7429	2.025e0

218.7947	3.038e0

218.8309	1.013e0

218.8593	1.013e0

218.9065	1.013e0

219.1182	3.038e0

219.1854	2.025e0

219.2187	2.025e0

219.2637	1.013e0

219.2837	2.025e0

219.3657	1.013e0

219.4018	1.013e0

219.4926	1.013e0

219.5363	1.013e0

219.5872	1.013e0

219.6266	1.013e0

219.6496	2.025e0

219.6931	1.013e0

219.7316	3.038e0

219.7777	2.025e0

219.8132	3.038e0

219.8390	4.051e0

219.8786	1.013e0

220.0468	1.013e0

220.0973	2.023e0

220.1190	2.025e0

220.1952	2.025e0

220.2611	2.025e0

220.2856	2.025e0

220.3670	1.013e0

220.3843	2.025e0

220.4087	3.038e0

220.4617	1.013e0

220.4978	1.013e0

220.5822	3.038e0

220.6114	1.013e0

220.7646	1.013e0

220.8290	1.013e0

220.8807	3.038e0

221.0016	1.013e0

221.0303	1.013e0

221.0890	1.013e0

221.1214	1.013e0

221.1879	2.025e0

221.2237	2.025e0

221.3110	1.013e0

221.3399	2.025e0

221.3622	2.025e0

221.3855	2.025e0

221.4552	2.025e0

221.5007	1.013e0

221.5694	3.038e0

221.6068	1.013e0

221.6627	2.025e0

221.7216	1.013e0

221.7510	2.025e0

221.7888	3.038e0

221.8253	1.013e0

221.8556	1.013e0

221.9314	1.013e0

222.1232	2.025e0

222.1453	1.013e0

222.1929	2.025e0

222.2275	1.013e0

222.2486	2.025e0

222.3036	1.013e0

222.3271	1.013e0

222.3678	2.025e0

222.3948	2.025e0

222.4267	1.013e0

222.4499	1.013e0

222.4823	1.013e0

222.5138	2.025e0

222.5734	2.025e0

222.6061	4.051e0

222.6285	2.025e0

222.6817	2.025e0

222.7006	4.051e0

222.7274	1.013e0

222.7767	2.025e0

222.8977	2.025e0

222.9461	1.013e0

223.0252	2.025e0

223.1511	2.025e0

223.1845	4.852e0

223.2510	1.013e0

223.2945	1.013e0

223.3510	1.013e0

223.3750	3.038e0

223.4292	1.013e0

223.5206	1.013e0

223.5557	4.051e0

223.6955	1.013e0

223.7280	1.013e0

223.9221	2.025e0

223.9908	1.013e0

224.0135	1.013e0

224.0517	2.025e0

224.1299	1.013e0

224.1776	2.042e0

224.4286	2.025e0

224.4912	3.038e0

224.5583	1.013e0

224.5797	1.013e0

224.6147	1.013e0

224.7244	2.025e0

224.7458	1.013e0

224.8121	4.051e0

224.8891	3.038e0

224.9295	1.013e0

224.9587	2.025e0

224.9971	1.013e0

225.0213	1.013e0

225.1614	1.013e0

225.2457	3.038e0

225.3265	2.025e0

225.4116	3.038e0

225.4397	1.013e0

225.5388	1.013e0

225.6390	1.013e0

225.6739	3.038e0

225.7145	1.013e0

225.8145	1.013e0

225.8426	1.013e0

225.8940	1.013e0

225.9342	2.025e0

225.9857	1.013e0

226.0221	1.013e0

226.0472	1.013e0

226.1243	1.316e1

226.2417	2.025e0

226.2743	1.013e0

226.3259	1.013e0

226.3660	1.013e0

226.3920	2.025e0

226.4197	2.025e0

226.4484	2.025e0

226.5036	2.025e0

226.5495	1.013e0

226.5897	2.025e0

226.6186	1.013e0

226.6738	2.025e0

226.7102	2.025e0

226.7377	1.013e0

226.8214	2.274e0

226.8536	1.013e0

226.9100	2.025e0

226.9536	1.013e0

227.0584	1.013e0

227.0903	2.025e0

227.1224	3.510e0

227.1741	1.013e0

227.2055	1.013e0

227.2306	1.013e0

227.2579	1.013e0

227.3300	1.013e0

227.3778	2.025e0

227.4123	2.025e0

227.4564	3.038e0

227.4877	3.038e0

227.5229	1.013e0

227.5854	4.051e0

227.6443	3.038e0

227.6864	1.013e0

227.9183	3.038e0

227.9517	1.013e0

227.9861	2.025e0

228.0118	1.013e0

228.0784	4.051e0

228.1386	1.048e2

228.1843	1.013e0

228.2269	4.051e0

228.2524	2.025e0

228.2743	2.025e0

228.3127	2.025e0

228.4084	1.013e0

228.4563	3.038e0

228.4962	3.038e0

228.5331	1.013e0

228.5620	1.013e0

228.5979	2.025e0

228.6680	3.038e0

228.7595	2.351e0

228.7900	1.013e0

228.8190	1.013e0

228.8688	4.051e0

228.9185	1.013e0

228.9550	2.025e0

228.9945	3.038e0

229.0958	1.013e0

229.1446	2.532e1

229.2336	1.013e0

229.2973	3.038e0

229.3698	3.038e0

229.4000	2.025e0

229.6156	2.025e0

229.6519	1.013e0

229.6831	1.013e0

229.7039	1.013e0

229.7519	2.025e0

229.8078	1.013e0

229.8512	2.025e0

229.8950	3.038e0

230.0112	2.025e0

230.1136	2.025e0

230.1630	2.025e0

230.1999	1.013e0

230.2761	1.013e0

230.2958	1.013e0

230.3627	2.025e0

230.3821	2.025e0

230.4245	1.013e0

230.4891	3.038e0

230.6086	3.038e0

230.6816	2.025e0

230.8103	2.025e0

230.8481	1.013e0

230.8840	1.013e0

230.9056	1.013e0

230.9978	3.038e0

231.0270	1.013e0

231.0863	1.013e0

231.1962	1.013e0

231.2404	1.013e0

231.2727	2.025e0

231.3176	1.013e0

231.3732	1.013e0

231.4151	3.038e0

231.4578	1.013e0

231.4907	2.025e0

231.5678	1.013e0

231.6436	2.025e0

231.7623	1.013e0

231.7982	1.013e0

231.8474	1.013e0

231.8790	1.013e0

231.9030	1.013e0

231.9857	2.025e0

232.0093	2.025e0

232.0385	3.038e0

232.0767	1.013e0

232.1439	2.025e0

232.1711	1.013e0

232.2230	2.025e0

232.2790	1.013e0

232.3001	1.013e0

232.3535	3.038e0

232.4216	1.013e0

232.4815	1.013e0

232.5164	3.038e0

232.6099	5.489e0

232.6760	2.025e0

232.7014	2.025e0

232.8103	2.025e0

232.8381	2.025e0

232.8930	2.025e0

232.9409	1.013e0

233.0219	2.025e0

233.0940	2.025e0

233.1266	2.025e0

233.2028	2.025e0

233.2726	2.025e0

233.3424	1.013e0

233.3904	2.025e0

233.4235	1.013e0

233.5069	3.864e0

233.5451	1.013e0

233.6262	1.013e0

233.6649	2.025e0

233.6860	1.013e0

233.7357	1.013e0

233.8171	1.013e0

233.8865	3.612e0

233.9169	3.038e0

234.0072	1.013e0

234.0357	1.013e0

234.0887	1.013e0

234.1646	2.025e0

234.2214	3.038e0

234.2575	3.628e0

234.3046	1.013e0

234.4120	3.038e0

234.4873	2.025e0

234.5321	2.025e0

234.5812	1.013e0

234.6237	2.025e0

234.6447	2.385e0

234.6992	2.025e0

234.7361	2.025e0

234.7805	2.025e0

234.8176	5.063e0

234.8910	1.013e0

234.9430	1.013e0

234.9759	1.013e0

235.0306	4.051e0

235.0731	2.025e0

235.0975	4.051e0

235.1673	1.921e1

235.2198	1.013e0

235.2567	4.051e0

235.3633	1.013e0

235.4135	2.025e0

235.4642	1.013e0

235.5628	2.025e0

235.5996	1.013e0

235.6327	1.013e0

235.6790	3.038e0

235.7830	1.013e0

235.8068	1.013e0

235.8691	1.013e0

235.8880	1.013e0

235.9174	1.013e0

235.9745	1.013e0

235.9949	1.013e0

236.0242	1.013e0

236.1296	1.013e0

236.1576	1.013e0

236.1982	1.013e0

236.2335	2.025e0

236.3201	2.025e0

236.3468	3.038e0

236.4235	2.025e0

236.4650	4.051e0

236.5055	4.051e0

236.5542	1.013e0

236.5952	2.025e0

236.6304	2.025e0

236.6685	1.013e0

236.6970	1.013e0

236.7416	1.013e0

236.7726	2.025e0

236.8057	2.025e0

236.8446	1.013e0

236.8853	2.025e0

236.9222	1.013e0

236.9591	3.038e0

237.0698	1.013e0

237.1182	1.013e0

237.1917	4.051e0

237.2290	2.025e0

237.2901	4.051e0

237.3862	2.025e0

237.4743	1.013e0

237.5008	2.025e0

237.5246	1.013e0

237.5709	2.025e0

237.6174	1.013e0

237.6544	1.013e0

237.6998	2.025e0

237.7541	3.038e0

237.8551	1.013e0

237.8965	2.025e0

237.9168	2.025e0

237.9783	2.025e0

238.0159	1.013e0

238.0685	1.013e0

238.1016	1.013e0

238.1540	3.038e0

238.1907	1.013e0

238.2163	2.025e0

238.2880	2.025e0

238.3106	2.025e0

238.3680	1.013e0

238.4149	2.025e0

238.4694	2.025e0

238.5033	1.013e0

238.5567	1.013e0

238.6512	3.038e0

238.6919	2.025e0

238.7750	1.013e0

238.8253	3.038e0

238.8603	1.013e0

238.9178	2.025e0

238.9527	3.038e0

238.9978	4.051e0

239.0583	3.038e0

239.1082	2.025e0

239.1354	2.025e0

239.1678	1.013e0

239.2419	1.013e0

239.2807	2.025e0

239.3159	1.013e0

239.3415	2.025e0

239.4232	1.013e0

239.4910	2.025e0

239.5131	1.013e0

239.5547	2.025e0

239.5826	1.013e0

239.6351	2.025e0

239.7026	1.013e0

239.7442	1.013e0

239.7729	2.510e0

239.8182	1.013e0

239.8382	1.013e0

239.8830	1.013e0

239.9541	3.038e0

239.9902	1.013e0

240.0487	2.025e0

240.1307	2.025e0

240.1792	1.013e0

240.2125	2.025e0

240.2541	2.025e0

240.2950	1.013e0

240.3512	2.025e0

240.4311	1.013e0

240.5491	2.025e0

240.6241	1.013e0

240.6609	3.038e0

240.7122	1.013e0

240.7830	2.025e0

240.8389	1.013e0

240.8682	2.025e0

240.9211	1.013e0

240.9629	1.013e0

241.0577	1.013e0

241.0986	1.013e0

241.1319	1.013e0

241.1690	1.013e0

241.2277	1.013e0

241.2673	2.025e0

241.3038	2.025e0

241.3393	1.013e0

241.4472	2.025e0

241.4843	2.025e0

241.6142	1.013e0

241.8179	1.013e0

241.8740	4.051e0

241.9468	3.038e0

241.9759	2.025e0

242.0484	1.013e0

242.1972	2.025e0

242.2885	4.051e0

242.4493	1.013e0

242.4788	2.025e0

242.5596	2.025e0

242.5884	2.025e0

242.7352	1.013e0

242.7723	1.013e0

242.8075	2.025e0

242.8876	1.013e0

242.9209	1.013e0

242.9718	1.013e0

243.0130	2.025e0

243.0466	1.013e0

243.1307	2.025e0

243.1769	2.025e0

243.2853	1.013e0

243.3127	2.025e0

243.3481	2.025e0

243.4110	1.013e0

243.4552	3.038e0

243.5078	2.025e0

243.5654	2.025e0

243.6180	1.013e0

243.6790	1.013e0

243.7127	2.025e0

243.7625	3.038e0

243.8010	1.013e0

243.8508	3.038e0

243.8789	3.038e0

243.9499	1.013e0

243.9744	3.038e0

244.0320	2.025e0

244.1148	7.667e1

244.1712	6.076e0

244.2444	2.025e0

244.2833	4.051e0

244.3965	4.051e0

244.4520	1.013e0

244.4727	1.013e0

244.5186	3.038e0

244.5411	2.025e0

244.5809	1.013e0

244.6091	2.025e0

244.6421	1.013e0

244.6789	4.051e0

244.7404	2.025e0

244.7719	1.013e0

244.8053	1.013e0

244.8397	3.038e0

244.8963	1.013e0

244.9440	1.644e0

244.9783	3.038e0

245.0194	2.025e0

245.1192	1.280e1

245.2166	2.025e0

245.2687	2.025e0

245.3117	1.013e0

245.3451	2.025e0

245.3861	4.051e0

245.4291	1.013e0

245.4494	1.013e0

245.5216	3.038e0

245.5990	2.025e0

245.6793	1.013e0

245.7079	2.025e0

245.7543	1.013e0

245.8031	1.013e0

245.8465	3.038e0

245.8825	2.025e0

245.9250	1.013e0

245.9865	2.025e0

246.0634	3.453e0

246.1046	3.038e0

246.1395	4.051e0

246.1973	2.025e0

246.2201	1.013e0

246.2870	1.013e0

246.3082	1.013e0

246.3478	2.025e0

246.4065	4.051e0

246.4703	3.038e0

246.5740	1.013e0

246.6581	2.025e0

246.7119	1.013e0

246.7827	1.013e0

246.8105	2.025e0

246.8683	3.038e0

246.9541	1.013e0

247.0430	1.013e0

247.1829	5.528e1

247.2371	1.114e1

247.3111	5.063e0

247.4182	1.013e0

247.4493	2.025e0

247.4999	2.025e0

247.5504	2.025e0

247.5766	1.013e0

247.6140	1.013e0

247.6559	1.013e0

247.6811	1.013e0

247.7536	2.025e0

247.8320	2.025e0

247.8653	1.013e0

247.9367	1.013e0

247.9653	1.013e0

247.9986	1.013e0

248.0425	2.025e0

248.0813	2.025e0

248.1228	3.038e0

248.1806	1.418e1

248.2103	3.313e0

248.2464	1.013e0

248.2964	1.013e0

248.3417	1.013e0

248.4451	3.038e0

248.5313	1.013e0

248.5839	2.025e0

248.6184	2.025e0

248.6694	1.013e0

248.6993	1.013e0

248.7329	1.013e0

248.8114	1.013e0

248.8488	1.013e0

248.9418	1.013e0

248.9793	1.013e0

249.0387	2.025e0

249.0878	1.013e0

249.1511	5.063e0

249.1990	7.696e1

249.2854	3.038e0

249.3178	3.038e0

249.4275	2.025e0

249.4534	2.025e0

249.5028	1.013e0

249.5284	1.013e0

249.5994	2.025e0

249.6302	3.038e0

249.6752	1.013e0

249.7300	1.013e0

249.7711	1.013e0

249.8347	2.025e0

249.8646	3.983e0

249.9205	2.025e0

249.9725	4.051e0

250.0997	1.013e0

250.2020	1.013e1

250.2550	2.025e0

250.3429	1.013e0

250.3986	1.013e0

250.4235	2.025e0

250.4697	1.013e0

250.5110	1.013e0

250.5428	2.025e0

250.5821	1.013e0

250.6157	1.013e0

250.6754	2.025e0

250.7237	3.038e0

250.8658	1.013e0

250.9572	1.013e0

251.0195	5.063e0

251.0582	3.500e0

251.0894	2.576e0

251.1352	1.013e0

251.1803	4.051e0

251.2119	1.722e1

251.2476	1.013e0

251.3486	1.013e0

251.3859	3.038e0

251.4225	2.025e0

251.4794	1.013e0

251.5843	1.013e0

251.6564	6.076e0

251.7055	3.269e0

251.7367	3.038e0

251.8228	2.025e0

251.8866	3.038e0

251.9309	1.013e0

251.9846	1.013e0

252.0396	2.025e0

252.1268	3.038e0

252.1908	1.013e1

252.2457	4.051e0

252.3259	3.038e0

252.3756	2.025e0

252.4036	1.013e0

252.4631	3.038e0

252.5461	1.013e0

252.6115	2.025e0

252.6395	2.025e0

252.6772	1.013e0

252.7191	1.013e0

252.7725	2.025e0

252.8082	1.013e0

252.8461	2.025e0

252.9296	2.025e0

252.9932	3.038e0

253.0167	3.038e0

253.0493	2.025e0

253.0863	2.422e0

253.1105	5.342e0

253.1740	2.238e2

253.2741	4.051e0

253.3325	1.013e0

253.3586	2.025e0

253.3981	2.025e0

253.4655	2.025e0

253.5315	3.038e0

253.6162	1.013e0

253.6623	2.025e0

253.7016	2.025e0

253.7426	1.013e0

253.7744	2.025e0

253.8233	1.013e0

253.8738	1.013e0

253.9328	5.063e0

253.9929	2.025e0

254.0896	2.025e0

254.1794	4.253e1

254.2507	1.013e0

254.2932	2.025e0

254.3144	1.013e0

254.3835	4.051e0

254.4119	2.025e0

254.4834	1.013e0

254.5855	2.025e0

254.6488	2.025e0

254.7168	4.366e0

254.7995	3.038e0

254.8714	2.025e0

254.9198	5.063e0

255.0049	2.025e0

255.0679	3.171e0

255.0960	2.788e0

255.1453	2.025e0

255.1745	3.564e0

255.2037	4.617e0

255.2601	3.038e0

255.3132	3.038e0

255.3734	4.051e0

255.4147	2.025e0

255.4588	1.013e0

255.5226	1.013e0

255.5448	1.013e0

255.5864	1.013e0

255.6292	1.013e0

255.7101	1.013e0

255.7442	4.051e0

255.7850	2.025e0

255.8494	1.013e0

255.9913	1.013e0

256.0224	2.290e0

256.0629	1.013e0

256.0968	1.013e0

256.1551	2.025e0

256.2213	1.322e0

256.2922	1.013e0

256.3924	4.051e0

256.4402	3.038e0

256.4716	2.025e0

256.4986	2.025e0

256.5736	1.013e0

256.5943	1.013e0

256.6714	2.025e0

256.7352	1.013e0

256.7563	1.013e0

256.8011	2.025e0

256.8636	3.038e0

256.9569	1.013e0

256.9985	1.013e0

257.0363	1.013e0

257.0661	1.013e0

257.1038	2.025e0

257.1568	1.620e1

257.2963	7.089e0

257.3504	3.038e0

257.3855	1.013e0

257.4342	1.013e0

257.4543	1.013e0

257.4937	1.013e0

257.5134	1.013e0

257.5479	1.013e0

257.6603	3.038e0

257.6994	2.025e0

257.7276	1.013e0

257.8385	1.013e0

257.8989	2.025e0

257.9541	4.051e0

258.0057	1.013e0

258.0646	3.038e0

258.1294	1.013e0

258.2503	1.782e0

258.3217	1.013e0

258.3613	2.025e0

258.4107	2.025e0

258.4362	2.025e0

258.5043	2.025e0

258.5573	2.025e0

258.6076	1.013e0

258.6855	2.025e0

258.7653	2.025e0

258.8183	3.038e0

258.8546	2.025e0

258.9098	1.013e0

258.9973	2.025e0

259.0537	2.025e0

259.1393	2.025e0

259.2661	1.013e0

259.3303	1.013e0

259.3553	1.013e0

259.4098	1.013e0

259.4445	1.013e0

259.4698	1.013e0

259.5486	1.013e0

259.5715	2.025e0

259.6697	2.025e0

259.7314	2.025e0

259.8311	1.013e0

259.8949	4.051e0

259.9905	3.038e0

260.0778	4.051e0

260.1672	1.350e1

260.2974	2.639e0

260.3296	2.025e0

260.5244	2.025e0

260.5665	1.013e0

260.5984	2.025e0

260.6262	1.013e0

260.7260	2.025e0

260.8109	1.013e0

260.8334	1.013e0

260.8888	2.025e0

260.9540	1.013e0

260.9796	1.013e0

261.0482	1.013e0

261.1042	1.013e0

261.1687	3.038e0

261.2024	2.197e0

261.2431	1.924e0

261.2797	2.025e0

261.3363	2.025e0

261.4255	1.013e0

261.5031	1.013e0

261.6667	2.025e0

261.7250	2.025e0

261.7610	1.013e0

261.8775	1.013e0

261.9421	1.013e0

262.0874	1.013e0

262.1417	3.038e0

262.1874	1.013e0

262.2375	1.013e0

262.2725	1.013e0

262.3198	3.038e0

262.3575	1.013e0

262.6058	2.025e0

262.7381	1.013e0

262.7648	2.025e0

262.8026	1.013e0

262.8483	1.013e0

262.8784	2.025e0

262.9047	2.025e0

262.9486	1.013e0

262.9991	2.025e0

263.0480	1.013e0

263.0898	1.013e0

263.1342	1.013e0

263.1775	3.071e0

263.2141	4.051e0

263.2797	1.013e0

263.3050	1.013e0

263.3471	2.025e0

263.4102	1.013e0

263.4956	1.013e0

263.5353	1.013e0

263.6865	1.013e0

263.7091	2.025e0

263.8080	3.038e0

263.8563	3.038e0

263.8927	1.013e0

263.9285	2.025e0

263.9814	3.038e0

264.0304	2.025e0

264.1136	3.038e0

264.1879	2.268e0

264.2181	2.025e0

264.2603	3.038e0

264.3882	3.038e0

264.4461	1.013e0

264.5020	1.013e0

264.5222	1.013e0

264.5747	1.013e0

264.6276	1.013e0

264.7260	1.013e0

264.7562	1.013e0

264.8298	1.013e0

264.8904	2.025e0

264.9566	2.025e0

265.0246	1.013e0

265.0559	3.038e0

265.1496	1.013e0

265.1943	4.342e0

265.2310	1.735e1

265.2900	3.038e0

265.3449	1.013e0

265.4030	2.025e0

265.4416	3.038e0

265.5128	1.013e0

265.5431	2.025e0

265.5676	2.025e0

265.7039	1.013e0

265.7343	1.013e0

265.8155	1.013e0

265.8507	2.025e0

265.9115	1.013e0

265.9773	1.013e0

266.0170	4.135e0

266.0989	1.013e0

266.1666	3.038e0

266.2095	4.051e0

266.3067	1.013e0

266.4428	4.051e0

266.5048	3.038e0

266.5995	5.664e0

266.6403	2.025e0

266.6899	2.025e0

266.7533	1.013e0

266.8051	2.025e0

266.8447	1.013e0

266.8650	1.013e0

266.9174	1.013e0

266.9665	1.013e0

267.0176	3.038e0

267.0734	1.013e0

267.1507	3.513e1

267.2153	2.025e0

267.2393	2.025e0

267.2864	4.051e0

267.3162	3.038e0

267.3719	3.038e0

267.5328	3.038e0

267.5605	2.025e0

267.6143	2.025e0

267.6600	1.013e0

267.7168	2.025e0

267.7586	2.025e0

267.8236	2.025e0

267.8564	3.038e0

267.9254	2.025e0

267.9760	4.420e0

268.0058	3.038e0

268.0429	1.013e0

268.0888	2.025e0

268.1493	7.808e0

268.1791	5.357e0

268.2233	3.038e0

268.3083	1.013e0

268.3612	1.013e0

268.4485	1.013e0

268.5052	1.013e0

268.5587	2.025e0

268.6042	1.013e0

268.6715	6.928e0

268.7528	9.114e0

268.8418	5.063e0

268.9037	5.261e0

268.9449	1.094e1

269.0048	5.063e0

269.0309	4.051e0

269.0714	8.042e0

269.1636	2.177e3

269.2820	1.392e1

269.3358	2.487e1

269.4009	5.063e0

269.4404	1.186e1

269.4862	7.089e0

269.5581	7.089e0

269.6051	7.025e0

269.6416	4.051e0

269.6680	5.063e0

269.7216	6.076e0

269.7651	8.101e0

269.8205	3.038e0

269.9160	1.722e1

269.9663	8.101e0

270.0607	6.397e0

270.1692	4.553e2

270.2818	3.038e0

270.3421	4.484e0

270.3950	1.114e1

270.4612	6.076e0

270.5027	6.076e0

270.5382	2.025e0

270.5976	2.025e0

270.6451	3.038e0

270.6878	3.038e0

270.7553	8.101e0

270.7902	3.038e0

270.8380	4.051e0

270.8811	8.279e0

270.9390	1.013e0

270.9748	3.038e0

271.0471	4.051e0

271.0911	1.013e0

271.1683	4.320e1

271.2449	3.038e0

271.2977	4.051e0

271.3414	3.038e0

271.4005	3.038e0

271.4673	3.038e0

271.5870	3.038e0

271.6308	1.013e0

271.6754	3.038e0

271.7354	2.025e0

271.7794	3.038e0

271.8551	3.038e0

271.9198	2.025e0

271.9616	2.025e0

272.0418	3.038e0

272.1102	4.051e0

272.1688	5.063e0

272.2964	1.013e0

272.3739	3.038e0

272.4064	3.038e0

272.4847	2.025e0

272.5457	2.025e0

272.6731	1.013e0

272.6959	1.013e0

272.8025	2.025e0

272.8577	2.025e0

272.9325	2.025e0

273.0064	2.025e0

273.0924	2.025e0

273.1580	4.051e0

273.2151	2.050e0

273.2562	1.013e0

273.2925	1.013e0

273.3392	1.013e0

273.3771	4.051e0

273.4612	2.025e0

273.5030	1.013e0

273.5390	3.038e0

273.6232	2.025e0

273.6680	2.025e0

273.7205	2.025e0

273.8014	2.025e0

273.8575	2.025e0

273.8897	1.013e0

273.9209	1.013e0

273.9915	3.196e0

274.1009	1.013e0

274.1405	2.025e0

274.1949	5.063e0

274.2369	2.025e0

274.2953	1.013e0

274.3270	2.025e0

274.4090	3.038e0

274.4516	1.013e0

274.5101	2.025e0

274.5887	2.025e0

274.6930	2.025e0

274.7955	1.013e0

274.9890	1.013e0

275.0119	1.013e0

275.0497	3.038e0

275.1030	2.025e0

275.1647	2.025e0

275.2024	2.025e0

275.2755	1.013e0

275.3343	2.025e0

275.4123	3.038e0

275.4530	1.013e0

275.5190	1.013e0

275.5822	2.025e0

275.6374	1.013e0

275.6982	2.025e0

275.7613	4.732e0

275.8428	2.025e0

275.8974	1.013e0

275.9236	1.013e0

275.9845	3.038e0

276.0387	1.013e0

276.1066	1.013e0

276.1562	2.025e0

276.1962	2.025e0

276.2248	1.013e0

276.2751	3.038e0

276.3127	4.051e0

276.4233	1.013e0

276.4709	4.051e0

276.5511	2.025e0

276.6004	2.025e0

276.6351	2.025e0

276.7267	2.025e0

276.8126	1.013e0

276.9926	4.051e0

277.0379	1.013e0

277.1110	3.038e0

277.1541	5.063e0

277.3053	2.025e0

277.3702	1.013e0

277.4007	1.013e0

277.4236	1.013e0

277.4762	1.013e0

277.4999	2.025e0

277.6301	1.013e0

277.6567	2.025e0

277.7224	3.038e0

277.7866	1.013e0

277.8399	2.025e0

277.8860	2.025e0

277.9585	2.025e0

277.9929	3.038e0

278.0348	2.025e0

278.0924	2.025e0

278.1574	2.025e0

278.1866	2.025e0

278.3292	2.025e0

278.4364	1.013e0

278.4716	1.013e0

278.5510	1.013e0

278.7458	2.025e0

278.7830	1.013e0

278.8305	1.013e0

278.9784	1.013e0

279.0048	1.013e0

279.0854	4.051e0

279.1514	1.013e0

279.2009	6.076e0

279.2602	2.025e0

279.3643	1.013e0

279.4078	1.013e0

279.4437	1.013e0

279.5991	1.013e0

279.7329	1.013e0

279.8037	1.013e0

279.9203	1.013e0

279.9468	1.013e0

279.9998	1.013e0

280.0751	2.025e0

280.1157	1.013e0

280.2437	1.013e0

280.2990	3.038e0

280.3645	1.013e0

280.4107	2.025e0

280.4931	1.013e0

280.5369	1.013e0

280.5905	1.013e0

280.6312	1.013e0

280.6709	1.013e0

280.7284	2.025e0

280.7693	1.013e0

280.8605	2.025e0

281.0348	5.063e0

281.0789	2.025e0

281.1151	1.013e0

281.1382	1.013e0

281.1787	1.013e0

281.3109	2.025e0

281.3528	2.025e0

281.4906	1.013e0

281.5905	4.051e0

281.6777	2.025e0

281.7053	2.025e0

281.7436	1.013e0

281.8018	2.025e0

281.8892	2.025e0

282.0119	2.025e0

282.0810	2.025e0

282.1729	1.013e0

282.2305	2.025e0

282.2842	1.013e0

282.3247	1.013e0

282.3649	2.025e0

282.3995	1.013e0

282.4636	1.013e0

282.4951	1.013e0

282.5565	1.013e0

282.6079	4.051e0

282.6638	1.013e0

282.7137	2.025e0

282.8211	2.025e0

282.9243	2.025e0

283.0058	3.038e0

283.0797	2.025e0

283.1446	2.025e0

283.2278	1.013e0

283.2624	1.013e0

283.3034	1.013e0

283.3387	2.233e0

283.4197	2.025e0

283.5124	1.013e0

283.5617	1.013e0

283.6787	2.025e0

283.7498	1.013e0

283.8609	4.051e0

283.9608	1.013e0

284.0467	4.051e0

284.0810	1.013e0

284.1519	3.038e0

284.1938	1.013e0

284.2769	3.038e0

284.3411	1.013e0

284.4639	3.038e0

284.5523	1.013e0

284.6082	3.038e0

284.6712	4.051e0

284.7140	3.038e0

284.8067	1.013e0

284.8659	2.025e0

285.0152	2.025e0

285.0403	2.025e0

285.1015	3.865e0

285.1392	1.438e1

285.2339	4.051e0

285.3001	4.051e0

285.3672	6.043e0

285.4453	3.038e0

285.5016	1.013e0

285.5340	1.013e0

285.5702	2.025e0

285.6283	1.013e0

285.7109	2.025e0

285.7590	1.013e0

285.8159	3.038e0

285.8672	2.228e0

285.9186	2.025e0

285.9550	1.013e0

286.0090	1.013e0

286.0360	1.013e0

286.0860	2.025e0

286.1391	4.051e0

286.2167	1.013e0

286.2590	2.025e0

286.3012	1.013e0

286.3819	1.013e0

286.4198	1.013e0

286.4548	4.051e0

286.5937	1.013e0

286.6514	2.025e0

286.7168	1.013e0

286.8535	2.025e0

286.9130	1.013e0

286.9593	2.025e0

286.9984	4.051e0

287.0754	3.038e0

287.1345	1.013e0

287.1759	3.038e0

287.2120	3.038e0

287.2423	3.038e0

287.2786	1.013e0

287.3505	3.038e0

287.4422	2.025e0

287.5308	2.025e0

287.6371	5.063e0

287.6984	1.013e0

287.7368	1.013e0

287.7823	3.038e0

287.9377	2.025e0

287.9930	2.025e0

288.0219	1.013e0

288.0840	4.051e0

288.1567	1.013e0

288.2028	1.013e0

288.2403	2.025e0

288.3069	1.013e0

288.3686	1.013e0

288.4234	2.025e0

288.4524	2.025e0

288.5289	2.025e0

288.6811	3.038e0

288.7648	2.025e0

288.8116	1.013e0

288.8656	1.013e0

288.9208	2.025e0

288.9928	1.013e0

289.0237	3.038e0

289.0641	2.025e0

289.1318	2.171e1

289.2198	4.051e0

289.2520	2.025e0

289.3319	1.013e0

289.3596	3.038e0

289.5132	2.025e0

289.5671	2.025e0

289.6199	3.038e0

289.6649	1.013e0

289.7061	2.025e0

289.7425	2.025e0

289.7813	2.025e0

289.8660	3.038e0

289.9054	1.013e0

289.9492	1.013e0

289.9723	1.013e0

290.0957	1.013e0

290.1243	2.025e0

290.1898	2.025e0

290.2148	2.025e0

290.3212	1.013e0

290.3580	2.025e0

290.4662	3.038e0

290.5347	1.013e0

290.6514	1.013e0

290.7328	2.466e0

290.7787	1.013e0

290.8393	2.025e0

290.9185	5.063e0

290.9744	2.609e0

291.0221	2.025e0

291.0720	1.013e0

291.1516	4.051e0

291.2001	3.038e0

291.2493	4.051e0

291.3017	2.025e0

291.3629	1.013e0

291.3925	2.025e0

291.4749	2.025e0

291.5586	1.013e0

291.6211	1.013e0

291.6899	1.013e0

291.7943	1.013e0

291.8251	1.013e0

291.8575	1.013e0

291.9070	1.013e0

291.9487	1.013e0

292.0011	3.038e0

292.0339	3.055e0

292.0949	3.038e0

292.1436	1.013e0

292.2440	2.025e0

292.3120	1.013e0

292.4135	2.025e0

292.4705	1.013e0

292.5127	2.025e0

292.6211	1.013e0

292.6753	1.013e0

292.7758	1.013e0

292.8162	3.038e0

292.8801	1.013e0

292.9072	1.013e0

292.9749	2.025e0

293.0155	1.013e0

293.0969	2.025e0

293.1470	1.013e0

293.1747	1.013e0

293.2483	3.038e0

293.2851	2.025e0

293.3578	2.025e0

293.4254	2.025e0

293.4718	1.013e0

293.5047	2.025e0

293.5670	1.013e0

293.6665	1.013e0

293.7213	2.025e0

293.7734	2.025e0

293.8546	1.013e0

293.9281	2.025e0

293.9651	2.025e0

294.0078	4.051e0

294.0998	2.025e0

294.1661	2.025e0

294.2296	5.063e0

294.3862	1.013e0

294.4471	1.013e0

294.4778	1.013e0

294.5747	1.013e0

294.6236	4.051e0

294.6489	4.051e0

294.7245	1.013e0

294.7757	2.025e0

294.8243	1.013e0

294.9352	2.117e0

294.9798	1.013e0

295.0160	1.013e0

295.0742	1.013e0

295.1020	1.013e0

295.1631	2.025e0

295.2100	2.025e0

295.2951	3.038e0

295.3631	1.013e0

295.3995	2.025e0

295.4965	1.013e0

295.5688	1.013e0

295.6319	2.025e0

295.6745	1.013e0

295.7522	1.013e0

295.8026	1.013e0

295.8586	2.025e0

295.9290	2.025e0

296.0079	4.471e0

296.1019	6.076e0

296.1628	1.013e0

296.1938	1.013e0

296.2481	1.013e0

296.2816	1.013e0

296.3540	1.013e0

296.4120	2.025e0

296.4522	3.038e0

296.4923	1.013e0

296.5428	1.013e0

296.5698	2.025e0

296.6353	3.038e0

296.6832	1.013e0

296.7445	1.013e0

296.7871	2.025e0

296.8761	1.013e0

296.9120	1.013e0

296.9733	1.013e0

297.0080	1.013e0

297.0507	2.025e0

297.1826	1.013e0

297.2330	1.013e0

297.2908	7.089e0

297.3339	1.013e0

297.4263	1.013e0

297.4542	1.013e0

297.5549	1.013e0

297.6428	2.025e0

297.6908	1.013e0

297.8183	5.063e0

297.9295	2.025e0

298.0097	4.051e0

298.0869	1.013e0

298.1878	1.013e0

298.2551	1.013e0

298.2775	1.013e0

298.3505	1.013e0

298.3933	1.013e0

298.4357	2.025e0

298.4626	1.013e0

298.5197	2.025e0

298.5758	1.013e0

298.6142	1.013e0

298.6691	1.013e0

298.7431	2.025e0

298.8163	1.013e0

298.8439	1.013e0

299.0074	1.013e0

299.0716	3.038e0

299.1311	2.025e0

299.1703	2.025e0

299.2012	1.013e0

299.2684	2.025e0

299.3374	2.025e0

299.3760	3.038e0

299.4538	1.013e0

299.4884	2.025e0

299.5642	1.013e0

299.6183	4.051e0

299.6914	3.038e0

299.7463	2.025e0

299.7763	2.025e0

299.8722	2.025e0

299.9689	3.038e0

300.1206	2.025e0

300.1465	2.025e0

300.2000	1.013e0

300.2311	1.013e0

300.3011	1.013e0

300.3322	2.025e0