Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 100.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

262 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 13-13    H: 0-200    N: 0-10    O: 0-15    I: 0-1

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	Formula

332.0512   	332.0511       	0.1      	0.3      	4.5      	0.1        	C13  H19  N  O  I

REPORT MASSES AS +/-5mDa, referenced against

Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

ANALYSIS RUN USING:  WATERS LCT PREMIER (ESI POSITIVE/ESI NEGATIVE)

149.0026	2.025e0

149.0790	1.013e0

149.1015	1.013e0

149.1340	1.013e0

149.1663	2.025e0

149.2312	1.013e0

149.2522	2.025e0

149.3221	1.013e0

149.4387	1.013e0

149.4784	1.013e0

149.4972	1.013e0

149.5769	2.025e0

149.6699	1.013e0

149.7382	1.013e0

149.7650	2.025e0

149.8032	1.013e0

149.8782	1.013e0

149.9785	1.013e0

150.0180	1.013e0

150.0766	1.013e0

150.0910	2.025e0

150.1137	3.038e0

150.1736	1.013e0

150.2261	1.013e0

150.2945	1.013e0

150.3587	2.025e0

150.3754	1.013e0

150.4085	1.013e0

150.4282	1.013e0

150.4471	1.013e0

150.4753	2.025e0

150.5060	1.013e0

150.6171	1.013e0

150.6823	1.013e0

150.7739	1.013e0

150.8060	1.013e0

150.8645	2.025e0

150.9595	1.013e0

150.9985	1.013e0

151.0513	1.013e0

151.0883	2.025e0

151.1065	1.013e0

151.1452	1.013e0

151.2171	1.013e0

151.3741	1.013e0

151.4326	2.025e0

151.5079	1.013e0

151.5246	1.013e0

151.5923	3.038e0

151.6264	1.013e0

151.7404	1.013e0

151.8224	1.013e0

151.9563	1.013e0

151.9730	1.013e0

152.0450	1.013e0

152.1054	2.025e0

152.1386	2.025e0

152.1569	1.013e0

152.1857	1.013e0

152.2669	3.038e0

152.3044	1.013e0

152.4219	1.013e0

152.4385	1.013e0

152.4923	2.025e0

152.5106	1.013e0

152.5290	2.025e0

152.6781	1.013e0

152.6947	1.013e0

152.7637	1.013e0

152.8125	1.013e0

152.8617	1.013e0

152.8796	2.025e0

152.9534	1.013e0

152.9951	2.025e0

153.0757	1.013e0

153.2068	1.013e0

153.3613	1.013e0

153.4174	1.013e0

153.5060	1.013e0

153.6516	1.013e0

153.6706	1.013e0

153.7322	2.025e0

153.8096	2.025e0

153.8290	2.025e0

153.9199	3.038e0

153.9709	1.013e0

154.0199	1.013e0

154.0367	1.013e0

154.1191	1.013e0

154.1391	1.013e0

154.1621	1.013e0

154.3174	1.013e0

154.5246	1.013e0

154.5481	1.013e0

154.5848	1.013e0

154.6039	1.013e0

154.6997	1.013e0

154.7957	2.025e0

154.8325	1.013e0

154.8682	1.013e0

154.9252	1.013e0

154.9463	2.025e0

155.0111	1.013e0

155.0404	1.013e0

155.1329	1.013e0

155.1879	3.188e0

155.2159	1.013e0

155.2389	1.013e0

155.2690	3.038e0

155.3517	1.013e0

155.3980	1.013e0

155.5405	2.025e0

155.5931	1.013e0

155.6467	1.013e0

155.7027	1.013e0

155.8425	1.013e0

155.8782	2.025e0

155.9051	1.013e0

156.0463	2.025e0

156.0706	3.038e0

156.2801	1.013e0

156.3137	2.025e0

156.3730	1.013e0

156.4235	2.025e0

156.4558	1.013e0

156.5360	1.013e0

156.5556	1.013e0

156.6128	1.013e0

156.6789	1.013e0

156.7484	1.013e0

156.8496	2.025e0

156.9368	2.025e0

157.0480	1.013e0

157.0647	1.013e0

157.1544	1.013e0

157.2049	1.013e0

157.2447	2.025e0

157.3031	2.025e0

157.4482	1.013e0

157.4675	2.025e0

157.4913	1.013e0

157.5282	5.063e0

157.7553	1.013e0

157.7715	1.013e0

157.8148	1.013e0

157.8519	1.013e0

157.9284	1.013e0

158.1065	2.025e0

158.1589	1.013e0

158.1960	1.013e0

158.2237	2.025e0

158.2624	1.013e0

158.3258	1.013e0

158.4065	1.013e0

158.5067	1.013e0

158.5271	1.013e0

158.5499	1.013e0

158.5663	2.025e0

158.6238	1.013e0

158.6408	1.013e0

158.7972	1.013e0

158.8277	1.013e0

158.9161	2.025e0

158.9719	1.013e0

159.1422	1.013e0

159.1760	1.013e0

159.2200	1.013e0

159.2730	1.013e0

159.2934	1.013e0

159.3306	2.025e0

159.3738	1.013e0

159.5416	1.013e0

159.6220	1.013e0

159.6522	1.013e0

159.6778	3.038e0

159.7527	1.013e0

159.8938	1.013e0

160.0080	1.013e0

160.0555	1.013e0

160.0997	1.013e0

160.1866	1.013e0

160.2439	1.013e0

160.2603	1.013e0

160.3110	1.013e0

160.3415	1.013e0

160.4218	1.013e0

160.5649	2.025e0

160.5836	1.013e0

160.6176	1.013e0

160.7557	1.013e0

160.7725	1.013e0

161.0081	1.013e0

161.0286	1.013e0

161.0620	1.013e0

161.1004	2.025e0

161.1497	1.013e0

161.1770	1.013e0

161.2201	1.013e0

161.2948	1.013e0

161.3221	1.013e0

161.4536	1.013e0

161.5871	3.038e0

161.6192	1.013e0

161.6963	1.013e0

161.8313	1.013e0

161.8688	1.013e0

161.9029	1.013e0

161.9265	1.013e0

161.9902	1.013e0

162.0107	1.013e0

162.0362	2.025e0

162.0750	3.038e0

162.1663	1.013e0

162.2757	2.025e0

162.5356	2.025e0

162.5692	1.013e0

162.6060	1.013e0

162.6572	1.013e0

162.7086	1.013e0

162.7789	1.013e0

162.8310	3.038e0

162.9046	1.013e0

162.9450	1.013e0

163.0608	1.013e0

163.0841	2.025e0

163.1197	2.025e0

163.1471	2.025e0

163.1873	3.038e0

163.2138	1.013e0

163.2439	1.013e0

163.2877	1.013e0

163.3869	1.013e0

163.4304	1.013e0

163.4438	1.013e0

163.5087	1.013e0

163.5956	2.025e0

163.6238	1.013e0

163.6477	1.013e0

163.6922	1.013e0

163.7606	1.013e0

163.7740	1.013e0

163.8074	1.013e0

164.0971	1.013e0

164.2929	2.025e0

164.3424	1.013e0

164.5196	1.013e0

164.6246	1.013e0

164.6589	1.013e0

164.6760	1.013e0

164.7310	1.013e0

164.9252	1.013e0

164.9594	1.013e0

164.9728	1.013e0

165.0475	1.013e0

165.1264	1.013e0

165.3072	1.013e0

165.4504	1.013e0

165.5155	1.013e0

165.6357	1.013e0

165.8133	1.013e0

165.9257	1.013e0

166.1010	1.013e0

166.1351	1.013e0

166.1553	1.013e0

166.1891	1.013e0

166.3114	2.025e0

166.3970	2.025e0

166.4840	1.013e0

166.5597	1.013e0

166.6183	1.013e0

166.8135	1.013e0

166.9169	1.013e0

166.9951	2.025e0

167.0293	1.013e0

167.0466	1.013e0

167.0777	2.025e0

167.0949	1.013e0

167.1259	1.013e0

167.1880	1.013e0

167.2634	1.013e0

167.3765	1.013e0

167.4317	1.013e0

167.4489	2.025e0

167.5865	2.025e0

167.6069	1.013e0

167.6443	1.013e0

167.7066	1.013e0

167.8406	3.038e0

168.0058	1.013e0

168.0370	1.013e0

168.0646	2.025e0

168.1078	2.025e0

168.1994	1.013e0

168.2580	1.013e0

168.4021	1.013e0

168.5440	1.013e0

168.6477	1.013e0

168.6682	1.013e0

168.7953	2.025e0

168.8265	1.013e0

168.9719	1.013e0

169.0274	2.025e0

169.1753	1.013e0

169.2061	1.013e0

169.2408	1.013e0

169.2651	1.013e0

169.2963	2.025e0

169.3691	2.025e0

169.4436	2.025e0

169.5321	1.013e0

169.5908	2.025e0

169.6148	1.013e0

169.6492	1.013e0

169.6818	2.025e0

169.7179	2.025e0

169.7596	2.025e0

169.8273	2.025e0

169.8603	1.013e0

169.9262	1.013e0

169.9747	1.013e0

170.0477	1.013e0

170.2036	1.013e0

170.2346	1.013e0

170.3352	3.038e0

170.6612	1.013e0

170.6855	1.013e0

170.7220	2.025e0

170.7725	1.013e0

170.7899	1.013e0

170.8177	2.025e0

170.8560	1.013e0

170.8804	1.013e0

170.9376	2.025e0

171.0293	1.013e0

171.0829	2.025e0

171.1193	1.013e0

171.1574	1.013e0

171.1990	2.025e0

171.2198	2.025e0

171.2755	1.013e0

171.3661	1.013e0

171.7196	2.025e0

171.7596	1.013e0

171.8154	1.013e0

171.8956	1.013e0

171.9223	3.038e0

171.9688	1.013e0

171.9932	1.013e0

172.0211	1.013e0

172.0385	1.013e0

172.0594	1.013e0

172.0873	1.013e0

172.1118	1.013e0

172.3141	1.013e0

172.3316	1.013e0

172.3577	2.025e0

172.4257	1.013e0

172.5024	2.025e0

172.5582	1.013e0

172.6349	1.013e0

172.6524	1.013e0

172.7292	1.013e0

172.7501	1.013e0

172.8129	1.013e0

172.8304	1.013e0

172.9108	1.013e0

172.9352	1.013e0

172.9841	1.013e0

173.1310	2.025e0

173.1974	1.013e0

173.2919	1.013e0

173.3635	2.025e0

173.4772	1.013e0

173.5437	1.013e0

173.6276	2.025e0

173.7570	1.013e0

173.7780	1.013e0

173.8760	1.013e0

174.0878	2.025e0

174.1141	2.025e0

174.1544	2.025e0

174.2262	1.013e0

174.3522	1.013e0

174.3995	2.025e0

174.4925	1.013e0

174.5559	1.013e0

174.6193	1.013e0

174.7038	1.013e0

175.0479	1.013e0

175.1005	1.013e0

175.1251	2.025e0

175.3058	2.025e0

175.3498	1.013e0

175.4382	1.013e0

175.4999	4.051e0

175.5970	1.013e0

175.6918	1.013e0

175.7937	1.013e0

175.8991	1.013e0

175.9643	2.025e0

175.9871	1.013e0

176.0084	1.013e0

176.0793	1.013e0

176.1413	2.025e0

176.2205	3.038e0

176.2504	2.025e0

176.2838	1.013e0

176.3225	1.013e0

176.3612	1.013e0

176.3964	1.013e0

176.5303	1.013e0

176.6759	1.013e0

176.7040	1.013e0

176.7427	1.013e0

176.8343	1.013e0

176.8871	2.025e0

176.9294	1.013e0

177.0786	1.013e0

177.1176	1.013e0

177.2656	2.025e0

177.3079	1.013e0

177.3431	1.013e0

177.4032	1.013e0

177.5050	3.038e0

177.5843	1.013e0

177.6019	1.013e0

177.6443	2.025e0

177.7024	2.025e0

177.7784	1.013e0

177.8177	1.013e0

177.8392	1.013e0

177.9209	1.013e0

178.0339	1.013e0

178.0639	2.025e0

178.0938	1.013e0

178.1185	1.013e0

178.1399	1.013e0

178.1901	1.013e0

178.2259	1.013e0

178.4273	1.013e0

178.4841	1.013e0

178.5128	2.025e0

178.5948	1.013e0

178.7877	2.025e0

178.8720	1.013e0

178.9286	1.013e0

178.9498	1.013e0

179.0170	2.025e0

179.0488	1.013e0

179.0664	1.013e0

179.1058	1.013e0

179.1918	1.013e0

179.3166	3.038e0

179.3404	1.013e0

179.4083	1.013e0

179.4444	1.013e0

179.6464	2.025e0

179.6644	1.013e0

179.7182	4.051e0

179.9677	1.013e0

180.0213	1.013e0

180.0390	2.025e0

180.0744	1.013e0

180.3134	1.013e0

180.3666	1.013e0

180.5242	1.013e0

180.5703	1.013e0

180.6412	1.013e0

180.7058	2.025e0

180.8202	1.013e0

180.8698	1.013e0

180.9744	1.013e0

181.0240	1.013e0

181.0738	3.038e0

181.0932	2.025e0

181.2137	1.013e0

181.2688	2.025e0

181.3238	1.013e0

181.4390	1.013e0

181.5964	1.013e0

181.6609	1.013e0

181.7825	2.025e0

181.9256	1.013e0

181.9504	1.013e0

182.1085	1.013e0

182.1263	1.013e0

182.1583	1.013e0

182.2053	2.025e0

182.3555	1.013e0

182.4026	1.013e0

182.4639	1.013e0

182.4924	1.013e0

182.5708	1.013e0

182.6199	2.025e0

182.6719	2.025e0

182.8196	1.013e0

182.8801	2.025e0

182.9282	2.025e0

183.0189	2.025e0

183.0438	2.025e0

183.1097	1.013e0

183.1421	1.013e0

183.1969	1.013e0

183.2984	2.025e0

183.3641	3.038e0

183.3945	1.013e0

183.5602	1.013e0

183.6351	1.013e0

183.7040	1.013e0

183.7686	1.013e0

183.8368	2.025e0

183.8732	1.013e0

183.9808	1.013e0

184.0351	1.013e0

184.0966	1.013e0

184.1359	1.013e0

184.1573	2.025e0

184.1788	1.013e0

184.3125	1.013e0

184.3521	1.013e0

184.3922	2.025e0

184.4426	1.013e0

184.4677	2.025e0

184.4855	2.025e0

184.5550	1.013e0

184.6194	1.013e0

184.6444	1.013e0

184.7496	1.013e0

184.8250	3.038e0

184.8797	2.025e0

184.9264	1.013e0

184.9873	1.013e0

185.0800	2.025e0

185.0997	1.013e0

185.1665	1.047e1

185.1887	5.835e0

185.3056	1.013e0

185.5679	2.025e0

185.5984	1.013e0

185.7181	1.013e0

185.8092	1.013e0

185.9648	1.013e0

186.0991	2.025e0

186.1367	2.025e0

186.1635	1.013e0

186.1815	1.013e0

186.2835	1.013e0

186.3049	1.013e0

186.3489	1.013e0

186.4606	1.013e0

186.5592	1.013e0

186.6448	2.025e0

186.8135	1.013e0

186.9408	1.013e0

186.9695	1.013e0

187.0967	1.013e0

187.2097	1.013e0

187.2635	1.013e0

187.3369	3.038e0

187.3693	1.013e0

187.6492	1.013e0

187.7078	1.013e0

187.7766	1.013e0

188.0063	1.013e0

188.0566	1.013e0

188.1770	1.013e0

188.1989	1.013e0

188.2327	1.013e0

188.2614	1.013e0

188.2902	2.025e0

188.3081	1.013e0

188.3997	1.013e0

188.4731	1.013e0

188.5165	1.013e0

188.5382	1.013e0

188.5708	1.013e0

188.7430	1.013e0

188.8062	2.025e0

188.8239	3.038e0

188.8651	4.051e0

189.0128	2.025e0

189.0380	1.013e0

189.1153	1.013e0

189.1531	2.025e0

189.3564	1.013e0

189.3817	1.013e0

189.4681	2.025e0

189.5166	1.013e0

189.6896	2.025e0

189.7846	1.013e0

189.8791	1.013e0

189.9309	1.013e0

189.9598	1.013e0

189.9777	1.013e0

190.0265	1.013e0

190.0715	2.025e0

190.1436	2.025e0

190.2679	1.013e0

190.3779	1.013e0

190.4395	1.013e0

190.4951	1.013e0

190.6260	3.038e0

190.6709	1.013e0

190.6972	1.013e0

190.7188	1.013e0

190.7809	1.013e0

190.8506	1.013e0

190.8873	1.013e0

191.0963	1.013e0

191.1447	1.013e0

191.1881	1.013e0

191.3169	1.013e0

191.4311	1.013e0

191.6921	2.025e0

191.7398	1.013e0

191.7770	1.013e0

191.8132	1.013e0

191.8693	1.013e0

191.8873	1.013e0

191.9939	1.013e0

192.0229	1.013e0

192.0679	1.013e0

192.1043	2.025e0

192.1378	3.038e0

192.2037	1.013e0

192.2888	1.013e0

192.3069	1.013e0

192.3991	1.013e0

192.5516	3.038e0

192.6091	1.013e0

192.6512	2.025e0

192.8372	1.013e0

192.9278	2.025e0

192.9786	1.013e0

193.0129	2.025e0

193.0328	1.013e0

193.0629	1.013e0

193.1071	1.013e0

193.2433	1.013e0

193.2955	1.013e0

193.3916	1.013e0

193.4786	2.025e0

193.5506	1.013e0

193.6020	3.038e0

193.6543	1.013e0

193.7017	1.013e0

193.7687	1.013e0

193.8830	1.013e0

193.9719	1.013e0

194.0608	1.013e0

194.1144	2.025e0

194.2010	1.013e0

194.2577	3.038e0

194.5201	1.013e0

194.5685	2.025e0

194.6602	1.013e0

195.1126	1.013e0

195.1507	1.013e0

195.1880	4.051e0

195.3139	1.013e0

195.3325	1.013e0

195.3689	1.013e0

195.4325	1.013e0

195.5071	2.025e0

195.5543	1.013e0

195.6054	2.025e0

195.6532	2.025e0

195.6782	1.013e0

195.7072	2.025e0

195.7559	1.013e0

195.7855	1.013e0

195.8258	1.013e0

195.8674	1.013e0

195.9190	1.013e0

195.9712	1.013e0

195.9929	1.013e0

196.0421	1.013e0

196.1716	1.013e0

196.2206	3.038e0

196.3738	1.013e0

196.4101	1.013e0

196.4400	1.013e0

196.4666	1.013e0

196.5923	1.013e0

196.6152	1.013e0

196.6815	1.013e0

196.7491	1.013e0

196.8275	1.013e0

196.9132	1.013e0

196.9544	1.013e0

197.1234	3.038e0

197.1813	1.013e0

197.2488	1.013e0

197.2979	1.013e0

197.4021	1.013e0

197.4582	1.013e0

197.5170	1.013e0

197.6968	1.013e0

197.8841	1.013e0

197.9809	1.013e0

198.0101	1.013e0

198.0413	1.013e0

198.0705	1.013e0

198.1344	2.025e0

198.1636	1.013e0

198.2611	1.013e0

198.3226	2.025e0

198.3542	2.025e0

198.4067	1.013e0

198.5603	1.013e0

198.9723	1.013e0

199.0510	1.013e0

199.1443	3.038e0

199.1933	2.025e0

199.2180	4.051e0

199.3288	1.013e0

199.3662	1.013e0

199.3929	1.013e0

199.4332	1.013e0

199.4790	1.013e0

199.5797	1.013e0

199.6672	3.038e0

199.7528	1.013e0

199.7758	1.013e0

199.8239	1.013e0

200.0122	2.025e0

200.0910	1.013e0

200.1361	1.013e0

200.1625	2.025e0

200.1809	1.013e0

200.2785	1.013e0

200.4250	1.013e0

200.4448	1.013e0

200.4925	1.013e0

200.8152	2.025e0

200.9444	1.013e0

201.0836	1.013e0

201.1443	1.013e0

201.2655	1.013e0

201.3137	1.013e0

201.3555	1.013e0

201.3738	1.013e0

201.4235	1.013e0

201.4529	1.013e0

201.6532	1.013e0

201.7782	1.013e0

202.2803	1.013e0

202.2988	1.013e0

202.4313	1.013e0

202.5372	1.013e0

202.6891	1.013e0

202.7074	1.013e0

202.7902	2.025e0

202.8251	2.025e0

202.8584	1.013e0

202.9339	1.013e0

202.9612	1.013e0

203.0369	2.025e0

203.0592	1.013e0

203.1042	2.025e0

203.1992	1.013e0

203.2600	1.013e0

203.2976	1.013e0

203.3539	1.013e0

203.4259	1.013e0

203.4981	1.013e0

203.5347	2.025e0

203.5824	1.013e0

203.6085	1.013e0

203.6747	3.038e0

203.6988	1.013e0

203.8889	1.013e0

204.0327	4.051e0

204.0642	1.013e0

204.0973	1.013e0

204.1384	2.532e1

204.1910	2.025e0

204.2442	2.025e0

204.4351	1.013e0

204.5423	1.013e0

204.5839	2.025e0

204.6564	1.013e0

204.7110	2.025e0

204.7621	1.013e0

204.8157	1.013e0

205.0819	1.013e0

205.1521	3.038e0

205.2982	1.013e0

205.3260	1.013e0

205.3591	1.013e0

205.3871	1.013e0

205.6828	1.013e0

205.7420	2.025e0

205.8087	1.013e0

205.8437	2.025e0

205.9051	1.013e0

206.0012	2.025e0

206.1031	1.013e0

206.1277	4.680e0

206.1550	3.027e1

206.2420	2.025e0

206.2862	2.025e0

206.3197	2.025e0

206.3698	1.013e0

206.4044	1.013e0

206.4272	1.013e0

206.5031	3.038e0

206.6292	1.013e0

206.6644	1.013e0

206.8474	1.013e0

206.8813	1.013e0

206.9535	1.013e0

206.9852	1.013e0

207.0500	1.013e0

207.0686	1.013e0

207.0998	1.013e0

207.1261	1.013e0

207.1654	7.089e0

207.3484	1.013e0

207.4174	1.013e0

207.4359	1.013e0

207.6068	2.025e0

207.6734	1.013e0

207.7310	1.013e0

207.8609	1.013e0

207.9607	1.013e0

208.0457	6.076e0

208.1061	1.013e0

208.1324	1.013e0

208.3779	1.013e0

208.4888	1.013e0

208.5549	4.051e0

208.6078	1.013e0

208.7385	1.013e0

208.8850	1.013e0

208.9072	1.013e0

208.9806	1.013e0

209.0299	1.013e0

209.0692	1.013e0

209.3338	1.013e0

209.3896	2.025e0

209.4449	1.013e0

209.4731	1.013e0

209.6341	1.013e0

209.6686	1.013e0

209.7411	1.013e0

210.0003	1.013e0

210.1078	1.013e0

210.3430	1.013e0

210.3692	1.013e0

210.4158	3.038e0

210.4958	1.013e0

210.5277	1.013e0

210.6199	2.025e0

210.7124	1.013e0

210.8553	1.013e0

210.8784	1.013e0

211.1996	3.038e0

211.2547	2.025e0

211.3992	1.013e0

211.4496	1.013e0

211.4683	1.013e0

211.5209	4.051e0

211.5927	1.013e0

211.6122	1.013e0

211.7206	1.013e0

211.7466	1.013e0

211.7859	2.025e0

211.8791	1.013e0

212.0078	3.038e0

212.0793	1.013e0

212.1149	1.013e0

212.1451	2.025e0

212.2458	1.013e0

212.3543	1.013e0

212.4159	1.013e0

212.5133	1.013e0

212.6162	2.025e0

212.6649	1.013e0

212.7192	1.013e0

212.9364	1.013e0

212.9823	1.013e0

213.0515	3.038e0

213.2351	1.756e2

213.3453	3.038e0

213.3733	1.995e0

213.4124	1.013e0

213.5917	2.025e0

213.6340	1.013e0

213.6667	2.025e0

213.7117	1.013e0

213.7847	1.013e0

213.8637	1.013e0

213.9255	1.013e0

214.1505	1.013e0

214.2367	3.038e1

214.3137	1.013e0

214.3335	1.013e0

214.5220	2.025e0

214.5670	1.013e0

214.5859	2.025e0

214.6160	2.025e0

214.6568	1.013e0

214.7492	1.013e0

214.7960	1.013e0

214.8393	1.013e0

214.9295	1.013e0

214.9594	1.013e0

215.0044	2.025e0

215.1003	2.025e0

215.1474	2.025e0

215.2245	1.013e0

215.2507	2.025e0

215.2918	1.013e0

215.3775	2.025e0

215.4235	1.013e0

215.4435	1.013e0

215.5431	2.025e0

215.7169	2.025e0

215.8842	1.013e0

215.9932	1.013e0

216.1101	1.013e0

216.1381	1.013e0

216.2360	1.013e0

216.3018	1.013e0

216.4724	2.025e0

216.5400	2.025e0

216.6854	1.013e0

216.7300	2.025e0

216.9449	2.025e0

216.9665	1.013e0

217.0174	1.013e0

217.0456	1.013e0

217.0900	2.025e0

217.1229	1.013e0

217.1898	1.013e0

217.2096	1.013e0

217.3264	1.013e0

217.3511	1.013e0

217.3773	1.013e0

217.5548	1.013e0

217.6485	1.013e0

217.7420	1.013e0

217.7696	1.013e0

218.1299	1.013e0

218.1548	1.013e0

218.1847	2.025e0

218.2244	1.013e0

218.4020	1.013e0

218.4404	1.013e0

218.5077	1.013e0

218.5549	1.013e0

218.6022	1.013e0

218.6374	2.025e0

218.7154	1.013e0

218.7983	2.025e0

218.8628	3.038e0

218.9157	1.013e0

219.0536	2.025e0

219.1322	1.013e0

219.2938	1.013e0

219.3162	1.013e0

219.3523	1.013e0

219.4980	1.013e0

219.5673	2.025e0

219.6115	1.013e0

219.6672	1.013e0

219.7420	2.025e0

219.8130	1.013e0

219.8914	2.025e0

219.9201	1.013e0

220.1398	3.038e0

220.2209	2.025e0

220.3593	2.025e0

220.4354	1.013e0

220.5069	1.013e0

220.5344	2.025e0

221.0594	1.013e0

221.1192	1.013e0

221.2328	1.013e0

221.2878	1.013e0

221.4698	2.025e0

221.7291	2.025e0

221.8456	1.013e0

221.9033	2.025e0

221.9691	1.013e0

222.0004	1.013e0

222.1740	1.013e0

222.2859	1.013e0

222.3725	1.013e0

222.4876	1.013e0

222.5313	1.013e0

222.6498	1.013e0

222.7079	2.025e0

222.8211	3.038e0

222.8884	1.013e0

223.0283	2.025e0

223.2488	1.013e0

223.2804	1.013e0

223.4443	1.013e0

223.4705	1.013e0

223.5906	1.013e0

223.6344	1.013e0

223.7621	1.013e0

223.8322	1.013e0

223.8864	2.025e0

223.9561	1.013e0

223.9914	6.076e0

224.1428	1.013e0

224.1936	4.051e0

224.2147	7.089e0

224.3418	1.013e0

224.3983	1.013e0

224.4954	3.038e0

224.5146	1.394e0

224.5561	1.013e0

224.6563	2.025e0

224.6955	1.013e0

224.7353	1.013e0

224.7935	2.025e0

224.8441	1.013e0

224.9145	1.013e0

224.9471	1.013e0

224.9948	1.013e0

225.1189	1.013e0

225.2142	2.025e0

225.2657	1.013e0

225.3170	1.013e0

225.3497	2.025e0

225.4375	2.025e0

225.5253	1.013e0

225.6684	1.013e0

225.7160	1.013e0

225.8880	1.013e0

225.9395	1.013e0

225.9759	1.013e0

226.0405	1.013e0

226.0675	2.025e0

226.1250	1.013e1

226.1842	2.025e0

226.2119	1.013e0

226.2395	1.013e0

226.3714	1.013e0

226.4191	1.013e0

226.4881	1.013e0

226.5617	2.025e0

226.6389	1.013e0

226.6603	1.013e0

226.7959	1.013e0

226.8280	1.013e0

226.9430	1.013e0

227.0043	1.013e0

227.0561	1.013e0

227.0792	1.013e0

227.1145	3.038e0

227.1573	2.025e0

227.2493	7.089e0

227.3039	2.025e0

227.3680	1.013e0

227.4082	1.013e0

227.4367	1.013e0

227.5250	1.013e0

227.5719	2.025e0

227.6824	3.038e0

227.7490	1.013e0

227.9008	1.013e0

227.9450	1.013e0

227.9693	2.025e0

228.0778	1.013e0

228.1282	2.025e0

228.1619	1.013e0

228.2549	1.013e0

228.3790	1.013e0

228.4024	1.013e0

228.5430	1.013e0

228.7515	1.013e0

228.7764	1.013e0

228.8403	1.013e0

228.9566	1.013e0

229.1752	2.025e0

229.2099	1.013e0

229.3870	1.013e0

229.4229	1.013e0

229.6407	1.013e0

229.6689	1.013e0

229.8055	1.013e0

230.0140	2.025e0

230.0379	2.025e0

230.1167	1.013e0

230.1976	1.013e0

230.2247	1.013e0

230.2783	1.013e0

230.3704	1.013e0

230.4146	1.013e0

230.4588	1.013e0

230.5838	1.013e0

230.6646	2.025e0

230.7923	3.038e0

230.8413	1.013e0

230.9955	1.013e0

231.0561	1.013e0

231.2053	1.013e0

231.2900	1.013e0

231.3114	1.013e0

231.3632	1.013e0

231.4150	1.013e0

231.5408	2.025e0

231.6210	1.013e0

231.6427	1.013e0

231.6906	1.013e0

231.8812	1.013e0

231.9925	2.025e0

232.0145	2.025e0

232.0587	1.013e0

232.1434	2.025e0

232.2206	1.013e0

232.3016	1.013e0

232.3535	1.013e0

232.5523	1.013e0

232.6007	1.013e0

232.6548	1.013e0

232.6775	1.013e0

232.7223	1.013e0

232.7434	1.013e0

232.7990	1.013e0

232.8688	1.013e0

233.0309	1.013e0

233.0714	1.013e0

233.1657	2.025e0

233.2316	2.025e0

233.3438	1.013e0

233.3698	2.025e0

233.4363	1.013e0

233.4731	1.013e0

233.5174	2.025e0

233.6475	1.013e0

233.7206	2.025e0

233.8192	1.013e0

233.9700	3.038e0

234.0138	4.051e0

234.0702	1.013e0

234.1419	2.025e0

234.1881	1.013e0

234.5214	1.013e0

234.6030	2.025e0

234.7045	1.013e0

234.7459	3.038e0

235.0510	1.013e0

235.0956	1.013e0

235.1806	1.013e0

235.2344	1.013e0

235.4461	1.013e0

235.4868	1.013e0

235.5197	1.013e0

235.5510	2.025e0

235.9010	2.025e0

235.9557	2.025e0

236.0407	1.013e0

236.0777	1.013e0

236.1495	2.025e0

236.1770	1.013e0

236.2952	1.013e0

236.3397	2.025e0

236.4134	1.013e0

236.4987	1.013e0

236.5539	2.025e0

236.6295	1.013e0

236.7258	2.025e0

236.7849	2.025e0

236.8673	1.013e0

236.8994	1.013e0

236.9586	2.025e0

237.1082	1.013e0

237.1821	2.025e0

237.2598	2.025e0

237.3412	1.013e0

237.5780	1.013e0

237.7590	1.013e0

237.8160	1.013e0

237.8406	1.013e0

237.9125	2.025e0

238.1476	1.013e0

238.2917	1.013e0

238.3211	1.013e0

238.4026	1.013e0

238.4595	1.013e0

238.6160	1.013e0

238.7099	2.025e0

238.7742	2.025e0

238.8049	1.013e0

238.8463	1.013e0

238.8694	1.013e0

238.9709	2.025e0

238.9939	1.013e0

239.0392	1.013e0

239.2893	2.025e0

239.3722	1.013e0

239.4654	1.013e0

239.5483	2.025e0

239.5939	1.013e0

239.6679	1.013e0

239.7048	1.013e0

239.7560	2.025e0

239.8651	1.013e0

239.9801	1.013e0

240.0657	1.013e0

240.1011	3.038e0

240.1360	1.013e0

240.2101	1.013e0

240.2471	1.013e0

240.3343	1.013e0

240.4084	1.013e0

240.4881	2.025e0

240.5322	1.013e0

240.5568	1.013e0

240.6026	1.013e0

240.7423	1.013e0

240.7975	2.025e0

240.9107	1.013e0

240.9458	2.025e0

241.0032	3.038e0

241.0923	2.025e0

241.1332	1.013e0

241.2160	1.013e0

241.2904	1.013e0

241.3323	1.013e0

241.3602	1.013e0

241.4263	1.013e0

241.5137	1.013e0

241.6337	1.013e0

241.6671	2.219e0

241.7413	1.013e0

241.9678	1.013e0

242.1907	1.013e0

242.2315	1.013e0

242.2866	1.316e1

242.3277	1.013e0

242.4646	1.013e0

242.4973	1.013e0

242.6879	1.013e0

242.8365	1.013e0

242.8872	2.025e0

242.9481	1.013e0

243.0036	2.025e0

243.1302	2.025e0

243.1674	1.013e0

243.2127	1.013e0

243.2809	3.038e0

243.3122	2.025e0

243.3418	2.025e0

243.5406	1.013e0

243.6109	1.013e0

243.6906	1.013e0

243.7099	1.013e0

243.7691	1.013e0

244.0426	1.013e0

244.2023	2.025e0

244.2415	1.013e0

244.2972	2.025e0

244.3198	1.013e0

244.4162	1.013e0

244.4750	1.013e0

244.5032	1.013e0

244.5316	1.013e0

244.6023	1.013e0

244.6490	1.013e0

244.7733	1.013e0

244.9442	1.013e0

245.0069	1.013e0

245.0264	1.013e0

245.1573	3.038e0

245.3275	1.013e0

245.3558	1.013e0

245.5472	1.013e0

245.5966	1.013e0

245.6438	1.013e0

245.6926	2.025e0

245.7146	2.025e0

245.7519	1.013e0

245.8420	3.038e0

245.9101	3.038e0

245.9660	2.025e0

245.9935	1.013e0

246.0387	1.013e0

246.0799	1.013e0

246.1262	2.025e0

246.1543	1.013e0

246.3720	1.013e0

246.3998	2.025e0

246.4764	2.025e0

246.5388	2.025e0

246.5639	1.013e0

246.6013	1.013e0

246.6468	1.013e0

246.8510	1.013e0

246.8769	1.013e0

246.9449	5.063e0

247.0397	3.038e0

247.1820	3.342e1

247.2609	1.013e0

247.3231	2.025e0

247.4205	1.013e0

247.6471	2.025e0

247.7655	2.025e0

247.8759	1.013e0

247.9546	1.013e0

248.0257	2.025e0

248.0963	1.013e0

248.1897	5.070e0

248.2565	1.013e0

248.2820	1.013e0

248.3670	3.038e0

248.4387	2.025e0

248.5251	1.013e0

248.6448	1.013e0

248.7209	1.013e0

248.7830	1.013e0

248.9021	1.013e0

248.9263	1.013e0

248.9601	2.025e0

249.0439	1.013e0

249.1189	1.013e0

249.1886	3.038e0

249.3663	1.013e0

249.3997	1.013e0

249.5556	1.013e0

249.5931	1.013e0

249.6190	1.013e0

249.6548	4.051e0

249.7110	1.013e0

249.8116	1.013e0

249.8580	1.013e0

249.9368	1.013e0

250.0561	1.013e0

250.1234	1.013e0

250.1607	1.013e0

250.1810	1.013e0

250.4711	1.013e0

250.6805	1.013e0

250.7623	1.013e0

250.8373	1.013e0

250.8873	1.013e0

251.1815	1.013e0

251.2222	2.025e0

251.2540	2.025e0

251.3835	1.013e0

251.5423	2.025e0

251.5818	1.013e0

251.6676	1.013e0

251.8060	1.013e0

251.9745	2.025e0

252.0158	1.013e0

252.0495	1.013e0

252.0924	2.025e0

252.1353	1.013e0

252.3000	1.013e0

252.3413	1.013e0

252.3751	1.013e0

252.4088	1.013e0

252.5181	1.013e0

252.5955	1.013e0

252.6488	1.013e0

252.7318	2.025e0

252.9359	3.038e0

253.1053	1.013e0

253.1651	2.025e0

253.2962	1.013e0

253.4079	2.025e0

253.4687	1.013e0

253.8324	1.013e0

254.0386	3.038e0

254.1072	2.025e0

254.1443	2.025e0

254.2603	7.089e0

254.2896	1.013e0

254.4371	4.051e0

254.7396	1.013e0

254.7714	2.025e0

254.8183	2.025e0

254.8500	1.013e0

254.9008	1.013e0

254.9463	3.038e0

254.9944	1.013e0

255.0920	1.013e0

255.1597	2.025e0

255.2836	1.338e1

255.4262	1.013e0

255.4946	1.013e0

255.5560	3.038e0

255.6138	1.013e0

255.6361	1.013e0

255.7244	2.025e0

255.7675	1.013e0

255.8156	2.025e0

255.8766	1.013e0

256.0681	1.013e0

256.1843	1.013e0

256.2518	1.013e0

256.2857	1.013e0

256.3318	1.013e0

256.4096	1.013e0

256.4358	2.025e0

256.5749	1.013e0

256.6451	2.025e0

256.8175	1.013e0

256.8381	1.013e0

256.8924	2.025e0

257.0386	1.013e0

257.1418	1.013e0

257.1664	1.013e0

257.2194	2.025e0

257.2476	1.013e0

257.2697	1.013e0

257.3976	1.013e0

257.9520	2.025e0

258.1717	4.051e0

258.2667	1.013e0

258.3192	1.013e0

258.3567	1.013e0

258.4264	3.038e0

258.4771	1.013e0

258.6165	1.013e0

258.6728	1.013e0

258.7193	1.013e0

258.7490	1.013e0

258.7969	1.013e0

258.8270	1.013e0

258.8479	1.013e0

258.9485	3.038e0

259.1504	3.038e0

259.2883	1.013e0

259.3527	1.013e0

259.4419	1.013e0

259.7157	1.013e0

259.8286	1.013e0

259.9342	1.013e0

260.0804	3.038e0

260.1574	2.025e0

260.2129	1.013e0

260.3501	1.013e0

260.4147	2.025e0

260.4654	1.013e0

260.8282	3.038e0

260.8580	2.025e0

260.9250	1.013e0

261.0318	1.013e0

261.0617	1.013e0

261.0966	1.013e0

261.1175	1.013e0

261.1613	1.013e0

261.1815	1.013e0

261.2405	2.025e0

261.3016	4.051e0

261.3735	2.025e0

261.4301	2.025e0

261.6698	2.025e0

261.7623	1.013e0

261.8265	1.013e0

261.8949	1.013e0

261.9734	1.013e0

262.1398	1.013e0

262.2094	2.025e0

262.2527	1.013e0

262.3121	2.025e0

262.3490	2.025e0

262.4250	1.013e0

262.4980	1.013e0

262.5411	2.025e0

262.5802	1.013e0

262.7128	2.025e0

262.7655	1.013e0

262.8417	1.013e0

262.8808	1.013e0

263.0112	1.013e0

263.0532	1.013e0

263.1779	2.025e0

263.2119	1.013e0

263.3250	1.013e0

263.4930	1.013e0

263.6689	3.038e0

263.7606	2.025e0

263.7946	1.013e0

263.8989	2.025e0

263.9718	2.025e0

264.0733	2.621e0

264.1065	1.013e0

264.2166	2.025e0

264.3604	3.038e0

264.4389	1.013e0

264.4590	2.025e0

264.4963	2.025e0

264.6103	1.013e0

264.6854	1.013e0

265.0139	1.013e0

265.0997	1.013e0

265.1653	3.038e0

265.2258	6.076e0

265.2686	1.418e1

265.4079	1.013e0

265.5102	1.013e0

265.5546	1.013e0

265.7710	1.013e0

265.8619	2.025e0

265.9139	1.013e0

266.0001	2.025e0

266.1520	1.013e0

266.1990	1.013e0

266.2343	2.025e0

266.2706	3.038e0

266.3994	1.013e0

266.5587	1.013e0

266.6154	1.013e0

266.6418	1.013e0

266.7043	2.025e0

266.7455	1.013e0

266.8181	2.025e0

266.8578	1.013e0

266.8881	1.013e0

266.9468	2.025e0

266.9753	1.013e0

267.0364	2.025e0

267.0707	1.013e0

267.1520	8.466e0

267.2181	1.013e0

267.3618	1.013e0

267.5018	2.025e0

267.5360	1.013e0

267.7493	4.051e0

267.9265	1.013e0

268.1476	3.038e0

268.2145	2.025e0

268.3056	1.013e0

268.3701	1.013e0

268.5937	1.013e0

268.7151	1.013e0

268.8193	1.013e0

268.9412	2.025e0

268.9727	1.013e0

269.0290	1.013e0

269.1365	1.013e0

269.1876	2.025e0

269.2388	1.013e0

269.3021	1.316e1

269.3983	1.013e0

269.6365	2.025e0

269.7237	2.025e0

269.9603	2.025e0

270.0360	1.013e0

270.1765	1.013e0

270.2910	3.038e0

270.4650	1.013e0

270.5641	1.013e0

270.6552	1.013e0

270.7881	1.013e0

270.9022	2.025e0

270.9513	2.025e0

271.0127	2.025e0

271.0580	1.013e0

271.1187	1.013e0

271.1546	1.013e0

271.1835	2.025e0

271.2332	2.025e0

271.2555	1.013e0

271.4647	1.013e0

271.5103	1.013e0

271.6014	1.013e0

271.6444	1.013e0

271.6852	1.013e0

271.8199	1.013e0

271.8944	1.013e0

271.9438	1.013e0

271.9742	1.013e0

271.9955	1.013e0

272.1569	1.013e0

272.2347	2.025e0

272.3160	2.025e0

272.3367	1.013e0

272.4298	1.013e0

272.4763	1.013e0

272.5487	1.013e0

272.5961	2.025e0

272.6858	2.025e0

272.7275	1.013e0

272.9292	1.013e0

272.9635	1.013e0

273.0301	2.025e0

273.1537	1.013e0

273.4431	1.013e0

273.5181	1.013e0

273.5493	1.013e0

273.5960	1.013e0

273.6221	1.013e0

273.7553	1.013e0

273.7816	2.025e0

273.8298	1.013e0

273.8610	1.013e0

273.9802	1.013e0

274.3655	1.013e0

274.4184	1.013e0

274.4640	1.013e0

274.5374	1.013e0

274.6393	1.013e0

274.6737	1.013e0

274.7667	1.013e0

274.8887	2.025e0

274.9480	1.013e0

275.0274	1.013e0

275.0535	1.013e0

275.1579	1.013e0

275.2257	1.013e0

275.3302	1.013e0

275.3751	1.013e0

275.4323	1.013e0

275.5162	1.013e0

275.5696	1.013e0

275.6175	1.013e0

275.6840	1.013e0

275.7549	2.025e0

275.9836	1.013e0

276.0759	3.038e0

276.1754	2.025e0

276.2681	4.051e0

276.3899	1.013e0

276.5441	1.013e0

276.7031	1.013e0

276.8138	1.013e0

276.8798	1.013e0

276.9741	1.013e0

277.1108	1.013e0

277.1498	1.013e0

277.2071	1.013e0

277.3052	1.013e0

277.5660	1.013e0

277.6731	1.013e0

277.6943	1.013e0

277.7341	1.013e0

277.7609	1.013e0

277.8083	2.025e0

277.8412	1.013e0

277.9586	3.038e0

278.0500	2.025e0

278.0892	1.013e0

278.1873	2.025e0

278.3228	1.013e0

278.3897	1.013e0

278.5941	1.013e0

278.6165	1.013e0

278.7089	1.013e0

278.7623	1.013e0

278.8963	1.013e0

279.0020	1.013e0

279.1027	2.025e0

279.1843	4.051e0

279.2711	2.025e0

279.3209	1.013e0

279.4091	3.038e0

279.4991	1.013e0

279.6011	2.025e0

279.6897	1.013e0

279.7341	1.013e0

279.7701	2.025e0

279.8143	1.013e0

280.0447	1.013e0

280.0861	1.013e0

280.1129	1.013e0

280.1971	1.013e0

280.2813	1.013e0

280.3426	1.013e0

280.4095	2.025e0

280.5283	3.038e0

280.5704	2.025e0

280.7829	1.013e0

280.8060	1.013e0

280.9094	1.013e0

280.9975	1.013e0

281.1373	3.038e0

281.1756	2.025e0

281.2770	1.013e0

281.3888	1.013e0

281.4261	1.013e0

281.4918	1.013e0

281.5186	1.013e0

281.6834	1.013e0

281.7724	1.013e0

281.9784	1.013e0

282.1575	3.038e0

282.1931	1.013e0

282.3753	1.013e0

282.5623	1.013e0

282.6745	1.013e0

282.7415	1.013e0

282.9740	1.013e0

283.0327	3.038e0

283.0757	1.013e0

283.1454	3.038e0

283.1790	1.013e0

283.2645	2.025e0

283.3090	1.316e1

283.5780	1.013e0

283.6395	2.025e0

283.7136	3.038e0

283.8199	1.013e0

283.8581	2.025e0

283.9274	2.025e0

283.9849	2.025e0

284.0463	1.013e0

284.2018	4.253e1

284.3044	6.076e0

284.3575	1.013e0

284.4112	1.013e0

284.4496	1.013e0

284.4865	2.025e0

284.7185	1.013e0

284.7877	1.013e0

284.9951	2.025e0

285.0375	1.013e0

285.2158	1.519e1

285.3424	1.013e0

285.5042	1.013e0

285.5635	1.013e0

285.6281	2.025e0

285.6732	2.025e0

285.7523	1.013e0

286.0579	4.051e0

286.1292	1.013e0

286.2044	3.038e0

286.2870	1.013e0

286.3715	1.013e0

286.4207	2.025e0

286.4831	1.013e0

286.6715	1.013e0

286.7409	1.013e0

286.8294	1.013e0

286.9370	1.013e0

286.9909	1.013e0

287.0258	2.025e0

287.0774	2.025e0

287.1515	2.025e0

287.2477	3.038e0

287.3274	3.038e0

287.5915	2.025e0

287.6361	1.013e0

287.6904	1.013e0

287.7990	1.013e0

287.8341	1.013e0

287.8841	1.013e0

288.0690	1.013e0

288.1499	1.013e0

288.2646	2.025e0

288.3387	1.013e0

288.3808	1.013e0

288.5060	1.013e0

288.5277	1.013e0

288.5737	1.013e0

288.6693	2.025e0

288.7255	2.025e0

288.9304	3.038e0

288.9872	2.025e0

289.0478	1.013e0

289.0785	1.013e0

289.1248	1.013e0

289.1518	1.013e0

289.2289	1.013e0

289.2559	1.013e0

289.3138	1.013e0

289.3973	4.051e0

289.5336	2.025e0

289.6492	1.013e0

289.7659	1.013e0

289.7976	2.025e0

289.8382	1.013e0

289.9732	2.025e0

290.0465	1.013e0

290.1236	2.025e0

290.1650	1.013e0

290.3320	1.013e0

290.5713	1.013e0

290.5982	1.013e0

290.8113	1.013e0

290.8661	1.013e0

290.9675	2.025e0

291.0197	1.013e0

291.0698	3.038e0

291.1514	1.013e0

291.2118	1.013e0

291.2430	2.025e0

291.3221	2.025e0

291.3600	1.013e0

291.4449	2.025e0

291.5149	2.025e0

291.6406	1.013e0

291.7643	1.013e0

292.0532	3.038e0

292.2233	1.013e0

292.2674	1.013e0

292.3400	1.013e0

292.4636	1.013e0

292.5564	2.025e0

292.5814	1.013e0

292.6337	2.025e0

292.9545	1.013e0

292.9896	1.013e0

293.0447	1.013e0

293.1441	1.013e0

293.1993	1.013e0

293.2975	1.088e2

293.3761	1.013e0

293.4645	1.013e0

293.5143	1.013e0

293.7410	1.013e0

293.8094	1.013e0

293.8738	1.013e0

293.9061	1.013e0

293.9457	2.025e0

294.0287	2.025e0

294.2115	1.013e0

294.2426	1.013e0

294.2991	2.734e1

294.4183	2.025e0

294.5039	2.025e0

294.5562	1.013e0

294.6716	1.013e0

294.7711	2.025e0

294.8311	1.013e0

294.9628	1.013e0

295.0170	1.013e0

295.1268	1.013e0

295.2231	2.190e0

295.2545	2.025e0

295.3046	1.013e0

295.3657	1.013e0

295.5325	1.013e0

295.7258	1.013e0

295.7885	1.013e0

295.8614	1.013e0

295.9041	1.013e0

295.9443	1.013e0

295.9666	1.013e0

296.1058	1.013e0

296.1281	1.013e0

296.2374	2.025e0

296.2830	2.508e0

296.3381	1.013e0

296.4234	2.025e0

296.7304	1.013e0

296.7876	2.025e0

296.8616	2.025e0

297.0451	3.038e0

297.1102	1.013e0

297.1487	1.013e0

297.2426	2.457e0

297.2930	2.258e1

297.3505	2.025e0

297.3775	1.013e0

297.4177	1.013e0

297.5967	1.013e0

297.7031	1.013e0

297.7927	1.013e0

297.9129	1.013e0

297.9495	1.013e0

298.0279	1.013e0

298.2409	2.025e0

298.2883	5.063e0

298.3755	1.013e0

298.4206	2.025e0

298.5551	1.013e0

298.7141	2.025e0

298.7747	1.013e0

298.8486	1.013e0

298.8864	1.013e0

299.0429	1.013e0

299.1055	1.013e0

299.2973	2.025e0

299.3730	1.013e0

299.4003	1.013e0

299.4599	1.013e0

299.6907	1.013e0

299.7461	1.013e0

299.8878	1.013e0

299.9248	1.013e0

299.9611	1.013e0

300.1133	1.013e0

300.1697	1.013e0

300.2009	1.013e0

300.5139	1.013e0

300.6520	1.013e0

300.6946	1.013e0

300.7567	1.013e0

300.8542	1.013e0

301.0393	1.013e0

301.2043	1.013e0

301.6165	1.013e0

301.7411	1.013e0

301.9622	2.025e0

302.2164	1.013e0

302.2689	2.583e0

302.3682	1.013e0

302.4270	2.025e0

302.5239	1.013e0

302.6915	2.025e0

302.7751	2.025e0

302.8161	1.013e0

302.8535	1.013e0

302.9037	2.025e0

302.9407	2.025e0

303.0240	1.013e0

303.1901	1.013e0

303.3480	2.025e0

303.4224	1.013e0

303.8141	2.025e0

303.9711	2.025e0

304.1023	1.013e0

304.1355	2.025e0

304.4089	1.013e0

304.4707	2.025e0

304.5196	1.013e0

304.5512	2.025e0

304.6678	1.013e0

304.7380	1.013e0

304.8312	2.025e0

305.1006	1.013e0

305.1504	2.025e0

305.1829	1.013e0

305.3046	4.558e0

305.3818	1.013e0

305.4756	1.013e0

305.5029	1.013e0

305.5535	1.013e0

305.6389	1.013e0

305.6905	2.025e0

305.7723	1.013e0

305.8568	1.013e0

305.9946	1.013e0

306.2957	1.520e0

306.4557	1.013e0

306.5916	1.013e0

306.6529	2.025e0

306.7994	1.013e0

306.9021	1.013e0

306.9676	1.013e0

307.1901	1.013e0

307.2297	2.025e0

307.3065	1.608e1

307.3626	1.013e0

307.5363	2.025e0

307.6104	1.013e0

307.6674	1.013e0

307.7180	1.013e0

307.7622	2.025e0

307.8065	1.013e0

307.8353	1.013e0

307.9175	1.013e0

308.1288	1.013e0

308.2624	2.025e0

308.3087	2.113e0

308.3664	1.013e0

308.4213	4.051e0

308.5860	1.013e0

308.6374	1.013e0

308.6765	2.025e0

308.7247	1.013e0

308.7896	3.038e0

308.9307	1.013e0

308.9817	1.013e0

309.0990	1.013e0

309.2398	1.013e0

309.2993	6.076e0

309.3456	1.013e0

309.3979	2.025e0

309.5446	2.025e0

309.6629	1.013e0

309.7059	1.013e0

309.7830	2.025e0

309.8369	1.013e0

309.9585	2.025e0

310.0192	1.013e0

310.0759	2.025e0

310.1522	2.025e0

310.2027	3.038e0

310.2620	1.013e0

310.2973	2.025e0

310.3834	1.013e0

310.4305	1.013e0

310.5011	1.013e0

310.6326	1.013e0

310.6656	1.013e0

310.7484	2.025e0

310.8107	2.025e0

310.9990	1.013e0

311.0632	1.013e0

311.1260	2.025e0

311.1911	1.013e0

311.2531	5.772e1

311.3253	1.013e0

311.4312	3.038e0

311.7202	1.013e0

311.7631	2.025e0

311.8927	1.013e0

311.9594	1.013e0

312.0266	4.051e0

312.0733	3.038e0

312.1128	1.013e0

312.2578	1.360e1

312.3299	3.038e0

312.4498	2.025e0

312.5163	1.013e0

312.6680	1.013e0

312.6973	1.013e0

312.7520	1.013e0

313.0542	2.025e0

313.1524	1.013e0

313.2576	5.063e0

313.5097	1.013e0

313.5700	1.013e0

313.6315	2.025e0

313.6989	2.025e0

313.8810	1.013e0

313.9926	2.025e0

314.1136	2.025e0

314.2079	2.025e0

314.2515	2.025e0

314.3071	2.025e0

314.4037	1.013e0

314.4995	2.025e0

314.6154	1.013e0

314.8614	1.013e0

314.9398	1.013e0

315.0489	2.025e0

315.1414	2.025e0

315.2299	7.089e0

315.2995	7.089e0

315.3809	2.025e0

315.4786	1.013e0

315.6321	2.025e0

315.7216	8.101e0

315.8410	1.013e0

316.0482	2.025e0

316.0923	1.013e0

316.1493	2.025e0

316.2850	1.013e0

316.5027	1.013e0

316.5489	3.038e0

316.6210	1.013e0

316.6623	2.025e0

316.7260	1.013e0

316.7853	2.025e0

316.8756	2.025e0

317.0649	1.013e0

317.1238	1.013e0

317.1984	1.013e0

317.2420	2.025e0

317.4027	1.013e0

317.4308	1.013e0

317.6553	2.025e0

317.8179	1.013e0

317.9226	2.025e0

318.0122	2.025e0

318.0886	1.013e0

318.1902	2.025e0

318.4149	3.038e0

318.5103	1.013e0

318.5666	1.013e0

318.6523	1.013e0

318.7547	2.025e0

318.8177	1.013e0

318.8523	1.013e0

319.0368	1.013e0

319.0666	1.013e0

319.1321	1.013e0

319.4331	2.025e0

319.6147	2.025e0

319.7050	1.013e0

319.7404	1.013e0

319.7762	1.013e0

319.9194	1.013e0

320.1584	1.013e0

320.2208	3.038e0

320.2805	4.051e0

320.4077	2.025e0

320.5290	1.013e0

320.7982	1.013e0

320.8655	1.013e0

320.9686	2.025e0

321.0617	1.013e0

321.1213	2.025e0

321.2415	2.025e0

321.3358	2.025e0

321.4896	1.013e0

321.6315	1.013e0

321.7726	3.038e0

321.9044	1.013e0

322.0864	1.013e0

322.1716	1.013e0

322.2197	1.013e0

322.2798	3.038e0

322.3339	1.013e0

322.4240	1.013e0

322.5724	1.013e0

322.6346	2.025e0

322.7163	3.038e0

322.7970	1.013e0

322.9617	2.025e0

323.0787	1.013e0

323.1418	2.025e0

323.2220	2.025e0

323.3161	4.051e0

323.6363	1.013e0

323.6836	1.013e0

323.7131	1.013e0

324.1056	1.013e0

324.1664	1.013e0

324.2812	1.013e0

324.3412	1.013e0

324.4924	1.013e0

324.6457	2.025e0

324.7404	1.013e0

325.0100	1.013e0

325.0492	1.013e0

325.2191	5.063e0

325.2976	1.013e0

325.3463	3.038e0

325.5220	1.013e0

325.5523	1.013e0

325.6716	1.013e0

325.7391	1.013e0

325.7829	1.013e0

325.9926	1.013e0

326.0743	1.013e0

326.1112	1.013e0

326.1509	2.025e0

326.2711	2.025e0

326.3661	6.211e0

326.4232	2.025e0

326.5119	1.013e0

326.5882	2.025e0

326.6891	3.038e0

326.9758	1.013e0

327.0490	2.025e0

327.0907	1.013e0

327.2020	2.025e0

327.2408	1.013e1

327.3643	1.013e0

327.5329	3.038e0

327.6692	1.013e0

327.9081	1.013e0

328.0721	1.013e0

328.1544	2.025e0

328.2020	1.013e0

328.2556	3.038e0

328.3132	1.013e0

328.5310	2.025e0

328.6589	1.013e0

328.9343	2.025e0

329.0935	1.013e0

329.1473	1.013e0

329.1793	1.013e0

329.2283	1.013e0

329.3167	2.633e1

329.5803	1.013e0

329.6660	2.025e0

329.7191	1.013e0

329.7975	4.051e0

329.8559	2.025e0

329.8816	3.038e0

329.9163	2.025e0

329.9894	1.013e0

330.0604	2.025e0

330.1055	1.013e0

330.1792	1.013e0

330.3203	1.013e1

330.4118	3.038e0

330.4944	2.025e0

330.5503	1.013e0

330.5787	1.013e0

330.6278	2.025e0

330.9758	1.013e0

331.0435	1.013e0

331.0772	1.013e0

331.1588	1.013e0

331.2001	2.025e0

331.2702	1.013e0

331.3378	1.013e0

331.4218	1.013e0

331.4893	1.013e0

331.5270	1.013e0

331.6009	1.013e0

331.6442	2.025e0

331.7216	3.038e0

331.8231	1.013e0

331.8601	1.013e0

331.9280	1.013e0

332.0512	7.471e2

332.1962	4.755e0

332.2366	3.038e0

332.2820	6.454e0

332.3487	1.013e0

332.4524	2.025e0

332.5160	2.025e0

332.6051	3.038e0

332.6714	2.025e0

332.7727	4.051e0

332.8357	3.038e0

332.8840	2.329e0

333.0567	1.135e2

333.1397	2.025e0

333.2216	3.038e0

333.2886	2.025e0

333.3565	1.013e0

333.4489	2.025e0

333.4929	1.013e0

333.6159	1.013e0

333.7552	1.013e0

333.8309	2.025e0

333.9270	1.013e0

333.9811	2.025e0

334.0523	1.114e1

334.1100	1.013e0

334.1691	2.025e0

334.2537	2.025e0

334.5481	1.013e0

334.6165	1.013e0

334.6725	1.013e0

334.7150	2.025e0

334.7703	2.025e0

334.8192	2.025e0

334.8639	1.013e0

334.9771	2.025e0

335.0396	1.013e0

335.1026	2.025e0

335.1651	2.025e0

335.2667	1.013e0

335.3297	2.025e0

335.3633	1.013e0

335.4626	1.013e0

335.5441	1.013e0

335.6465	3.038e0

335.7097	1.013e0

335.7436	1.013e0

335.8115	2.025e0

335.9532	1.013e0

336.0253	3.038e0

336.1173	2.025e0

336.1629	2.025e0

336.2349	3.038e0

336.3326	1.013e0

336.4114	1.013e0

336.5177	1.013e0

336.6433	2.025e0

336.7115	1.013e0

337.0117	1.013e0

337.0750	2.025e0

337.2154	1.013e0

337.2769	2.025e0

337.3273	1.013e0

337.4554	1.013e0

337.5116	2.025e0

337.5471	1.013e0

337.6881	1.013e0

337.7194	1.013e0

337.9302	2.025e0

337.9975	3.038e0

338.0477	2.025e0

338.2025	1.013e0

338.2482	2.025e0

338.3187	1.013e0

338.3828	1.013e0

338.5168	3.038e0

338.5845	3.038e0

338.6422	1.013e0

338.8228	1.013e0

338.9026	2.025e0

338.9535	5.063e0

339.0428	1.013e0

339.0761	1.013e0

339.1328	2.025e0

339.2515	1.542e1

339.3547	1.013e0

339.4664	1.013e0

339.5288	2.025e0

339.6354	3.038e0

339.6932	1.013e0

339.8864	2.025e0

339.9961	3.038e0

340.0754	1.013e0

340.1899	2.025e0

340.2397	6.076e0

340.3569	9.114e0

340.5798	2.025e0

340.6718	1.013e0

340.9369	1.013e0

341.0369	1.013e0

341.0887	1.013e0

341.1971	3.038e0

341.2672	4.051e0

341.3320	3.038e0

341.4051	1.013e0

341.6141	1.013e0

341.6838	1.013e0

341.7143	1.013e0

341.7572	2.025e0

342.0429	1.013e0

342.1110	2.025e0

342.1920	3.038e0

342.2678	3.038e0

342.3560	1.013e0

342.4562	3.038e0

342.5682	1.013e0

342.6361	1.013e0

342.6801	1.013e0

342.8251	2.025e0

342.8693	1.013e0

342.9086	1.013e0

343.0217	1.013e0

343.0861	1.013e0

343.2154	7.089e0

343.2674	2.025e0

343.3156	1.013e0

343.4830	1.013e0

343.5435	1.013e0

343.7842	1.013e0

343.8247	1.013e0

343.8633	1.013e0

343.9382	3.038e0

343.9883	2.025e0

344.2075	1.013e0

344.2474	3.038e0

344.3008	2.025e0

344.3861	1.013e0

344.5672	1.013e0

344.6214	2.025e0

344.6798	1.013e0

344.7198	1.013e0

344.8305	2.025e0

344.8778	1.013e0

344.9329	1.013e0

344.9735	1.013e0

345.0483	2.025e0

345.1085	3.038e0

345.1933	3.038e0

345.3061	1.013e0

345.4993	1.013e0

345.7413	1.013e0

345.8295	2.025e0

345.8694	1.013e0

346.0179	1.013e0

346.0823	1.013e0

346.1796	2.025e0

346.2552	1.013e0

346.2916	3.038e0

346.4977	1.013e0

346.6378	2.025e0

346.7298	1.013e0

346.7666	1.013e0

346.8059	1.013e0

346.8701	1.013e0

346.9279	1.013e0

346.9793	1.013e0

347.2033	6.076e0

347.2623	3.038e0

347.4345	1.013e0

347.4743	1.013e0

347.7198	1.013e0

347.7703	1.013e0

347.9334	1.013e0

348.0279	1.013e0

348.0788	1.013e0

348.1469	1.013e0

348.2114	1.013e0

348.2722	1.013e0

348.3953	1.013e0

348.4534	1.013e0

348.4893	1.013e0

348.6985	1.013e0

348.8857	1.013e0

348.9474	2.025e0

349.0435	2.025e0

349.1599	3.038e0

349.1914	2.025e0

349.3113	3.038e0

349.4788	2.025e0

349.5967	2.025e0

349.6613	1.013e0

349.7104	1.013e0

349.7389	1.013e0

349.8155	1.013e0

349.9075	1.013e0

349.9920	2.025e0

350.0367	1.057e0

350.1296	2.025e0

350.2217	2.025e0

350.3554	1.013e0

350.4161	1.013e0

350.4514	1.013e0

350.6060	1.013e0

350.6945	1.013e0

350.8360	3.038e0

350.8989	1.013e0

351.0028	1.013e0

351.1727	2.025e0

351.2431	1.013e0

351.4135	2.025e0

351.4968	2.025e0

351.5498	1.013e0

351.6005	2.025e0

351.7636	1.013e0

351.8005	1.013e0

351.9702	1.013e0

352.0347	1.013e0

352.2727	1.013e0

352.3132	1.013e0

352.3575	1.013e0

352.7935	2.025e0

352.8869	1.013e0

353.0402	1.013e0

353.1806	5.939e0

353.2441	2.025e0

353.2910	1.013e0

353.3636	2.025e0

353.4058	1.013e0

353.4775	1.013e0

353.5495	1.013e0

353.7849	1.013e0

353.8764	1.013e0

353.9344	2.025e0

354.0596	1.013e0

354.1602	1.013e0

354.2618	1.013e0

354.3236	6.076e0

354.3875	2.528e1

354.5899	1.013e0

354.8014	2.025e0

354.8914	1.013e0

354.9878	2.025e0

355.0817	1.013e0

355.1757	1.013e0

355.2750	1.749e1

355.3843	1.013e1

355.4636	4.051e0

355.5358	1.013e0

355.5674	1.013e0

355.6624	2.025e0

355.7383	1.013e0

355.8237	1.013e0

355.8946	2.025e0

356.0143	1.013e0

356.0623	1.013e0

356.1143	3.038e0

356.2184	4.051e0

356.2899	1.939e1

356.3948	1.013e0

356.5342	1.013e0

356.6054	1.013e0

356.7145	1.013e0

356.9097	1.013e0

356.9455	1.013e0

356.9898	1.013e0

357.1118	1.013e0

357.2123	5.063e0

357.2494	2.025e0

357.3242	3.038e0

357.3819	2.025e0

357.4685	1.013e0

357.5034	1.013e0

357.6183	1.013e0

357.6948	1.013e0

357.8005	1.013e0

357.8698	1.013e0

358.1084	2.025e0

358.2045	2.025e0

358.2683	4.051e0

358.3426	1.013e0

358.3930	1.013e0

358.4350	3.038e0

358.4856	2.025e0

358.5345	2.025e0

358.5742	1.013e0

358.6648	1.013e0

358.7756	2.025e0

358.9303	2.025e0

358.9914	1.013e0

359.1107	1.013e0

359.2038	6.076e0

359.2734	1.013e0

359.3179	1.013e0

359.4544	3.038e0

359.5490	1.013e0

359.7935	1.013e0

359.8570	2.025e0

359.9135	1.013e0

359.9533	1.013e0

360.0081	1.013e0

360.1134	1.013e0

360.2456	1.013e0

360.3121	1.013e0

360.3616	1.013e0

360.4022	1.013e0

360.4550	2.025e0

360.5883	2.025e0

360.6541	1.013e0

360.7558	1.013e0

360.9020	1.013e0

360.9428	1.013e0

361.0724	1.013e0

361.1504	1.013e0

361.5172	1.013e0

361.5890	1.013e0

361.6573	1.013e0

361.7353	1.013e0

361.9109	1.013e0

362.1912	1.013e0

362.3615	1.013e0

362.6057	1.013e0

362.7321	1.013e0

362.8376	2.025e0

362.9267	1.013e0

363.0991	3.038e0

363.1878	1.013e0

363.2838	3.038e0

363.3753	3.216e1

363.5252	1.013e0

363.5563	1.013e0

363.6067	1.013e0

363.7703	2.025e0

363.9049	1.013e0

364.0016	1.013e0

364.0837	1.013e1

364.2706	2.025e0

364.3352	1.302e1

364.3779	1.443e1

364.4252	2.025e0

364.6166	1.013e0

364.6502	1.013e0

364.6973	1.013e0

364.8147	3.038e0

364.9297	3.038e0

364.9661	2.025e0

365.0437	6.076e0

365.1382	1.013e0

365.2090	4.051e0

365.3396	1.215e1

365.4050	2.025e0

365.4517	2.025e0

365.5417	2.025e0

365.7135	1.013e0

365.7410	1.013e0

365.9020	2.025e0

365.9928	2.025e0

366.0473	1.013e0

366.0881	1.013e0

366.2106	1.013e0

366.2635	2.025e0

366.3212	2.025e0

366.3690	4.051e0

366.5446	1.013e0

366.6580	1.013e0

366.7698	3.038e0

367.0082	3.038e0

367.1998	2.025e0

367.3039	1.013e0

367.3408	1.013e0

367.4355	1.013e0

367.5168	1.013e0

367.5641	1.013e0

367.6047	1.013e0

367.6792	1.013e0

367.8485	1.013e0

367.9203	1.013e0

368.0838	1.013e0

368.1488	1.013e0

368.3366	1.013e0

368.4013	1.215e1

368.6410	2.025e0

368.8231	1.013e0

368.8931	1.013e0

369.0926	1.013e0

369.1298	1.013e0

369.1923	4.051e0

369.2834	3.038e0

369.3373	3.038e0

369.4024	3.038e0

369.4774	1.013e0

369.5388	1.013e0

369.6035	2.025e0

369.6602	4.051e0

370.0304	2.025e0

370.0654	2.025e0

370.1351	1.013e0

370.1652	1.013e0

370.2674	1.013e0

370.3452	2.025e0

370.3866	3.038e0

370.4623	1.013e0

370.5478	1.013e0

370.7543	2.025e0

370.9737	1.013e0

371.0453	2.025e0

371.1694	3.038e0

371.2785	1.301e1

371.3570	1.876e0

371.4612	1.013e0

371.5291	3.038e0

371.6146	4.051e0

371.7377	3.038e0

372.1399	1.013e0

372.2672	6.076e0

372.3411	2.965e0

372.4055	5.063e0

372.4825	3.038e0

372.5623	3.038e0

372.6480	1.013e0

372.7364	2.025e0

372.7900	4.051e0

372.8682	3.038e0

372.9583	3.253e0

373.0770	1.604e3

373.2233	1.425e1

373.2910	5.787e0

373.3734	7.520e0

373.4540	5.063e0

373.5233	3.038e0

373.6024	6.076e0

373.6588	2.025e0

373.7207	3.038e0

373.7693	5.063e0

373.8180	4.051e0

373.8532	5.374e0

373.9243	2.025e0

373.9828	3.197e0

374.0836	3.012e2

374.2608	3.038e0

374.3653	2.395e0

374.4072	2.200e0

374.4660	4.051e0

374.5458	2.025e0

374.6058	2.025e0

374.6774	1.013e0

374.7424	2.025e0

374.8108	1.013e0

374.8770	5.063e0

375.0004	2.025e0

375.0888	4.128e1

375.2030	1.013e0

375.2643	1.013e0

375.3054	1.414e0

375.3622	1.715e0

375.4965	2.025e0

375.6054	3.038e0

375.6741	1.013e0

375.7284	3.038e0

375.7848	2.025e0

375.8401	3.038e0

375.9701	1.013e0

376.0660	3.038e0

376.0977	4.051e0

376.1383	1.013e0

376.2099	3.038e0

376.2942	3.976e0

376.3505	2.739e0

376.4012	1.013e0

376.4680	1.013e0

376.5216	3.038e0

376.5888	2.025e0

376.6340	1.013e0

376.7379	1.013e0

376.7725	1.013e0

376.8140	1.013e0

376.8943	2.025e0

376.9525	1.013e0

377.0045	3.038e0

377.0985	1.114e1

377.2037	2.025e0

377.2784	2.025e0

377.3302	3.064e0

377.5348	1.013e0

377.5890	1.013e0

377.6812	2.025e0

377.7428	3.225e0

377.8471	1.013e0

377.8929	1.013e0

377.9693	2.025e0

378.1484	4.051e0

378.2581	7.089e0

378.3288	3.634e0

378.4359	1.013e0

378.5488	1.013e0

378.6169	1.013e0

378.7491	3.038e0

378.8442	2.025e0

378.9314	1.013e0

379.1061	4.051e0

379.2099	1.013e0

379.2795	1.013e0

379.3532	1.436e0

379.4230	1.013e0

379.4847	1.013e0

379.5667	1.013e0

379.6161	2.025e0

379.6774	2.025e0

379.8228	1.013e0

379.8637	1.013e0

380.0225	2.025e0

380.1966	4.051e0

380.3086	3.547e1

380.3840	7.983e0

380.4955	2.025e0

380.5779	2.025e0

380.6750	1.013e0

380.7169	1.013e0

380.8292	2.025e0

380.9128	1.013e0

380.9674	1.013e0

381.0184	3.038e0

381.0768	2.025e0

381.1895	3.038e0

381.3167	1.448e1

381.4015	4.535e0

381.4618	2.025e0

381.5426	1.013e0

381.6547	1.013e0

381.8119	3.038e0

381.9211	2.025e0

381.9930	1.013e0

382.0401	1.013e0

382.0988	2.025e0

382.2155	1.013e0

382.2492	1.013e0

382.3137	4.828e0

382.4152	8.931e2

382.5750	5.063e0

382.6485	5.299e0

382.7930	1.013e0

382.8900	4.704e0

382.9822	4.051e0

383.0406	4.051e0

383.1224	3.038e0

383.1792	2.025e0

383.2426	8.101e0

383.2937	5.063e0

383.4171	2.479e2

383.5708	2.025e0

383.6349	1.013e0

383.7472	2.025e0

383.7957	3.038e0

383.8519	2.025e0

383.9174	4.051e0

383.9630	1.565e0

384.0468	2.025e0

384.1138	1.013e0

384.1772	1.191e0

384.2536	7.089e0

384.3290	1.486e0

384.3648	3.646e0

384.4244	2.127e1

384.5267	1.013e0

384.6089	2.025e0

384.7065	2.025e0

384.7697	1.013e0

384.9065	1.013e0

384.9680	1.013e0

385.0572	2.025e0

385.3056	3.419e0

385.4672	2.025e0

385.5679	1.013e0

385.6104	1.013e0

385.6457	1.013e0

385.7164	1.013e0

385.7730	1.013e0

385.8699	3.038e0

385.9226	1.013e0

385.9569	1.013e0

386.1436	3.038e0

386.2476	2.025e0

386.3040	1.013e0

386.4833	2.025e0

386.5621	2.025e0

386.6241	2.025e0

386.7115	2.025e0

386.9012	2.025e0

386.9836	2.025e0

387.0555	1.013e0

387.1055	4.051e0

387.2490	3.038e0

387.3607	1.013e0

387.5738	1.013e0

387.6064	1.013e0

387.6732	1.013e0

387.7469	1.013e0

387.8192	4.051e0

387.8794	1.013e0

387.9960	2.025e0

388.0287	2.025e0

388.1334	3.038e0

388.3099	2.025e0

388.3511	2.025e0

388.4214	1.013e0

388.4913	1.013e0

388.5411	1.013e0

388.6011	2.025e0

388.7173	3.038e0

388.7690	1.013e0

388.9145	1.013e0

388.9726	1.013e0

389.0308	1.013e0

389.1679	1.013e0

389.2372	8.342e0

389.2653	3.038e0

389.4248	1.013e0

389.4693	1.013e0

389.5178	1.013e0

389.5963	1.013e0

389.6565	2.025e0

389.8220	1.013e0

390.0208	1.013e0

390.1112	2.025e0

390.2820	5.063e0

390.3538	4.051e0

390.4109	1.013e0

390.6183	2.025e0

390.6586	2.025e0

390.9697	1.013e0

391.0280	1.013e0

391.0890	1.019e1

391.1310	4.879e0

391.2184	4.051e0

391.2872	2.025e0

391.3448	3.038e0

391.3997	2.025e0

391.4492	1.013e0

391.7217	1.013e0

391.8430	3.038e0

391.9547	2.025e0

392.0559	2.025e0

392.1074	1.013e0

392.2420	3.406e0

392.3214	2.025e0

392.3987	6.025e1

392.4900	1.013e0

392.5267	2.025e0

392.6367	2.025e0

392.7273	1.013e0

392.7963	2.025e0

392.8649	2.025e0

392.8999	1.013e0

393.0438	1.013e0

393.2113	1.013e0

393.2597	1.013e0

393.3499	2.025e0

393.3908	6.076e0

393.4500	2.025e0

393.4856	1.013e0

393.5478	1.013e0

393.6271	1.013e0

393.6811	2.025e0

393.9381	1.013e0

393.9803	2.025e0

394.0308	1.013e0

394.0844	2.025e0

394.1283	2.025e0

394.2090	1.013e0

394.2741	2.025e0

394.3474	4.051e0

394.4040	1.233e1

394.4782	1.013e0

394.5212	1.013e0

394.5657	2.025e0

394.6154	1.013e0

394.7888	1.013e0

394.8511	2.025e0

394.9189	1.013e0

395.0580	1.519e1

395.1693	1.013e0

395.2774	4.051e0

395.3272	1.013e0

395.4239	3.038e0

395.5120	1.013e0

395.6976	1.013e0

395.9591	3.038e0

396.0717	1.013e0

396.2481	3.714e0

396.2814	3.038e0

396.4113	2.025e0

396.5417	1.013e0

396.6642	1.013e0

396.7956	1.013e0

396.9021	2.025e0

396.9911	1.013e0

397.0815	2.025e0

397.2008	3.038e0

397.2591	2.025e0

397.3322	3.038e0

397.4632	1.013e0

397.5869	1.013e0

397.6814	1.013e0

398.1292	2.025e0

398.1690	1.013e0

398.2303	3.038e0

398.3126	3.038e0

398.3763	3.038e0

398.4794	2.025e0

398.5187	1.013e0

398.6208	1.013e0

398.6665	1.013e0

398.7043	1.013e0

398.8781	2.025e0

398.9687	2.025e0

399.0545	1.013e0

399.1609	2.025e0

399.2296	1.013e0

399.3099	2.025e0

399.3503	1.013e0

399.4048	1.013e0

399.5386	1.013e0

399.6817	2.025e0

399.9290	3.038e0

399.9600	2.025e0

400.0738	1.013e0

400.2029	5.097e0

400.2976	1.013e0

400.4059	2.025e0

400.4936	1.013e0

400.8278	1.013e0

400.9779	1.013e0

401.2449	5.063e0

401.3063	3.038e0

401.3662	1.013e0

401.4656	1.013e0

401.5097	1.013e0

401.6491	2.025e0

401.7511	1.013e0

401.8374	2.025e0

401.9058	1.013e0

402.1787	2.025e0

402.2294	1.013e0

402.2769	1.013e0

402.3179	2.025e0

402.4554	2.025e0

402.6034	1.013e0