Elemental Composition Report

Single Mass Analysis

Tolerance = 7.0 PPM   /   DBE: min = -15.0, max = 100.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

684 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 15-15    H: 0-150    N: 0-10    O: 0-10    Na: 0-1    Cl: 0-1    69Ga: 0-1

Minimum:   	               	         	         	-15.0

Maximum:   	               	5.0      	7.0      	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	Formula

260.0839   	260.0842       	-0.3     	-1.2     	8.5      	169.2      	C15  H15  N  O  Cl

REPORT MASSES AS +/-5mDa, referenced against

Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

ANALYSIS RUN USING:  WATERS LCT PREMIER (ESI POSITIVE/ESI NEGATIVE)

100.0878	2.949e0

100.0984	1.951e0

100.3525	1.266e-2

100.7011	3.798e-2

101.0063	6.184e0

102.1384	3.038e0

102.5430	2.532e-2

102.7489	1.108e0

103.6262	1.266e-2

103.7574	2.532e-2

103.8305	2.532e-2

104.3496	2.025e0

104.3859	2.051e0

104.5288	1.266e-2

104.5587	2.532e-2

104.5764	2.532e-2

104.5938	1.266e-2

104.6476	2.038e0

104.6838	3.089e0

104.7014	2.532e-2

104.7509	3.798e-2

104.9151	1.063e0

104.9576	6.734e-1

104.9702	3.089e0

105.0696	9.185e1

105.2092	6.127e0

105.4238	1.089e0

105.5438	3.798e-2

105.5730	2.343e0

105.6539	5.063e-2

105.7711	6.020e-1

105.7962	2.051e0

105.9579	3.798e-2

106.0771	7.618e1

106.1122	2.947e0

106.3458	1.038e0

106.5926	1.025e0

106.6432	3.798e-2

106.6611	1.266e-2

106.8655	3.798e-2

106.9001	2.532e-2

107.0186	1.418e0

107.2988	2.532e-2

107.3757	5.063e-2

107.4971	1.025e0

107.5650	3.798e-2

107.6010	1.038e0

107.8018	3.798e-2

107.8637	2.025e0

107.9658	1.025e0

108.2784	1.063e0

108.3168	3.798e-2

108.3422	2.051e0

108.3830	1.266e-2

108.5345	1.195e0

108.6952	2.038e0

108.8844	2.038e0

109.0684	4.256e0

109.2739	2.038e0

109.3286	5.063e-2

109.5494	2.532e-2

109.6372	1.266e-2

110.3839	2.532e-2

110.4635	2.532e-2

110.6270	1.038e0

110.7360	1.266e-2

110.9766	1.266e-2

111.0495	8.261e0

111.0853	5.855e0

111.2706	2.025e0

111.3333	1.355e0

111.4670	1.266e-2

111.6044	1.266e-2

111.7168	3.798e-2

112.6962	2.532e-2

112.7440	1.266e-2

113.2212	1.266e-2

113.4365	2.025e0

113.4789	1.025e0

113.7224	2.025e0

113.9094	2.532e-2

114.2078	1.266e-2

114.4976	1.013e0

114.5821	1.038e0

114.6111	1.025e0

114.6735	1.266e-2

114.9229	2.532e-2

114.9727	2.025e0

115.4701	1.038e0

115.7253	1.070e0

115.7889	1.266e-2

116.0441	1.381e0

116.6668	1.025e0

116.7027	1.266e-2

116.8033	2.532e-2

116.9375	2.038e0

116.9848	1.051e0

117.1610	2.532e-2

117.2329	2.025e0

117.2951	1.266e-2

117.4014	1.266e-2

117.8147	1.025e0

117.9159	1.025e0

117.9721	3.798e-2

118.0680	2.894e1

118.3995	1.266e-2

118.4921	1.266e-2

118.9005	2.532e-2

118.9503	1.038e0

119.1160	1.518e0

119.2521	2.063e0

119.2774	2.532e-2

119.3557	1.025e0

119.3806	3.565e-1

119.7725	1.424e-1

121.0947	2.216e0

121.1136	7.863e0

121.1315	7.726e-1

121.2883	8.532e-2

121.3814	1.051e0

121.4864	1.089e0

121.5423	2.063e0

122.4232	1.025e0

123.0439	3.406e0

123.1686	3.798e-2

123.2036	3.798e-2

123.2609	3.051e0

123.5547	1.266e-2

123.6964	2.532e-2

123.8251	2.025e0

123.9692	1.038e0

124.1023	3.216e0

124.2628	1.025e0

124.3966	3.798e-2

124.4796	3.798e-2

124.6312	3.798e-2

125.1312	1.469e0

125.1725	2.532e-2

125.4582	1.266e-2

125.5445	1.266e-2

125.6338	1.266e-2

125.7526	1.266e-2

126.1221	1.052e0

126.2328	1.266e-2

126.2511	1.266e-2

126.8339	1.038e0

126.9266	1.013e0

127.2528	1.025e0

127.3458	1.266e-2

127.5185	2.532e-2

127.6203	1.038e0

128.0058	3.051e0

128.0606	3.358e0

128.2582	3.038e0

128.2831	1.038e0

128.3219	5.063e-2

128.6171	1.266e-2

128.6382	1.266e-2

128.6988	1.266e-2

128.8039	1.266e-2

129.0008	5.063e-2

129.0357	2.376e0

129.2322	1.051e0

129.3008	3.798e-2

129.4111	2.051e0

129.4757	3.798e-2

129.4898	1.038e0

129.6242	2.532e-2

129.7530	1.025e0

129.8773	1.266e-2

130.0209	1.398e0

130.5963	3.798e-2

131.3136	5.063e-2

131.4192	2.063e0

131.8078	3.798e-2

132.0497	1.990e0

132.2222	1.013e0

132.2511	1.051e0

132.3412	1.013e0

132.4483	2.025e0

132.4924	2.025e0

132.5603	3.038e0

132.6310	2.038e0

132.7236	5.063e-2

132.9046	1.266e-2

132.9464	2.038e0

133.4779	1.266e-2

133.7215	2.051e0

133.8235	2.051e0

133.9142	1.025e0

134.0196	2.038e0

134.2802	2.025e0

134.3666	1.025e0

134.4062	1.266e-2

134.5677	2.038e0

134.6131	1.025e0

134.6686	1.266e-2

134.6805	1.266e-2

134.8039	1.038e0

134.8335	7.595e-2

135.1282	1.996e0

135.4391	3.038e0

135.6617	3.798e-2

135.7457	5.063e-2

135.8303	1.025e0

135.9427	2.130e-1

136.3265	2.532e-2

136.6240	2.532e-2

137.6174	1.038e0

137.8482	5.063e0

138.0788	4.561e0

138.1173	8.576e-1

138.2607	2.038e0

138.3818	2.532e-2

138.4394	2.532e-2

138.5893	2.038e0

138.6802	2.532e-2

138.8039	2.532e-2

139.0690	3.035e0

139.3239	1.266e-2

139.3447	2.038e0

139.6595	3.038e0

139.6877	1.013e0

140.1590	1.013e0

140.1938	1.266e-2

140.3212	2.532e-2

140.4035	2.532e-2

140.5448	1.025e0

140.6464	1.038e0

140.8428	1.266e-2

140.8711	1.266e-2

140.9155	3.038e0

141.1166	2.592e0

141.2153	1.266e-2

141.3069	1.013e0

141.3539	2.038e0

141.5919	2.038e0

141.6987	2.532e-2

141.7935	1.266e-2

141.9897	1.266e-2

142.0314	2.765e2

142.0885	2.401e0

142.1117	1.500e0

142.1396	1.726e0

142.2053	1.038e0

142.3766	1.266e-2

142.9981	1.719e0

143.0356	1.364e1

143.4132	2.532e-2

143.6218	1.013e0

143.7036	3.798e-2

144.0821	1.519e1

144.4321	1.266e-2

144.4966	1.038e0

144.5467	1.013e0

144.7547	2.532e-2

145.5674	9.285e-1

145.8047	2.532e-2

145.9431	1.266e-2

146.0465	6.058e0

146.0986	5.190e1

146.1570	6.329e-2

146.2865	1.266e-2

146.3092	1.266e-2

146.4151	2.038e0

146.5793	3.038e0

146.6383	1.063e0

146.6853	1.013e0

146.8497	1.038e0

146.9337	2.532e-2

147.0232	1.051e0

147.3574	1.025e0

147.4701	2.532e-2

147.5234	2.532e-2

147.5458	1.266e-2

147.6907	2.532e-2

148.3540	1.266e-2

148.5092	1.013e0

148.6711	1.266e-2

148.7233	1.025e0

148.7859	2.532e-2

148.8537	2.038e0

148.9463	2.025e0

149.0151	2.025e0

149.4494	2.532e-2

149.4805	2.532e-2

149.5819	1.038e0

149.6218	1.013e0

149.7719	3.038e0

149.8626	2.051e0

149.9566	2.532e-2

150.1408	1.325e0

150.3474	1.266e-2

150.4165	2.532e-2

150.6248	1.013e0

150.9962	1.013e0

151.0687	1.013e0

152.0282	3.342e1

152.5990	1.051e0

152.7335	2.532e-2

152.9425	1.013e0

153.0277	4.051e0

153.0871	2.532e-2

153.1674	1.025e0

153.4536	2.532e-2

153.7878	1.266e-2

153.8967	1.266e-2

154.0888	3.038e0

154.4176	3.798e-2

154.4670	1.266e-2

154.6573	3.798e-2

154.7214	2.025e0

154.7795	2.532e-2

154.9136	1.025e0

155.1724	3.798e-2

155.1998	1.025e0

155.2427	2.532e-2

155.3605	1.025e0

155.3855	2.038e0

155.4826	2.532e-2

155.5128	1.266e-2

155.7489	3.051e0

156.0273	1.220e1

156.2240	2.532e-2

156.4336	3.063e0

156.7270	1.051e0

156.7907	3.189e0

156.8241	1.025e0

156.8795	3.063e0

156.9211	4.114e0

157.0338	3.960e2

157.1115	2.817e0

157.1691	1.498e1

157.2194	4.540e0

157.3224	6.089e0

157.4799	3.089e0

157.5583	2.076e0

157.5896	1.051e0

157.6390	2.900e0

157.6700	1.244e1

157.7015	3.769e0

157.7523	1.013e-1

157.8043	2.038e0

157.8760	3.051e0

157.9147	4.101e0

157.9596	1.038e0

158.0401	6.435e1

158.3327	2.051e0

158.3573	1.268e0

158.3980	5.063e-2

158.4262	3.635e0

158.4699	1.038e0

158.5025	2.038e0

158.7175	4.076e0

158.7431	1.063e0

158.7686	2.532e-2

158.7943	1.654e0

158.8397	3.051e0

158.8858	1.025e0

158.9011	2.038e0

158.9615	1.266e-2

159.0013	5.063e-2

159.0338	9.913e1

159.1034	4.966e0

159.1640	2.063e0

159.2707	3.798e-2

159.3064	1.266e-2

159.4335	2.063e0

159.5141	1.266e-2

159.6830	5.063e-2

159.7670	1.038e0

159.9072	2.532e-2

159.9471	1.266e-2

160.0367	3.177e0

160.1024	2.063e0

160.2187	1.038e0

160.4485	3.038e0

160.6121	2.532e-2

160.6573	1.266e-2

160.7084	3.798e-2

160.7418	1.266e-2

160.9581	2.532e-2

161.0440	3.337e-1

161.1373	3.063e0

161.4396	1.013e0

161.5661	2.025e0

161.6024	1.051e0

161.6926	1.038e0

161.8279	2.532e-2

162.1488	1.830e0

162.2734	2.038e0

162.3117	2.532e-2

162.3966	2.532e-2

162.4608	1.266e-2

162.5251	2.051e0

162.6443	1.038e0

162.8466	1.013e0

162.8845	1.266e-2

162.9454	3.798e-2

163.0750	2.076e0

163.1250	3.130e1

163.3121	1.013e0

163.3404	5.063e-2

163.4882	1.038e0

163.5680	1.025e0

163.5871	1.266e-2

163.6756	1.013e0

163.7401	2.532e-2

163.7977	1.266e-2

163.8551	1.025e0

163.8829	1.025e0

164.1120	5.197e1

164.2365	1.266e-2

164.2881	1.038e0

164.3029	1.051e0

164.5912	1.038e0

164.7277	1.013e0

164.7785	2.025e0

164.9355	6.329e-2

164.9802	1.013e0

165.0347	1.266e-2

165.3186	2.038e0

165.3420	2.025e0

165.3809	2.025e0

165.4396	1.126e0

165.4853	2.532e-2

165.6105	2.038e0

165.7281	1.038e0

165.8993	1.013e0

165.9606	1.013e0

166.1319	1.013e0

166.1631	3.798e-2

166.2245	2.532e-2

166.3083	2.038e0

166.4789	3.463e0

166.5777	2.038e0

166.6600	1.025e0

166.6993	1.025e0

166.8660	1.051e0

166.9900	1.038e0

167.3258	1.025e0

167.3642	1.038e0

167.5533	3.798e-2

167.6695	1.266e-2

167.7676	2.532e-2

167.8798	2.025e0

168.0089	3.798e-2

168.0789	3.063e0

168.2171	1.266e-2

168.3467	1.025e0

168.4258	2.532e-2

168.4962	2.532e-2

168.5259	2.532e-2

168.6208	1.025e0

168.7744	1.025e0

168.8594	1.025e0

169.0354	4.063e0

169.1529	1.013e0

169.3918	1.038e0

169.5088	1.266e-2

169.5801	2.038e0

169.7340	2.532e-2

169.8788	2.038e0

170.0708	4.051e0

170.2501	2.038e0

170.3401	1.038e0

170.3882	2.532e-2

170.4267	2.532e-2

170.6268	3.051e0

170.9315	2.025e0

170.9910	2.025e0

171.0282	4.228e0

171.1272	2.532e-2

171.1821	1.038e0

171.2843	1.266e-2

171.4625	1.266e-2

171.5104	1.038e0

171.5585	1.038e0

171.8001	2.025e0

171.8288	2.532e-2

171.8480	1.266e-2

172.3785	1.025e0

172.4355	3.798e-2

172.7097	3.038e0

172.7833	2.025e0

172.8036	2.532e-2

173.3829	1.025e0

173.9249	2.038e0

174.2424	1.266e-2

174.4249	1.025e0

174.7340	2.038e0

174.7678	2.038e0

174.7974	1.266e-2

174.8810	2.038e0

174.9451	2.532e-2

175.0026	2.532e-2

175.0274	2.532e-2

175.3952	1.013e0

175.4723	1.013e0

175.6520	1.266e-2

175.6876	1.266e-2

175.7857	1.266e-2

175.8426	1.266e-2

175.8699	2.051e0

175.9585	1.013e0

176.0369	5.063e-2

176.1825	2.038e0

176.4664	1.266e-2

176.5387	2.532e-2

176.5542	1.025e0

176.8339	1.266e-2

176.8865	1.266e-2

177.3517	2.025e0

177.7399	2.322e0

177.9094	1.266e-2

178.3710	1.025e0

178.7719	1.266e-2

178.8706	1.013e0

179.1125	4.051e0

179.4404	2.532e-2

179.8996	1.266e-2

179.9749	1.013e0

180.1057	1.399e0

180.4240	2.532e-2

180.7240	1.013e0

180.8860	2.025e0

180.9596	1.266e-2

181.1344	2.532e-2

181.2420	1.025e0

181.2986	3.038e0

181.3247	1.025e0

181.5677	1.266e-2

181.6001	1.013e0

181.6638	8.238e-1

181.7111	1.266e-2

181.7929	1.266e-2

182.4327	2.038e0

182.7318	2.532e-2

182.9467	2.532e-2

183.0604	5.291e0

183.5893	1.266e-2

183.6074	1.266e-2

183.6830	1.266e-2

183.7509	1.013e0

183.8120	3.038e0

183.8588	2.025e0

184.0964	1.038e0

184.5153	2.038e0

184.6925	1.266e-2

184.7505	2.532e-2

184.9092	3.798e-2

185.2143	2.532e-2

185.5096	2.025e0

185.5549	2.532e-2

185.6093	1.025e0

185.6415	3.051e0

185.9116	2.038e0

185.9326	1.013e0

186.0166	4.089e0

186.0662	4.051e0

186.3352	2.532e-2

186.4115	1.025e0

186.4877	2.025e0

186.6746	1.038e0

187.0919	3.038e0

187.3018	1.038e0

187.3473	2.532e-2

187.4583	1.025e0

187.6693	2.532e-2

187.6912	2.532e-2

187.7179	2.845e0

187.9197	2.038e0

188.2665	2.532e-2

188.3030	1.013e0

188.3640	3.798e-2

188.4178	1.025e0

188.4816	2.025e0

188.6858	2.532e-2

188.7952	1.266e-2

188.8887	4.063e0

188.9320	2.025e0

189.1782	1.266e-2

189.5119	2.532e-2

189.5743	1.013e0

189.6364	2.532e-2

189.8135	2.532e-2

189.9589	1.038e0

190.0164	2.038e0

190.2399	2.157e0

190.6032	1.025e0

190.6854	1.038e0

190.7649	3.051e0

190.8484	1.025e0

191.0144	2.025e0

191.1561	1.114e0

191.8989	1.051e0

192.1166	5.063e-2

192.1472	1.101e0

192.3098	1.038e0

192.4895	2.025e0

192.6097	2.532e-2

192.8210	1.013e0

192.9549	1.013e0

193.0229	1.025e0

193.0847	4.051e0

193.1357	8.152e0

193.2136	2.038e0

193.4124	2.532e-2

193.5328	1.051e0

193.8998	1.266e-2

194.1997	1.266e-2

194.2368	1.266e-2

194.4178	2.038e0

194.5108	1.025e0

194.6104	1.051e0

194.7963	1.266e-2

194.8335	2.532e-2

194.9566	3.798e-2

195.1474	1.833e0

195.1998	1.025e0

195.2386	2.532e-2

195.3106	2.025e0

195.4007	1.051e0

195.4353	1.266e-2

195.4596	2.025e0

195.5614	1.266e-2

195.6641	2.038e0

195.8826	2.905e-1

195.9142	1.266e-2

196.0819	1.013e0

196.2998	2.532e-2

196.4508	1.025e0

196.5196	2.025e0

196.5926	1.038e0

196.6477	1.013e0

196.6939	3.063e0

196.7562	1.025e0

196.7747	1.025e0

197.0576	2.532e-2

197.0894	2.532e-2

197.1650	2.846e0

197.2296	1.266e-2

197.5316	1.266e-2

197.5544	1.266e-2

197.6182	1.013e0

197.7353	2.532e-2

197.8738	2.532e-2

198.2092	1.266e-2

198.3340	3.798e-2

198.4649	2.532e-2

198.4816	1.013e0

198.6021	1.266e-2

198.7023	2.025e0

198.7358	1.266e-2

198.8450	1.013e0

198.9952	1.038e0

199.0638	3.038e0

199.1641	1.768e0

199.2199	1.266e-1

199.5448	2.532e-2

199.6321	1.266e-2

199.8120	2.051e0

200.1111	2.381e1

200.1961	1.063e0

200.3383	1.025e0

200.3854	3.798e-2

200.4962	2.063e0

200.6620	1.266e-2

200.6847	1.266e-2

200.7079	1.266e-2

200.7390	1.038e0

200.7653	3.798e-2

200.8506	1.025e0

200.9449	1.025e0

201.0146	2.532e-2

201.2568	3.798e-2

201.2876	2.532e-2

201.4245	1.038e0

201.5500	4.051e0

201.5949	3.051e0

201.6555	1.025e0

201.6808	1.051e0

201.7179	1.013e0

202.0451	3.798e-2

202.3446	1.013e0

202.4471	1.013e0

202.6095	2.025e0

202.7287	4.051e0

202.8055	1.266e-2

202.8363	1.013e0

202.8821	1.013e0

202.9166	1.038e0

203.0417	3.798e-2

203.0824	1.051e0

203.2777	1.025e0

203.3372	2.669e0

203.6889	2.038e0

203.7418	1.266e-2

203.7680	1.025e0

203.8746	1.025e0

204.2881	1.266e-2

204.5904	4.051e0

204.6573	5.756e-1

204.6767	4.751e-1

204.7974	1.013e0

204.8349	1.266e-2

204.9406	7.101e0

205.1359	2.789e1

205.1901	1.480e0

205.3933	1.051e0

205.5060	1.266e-2

205.6275	1.025e0

205.8924	3.051e0

206.1717	1.967e0

206.2068	3.051e0

206.2566	4.051e0

206.4012	1.038e0

206.7093	2.532e-2

207.0496	1.025e0

207.2300	1.266e-2

207.3701	2.025e0

207.4320	1.051e0

207.4756	1.013e0

207.6740	1.025e0

207.7112	5.063e-2

207.8434	1.266e-2

207.8849	1.266e-2

208.0328	2.025e0

208.3990	1.266e-2

208.7458	2.532e-2

208.9211	1.266e-2

208.9419	1.025e0

209.0701	1.266e-2

209.2814	1.266e-2

209.3437	1.266e-2

209.4250	1.266e-2

209.5665	1.025e0

209.7374	3.798e-2

209.9994	2.532e-2

210.3693	2.025e0

210.4411	1.025e0

210.8343	4.063e0

211.2450	1.025e0

211.6445	1.266e-2

211.8737	1.266e-2

211.9398	1.063e0

212.2793	2.025e0

212.4499	1.266e-2

212.4803	1.266e-2

212.5184	2.038e0

212.7669	1.266e-2

212.8103	2.025e0

212.8408	2.025e0

213.0039	1.013e0

213.3440	1.038e0

213.3761	2.532e-2

213.5820	1.266e-2

213.7845	1.266e-2

214.2857	1.266e-2

214.3974	3.798e-2

214.5328	1.025e0

214.6670	1.038e0

215.0724	1.266e-2

215.3461	3.051e0

215.3974	4.063e0

215.4597	2.532e-2

215.6147	2.038e0

215.7234	1.025e0

216.0729	2.030e0

216.3553	2.025e0

216.6567	1.025e0

216.7828	2.532e-2

217.0329	3.038e0

217.0977	6.941e0

217.1264	1.941e0

217.3347	1.013e0

217.6400	1.266e-2

217.7213	2.532e-2

218.0201	1.038e0

218.0935	7.606e-1

218.3464	2.532e-2

218.3968	1.038e0

218.4306	2.025e0

218.5004	3.038e0

218.6466	1.038e0

218.6982	2.038e0

218.8288	1.266e-2

218.9016	3.798e-2

218.9251	2.532e-2

219.1027	1.692e0

219.1485	3.020e0

219.2751	1.025e0

219.4347	1.456e0

219.5080	3.038e0

219.6124	1.266e-2

219.8934	2.532e-2

220.0917	1.650e0

220.3209	2.025e0

220.3724	1.266e-2

220.4196	1.025e0

220.6903	1.051e0

220.7756	1.266e-2

220.9428	1.025e0

220.9788	1.063e0

221.0005	2.025e0

221.5193	1.038e0

221.7215	3.798e-2

221.9812	1.266e-2

222.0422	3.038e0

222.2271	1.038e0

222.6846	3.798e-2

222.8545	2.532e-2

222.9342	2.532e-2

222.9895	2.532e-2

223.2656	1.266e-2

223.4281	1.013e0

223.9683	1.013e0

224.3525	2.532e-2

224.7040	1.013e0

225.0880	7.897e-1

225.3190	1.025e0

225.5540	2.532e-2

225.7175	1.266e-2

226.5428	5.139e0

226.9645	1.063e0

227.1797	5.063e0

227.3485	4.051e0

227.5847	6.329e-2

227.7908	1.051e0

227.9419	1.038e0

227.9731	3.038e0

228.0013	2.025e0

228.0309	3.396e0

228.1487	6.508e0

228.3275	2.025e0

228.8900	2.038e0

228.9708	2.025e0

229.0216	4.051e0

229.2356	1.266e-2

229.3146	2.532e-2

229.3583	1.038e0

229.5339	2.025e0

229.7959	2.532e-2

229.9341	2.532e-2

230.0456	1.607e0

230.1095	1.084e0

230.3841	1.266e-2

230.4503	1.025e0

230.5556	1.025e0

230.9435	3.051e0

231.0313	2.532e-2

231.2732	1.038e0

231.3453	2.025e0

231.7163	2.532e-2

232.6234	2.051e0

232.7050	1.266e-2

232.7309	1.038e0

232.7877	2.025e0

232.8243	3.798e-2

232.8694	2.532e-2

233.0270	2.025e0

233.3035	2.532e-2

233.8374	1.063e0

233.8776	5.063e-2

234.0262	2.025e0

234.2763	1.266e-2

234.3024	1.025e0

234.4710	1.013e0

234.9494	1.025e0

235.0358	3.480e0

235.0902	3.733e-1

235.3242	1.025e0

235.3792	1.266e-2

235.5487	3.038e0

235.6057	1.063e0

235.7078	2.038e0

235.8640	1.013e0

235.9343	2.025e0

236.2011	2.298e0

236.2525	5.063e-2

236.4153	1.038e0

236.4753	2.025e0

236.5538	2.038e0

236.5951	1.266e-2

236.7196	1.051e0

236.8636	3.051e0

237.2277	2.532e-2

237.4156	1.025e0

237.5245	2.089e0

237.6187	3.063e0

237.8570	1.025e0

238.1187	1.984e-1

238.4015	1.266e-2

238.5351	3.798e-2

238.6005	2.025e0

238.6460	1.025e0

238.8214	5.063e-2

238.9619	3.798e-2

239.2987	1.051e0

239.5419	3.798e-2

239.5922	2.532e-2

239.6507	2.051e0

239.8114	1.266e-2

239.9262	1.025e0

240.1399	1.963e2

240.2996	1.038e0

240.3377	3.051e0

240.5103	2.035e0

240.5953	3.798e-2

240.8429	2.532e-2

241.1468	4.942e1

241.3494	2.038e0

241.3956	2.532e-2

241.5448	3.063e0

241.6033	1.013e0

241.7779	2.038e0

241.8739	6.329e-2

241.9060	1.051e0

242.0020	6.630e0

242.0468	4.051e0

242.1192	8.001e2

242.2862	7.696e-1

242.3228	1.063e0

242.4633	1.025e0

242.5193	3.202e0

242.5533	3.051e0

242.5929	2.961e0

242.6525	6.329e-2

242.6967	2.063e0

242.7230	1.479e0

242.7534	3.798e-2

242.8032	2.532e-2

242.8467	4.076e0

242.8774	2.051e0

242.9033	2.089e0

242.9436	2.173e0

243.0600	6.912e0

243.1231	1.324e2

243.2398	5.076e0

243.3832	2.532e-2

243.4355	2.025e0

243.4925	6.329e-2

243.5980	6.127e0

243.7159	3.460e0

243.7434	5.063e-2

243.8436	1.643e-1

243.9051	1.361e-1

244.1209	1.339e0

244.1789	1.165e0

244.2151	1.357e0

244.2642	5.076e0

244.3205	1.038e0

244.3953	1.051e0

244.4330	3.051e0

244.6056	1.063e0

244.6513	2.038e0

244.6779	1.063e0

244.7281	3.798e-2

244.7709	3.051e0

244.9003	3.063e0

244.9725	2.762e0

245.1222	3.076e0

245.1783	5.581e-1

245.7053	3.798e-2

245.7582	2.038e0

245.7831	1.476e0

245.8639	1.013e0

246.0140	1.013e0

246.0737	5.439e1

246.4068	2.038e0

246.4812	2.051e0

246.5605	1.266e-2

246.6106	1.038e0

246.9675	2.532e-2

247.0724	1.252e0

247.2207	3.842e0

247.3706	1.013e0

247.4261	2.038e0

247.7010	2.025e0

247.7248	2.038e0

247.9668	1.025e0

248.0703	1.533e1

248.3165	1.266e-2

248.3516	1.025e0

248.4084	2.532e-2

248.4751	2.025e0

248.5161	1.266e-2

248.6382	1.025e0

248.6842	2.532e-2

248.7477	1.266e-2

248.8825	2.038e0

248.9082	1.025e0

249.2556	1.051e0

249.3766	1.025e0

249.4421	3.051e0

249.5611	2.025e0

249.5908	1.266e-2

249.6638	3.051e0

249.7263	1.038e0

249.8170	3.798e-2

250.3665	1.038e0

250.4623	2.532e-2

250.5272	1.013e0

250.6022	2.504e-1

250.7352	1.598e0

250.8418	2.038e0

250.9588	2.750e0

250.9890	5.228e0

251.2489	1.239e0

251.5992	1.038e0

251.8248	1.266e-2

251.9896	3.782e0

252.0347	1.107e0

252.4112	2.038e0

252.4716	1.025e0

252.5461	1.266e-2

252.6082	3.038e0

252.6768	1.005e0

252.7227	4.432e-1

252.7604	7.560e0

253.0451	7.622e-2

253.1692	1.658e3

253.2837	1.065e1

253.3366	2.559e1

253.4094	3.864e0

253.5072	5.949e0

253.5580	2.732e0

253.5940	5.929e0

253.6174	3.292e0

253.6781	1.868e0

253.7069	4.380e0

253.7492	8.073e0

253.8162	1.081e1

253.9666	1.794e-1

254.0165	2.821e0

254.0745	1.386e0

254.1747	3.800e2

254.3012	2.038e0

254.4444	6.076e0

254.4893	2.532e-2

254.5702	6.076e0

254.6652	4.312e-1

254.6940	1.134e0

254.8331	2.634e-2

255.1796	3.925e1

255.2712	4.296e0

255.3687	3.011e0

255.4771	2.532e-2

255.5145	5.702e-1

255.5659	2.152e-2

255.6289	1.013e0

255.8560	1.568e0

256.1399	3.569e1

256.3327	1.025e0

256.9685	1.905e1

257.3038	2.532e-2

257.4618	2.025e0

257.5378	2.765e0

257.6374	1.266e-2

257.8687	2.502e0

258.0579	8.693e0

258.2635	1.382e1

258.3238	7.992e0

258.4097	6.198e0

258.4517	4.380e0

258.4884	1.116e1

258.5478	7.843e0

258.5905	3.290e0

258.6324	8.975e0

258.6649	6.563e0

258.6895	6.574e0

258.7460	6.719e0

258.7819	1.767e0

258.8264	9.528e0

258.8659	8.790e0

258.9085	7.234e0

258.9561	5.032e0

259.0479	8.555e0

259.1745	4.978e0

259.3181	3.565e0

259.3616	4.892e0

259.4074	4.716e0

259.4794	2.683e0

259.5255	1.729e1

259.5542	1.316e1

259.5937	8.928e0

259.6364	4.374e1

259.6947	1.636e1

259.7615	3.229e1

259.8066	2.574e1

259.8579	2.287e1

259.8884	3.434e1

259.9222	3.544e1

259.9722	2.698e1

260.0839	1.995e4

260.2015	1.087e2

260.2538	5.291e2

260.3093	1.293e2

260.3599	1.837e2

260.4048	1.186e2

260.4635	1.868e2

260.5038	3.146e1

260.5374	1.404e2

260.5711	1.654e2

260.5992	1.994e2

260.6279	8.796e1

260.6808	2.442e2

260.7375	4.925e1

260.7684	1.701e2

260.8067	4.726e1

260.8689	1.236e2

260.9048	1.039e2

260.9406	1.376e2

260.9759	1.188e2

261.0889	4.600e3

261.1526	9.513e1

261.2107	1.505e2

261.2488	5.503e1

261.2762	4.222e1

261.3208	1.380e1

261.4305	8.122e1

261.4731	9.224e1

261.5387	5.644e1

261.5922	4.264e1

261.6329	4.164e1

261.6601	8.094e1

261.6884	8.231e1

261.7356	1.291e2

261.7952	1.122e2

261.8614	1.004e2

261.9326	1.251e2

261.9932	4.755e1

262.0826	7.866e3

262.1996	2.297e2

262.2512	1.625e2

262.3196	8.613e1

262.3862	9.100e1

262.4733	6.767e1

262.5383	4.079e1

262.6424	1.394e2

262.7065	4.582e1

262.7490	1.136e2

262.8012	1.092e1

262.8615	3.984e1

263.0295	3.187e1

263.0858	1.420e3

263.1641	6.784e1

263.2499	4.291e1

263.3092	1.198e2

263.3680	3.793e1

263.3962	3.793e1

263.4455	4.594e1

263.4851	6.892e1

263.5210	1.698e1

263.5557	1.998e1

263.6826	6.997e1

263.7333	4.699e1

263.8150	4.400e1

263.8656	2.300e1

263.8924	1.901e1

263.9653	4.102e1

264.0905	2.422e2

264.1597	3.905e1

264.2162	1.803e1

264.2573	4.707e1

264.3177	2.051e0

264.3716	2.532e-2

264.4139	3.798e-2

264.4709	2.063e0

264.5096	2.089e0

264.5544	3.878e0

264.5975	6.299e0

264.6715	2.063e0

264.7020	2.025e0

264.7443	3.905e0

264.8133	8.556e0

264.8806	1.051e0

264.9529	8.101e0

265.0012	3.038e0

265.0919	6.159e0

265.1389	3.912e0

265.1971	1.426e0

265.3224	1.025e0

265.4611	2.129e-1

265.5372	1.694e0

265.6187	1.266e-2

265.7719	4.076e0

265.8749	2.076e0

265.9526	2.025e0

266.1847	9.995e-1

266.4034	4.051e0

266.5391	2.038e0

266.6313	1.950e0

266.7266	4.063e0

267.1873	5.669e1

267.2899	4.174e0

267.3503	4.670e0

267.8817	2.532e-2

268.1970	2.294e1

268.2584	3.051e0

268.4460	1.266e-2

268.5627	3.089e0

268.7336	1.025e0

269.0658	2.460e-1

269.5657	5.063e0

270.2813	1.266e-2

270.4041	1.013e0

270.5251	3.038e0

270.5728	2.025e0

270.6026	2.532e-2

270.7473	2.532e-2

270.8296	2.025e0

270.9583	1.266e-2

271.2009	1.699e0

271.6510	1.025e0

271.7933	1.624e-1

271.8401	2.532e-2

272.6088	1.051e0

272.6917	2.025e0

272.9354	1.013e0

273.3224	1.013e0

273.4130	1.266e-2

273.4751	1.013e0

273.6068	2.532e-2

274.2006	7.367e-1

274.5313	2.089e0

274.8794	1.266e-2

274.9537	5.076e0

275.2198	2.480e0

275.5779	2.331e0

275.6795	1.025e0

275.7210	2.025e0

276.0942	7.852e-1

276.2033	2.481e0

276.3345	1.013e0

276.4929	1.266e-2

276.5379	5.063e-2

276.5825	2.025e0

276.7978	1.266e-2

277.0363	1.013e0

277.2099	8.390e-1

277.3697	2.025e0

277.4536	1.266e-2

277.6390	1.051e0

277.8340	1.266e-2

277.9426	2.025e0

278.1979	1.818e0

278.2623	1.025e0

278.4418	3.798e-2

278.5345	2.532e-2

278.6963	1.025e0

278.8986	1.266e-2

279.1127	1.073e2

279.3192	1.266e-2

279.3527	2.532e-2

279.4745	1.266e-2

279.5500	3.038e0

279.7450	2.025e0

279.7912	1.266e-2

279.9494	1.038e0

280.3692	2.051e0

280.4265	1.266e-2

280.4540	1.266e-2

280.7314	2.971e-1

280.7755	1.025e0

280.8320	1.038e0

281.1649	4.818e0

281.2139	8.152e0

281.3119	6.089e0

281.7155	1.038e0

281.7836	2.025e0

281.8618	1.013e0

282.0704	4.317e2

282.1809	4.556e0

282.3293	1.025e0

282.4351	2.443e0

282.5417	1.025e0

282.6119	1.266e-2

282.7333	1.038e0

282.7893	4.051e0

282.8202	1.025e0

282.8612	2.532e-2

283.0174	2.025e0

283.0752	5.885e1

283.1505	1.612e1

283.1925	6.309e0

283.5524	2.532e-2

283.9543	1.025e0

284.0690	1.331e2

284.6923	3.798e-2

284.7431	2.532e-2

284.8625	2.025e0

285.0677	1.919e1

285.3756	3.038e0

285.7066	2.038e0

285.8445	1.013e0

285.9438	2.532e-2

286.3153	2.532e-2

286.5836	4.051e0

286.6819	1.266e-2

286.7571	4.076e0

286.8210	2.051e0

286.9800	2.532e-2

287.2458	1.038e0

287.4078	2.532e-2

287.6269	2.025e0

288.0290	7.595e-2

288.2056	2.025e0

288.3588	2.532e-2

288.5053	1.038e0

288.7694	1.025e0

288.9071	1.051e0

289.3961	2.532e-2

289.4374	3.798e-2

289.4810	2.051e0

289.6075	1.013e0

289.7657	2.025e0

289.8662	3.051e0

290.0136	3.798e-2

290.3498	1.266e-2

290.5132	1.266e-2

290.5986	1.266e-2

290.6819	3.038e0

290.7446	1.266e-2

290.9619	1.013e0

291.1860	1.015e0

291.3102	1.266e-2

291.5603	1.013e0

291.6615	1.266e-2

291.9652	2.025e0

292.1146	5.658e1

292.1932	1.096e0

292.3179	1.266e-2

292.4285	1.013e0

292.6054	1.013e0

292.6664	2.038e0

292.6931	2.038e0

292.7550	1.013e0

292.8043	2.038e0

293.1935	5.711e1

293.2863	1.076e0

293.3424	1.266e-2

293.7211	3.798e-2

293.7936	1.051e0

293.9066	2.532e-2

294.1128	5.412e0

294.1948	5.894e0

294.2571	2.532e-2

294.4076	1.013e0

294.4663	4.229e0

294.5878	2.025e0

294.6313	2.051e0

294.6873	2.532e-2

294.7283	1.051e0

294.8355	1.013e0

295.1609	6.641e0

295.2255	1.747e0

295.3621	1.266e-2

295.4159	2.025e0

295.5455	2.532e-2

295.6954	1.266e-2

295.7906	1.025e0

295.8363	2.025e0

295.9218	2.532e-2

296.3773	2.025e0

296.5602	2.532e-2

296.8517	1.013e0

297.3875	2.025e0

297.4748	2.025e0

297.5394	1.266e-2

297.7310	1.266e-2

297.8121	3.038e0

297.9128	2.038e0

297.9874	8.696e0

298.0444	8.392e1

298.4241	1.266e-2

298.5096	1.025e0

298.5924	2.025e0

298.7515	1.038e0

298.7982	4.051e0

299.0334	8.187e0

299.0584	6.139e0

299.2755	6.329e-2

299.3797	2.038e0

299.4308	2.038e0

299.4949	2.025e0

299.5198	2.051e0

299.6078	1.038e0

299.7097	1.266e-2

300.0373	2.716e1

300.2441	3.337e0

300.3203	2.025e0

300.4507	3.038e0

300.5763	3.359e0

300.6842	2.025e0

300.7526	3.879e0

300.7900	6.273e0

300.8366	2.335e0

300.8846	7.595e-2

300.9457	2.038e0

301.1111	2.693e1

301.2460	4.774e0

301.3245	5.626e0

301.3853	2.038e0

301.4254	1.840e-1

301.4903	7.673e0

301.5471	1.365e0

301.6096	4.442e0

301.6490	3.003e-1

301.7659	3.076e0

301.8192	6.101e0

301.9044	1.025e0

302.0377	4.046e0

302.1165	4.216e1

302.3022	3.038e0

302.3314	2.051e0

302.4239	2.051e0

302.4692	1.204e0

302.5370	3.038e0

302.5648	5.063e0

302.8110	1.114e1

302.8974	1.154e1

303.1195	5.579e1

303.2473	2.281e0

303.3300	1.434e0

303.5141	3.530e0

303.5687	1.039e0

303.5957	3.081e0

303.6422	3.089e0

303.6734	7.101e0

303.7142	5.243e0

303.7686	3.076e0

303.8345	2.477e0

304.0363	8.297e0

304.1286	3.557e2

304.2527	1.063e1

304.3675	5.063e0

304.5313	5.063e-2

304.9357	1.038e0

305.1349	3.944e2

305.4945	3.798e-2

305.5466	6.329e-2

305.7133	1.051e0

306.0107	8.277e0

306.1288	5.493e1

306.2277	8.112e0

306.3718	4.355e-1

306.4845	3.798e-2

306.5253	1.013e0

306.7703	1.013e0

307.0084	8.190e-1

307.1272	2.737e1

307.1958	1.762e-1

307.3357	3.798e-2

307.3845	3.051e0

307.4305	6.329e-2

307.5227	2.089e0

307.5919	3.038e0

307.8490	1.051e0

307.8794	5.063e-2

308.1263	1.661e1

308.2368	3.510e0

308.3208	2.038e0

308.4395	3.798e-2

308.5096	2.025e0

308.6064	4.076e0

308.9570	4.504e0

309.0172	7.291e-1

309.2387	8.981e-1

309.3196	3.063e0

309.3723	2.051e0

309.4147	1.266e-2

309.5169	7.089e0

309.5863	1.025e0

309.8367	2.532e-2

309.9813	1.015e0

310.3134	1.025e0

310.3415	2.025e0

310.4479	1.038e0

310.6048	1.038e0

310.6484	1.025e0

310.7227	1.025e0

310.7883	1.025e0

310.9527	2.025e0

311.5922	2.025e0

311.7232	1.266e-2

311.8550	1.013e0

312.3113	1.266e-2

312.3905	1.013e0

312.4796	2.025e0

312.6796	1.025e0

312.8266	1.013e0

313.5424	7.248e-1

313.6266	1.013e0

313.6815	1.038e0

313.8197	1.013e0

314.3585	1.037e0

314.4018	2.025e0

314.5008	7.125e-1

314.6778	1.266e-2

315.1745	3.581e1

315.5052	1.038e0

315.5384	2.532e-2

315.6388	1.013e0

315.8887	1.013e0

316.1884	3.600e0

316.3188	1.038e0

316.4320	3.038e0

316.7856	2.532e-2

316.9134	3.415e0

317.1475	3.411e1

317.2840	8.059e-1

317.5101	1.025e0

317.6021	2.532e-2

317.7985	2.025e0

317.9871	2.483e-2

318.1579	5.490e1

318.2747	5.390e-1

318.3577	4.063e0

318.4647	1.266e-2

318.5651	3.798e-2

318.6463	2.532e-2

318.6818	2.025e0

318.7859	2.038e0

318.8412	2.025e0

318.8775	2.038e0

319.0467	9.018e-1

319.1410	5.271e1

319.1734	1.452e1

319.3723	2.025e0

319.4565	1.038e0

319.5175	1.266e-2

319.5699	1.266e-2

319.6079	1.025e0

319.7555	1.266e-2

320.1312	3.001e1

320.3564	3.063e0

320.4392	4.063e0

320.5260	8.101e0

320.6309	2.532e-2

320.7159	1.266e-2

320.7504	2.532e-2

320.8815	2.532e-2

320.9171	2.038e0

321.0339	8.256e-1

321.1172	1.272e1

321.1501	1.558e1

321.4814	4.063e0

321.5237	1.266e-2

321.5885	3.798e-2

321.7069	2.038e0

321.7825	1.025e0

321.9154	1.013e0

322.3860	2.025e0

322.4620	2.025e0

322.5134	3.798e-2

322.5767	1.215e1

322.6151	3.063e0

322.6710	3.051e0

322.7220	2.089e0

322.7710	7.089e0

322.8057	1.197e0

322.9183	1.218e1

322.9691	2.810e0

323.0920	2.866e3

323.2471	2.846e-1

323.2936	1.946e1

323.3437	7.139e0

323.3810	9.189e0

323.4179	1.076e0

323.4700	1.073e1

323.5398	3.835e0

323.6628	4.844e0

323.6962	7.114e0

323.7472	2.030e1

323.8001	4.063e0

323.8613	1.017e1

323.9244	1.311e1

324.0982	7.800e2

324.2869	4.389e-1

324.3346	3.942e0

324.3745	6.036e0

324.4319	3.694e0

324.4710	2.872e0

324.5988	5.076e0

324.6471	4.051e0

324.6782	6.076e0

324.7155	3.063e0

324.7549	4.253e0

324.8147	5.876e0

324.9390	1.246e1

324.9984	2.619e0

325.0920	1.195e3

325.3366	9.100e-1

325.3703	2.063e0

325.4085	3.372e0

325.5226	4.063e0

325.5882	9.620e-1

325.6458	1.038e0

325.6916	3.651e0

325.7266	2.475e0

325.7777	3.051e0

325.8478	4.076e0

325.8886	2.038e0

325.9561	2.592e0

326.0969	2.523e2

326.2643	4.174e0

326.3178	2.593e0

326.5508	9.240e-1

326.6478	3.051e0

326.7726	3.798e-2

326.8315	5.076e0

327.0970	1.384e1

327.4451	1.854e0

327.6483	3.023e0

327.8421	2.106e0

328.0935	4.389e0

328.3545	2.400e0

328.4722	2.872e0

328.5758	1.212e0

328.6724	9.853e-1

328.9724	4.099e0

329.0617	7.215e0

329.5771	3.785e0

330.4521	2.231e0

330.7623	3.407e0

330.8825	4.468e-2

331.1619	2.159e2

331.2643	3.051e0

331.5606	3.246e0

331.6199	2.766e0

331.8549	2.201e-1

332.1676	4.468e1

332.5131	2.421e0

332.8703	2.561e-1

333.1568	1.011e2

334.0370	9.195e-2

334.6595	2.530e0

334.8231	2.699e0

334.8911	1.958e0

334.9759	6.140e0

335.5684	2.979e0

335.6109	2.570e0

335.6991	1.934e0

335.7869	2.661e0

336.3420	4.731e0

336.3830	2.621e0

336.4791	9.806e-2

336.5308	1.488e0

336.5932	2.076e0

336.6610	3.444e0

336.7584	2.831e0

336.7883	3.489e0

336.9415	3.980e0

337.0257	3.932e0

337.2684	6.421e0

337.4028	4.704e0

337.4426	7.195e0

337.5025	1.143e-1

337.5463	8.553e0

337.6498	2.266e1

337.6923	1.691e1

337.7648	2.271e1

337.8318	6.963e0

337.8667	1.289e1

337.9452	1.103e1

338.0986	1.545e4

338.2306	6.595e1

338.3264	1.915e2

338.3666	6.695e1

338.5070	9.827e1

338.5897	6.995e1

338.6684	7.495e1

338.7167	1.227e2

338.7810	8.423e1

338.8258	7.295e1

338.9002	1.692e2

338.9780	2.032e1

339.0123	4.263e1

339.1020	3.419e3

339.2619	9.627e1

339.3152	4.663e1

339.3985	9.827e1

339.4632	7.395e1

339.5696	7.295e1

339.6439	7.195e1

339.8083	7.395e1

339.8870	7.395e1

340.0968	6.282e3

340.1965	6.695e1

340.2564	4.363e1

340.3315	7.649e1

340.3998	4.463e1

340.4360	4.863e1

340.4978	4.763e1

340.5939	2.232e1

340.6642	4.363e1

340.7207	2.432e1

340.7584	7.295e1

340.8442	1.489e2

340.9995	4.963e1

341.0966	1.460e3

341.1692	1.013e2

341.2236	7.095e1

341.2907	7.095e1

341.3448	9.927e1

341.4048	2.232e1

341.4697	4.763e1

341.6564	4.863e1

341.7076	2.532e1

341.8305	2.332e1

341.8649	2.232e1

341.9740	2.332e1

342.0232	2.132e1

342.1008	3.181e2

342.1624	4.563e1

342.3239	5.328e0

342.4706	1.166e0

342.6327	2.923e-1

342.6850	1.128e1

342.7700	1.247e1

343.0983	3.729e1

343.1842	2.106e1

343.2144	3.076e1

343.4475	4.278e0

343.6685	3.982e0

343.8275	5.357e0

343.8981	3.063e0

344.0167	1.092e0

344.0581	3.280e0

344.1102	2.740e1

344.2045	4.096e1

344.8721	7.645e-1

345.1072	2.803e-1

345.1388	4.214e0

345.1996	2.146e2

345.3446	2.397e0

345.4998	1.520e0

345.8296	3.283e0

345.8874	2.216e0

346.2041	6.292e1

346.4479	1.389e0

346.4854	1.722e0

346.5595	1.167e1

346.7973	6.078e-1

346.9870	8.295e-1

347.1976	1.128e1

347.2370	3.350e0

347.5547	5.325e0

348.0524	2.345e0

348.3426	1.025e-2

348.5652	1.933e0

349.1596	4.903e1

349.6488	4.519e-2

349.8309	2.263e0

350.1508	1.551e0

350.9100	2.038e0

351.2939	4.896e0

351.5042	1.707e0

351.7934	1.880e0

351.8825	1.766e0

351.9615	2.763e0

352.0166	1.430e0

352.3484	3.423e-1

352.4141	1.025e0

352.8200	1.671e0

353.3740	1.038e0

353.4708	5.076e0

353.6046	8.888e-1

353.7012	2.532e-2

353.7551	4.951e0

353.9230	5.063e0

354.0639	1.752e0

354.3244	1.156e0

354.3696	4.051e0

354.4506	1.025e0

354.4860	3.063e0

354.5610	2.181e-1

354.6330	2.308e0

354.7087	4.063e0

354.7645	5.565e-1

354.8087	8.267e0

354.8870	2.934e0

355.0459	3.432e0

355.1817	3.026e3

355.3157	1.512e1

355.3546	2.909e0

355.3933	2.025e1

355.5309	3.291e0

355.5651	8.650e-1

355.5992	4.019e0

355.7008	8.532e0

355.7825	8.101e0

355.8773	7.213e0

356.0092	1.996e-1

356.1197	6.736e0

356.1874	9.270e2

356.2930	1.092e0

356.3437	3.742e0

356.4260	2.038e0

356.4716	6.106e-1

356.5593	3.902e0

356.6896	2.275e0

356.8193	2.949e0

356.8661	4.685e0

356.9295	8.861e-2

356.9822	5.238e0

357.1964	4.020e2

357.3156	5.380e0

357.4223	2.089e0

357.5895	8.407e0

357.6487	3.603e0

357.7283	7.089e0

357.7854	2.025e0

357.8537	8.092e-1

358.0679	5.756e-1

358.2016	8.215e1

358.3128	3.798e-2

358.4309	3.063e0

358.6016	4.389e-1

358.7536	3.292e0

358.8026	3.038e0

359.2021	1.238e0

359.3465	2.038e0

359.5286	1.025e0

359.5801	3.747e0

359.7834	1.025e0

359.8460	3.808e0

359.9750	1.862e0

360.0822	2.564e2

360.1902	2.077e0

360.3364	5.999e0

360.4017	2.025e0

360.5179	1.266e-2

360.6768	2.038e0

360.7364	2.025e0

360.8385	1.809e0

360.9830	4.761e0

361.0883	3.863e1

361.2135	8.039e0

361.3955	2.025e0

361.4604	3.063e0

361.4974	3.051e0

361.5397	1.025e0

361.6587	1.038e0

361.7090	1.013e0

361.7649	2.532e-2

361.8044	2.532e-2

361.9756	1.917e0

362.0788	1.083e2

362.2264	1.756e0

362.5226	2.532e-2

362.5957	1.025e0

362.7198	7.297e0

362.7968	1.418e0

363.0815	6.499e0

363.1665	1.120e2

363.5439	3.038e0

363.6219	3.063e0

363.7427	9.941e-1

363.7928	4.051e0

363.8316	2.936e0

364.1238	1.970e1

364.1644	3.018e1

364.2744	6.051e0

364.4317	2.025e0

364.7903	1.025e0

365.0673	7.270e-1

365.2643	2.600e0

365.3190	2.025e0

365.5402	2.025e0

365.6294	1.038e0

365.7002	2.532e-2

365.7466	1.266e-2

365.7793	1.013e0

365.9088	5.998e0

366.0738	2.368e0

366.1127	1.349e0

366.1665	3.262e0

366.2516	1.792e0

366.5537	3.038e0

366.5895	1.025e0

366.6409	1.013e0

366.7394	2.051e0

366.8607	1.025e0

367.0260	2.197e0

367.1280	2.640e-1

367.5920	2.025e0

367.7583	1.013e0

367.8194	3.038e0

367.8624	1.733e0

368.5259	3.798e-2

368.5705	2.025e0

368.6687	3.038e0

368.7290	3.051e0

368.8172	1.266e-2

368.8750	1.038e0

369.4626	1.038e0

369.5101	2.532e-2

369.7122	2.532e-2

369.7417	2.025e0

369.8439	1.266e-2

370.1310	4.301e0

370.2471	1.445e0

370.4157	5.063e-2

370.5071	3.038e0

370.5703	2.532e-2

370.6772	3.038e0

370.7075	2.342e0

370.7847	1.266e-2

370.8300	2.532e-2

370.9560	4.063e0

370.9926	1.025e0

371.1835	6.912e0

371.3644	1.013e0

371.5332	2.025e0

371.6810	5.076e0

372.0758	1.195e0

372.2836	1.750e0

372.5434	1.266e-2

372.5893	1.013e0

372.7486	3.063e0

373.0351	1.632e0

373.1199	3.974e0

373.3346	2.076e0

373.6011	1.025e0

373.8456	1.013e0

373.8873	4.051e0

374.0298	8.382e-1

374.2689	1.063e0

374.3977	2.038e0

374.5054	2.025e0

374.6436	2.025e0

374.7188	1.536e0

375.2778	3.281e0

375.5206	2.532e-2

375.7435	1.025e0

375.9056	6.076e0

376.3507	3.038e0

376.4287	1.013e0

376.4806	1.266e-2

376.5214	1.025e0

376.5543	1.013e0

376.6281	3.051e0

376.7484	1.013e0

376.8020	1.266e-2

376.8734	1.266e-2

377.1868	3.179e0

377.3012	1.818e0

377.5063	1.266e-2

377.6723	1.025e0

377.7375	2.025e0

377.7914	1.025e0

377.8811	2.532e-2

377.9815	7.114e0

378.2814	1.811e0

378.7623	2.051e0

378.8093	1.013e0

378.9549	1.013e0

379.0168	2.362e0

379.1755	2.428e1

379.3045	2.830e0

379.4674	1.266e-2

379.5516	3.038e0

379.6013	2.051e0

379.8442	2.025e0

380.4074	4.051e0

380.4955	2.025e0

380.5987	4.321e0

380.6647	1.038e0

380.7133	3.038e0

380.7723	3.038e0

381.0025	1.038e0

381.0652	5.076e0

381.1756	8.864e2

381.3217	7.089e0

381.4199	4.893e0

381.5085	3.201e0

381.5561	4.791e0

381.6195	2.063e0

381.7126	4.843e0

381.8526	8.711e0

381.9732	4.051e0

382.0478	1.121e0

382.1791	2.011e2

382.2892	4.094e0

382.4223	2.025e0

382.4584	1.038e0

382.5356	4.076e-1

382.6359	3.038e0

382.7313	5.101e0

382.7793	2.025e0

382.8944	2.025e0

382.9628	2.089e0

383.1712	3.064e2

383.4157	1.038e0

383.6290	2.635e0

383.6863	2.038e0

383.8858	3.038e0

383.9771	1.231e0

384.1754	6.456e1

384.3839	2.025e0

384.4869	2.380e0

384.5632	3.038e0

384.6730	3.038e0

384.8897	2.025e0

384.9571	2.532e-2

385.0077	3.798e-2

385.1701	3.670e0

385.3509	3.398e0

385.3946	3.089e0

385.4679	2.025e0

385.6426	1.051e0

385.7036	2.532e-2

385.7903	5.063e0

385.8781	4.162e0

385.9119	2.532e-2

386.0314	2.025e0

386.2607	2.156e1

386.3319	7.595e0

386.6248	1.025e0

386.6647	1.025e0

386.7215	2.038e0

386.7690	1.013e0

386.8194	1.013e0

387.0124	6.067e0

387.0809	3.100e0

387.1223	4.846e0

387.2636	1.472e1

387.3304	4.051e0

387.3809	3.779e0

387.4488	2.025e0

387.5869	2.038e0

387.8708	3.051e0

388.0645	7.561e-1

388.4105	2.025e0

388.4883	2.038e0

388.6218	3.038e0

388.7264	3.798e-2

388.7826	2.038e0

388.8323	1.025e0

388.8936	1.013e0

389.2002	4.008e0

389.2386	9.402e0

389.3086	5.615e0

389.5489	1.266e-2

389.9875	2.038e0

390.1330	1.998e0

390.2265	9.895e0

390.3870	1.266e-2

390.6014	1.266e-2

391.2756	4.375e0

391.3193	2.896e0

391.5295	1.266e-2

391.5755	1.266e-2

391.6644	1.266e-2

391.7377	1.013e0

391.8395	1.038e0

391.9974	3.038e0

392.1587	4.016e0

392.1982	6.184e0

392.3143	1.963e0

392.4544	2.051e0

392.6214	1.013e0

392.7379	1.266e-2

392.8871	3.038e0

393.0093	4.051e0

393.0458	2.985e0

393.2220	1.459e-1

393.4783	2.025e0

393.5488	1.025e0

393.8519	1.565e0

394.0075	1.266e-2

394.3200	1.331e0

394.4203	2.532e-2

394.4697	2.025e0

394.5192	1.051e0

394.6738	1.013e0

394.8051	1.266e-2

395.0819	2.588e0

395.1127	3.422e0

395.1783	1.306e1

395.5016	5.063e-2

395.6281	1.013e0

395.8655	3.063e0

395.9326	2.025e0

396.0817	2.446e0

396.2654	6.257e-1

396.4758	2.038e0

396.5327	1.266e-2

396.5964	1.266e-2

396.8353	5.063e-2

397.1718	1.591e1

397.4854	1.266e-2

397.5621	1.076e0

397.7117	2.532e-2

397.7903	2.025e0

397.9465	1.064e0

398.0491	4.244e0

398.2577	2.646e1

398.5018	3.798e-2

398.5976	1.266e-2

398.6941	2.532e-2

398.8130	3.798e-2

399.0459	3.517e0

399.2788	1.230e1

399.3460	5.652e0

399.5240	3.066e0

399.6216	2.532e-2

399.7558	5.063e-2

399.8864	1.063e0

400.2731	5.679e0

400.3175	6.712e0

400.4586	2.532e-2

400.5861	1.038e0

400.7879	1.266e-2

401.0322	2.229e1

401.2920	1.622e0

401.4338	3.038e0

401.4873	2.025e0

401.6793	1.025e0

401.8890	1.266e-2

401.9990	4.063e0

402.0390	1.102e0

402.3792	1.013e0