Elemental Composition Report

Single Mass Analysis

Tolerance = 7.0 PPM   /   DBE: min = -15.0, max = 100.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

288 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 14-14    H: 0-150    N: 0-10    O: 0-10    Na: 0-1    69Ga: 0-1

Minimum:   	               	         	         	-15.0

Maximum:   	               	5.0      	7.0      	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	Formula

216.1393   	216.1388       	0.5      	2.3      	6.5      	107.9      	C14  H18  N  O

REPORT MASSES AS +/-5mDa, referenced against

Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

ANALYSIS RUN USING:  WATERS LCT PREMIER (ESI POSITIVE/ESI NEGATIVE)

100.0041	1.013e0

100.0454	3.807e0

100.0781	3.026e1

100.1121	8.792e0

100.1423	1.013e0

100.1649	2.025e0

100.1957	1.013e0

100.3123	1.013e0

100.3857	4.051e0

100.4112	2.025e0

100.5135	2.025e0

100.5280	1.013e0

100.5496	1.013e0

100.5773	3.038e0

100.6030	1.013e0

100.6667	2.025e0

100.7094	1.013e0

100.7388	2.025e0

100.7641	2.025e0

100.7867	1.013e0

100.8067	2.025e0

100.8214	1.013e0

100.8347	1.013e0

100.8457	1.013e0

100.8668	1.013e0

100.9014	1.013e0

100.9264	3.715e0

100.9549	1.013e0

100.9772	3.038e0

101.0083	1.013e0

101.0296	1.855e0

101.0720	2.482e2

101.1146	2.429e0

101.1310	1.013e0

101.1472	1.013e0

101.1794	1.013e0

101.2020	3.038e0

101.2301	1.013e0

101.2514	1.013e0

101.2916	1.013e0

101.3317	2.025e0

101.3479	1.013e0

101.3664	2.025e0

101.3851	4.049e0

101.4079	2.025e0

101.4306	1.013e0

101.4494	3.038e0

101.4789	3.038e0

101.5137	1.013e0

101.5350	1.013e0

101.5752	2.025e0

101.5886	1.013e0

101.6315	1.013e0

101.6611	2.025e0

101.6796	1.013e0

101.7011	1.013e0

101.7278	2.025e0

101.7467	3.038e0

101.7601	1.013e0

101.7762	1.013e0

101.8031	1.013e0

101.8593	4.051e0

101.9129	2.025e0

101.9384	2.025e0

101.9748	1.013e0

102.0188	1.977e0

102.0401	2.867e0

102.0711	2.625e1

102.0929	1.018e1

102.1284	2.651e1

102.1741	3.038e0

102.2296	1.013e0

102.2565	1.013e0

102.2833	2.025e0

102.3184	1.013e0

102.3775	2.025e0

102.3988	1.013e0

102.4257	1.013e0

102.4475	1.013e0

102.4609	1.013e0

102.4831	3.038e0

102.5120	2.025e0

102.5496	1.013e0

102.5765	1.013e0

102.5886	2.025e0

102.6248	1.013e0

102.6494	1.013e0

102.6842	4.051e0

102.7111	1.013e0

102.7287	2.025e0

102.7813	1.013e0

102.8027	1.013e0

102.8181	3.038e0

102.8324	1.013e0

102.8782	2.025e0

102.9119	2.025e0

102.9942	1.013e0

103.0076	1.013e0

103.0535	5.176e0

103.0912	3.198e0

103.1263	2.025e0

103.1362	3.038e0

103.1561	1.013e0

103.1694	2.025e0

103.2045	2.025e0

103.2491	2.025e0

103.2707	2.025e0

103.2949	2.025e0

103.3166	2.025e0

103.3530	1.013e0

103.3721	1.013e0

103.4017	2.025e0

103.4503	1.013e0

103.4827	1.013e0

103.4937	1.013e0

103.5179	1.013e0

103.5368	3.038e0

103.5490	2.025e0

103.5827	1.013e0

103.6018	1.013e0

103.6396	2.025e0

103.6694	1.013e0

103.6829	1.013e0

103.7153	2.025e0

103.7370	1.013e0

103.7532	2.025e0

103.7748	1.013e0

103.7991	2.025e0

103.8155	1.013e0

103.8397	1.013e0

103.8561	1.013e0

103.8859	1.013e0

103.9360	4.051e0

103.9508	1.013e0

103.9861	2.025e0

104.0022	1.013e0

104.0241	1.928e0

104.0498	1.855e0

104.0706	9.542e0

104.1090	2.307e0

104.1405	1.013e0

104.1760	1.013e0

104.1921	1.013e0

104.2070	2.025e0

104.2342	2.025e0

104.2966	2.025e0

104.3088	1.020e0

104.3415	1.013e0

104.3551	1.013e0

104.4105	2.025e0

104.4392	1.013e0

104.4676	2.025e0

104.4936	1.013e0

104.5071	1.013e0

104.5232	2.025e0

104.5558	1.013e0

104.5750	1.013e0

104.5966	1.013e0

104.6129	1.013e0

104.6251	2.025e0

104.6374	3.038e0

104.6645	1.013e0

104.6822	2.025e0

104.7000	1.013e0

104.7380	1.013e0

104.7624	1.013e0

104.7787	2.025e0

104.8005	1.013e0

104.8181	2.025e0

104.8373	2.025e0

104.8821	2.025e0

104.8959	1.013e0

104.9134	2.025e0

104.9690	2.025e0

105.0075	1.013e0

105.0437	3.936e2

105.0701	2.872e2

105.1198	2.551e0

105.1449	2.025e0

105.1683	9.090e0

105.2200	5.466e0

105.2383	7.698e0

105.2621	2.025e0

105.2996	9.096e0

105.3180	3.038e0

105.3340	3.800e0

105.3530	4.025e0

105.3698	2.216e0

105.4009	8.101e0

105.4180	3.038e0

105.4428	3.038e0

105.4642	5.063e0

105.4953	2.025e0

105.5121	4.051e0

105.5507	3.038e0

105.5751	5.063e0

105.5964	2.025e0

105.6100	3.038e0

105.6345	1.013e0

105.6577	3.038e0

105.6873	3.038e0

105.7069	2.025e0

105.7274	2.025e0

105.7464	4.051e0

105.7709	4.051e0

105.7849	1.834e0

105.8366	3.038e0

105.8641	1.013e0

105.9107	1.013e0

105.9502	2.025e0

105.9856	2.025e0

105.9993	2.025e0

106.0143	1.013e0

106.0484	3.569e1

106.0752	6.970e1

106.1293	2.025e0

106.1444	1.957e0

106.1664	2.025e0

106.2047	2.025e0

106.2485	2.025e0

106.2855	2.025e0

106.3115	2.025e0

106.3539	4.051e0

106.3703	1.013e0

106.3992	4.051e0

106.4238	2.025e0

106.4636	1.013e0

106.4787	2.025e0

106.5184	2.025e0

106.5292	1.013e0

106.5760	1.013e0

106.5925	2.025e0

106.6104	2.025e0

106.6570	2.025e0

106.6930	5.063e0

106.7298	1.013e0

106.7598	1.013e0

106.7847	1.013e0

106.7984	1.013e0

106.8287	1.013e0

106.8452	1.013e0

106.8641	1.013e0

106.8752	2.025e0

106.9218	1.013e0

106.9398	2.025e0

106.9658	2.025e0

106.9880	1.013e0

107.0058	2.025e0

107.0566	4.892e0

107.0786	3.417e0

107.0953	1.879e0

107.1371	3.038e0

107.1503	2.025e0

107.1666	3.038e0

107.2384	1.013e0

107.2738	1.013e0

107.3193	2.025e0

107.3316	1.013e0

107.3591	1.013e0

107.4116	1.013e0

107.4226	1.013e0

107.4391	1.013e0

107.4646	3.038e0

107.4860	1.013e0

107.5189	2.025e0

107.5424	2.025e0

107.5548	1.013e0

107.5713	1.013e0

107.5879	1.013e0

107.6154	1.013e0

107.6401	1.013e0

107.6733	1.013e0

107.7408	2.025e0

107.7644	1.013e0

107.7781	1.013e0

107.7961	2.025e0

107.8237	2.025e0

107.8588	3.038e0

107.8744	1.013e0

107.9186	1.013e0

107.9781	2.487e0

108.0767	9.323e0

108.0957	1.159e0

108.1357	2.025e0

108.1481	1.013e0

108.1908	2.025e0

108.2169	2.025e0

108.2612	1.013e0

108.2916	1.013e0

108.3195	1.013e0

108.3886	1.013e0

108.4162	1.013e0

108.4329	3.038e0

108.4662	2.025e0

108.5290	3.038e0

108.6099	1.013e0

108.6294	1.013e0

108.6640	2.025e0

108.7152	1.013e0

108.7389	2.025e0

108.7527	2.025e0

108.7652	1.013e0

108.8095	1.013e0

108.8233	2.025e0

108.8386	4.051e0

108.8785	1.013e0

108.9038	1.013e0

108.9676	1.013e0

108.9911	2.025e0

109.0312	1.855e0

109.0701	2.697e0

109.1118	2.307e0

109.1423	2.025e0

109.1686	2.025e0

109.2144	1.013e0

109.2347	3.038e0

109.3125	3.008e0

109.3256	2.056e0

109.3839	1.013e0

109.4340	2.025e0

109.4632	2.025e0

109.5173	1.013e0

109.5644	1.013e0

109.5927	3.038e0

109.6245	2.025e0

109.6510	1.013e0

109.6677	1.013e0

109.7122	1.013e0

109.7414	2.025e0

109.7763	1.013e0

109.8096	1.013e0

109.8346	2.025e0

109.8820	1.013e0

109.9196	2.025e0

109.9346	1.013e0

109.9739	1.013e0

109.9864	2.025e0

110.0786	6.281e0

110.1621	2.025e0

110.2081	1.013e0

110.2192	1.013e0

110.2359	1.013e0

110.2637	1.013e0

110.3755	1.013e0

110.3980	1.013e0

110.4313	2.025e0

110.4761	2.025e0

110.5011	1.013e0

110.5289	1.013e0

110.5515	1.013e0

110.5669	2.025e0

110.5851	1.013e0

110.6073	4.051e0

110.6417	4.051e0

110.6660	2.025e0

110.6883	1.013e0

110.7149	2.025e0

110.7373	2.025e0

110.8060	1.013e0

110.8535	1.013e0

110.8674	1.013e0

110.8953	1.013e0

110.9372	4.051e0

110.9655	1.013e0

111.0450	3.880e0

111.0586	7.159e0

111.0929	2.625e1

111.1333	1.013e0

111.1751	1.013e0

111.2007	2.025e0

111.2160	2.025e0

111.2425	1.013e0

111.2704	1.013e0

111.2902	1.013e0

111.3428	3.038e0

111.4276	1.013e0

111.4430	2.025e0

111.4610	1.013e0

111.5088	2.025e0

111.5453	2.025e0

111.5923	3.038e0

111.6186	1.013e0

111.6380	2.025e0

111.6899	2.025e0

111.7588	1.013e0

111.8132	4.051e0

111.8515	1.013e0

111.8768	2.025e0

111.9080	1.013e0

111.9388	1.013e0

111.9610	1.013e0

111.9918	1.013e0

112.0087	1.013e0

112.0373	1.879e0

112.0788	2.110e1

112.1232	1.587e0

112.1439	2.025e0

112.1975	1.013e0

112.2197	3.038e0

112.2763	1.013e0

112.3270	1.013e0

112.3551	1.013e0

112.4198	1.013e0

112.4396	1.013e0

112.4593	3.038e0

112.5156	1.013e0

112.5552	1.013e0

112.6341	1.013e0

112.6510	2.025e0

112.6960	1.013e0

112.7385	2.025e0

112.7526	1.013e0

112.7866	1.013e0

112.8062	1.013e0

112.8324	3.038e0

112.8890	3.038e0

112.9387	1.013e0

113.0137	2.077e0

113.0776	6.419e0

113.1047	1.626e1

113.1761	1.013e0

113.2187	1.013e0

113.2736	2.025e0

113.3968	2.025e0

113.4080	1.013e0

113.4420	1.013e0

113.5877	2.025e0

113.6148	1.013e0

113.6332	2.025e0

113.6571	1.013e0

113.6712	1.013e0

113.6969	2.025e0

113.7450	1.013e0

113.7931	1.013e0

113.8072	1.013e0

113.8371	2.025e0

113.8641	1.013e0

113.8923	1.013e0

113.9447	2.025e0

113.9720	1.013e0

114.0684	3.426e0

114.0929	8.909e0

114.1257	3.320e0

114.1447	1.013e0

114.1932	1.013e0

114.2387	1.013e0

114.2558	2.025e0

114.2927	2.025e0

114.3322	1.013e0

114.3440	1.013e0

114.3663	2.025e0

114.3834	1.013e0

114.4263	1.013e0

114.4463	1.013e0

114.4574	1.013e0

114.4774	1.013e0

114.5398	1.013e0

114.5513	2.025e0

114.5769	3.038e0

114.5968	1.013e0

114.6222	1.013e0

114.6481	2.025e0

114.6622	1.013e0

114.6992	1.013e0

114.7246	1.013e0

114.7902	1.013e0

114.8126	4.051e0

114.8388	1.013e0

114.8671	1.013e0

114.9184	1.013e0

114.9414	2.025e0

114.9755	1.013e0

115.0009	1.013e0

115.0209	2.001e0

115.0350	1.879e0

115.0877	1.470e2

115.1227	6.358e0

115.1547	1.013e0

115.1774	4.822e0

115.2055	3.038e0

115.2177	2.335e0

115.2584	4.051e0

115.2862	1.013e0

115.3260	1.013e0

115.3424	2.535e0

115.3709	3.038e0

115.4188	2.025e0

115.4721	4.051e0

115.4946	1.013e0

115.5117	1.013e0

115.5489	2.025e0

115.5983	4.051e0

115.6301	2.025e0

115.6573	1.013e0

115.6718	1.013e0

115.7173	1.013e0

115.7459	2.025e0

115.7687	1.013e0

115.7947	1.013e0

115.8171	1.013e0

115.9104	6.076e0

115.9490	1.013e0

115.9721	1.013e0

116.0318	1.903e0

116.0669	3.348e0

116.0870	2.249e1

116.1079	9.798e0

116.1452	7.089e0

116.1691	1.013e0

116.1893	1.013e0

116.2209	3.038e0

116.2407	1.013e0

116.2982	1.013e0

116.3139	2.025e0

116.3407	2.355e0

116.3728	1.013e0

116.4012	1.013e0

116.4244	1.013e0

116.4504	1.013e0

116.5005	2.025e0

116.5334	3.038e0

116.5648	1.013e0

116.5879	1.013e0

116.6007	2.025e0

116.6537	2.025e0

116.7025	1.013e0

116.7442	2.025e0

116.7688	1.013e0

116.8303	2.025e0

116.8863	1.013e0

116.9326	1.013e0

116.9526	1.013e0

116.9700	1.013e0

117.0084	2.025e0

117.0667	2.819e1

117.1059	5.592e0

117.1297	1.782e0

117.1414	3.038e0

117.1856	1.013e0

117.2372	1.013e0

117.2717	1.013e0

117.3941	6.076e0

117.5685	1.013e0

117.6202	1.013e0

117.6330	2.025e0

117.6979	1.013e0

117.7238	1.013e0

117.7786	2.025e0

117.7929	1.013e0

117.8334	1.013e0

117.8521	2.025e0

117.8679	1.013e0

117.8852	1.013e0

117.8998	1.013e0

117.9266	4.051e0

118.0324	1.013e0

118.0675	9.897e1

118.0866	9.244e0

118.1495	2.025e0

118.1722	4.051e0

118.2217	2.025e0

118.2375	1.013e0

118.3156	1.013e0

118.3269	1.013e0

118.3547	2.025e0

118.3820	2.025e0

118.4141	1.013e0

118.4344	1.013e0

118.4535	3.038e0

118.4803	1.013e0

118.4946	1.013e0

118.5323	2.025e0

118.5442	1.013e0

118.5729	1.013e0

118.6105	2.025e0

118.6222	1.013e0

118.6675	4.051e0

118.6887	1.013e0

118.7204	1.013e0

118.7497	1.013e0

118.8856	1.013e0

118.9232	1.013e0

118.9697	1.013e0

118.9840	1.013e0

119.0103	1.013e0

119.0262	2.025e0

119.0566	5.063e0

119.0705	7.711e0

119.0955	4.356e0

119.1586	4.051e0

119.1803	1.301e0

119.2437	2.025e0

119.2639	3.038e0

119.3479	3.038e0

119.3988	1.013e0

119.4281	1.013e0

119.4514	2.025e0

119.4659	1.013e0

119.4977	1.013e0

119.5230	4.051e0

119.5500	3.038e0

119.5822	2.025e0

119.6109	1.013e0

119.6328	2.025e0

119.6607	1.013e0

119.7214	2.025e0

119.7454	3.038e0

119.7768	1.013e0

119.7998	2.025e0

119.8406	1.013e0

119.8683	4.051e0

119.8931	2.025e0

119.9352	6.076e0

119.9727	2.475e0

119.9900	3.038e0

120.0461	9.692e2

120.0822	3.497e0

120.1310	3.888e0

120.1692	3.079e1

120.1942	7.089e0

120.2370	4.137e0

120.2614	8.101e0

120.2803	3.038e0

120.3089	7.142e0

120.3500	1.096e1

120.3788	7.089e0

120.3951	7.089e0

120.4253	3.038e0

120.4426	5.063e0

120.4667	3.311e0

120.4875	2.025e0

120.5121	1.013e1

120.5301	4.713e0

120.5654	3.038e0

120.5922	2.607e0

120.6120	3.038e0

120.6323	5.797e0

120.6695	2.025e0

120.6830	2.025e0

120.7089	2.025e0

120.7293	2.025e0

120.7497	2.025e0

120.7632	2.025e0

120.8070	4.051e0

120.8340	5.063e0

120.8660	3.038e0

120.8815	2.025e0

120.9105	2.025e0

120.9355	2.174e0

120.9605	1.013e0

120.9779	1.013e0

121.0217	1.013e0

121.0526	1.061e2

121.0769	8.641e0

121.1401	2.025e0

121.1605	2.025e0

121.1867	3.038e0

121.2271	3.038e0

121.2453	2.025e0

121.2773	4.051e0

121.2967	2.025e0

121.3227	1.013e0

121.3402	2.025e0

121.3637	1.013e0

121.3903	4.051e0

121.4548	2.025e0

121.4693	1.013e0

121.4868	1.013e0

121.5360	3.038e0

121.5719	1.013e0

121.5939	4.051e0

121.6480	2.025e0

121.6943	3.038e0

121.7210	1.013e0

121.7566	1.013e0

121.7842	2.025e0

121.8195	2.025e0

121.8443	1.013e0

121.8884	1.013e0

121.9077	3.038e0

121.9575	2.025e0

121.9881	1.013e0

121.9998	1.013e0

122.0464	6.516e1

122.0786	3.481e0

122.0981	4.499e1

122.1435	1.013e0

122.1818	1.013e0

122.2143	2.025e0

122.2524	1.013e0

122.2829	2.702e0

122.3378	1.013e0

122.3668	1.013e0

122.3880	3.038e0

122.4128	3.038e0

122.4669	4.051e0

122.5462	4.051e0

122.5612	2.025e0

122.6199	2.025e0

122.6467	1.013e0

122.7139	1.013e0

122.7280	3.038e0

122.7436	1.013e0

122.7627	2.025e0

122.7757	1.013e0

122.7994	1.013e0

122.8169	2.025e0

122.8834	2.025e0

122.9158	2.662e0

122.9467	2.025e0

122.9850	1.013e0

123.0277	3.294e0

123.0507	9.114e0

123.0921	2.571e1

123.1545	3.038e0

123.1862	4.051e0

123.2074	2.025e0

123.2267	1.013e0

123.2945	1.013e0

123.3152	1.013e0

123.3358	2.025e0

123.3526	4.051e0

123.3743	3.038e0

123.4306	1.013e0

123.4452	1.013e0

123.4719	2.025e0

123.4895	1.013e0

123.5102	1.013e0

123.5278	1.013e0

123.5868	1.013e0

123.6075	1.013e0

123.6372	1.013e0

123.6695	1.013e0

123.6870	2.025e0

123.7051	1.013e0

123.7376	2.025e0

123.7745	4.051e0

123.7996	1.013e0

123.9207	1.013e0

124.0111	2.025e0

124.0440	6.908e0

124.0913	2.542e1

124.1487	1.013e0

124.1695	1.013e0

124.2435	1.013e0

124.2981	2.025e0

124.3466	4.051e0

124.3770	1.013e0

124.4659	1.013e0

124.5310	1.013e0

124.5575	1.013e0

124.5912	3.038e0

124.6228	1.013e0

124.6526	1.013e0

124.6656	2.025e0

124.8025	2.025e0

124.8248	1.013e0

124.8364	1.013e0

124.8693	1.013e0

124.8870	1.013e0

124.8986	1.013e0

124.9225	1.013e0

124.9478	2.025e0

125.0500	1.400e0

125.0796	7.647e0

125.1087	2.830e0

125.1425	1.013e0

125.1781	1.013e0

125.1963	1.013e0

125.2644	1.013e0

125.2853	1.013e0

125.3179	2.025e0

125.3687	1.013e0

125.3953	2.025e0

125.4219	1.013e0

125.4696	3.038e0

125.4874	1.013e0

125.6153	1.013e0

125.6900	1.013e0

125.7571	2.025e0

125.7702	1.013e0

125.7941	1.013e0

125.8149	1.013e0

125.8959	1.013e0

125.9167	1.013e0

125.9476	2.025e0

126.0255	1.921e0

126.0576	1.982e1

126.0701	1.269e1

126.1012	9.853e0

126.1389	2.055e0

126.1669	1.013e0

126.2116	1.013e0

126.2239	1.013e0

126.2417	1.013e0

126.2656	1.013e0

126.2775	1.013e0

126.3222	1.013e0

126.3491	1.013e0

126.3730	1.013e0

126.3970	1.013e0

126.4329	1.013e0

126.5075	1.013e0

126.5252	1.013e0

126.5375	1.013e0

126.5584	1.013e0

126.5785	3.038e0

126.6079	2.025e0

126.6242	2.025e0

126.6543	1.013e0

126.6767	2.025e0

126.7286	2.025e0

126.7494	1.013e0

126.7649	1.013e0

126.7930	2.025e0

126.8454	1.013e0

126.8663	1.013e0

126.8964	1.013e0

126.9081	1.013e0

126.9291	1.013e0

126.9699	2.025e0

126.9952	1.013e0

127.0102	1.013e0

127.0313	4.855e0

127.0915	5.867e0

127.1341	5.812e0

127.1990	1.013e0

127.2117	3.038e0

127.2481	2.025e0

127.2828	1.013e0

127.2991	2.025e0

127.3247	1.013e0

127.3533	2.025e0

127.4177	1.013e0

127.4433	2.025e0

127.4596	1.013e0

127.5348	2.025e0

127.5511	2.025e0

127.5767	1.013e0

127.5946	2.025e0

127.6155	1.013e0

127.6607	3.038e0

127.7358	1.013e0

127.7598	1.013e0

127.7917	2.025e0

127.8095	2.025e0

127.8289	1.013e0

127.8530	1.013e0

127.8677	1.013e0

127.8949	1.013e0

127.9640	2.025e0

127.9881	1.013e0

128.0152	1.013e0

128.1072	7.798e0

128.1383	2.669e0

128.1566	1.013e0

128.1869	1.013e0

128.2079	1.013e0

128.2530	1.013e0

128.2771	1.013e0

128.3338	1.013e0

128.3524	1.013e0

128.3778	2.025e0

128.4334	1.013e0

128.5221	2.025e0

128.5419	2.025e0

128.5602	2.025e0

128.5915	2.025e0

128.6294	1.013e0

128.7742	1.013e0

128.8749	2.025e0

128.9225	3.038e0

129.0300	1.950e0

129.1022	3.290e1

129.1375	2.257e0

129.1630	1.013e0

129.1856	2.025e0

129.2028	1.013e0

129.2779	1.013e0

129.3549	2.025e0

129.3829	3.038e0

129.4258	1.013e0

129.4594	1.013e0

129.4805	1.013e0

129.5384	8.101e0

129.5661	3.038e0

129.6117	3.038e0

129.6593	1.013e0

129.6920	1.013e0

129.7162	2.025e0

129.7561	1.013e0

129.7857	2.025e0

129.8013	1.013e0

129.8256	2.025e0

129.8466	1.013e0

129.8678	1.013e0

129.9920	1.013e0

130.0038	1.013e0

130.0254	2.313e0

130.0957	1.793e2

130.1605	9.012e1

130.1922	5.063e0

130.2102	1.013e0

130.2391	2.025e0

130.2767	2.025e0

130.3041	1.013e0

130.3223	3.038e0

130.3619	2.025e0

130.4043	1.013e0

130.4193	2.025e0

130.4574	2.025e0

130.5029	3.097e0

130.5340	5.873e1

130.5726	2.025e0

130.6474	2.407e0

130.6653	1.013e0

130.7168	1.013e0

130.7292	1.013e0

130.7504	1.013e0

130.7793	2.025e0

130.7990	2.025e0

130.8620	3.038e0

130.8781	1.013e0

130.9024	1.013e0

130.9604	2.025e0

130.9784	2.025e0

131.0070	3.038e0

131.0313	3.802e0

131.0813	1.641e1

131.0991	1.229e1

131.1161	6.406e0

131.1409	2.025e0

131.1661	1.369e1

131.2020	2.025e0

131.2437	3.038e0

131.2735	1.013e0

131.3040	1.013e0

131.3189	1.013e0

131.3621	1.013e0

131.3865	1.013e0

131.3998	2.025e0

131.4194	1.013e0

131.4501	1.013e0

131.4838	2.025e0

131.5415	1.013e0

131.5660	1.013e0

131.6299	1.013e0

131.6465	2.025e0

131.6637	1.013e0

131.6939	1.013e0

131.7184	1.013e0

131.7904	2.025e0

131.8358	2.025e0

131.8555	2.025e0

131.8744	2.592e0

131.8969	2.025e0

131.9152	2.025e0

131.9774	1.013e0

132.0019	1.013e0

132.0837	2.543e1

132.1733	1.013e0

132.1945	2.025e0

132.2095	1.013e0

132.2868	3.038e0

132.3048	1.013e0

132.3322	1.013e0

132.3623	2.025e0

132.3842	1.013e0

132.4332	1.013e0

132.4544	1.013e0

132.4725	3.038e0

132.5033	1.013e0

132.5615	3.038e0

132.5766	1.013e0

132.6412	1.013e0

132.7113	1.013e0

132.7452	1.013e0

132.8399	1.013e0

132.8825	1.013e0

132.8951	1.013e0

132.9100	1.013e0

132.9407	4.051e0

132.9669	2.025e0

133.0627	3.236e0

133.0821	2.190e0

133.0967	1.627e0

133.1679	1.013e0

133.2597	1.013e0

133.2937	2.025e0

133.3119	1.013e0

133.4928	1.013e0

133.5449	1.013e0

133.6190	1.013e0

133.6960	1.013e0

133.7568	1.013e0

133.7845	1.013e0

133.8201	2.025e0

133.8367	1.013e0

133.8701	4.051e0

133.9124	4.051e0

133.9539	1.013e0

134.0155	1.013e0

134.0618	4.988e0

134.0818	5.819e0

134.1017	1.036e0

134.1199	3.674e0

134.1509	1.013e0

134.1874	1.013e0

134.2246	1.013e0

134.3078	1.013e0

134.3269	3.038e0

134.3740	2.025e0

134.3910	1.013e0

134.4031	1.013e0

134.4251	1.013e0

134.4759	2.025e0

134.5344	2.025e0

134.5693	1.013e0

134.5971	1.013e0

134.6217	2.025e0

134.6852	2.025e0

134.7022	1.013e0

134.7604	1.013e0

134.7763	1.013e0

134.7946	1.013e0

134.8271	2.025e0

134.8811	1.013e0

134.8978	2.025e0

134.9353	3.038e0

134.9740	1.013e0

134.9891	1.013e0

135.0718	1.819e1

135.0936	4.898e1

135.1518	3.038e0

135.1773	1.013e0

135.2006	2.025e0

135.2639	2.025e0

135.2980	1.013e0

135.3410	1.013e0

135.3784	2.025e0

135.4133	3.373e0

135.4756	3.038e0

135.5103	3.038e0

135.5516	1.013e0

135.5789	4.051e0

135.7228	3.038e0

135.7854	2.025e0

135.8133	2.025e0

135.8365	1.013e0

135.9074	2.025e0

135.9571	1.013e0

135.9989	2.025e0

136.0187	2.025e0

136.0498	5.420e0

136.0760	1.311e1

136.1141	2.929e1

136.1571	3.038e0

136.2643	1.013e0

136.2982	1.013e0

136.3233	1.013e0

136.3398	3.038e0

136.3758	1.013e0

136.4116	2.025e0

136.4452	2.025e0

136.4843	2.025e0

136.5728	2.025e0

136.5992	1.013e0

136.6519	1.013e0

136.6708	1.013e0

136.7045	1.013e0

136.7548	1.013e0

136.8386	1.013e0

136.8858	3.038e0

136.9097	1.013e0

136.9347	1.013e0

136.9656	1.013e0

136.9834	2.469e0

137.0364	4.782e0

137.1107	4.520e0

137.1494	1.013e0

137.1933	1.013e0

137.2148	1.013e0

137.2460	1.013e0

137.2612	1.013e0

137.3062	3.038e0

137.3612	2.025e0

137.3828	1.013e0

137.4172	2.025e0

137.4388	1.013e0

137.4827	1.013e0

137.5452	1.013e0

137.5916	1.013e0

137.6074	1.013e0

137.6292	1.013e0

137.6476	1.013e0

137.6962	2.025e0

137.7316	1.013e0

137.7879	1.013e0

137.8037	1.013e0

137.8162	1.013e0

137.8501	1.013e0

137.8942	1.013e0

137.9066	1.013e0

137.9222	1.013e0

137.9943	2.025e0

138.0590	2.389e1

138.0911	2.988e0

138.1594	2.025e0

138.1780	1.013e0

138.1939	1.013e0

138.2123	1.013e0

138.2637	3.038e0

138.2999	3.038e0

138.3438	1.013e0

138.3623	1.013e0

138.3816	1.013e0

138.4064	1.013e0

138.4562	1.013e0

138.4957	4.051e0

138.5468	1.013e0

138.5781	2.025e0

138.6311	2.025e0

138.6625	1.013e0

138.7193	1.013e0

138.7435	3.038e0

138.8130	2.025e0

138.8696	1.013e0

138.8977	1.013e0

138.9604	1.013e0

138.9877	3.038e0

139.0218	3.038e0

139.0521	4.142e0

139.0647	4.971e0

139.0979	4.355e0

139.1238	1.743e0

139.1541	1.013e0

139.1854	1.013e0

139.1983	1.013e0

139.2167	2.025e0

139.2708	2.025e0

139.3051	2.025e0

139.3616	2.025e0

139.4275	1.013e0

139.4477	2.025e0

139.4662	2.025e0

139.5322	4.051e0

139.5619	1.013e0

139.5872	1.013e0

139.5998	1.013e0

139.6127	1.013e0

139.6312	1.013e0

139.6471	1.013e0

139.6822	3.038e0

139.7099	1.013e0

139.7318	1.013e0

139.7979	2.025e0

139.8479	2.025e0

139.9299	2.025e0

139.9942	2.025e0

140.0285	2.025e0

140.0840	7.153e0

140.1400	1.602e0

140.1844	1.013e0

140.2017	2.025e0

140.2476	2.025e0

140.2818	1.013e0

140.2945	1.013e0

140.3105	1.013e0

140.3259	1.013e0

140.3735	1.013e0

140.3856	1.013e0

140.4079	1.013e0

140.4236	1.013e0

140.4518	1.013e0

140.4680	1.013e0

140.4962	2.025e0

140.5180	1.013e0

140.5342	2.025e0

140.5511	2.025e0

140.5713	1.013e0

140.6493	4.051e0

140.6868	2.025e0

140.7231	1.013e0

140.7351	1.013e0

140.7894	1.013e0

140.8209	1.013e0

140.8443	2.025e0

140.8930	1.013e0

140.9217	1.013e0

140.9340	1.013e0

140.9878	1.013e0

141.0341	2.747e0

141.0793	9.914e0

141.1082	1.255e0

141.1244	1.226e0

141.1579	2.025e0

141.1943	2.025e0

141.2194	2.025e0

141.2497	1.013e0

141.3100	1.013e0

141.4314	2.025e0

141.5495	1.013e0

141.6101	1.013e0

141.6522	2.025e0

141.6953	3.038e0

141.7504	2.025e0

141.7950	2.025e0

141.8250	2.025e0

141.8533	1.013e0

141.8800	3.038e0

141.9198	1.013e0

142.0089	1.013e0

142.0314	1.982e1

142.1026	1.314e1

142.1432	1.443e0

142.1655	2.025e0

142.2462	1.013e0

142.2751	1.013e0

142.3416	1.013e0

142.3683	2.025e0

142.4114	1.013e0

142.4491	1.013e0

142.4633	2.025e0

142.5535	1.013e0

142.5664	1.013e0

142.6022	3.038e0

142.6232	1.013e0

142.6479	2.025e0

142.6679	1.013e0

142.6900	1.013e0

142.7248	1.013e0

142.7776	2.025e0

142.7916	1.013e0

142.8265	1.013e0

142.8612	2.025e0

142.8995	1.013e0

142.9433	3.038e0

143.0093	2.025e0

143.0315	2.025e0

143.0612	7.679e1

143.0955	1.171e0

143.1229	8.920e0

143.1629	3.038e0

143.1906	2.025e0

143.2110	1.013e0

143.2397	1.013e0

143.2746	1.013e0

143.3416	1.013e0

143.3774	3.038e0

143.3922	2.225e0

143.4117	2.025e0

143.4466	1.013e0

143.4756	1.013e0

143.5137	1.013e0

143.5577	8.101e0

143.5824	2.025e0

143.6246	1.013e0

143.6539	2.025e0

143.6742	2.025e0

143.7044	1.013e0

143.7908	1.013e0

143.8128	1.013e0

143.8379	2.025e0

143.8763	1.013e0

143.9431	1.013e0

143.9562	1.013e0

144.0836	3.957e1

144.1567	2.025e0

144.2115	1.013e0

144.2419	3.038e0

144.2621	1.013e0

144.2817	1.013e0

144.3037	1.013e0

144.3470	2.025e0

144.3706	1.013e0

144.4351	1.013e0

144.5143	1.013e0

144.5372	1.013e0

144.5511	2.025e0

144.5911	1.013e0

144.6172	2.025e0

144.6491	4.051e0

144.7782	2.025e0

144.8183	1.013e0

144.8436	1.013e0

144.8853	1.013e0

144.9153	2.025e0

144.9368	1.013e0

144.9819	7.820e0

144.9982	3.320e0

145.0985	5.629e0

145.1384	2.614e0

145.1816	3.138e0

145.2166	2.025e0

145.2375	1.013e0

145.2567	1.013e0

145.2698	1.013e0

145.3494	2.025e0

145.3819	1.013e0

145.4172	1.013e0

145.4359	2.025e0

145.4523	3.038e0

145.4777	1.013e0

145.5096	1.013e0

145.5481	1.013e0

145.5850	2.025e0

145.6120	2.025e0

145.6604	1.013e0

145.7021	1.013e0

145.7406	1.013e0

145.7726	1.013e0

145.8306	1.013e0

145.8616	3.588e0

145.8849	1.013e0

145.9104	1.013e0

145.9489	1.013e0

145.9685	3.038e0

145.9973	2.025e0

146.0422	1.798e0

146.0714	4.497e1

146.0976	5.654e1

146.1678	3.038e0

146.1910	4.051e0

146.2154	1.013e0

146.2343	3.038e0

146.2508	1.013e0

146.3139	2.025e0

146.3278	1.013e0

146.3829	1.013e0

146.4345	1.013e0

146.4667	1.013e0

146.4872	2.025e0

146.5532	4.051e0

146.6449	2.025e0

146.7139	1.013e0

146.7447	2.025e0

146.7624	1.013e0

146.8043	1.013e0

146.9302	1.013e0

146.9688	1.013e0

146.9810	1.013e0

147.0108	1.013e0

147.0603	1.547e0

147.0782	3.572e0

147.1034	8.727e0

147.1588	1.013e0

147.1715	1.013e0

147.2057	2.025e0

147.2587	4.051e0

147.3084	5.063e0

147.3489	2.025e0

147.4814	1.013e0

147.5358	1.013e0

147.5696	2.025e0

147.6264	1.013e0

147.6619	2.025e0

147.6956	2.025e0

147.7559	1.013e0

147.8168	1.013e0

147.8720	1.013e0

147.9092	2.025e0

147.9653	1.013e0

148.0237	2.025e0

148.0403	1.663e0

148.0722	1.870e0

148.0896	3.904e0

148.1147	5.611e0

148.1585	2.025e0

148.1921	2.025e0

148.2564	1.013e0

148.2826	1.013e0

148.3555	2.025e0

148.3794	2.025e0

148.4446	2.025e0

148.4894	1.013e0

148.5233	3.038e0

148.5578	1.013e0

148.5999	1.013e0

148.6222	1.013e0

148.6454	1.013e0

148.6743	1.013e0

148.6935	1.013e0

148.7098	2.025e0

148.7635	2.025e0

148.8007	1.013e0

148.8176	3.038e0

148.8595	3.038e0

148.8918	2.025e0

148.9073	1.013e0

148.9339	1.013e0

148.9562	1.013e0

149.0000	2.025e0

149.0274	5.621e1

149.0833	3.870e0

149.1082	7.029e0

149.1729	5.063e0

149.2076	2.025e0

149.2369	5.063e0

149.3682	1.013e0

149.4336	1.013e0

149.4717	3.038e0

149.5015	3.038e0

149.5264	1.418e1

149.5537	1.013e0

149.5794	1.013e0

149.5960	1.013e0

149.6382	1.013e0

149.6689	2.025e0

149.7323	1.013e0

149.7583	1.013e0

149.8199	1.013e0

149.8429	2.025e0

149.9000	2.025e0

149.9291	2.025e0

150.0054	1.013e0

150.0266	5.063e0

150.0471	1.262e1

150.0595	4.374e0

150.0943	7.454e0

150.1281	1.758e1

150.1660	2.025e0

150.1912	2.025e0

150.2169	2.025e0

150.2464	1.013e0

150.3132	2.025e0

150.3672	1.013e0

150.3896	1.013e0

150.4615	1.013e0

150.4743	1.013e0

150.5482	1.620e1

150.5978	2.025e0

150.6246	1.013e0

150.6390	2.025e0

150.7196	3.038e0

150.7584	1.013e0

150.8008	1.013e0

150.8365	2.025e0

150.8542	4.051e0

150.9412	1.013e0

150.9737	1.013e0

151.0045	2.025e0

151.0478	1.949e2

151.0888	5.075e0

151.1131	2.909e0

151.1743	4.016e0

151.2016	5.063e0

151.2316	3.038e0

151.2545	1.013e0

151.2807	2.025e0

151.2966	2.801e0

151.3811	3.024e0

151.4047	3.038e0

151.4281	2.025e0

151.4437	2.025e0

151.4896	1.013e0

151.5079	2.025e0

151.5496	5.393e1

151.5946	2.025e0

151.6354	2.025e0

151.6726	4.051e0

151.7478	5.063e0

151.7837	3.038e0

151.8338	1.013e0

151.8494	2.025e0

151.9171	2.025e0

152.0121	2.025e0

152.0474	4.244e1

152.0733	1.557e1

152.1023	2.306e0

152.1202	2.119e0

152.1739	2.025e0

152.1992	2.025e0

152.2198	2.025e0

152.2724	2.025e0

152.3049	1.013e0

152.3709	3.038e0

152.4017	2.025e0

152.4321	4.051e0

152.4694	1.013e0

152.4952	2.025e0

152.5273	1.999e0

152.5496	8.515e0

152.6105	1.013e0

152.6498	1.013e0

152.6696	1.013e0

152.6957	1.013e0

152.7204	3.038e0

152.7601	2.025e0

152.7910	1.013e0

152.8169	1.013e0

152.8420	2.025e0

152.9029	1.013e0

152.9423	1.013e0

152.9832	2.025e0

153.0462	1.746e1

153.1086	2.013e0

153.1417	9.056e0

153.1617	3.466e0

153.1858	1.013e0

153.2508	1.013e0

153.2676	1.013e0

153.3335	1.013e0

153.4091	4.051e0

153.4651	1.013e0

153.4968	3.038e0

153.5337	2.025e0

153.5590	6.076e0

153.5882	2.069e0

153.6084	2.025e0

153.6853	2.025e0

153.7158	2.025e0

153.7449	1.013e0

153.7697	2.025e0

153.8010	1.013e0

153.8175	2.025e0

153.8700	1.013e0

153.9163	1.013e0

153.9410	2.025e0

153.9955	1.013e0

154.0121	2.025e0

154.0427	3.813e0

154.0682	1.610e0

154.0963	4.923e0

154.1251	1.147e0

154.2099	1.013e0

154.2295	1.013e0

154.2496	1.013e0

154.3089	1.013e0

154.3585	1.013e0

154.3948	1.013e0

154.4275	1.013e0

154.4443	1.013e0

154.4736	1.013e0

154.4904	1.013e0

154.5197	1.013e0

154.5450	2.025e0

154.5828	1.013e0

154.6013	2.025e0

154.6188	2.025e0

154.6441	2.025e0

154.6785	1.013e0

154.7117	1.013e0

154.7449	1.013e0

154.7829	3.038e0

154.8734	1.013e0

154.9087	2.025e0

154.9365	1.013e0

155.0099	2.025e0

155.0323	1.013e0

155.0896	3.636e0

155.1157	1.812e0

155.2739	1.013e0

155.3040	1.013e0

155.3215	3.038e0

155.3604	2.025e0

155.4050	2.025e0

155.4856	1.013e0

155.4992	1.013e0

155.5161	1.013e0

155.5489	1.013e0

155.6053	1.013e0

155.6382	1.013e0

155.6912	1.013e0

155.7283	1.013e0

155.7848	1.013e0

155.8040	1.013e0

155.9068	1.013e0

155.9237	1.013e0

155.9701	1.013e0

156.0299	2.025e0

156.0492	3.275e0

156.0793	1.561e1

156.1124	9.886e0

156.1488	6.219e0

156.1859	1.013e0

156.2114	2.025e0

156.2626	2.025e0

156.2888	2.025e0

156.3125	1.013e0

156.3471	3.038e0

156.3752	1.013e0

156.4221	1.013e0

156.4847	1.013e0

156.5183	1.013e0

156.5478	2.025e0

156.5647	2.025e0

156.5912	1.013e0

156.6315	1.013e0

156.6711	3.038e0

156.7591	3.038e0

156.7877	2.025e0

156.8358	2.025e0

156.8671	1.013e0

156.9129	5.063e0

156.9507	1.013e0

156.9693	2.025e0

157.0372	2.362e2

157.0885	5.594e0

157.1138	6.857e0

157.1343	4.637e0

157.1722	2.025e0

157.1904	2.025e0

157.2290	3.038e0

157.2973	1.013e0

157.3133	1.013e0

157.3700	1.013e0

157.4006	1.013e0

157.4301	2.025e0

157.4510	4.051e0

157.4799	1.013e0

157.5105	1.013e0

157.5301	1.013e0

157.5736	6.020e0

157.6171	1.013e0

157.6518	2.025e0

157.6671	2.025e0

157.7392	2.025e0

157.7907	1.013e0

157.8563	2.025e0

157.8736	2.025e0

157.9145	1.013e0

157.9542	2.025e0

157.9940	1.013e0

158.0178	2.025e0

158.0396	1.408e1

158.0968	2.126e0

158.1160	1.530e0

158.1432	1.545e0

158.1648	5.687e0

158.2381	1.013e0

158.2571	2.025e0

158.2813	1.013e0

158.3787	1.013e0

158.4052	1.013e0

158.4527	3.038e0

158.4877	2.025e0

158.5274	2.025e0

158.5859	1.013e0

158.6096	1.013e0

158.6564	1.013e0

158.6860	1.013e0

158.7453	3.038e0

158.8253	3.038e0

158.8472	1.013e0

158.8600	1.013e0

158.8907	1.013e0

158.9153	3.989e0

158.9858	2.025e0

159.0361	1.900e1

159.0802	2.343e0

159.1091	5.826e0

159.1582	1.926e0

159.1855	2.025e0

159.2289	2.025e0

159.2701	3.038e0

159.4066	2.025e0

159.4339	1.013e0

159.4471	1.013e0

159.4874	1.013e0

159.5012	1.013e0

159.5393	2.025e0

159.5808	1.013e0

159.6116	2.025e0

159.6432	3.038e0

159.6755	1.013e0

159.7154	3.038e0

159.7494	1.013e0

159.7655	1.013e0

159.8346	2.025e0

159.8768	1.013e0

159.8984	2.025e0

159.9811	1.013e0

160.0142	1.013e0

160.0355	3.038e0

160.0649	3.636e0

160.0881	2.385e0

160.2435	1.013e0

160.2767	1.013e0

160.3170	1.013e0

160.3475	1.013e0

160.4148	1.013e0

160.4480	1.013e0

160.4739	3.038e0

160.5055	1.013e0

160.5188	1.013e0

160.5394	1.013e0

160.5759	1.013e0

160.7596	2.025e0

160.7953	3.038e0

160.8741	3.038e0

160.9063	1.013e0

160.9268	3.038e0

160.9874	1.013e0

161.0144	1.013e0

161.0932	6.179e0

161.1330	4.369e0

161.2299	2.025e0

161.2838	1.013e0

161.3267	2.025e0

161.3480	1.013e0

161.3976	2.025e0

161.4480	2.025e0

161.4702	2.025e0

161.4898	1.013e0

161.5548	3.538e1

161.5934	2.025e0

161.6081	2.025e0

161.6949	3.038e0

161.7601	1.013e0

161.7859	2.025e0

161.8173	1.013e0

161.8621	1.013e0

161.8970	2.025e0

161.9297	1.013e0

161.9747	3.038e0

161.9956	2.025e0

162.0237	1.013e0

162.0553	9.099e0

162.1146	2.344e0

162.1659	1.013e0

162.2167	1.013e0

162.2301	1.013e0

162.2715	1.013e0

162.2909	1.013e0

162.3047	1.013e0

162.3425	1.013e0

162.3554	1.013e0

162.4383	2.025e0

162.4555	2.025e0

162.5215	1.013e0

162.5543	2.025e0

162.5720	1.013e0

162.6234	1.013e0

162.6381	2.025e0

162.7022	2.025e0

162.7351	1.013e0

162.7689	1.013e0

162.8028	1.013e0

162.8219	2.025e0

162.9063	2.025e0

162.9993	1.013e0

163.0415	6.043e0

163.0863	4.780e0

163.1245	2.784e1

163.1573	1.674e0

163.1832	1.013e0

163.2234	1.013e0

163.2524	3.038e0

163.3046	4.051e0

163.3233	3.038e0

163.3626	2.025e0

163.4004	1.013e0

163.4200	1.013e0

163.4442	1.013e0

163.4783	1.013e0

163.4913	1.013e0

163.5507	3.038e0

163.5799	4.051e0

163.6162	2.025e0

163.6374	1.013e0

163.6926	1.013e0

163.7209	2.025e0

163.8930	1.013e0

163.9104	1.013e0

163.9368	1.013e0

163.9748	1.013e0

163.9966	2.025e0

164.0462	1.013e0

164.0774	1.016e1

164.1095	1.163e1

164.1386	3.088e0

164.1978	2.025e0

164.2196	2.025e0

164.2546	3.038e0

164.2779	1.013e0

164.3008	2.025e0

164.3458	1.013e0

164.4104	1.013e0

164.4521	3.038e0

164.5465	3.038e0

164.5690	2.025e0

164.5880	1.013e0

164.6284	1.013e0

164.6696	1.013e0

164.6827	1.013e0

164.7206	1.013e0

164.7590	2.025e0

164.8264	1.013e0

164.8837	3.038e0

164.9048	3.038e0

164.9865	1.013e0

165.0119	2.250e0

165.0311	2.025e0

165.0709	1.848e0

165.0983	4.843e0

165.1181	7.389e0

165.1640	1.013e0

165.1928	3.038e0

165.2221	1.013e0

165.2941	1.013e0

165.3072	1.013e0

165.3297	2.025e0

165.3487	2.025e0

165.4135	1.013e0

165.4481	1.013e0

165.6069	3.038e0

165.6770	1.013e0

165.7245	1.013e0

165.7418	1.013e0

165.7794	1.013e0

165.8483	1.013e0

165.9469	1.013e0

165.9778	1.013e0

166.0133	4.051e0

166.0891	1.134e0

166.1154	1.058e0

166.1378	1.058e0

166.1699	1.013e0

166.2104	1.013e0

166.2679	2.025e0

166.2926	2.025e0

166.3204	1.013e0

166.3597	2.025e0

166.3923	1.013e0

166.4200	1.013e0

166.4338	1.013e0

166.4570	1.013e0

166.4814	1.013e0

166.5260	1.013e0

166.5428	1.013e0

166.5985	1.013e0

166.6183	1.013e0

166.6529	1.013e0

166.7248	1.013e0

166.7596	1.013e0

166.7947	2.025e0

166.8805	2.025e0

166.9348	2.025e0

166.9581	1.013e0

166.9822	1.013e0

167.0257	2.025e0

167.0869	1.698e1

167.1817	2.025e0

167.2397	1.013e0

167.3291	1.013e0

167.4080	1.013e0

167.4394	1.013e0

167.4905	1.013e0

167.5257	5.063e0

167.6357	1.013e0

167.7042	1.013e0

167.7216	1.013e0

167.7489	1.013e0

167.7832	1.013e0

167.8216	1.013e0

167.8639	2.025e0

167.8849	2.025e0

167.9214	1.013e0

168.0508	1.826e0

168.0692	1.031e0

168.1192	7.188e0

168.1580	1.314e0

168.1952	2.025e0

168.2272	1.013e0

168.2656	1.013e0

168.2867	1.013e0

168.3273	1.013e0

168.3692	1.013e0

168.3931	2.025e0

168.4483	2.025e0

168.4762	1.013e0

168.4895	1.013e0

168.5244	4.051e0

168.5545	3.038e0

168.5894	1.013e0

168.6328	2.025e0

168.6694	2.025e0

168.7033	1.013e0

168.7487	2.025e0

168.7790	2.025e0

168.8104	2.025e0

168.8366	2.025e0

168.8724	2.025e0

168.9036	1.013e0

168.9525	2.025e0

168.9915	2.025e0

169.0195	2.025e0

169.0461	1.865e0

169.0771	2.238e0

169.0977	2.238e0

169.1779	2.025e0

169.1973	1.013e0

169.2322	1.013e0

169.2562	1.013e0

169.2765	1.013e0

169.3080	1.013e0

169.3431	1.013e0

169.3752	3.038e0

169.4841	1.013e0

169.5408	1.482e1

169.5722	2.025e0

169.6020	1.013e0

169.6406	2.025e0

169.6641	1.013e0

169.6936	2.025e0

169.7216	2.025e0

169.7816	1.013e0

169.8237	1.013e0

169.8873	2.025e0

169.9031	1.013e0

169.9276	1.013e0

169.9521	2.025e0

169.9805	2.025e0

170.0332	4.051e0

170.0525	2.940e0

170.1032	3.034e0

170.1676	2.589e0

170.2044	1.013e0

170.2330	4.051e0

170.2740	1.013e0

170.3260	1.013e0

170.3611	1.013e0

170.4475	1.013e0

170.4722	1.013e0

170.5466	6.076e0

170.6135	1.013e0

170.7528	1.013e0

170.7703	1.013e0

170.8128	3.038e0

170.8691	2.025e0

170.9060	1.013e0

170.9195	1.013e0

170.9575	1.013e0

170.9891	1.013e0

171.0307	4.051e0

171.0517	4.814e0

171.0841	1.711e0

171.1110	4.754e0

171.1512	5.855e0

171.2806	2.025e0

171.3193	2.025e0

171.3404	1.013e0

171.4025	1.013e0

171.4517	1.013e0

171.4690	1.013e0

171.4918	3.038e0

171.5419	2.025e0

171.5701	1.013e0

171.6497	1.013e0

171.7055	2.025e0

171.7726	3.038e0

171.8443	2.025e0

171.9287	1.013e0

171.9716	2.025e0

172.0156	2.025e0

172.0513	4.944e0

172.0951	1.307e0

172.1182	1.675e0

172.1512	4.375e0

172.1927	1.013e0

172.2104	1.013e0

172.2740	2.025e0

172.3114	1.013e0

172.3466	2.025e0

172.3995	1.013e0

172.4914	3.038e0

172.5386	1.013e0

172.5732	1.013e0

172.6155	1.013e0

172.6642	1.013e0

172.6865	2.025e0

172.7412	1.013e0

172.7763	2.025e0

172.8033	2.025e0

172.8335	2.025e0

172.8705	1.013e0

172.9224	1.013e0

172.9362	1.013e0

173.0308	4.038e0

173.0515	2.025e0

173.0808	4.345e0

173.1030	2.609e0

173.1307	2.310e0

173.1545	3.480e0

173.1716	7.034e0

173.1985	1.013e0

173.2250	2.025e0

173.2568	2.025e0

173.2763	1.013e0

173.3138	1.013e0

173.3350	1.013e0

173.4142	2.025e0

173.4503	1.013e0

173.4821	1.013e0

173.5780	2.025e0

173.5975	1.013e0

173.6540	1.013e0

173.7305	1.013e0

173.7906	1.013e0

173.8512	2.025e0

173.8919	1.013e0

173.9619	1.013e0

174.0662	2.676e0

174.0824	2.512e0

174.1169	5.339e0

174.1627	1.210e1

174.2457	1.013e0

174.2721	3.038e0

174.3021	1.013e0

174.3357	2.025e0

174.3723	1.013e0

174.5093	1.013e0

174.5298	1.013e0

174.5559	3.038e0

174.6984	1.013e0

174.7162	1.013e0

174.7640	2.025e0

174.8041	1.013e0

174.8281	1.013e0

174.8531	1.013e0

174.9500	2.025e0

175.0897	7.287e0

175.1259	7.318e0

175.1617	1.323e0

175.2193	1.013e0

175.2437	1.013e0

175.3385	1.013e0

175.4019	1.013e0

175.4544	1.013e0

175.5005	2.025e0

175.5290	1.013e0

175.5705	1.013e0

175.6341	1.013e0

175.6803	1.013e0

175.7117	1.013e0

175.7678	1.013e0

175.7962	1.013e0

175.9048	3.038e0

176.0237	2.025e0

176.0393	1.013e0

176.0858	2.718e0

176.1236	6.602e0

176.2015	1.013e0

176.2153	1.013e0

176.2649	1.013e0

176.3466	1.013e0

176.3986	1.013e0

176.4627	1.013e0

176.4972	3.038e0

176.5333	2.025e0

176.5966	1.013e0

176.6215	1.013e0

176.6499	1.013e0

176.6713	1.013e0

176.7167	1.013e0

176.8052	2.025e0

176.8829	2.025e0

176.9890	1.013e0

177.0247	2.025e0

177.0544	2.010e0

177.0845	3.958e0

177.1188	2.444e0

177.1854	2.025e0

177.2086	2.025e0

177.2435	2.025e0

177.2608	1.013e0

177.3284	1.013e0

177.3783	1.013e0

177.4258	2.025e0

177.4660	1.013e0

177.5267	1.013e0

177.5516	1.013e0

177.5943	1.013e0

177.6186	1.013e0

177.6894	2.025e0

177.7787	2.025e0

177.8064	1.013e0

177.8843	1.013e0

178.0318	4.051e0

178.0612	1.994e0

178.0831	4.971e0

178.1097	2.951e0

178.1705	4.712e0

178.1931	2.025e0

178.2209	1.013e0

178.2420	1.013e0

178.2671	1.013e0

178.2867	2.025e0

178.3492	2.025e0

178.3883	1.013e0

178.4550	1.013e0

178.4800	1.013e0

178.5801	1.013e0

178.6292	1.013e0

178.6431	1.013e0

178.7324	1.013e0

178.7896	2.025e0

178.8145	2.025e0

178.8563	2.025e0

178.9170	1.013e0

178.9348	1.013e0

178.9882	5.063e0

179.0172	1.823e1

179.0767	2.025e0

179.1234	2.512e1

179.1559	2.205e0

179.1857	2.025e0

179.2232	1.013e0

179.2611	3.038e0

179.3027	2.025e0

179.3640	3.038e0

179.4223	1.013e0

179.4402	1.013e0

179.5217	1.013e0

179.5928	1.013e0

179.6179	1.013e0

179.6358	1.013e0

179.6751	2.025e0

179.7323	1.013e0

179.7498	2.025e0

179.7798	2.025e0

179.8170	3.038e0

179.8637	1.013e0

179.9353	1.013e0

179.9993	1.013e0

180.0222	2.025e0

180.0497	5.063e0

180.0919	3.912e0

180.1426	8.313e0

180.2384	2.025e0

180.2631	1.013e0

180.4633	1.013e0

180.4920	1.013e0

180.5466	2.025e0

180.5715	3.038e0

180.6054	1.013e0

180.6270	1.013e0

180.6449	1.013e0

180.7438	3.038e0

180.7846	1.013e0

180.8840	1.013e0

180.9056	1.013e0

180.9271	2.025e0

180.9828	2.025e0

181.0191	1.944e1

181.0545	2.025e0

181.0949	5.063e0

181.1461	1.359e0

181.1771	1.013e0

181.2149	3.038e0

181.2454	1.013e0

181.4100	1.013e0

181.4524	1.013e0

181.5172	1.013e0

181.5496	1.013e0

181.5783	1.013e0

181.6215	1.013e0

181.6683	1.013e0

181.7216	1.013e0

181.7453	3.038e0

181.7818	1.013e0

181.8521	2.025e0

181.8935	2.025e0

182.0229	4.051e0

182.0609	3.038e0

182.1056	5.533e0

182.1324	1.681e0

182.1618	3.199e0

182.1905	2.349e0

182.2376	1.013e0

182.2916	2.025e0

182.3784	3.038e0

182.4350	1.013e0

182.4776	1.013e0

182.5748	2.025e0

182.6289	2.025e0

182.6613	1.013e0

182.6901	1.013e0

182.7226	2.025e0

182.8977	1.013e0

182.9230	1.013e0

182.9859	1.114e1

183.0096	5.063e0

183.0348	1.013e0

183.0672	2.961e0

183.1060	2.961e0

183.1302	3.135e0

183.1828	1.013e0

183.2007	2.025e0

183.2327	1.013e0

183.2791	1.013e0

183.3311	2.025e0

183.3545	2.025e0

183.3707	2.025e0

183.4231	1.013e0

183.4844	1.013e0

183.5891	1.013e0

183.6737	2.025e0

183.6971	1.013e0

183.7185	1.013e0

183.8875	1.013e0

183.9453	1.013e0

183.9634	2.025e0

183.9874	4.051e0

184.0217	4.051e0

184.0681	2.025e0

184.1310	4.448e0

184.1729	2.920e0

184.2448	1.013e0

184.3309	1.013e0

184.3739	1.013e0

184.3993	1.013e0

184.4645	1.013e0

184.4826	1.013e0

184.5151	1.013e0

184.5621	1.013e0

184.5983	1.013e0

184.6254	2.025e0

184.6525	1.013e0

184.6996	1.013e0

184.7177	1.013e0

184.7938	1.013e0

184.8479	1.013e0

184.9251	2.025e0

184.9773	1.013e0

185.0222	2.025e0

185.0528	1.013e0

185.0963	9.888e0

185.1196	3.204e0

185.1665	1.211e0

185.2377	1.013e0

185.2630	1.013e0

185.3391	1.013e0

185.4007	2.025e0

185.4478	2.025e0

185.5565	1.013e0

185.5765	2.025e0

185.6255	1.013e0

185.6545	1.013e0

185.7075	3.038e0

185.7591	1.013e0

185.7880	1.013e0

185.8132	1.013e0

185.9288	1.013e0

186.0139	2.025e0

186.0555	2.025e0

186.0900	2.025e0

186.1717	1.754e0

186.2238	7.089e0

186.2660	4.051e0

186.3423	1.013e0

186.4585	1.013e0

186.5057	1.013e0

186.5511	2.025e0

186.5855	2.025e0

186.6400	2.025e0

186.6691	1.013e0

186.6872	1.013e0

186.7199	1.013e0

186.7853	1.013e0

186.8199	2.025e0

186.8725	1.013e0

186.9198	1.013e0

186.9380	1.013e0

186.9843	3.038e0

187.0216	2.025e0

187.0670	1.994e0

187.0964	2.930e0

187.1327	4.781e0

187.1751	1.514e0

187.2252	3.038e0

187.2634	2.025e0

187.3162	2.025e0

187.3526	2.025e0

187.4253	1.013e0

187.4581	1.013e0

187.4872	1.013e0

187.5309	1.013e0

187.5709	1.013e0

187.6582	1.013e0

187.6837	1.013e0

187.7674	1.013e0

187.9058	1.013e0

187.9531	1.013e0

188.0150	1.013e0

188.0998	2.945e0

188.1262	4.275e0

188.1505	3.530e0

188.1716	1.013e0

188.2372	3.038e0

188.2590	1.013e0

188.3028	1.013e0

188.3465	1.013e0

188.3757	1.013e0

188.4431	2.025e0

188.4704	1.013e0

188.4959	1.013e0

188.5835	1.013e0

188.6382	2.025e0

188.6783	2.025e0

188.7542	3.038e0

188.9264	1.013e0

188.9482	1.013e0

188.9899	3.038e0

189.0103	1.013e0

189.0622	3.781e0

189.0950	6.076e0

189.2586	1.013e0

189.3099	1.013e0

189.3521	2.025e0

189.3741	2.025e0

189.3979	1.013e0

189.4309	2.025e0

189.4566	2.025e0

189.5303	3.038e0

189.6033	2.025e0

189.6216	1.013e0

189.6581	1.013e0

189.7284	3.038e0

189.8371	1.013e0

189.8919	1.013e0

189.9285	1.013e0

189.9961	2.025e0

190.0189	3.038e0

190.0372	3.038e0

190.0983	3.038e0

190.1229	4.293e0

190.2176	2.025e0

190.2433	1.013e0

190.2985	1.013e0

190.3960	2.025e0

190.4275	1.013e0

190.4969	1.013e0

190.5298	1.013e0

190.5554	1.013e0

190.5847	1.013e0

190.6067	1.013e0

190.6726	1.013e0

190.7202	3.038e0

190.7678	1.013e0

190.7861	2.025e0

190.8044	1.013e0

190.8336	1.013e0

190.9292	1.013e0

190.9786	4.051e0

191.0160	2.025e0

191.0696	1.182e0

191.1209	7.079e0

191.1721	4.349e0

191.2124	2.025e0

191.2308	1.013e0

191.3060	2.025e0

191.4304	3.038e0

191.4562	2.025e0

191.5765	1.013e0

191.6172	1.013e0

191.6979	1.013e0

191.7419	1.013e0

191.8153	2.025e0

191.8418	3.038e0

191.9143	2.025e0

191.9695	1.013e0

191.9919	2.025e0

192.0738	4.401e1

192.1131	5.521e0

192.1801	1.013e0

192.2131	1.013e0

192.2866	1.013e0

192.3288	2.025e0

192.3746	2.025e0

192.4114	1.013e0

192.4486	2.025e0

192.4858	1.013e0

192.5563	1.013e0

192.6774	2.025e0

192.7271	2.025e0

192.7473	1.013e0

192.8258	3.038e0

192.8481	3.038e0

192.8841	1.013e0

192.9510	1.013e0

192.9861	3.038e0

193.0318	1.013e0

193.0692	7.841e0

193.0980	7.581e0

193.1297	1.639e0

193.1555	2.372e0

193.2009	1.013e0

193.2196	1.013e0

193.2718	1.013e0

193.2977	2.025e0

193.3684	3.038e0

193.4048	1.013e0

193.4306	1.013e0

193.4527	2.025e0

193.5079	2.025e0

193.5446	1.013e0

193.5930	2.025e0

193.6154	2.025e0

193.6916	2.025e0

193.7376	1.013e0

193.7855	1.013e0

193.8186	1.013e0

193.8481	1.013e0

193.8996	1.013e0

193.9295	1.013e0

193.9556	2.025e0

194.0148	4.051e0

194.0555	3.415e0

194.1192	5.256e0

194.1494	2.514e0

194.1811	2.025e0

194.2536	2.025e0

194.3632	1.013e0

194.4185	1.013e0

194.4572	2.025e0

194.4885	1.013e0

194.5254	2.025e0

194.5666	1.013e0

194.6059	2.025e0

194.6644	3.038e0

194.8295	1.013e0

194.8520	1.013e0

194.8896	1.013e0

194.9472	2.025e0

195.0062	2.025e0

195.0413	1.013e0

195.0597	1.013e0

195.0965	1.440e0

195.1247	1.007e1

195.1875	3.038e0

195.2347	1.013e0

195.2790	1.013e0

195.3528	2.025e0

195.4017	3.038e0

195.4427	1.013e0

195.5058	1.013e0

195.5723	1.013e0

195.6313	1.013e0

195.6789	3.038e0

195.7251	2.025e0

195.8300	3.038e0

195.8878	1.013e0

195.9556	1.013e0

195.9936	4.051e0

196.0138	9.114e0

196.0508	4.051e0

196.0713	2.745e0

196.1115	5.393e0

196.1417	5.970e0

196.1935	1.013e0

196.2866	1.013e0

196.3532	1.013e0

196.3827	1.013e0

196.4542	3.038e0

196.4798	3.038e0

196.5065	1.013e0

196.5953	1.013e0

196.6323	1.013e0

196.6664	1.013e0

196.7080	1.013e0

196.7967	2.025e0

196.8676	2.025e0

196.9165	1.013e0

196.9464	1.013e0

196.9723	2.025e0

196.9898	3.038e0

197.0427	3.038e0

197.0716	1.155e1

197.1062	2.452e0

197.1658	2.359e0

197.2072	1.013e0

197.2294	2.025e0

197.2917	4.910e0

197.3830	1.013e0

197.4162	1.013e0

197.4793	1.013e0

197.5352	1.013e0

197.5752	3.038e0

197.6662	1.013e0

197.7330	2.025e0

197.7634	1.013e0

197.7900	1.013e0

197.8291	2.025e0

197.9520	2.025e0

197.9956	1.013e0

198.0347	3.038e0

198.0727	3.769e0

198.0977	5.091e0

198.1275	1.104e1

198.1880	6.076e0

198.2348	1.013e0

198.2589	2.025e0

198.2979	2.025e0

198.3164	1.013e0

198.4035	2.025e0

198.4331	1.013e0

198.5055	2.025e0

198.5370	1.013e0

198.5732	2.025e0

198.6036	2.025e0

198.6594	2.025e0

198.7318	1.013e0

198.8671	1.013e0

198.9005	1.013e0

198.9420	1.013e0

199.0301	4.152e1

199.1059	2.235e0

199.1461	6.042e0

199.1785	3.420e0

199.2085	1.013e0

199.2420	1.013e0

199.2606	1.013e0

199.3401	1.013e0

199.3923	1.013e0

199.4518	1.013e0

199.4780	1.013e0

199.4972	1.013e0

199.5668	2.025e0

199.5910	2.025e0

199.6574	3.038e0

199.7003	2.025e0

199.7229	1.013e0

199.7451	1.013e0

199.7712	1.013e0

199.8084	1.013e0

199.9143	4.051e0

199.9918	4.051e0

200.0412	8.101e0

200.0767	1.462e0

200.1095	1.181e0

200.1641	3.870e0

200.2227	5.063e0

200.4777	1.013e0

200.5027	3.038e0

200.6022	1.013e0

200.6581	2.025e0

200.7228	3.038e0

200.7567	2.025e0

200.7902	2.025e0

200.9001	2.025e0

200.9335	1.013e0

200.9559	1.013e0

201.0676	1.909e0

201.1097	2.457e0

201.1361	5.031e0

201.2052	1.013e0

201.2351	1.013e0

201.2687	1.013e0

201.4910	1.013e0

201.5295	1.013e0

201.5817	3.038e0

201.6199	3.038e0

201.6418	1.013e0

201.6916	1.013e0

201.7699	1.013e0

201.8245	3.038e0

201.8911	1.013e0

201.9342	3.038e0

202.0347	2.025e0

202.1238	6.492e1

202.2267	1.013e0

202.3200	2.025e0

202.3593	2.025e0

202.4520	4.051e0

202.5104	2.025e0

202.5468	2.025e0

202.5981	1.013e0

202.6177	3.038e0

202.6504	1.013e0

202.7307	2.025e0

202.7680	1.013e0

202.7979	1.013e0

202.8167	1.013e0

202.8670	2.025e0

202.9268	2.025e0

202.9605	1.013e0

202.9995	1.013e0

203.0313	2.025e0

203.0915	2.225e0

203.1336	6.542e0

203.1814	2.033e1

203.2563	1.013e0

203.3246	1.013e0

203.3927	1.013e0

203.5236	2.025e0

203.5486	1.013e0

203.5863	1.013e0

203.6200	4.051e0

203.6694	1.013e0

203.7416	2.025e0

203.8177	1.013e0

203.8482	2.025e0

203.8781	1.013e0

203.9231	1.013e0

203.9505	1.013e0

203.9847	1.013e0

204.0165	2.025e0

204.0408	1.013e0

204.1020	1.066e0

204.1374	2.787e0

204.1826	2.604e0

204.2279	1.013e0

204.2842	1.013e0

204.3570	1.013e0

204.4220	3.038e0

204.4550	2.025e0

204.4861	1.013e0

204.5125	2.025e0

204.5724	2.025e0

204.6036	1.013e0

204.6268	1.013e0

204.6604	1.013e0

204.6792	1.013e0

204.7735	3.038e0

204.8471	2.025e0

204.8700	1.013e0

204.9114	1.013e0

204.9378	1.013e0

205.0041	3.038e0

205.0622	4.051e0

205.1019	9.197e0

205.1373	8.048e0

205.1863	1.100e0

205.3201	2.025e0

205.3566	1.013e0

205.3913	2.025e0

205.4476	1.013e0

205.5151	3.038e0

205.5638	2.025e0

205.5885	1.013e0

205.6237	2.025e0

205.6501	1.013e0

205.6727	2.025e0

205.7065	1.013e0

205.7458	1.013e0

205.8040	2.025e0

205.8363	1.013e0

205.8600	1.013e0

205.8828	1.013e0

205.9428	1.013e0

205.9645	2.025e0

205.9915	2.025e0

206.0641	3.721e0

206.1140	6.513e0

206.2216	2.025e0

206.3859	1.013e0

206.4122	1.013e0

206.4742	2.025e0

206.5231	2.025e0

206.6245	2.025e0

206.7297	1.013e0

206.7749	1.013e0

206.8879	2.025e0

206.9686	3.038e0

207.0184	3.715e0

207.1243	1.637e0

207.2185	1.013e0

207.2377	1.013e0

207.2614	1.013e0

207.3257	2.025e0

207.3723	1.013e0

207.4442	1.013e0

207.4848	2.025e0

207.5784	1.013e0

207.6417	3.038e0

207.6700	1.013e0

207.7585	3.038e0

207.8545	2.025e0

207.9202	4.051e0

208.0398	3.909e1

208.0804	2.403e0

208.1071	1.939e0

208.1779	1.519e0

208.2067	1.013e0

208.2254	1.013e0

208.2533	1.013e0

208.3027	1.013e0

208.3409	2.025e0

208.3988	1.013e0

208.4402	3.038e0

208.5165	4.051e0

208.5851	2.025e0

208.7437	2.025e0

208.8030	3.038e0

208.8822	1.013e0

208.9474	1.013e0

208.9739	1.013e0

209.0166	5.063e0

209.0433	7.939e0

209.1023	1.278e0

209.1345	1.151e0

209.4200	2.025e0

209.4473	1.013e0

209.5207	1.013e0

209.5568	2.025e0

209.5976	1.519e1

209.6436	2.025e0

209.7086	1.013e0

209.7890	2.025e0

209.8206	2.025e0

209.8627	2.025e0

209.8869	1.826e0

209.9107	2.025e0

209.9476	1.013e0

210.0147	4.051e0

210.0592	2.199e0

210.0997	3.878e0

210.1205	1.940e0

210.2517	5.063e0

210.2934	1.013e0

210.4044	3.038e0

210.5864	1.013e0

210.6413	1.013e0

210.6754	1.013e0

210.7321	2.025e0

210.7528	2.025e0

210.9496	1.013e0

210.9798	1.013e0

211.0117	1.013e0

211.0425	3.044e0

211.0672	1.863e0

211.1228	4.748e0

211.1904	1.214e0

211.2202	2.025e0

211.2523	3.038e0

211.2812	1.013e0

211.3778	1.013e0

211.3979	1.013e0

211.4398	1.013e0

211.4906	1.013e0

211.5098	1.013e0

211.5963	5.063e0

211.6292	2.025e0

211.6598	1.013e0

211.7030	1.013e0

211.7845	1.013e0

211.8262	1.013e0

211.8654	1.013e0

211.9000	1.013e0

211.9979	5.063e0

212.0178	6.507e0

212.1453	3.998e0

212.1987	6.076e0

212.2545	2.025e0

212.3122	2.025e0

212.4459	1.013e0

212.4819	2.025e0

212.5117	2.025e0

212.5370	2.025e0

212.5918	4.051e0

212.6898	1.013e0

212.7362	1.013e0

212.7910	1.013e0

212.8291	1.013e0

212.8955	1.013e0

212.9530	1.013e0

213.0216	8.287e0

213.0999	6.220e0

213.1823	4.557e0

213.2246	1.013e0

213.2562	1.013e0

213.3179	1.013e0

213.3530	2.025e0

213.4052	2.025e0

213.4309	1.013e0

213.4689	1.013e0

213.5054	3.038e0

213.5392	1.013e0

213.5657	1.013e0

213.5966	3.038e0

213.6437	1.013e0

213.7083	2.025e0

213.7405	2.025e0

213.7843	3.038e0

213.8460	2.025e0

213.8698	1.013e0

213.9116	1.013e0

213.9415	3.038e0

214.0067	1.967e2

214.0687	1.863e0

214.1248	1.813e1

214.1512	2.532e0

214.1963	4.557e0

214.2386	2.025e0

214.2942	6.076e0

214.3356	3.038e0

214.3915	1.062e1

214.4273	7.089e0

214.4827	7.633e0

214.5399	9.708e0

214.5776	9.871e0

214.6100	5.081e0

214.6555	9.665e0

214.7006	5.063e0

214.7340	1.418e1

214.7968	1.674e1

214.8301	3.724e0

214.8735	6.076e0

214.9191	8.101e0

214.9502	5.028e0

214.9794	7.200e0

215.0119	1.953e1

215.0509	6.759e0

215.0936	1.134e1

215.1170	1.011e1

215.1466	6.021e0

215.2027	1.262e1

215.2331	7.435e0

215.2830	9.551e0

215.3149	7.446e0

215.3498	1.585e1

215.3979	2.315e0

215.4346	1.203e1

215.4696	3.213e0

215.5082	1.013e1

215.5644	1.003e1

215.5958	4.599e0

215.6261	4.248e0

215.6616	8.607e0

215.6894	8.759e0

215.7175	1.296e1

215.7480	1.659e1

215.7880	3.625e1

215.8175	2.624e1

215.8592	3.660e1

215.9235	5.231e1

215.9707	4.607e1

216.0094	3.250e1

216.0603	2.386e1

216.1393	2.121e4

216.2852	4.099e2

216.3111	1.585e2

216.3631	1.208e2

216.4004	8.056e1

216.4357	2.619e2

216.4886	1.813e2

216.5696	1.138e2

216.6095	4.032e1

216.6505	1.008e2

216.6815	1.008e2

216.7051	1.077e2

216.7627	6.051e1

216.7990	1.177e2

216.8355	2.219e2

216.8949	6.054e1

216.9253	6.055e1

216.9731	4.038e1

217.0024	6.057e1

217.0525	5.295e1

217.1447	3.704e3

217.2393	6.063e1

217.2824	9.602e1

217.3219	4.043e1

217.3537	1.213e2

217.4126	6.706e1

217.4455	7.379e1

217.5587	4.047e1

217.6189	4.048e1

217.6706	4.049e1

217.7154	2.025e1

217.7900	4.051e1

217.8216	2.026e1

217.8522	2.026e1

217.8765	4.052e1

217.9090	6.079e1

217.9766	4.054e1

218.0052	4.054e1

218.0607	4.055e1

218.0856	6.083e1

218.1492	6.694e2

218.2099	2.029e1

218.2444	4.058e1

218.2888	7.614e1

218.3707	2.030e1

218.4396	4.061e1

218.4739	6.093e1

218.6213	2.032e1

218.8187	4.068e1

218.9164	2.035e1

218.9447	2.035e1

219.0069	2.035e1

219.0759	6.108e1

219.1214	2.036e1

219.1644	4.073e1

219.1812	9.174e0

219.2259	2.139e0

219.2807	3.038e0

219.3035	3.038e0

219.3439	1.013e0

219.3701	3.038e0

219.3956	3.980e0

219.4340	1.013e0

219.4742	3.038e0

219.5050	1.013e0

219.5331	1.013e0

219.5858	4.051e0

219.6181	4.446e0

219.6519	3.891e0

219.6867	2.025e0

219.7362	4.051e0

219.7804	6.076e0

219.8283	2.025e0

219.8649	9.114e0

219.9272	6.076e0

219.9794	2.532e1

220.0474	2.278e1

220.1132	4.717e0

220.1474	4.405e0

220.1762	1.330e1

220.2357	7.671e0

220.2807	3.038e0

220.3163	1.013e0

220.3781	4.617e0

220.4369	4.051e0

220.5162	6.076e0

220.5648	3.038e0

220.6189	2.178e0

220.6425	3.038e0

220.6640	1.013e0

220.7083	1.013e0

220.7312	3.038e0

220.7587	2.245e0

220.8143	3.038e0

220.8734	2.025e0

220.9050	1.013e0

220.9464	2.025e0

221.0452	1.645e0

221.0769	3.582e0

221.1062	2.084e0

221.1226	1.071e0

221.1580	3.199e0

221.1857	6.928e0

221.2495	3.038e0

221.2847	3.038e0

221.3257	2.025e0

221.3751	1.013e0

221.4193	3.038e0

221.4462	1.013e0

221.4882	2.025e0

221.5292	3.038e0

221.5798	3.038e0

221.6289	2.025e0

221.6736	2.025e0

221.7289	3.038e0

221.7593	1.013e0

221.7866	1.013e0

221.8096	1.013e0

221.8306	1.013e0

221.8769	1.013e0

221.9328	2.025e0

221.9824	2.413e0

222.0195	2.664e1

222.0753	1.013e0

222.1451	3.447e0

222.2658	2.025e0

222.2974	4.051e0

222.3582	2.025e0

222.3950	2.025e0

222.4719	1.013e0

222.5470	1.013e0

222.5661	1.013e0

222.5950	2.025e0

222.6496	6.354e0

222.7493	1.013e0

222.7890	1.013e0

222.8264	4.051e0

222.8765	2.025e0

222.9125	2.025e0

222.9593	1.013e0

223.0174	7.202e0

223.0545	1.013e0

223.0874	1.163e0

223.1826	1.622e0

223.2369	1.013e0

223.2832	2.025e0

223.3286	1.013e0

223.4432	1.013e0

223.5228	4.051e0

223.5705	2.025e0

223.6398	2.820e0

223.6601	6.358e0

223.7018	1.013e0

223.7370	2.025e0

223.7731	1.013e0

223.8195	2.025e0

223.8694	1.013e0

224.0146	2.518e2

224.2040	5.063e0

224.2464	2.025e0

224.2914	3.038e0

224.3232	4.051e0

224.3819	2.025e0

224.4218	2.025e0

224.4480	2.025e0

224.4971	2.025e0

224.5417	2.025e0

224.5890	2.025e0

224.6092	1.013e0

224.6529	1.013e0

224.6730	1.013e0

224.7143	3.038e0

224.7579	2.025e0

224.7968	1.013e0

224.8606	1.013e0

224.8837	2.025e0

224.9160	1.013e0

225.0154	4.144e1

225.1967	4.501e0

225.2456	4.051e0

225.2818	1.013e0

225.3342	1.013e0

225.4175	1.013e0

225.4813	1.013e0

225.5423	3.038e0

225.5741	1.013e0

225.6133	1.013e0

225.6534	1.013e0

225.7056	1.013e0

225.7692	3.038e0

225.8177	1.013e0

225.8773	1.013e0

225.9127	2.025e0

225.9413	1.013e0

226.0177	5.328e1

226.0608	9.114e0

226.1259	5.170e2

226.2245	2.025e0

226.2787	2.025e0

226.3063	2.025e0

226.3614	4.051e0

226.4007	1.013e0

226.4384	2.025e0

226.4618	3.624e0

226.5107	2.025e0

226.5559	4.131e0

226.6368	4.051e0

226.6883	2.025e0

226.7225	4.051e0

226.7728	1.013e0

226.8407	2.025e0

226.8950	2.025e0

226.9277	1.013e0

226.9532	1.013e0

226.9821	1.703e0

227.0328	3.128e0

227.0822	7.038e0

227.1302	9.566e1

227.1997	3.542e0

227.2623	4.051e0

227.3049	2.025e0

227.3294	1.013e0

227.3564	1.013e0

227.3858	1.013e0

227.4288	1.013e0

227.4574	1.013e0

227.4952	2.025e0

227.5506	3.038e0

227.5911	3.038e0

227.6256	2.025e0

227.6733	1.013e0

227.7097	1.013e0

227.7505	1.013e0

227.7891	1.013e0

227.8184	1.013e0

227.8600	2.025e0

227.9223	2.025e0

227.9962	5.903e1

228.0571	2.025e0

228.0982	1.589e1

228.1330	7.420e0

228.1730	1.475e0

228.2062	6.076e0

228.2843	3.038e0

228.3521	1.013e0

228.4166	1.013e0

228.4661	2.025e0

228.5117	2.025e0

228.5997	4.051e0

228.6615	2.025e0

228.7450	1.013e0

228.7696	1.013e0

228.8424	2.025e0

228.9064	2.025e0

228.9801	2.841e0

229.0209	3.687e0

229.0627	4.051e0

229.1340	1.054e0

229.2157	1.013e0

229.2419	2.025e0

229.2837	1.013e0

229.3966	1.013e0

229.4491	3.038e0

229.5794	2.025e0

229.6379	1.013e0

229.6775	3.038e0

229.8188	1.013e0

229.8599	2.025e0

230.0031	9.405e0

230.0451	1.632e0

230.1154	1.381e1

230.1633	7.658e0

230.2095	3.038e0

230.3363	3.038e0

230.3716	2.025e0

230.4249	1.013e0

230.5573	1.013e0

230.5983	1.013e0

230.6235	2.025e0

230.7192	1.013e0

230.7425	1.013e0

230.8887	2.025e0

230.9239	1.013e0

231.0063	2.696e0

231.0829	1.754e0

231.1273	3.791e0

231.1941	1.029e0

231.2926	1.013e0

231.3725	1.013e0

231.5757	1.013e0

231.6629	3.038e0

231.7373	1.013e0

231.7650	1.013e0

231.8665	1.013e0

231.9251	2.025e0

231.9930	3.450e0

232.0179	1.371e1

232.0686	1.013e0

232.1367	2.976e1

232.1702	1.191e1

232.2611	2.025e0

232.3197	1.013e0

232.4579	5.063e0

232.5065	4.051e0

232.5504	1.013e0

232.6109	1.013e0

232.6802	3.038e0

232.7849	1.013e0

232.8280	2.025e0

232.9129	2.025e0

232.9643	1.013e0

233.0037	4.911e0

233.0952	8.819e1

233.1678	4.772e0

233.2457	2.025e0

233.3015	1.013e0

233.3935	1.013e0

233.4834	1.013e0

233.5031	1.013e0

233.5709	2.025e0

233.6216	1.013e0

233.6786	1.013e0

233.7086	2.025e0

233.9011	3.038e0

234.0093	2.039e0

234.0625	2.025e0

234.0956	1.083e1

234.1530	2.157e1

234.2628	1.013e0

234.2924	1.013e0

234.3200	1.013e0

234.3686	1.013e0

234.5571	2.025e0

234.6256	1.013e0

234.6501	1.013e0

234.7393	1.013e0

234.8355	2.025e0

234.9294	2.025e0

234.9512	1.013e0

234.9847	1.013e0

235.0188	2.039e0

235.0903	4.314e0

235.1568	5.378e0

235.2025	1.643e0

235.2573	1.013e0

235.3512	1.013e0

235.3789	2.025e0

235.4483	1.013e0

235.4810	1.013e0

235.5013	1.013e0

235.5871	1.013e0

235.6736	1.013e0

235.7029	2.025e0

235.7538	1.013e0

235.9388	1.013e0

235.9640	2.025e0

236.0174	2.218e1

236.0810	8.101e0

236.1710	4.409e0

236.2312	1.013e0

236.2888	1.013e0

236.3375	1.013e0

236.4040	1.013e0

236.4357	1.013e0

236.4909	3.038e0

236.5754	1.013e0

236.6717	2.025e0

236.7230	1.013e0

236.7799	1.013e0

236.8111	2.381e0

236.8824	2.565e0

236.9097	1.013e0

236.9749	5.063e0

237.0159	4.458e0

237.0366	6.484e0

237.0572	3.038e0

237.2014	2.902e0

237.2618	2.025e0

237.3274	1.013e0

237.3897	1.013e0

237.4342	2.025e0

237.4588	2.025e0

237.5080	1.625e0

237.5354	3.038e0

237.5611	2.025e0

237.6026	1.013e0

237.6795	2.025e0

237.7012	1.013e0

237.7502	1.013e0

237.7815	1.013e0

237.8801	1.013e0

237.9074	2.025e0

237.9552	1.013e0

238.0195	5.229e0

238.1226	5.176e1

238.1646	6.644e0

238.2105	1.643e0

238.2455	2.025e0

238.3031	4.051e0

238.3256	2.025e0

238.3562	2.025e0

238.4173	4.051e0

238.5663	1.013e0

238.5934	1.013e0

238.6233	1.013e0

238.6824	3.038e0

238.7778	3.038e0

238.8168	1.013e0

238.8481	2.025e0

238.9427	1.013e0

239.1062	9.036e0

239.1489	6.669e0

239.1698	3.748e0

239.2388	1.013e0

239.3335	2.025e0

239.3583	1.013e0

239.4917	3.038e0

239.5600	1.013e0

239.6239	2.025e0

239.7896	1.013e0

239.8554	4.051e0

239.8907	2.025e0

239.9548	1.013e0

240.0205	2.191e0

240.0581	1.013e0

240.0854	3.594e0

240.1435	2.546e1

240.2032	5.310e0

240.2491	2.025e0

240.2962	1.013e0

240.3446	3.038e0

240.4491	1.013e0

240.4792	2.025e0

240.5077	3.038e0

240.5391	1.013e0

240.5692	3.038e0

240.5995	2.163e0

240.6217	1.013e0

240.6555	1.013e0

240.6936	2.025e0

240.7455	2.025e0

240.7700	1.013e0

240.8571	1.013e0

240.9105	2.025e0

240.9521	1.013e0

241.0628	1.013e0

241.0970	2.240e0

241.1488	6.678e0

241.1819	1.695e0

241.2373	2.025e0

241.3101	1.013e0

241.3320	1.013e0

241.4052	1.013e0

241.4765	1.013e0

241.5171	1.013e0

241.6747	1.013e0

241.7281	1.013e0

241.7738	2.025e0

241.8688	1.013e0

241.9509	3.365e0

242.0275	1.839e1

242.0886	5.773e0

242.1293	4.965e0

242.1600	4.334e0

242.2096	2.769e0

242.2404	1.013e0

242.2931	2.025e0

242.3354	2.025e0

242.5049	2.025e0

242.5563	2.025e0

242.5858	2.025e0

242.6254	1.013e0

242.6457	1.013e0

242.7070	1.013e0

242.7569	1.013e0

242.7997	4.051e0

242.8777	1.013e0

242.8976	1.013e0

242.9629	2.097e0

242.9903	3.038e0

243.0165	6.495e0

243.0888	2.025e0

243.1467	2.005e0

243.2667	1.013e0

243.3289	1.013e0

243.3997	1.013e0

243.5153	1.013e0

243.5883	2.025e0

243.6360	1.013e0

243.7273	2.025e0

243.7610	1.013e0

243.8110	1.013e0

243.8475	1.013e0

243.9180	1.013e0

243.9385	1.013e0

243.9941	2.147e0

244.0296	1.193e0

244.0631	1.013e0

244.0978	2.245e0

244.1458	2.456e0

244.1819	3.183e0

244.2380	2.025e0

244.2815	2.025e0

244.3910	1.013e0

244.4928	2.025e0

244.6556	2.025e0

244.7968	2.025e0

244.8542	2.025e0

244.9102	2.025e0

244.9838	2.025e0

245.0294	1.065e1

245.0812	2.025e0

245.1367	6.035e0

245.1755	8.402e0

245.2337	2.025e0

245.2806	1.013e0

245.3386	3.038e0

245.3768	1.013e0

245.5809	1.013e0

245.6685	1.013e0

245.7825	2.025e0

245.8557	2.025e0

245.8853	1.013e0

245.9312	1.013e0

245.9955	1.064e1

246.0422	2.206e0

246.0732	3.038e0

246.1475	1.712e0

246.2133	1.488e0

246.2642	2.025e0

246.3895	2.025e0

246.4611	2.025e0

246.5102	2.025e0

246.5797	3.038e0

246.6310	3.038e0

246.7746	2.025e0

246.8223	1.013e0

247.0320	4.319e0

247.0636	2.025e0

247.1511	1.496e1

247.1862	2.485e1

247.2458	1.013e0

247.2887	3.240e0

247.3912	1.013e0

247.4118	1.013e0

247.4580	1.013e0

247.5210	1.013e0

247.6332	1.013e0

247.6840	1.013e0

247.7389	1.013e0

247.7671	1.013e0

247.8766	2.025e0

247.9323	2.025e0

247.9829	3.038e0

248.0165	2.529e0

248.0630	4.894e0

248.1754	9.203e0

248.2102	2.642e0

248.2522	1.013e0

248.3721	2.025e0

248.4580	1.013e0

248.5851	3.038e0

248.6205	5.063e0

248.6614	2.025e0

248.7758	1.013e0

248.8179	1.013e0

248.8678	1.013e0

248.9051	4.051e0

248.9843	5.063e0

249.0103	3.627e0

249.0534	4.809e0

249.0780	2.025e0

249.1602	4.535e0

249.2406	3.038e0

249.3130	1.013e0

249.3342	1.013e0

249.3882	2.025e0

249.4960	2.025e0

249.5183	1.013e0

249.5804	3.038e0

249.6660	1.013e0

249.8752	1.013e0

250.0134	4.065e0

250.0652	1.859e0

250.1253	1.871e0

250.2431	4.051e0

250.2799	1.013e0

250.3192	2.025e0

250.3680	1.013e0

250.3952	2.025e0

250.4793	2.025e0

250.5184	2.025e0

250.5522	2.025e0

250.6903	1.013e0

250.7668	1.013e0

250.8627	1.013e0

250.9936	4.470e1

251.0629	3.690e0

251.1140	3.068e0

251.2151	1.629e0

251.2550	1.013e0

251.3607	2.025e0

251.5055	2.025e0

251.5755	1.013e0

251.6495	2.025e0

251.6829	2.025e0

251.7767	2.025e0

251.8207	1.013e0

251.8707	1.013e0

251.9669	1.920e0

251.9912	1.899e0

252.0547	2.066e0

252.0980	1.669e0

252.1452	2.247e0

252.2169	6.436e0

252.2662	1.013e0

252.3084	1.013e0

252.3889	1.013e0

252.4272	1.013e0

252.4818	1.013e0

252.5177	3.038e0

252.5663	1.013e0

252.6840	2.993e0

252.7108	2.025e0

252.7973	2.025e0

252.8336	1.013e0

252.8715	1.013e0

252.9088	2.025e0

252.9744	8.257e0

253.0369	6.716e0

253.0736	1.013e0

253.1048	2.853e0

253.1753	3.305e1

253.2717	1.013e0

253.3125	2.025e0

253.3562	1.013e0

253.4171	1.013e0

253.4712	2.025e0

253.5135	1.013e0

253.5439	1.013e0

253.5862	1.013e0

253.6707	1.013e0

253.7552	1.013e0

253.8175	1.013e0

253.8477	1.013e0

253.9175	2.025e0

254.0362	1.053e1

254.0997	2.559e1

254.2751	1.013e0

254.3068	2.120e0

254.4890	2.025e0

254.5349	1.013e0

254.5548	1.013e0

254.6011	1.013e0

254.6427	2.025e0

254.6778	1.013e0

254.7004	1.013e0

254.7335	1.013e0

254.7850	1.013e0

254.8775	2.025e0

254.9237	2.025e0

254.9481	1.881e0

254.9776	1.303e0

255.0865	4.051e0

255.2298	4.392e0

255.3168	3.038e0

255.3955	2.025e0

255.4545	1.013e0

255.4996	2.025e0

255.5617	1.013e0

255.6286	1.013e0

255.6967	1.013e0

255.7587	2.025e0

255.7947	1.013e0

255.8706	1.013e0

255.8967	1.013e0

256.0360	1.579e0

256.1098	3.866e0

256.1358	1.775e0

256.1797	1.530e1

256.3124	1.013e0

256.3992	7.089e0

256.4702	2.025e0

256.5112	3.038e0

256.5432	1.013e0

256.5816	1.013e0

256.6092	3.038e0

256.6787	2.025e0

256.7186	7.089e0

256.7645	1.013e0

256.8067	2.025e0

256.8607	4.051e0

256.9035	3.772e0

256.9513	2.699e1

257.0890	2.751e0

257.1657	1.186e3

257.2635	8.011e0

257.3100	7.046e0

257.3383	4.051e0

257.3816	4.051e0

257.4021	5.560e0

257.4588	4.051e0

257.4891	2.249e0

257.5388	4.051e0

257.6217	1.009e1

257.6683	6.076e0

257.7138	9.957e0

257.7847	1.232e1

257.8428	3.038e0

257.8661	5.063e0

257.9022	4.781e0

257.9429	4.051e0

257.9755	2.171e0

258.0392	4.810e0

258.0988	8.463e0

258.1707	2.332e2

258.2535	6.659e0

258.3151	3.038e0

258.3515	4.051e0

258.3979	2.025e0

258.4352	3.038e0

258.4915	7.089e0

258.5488	4.051e0

258.5851	1.013e0

258.6074	2.025e0

258.6406	2.456e0

258.6648	3.038e0

258.7008	1.013e0

258.7440	5.063e0

258.7904	1.013e0

258.8335	1.013e0

258.8628	1.013e0

258.9013	2.025e0

258.9295	5.063e0

258.9742	2.316e0

259.0070	1.042e1

259.0516	2.025e0

259.1156	5.701e0

259.1825	4.505e2

259.3010	7.089e0

259.3680	1.013e0

259.4410	1.013e0

259.4967	2.025e0

259.5455	6.076e0

259.6140	4.051e0

259.6507	2.025e0

259.7072	1.013e0

259.7654	1.013e0

259.8062	3.740e0

259.8537	3.038e0

259.9319	7.089e0

260.0033	7.330e0

260.0872	2.985e2

260.1877	8.182e1

260.2710	2.797e0

260.3097	1.013e0

260.3602	4.051e0

260.4176	3.038e0

260.4662	3.038e0

260.5032	3.038e0

260.5778	7.346e0

260.6223	5.063e0

260.6757	6.076e0

260.7494	2.025e0

260.7870	4.051e0

260.8281	4.810e0

260.8589	3.424e0

260.9191	7.089e0

261.0035	1.817e2

261.0901	6.381e1

261.1287	3.848e1

261.1983	1.947e2

261.2887	4.051e0

261.3421	3.038e0

261.4027	3.038e0

261.4504	7.089e0

261.5031	2.025e0

261.5299	2.025e0

261.6071	2.025e0

261.6485	3.038e0

261.7057	2.025e0

261.7562	3.038e0

261.8053	3.038e0

261.8342	3.009e0

261.8777	2.025e0

261.9625	5.558e0

262.0042	2.411e1

262.0856	1.108e2

262.1771	1.303e1

262.1996	3.143e1

262.2732	2.025e0

262.3064	2.690e0

262.3508	2.025e0

262.4257	2.025e0

262.4713	1.013e0

262.5254	2.025e0

262.5754	3.038e0

262.6124	2.652e0

262.6694	2.025e0

262.7286	2.025e0

262.8104	2.531e0

262.8629	4.051e0

262.9099	2.868e0

262.9964	2.275e1

263.0418	7.089e0

263.0887	2.669e1

263.1738	3.803e2

263.2490	2.863e0

263.2742	2.678e0

263.3081	3.038e0

263.3450	4.051e0

263.4036	2.025e0

263.4375	6.076e0

263.5306	7.089e0

263.5819	3.038e0

263.6233	7.089e0

263.7015	3.038e0

263.7444	4.051e0

263.7835	4.775e0

263.8734	5.063e0

263.9311	3.038e0

263.9559	2.894e0

263.9863	3.184e0

264.0384	3.038e0

264.1774	7.455e1

264.2228	1.727e0

264.2977	2.025e0

264.3968	3.038e0

264.4587	1.013e0

264.5071	1.013e0

264.5551	2.025e0

264.5805	4.051e0

264.6263	2.025e0

264.6929	3.038e0

264.7320	1.013e0

264.8147	2.025e0

264.8445	1.013e0

264.8893	2.025e0

264.9768	6.501e1

265.0229	3.038e0

265.0630	2.025e0

265.3070	1.013e0

265.3378	2.025e0

265.3684	1.013e0

265.4248	2.025e0

265.4695	3.038e0

265.4931	2.025e0

265.5397	4.051e0

265.5706	2.025e0

265.6095	1.013e0

265.6600	2.025e0

265.7140	2.025e0

265.7527	4.051e0

265.8147	3.038e0

265.8613	1.013e0

265.9846	1.285e1

266.0357	3.038e0

266.1016	2.153e0

266.2251	1.060e0

266.2568	1.141e0

266.3207	1.013e0

266.3495	2.025e0

266.4040	1.013e0

266.4586	1.013e0

266.5420	2.025e0

266.5808	2.025e0

266.6410	1.013e0

266.6863	3.038e0

266.7295	3.038e0

266.7585	1.013e0

266.8074	1.013e0

266.9359	2.025e0

266.9750	4.105e0

267.0279	2.719e0

267.1533	5.553e1

267.2693	3.167e0

267.3382	2.025e0

267.3795	1.013e0

267.4093	1.013e0

267.4323	1.013e0

267.4980	1.013e0

267.5490	1.013e0

267.6016	1.013e0

267.6362	2.025e0

267.6596	2.025e0

267.7354	1.013e0

267.7893	1.013e0

267.8402	1.013e0

267.9140	2.025e0

267.9713	2.316e0

268.0406	3.038e0

268.1064	2.406e0

268.1522	9.431e0

268.2711	1.629e0

268.3021	1.013e0

268.4064	3.038e0

268.4578	1.013e0

268.5507	1.013e0

268.5976	1.013e0

268.6284	1.013e0

268.6634	1.013e0

268.7121	2.025e0

268.8263	2.025e0

268.9425	1.013e0

269.0010	4.389e0

269.1687	1.502e1

269.4040	1.013e0

269.4785	1.013e0

269.6042	1.013e0

269.6273	1.013e0

269.6805	2.025e0

269.7220	1.013e0

269.7711	2.025e0

269.8248	3.038e0

269.8510	2.025e0

269.9059	1.013e0

269.9479	3.038e0

270.0109	4.916e0

270.0912	5.146e0

270.2393	2.478e0

270.2704	1.865e0

270.4150	2.025e0

270.5383	2.025e0

270.6115	3.038e0

270.6959	2.730e0

270.7577	1.013e0

270.7829	1.013e0

270.8334	2.025e0

270.9347	2.025e0

270.9971	4.051e0

271.0422	1.013e0

271.0747	2.025e0

271.1077	2.117e0

271.1805	4.292e0

271.2363	1.524e0

271.3744	1.013e0

271.4143	2.025e0

271.4662	2.025e0

271.5536	1.013e0

271.6095	2.025e0

271.6478	3.038e0

271.6978	1.013e0

271.7311	2.025e0

271.7719	1.013e0

271.8181	2.025e0

271.9121	1.013e0

271.9661	2.025e0

272.0199	4.051e0

272.0754	3.038e0

272.2527	2.025e0

272.3252	2.025e0

272.3639	1.013e0

272.4611	1.013e0

272.5002	1.013e0

272.5683	2.025e0

272.6286	1.013e0

272.8119	1.013e0

272.9281	2.025e0

272.9573	4.051e0

273.0057	2.734e1

273.0710	3.038e0

273.1062	1.164e0

273.1584	6.380e0

273.2035	1.732e1

273.2601	2.025e0

273.3344	1.013e0

273.4045	2.025e0

273.4628	1.013e0

273.5276	2.025e0

273.5839	1.013e0

273.6247	2.025e0

273.7436	1.013e0

273.8054	1.013e0

273.8759	1.013e0

273.9503	1.013e0

273.9738	2.025e0

274.0236	9.114e0

274.0844	2.025e0

274.1161	6.379e0

274.1998	1.258e1

274.2563	1.377e2

274.3105	3.038e0

274.3725	2.025e0

274.4110	1.013e0

274.4499	2.025e0

274.4900	3.038e0

274.5277	2.025e0

274.6253	4.051e0

274.6650	2.025e0

274.6937	2.025e0

274.7589	1.013e0

274.7896	1.013e0

274.8292	3.038e0

274.9004	1.013e0

274.9378	3.038e0

275.0024	2.025e0

275.0590	1.013e0

275.1781	5.923e0

275.2145	1.015e1

275.2564	3.469e1

275.3506	1.013e0

275.4258	1.013e0

275.4800	5.063e0

275.5407	2.025e0

275.5705	1.013e0

275.7112	1.013e0

275.7423	2.025e0

275.7862	1.013e0

275.8623	1.013e0

275.9035	3.038e0

275.9556	3.038e0

276.0274	1.093e1

276.0686	3.038e0

276.1194	1.319e0

276.1731	1.050e1

276.2150	7.329e0

276.2714	4.051e0

276.3206	1.087e0

276.3468	2.025e0

276.3811	2.025e0

276.4846	2.058e0

276.5862	2.025e0

276.6234	2.025e0

276.6567	2.025e0

276.6839	1.013e0

276.7354	3.038e0

276.8011	2.025e0

276.8373	1.013e0

276.8640	1.013e0

276.9866	2.025e0

277.0322	3.038e0

277.0599	7.283e0

277.1180	3.463e1

277.2445	3.038e0

277.2747	5.063e0

277.3996	1.013e0

277.5132	2.025e0

277.5598	1.013e0

277.5910	1.013e0

277.6382	2.025e0

277.6615	1.013e0

277.7496	2.025e0

277.7984	1.013e0

277.8295	2.025e0

277.9608	5.063e0

277.9984	3.038e0

278.0540	3.038e0

278.1143	6.015e0

278.2740	2.025e0

278.3588	2.025e0

278.4051	1.013e0

278.4282	1.013e0

278.5182	3.038e0

278.5919	1.013e0

278.6492	2.025e0

278.6733	3.038e0

278.7066	2.025e0

278.7772	2.025e0

278.8347	2.025e0

278.8816	2.025e0

278.9142	1.013e0

278.9910	1.013e0

279.0121	2.025e0

279.0951	2.440e1

279.1519	1.482e2

279.2574	1.013e0

279.2784	1.013e0

279.3370	2.025e0

279.3856	1.013e0

279.4692	3.155e0

279.5605	2.025e0

279.5955	1.013e0

279.6427	1.013e0

279.6837	2.025e0

279.7660	2.025e0

279.8073	1.013e0

279.8525	2.025e0

279.8739	2.025e0

279.9612	6.076e0

280.0425	5.063e0

280.1031	9.165e0

280.1536	3.752e1

280.2841	1.013e0

280.3981	3.038e0

280.4537	1.013e0

280.4796	3.636e0

280.5465	2.025e0

280.5825	1.013e0

280.6134	1.013e0

280.6484	2.025e0

280.7334	7.940e0

280.8657	1.013e0

280.9069	1.013e0

280.9795	4.051e0

281.0458	1.013e0

281.0850	1.013e0

281.1639	7.676e0

281.2729	1.013e0

281.4329	1.013e0

281.4587	1.013e0

281.5258	1.013e0

281.5984	3.038e0

281.6652	1.013e0

281.7443	1.013e0

281.8029	1.013e0

281.8964	3.038e0

281.9803	1.013e0

282.0196	5.063e0

282.0588	8.101e0

282.1065	1.224e0

282.1820	5.283e0

282.2913	4.051e0

282.3290	1.013e0

282.4271	2.025e0

282.4770	1.013e0

282.5320	2.025e0

282.5821	2.025e0

282.6216	3.167e0

282.6466	2.025e0

282.6783	1.013e0

282.7256	1.013e0

282.8079	1.013e0

282.8707	1.013e0

282.9225	1.013e0

282.9817	1.365e1

283.0887	2.025e0

283.1796	1.183e1

283.2472	2.025e0

283.2856	1.013e0

283.3344	1.013e0

283.4365	1.013e0

283.6251	2.025e0

283.6752	1.013e0

283.6960	1.013e0

283.8785	2.025e0

283.9800	5.063e0

284.0344	4.051e0

284.1229	1.351e1

284.1730	8.654e0

284.2285	3.839e0

284.2854	3.038e0

284.3202	2.025e0

284.4075	8.101e0

284.4834	2.025e0

284.5291	3.038e0

284.6221	5.241e0

284.7075	2.025e0

284.7768	1.013e0

284.8053	2.025e0

284.8366	2.025e0

284.9300	1.013e0

284.9695	2.025e0

285.0813	1.013e0

285.1035	1.013e0

285.2663	4.051e0

285.3320	1.013e0

285.4236	4.051e0

285.4730	1.013e0

285.5378	3.038e0

285.6189	4.051e0

285.7553	1.013e0

285.8850	2.025e0

285.9257	1.056e0

285.9652	1.013e0

286.0308	2.025e0

286.0995	3.038e0

286.2448	3.490e0

286.2956	4.051e0

286.3551	3.038e0

286.3929	2.025e0

286.4336	1.013e0

286.4611	1.013e0

286.5045	2.025e0

286.5605	3.038e0

286.6457	1.013e0

286.7527	1.013e0

286.7801	1.013e0

286.8031	1.013e0

286.8432	3.038e0

286.9062	2.025e0

286.9757	2.025e0

287.0342	2.025e0

287.0933	2.025e0

287.2144	3.456e1

287.2804	1.013e0

287.3650	1.013e0

287.4170	2.025e0

287.4696	3.038e0

287.5326	1.013e0

287.5761	1.013e0

287.6392	1.013e0

287.7022	1.013e0

287.7317	2.025e0

287.7653	1.013e0

287.8283	1.013e0

287.8700	2.025e0

287.9629	5.063e0

288.0135	2.025e0

288.0452	1.013e0

288.1131	3.491e0

288.2173	8.831e0

288.2561	7.089e0

288.3389	1.013e0

288.4918	1.013e0

288.5867	1.013e0

288.6631	3.038e0

288.7272	1.013e0

288.7647	2.025e0

288.8084	1.013e0

288.8471	2.025e0

288.8849	5.058e0

288.9506	3.038e0

288.9879	1.013e0

289.0665	1.013e0

289.1391	1.890e1

289.1914	1.683e1

289.2289	2.321e1

289.3151	1.013e0

289.4955	1.013e0

289.5484	1.013e0

289.6013	2.025e0

289.6268	1.013e0

289.6860	1.013e0

289.7256	1.013e0

289.7847	1.013e0

289.8153	2.025e0

289.8519	2.025e0

289.9024	3.038e0

290.0050	4.051e0

290.0965	5.063e0

290.1486	6.835e0

290.2326	8.289e0

290.4541	2.025e0

290.6409	3.038e0

290.7041	4.051e0

290.7532	2.782e0

290.8261	1.013e0

290.8708	2.025e0

290.9039	3.038e0

290.9956	2.025e0

291.0343	2.025e0

291.1158	1.947e0

291.1759	2.305e0

291.2389	2.255e0

291.3015	1.013e0

291.3964	2.025e0

291.4323	1.013e0

291.4961	1.013e0

291.5386	1.013e0

291.5782	2.996e0

291.6146	2.025e0

291.6415	1.013e0

291.6825	1.013e0

291.7264	2.025e0

291.7990	3.038e0

291.8430	2.025e0

291.8763	3.038e0

291.9280	7.089e0

291.9986	2.025e0

292.0822	1.013e0

292.2682	3.038e0

292.3008	2.025e0

292.3412	1.013e0

292.4449	1.013e0

292.4717	1.013e0

292.5824	1.013e0

292.6362	2.025e0

292.6815	1.013e0

292.7348	2.025e0

292.7590	2.025e0

292.7981	4.051e0

292.8776	2.025e0

292.9081	1.350e0

292.9736	3.038e0

293.0208	4.051e0

293.0852	4.051e0

293.4233	2.025e0

293.4729	1.013e0

293.5506	2.025e0

293.5836	1.013e0

293.6313	2.025e0

293.6732	5.063e0

293.7360	2.025e0

293.8053	2.025e0

293.8830	2.025e0

293.9498	3.988e0

294.0030	2.025e0

294.0600	5.651e0

294.1539	8.595e2

294.2637	9.962e0

294.3607	3.038e0

294.3881	4.051e0

294.4320	3.038e0

294.4572	2.025e0

294.4904	1.013e0

294.5604	5.063e0

294.6405	1.391e1

294.7298	4.051e0

294.7658	2.025e0

294.8272	5.171e0

294.8843	6.076e0

294.9153	3.038e0

294.9603	7.089e0

295.0563	5.063e0

295.1578	1.922e2

295.2399	5.563e0

295.2771	3.038e0

295.3214	6.076e0

295.3497	3.038e0

295.4278	4.051e0

295.4678	7.089e0

295.5207	1.013e0

295.5952	5.063e0

295.6417	3.237e0

295.7060	4.051e0

295.7766	4.051e0

295.8343	4.051e0

295.8930	2.025e0

295.9287	2.411e0

295.9781	7.598e0

296.0234	2.025e0

296.1562	5.709e1

296.2661	1.013e0

296.3450	3.038e0

296.3811	1.013e0

296.4382	2.025e0

296.5000	1.013e0

296.5455	3.038e0

296.6023	2.025e0

296.6464	9.114e0

296.6947	4.051e0

296.7595	1.013e0

296.7979	2.025e0

296.8334	1.013e0

296.9055	1.013e0

296.9288	1.013e0

296.9644	2.025e0

297.0068	2.391e0

297.0736	1.706e0

297.1529	1.304e1

297.2856	4.129e0

297.3276	2.025e0

297.3692	1.013e0

297.4647	1.013e0

297.5066	1.013e0

297.5756	1.013e0

297.6313	1.013e0

297.6601	4.051e0

297.7307	1.013e0

297.7936	5.063e0

297.8695	1.013e0

297.8916	1.013e0

297.9546	3.038e0

298.0062	1.215e1

298.1522	5.916e0

298.2548	1.013e0

298.2865	1.013e0

298.3097	1.013e0

298.3640	1.013e0

298.5011	5.108e0

298.5428	2.025e0

298.6358	1.013e0

298.6760	1.013e0

298.7335	2.025e0

298.7772	1.013e0

298.8188	1.013e0

298.8826	1.013e0

298.9144	1.013e0

298.9655	4.051e0

299.0058	1.013e0

299.0756	1.519e0

299.2347	1.571e0

299.3148	3.038e0

299.3556	1.013e0

299.4165	5.063e0

299.5769	3.038e0

299.6139	1.013e0

299.6776	1.013e0

299.7547	2.025e0

299.8330	4.051e0

299.8782	3.038e0

299.9749	7.089e0

300.0356	2.025e0

300.0788	3.874e0

300.1573	1.191e1

300.2034	8.383e1

300.2900	2.128e0

300.3328	3.038e0

300.4013	1.013e0

300.4332	1.013e0

300.4789	1.013e0

300.5313	3.038e0

300.5845	1.013e0

300.6813	1.013e0

300.7453	2.025e0

300.8247	3.038e0

300.8987	1.013e0

300.9347	1.013e0

300.9644	2.025e0

301.0322	6.076e0

301.1145	4.414e1

301.2047	1.881e1

301.2715	2.025e0

301.4083	3.038e0

301.4520	1.013e0

301.4931	3.038e0

301.6106	2.025e0

301.6591	1.013e0

301.7169	2.025e0

301.7706	1.013e0

301.8761	1.013e0

301.9601	5.285e1

302.0489	3.038e0

302.0788	4.027e0

302.1148	4.889e0

302.2205	2.658e0

302.2899	2.025e0

302.3562	1.013e0

302.4821	4.860e0

302.6012	2.025e0

302.6592	2.025e0

302.8369	2.025e0

302.8676	2.025e0

302.9595	4.987e0

302.9873	6.152e0

303.1187	6.197e1

303.2060	8.780e0

303.2465	3.231e0

303.3126	1.013e0

303.3452	1.013e0

303.3965	1.013e0

303.4282	1.013e0

303.4801	2.025e0

303.5121	1.013e0

303.6100	1.013e0

303.6871	2.025e0

303.7266	3.038e0

303.9033	3.038e0

303.9585	1.114e1

304.0787	7.323e0

304.1337	2.569e1

304.1967	3.214e1

304.3022	3.646e1

304.3695	1.013e0

304.3974	1.013e0

304.5017	3.038e0

304.5731	1.013e0

304.6275	5.063e0

304.6770	2.025e0

304.7127	2.025e0

304.8026	3.038e0

304.8428	1.013e0

304.9051	3.038e0

304.9721	2.025e0

305.0820	4.051e0

305.1039	7.739e0

305.1588	6.168e1

305.2031	9.046e0

305.3066	1.418e1

305.3634	1.013e0

305.3914	1.013e0

305.4273	1.013e0

305.4692	1.013e0

305.5152	2.025e0

305.5858	1.013e0

305.6317	2.025e0

305.6968	1.013e0

305.7946	1.013e0

305.8336	2.025e0

305.8990	3.038e0

305.9347	4.051e0

305.9952	3.038e0

306.1251	6.921e0

306.1873	7.939e0

306.2378	2.411e0

306.2643	4.051e0

306.3020	2.025e0

306.3945	3.038e0

306.4498	2.025e0

306.6134	3.038e0

306.7056	1.013e0

306.7615	1.013e0

306.8090	1.013e0

306.9013	1.013e0

306.9653	1.013e0

306.9893	2.025e0

307.0583	3.038e0

307.1176	5.820e0

307.2530	2.218e0

307.3292	1.013e0

307.3922	2.025e0

307.4501	1.013e0

307.4930	1.013e0

307.5291	1.013e0

307.6547	2.025e0

307.7325	2.025e0

307.7851	1.013e0

307.8450	2.025e0

307.8931	1.013e0

307.9211	1.013e0

307.9952	3.038e0

308.0450	2.025e0

308.2814	3.038e0

308.3497	1.013e0

308.4493	3.038e0

308.5556	2.025e0

308.6656	2.025e0

308.7292	1.013e0

308.7656	2.025e0

308.8076	2.025e0

308.8816	1.013e0

308.9209	1.013e0

308.9638	2.025e0

309.0296	5.063e0

309.0816	2.506e0

309.1244	4.141e0

309.1675	1.408e0

309.2654	3.038e0

309.3302	1.013e0

309.4578	1.013e0

309.5884	1.013e0

309.7035	2.025e0

309.7843	2.025e0

309.8264	1.013e0

309.8917	1.013e0

309.9305	1.013e0

310.0041	1.013e0

310.0379	1.013e0

310.0829	1.013e0

310.1243	3.847e0

310.3067	3.038e0

310.3601	2.025e0

310.4314	1.013e0

310.4630	3.038e0

310.5737	2.025e0

310.6336	2.025e0

310.6782	2.025e0

310.7301	2.025e0

310.7739	2.025e0

310.8309	3.038e0

310.8882	1.013e0

310.9363	1.013e0

310.9894	5.629e0

311.0400	2.025e0

311.0702	2.025e0

311.1359	2.632e0

311.2902	2.025e0

311.3390	1.013e0

311.5093	2.025e0

311.5794	5.063e0

311.6379	2.025e0

311.7060	1.013e0

311.7625	1.013e0

311.7949	3.038e0

311.9148	2.025e0

311.9950	1.013e0

312.0348	3.038e0

312.2010	4.820e0

312.2538	1.307e0

312.3109	1.013e0

312.3361	2.025e0

312.4886	1.013e0

312.5425	3.038e0

312.5942	3.038e0

312.6733	1.013e0

312.7696	1.013e0

312.9169	1.013e0

312.9699	3.038e0

313.0453	5.063e0

313.1958	6.075e0

313.3594	1.013e0

313.3844	2.025e0

313.5183	2.025e0

313.5779	2.025e0

313.6431	2.025e0

313.7285	2.025e0

313.9354	3.038e0

314.0827	1.519e0

314.1414	1.822e0

314.1690	4.592e0

314.2166	9.562e0

314.3318	1.013e0

314.4451	1.013e0

314.5281	2.025e0

314.6296	3.038e0

314.6674	2.025e0

314.7242	1.013e0

314.8008	3.038e0

314.8946	1.013e0

314.9607	5.063e0

315.0164	2.025e0

315.0681	4.051e0

315.1390	2.933e0

315.2047	2.928e0

315.2578	2.394e0

315.3743	1.013e0

315.4132	1.013e0

315.5017	2.025e0

315.5540	1.013e0

315.5821	2.025e0

315.6258	3.038e0

315.6998	1.013e0

315.7545	3.038e0

315.8141	1.013e0

315.8763	3.038e0

315.9702	6.076e0

316.0547	5.063e0

316.1331	6.076e0

316.1993	2.127e1

316.2614	4.419e0

316.3242	2.025e0

316.4874	2.025e0

316.5880	1.013e0

316.6597	3.038e0

316.8799	3.038e0

316.9421	2.025e0

316.9802	7.089e0

317.0357	2.025e0

317.0697	4.051e0

317.1328	3.958e0

317.1989	5.912e0

317.2549	6.128e0

317.3474	2.025e0

317.4122	1.013e0

317.4981	1.013e0

317.5301	1.013e0

317.6835	3.038e0

317.7281	1.013e0

317.8041	1.013e0

317.8322	1.013e0

317.9291	2.025e0

318.0460	2.212e0

318.0985	1.910e0

318.1500	5.438e0

318.2563	3.332e0

318.2855	2.025e0

318.3550	1.013e0

318.3838	1.013e0

318.4347	2.025e0

318.5051	1.013e0

318.5495	1.013e0

318.6040	2.111e0

318.6542	3.038e0

318.7223	3.038e0

318.8877	7.817e0

318.9250	2.204e0

318.9994	3.038e0

319.0464	1.013e0

319.1274	8.269e0

319.2199	1.003e1

319.2712	5.063e0

319.3141	1.556e0

319.3599	1.013e0

319.4445	1.013e0

319.5023	1.013e0

319.5414	1.013e0

319.5938	1.013e0

319.7027	1.013e0

319.7738	1.013e0

319.8143	2.025e0

319.8891	5.063e0

319.9278	2.025e0

320.0414	2.025e0

320.0820	1.013e0

320.2036	2.962e0

320.3117	1.013e0

320.3638	1.013e0

320.3927	2.025e0

320.4551	2.025e0

320.5123	2.025e0

320.5664	1.013e0

320.7054	1.013e0

320.8969	2.025e0

320.9880	2.025e0

321.0372	6.480e0

321.1389	1.572e1

321.1966	1.927e0

321.3253	1.013e0

321.3492	1.013e0

321.5233	1.013e0

321.6907	2.025e0

321.7251	1.013e0

321.7575	1.013e0

321.8099	2.025e0

321.9578	2.025e0

322.0425	4.051e0

322.1085	1.092e0

322.1948	6.871e0

322.2831	2.053e0

322.3435	3.038e0

322.3918	2.025e0

322.4483	1.013e0

322.5534	1.013e0

322.5818	1.013e0

322.6303	1.013e0

322.7556	1.013e0

322.8265	1.013e0

322.8731	1.013e0

322.9091	2.025e0

322.9548	3.038e0

323.0072	1.013e0

323.0488	2.025e0

323.0929	3.676e0

323.1378	2.175e0

323.1889	2.446e0

323.2557	1.051e0

323.3044	2.669e0

323.3661	2.025e0

323.4390	1.013e0

323.4915	1.013e0

323.5306	2.025e0

323.6048	1.013e0

323.6574	1.013e0

323.7303	1.013e0

323.7585	1.013e0

323.8411	3.038e0

323.9288	2.025e0

323.9861	3.038e0

324.0116	4.051e0

324.0737	3.038e0

324.1337	2.813e0

324.1693	3.095e0

324.3290	4.051e0

324.4140	1.013e0

324.4443	2.025e0

324.6028	2.025e0

324.9443	2.025e0

325.0070	1.013e0

325.0456	2.025e0

325.1014	2.282e0

325.1457	2.184e0

325.1924	3.684e1

325.2583	1.704e0

325.3139	1.902e0

325.3736	2.025e0

325.4626	1.013e0

325.5504	3.038e0

325.6336	3.854e0

325.6801	2.025e0

325.7308	2.025e0

325.7868	2.025e0

325.8556	1.013e0

325.9201	2.025e0

325.9569	1.013e0

326.0650	3.038e0

326.0925	1.649e0

326.1417	7.336e0

326.2162	1.764e1

326.2740	2.756e0

326.3804	5.531e1

326.4641	1.013e0

326.5170	1.013e0

326.5699	5.063e0

326.6377	1.013e0

326.6819	1.013e0

326.7350	1.013e0

326.7693	2.025e0

326.8802	3.038e0

326.9545	6.076e0

327.0186	6.076e0

327.1808	3.539e1

327.2865	1.744e0

327.3201	3.038e0

327.3737	7.089e0

327.4337	5.824e0

327.5767	2.025e0

327.6079	1.013e0

327.6610	1.013e0

327.8274	4.538e0

327.9210	1.013e0

327.9617	2.025e0

327.9978	1.013e0

328.0421	3.382e0

328.0736	6.076e0

328.1670	7.533e0

328.2025	8.661e0

328.2546	3.650e0

328.3290	1.013e0

328.3646	1.013e0

328.4060	1.013e0

328.5362	1.013e0

328.6029	2.025e0

328.7176	2.025e0

328.7634	1.013e0

328.8444	1.013e0

328.9152	1.390e1

328.9862	8.101e0

329.0334	2.025e0

329.0805	2.025e0

329.1803	4.863e0

329.2185	2.826e0

329.2659	4.063e0

329.3363	1.013e0

329.3897	1.013e0

329.4312	2.025e0

329.4821	1.013e0

329.5173	2.025e0

329.5521	2.025e0

329.6312	2.025e0

329.7857	3.038e0

329.9360	1.013e0

329.9897	2.025e0

330.0415	3.038e0

330.1003	2.542e0

330.2238	2.221e0

330.2590	2.583e0

330.2944	2.025e0

330.3603	2.025e0

330.4177	1.013e0

330.4697	2.025e0

330.5276	2.025e0

330.6261	1.013e0

330.6523	2.025e0

330.7749	1.013e0

330.8107	1.013e0

330.9047	4.051e0

330.9394	5.063e0

331.0483	2.250e0

331.0910	1.591e0

331.1921	1.868e0

331.2632	3.857e0

331.3233	1.013e0

331.3597	1.013e0

331.4486	1.013e0

331.4859	1.013e0

331.5262	2.025e0

331.5714	2.025e0

331.6297	3.038e0

331.6649	1.013e0

331.7176	1.013e0

331.8358	1.013e0

331.8764	2.025e0

331.9211	2.025e0

331.9651	4.051e0

332.0820	1.873e0

332.1468	1.532e0

332.3364	1.215e1

332.4567	2.025e0

332.5183	1.013e0

332.5583	2.025e0

332.6679	1.013e0

332.7271	1.013e0

332.7556	2.025e0

332.8084	1.013e0

332.8981	4.051e0

332.9706	5.063e0

333.1508	3.089e0

333.1844	3.414e0

333.2116	1.057e0

333.2774	2.700e0

333.3460	4.051e0

333.4595	2.025e0

333.4954	2.025e0

333.5641	2.461e0

333.6090	1.013e0

333.7106	3.038e0

333.8325	2.025e0

333.8792	1.013e0

333.9606	2.025e0

334.1257	2.082e0

334.1895	1.322e0

334.2715	1.236e0

334.3191	5.007e0

334.3488	3.038e0

334.3961	1.013e0

334.4540	1.013e0

334.6127	1.013e0

334.6910	1.013e0

334.7354	1.013e0

334.7882	1.013e0

334.9118	3.038e0

334.9800	1.013e0

335.0059	2.007e0

335.0706	2.636e0

335.1409	2.608e0

335.2159	3.325e0

335.4065	2.025e0

335.4612	1.013e0

335.5103	1.013e0

335.6367	1.013e0

335.7278	1.013e0

335.7519	1.013e0

335.8470	3.038e0

335.8934	3.038e0

335.9267	3.038e0

335.9934	2.025e0

336.0302	2.025e0

336.1081	3.427e0

336.1461	1.052e0

336.3168	6.719e0

336.3863	1.013e0

336.4240	1.013e0

336.5116	2.025e0

336.5617	1.013e0

336.6524	1.013e0

336.6888	1.013e0

336.9047	6.076e0

336.9710	1.013e0

337.1067	4.663e0

337.1409	3.620e0

337.2280	6.575e1

337.3308	2.025e0

337.3845	3.038e0

337.4590	2.025e0

337.4940	2.025e0

337.5398	3.038e0

337.5932	3.038e0

337.7198	3.038e0

337.8122	2.025e0

337.8473	3.038e0

337.9041	3.038e0

337.9514	4.051e0

337.9938	2.025e0

338.0411	3.799e0

338.0994	1.891e1

338.1648	2.284e0

338.2245	1.246e1

338.3022	2.463e0

338.3598	2.025e0

338.4007	1.013e0

338.4539	1.013e0

338.4843	1.013e0

338.5459	2.025e0

338.5950	2.025e0

338.7481	2.025e0

338.8311	1.013e0

338.9073	2.025e0

338.9932	2.132e0

339.0262	2.885e0

339.1125	4.684e0

339.2122	3.985e1

339.3241	3.994e0

339.3656	1.013e0

339.4190	2.025e0

339.4828	1.013e0

339.6150	1.013e0

339.7512	2.025e0

339.7949	1.013e0

339.8365	2.025e0

339.9010	2.025e0

340.0392	3.865e0

340.0764	7.408e0

340.1103	5.507e0

340.1527	1.280e0

340.2090	1.414e1

340.2898	2.794e0

340.3617	2.025e0

340.3937	4.051e0

340.4413	2.025e0

340.5602	1.013e0

340.5950	2.025e0

340.6584	1.013e0

340.7037	1.013e0

340.7812	1.013e0

340.8448	1.013e0

340.8890	3.038e0

340.9368	2.025e0

341.0399	1.688e0

341.1218	2.931e1

341.2257	1.241e0

341.2712	1.064e1

341.3291	2.025e0

341.3640	3.038e0

341.4053	5.063e0

341.4679	3.038e0

341.5019	2.025e0

341.5604	3.038e0

341.6206	1.013e0

341.6840	1.013e0

341.7599	5.063e0

341.8605	5.063e0

341.9096	2.025e0

341.9846	1.013e0

342.0109	1.857e0

342.1091	5.253e0

342.1890	2.492e0

342.2382	3.113e0

342.2853	4.360e0

342.3287	3.038e0

342.3842	6.076e0

342.4320	1.013e0

342.6228	3.038e0

342.6664	1.013e0

342.7152	2.025e0

342.7905	2.025e0

342.8632	1.013e0

342.9084	3.038e0

343.0095	1.933e0

343.0775	5.635e0

343.1248	5.126e0

343.1974	1.387e0

343.2201	2.988e0

343.3745	1.013e0

343.4049	1.013e0

343.4603	1.013e0

343.5389	1.086e0

343.5686	2.025e0

343.6255	3.038e0

343.7068	1.013e0

343.7603	1.013e0

343.8055	1.013e0

343.9334	7.089e0

344.1604	7.128e0

344.2268	7.407e1

344.2906	5.642e0

344.3462	3.038e0

344.4565	3.038e0

344.5276	1.013e0

344.5645	2.025e0

344.6141	1.013e0

344.6720	2.025e0

344.7253	1.013e0

344.7617	1.013e0

344.8272	2.025e0

344.9077	5.063e0

344.9591	5.063e0

345.0430	3.381e0

345.1180	1.135e0

345.1799	3.784e0

345.2257	1.389e1

345.2850	4.883e0

345.3935	2.025e0

345.5136	2.025e0

345.5847	2.025e0

345.7094	1.013e0

345.7493	3.038e0

345.7905	3.038e0

345.8456	2.025e0

345.9202	1.152e1

345.9853	1.013e0

346.1067	4.218e0

346.1498	1.908e0

346.2025	5.723e0

346.2613	1.236e0

346.2912	1.822e0

346.3227	1.991e0

346.4249	1.013e0

346.4821	2.025e0

346.5235	1.013e0

346.5616	2.025e0

346.5973	1.013e0

346.6427	2.025e0

346.7083	2.025e0

346.7587	4.051e0

346.8451	1.013e0

346.8762	1.013e0

346.9341	2.194e0

347.0083	5.007e0

347.0658	2.630e1

347.1484	5.443e0

347.2321	6.705e0

347.3129	5.906e0

347.3951	1.013e0

347.5488	4.051e0

347.5979	1.013e0

347.6377	1.013e0

347.7177	2.025e0

347.7901	3.038e0

347.8423	3.038e0

347.9094	1.748e0

348.0525	3.329e0

348.1542	1.128e0

348.2256	2.042e0

348.2897	1.246e0

348.4071	1.013e0

348.5298	2.025e0

348.5956	1.013e0

348.7960	2.025e0

348.8516	1.013e0

349.0786	2.641e0

349.1964	2.780e1

349.2831	1.248e0

349.4030	1.013e0

349.5907	2.025e0

349.6646	2.025e0

349.7120	1.013e0

349.7711	1.013e0

349.8149	1.013e0

349.9183	5.521e0

349.9823	2.025e0

350.0728	1.073e1

350.2226	2.411e1

350.2917	1.851e0

350.3309	1.990e0

350.3629	1.013e0

350.4123	1.013e0

350.5278	1.013e0

350.5812	1.013e0

350.6392	2.025e0

350.6758	9.114e0

350.7367	1.013e0

350.7956	2.025e0

350.8384	3.038e0

350.9300	1.332e0

351.0297	3.896e0

351.1764	1.597e0

351.2305	4.125e0

351.3524	1.013e0

351.5356	3.038e0

351.5977	1.013e0

351.6965	1.647e0

351.7294	2.025e0

351.9193	2.622e0

351.9777	1.748e0

352.0391	2.701e0

352.1078	2.148e0

352.2184	2.471e0

352.2867	3.341e0

352.3751	1.013e0

352.4858	1.013e0

352.5804	1.013e0

352.6498	1.013e0

352.7256	1.013e0

352.9940	3.038e0

353.2281	6.703e0

353.3634	1.013e0

353.4215	2.025e0

353.4645	1.013e0

353.5088	1.013e0

353.5530	2.025e0

353.6036	1.013e0

353.6629	1.013e0

353.7179	4.051e0

353.7720	2.025e0

353.8479	2.025e0

353.8777	1.013e0

353.9764	2.556e0

354.1542	5.092e0

354.2523	1.227e0

354.2854	1.856e0

354.3282	1.958e0

354.4478	1.013e0

354.5343	1.013e0

354.5675	1.013e0

354.6485	1.013e0

354.7182	1.013e0

354.8773	1.013e0

354.9322	3.496e0

354.9786	2.899e0

355.0461	1.688e0

355.0971	1.561e1

355.2784	3.326e0

355.3488	2.025e0

355.4398	1.013e0

355.4736	1.013e0

355.5389	1.013e0

355.6135	1.013e0

355.6459	2.025e0

355.6834	1.013e0

355.8078	2.025e0

355.8449	2.025e0

355.9229	2.676e0

355.9811	2.676e0

356.0903	1.069e1

356.2350	3.669e0

356.2831	1.767e0

356.3840	2.025e0

356.4792	2.025e0

356.5549	5.063e0

356.6514	1.013e0

356.7465	1.013e0

356.8517	3.038e0

356.9658	2.863e0

357.0918	2.034e2

357.2430	8.021e0

357.2953	1.951e0

357.3744	2.025e0

357.4327	2.025e0

357.5483	3.549e0

357.5968	3.038e0

357.6469	3.038e0

357.6865	1.013e0

357.7652	2.025e0

357.8189	1.013e0

357.9377	6.165e0

358.0139	6.020e0

358.0945	6.097e1

358.2470	1.382e0

358.2884	2.931e0

358.3406	4.051e0

358.4464	3.038e0

358.5155	2.025e0

358.5482	1.013e0

358.6226	3.038e0

358.6635	1.013e0

358.7482	3.038e0

358.8092	1.013e0

358.8774	2.025e0

359.0230	3.312e0

359.0917	1.140e1

359.1229	9.532e0

359.2326	3.461e0

359.2939	1.936e0

359.3651	2.025e0

359.4682	2.025e0

359.5388	3.038e0

359.5862	2.025e0

359.6345	2.025e0

359.6956	3.038e0

359.7412	2.025e0

359.8125	2.025e0

359.8701	1.013e0

359.9338	6.486e0

359.9897	1.834e0

360.0979	2.963e0

360.1624	3.404e0

360.2324	9.644e0

360.3153	2.978e0

360.3427	2.025e0

360.4225	1.013e0

360.4929	1.013e0

360.5599	2.025e0

360.6359	2.025e0

360.7788	1.013e0

360.8155	2.025e0

360.9086	3.038e0

360.9482	1.806e0

361.0349	5.063e0

361.0897	3.785e0

361.1474	3.362e0

361.1859	6.108e0

361.2189	3.825e0

361.3350	1.013e0

361.4637	2.025e0

361.5371	1.013e0

361.6667	1.013e0

361.8726	2.025e0

361.9047	3.038e0

362.0347	4.051e0

362.1604	1.971e0

362.2463	3.900e0

362.3165	4.974e0

362.3767	1.013e0

362.4435	2.025e0

362.4831	3.038e0

362.5226	1.013e0

362.5808	2.025e0

362.6352	1.013e0

362.6638	1.013e0

362.7133	1.013e0

362.8285	3.038e0

362.8965	1.013e0

362.9506	3.984e0

363.0519	5.063e0

363.1056	4.118e0

363.1812	4.952e0

363.2716	5.510e0

363.3089	2.963e0

363.3704	2.025e0

363.4493	1.013e0

363.6364	1.013e0

363.6846	5.063e0

363.7278	1.013e0

363.8405	1.013e0

363.9076	1.981e0

364.0190	2.025e0

364.1298	4.770e0

364.1780	1.075e0

364.3399	1.974e0

364.3820	2.025e0

364.4348	2.025e0

364.4758	4.051e0

364.5550	1.013e0

364.5940	1.013e0

364.6831	2.025e0

364.8581	3.038e0

364.9036	2.025e0

364.9676	1.806e0

365.0623	1.576e0

365.1228	2.892e0

365.1634	1.150e1

365.2052	3.073e1

365.2823	1.766e0

365.3288	2.993e0

365.4376	2.025e0

365.4963	2.823e0

365.5394	2.025e0

365.6140	3.038e0

365.6746	1.013e0

365.7267	1.013e0

365.7984	1.013e0

365.8498	2.025e0

365.9187	6.066e0

366.0161	2.936e0

366.1540	6.856e0

366.2036	8.538e0

366.2453	2.502e0

366.3120	1.013e0

366.3530	1.013e0

366.4357	2.025e0

366.5032	1.013e0

366.5805	2.025e0

366.6223	2.025e0

366.7842	1.013e0

366.8868	1.013e0

366.9273	4.051e0

367.0800	5.983e0

367.1571	9.271e0

367.2275	1.481e0

367.2781	1.949e0

367.3269	3.038e0

367.3911	1.013e0

367.4285	2.025e0

367.5038	1.013e0

367.5327	1.013e0

367.5785	1.013e0

367.6456	3.038e0

367.6980	2.025e0

367.7331	1.013e0

367.7900	4.051e0

367.8764	2.025e0

367.9639	3.038e0

368.0773	4.628e0

368.1690	1.530e0

368.2307	5.629e0

368.2912	1.925e0

368.4192	8.045e0

368.5144	3.038e0

368.5717	4.051e0

368.6382	1.013e0

368.7407	2.025e0

368.7880	2.025e0

368.8398	5.063e0

368.9438	7.089e0

369.0003	1.013e0

369.0613	3.656e0

369.1130	2.972e0

369.2766	8.503e0

369.3848	1.013e1

369.4397	3.038e0

369.5738	2.025e0

369.6122	2.025e0

369.6530	1.878e0

369.6934	2.025e0

369.7853	2.025e0

369.8618	2.025e0

369.9384	2.025e0

369.9881	4.051e0

370.1122	5.012e0

370.2066	8.923e0

370.3789	5.294e0

370.4478	2.025e0

370.4822	1.013e0

370.5699	2.025e0

370.6123	1.013e0

370.6725	2.025e0

370.7287	2.025e0

370.8160	4.051e0

370.8879	3.038e0

370.9276	5.092e0

370.9830	5.063e0

371.0281	4.954e0

371.1032	1.304e0

371.1625	4.309e0

371.2049	4.115e0

371.3377	6.031e0

371.5268	1.013e0

371.5639	1.013e0

371.6342	2.025e0

371.6837	2.025e0

371.7105	1.013e0

371.7624	2.025e0

371.8159	3.038e0

371.8802	3.038e0

371.9520	3.038e0

371.9874	1.013e0

372.0578	2.025e0

372.1010	4.051e0

372.1658	3.404e0

372.2129	7.453e0

372.2416	7.813e0

372.3410	1.424e1

372.4194	2.025e0

372.5173	1.013e0

372.5804	2.025e0

372.6348	1.013e0

372.7360	5.063e0

372.8843	3.038e0

372.9339	6.463e0

372.9902	4.051e0

373.0348	3.717e0

373.0829	1.751e0

373.1521	1.433e1

373.2537	9.175e0

373.2968	3.086e0

373.3542	5.048e0

373.6058	1.013e0

373.6529	2.025e0

373.7587	1.013e0

373.9125	6.076e0

373.9643	4.051e0

374.0266	3.038e0

374.0913	4.378e0

374.1595	3.404e0

374.2133	6.861e0

374.2495	2.353e0

374.3120	3.961e0

374.3441	3.911e0

374.4393	7.089e0

374.5786	2.025e0

374.6194	2.025e0

374.6787	3.038e0

374.7439	1.013e0

374.7876	2.025e0

374.8738	1.013e0

374.9447	1.013e0

374.9779	2.025e0

375.0793	1.073e1

375.1668	3.889e0

375.2082	2.687e0

375.3807	2.025e0

375.4352	2.025e0

375.6653	1.013e0

375.7247	1.013e0

375.7581	1.013e0

375.8316	1.013e0

375.8888	4.051e0

376.0093	2.025e0

376.0895	1.117e1

376.2136	1.441e0

376.5040	2.025e0

376.6141	1.013e0

376.7215	1.013e0

376.7949	1.013e0

376.8770	1.013e0

376.9266	4.051e0

376.9825	1.013e0

377.0160	1.013e0

377.1031	2.663e0

377.1652	4.874e0

377.3077	1.811e0

377.3889	1.013e0

377.5004	3.038e0

377.5792	1.013e0

377.6363	2.025e0

377.6933	1.013e0

377.7458	1.013e0

377.8077	2.025e0

377.8800	1.013e0

377.9350	1.013e0

377.9993	2.025e0

378.0591	2.530e0

378.1070	1.228e1

378.1741	2.637e0

378.2427	2.338e0

378.3241	2.123e0

378.4633	1.013e0

378.6031	2.025e0

378.6744	1.013e0

378.7708	2.025e0

378.8415	3.038e0

379.0007	1.013e0

379.1780	2.233e0

379.2175	2.866e0

379.2511	5.175e0

379.3055	3.645e0

379.3883	3.669e0

379.4249	2.025e0

379.5131	1.013e0

379.5970	1.013e0

379.7358	1.013e0

379.8266	2.025e0

379.8904	2.025e0

379.9865	2.025e0

380.0929	1.286e0

380.1836	5.321e0

380.2478	4.217e0

380.3417	1.447e1

380.6164	1.013e0

380.6604	2.025e0

380.7043	2.025e0

380.8424	2.025e0

380.9113	2.025e0

380.9436	2.025e0

381.1759	2.242e0

381.3224	3.248e0

381.3798	1.013e0

381.4214	1.013e0

381.5527	2.025e0

381.5983	3.038e0

381.6671	2.025e0

381.6997	2.025e0

381.7708	2.025e0

381.8717	3.038e0

381.9586	5.063e0

382.0235	1.013e0

382.1637	1.789e0

382.2447	2.721e0

382.3072	2.004e0

382.3773	2.025e0

382.4944	1.013e0

382.5471	3.038e0

382.6985	2.025e0

382.7298	2.025e0

382.7644	1.013e0

382.8595	1.013e0

382.9027	2.025e0

382.9520	2.025e0

382.9998	1.013e0

383.1812	7.077e0

383.4375	1.013e0

383.6485	1.013e0

383.7021	7.089e0

383.7724	2.025e0

383.8937	5.063e0

383.9465	1.456e0

384.0595	1.171e1

384.1175	2.659e0

384.1897	5.267e0

384.2229	2.907e0

384.2820	1.081e0

384.3356	2.152e0

384.3729	1.013e0

384.4402	1.013e0

384.6436	1.013e0

384.6898	3.038e0

384.7668	2.025e0

384.8415	1.013e0

384.9098	1.013e0

385.0095	3.038e0

385.0645	4.517e0

385.1578	1.391e0

385.2044	4.978e0

385.3019	1.565e1

385.3490	3.822e0

385.4591	3.038e0

385.5580	1.013e0

385.6678	1.013e0

385.8698	1.013e0

385.9423	2.025e0

386.0432	3.778e0

386.0858	1.415e0

386.1709	3.776e0

386.2273	8.176e0

386.2918	7.446e0

386.3394	3.364e0

386.3957	4.051e0

386.5859	1.013e0

386.6532	3.038e0

386.7475	1.013e0

386.8218	2.025e0

386.8698	4.056e0

386.9161	3.930e0

386.9733	4.754e0

387.0259	2.731e0

387.1035	5.211e0

387.1730	6.913e0

387.2248	4.770e0

387.2702	1.568e0

387.3590	2.809e0

387.5741	1.013e0

387.6360	1.013e0

387.6941	2.025e0

387.8490	1.013e0

387.9440	3.045e0

387.9784	2.025e0

388.0072	1.013e0

388.1017	1.327e1

388.1815	2.045e0

388.2492	6.584e1

388.3628	3.822e0

388.4367	1.013e0

388.5302	1.013e0

388.5888	3.038e0

388.6424	3.038e0

388.6987	1.013e0

388.7782	1.013e0

388.8639	2.025e0

388.9480	6.463e0

388.9908	3.038e0

389.0547	3.835e0

389.1386	8.935e0

389.2514	1.300e1

389.3293	2.026e0

389.3643	1.013e0

389.4333	1.013e0

389.5074	3.038e0

389.5664	2.025e0

389.5989	1.013e0

389.6578	2.025e0

389.7094	2.025e0

389.7853	1.013e0

389.8613	1.013e0

389.9410	2.025e0

389.9796	3.038e0

390.0834	1.159e0

390.2345	3.777e0

390.3042	2.669e0

390.3846	2.025e0

390.4346	3.038e0

390.5042	1.013e0

390.6160	3.038e0

390.6609	1.013e0

390.7265	3.038e0

390.8087	1.013e0

390.8484	3.038e0

390.9677	4.281e0

391.0568	1.809e0

391.1963	9.493e0

391.2898	3.287e1

391.3629	1.013e0

391.4865	1.013e0

391.5709	1.013e0

391.6263	1.013e0

391.7026	1.013e0

391.7487	1.013e0

391.8164	1.013e0

391.8761	1.013e0

391.9316	1.013e0

392.0072	2.025e0

392.0401	2.202e0

392.0919	2.699e0

392.1320	2.307e0

392.2397	2.841e0

392.2758	4.170e0

392.5014	4.051e0

392.6171	1.013e0

392.8627	1.013e0

392.9183	1.013e0

393.0119	4.051e0

393.1154	3.693e0

393.1689	2.613e0

393.2330	1.005e1

393.2843	4.735e0

393.4019	2.025e0

393.4645	1.013e0

393.5240	1.013e0

393.5887	2.025e0

393.7371	4.051e0

393.8735	4.051e0

393.9182	1.013e0

394.0768	4.527e1

394.1651	9.259e0

394.3377	6.251e0

394.3932	1.013e0

394.4742	3.038e0

394.5268	3.038e0

394.6241	2.025e0

394.7341	2.025e0

394.8481	3.038e0

394.9266	7.089e0

394.9976	2.025e0

395.0847	1.271e1

395.1673	1.752e0

395.2413	2.916e0

395.2709	1.013e0

395.3848	2.025e0

395.4370	1.013e0

395.5070	1.013e0

395.6064	1.013e0

395.6713	2.025e0

395.7590	1.013e0

395.9072	3.038e0

395.9599	3.038e0

396.0712	5.245e0

396.1174	2.144e0

396.1773	1.931e0

396.3844	4.051e0

396.4471	1.013e0

396.5514	2.025e0

396.6810	1.013e0

396.8616	2.025e0

396.9167	2.025e0

396.9892	3.038e0

397.0500	2.707e0

397.0970	2.338e0

397.1388	1.527e0

397.2286	2.728e0

397.3693	1.013e0

397.6407	2.025e0

397.7029	2.025e0

397.7811	1.013e0

397.8731	2.025e0

397.9741	3.038e0

398.0912	2.416e1

398.1935	4.245e0

398.2363	5.521e0

398.3046	1.897e0

398.3701	2.025e0

398.4447	1.013e0

398.5278	2.025e0

398.5687	1.013e0

398.6113	1.013e0

398.6787	1.013e0

398.7418	2.025e0

398.8228	1.022e0

398.8670	2.025e0

398.9427	1.013e0

399.0138	5.010e0

399.0943	8.847e0

399.1540	4.620e0

399.2339	1.706e0

399.3148	5.546e0

399.3656	2.025e0

399.4614	2.025e0

399.5554	1.013e0

399.6494	2.025e0

399.7912	2.025e0

399.9399	2.025e0

399.9980	2.025e0

400.0294	2.025e0

400.1049	9.913e0

400.2989	2.969e0

400.3676	1.080e1

400.4962	1.013e0

400.5347	2.025e0

400.6065	1.013e0

400.6494	2.025e0

400.7946	1.013e0

400.8733	3.222e0

400.9685	1.013e0

401.0380	3.038e0

401.0780	2.771e0

401.1326	2.025e0

401.2718	7.468e0

401.3460	2.909e0

401.4009	4.051e0

401.4798	1.013e0