Elemental Composition Report

Single Mass Analysis

Tolerance = 7.0 PPM   /   DBE: min = -15.0, max = 100.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

312 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 14-14    H: 0-150    N: 0-10    O: 0-10    Na: 0-1    69Ga: 0-1

Minimum:   	               	         	         	-15.0

Maximum:   	               	5.0      	7.0      	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	Formula

227.1183   	227.1184       	-0.1     	-0.4     	8.5      	19.4       	C14  H15  N2  O

REPORT MASSES AS +/-5mDa, referenced against

Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

ANALYSIS RUN USING:  WATERS LCT PREMIER (ESI POSITIVE/ESI NEGATIVE)

100.0496	4.051e0

100.0759	5.774e1

100.1158	3.823e0

100.1392	1.013e0

100.1603	1.013e0

100.1916	3.038e0

100.2108	1.013e0

100.2865	4.051e0

100.3119	2.025e0

100.3468	1.013e0

100.3624	1.013e0

100.3813	2.025e0

100.4130	1.013e0

100.4346	1.013e0

100.4480	1.013e0

100.4613	1.013e0

100.4747	1.013e0

100.4997	3.038e0

100.5650	2.025e0

100.5770	2.025e0

100.5930	2.177e0

100.6637	1.013e0

100.6955	1.013e0

100.7277	1.013e0

100.7569	1.013e0

100.7812	1.013e0

100.8397	1.013e0

100.8558	1.013e0

100.8703	2.025e0

100.8904	1.013e0

100.9092	1.013e0

100.9257	2.328e0

100.9451	2.025e0

100.9599	1.013e0

101.0051	1.013e0

101.0240	1.013e0

101.0713	3.610e2

101.1254	1.013e0

101.1522	3.038e0

101.1762	5.063e0

101.2057	1.013e0

101.2297	2.025e0

101.2537	2.025e0

101.2947	5.063e0

101.3419	1.067e0

101.3594	2.025e0

101.3848	1.013e0

101.4008	2.025e0

101.4142	1.013e0

101.4435	1.013e0

101.4730	3.038e0

101.4918	4.051e0

101.5066	3.038e0

101.5212	2.025e0

101.5641	1.013e0

101.5900	9.114e0

101.6136	2.025e0

101.6473	1.013e0

101.6713	1.013e0

101.6972	3.038e0

101.7207	3.038e0

101.7447	3.038e0

101.7652	1.013e0

101.7823	2.025e0

101.8535	1.013e0

101.8749	1.013e0

101.8910	1.013e0

101.9058	2.025e0

101.9232	1.013e0

101.9499	2.025e0

101.9997	2.025e0

102.0172	3.038e0

102.0519	6.900e0

102.0708	2.714e1

102.1032	1.684e0

102.1292	3.092e1

102.1823	2.025e0

102.1996	3.473e0

102.2454	3.038e0

102.3153	1.013e0

102.3421	2.025e0

102.3595	2.025e0

102.3826	1.013e0

102.4011	2.025e0

102.4336	1.013e0

102.4605	1.013e0

102.5008	1.013e0

102.5329	1.013e0

102.5492	1.013e0

102.5788	1.013e0

102.6111	2.025e0

102.6406	1.013e0

102.6647	2.025e0

102.7000	1.013e0

102.7186	1.013e0

102.7404	2.025e0

102.7539	1.013e0

102.7943	1.013e0

102.8157	1.013e0

102.8319	1.013e0

102.8454	1.013e0

102.8926	2.025e0

102.9235	1.013e0

102.9695	1.013e0

102.9977	4.051e0

103.0314	2.025e0

103.0541	1.316e1

103.0880	4.665e0

103.1250	3.038e0

103.1472	1.013e0

103.1608	2.025e0

103.1961	1.013e0

103.2324	2.025e0

103.2473	1.013e0

103.2636	1.013e0

103.2796	1.013e0

103.3176	1.013e0

103.3283	1.013e0

103.3553	1.013e0

103.3850	2.025e0

103.3986	1.013e0

103.4377	2.025e0

103.4797	1.013e0

103.5093	1.013e0

103.5228	1.013e0

103.5363	1.013e0

103.5512	2.025e0

103.5769	1.013e0

103.6093	1.013e0

103.6498	2.025e0

103.6701	2.025e0

103.7161	2.025e0

103.7446	1.013e0

103.7662	2.025e0

103.7800	1.013e0

103.8455	3.038e0

103.8691	1.013e0

103.9098	1.013e0

103.9560	1.013e0

104.0330	2.025e0

104.0537	5.063e0

104.0703	7.874e0

104.1096	4.665e0

104.1349	1.013e0

104.1620	1.013e0

104.1942	1.013e0

104.2704	1.013e0

104.2989	2.025e0

104.3162	1.013e0

104.3436	2.025e0

104.3700	3.038e0

104.4115	1.013e0

104.4411	1.013e0

104.4576	3.038e0

104.5174	2.025e0

104.5390	1.013e0

104.5621	2.025e0

104.6124	1.013e0

104.6219	2.025e0

104.6574	2.025e0

104.6911	1.013e0

104.7143	2.025e0

104.7375	2.025e0

104.7579	2.025e0

104.7675	1.013e0

104.8247	1.013e0

104.8463	1.013e0

104.8683	1.013e0

104.8862	3.038e0

104.9069	3.038e0

104.9306	1.013e0

104.9653	2.676e0

104.9798	1.013e0

105.0043	3.918e0

105.0428	3.221e2

105.0695	3.548e2

105.1152	2.753e0

105.1363	4.051e0

105.1473	4.475e0

105.1608	2.025e0

105.1892	5.935e0

105.2033	4.051e0

105.2322	3.038e0

105.2455	4.306e0

105.2779	6.076e0

105.3099	6.076e0

105.3266	3.307e0

105.3534	5.063e0

105.3741	5.063e0

105.3908	5.281e0

105.4026	3.668e0

105.4375	3.038e0

105.4491	4.051e0

105.4619	2.025e0

105.4892	1.013e0

105.5043	2.025e0

105.5277	1.013e0

105.5795	1.013e0

105.5951	3.038e0

105.6159	3.217e0

105.6512	4.051e0

105.6669	2.025e0

105.6915	9.114e0

105.7109	2.513e0

105.7433	2.025e0

105.7715	6.267e0

105.7993	2.025e0

105.8171	1.013e0

105.8349	2.025e0

105.8528	2.025e0

105.8773	2.025e0

105.8951	2.025e0

105.9263	1.013e0

105.9376	1.013e0

105.9564	1.013e0

105.9837	1.013e0

105.9950	1.013e0

106.0276	2.025e0

106.0476	2.991e1

106.0749	5.801e1

106.1395	4.051e0

106.1754	1.013e0

106.2017	2.279e0

106.2151	2.025e0

106.2726	2.025e0

106.2891	2.025e0

106.3275	2.025e0

106.3698	1.013e0

106.3919	1.013e0

106.4028	1.013e0

106.4193	1.013e0

106.4466	1.013e0

106.4663	4.051e0

106.4987	1.013e0

106.5221	2.025e0

106.5344	3.069e0

106.5468	4.020e0

106.5688	2.025e0

106.6057	1.013e0

106.6359	2.025e0

106.7073	1.013e0

106.7238	2.025e0

106.7814	1.013e0

106.8060	2.025e0

106.8239	2.025e0

106.8363	1.013e0

106.8637	1.013e0

106.9076	1.013e0

106.9487	1.013e0

106.9819	1.013e0

107.0203	1.013e0

107.0553	5.063e0

107.0712	1.912e0

107.0864	1.684e0

107.1687	1.013e0

107.1962	1.013e0

107.2127	1.013e0

107.2402	1.013e0

107.2666	2.025e0

107.2819	1.013e0

107.3065	2.025e0

107.3615	1.013e0

107.3711	2.025e0

107.3946	1.013e0

107.4140	1.013e0

107.4908	1.013e0

107.5211	1.013e0

107.5764	1.013e0

107.5927	1.013e0

107.6287	1.013e0

107.6482	1.013e0

107.6619	1.013e0

107.7060	1.013e0

107.7473	1.013e0

107.7597	2.025e0

107.8006	3.038e0

107.8161	1.013e0

107.8465	1.013e0

107.8825	3.038e0

107.9101	1.013e0

107.9376	1.013e0

107.9583	2.025e0

108.0490	3.038e0

108.0668	1.103e1

108.0837	4.722e0

108.1338	2.025e0

108.1447	2.025e0

108.1585	1.013e0

108.2140	1.013e0

108.2498	1.013e0

108.2885	2.025e0

108.3163	1.013e0

108.3474	4.667e0

108.3910	1.013e0

108.4405	1.013e0

108.4824	1.013e0

108.5321	4.051e0

108.5623	1.013e0

108.6871	1.013e0

108.7521	2.224e0

108.7743	2.025e0

108.7866	1.013e0

108.8147	1.013e0

108.8256	1.013e0

108.8423	1.013e0

108.8672	1.013e0

108.8961	3.157e0

108.9420	1.013e0

108.9811	1.013e0

109.0421	1.013e0

109.0586	1.013e0

109.0805	5.564e0

109.1476	1.013e0

109.2277	1.013e0

109.2582	1.013e0

109.2836	1.013e0

109.3112	1.013e0

109.3475	1.013e0

109.5085	1.013e0

109.5363	1.013e0

109.5946	1.013e0

109.6309	1.013e0

109.6865	1.013e0

109.7758	1.013e0

109.8370	1.013e0

109.8480	1.013e0

109.8648	1.013e0

109.8930	3.038e0

109.9176	1.013e0

109.9342	1.013e0

109.9734	1.013e0

110.0097	1.013e0

110.0646	3.038e0

110.0756	2.753e0

110.1515	1.013e0

110.1965	1.013e0

110.2939	1.013e0

110.4166	1.013e0

110.4589	1.013e0

110.4977	1.013e0

110.5985	1.013e0

110.7243	1.013e0

110.7522	1.013e0

110.7689	1.013e0

110.8501	1.013e0

110.8669	1.013e0

110.8838	1.013e0

110.9006	1.013e0

110.9116	1.013e0

110.9621	1.013e0

111.0318	1.013e0

111.0550	5.063e0

111.0928	2.970e1

111.1833	1.013e0

111.2069	2.025e0

111.2478	1.013e0

111.2757	1.013e0

111.3150	1.013e0

111.3527	2.025e0

111.4384	1.013e0

111.4741	3.038e0

111.5675	1.013e0

111.6417	2.025e0

111.7472	1.013e0

111.7921	1.013e0

111.8090	1.013e0

111.8748	2.025e0

111.9016	2.025e0

111.9185	1.013e0

111.9494	1.013e0

111.9745	1.013e0

111.9913	1.013e0

112.0097	2.025e0

112.0450	1.013e0

112.0763	9.112e0

112.0936	7.578e0

112.1351	1.013e0

112.1545	1.013e0

112.1913	1.013e0

112.2192	1.013e0

112.2531	1.013e0

112.2647	1.013e0

112.2839	1.013e0

112.2956	1.013e0

112.3265	1.013e0

112.4024	1.013e0

112.4164	1.013e0

112.4304	1.013e0

112.4643	2.025e0

112.5938	1.013e0

112.6926	1.013e0

112.7406	1.013e0

112.8083	1.013e0

112.9299	1.013e0

112.9497	1.013e0

113.0287	1.013e0

113.0699	1.077e1

113.0914	3.169e0

113.1108	1.714e1

113.1290	2.025e0

113.1615	1.013e0

113.1785	2.025e0

113.2265	4.051e0

113.2605	1.013e0

113.2716	1.013e0

113.3055	1.013e0

113.3173	1.013e0

113.3409	2.025e0

113.4358	1.013e0

113.4487	2.025e0

113.4725	1.013e0

113.5322	1.013e0

113.5774	1.013e0

113.7175	2.025e0

113.7556	1.013e0

113.7844	1.013e0

113.8210	1.013e0

113.8607	1.013e0

113.8748	1.013e0

113.9059	1.013e0

114.0211	2.025e0

114.0699	7.640e0

114.0915	7.936e0

114.1235	1.741e0

114.1757	2.025e0

114.2012	1.013e0

114.3064	1.013e0

114.3517	1.013e0

114.3917	2.025e0

114.4199	1.013e0

114.4569	1.013e0

114.4994	1.013e0

114.6105	1.013e0

114.7329	1.013e0

114.7470	1.013e0

114.7897	1.013e0

114.8210	3.038e0

114.8423	4.051e0

114.8923	1.013e0

114.9108	2.025e0

114.9779	1.013e0

115.0233	1.034e0

115.0505	3.038e0

115.0879	5.809e1

115.1318	2.025e0

115.1459	1.013e0

115.2173	1.013e0

115.2456	1.013e0

115.2887	1.013e0

115.3247	3.038e0

115.3784	2.025e0

115.4040	2.025e0

115.4270	2.025e0

115.4457	1.013e0

115.4825	1.013e0

115.4940	1.013e0

115.5126	2.025e0

115.6052	1.013e0

115.6311	2.025e0

115.8025	2.025e0

115.8368	1.013e0

115.9700	2.025e0

115.9857	1.013e0

115.9985	2.025e0

116.0272	2.025e0

116.0769	9.823e0

116.1279	1.587e0

116.1454	1.114e1

116.2088	2.025e0

116.2204	1.013e0

116.2761	2.025e0

116.2919	1.013e0

116.3036	1.013e0

116.3310	3.038e0

116.3522	1.013e0

116.3752	1.013e0

116.3994	2.025e0

116.4152	2.025e0

116.4671	1.013e0

116.4985	1.013e0

116.5157	2.025e0

116.5328	1.013e0

116.6276	2.025e0

116.6476	2.025e0

116.6649	1.013e0

116.6906	1.013e0

116.7540	1.013e0

116.9021	5.063e0

116.9232	2.025e0

116.9980	1.013e0

117.0265	1.013e0

117.0689	4.390e1

117.1038	3.708e0

117.1618	1.013e0

117.1762	3.038e0

117.1993	1.013e0

117.2165	1.013e0

117.2633	3.038e0

117.2860	4.051e0

117.3342	1.013e0

117.3663	1.013e0

117.4383	1.013e0

117.5685	5.063e0

117.6053	1.013e0

117.6775	1.013e0

117.7000	1.013e0

117.7148	1.013e0

117.7307	2.025e0

117.7522	1.013e0

117.8230	2.025e0

117.8733	2.025e0

117.9167	1.013e0

117.9366	1.013e0

117.9583	2.025e0

117.9741	1.013e0

118.0146	1.013e0

118.0654	7.489e1

118.0894	3.685e0

118.1226	1.106e0

118.1738	1.013e0

118.2062	3.038e0

118.2284	3.038e0

118.2617	4.051e0

118.3063	1.013e0

118.3211	1.013e0

118.3988	1.013e0

118.4339	1.013e0

118.4798	2.025e0

118.5061	1.013e0

118.5174	2.025e0

118.5317	1.013e0

118.5666	1.013e0

118.6159	1.013e0

118.6332	1.013e0

118.6566	1.013e0

118.6723	2.025e0

118.7273	2.025e0

118.7402	1.013e0

118.8140	2.025e0

118.8358	1.013e0

118.8501	1.013e0

118.8705	1.013e0

118.9126	2.025e0

118.9428	1.013e0

118.9662	1.013e0

118.9980	1.013e0

119.0128	1.013e0

119.0242	1.013e0

119.0445	1.013e0

119.0647	1.169e1

119.1342	1.730e0

119.1779	1.013e0

119.1923	2.025e0

119.2258	2.025e0

119.2482	3.038e0

119.2796	1.013e0

119.3055	1.013e0

119.3258	2.025e0

119.3491	2.025e0

119.5114	1.013e0

119.5307	4.051e0

119.5467	2.025e0

119.5815	3.038e0

119.6163	1.013e0

119.7048	2.025e0

119.7207	1.013e0

119.7384	1.013e0

119.7735	2.025e0

119.7992	1.013e0

119.8141	1.013e0

119.8475	2.025e0

119.8664	1.013e0

119.8976	6.076e0

119.9277	2.025e0

119.9506	1.013e0

119.9624	1.013e0

119.9981	3.038e0

120.0474	6.282e2

120.0809	2.483e0

120.1336	8.268e0

120.1576	5.406e0

120.1812	4.626e0

120.2137	2.378e0

120.2332	2.292e0

120.2609	2.025e0

120.2990	2.588e0

120.3234	1.013e0

120.3408	1.013e0

120.3605	3.038e0

120.3954	8.101e0

120.4211	2.025e0

120.4388	5.910e0

120.4679	2.025e0

120.4877	2.945e0

120.5052	3.038e0

120.5453	4.051e0

120.5676	3.038e0

120.5906	4.051e0

120.6044	3.038e0

120.6312	2.025e0

120.6619	1.013e0

120.6749	2.025e0

120.7029	1.013e0

120.7173	2.025e0

120.7582	1.013e0

120.7831	2.025e0

120.8006	2.025e0

120.8181	2.025e0

120.8516	1.013e0

120.8811	1.013e0

120.8985	1.013e0

120.9100	1.013e0

120.9305	1.013e0

120.9464	2.025e0

120.9804	3.038e0

121.0523	4.352e1

121.0947	1.865e0

121.1288	1.667e0

121.1512	2.025e0

121.1816	1.013e0

121.2021	1.013e0

121.2376	1.013e0

121.2652	2.025e0

121.2960	3.038e0

121.3174	3.038e0

121.3500	3.038e0

121.3958	1.013e0

121.4393	5.063e0

121.4658	2.025e0

121.5213	1.013e0

121.5566	1.013e0

121.5934	2.025e0

121.6299	2.025e0

121.6519	2.025e0

121.6838	3.038e0

121.7340	2.025e0

121.7560	1.013e0

121.7867	2.025e0

121.8939	1.013e0

121.9099	2.025e0

121.9350	1.013e0

121.9481	3.038e0

121.9670	1.013e0

121.9846	1.013e0

122.0081	1.013e0

122.0472	3.685e1

122.0978	2.815e1

122.1286	1.690e0

122.1460	1.013e0

122.1696	1.013e0

122.1977	2.025e0

122.2313	1.013e0

122.3297	2.025e0

122.3430	2.025e0

122.3578	1.013e0

122.3840	1.013e0

122.3959	1.013e0

122.4196	1.013e0

122.4371	1.013e0

122.4813	1.013e0

122.5074	2.025e0

122.5370	2.107e0

122.5628	3.038e0

122.5822	1.448e0

122.5988	1.013e0

122.6637	2.025e0

122.6957	2.025e0

122.7149	2.025e0

122.7667	1.013e0

122.8547	1.013e0

122.9003	2.025e0

122.9210	2.025e0

122.9660	3.038e0

122.9874	1.013e0

123.0050	1.013e0

123.0331	3.827e0

123.0505	6.641e0

123.0957	2.287e1

123.1616	1.013e0

123.1877	1.013e0

123.2764	1.013e0

123.3031	1.013e0

123.3237	1.013e0

123.3501	1.013e0

123.3708	1.013e0

123.3888	1.013e0

123.4124	5.063e0

123.4476	1.013e0

123.5010	3.038e0

123.5570	1.013e0

123.6336	1.013e0

123.6631	1.013e0

123.6780	1.013e0

123.6987	1.013e0

123.7253	1.013e0

123.7547	1.013e0

123.7693	1.013e0

123.7875	1.013e0

123.8021	1.013e0

123.8405	1.013e0

123.9056	2.025e0

123.9853	1.013e0

124.0236	1.013e0

124.0439	4.677e0

124.0873	5.039e1

124.2207	2.025e0

124.2429	1.013e0

124.2742	2.025e0

124.2963	3.038e0

124.3081	2.025e0

124.4038	3.038e0

124.4237	1.013e0

124.4487	2.025e0

124.5070	1.013e0

124.5230	2.025e0

124.5864	3.038e0

124.6552	1.013e0

124.6998	1.013e0

124.7259	1.013e0

124.7558	2.025e0

124.8596	1.013e0

124.9342	1.013e0

124.9816	1.013e0

124.9964	1.013e0

125.0734	9.126e0

125.1093	9.052e0

125.1865	2.025e0

125.2788	1.013e0

125.3143	2.025e0

125.3427	2.025e0

125.3828	1.013e0

125.4097	1.013e0

125.4336	1.013e0

125.4660	1.013e0

125.5155	3.038e0

125.5466	1.013e0

125.5676	1.013e0

125.5854	1.013e0

125.6491	3.038e0

125.8236	1.013e0

125.8861	1.013e0

125.9370	2.025e0

125.9563	2.025e0

125.9725	2.025e0

125.9875	1.013e0

126.0667	2.215e1

126.0945	1.796e1

126.1453	1.013e0

126.1663	2.025e0

126.1874	2.025e0

126.2321	1.013e0

126.2489	2.025e0

126.2681	1.013e0

126.3006	1.013e0

126.3190	2.025e0

126.3846	3.038e0

126.4265	1.013e0

126.4473	1.013e0

126.5193	1.013e0

126.5324	2.025e0

126.5548	1.013e0

126.5966	1.013e0

126.6863	1.013e0

126.7969	1.013e0

126.8301	1.013e0

126.9021	1.013e0

126.9285	1.013e0

126.9856	1.013e0

127.0903	3.489e0

127.2011	1.013e0

127.2249	1.013e0

127.2761	1.013e0

127.2971	1.013e0

127.3165	2.025e0

127.3691	1.013e0

127.4219	2.025e0

127.4560	1.013e0

127.4953	1.013e0

127.5746	2.025e0

127.6121	1.013e0

127.6932	1.013e0

127.8221	1.013e0

127.8617	1.013e0

127.8795	1.013e0

127.9277	2.025e0

127.9425	1.013e0

128.0521	1.746e0

128.0825	3.884e0

128.1001	1.667e0

128.1468	5.063e0

128.1637	2.025e0

128.1934	2.025e0

128.2222	1.013e0

128.2431	1.013e0

128.3262	2.025e0

128.3457	1.013e0

128.4631	1.013e0

128.4811	1.013e0

128.5293	1.013e0

128.5503	1.013e0

128.6903	2.025e0

128.7222	1.013e0

128.7417	2.025e0

128.7643	2.025e0

128.8006	1.013e0

128.8367	2.025e0

128.8819	1.013e0

128.9183	1.013e0

128.9451	2.025e0

128.9996	1.013e0

129.0174	1.013e0

129.0686	3.287e0

129.0968	1.388e1

129.1110	7.159e0

129.1575	3.038e0

129.1780	1.013e0

129.1991	2.025e0

129.2282	3.038e0

129.2532	1.013e0

129.2911	2.025e0

129.3242	2.025e0

129.3893	1.013e0

129.4619	1.013e0

129.5363	7.089e0

129.6071	2.025e0

129.6251	1.013e0

129.6524	1.013e0

129.6735	1.013e0

129.6946	2.025e0

129.8764	3.038e0

129.8976	1.013e0

129.9399	1.013e0

129.9805	2.025e0

130.0005	3.038e0

130.0356	8.481e0

130.0965	1.499e2

130.1274	6.348e0

130.1608	9.177e1

130.2166	6.076e0

130.2381	1.421e0

130.2603	3.038e0

130.2926	3.038e0

130.3097	1.013e0

130.3532	3.038e0

130.3920	4.619e0

130.4337	4.051e0

130.4490	2.025e0

130.4702	2.025e0

130.4975	2.025e0

130.5353	3.155e1

130.5541	3.038e0

130.5932	2.025e0

130.6513	3.038e0

130.6965	2.025e0

130.7317	1.013e0

130.7607	2.025e0

130.7881	3.038e0

130.8077	1.013e0

130.8380	1.013e0

130.8703	4.051e0

130.8987	2.025e0

130.9182	2.025e0

130.9473	2.025e0

130.9653	1.013e0

131.0354	4.681e0

131.0867	3.138e1

131.1631	5.682e0

131.1891	2.025e0

131.2211	2.025e0

131.2909	1.013e0

131.3615	1.013e0

131.3827	2.025e0

131.4039	1.013e0

131.4893	1.013e0

131.5167	4.051e0

131.5439	3.038e0

131.6081	1.013e0

131.6293	2.025e0

131.6599	1.013e0

131.7206	1.013e0

131.7394	2.025e0

131.7543	1.013e0

131.8093	1.013e0

131.8549	1.013e0

131.8675	1.013e0

131.8919	1.013e0

131.9162	1.013e0

131.9406	1.013e0

132.0518	3.206e0

132.0798	1.104e1

132.1060	2.665e0

132.1814	1.013e0

132.2199	2.025e0

132.2522	1.013e0

132.2641	1.013e0

132.2916	2.025e0

132.3129	1.013e0

132.3316	1.013e0

132.3806	1.013e0

132.4050	1.013e0

132.5121	1.013e0

132.5395	1.013e0

132.5621	3.038e0

132.6036	1.013e0

132.6556	1.013e0

132.6863	1.013e0

132.7383	1.013e0

132.7581	2.025e0

132.7967	1.013e0

132.8085	1.013e0

132.8913	1.013e0

132.9529	1.013e0

132.9834	2.025e0

133.0200	1.013e0

133.0815	2.429e0

133.1948	1.013e0

133.2101	1.013e0

133.2283	1.013e0

133.2717	1.013e0

133.3113	1.013e0

133.3542	1.013e0

133.4155	2.025e0

133.4354	2.025e0

133.4771	1.013e0

133.5443	1.013e0

133.5909	1.013e0

133.6432	2.025e0

133.6645	1.013e0

133.7198	2.025e0

133.8211	1.013e0

133.8488	1.013e0

133.8931	2.025e0

133.9437	1.013e0

133.9935	2.025e0

134.0531	1.245e0

134.0803	1.627e0

134.0970	1.196e0

134.1186	3.287e0

134.1654	1.013e0

134.1900	1.013e0

134.2335	1.013e0

134.2731	2.025e0

134.3195	1.013e0

134.4046	3.038e0

134.4301	2.025e0

134.4641	2.025e0

134.5132	1.013e0

134.5259	1.013e0

134.5568	1.013e0

134.5719	1.013e0

134.6941	2.025e0

134.7202	1.013e0

134.7631	1.013e0

134.7908	2.025e0

134.8067	1.013e0

134.8638	2.025e0

134.9083	1.013e0

135.0721	1.307e1

135.0939	4.616e1

135.1309	1.179e0

135.1958	1.013e0

135.2450	1.013e0

135.3070	1.013e0

135.3376	1.013e0

135.3714	1.013e0

135.3992	1.013e0

135.4518	1.013e0

135.4827	1.013e0

135.5047	1.013e0

135.5325	3.038e0

135.5479	1.013e0

135.5725	2.025e0

135.6203	2.025e0

135.6807	2.025e0

135.7053	2.025e0

135.7277	1.013e0

135.8048	1.013e0

135.8605	1.013e0

135.8948	1.013e0

135.9131	1.013e0

135.9936	1.013e0

136.0760	1.024e1

136.1128	3.548e1

136.1457	2.025e0

136.1736	1.013e0

136.2357	1.013e0

136.2509	1.013e0

136.2756	1.013e0

136.3378	1.013e0

136.3564	1.013e0

136.3689	1.013e0

136.4110	2.025e0

136.4621	1.013e0

136.4773	1.013e0

136.5300	2.025e0

136.5833	1.013e0

136.5986	1.013e0

136.6328	2.025e0

136.6480	1.013e0

136.6759	2.025e0

136.6951	1.013e0

136.7319	2.025e0

136.7478	1.013e0

136.7837	2.025e0

136.8133	1.013e0

136.8441	4.051e0

136.9283	1.013e0

136.9562	1.013e0

136.9746	1.013e0

136.9961	1.013e0

137.0210	2.025e0

137.0697	1.857e0

137.1069	1.309e0

137.1385	1.111e0

137.1719	2.025e0

137.1895	1.013e0

137.2502	2.025e0

137.2799	1.013e0

137.3404	2.025e0

137.3590	2.025e0

137.4165	1.013e0

137.4494	3.038e0

137.5134	2.025e0

137.5691	4.342e0

137.6190	1.013e0

137.6613	2.025e0

137.6782	2.025e0

137.6910	1.013e0

137.7223	1.013e0

137.7342	1.013e0

137.7535	1.013e0

137.8343	1.013e0

137.8904	1.013e0

137.9497	2.025e0

137.9653	1.013e0

137.9993	1.013e0

138.0343	2.341e0

138.0602	1.221e1

138.0780	3.855e0

138.1006	4.991e0

138.1620	1.013e0

138.1745	1.013e0

138.1998	2.025e0

138.2277	1.013e0

138.3088	1.013e0

138.3400	1.013e0

138.3697	2.025e0

138.3962	1.013e0

138.4804	1.013e0

138.4932	1.013e0

138.5448	3.038e0

138.5683	1.013e0

138.5903	1.013e0

138.6264	2.025e0

138.7076	2.025e0

138.7470	1.013e0

138.7840	1.013e0

138.7999	1.013e0

138.8593	1.013e0

138.8777	1.013e0

138.9252	1.013e0

138.9927	2.025e0

139.0225	1.013e0

139.0398	2.406e0

139.0546	1.774e0

139.0995	1.190e1

139.1276	2.215e0

139.1615	2.025e0

139.2018	3.038e0

139.2226	1.013e0

139.2417	1.013e0

139.2745	2.025e0

139.3545	1.013e0

139.4044	1.013e0

139.4237	1.013e0

139.4985	1.013e0

139.5470	8.444e0

139.5710	1.013e0

139.6208	1.013e0

139.8158	1.013e0

139.8349	1.013e0

139.8569	2.025e0

139.8707	2.025e0

139.9035	1.013e0

139.9544	1.013e0

139.9705	3.038e0

140.0140	1.013e0

140.0778	4.888e0

140.0916	1.003e1

140.1210	2.031e0

140.1420	1.118e0

140.1664	2.025e0

140.2027	1.013e0

140.2526	1.013e0

140.3924	4.051e0

140.4359	1.013e0

140.4512	1.013e0

140.5238	1.013e0

140.5377	2.025e0

140.6877	1.013e0

140.7932	2.025e0

140.8234	1.013e0

140.8452	1.013e0

140.8616	3.038e0

140.9527	1.013e0

141.0260	3.038e0

141.0487	3.679e0

141.0765	3.280e0

141.1075	8.208e0

141.1431	2.196e0

141.1572	2.025e0

141.1829	1.013e0

141.2301	1.013e0

141.2462	1.013e0

141.2851	2.025e0

141.3262	3.038e0

141.4680	3.038e0

141.5303	1.013e0

141.5668	2.025e0

141.6032	1.013e0

141.6365	2.025e0

141.6663	1.013e0

141.6817	1.013e0

141.7263	1.013e0

141.7452	1.013e0

141.7579	1.013e0

141.7709	1.013e0

141.8211	1.013e0

141.8434	1.013e0

141.8689	1.013e0

141.9354	1.013e0

141.9507	1.013e0

142.0051	1.013e0

142.0307	9.620e0

142.0995	2.441e1

142.1443	1.604e0

142.1600	1.013e0

142.1868	2.025e0

142.2443	3.038e0

142.2804	1.013e0

142.3151	3.038e0

142.3376	1.013e0

142.4409	2.025e0

142.4578	1.013e0

142.4894	1.013e0

142.5500	1.013e0

142.5690	1.013e0

142.6226	1.013e0

142.6738	1.013e0

142.6893	1.013e0

142.7689	1.013e0

142.8168	1.013e0

142.8802	1.013e0

142.9184	1.013e0

143.0614	9.991e1

143.1177	9.114e0

143.1469	1.013e0

143.1690	2.025e0

143.1884	2.025e0

143.2299	2.025e0

143.2551	1.013e0

143.2803	1.013e0

143.3381	1.013e0

143.3731	1.013e0

143.3934	4.051e0

143.4154	2.025e0

143.4431	1.013e0

143.4936	1.013e0

143.5099	1.013e0

143.5286	1.013e0

143.5629	2.532e1

143.5921	1.013e0

143.6239	1.013e0

143.6687	1.013e0

143.7322	1.013e0

143.7778	4.051e0

143.8219	1.013e0

143.8976	3.038e0

143.9270	2.025e0

143.9523	1.013e0

143.9775	1.013e0

144.0097	1.013e0

144.0809	4.137e1

144.1093	1.520e0

144.1866	3.038e0

144.2027	2.188e0

144.2492	1.013e0

144.2729	2.025e0

144.2967	1.013e0

144.3194	1.013e0

144.3318	1.013e0

144.3831	1.013e0

144.4001	3.038e0

144.4467	1.013e0

144.4598	1.013e0

144.5333	1.013e0

144.5488	1.013e0

144.6354	2.025e0

144.6545	1.013e0

144.6839	3.038e0

144.7309	1.013e0

144.7727	1.013e0

144.8006	3.038e0

144.8176	1.013e0

144.8847	1.013e0

144.9043	1.013e0

144.9296	1.013e0

144.9632	2.025e0

144.9822	6.076e0

145.0911	1.178e1

145.1573	5.063e0

145.1824	1.013e0

145.1955	1.013e0

145.2208	1.013e0

145.2687	3.038e0

145.2944	1.013e0

145.4099	1.013e0

145.4418	1.013e0

145.4609	1.013e0

145.5442	1.013e0

145.5639	1.013e0

145.6012	3.038e0

145.6277	1.013e0

145.6409	1.013e0

145.7047	1.013e0

145.7177	1.013e0

145.8555	1.013e0

145.9326	2.025e0

145.9514	1.013e0

145.9875	6.076e0

146.0700	5.198e1

146.0976	7.353e1

146.1794	4.051e0

146.2020	3.615e0

146.3240	2.025e0

146.3420	2.025e0

146.3708	2.025e0

146.4058	2.025e0

146.4724	1.013e0

146.5250	3.038e0

146.5752	1.013e0

146.5924	2.025e0

146.6683	1.013e0

146.7198	1.013e0

146.8168	1.013e0

146.8374	2.025e0

146.8614	1.013e0

146.9063	2.025e0

146.9550	1.013e0

146.9805	4.051e0

147.0002	1.013e0

147.0323	2.025e0

147.0752	4.728e0

147.1000	6.635e0

147.1146	1.946e0

147.1935	2.025e0

147.2321	1.013e0

147.3177	4.051e0

147.3515	2.025e0

147.3721	2.025e0

147.4190	3.038e0

147.4544	1.013e0

147.5096	1.013e0

147.5351	1.013e0

147.5673	1.013e0

147.6023	3.038e0

147.6933	1.013e0

147.8178	2.025e0

147.9169	3.038e0

147.9909	1.013e0

148.0064	2.025e0

148.0330	2.025e0

148.0813	4.557e0

148.1098	5.325e0

148.1715	2.025e0

148.2137	1.013e0

148.2369	1.013e0

148.2491	1.013e0

148.2789	1.013e0

148.3144	1.013e0

148.3532	2.025e0

148.3853	1.013e0

148.4192	2.025e0

148.4390	2.025e0

148.4729	1.013e0

148.5247	2.025e0

148.5697	1.013e0

148.5993	1.013e0

148.6182	1.013e0

148.6348	1.013e0

148.6703	1.013e0

148.7092	1.013e0

148.7612	1.013e0

148.7769	1.013e0

148.8389	1.013e0

148.9232	1.013e0

149.0307	1.570e1

149.1498	1.013e0

149.1730	1.013e0

149.2300	4.051e0

149.2642	1.013e0

149.3286	1.013e0

149.3516	1.013e0

149.4031	1.013e0

149.4230	3.038e0

149.4652	1.013e0

149.4990	2.249e0

149.5269	3.038e0

149.5497	2.025e0

149.6197	3.038e0

149.6698	2.025e0

149.6894	1.013e0

149.7677	1.013e0

149.7817	2.025e0

149.8522	1.013e0

149.8778	3.038e0

149.9334	1.013e0

149.9857	2.025e0

150.0081	1.013e0

150.0420	9.667e0

150.0562	8.996e0

150.1264	8.839e0

150.1580	2.025e0

150.1740	1.013e0

150.2295	1.013e0

150.2488	1.013e0

150.2927	2.025e0

150.3109	1.013e0

150.3775	2.025e0

150.3923	1.013e0

150.4312	1.013e0

150.4651	3.038e0

150.4845	3.038e0

150.5094	1.013e0

150.5501	9.114e0

150.5816	1.013e0

150.6107	1.013e0

150.7188	1.013e0

150.7310	1.013e0

150.7968	3.038e0

150.8225	1.013e0

150.8782	1.013e0

150.9631	1.013e0

150.9798	1.013e0

151.0005	2.025e0

151.0464	1.927e2

151.0936	1.956e0

151.1106	2.365e0

151.1564	7.054e0

151.1818	1.013e0

151.2131	7.089e0

151.2322	5.063e0

151.2599	1.013e0

151.2733	1.013e0

151.2900	1.013e0

151.3320	4.051e0

151.3819	3.038e0

151.4241	2.025e0

151.4615	2.025e0

151.4889	2.025e0

151.5475	3.848e1

151.5839	1.013e0

151.6120	2.025e0

151.6645	3.038e0

151.7253	4.328e0

151.7507	2.025e0

151.7772	1.013e0

151.7966	3.038e0

151.8655	2.025e0

151.8946	1.013e0

151.9264	2.025e0

151.9820	3.038e0

152.0181	2.025e0

152.0500	4.748e1

152.1322	4.199e0

152.1899	2.025e0

152.2122	2.025e0

152.2684	1.013e0

152.3104	3.038e0

152.3410	1.013e0

152.3568	1.013e0

152.3836	1.013e0

152.3961	1.013e0

152.4253	3.038e0

152.4569	3.038e0

152.4721	2.025e0

152.4996	2.025e0

152.5451	1.211e1

152.5696	3.038e0

152.5914	2.025e0

152.6291	1.013e0

152.6751	1.013e0

152.7159	4.051e0

152.7870	1.013e0

152.8185	3.038e0

152.9115	1.013e0

153.0168	1.013e0

153.0467	2.127e1

153.1086	4.981e0

153.1432	1.225e1

153.1851	1.013e0

153.2835	1.013e0

153.2995	2.025e0

153.3163	1.013e0

153.3882	1.013e0

153.4283	1.013e0

153.4594	2.025e0

153.4869	1.013e0

153.5362	5.063e0

153.5667	2.025e0

153.5926	2.025e0

153.6196	3.038e0

153.6487	2.025e0

153.6760	2.025e0

153.7082	1.013e0

153.7258	2.025e0

153.7457	1.367e0

153.7643	1.013e0

153.8037	1.013e0

153.8553	3.038e0

153.8992	2.025e0

153.9251	1.013e0

153.9681	1.013e0

154.0032	2.025e0

154.0240	1.013e0

154.0422	1.227e0

154.1017	1.958e0

154.1168	1.111e0

154.1433	2.766e0

154.1613	2.025e0

154.1826	1.013e0

154.2355	2.025e0

154.2649	1.013e0

154.2934	2.025e0

154.3173	3.038e0

154.4538	1.013e0

154.4830	1.013e0

154.5109	2.025e0

154.5336	3.340e0

154.5990	1.013e0

154.6846	1.013e0

154.7048	1.013e0

154.7392	2.025e0

154.7668	1.013e0

154.7870	1.013e0

154.8165	1.013e0

154.8467	1.013e0

154.9158	1.013e0

154.9324	1.013e0

154.9624	1.013e0

154.9938	2.025e0

155.0389	4.182e0

155.1264	3.137e0

155.2018	3.038e0

155.2965	1.013e0

155.3168	1.013e0

155.3428	1.013e0

155.3857	1.013e0

155.4580	3.038e0

155.4786	1.013e0

155.5347	1.013e0

155.5752	1.013e0

155.5877	2.025e0

155.6406	1.013e0

155.6644	1.013e0

155.6874	1.013e0

155.7006	1.013e0

155.7174	1.013e0

155.7453	3.038e0

155.8067	1.013e0

155.8433	1.013e0

155.8869	1.013e0

155.9026	1.013e0

155.9879	2.025e0

156.0225	1.013e0

156.0468	5.102e0

156.0813	1.989e1

156.1173	5.584e0

156.1419	2.976e0

156.1784	1.013e0

156.2213	1.013e0

156.2681	1.013e0

156.3016	1.013e0

156.3276	1.013e0

156.3808	1.013e0

156.4147	1.013e0

156.4509	1.013e0

156.4729	2.025e0

156.5329	2.025e0

156.6138	2.025e0

156.6874	1.013e0

156.7303	1.013e0

156.7972	1.013e0

156.8934	1.013e0

157.0373	4.087e1

157.0880	3.115e0

157.1115	1.240e0

157.1355	2.095e0

157.1604	5.063e0

157.1800	2.025e0

157.2061	1.013e0

157.3194	1.013e0

157.3432	1.013e0

157.3658	2.025e0

157.3863	1.013e0

157.4328	1.013e0

157.4664	1.013e0

157.4895	2.025e0

157.5199	1.013e0

157.5325	1.013e0

157.5892	1.013e0

157.6749	2.025e0

157.7027	1.013e0

157.7265	1.013e0

157.7402	1.013e0

157.7935	1.013e0

157.8264	1.013e0

157.8729	1.013e0

157.9053	2.025e0

157.9296	1.013e0

157.9433	1.013e0

157.9769	1.013e0

158.0018	2.025e0

158.0370	4.051e0

158.0940	3.010e0

158.1264	4.571e0

158.1874	2.025e0

158.2204	2.025e0

158.2511	2.025e0

158.2942	1.013e0

158.3113	2.025e0

158.3374	1.013e0

158.3780	1.013e0

158.4476	1.013e0

158.4886	1.013e0

158.5250	1.013e0

158.5521	2.025e0

158.5818	1.013e0

158.6057	1.013e0

158.7160	1.013e0

158.7490	2.025e0

158.7797	1.013e0

158.7990	1.013e0

158.8453	2.025e0

158.9162	1.013e0

158.9607	2.025e0

159.0072	1.013e0

159.0358	5.063e0

159.0778	1.710e0

159.1086	1.168e1

159.1496	1.380e0

159.1952	2.025e0

159.2168	3.038e0

159.3224	1.013e0

159.3591	2.025e0

159.3828	1.013e0

159.4059	1.013e0

159.4833	2.025e0

159.5369	2.025e0

159.6309	2.025e0

159.6606	4.051e0

159.7044	1.013e0

159.7528	3.038e0

159.8664	1.013e0

159.9366	1.013e0

159.9769	1.013e0

159.9907	1.013e0

160.0408	1.013e0

160.1635	2.025e0

160.2155	1.013e0

160.2726	1.013e0

160.2897	1.013e0

160.3228	1.013e0

160.4244	1.013e0

160.4488	2.025e0

160.5343	3.038e0

160.5591	1.013e0

160.6359	1.013e0

160.6870	1.013e0

160.7272	1.013e0

160.7542	1.013e0

160.7775	1.013e0

160.8620	1.013e0

160.9696	1.013e0

161.0121	2.025e0

161.0833	9.918e0

161.1686	1.013e0

161.2109	2.025e0

161.2327	2.025e0

161.2933	2.025e0

161.3746	1.013e0

161.3986	1.013e0

161.4593	1.013e0

161.5062	2.025e0

161.5540	2.329e1

161.6118	2.025e0

161.6414	1.013e0

161.6964	4.051e0

161.7663	1.013e0

161.8201	1.013e0

161.8476	2.025e0

161.8788	2.025e0

161.9255	1.013e0

161.9777	2.025e0

162.0000	1.013e0

162.0430	4.126e0

162.0612	3.472e0

162.0850	3.906e0

162.1570	1.218e0

162.1823	1.013e0

162.2672	2.025e0

162.2970	1.013e0

162.3332	2.025e0

162.3579	1.013e0

162.4265	3.038e0

162.5105	1.013e0

162.5294	2.025e0

162.5580	2.025e0

162.9137	1.013e0

162.9308	1.013e0

163.0055	1.013e0

163.0464	1.755e0

163.0834	5.198e0

163.1159	3.655e0

163.1589	1.622e0

163.2365	1.013e0

163.2667	1.013e0

163.3964	1.013e0

163.4162	3.038e0

163.4366	1.013e0

163.4642	1.013e0

163.6269	1.013e0

163.6575	1.013e0

163.7220	1.013e0

163.7633	1.013e0

163.8381	1.013e0

163.8647	2.025e0

163.9361	1.013e0

163.9706	1.013e0

163.9975	1.013e0

164.0144	1.013e0

164.0743	3.142e0

164.0898	5.508e0

164.1367	4.571e0

164.2221	1.013e0

164.3296	2.025e0

164.4235	1.013e0

164.5187	1.013e0

164.5440	2.025e0

164.6242	1.013e0

164.6414	1.013e0

164.6786	1.013e0

164.7199	1.013e0

164.7440	1.013e0

164.7845	2.025e0

164.8158	1.013e0

164.8387	1.013e0

164.8734	1.013e0

164.8908	2.025e0

164.9792	1.013e0

165.0618	1.767e0

165.1031	9.326e0

165.1291	1.727e0

165.2246	1.013e0

165.2625	1.013e0

165.3133	1.013e0

165.3480	2.025e0

165.3989	1.013e0

165.4757	2.025e0

165.5282	3.038e0

165.5630	1.013e0

165.6113	1.013e0

165.6520	1.013e0

165.7097	1.013e0

165.8108	3.038e0

165.9297	2.025e0

166.0989	6.185e0

166.1203	2.761e0

166.1666	3.038e0

166.1926	2.025e0

166.2479	2.025e0

166.3811	1.013e0

166.4175	2.025e0

166.4612	3.038e0

166.5319	1.013e0

166.5595	1.013e0

166.5803	2.025e0

166.6556	1.013e0

166.7677	3.038e0

166.8098	1.013e0

166.8341	1.013e0

166.9304	1.013e0

166.9541	1.013e0

167.0334	1.013e0

167.0600	1.224e0

167.0829	3.218e0

167.1335	2.095e0

167.3076	2.025e0

167.3423	1.013e0

167.3702	1.013e0

167.3938	1.013e0

167.4421	1.013e0

167.4732	1.013e0

167.5002	1.013e0

167.5220	3.038e0

167.6036	1.013e0

167.6314	1.013e0

167.6520	1.013e0

167.6720	1.013e0

167.6895	1.013e0

167.8138	2.025e0

167.8293	2.025e0

167.8667	2.025e0

167.8893	1.013e0

167.9709	3.038e0

168.0015	2.025e0

168.0630	1.023e0

168.1187	1.625e1

168.1463	3.249e0

168.1978	2.025e0

168.2370	1.013e0

168.3301	2.025e0

168.3876	2.025e0

168.4336	1.013e0

168.4616	1.013e0

168.5022	1.013e0

168.5267	1.013e0

168.5617	2.025e0

168.6006	2.025e0

168.6513	2.025e0

168.8411	2.025e0

169.0100	1.013e0

169.0451	2.025e0

169.0693	1.513e0

169.1024	3.998e0

169.1311	5.529e0

169.1653	1.013e0

169.2000	1.013e0

169.2421	1.013e0

169.2898	2.025e0

169.3142	1.013e0

169.4110	1.013e0

169.4391	1.013e0

169.4693	1.013e0

169.5078	1.013e0

169.5414	1.013e1

169.6012	1.013e0

169.6222	1.013e0

169.6533	1.013e0

169.6700	1.013e0

169.7016	1.013e0

169.7470	1.013e0

169.7879	1.013e0

169.8405	1.013e0

169.8642	1.013e0

169.8777	1.013e0

169.9198	1.013e0

169.9495	2.025e0

169.9816	1.013e0

170.0063	1.013e0

170.0427	7.089e0

170.0831	7.252e0

170.1059	3.044e0

170.1308	1.548e0

170.1614	4.574e0

170.1931	3.038e0

170.2177	2.025e0

170.2666	1.013e0

170.2851	2.025e0

170.3568	1.013e0

170.4629	3.038e0

170.5395	7.468e0

170.5924	1.013e0

170.6198	1.013e0

170.7001	2.025e0

170.7485	1.013e0

170.7810	3.038e0

170.8736	1.013e0

171.0333	4.051e0

171.0561	3.249e0

171.0891	2.036e0

171.1058	2.367e0

171.1551	1.572e1

171.2781	2.025e0

171.3361	1.013e0

171.3552	3.038e0

171.3771	1.013e0

171.4123	1.013e0

171.4298	2.025e0

171.4818	1.013e0

171.5462	3.038e0

171.6000	1.013e0

171.6137	1.013e0

171.6630	1.013e0

171.7149	1.013e0

171.7463	1.013e0

171.8180	2.025e0

171.9069	1.013e0

171.9550	1.013e0

171.9761	3.038e0

172.0008	1.013e0

172.0361	1.013e0

172.1175	1.047e0

172.1496	3.573e0

172.2043	2.025e0

172.2378	1.013e0

172.2625	2.025e0

172.3234	3.038e0

172.3952	1.013e0

172.4609	1.013e0

172.5514	1.013e0

172.5724	1.013e0

172.5971	1.013e0

172.6147	1.013e0

172.6634	1.013e0

172.6946	1.013e0

172.7510	1.013e0

172.7721	1.013e0

172.7959	1.013e0

172.8204	1.013e0

172.8450	1.013e0

172.8944	1.013e0

172.9114	1.013e0

172.9532	1.013e0

173.0026	1.013e0

173.0327	4.051e0

173.0816	6.875e0

173.1050	5.527e0

173.1350	2.748e0

173.1692	1.024e0

173.1871	1.013e0

173.2119	1.013e0

173.2472	2.025e0

173.2925	1.013e0

173.3201	1.013e0

173.3413	1.013e0

173.4016	2.025e0

173.4919	2.025e0

173.5481	1.013e0

173.5635	2.025e0

173.5967	1.013e0

173.6445	3.038e0

173.6914	1.013e0

173.8006	1.013e0

173.8522	1.013e0

173.8806	1.013e0

173.8982	1.013e0

173.9301	1.013e0

174.0349	1.013e0

174.0692	1.836e0

174.1260	4.264e0

174.1615	9.929e0

174.2122	3.038e0

174.2801	1.013e0

174.3629	2.025e0

174.4026	2.025e0

174.4452	1.013e0

174.4948	1.013e0

174.5430	1.013e0

174.5655	3.038e0

174.6593	1.013e0

174.7154	1.013e0

174.7579	2.025e0

174.7827	1.013e0

174.8753	2.025e0

174.9474	1.013e0

175.0265	2.025e0

175.0495	2.025e0

175.0695	2.848e0

175.1009	3.861e0

175.1182	3.988e0

175.1341	3.469e0

175.1622	3.621e0

175.2256	1.013e0

175.2429	1.013e0

175.2635	1.013e0

175.3236	3.038e0

175.4855	1.013e0

175.5187	3.038e0

175.5490	1.013e0

175.5697	2.025e0

175.6014	1.013e0

175.6227	2.025e0

175.6451	3.038e0

175.6971	2.025e0

175.7705	1.013e0

175.8713	2.025e0

175.9148	1.013e0

175.9504	2.025e0

175.9717	1.013e0

176.0109	1.013e0

176.0316	1.013e0

176.0944	1.992e0

176.1213	1.167e1

176.1695	1.013e0

176.2392	1.013e0

176.5567	1.013e0

176.5780	2.025e0

176.6136	1.013e0

176.6403	3.038e0

176.7090	1.013e0

176.7582	1.013e0

176.7867	2.025e0

176.8151	2.025e0

176.8436	1.013e0

176.8960	2.025e0

177.0168	2.025e0

177.0561	3.785e0

177.1009	4.876e0

177.2184	1.013e0

177.2358	1.013e0

177.2955	1.013e0

177.3294	2.025e0

177.4440	2.025e0

177.4831	1.013e0

177.5375	3.038e0

177.5865	1.013e0

177.6886	2.025e0

177.7100	1.013e0

177.7528	2.025e0

177.7952	1.013e0

177.8265	1.013e0

177.8585	1.013e0

177.8852	2.025e0

177.9477	1.013e0

177.9727	1.013e0

178.0144	2.025e0

178.1023	3.996e0

178.1210	2.033e0

178.1633	1.358e1

178.1992	1.013e0

178.2271	1.013e0

178.2806	1.013e0

178.3091	1.013e0

178.3323	2.025e0

178.3627	1.013e0

178.4382	3.038e0

178.5399	1.013e0

178.6039	1.013e0

178.6372	2.025e0

178.6744	2.025e0

178.7602	1.013e0

178.8101	2.025e0

178.8356	3.038e0

178.8660	1.013e0

178.8983	1.013e0

178.9341	2.025e0

178.9921	5.063e0

179.0156	1.823e1

179.0657	5.978e0

179.1196	2.091e1

179.1521	7.328e0

179.2298	2.210e0

179.2603	6.076e0

179.3036	1.013e0

179.3356	1.013e0

179.3553	2.025e0

179.4125	2.025e0

179.4322	1.013e0

179.5104	1.013e0

179.5561	1.013e0

179.6851	1.013e0

179.7596	1.013e0

179.7912	1.013e0

179.8378	1.013e0

179.9345	1.013e0

179.9755	2.025e0

180.0149	3.038e0

180.0540	2.838e0

180.1157	5.642e0

180.1630	8.598e0

180.2092	1.013e0

180.2306	1.013e0

180.2834	1.013e0

180.4373	1.013e0

180.4660	1.013e0

180.4982	1.013e0

180.5299	1.013e0

180.5794	1.013e0

180.5974	1.013e0

180.6620	1.013e0

180.7661	1.013e0

180.7838	1.013e0

180.8050	1.013e0

180.8226	1.013e0

180.8922	2.025e0

180.9443	1.013e0

180.9801	1.013e0

181.0139	1.114e1

181.1240	5.634e0

181.1727	1.013e0

181.2051	1.013e0

181.2410	2.025e0

181.3111	2.025e0

181.3738	1.013e0

181.4233	1.013e0

181.5847	1.013e0

181.6027	1.013e0

181.6799	2.025e0

181.7243	2.025e0

181.7509	2.025e0

181.7865	2.025e0

181.8171	1.013e0

181.8567	1.013e0

181.9015	3.038e0

182.0056	3.038e0

182.0328	1.013e0

182.0967	3.861e0

182.1254	3.809e0

182.1684	1.013e0

182.1972	2.025e0

182.2476	3.038e0

182.2764	1.013e0

182.3088	1.013e0

182.3521	1.013e0

182.3844	1.013e0

182.4093	1.013e0

182.4235	1.013e0

182.4661	1.013e0

182.4982	1.013e0

182.5343	2.025e0

182.6749	3.038e0

182.7194	4.051e0

182.7631	2.025e0

182.8077	1.013e0

182.8398	1.013e0

182.8684	3.907e0

182.9113	1.013e0

182.9330	1.013e0

182.9801	8.101e0

183.0175	5.063e0

183.0504	3.038e0

183.0884	1.973e0

183.1386	1.783e0

183.1635	1.389e0

183.2177	1.013e0

183.2390	1.013e0

183.2623	2.025e0

183.3069	1.013e0

183.3392	1.013e0

183.3826	1.013e0

183.4079	1.013e0

183.4584	1.013e0

183.4890	2.025e0

183.5702	1.013e0

183.5992	2.025e0

183.6317	1.013e0

183.6927	1.013e0

183.7356	1.013e0

183.8831	1.013e0

183.9156	1.013e0

183.9517	1.013e0

183.9734	1.013e0

184.0420	1.013e0

184.0675	1.424e0

184.1723	1.013e0

184.1974	1.013e0

184.2619	1.013e0

184.3659	1.013e0

184.4691	2.025e0

184.5179	1.013e0

184.6336	1.013e0

184.6698	1.013e0

184.7386	2.025e0

184.7748	1.013e0

184.8199	2.025e0

184.9046	2.025e0

184.9657	1.013e0

185.0016	1.013e0

185.0484	1.013e0

185.1006	7.905e0

185.1462	1.783e0

185.1861	1.013e0

185.2088	3.038e0

185.2549	1.013e0

185.3201	1.013e0

185.3926	1.013e0

185.4361	2.025e0

185.4977	1.013e0

185.5158	1.013e0

185.5630	2.025e0

185.6210	1.013e0

185.7872	1.013e0

185.8557	1.013e0

185.8738	1.013e0

185.9207	1.013e0

186.0038	1.013e0

186.0401	1.013e0

186.1499	6.900e0

186.2180	6.076e0

186.2489	2.025e0

186.2997	2.025e0

186.3596	1.013e0

186.3850	1.013e0

186.4722	1.013e0

186.5339	2.025e0

186.5593	2.025e0

186.6283	2.025e0

186.7373	1.013e0

186.8390	1.013e0

186.9371	1.013e0

186.9717	2.025e0

187.0135	1.013e0

187.0371	2.025e0

187.0571	1.013e0

187.1234	1.293e1

187.2317	1.013e0

187.3226	1.013e0

187.3808	1.013e0

187.4209	2.025e0

187.4390	1.013e0

187.4682	1.013e0

187.5118	1.013e0

187.6306	3.038e0

187.7156	1.013e0

187.7775	1.013e0

187.8430	1.013e0

187.8685	1.013e0

187.9978	2.025e0

188.0542	1.013e0

188.0819	1.984e0

188.1094	1.285e0

188.1326	4.194e0

188.2072	1.013e0

188.2400	1.013e0

188.2801	1.013e0

188.3912	2.025e0

188.4392	3.038e0

188.5261	2.025e0

188.5461	1.013e0

188.6337	1.013e0

188.6555	1.013e0

188.7540	1.013e0

188.8307	1.013e0

188.9912	2.025e0

189.0149	2.025e0

189.0499	4.051e0

189.0912	5.761e0

189.1316	1.369e0

189.1852	3.038e0

189.2394	2.025e0

189.3494	1.013e0

189.3714	1.013e0

189.3934	1.013e0

189.4154	1.013e0

189.4484	1.013e0

189.4968	4.051e0

189.5475	1.013e0

189.5639	2.025e0

189.6098	3.038e0

189.7156	1.013e0

189.7522	1.013e0

189.7887	2.025e0

189.8162	2.025e0

189.8728	1.013e0

189.9849	3.038e0

190.0290	3.038e0

190.1011	1.229e0

190.1798	1.013e0

190.2350	1.013e0

190.2608	1.013e0

190.2940	1.013e0

190.3271	1.013e0

190.3640	1.013e0

190.4192	1.013e0

190.5162	2.025e0

190.6021	1.013e0

190.6840	4.051e0

190.8805	2.025e0

190.9616	1.013e0

190.9936	8.101e0

191.0318	1.013e0

191.0805	2.051e0

191.1218	1.293e1

191.1564	1.985e0

191.2125	3.038e0

191.3399	1.013e0

191.3839	1.013e0

191.4552	3.038e0

191.4811	3.170e0

191.5016	1.013e0

191.5670	3.038e0

191.6348	2.025e0

191.7887	1.013e0

191.8153	3.038e0

191.8641	3.038e0

191.9061	1.013e0

191.9464	1.013e0

191.9834	2.025e0

192.0021	3.038e0

192.0280	2.042e0

192.0762	2.767e1

192.1069	3.879e0

192.1408	1.870e0

192.1663	3.271e0

192.2122	1.013e0

192.2416	1.013e0

192.2949	2.025e0

192.3701	1.013e0

192.4589	1.013e0

192.5110	1.013e0

192.5490	3.038e0

192.5766	3.038e0

192.6141	1.013e0

192.7519	2.025e0

192.8273	1.013e0

192.8534	1.013e0

192.8740	2.025e0

192.9411	3.038e0

192.9685	1.013e0

192.9905	2.025e0

193.0622	1.812e0

193.0886	2.346e0

193.1216	3.712e0

193.1507	4.830e0

193.2233	3.038e0

193.2765	2.025e0

193.3562	1.013e0

193.3929	1.013e0

193.4702	1.013e0

193.5217	1.013e0

193.5510	1.013e0

193.5737	2.025e0

193.6071	1.013e0

193.7454	4.051e0

193.8030	1.013e0

193.8435	1.013e0

193.8970	2.025e0

193.9661	1.013e0

193.9923	1.013e0

194.0292	1.013e0

194.0476	2.025e0

194.0661	1.433e0

194.1091	1.657e0

194.1470	3.809e0

194.1758	1.816e0

194.2170	1.013e0

194.2882	1.013e0

194.4435	2.025e0

194.4656	1.013e0

194.4877	2.025e0

194.6258	1.013e0

194.7178	1.013e0

194.8026	1.013e0

194.8979	2.025e0

194.9555	1.013e0

194.9776	2.025e0

195.0292	3.038e0

195.0625	1.013e0

195.1101	6.292e0

195.1268	8.001e0

195.2026	2.025e0

195.3003	1.013e0

195.3630	1.013e0

195.3815	1.013e0

195.4569	1.013e0

195.5492	1.013e0

195.6661	2.025e0

195.7056	1.013e0

195.7283	2.025e0

195.7688	1.013e0

195.8057	1.013e0

195.8437	3.038e0

195.8869	1.013e0

195.9207	1.013e0

195.9509	1.013e0

196.0077	5.853e0

196.0309	3.038e0

196.1431	4.164e0

196.1746	1.515e0

196.2415	1.013e0

196.3951	2.025e0

196.4346	1.013e0

196.4798	1.013e0

196.5240	1.013e0

196.5463	1.013e0

196.5962	2.025e0

196.6803	2.025e0

196.7071	1.013e0

196.7477	1.013e0

196.8891	1.013e0

196.9325	2.025e0

197.0398	4.051e0

197.1117	4.267e0

197.1521	4.620e0

197.2137	1.013e0

197.2582	1.013e0

197.4043	1.013e0

197.4487	1.013e0

197.4747	1.013e0

197.5079	1.013e0

197.6097	1.013e0

197.6653	1.013e0

197.6913	1.013e0

197.7719	2.025e0

197.8227	2.025e0

197.8725	3.038e0

197.9043	1.013e0

197.9681	2.025e0

197.9871	1.013e0

198.0172	1.013e0

198.0475	3.725e0

198.0986	1.102e1

198.1350	8.073e0

198.1834	3.038e0

198.2173	2.025e0

198.2785	1.013e0

198.2970	1.013e0

198.3303	1.013e0

198.3606	1.013e0

198.3869	2.025e0

198.4262	4.051e0

198.4508	2.025e0

198.5250	1.013e0

198.5438	1.013e0

198.6454	1.013e0

198.6752	1.013e0

198.7233	1.013e0

198.7500	1.013e0

198.8068	1.013e0

198.8439	1.013e0

198.8774	1.013e0

198.9297	1.013e0

198.9603	1.013e0

199.0317	7.190e1

199.0823	2.880e0

199.1010	3.068e0

199.1325	1.522e0

199.1836	1.426e1

199.2225	2.025e0

199.3047	1.013e0

199.3315	1.013e0

199.3710	2.025e0

199.4212	1.013e0

199.5058	2.025e0

199.5248	2.025e0

199.5499	1.792e0

199.5864	1.013e0

199.6050	1.013e0

199.6866	3.038e0

199.7738	2.548e0

199.8568	1.013e0

199.9469	1.013e0

199.9900	5.766e1

200.0411	1.215e1

200.0778	2.266e0

200.1086	2.848e0

200.1419	1.285e0

200.2141	2.025e0

200.2490	3.038e0

200.3038	2.025e0

200.3566	3.038e0

200.4098	1.013e0

200.4302	2.025e0

200.4768	2.025e0

200.5030	2.025e0

200.6572	1.013e0

200.6841	2.025e0

200.7182	2.025e0

200.8135	2.025e0

200.8532	1.013e0

200.8924	3.038e0

200.9903	2.025e0

201.0113	1.013e0

201.0460	1.013e0

201.0698	1.800e0

201.1184	1.752e0

201.1492	3.199e0

201.2231	1.013e0

201.2697	2.025e0

201.3356	1.013e0

201.3740	1.013e0

201.4299	1.013e0

201.4730	2.025e0

201.4979	1.013e0

201.5323	1.013e0

201.5546	1.013e0

201.5883	2.025e0

201.6069	1.013e0

201.6448	1.013e0

201.6963	2.025e0

201.7802	1.013e0

201.8150	1.013e0

201.8659	2.025e0

201.9014	1.013e0

201.9467	1.013e0

201.9699	1.013e0

202.0246	3.038e0

202.1171	1.506e0

202.1753	2.969e0

202.2258	1.013e0

202.2875	1.013e0

202.3154	2.025e0

202.4235	1.013e0

202.4572	1.013e0

202.4796	1.013e0

202.5169	1.013e0

202.5605	1.339e1

202.6383	1.013e0

202.6914	1.013e0

202.7260	1.013e0

202.7484	1.013e0

202.8313	1.013e0

202.9072	1.013e0

202.9482	1.013e0

202.9946	1.013e0

203.0322	1.013e0

203.0562	4.051e0

203.0832	7.880e0

203.1180	2.644e0

203.1787	1.560e1

203.2379	4.051e0

203.2747	2.025e0

203.3200	2.025e0

203.4377	1.013e0

203.4752	1.013e0

203.5164	1.013e0

203.5629	3.038e0

203.6378	1.013e0

203.6761	3.038e0

203.7256	1.013e0

203.8223	2.025e0

203.8714	3.038e0

203.9800	2.025e0

204.0287	1.013e0

204.1111	1.867e0

204.1380	2.899e0

204.1699	1.595e0

204.1879	1.013e0

204.2345	3.038e0

204.3365	1.013e0

204.3675	1.013e0

204.3936	1.013e0

204.4348	1.013e0

204.4929	1.013e0

204.5715	1.013e0

204.5948	1.013e0

204.8076	2.025e0

204.9049	2.025e0

204.9518	1.013e0

204.9751	2.025e0

205.0248	2.025e0

205.0560	2.531e0

205.0985	2.244e0

205.1351	5.172e0

205.1766	2.608e0

205.2300	1.013e0

205.3023	3.038e0

205.3595	2.025e0

205.3870	4.051e0

205.4504	1.013e0

205.4854	1.013e0

205.5574	2.025e0

205.6793	1.013e0

205.7017	2.025e0

205.7573	4.051e0

205.8590	1.013e0

205.9044	1.013e0

205.9614	1.013e0

206.0076	1.013e0

206.0714	6.053e0

206.1153	4.166e0

206.1335	2.708e0

206.2096	1.013e0

206.2705	1.013e0

206.3383	3.038e0

206.3963	1.013e0

206.4266	1.013e0

206.4920	2.025e0

206.5796	3.038e0

206.6562	2.025e0

206.7288	1.013e0

206.8886	1.013e0

206.9505	1.013e0

207.0163	4.051e0

207.0634	2.025e0

207.1115	5.852e0

207.1519	1.841e0

207.1913	2.025e0

207.2722	1.013e0

207.3060	1.013e0

207.3286	1.013e0

207.4823	1.013e0

207.5618	1.013e0

207.5951	2.025e0

207.6578	2.025e0

207.7312	1.013e0

207.7764	1.013e0

207.7996	1.013e0

207.8273	1.013e0

207.8819	3.038e0

207.9684	1.013e0

208.0406	6.886e1

208.1106	2.561e0

208.1406	1.833e0

208.1970	5.771e0

208.2717	1.013e0

208.3225	2.025e0

208.3557	1.013e0

208.3809	2.025e0

208.4186	2.025e0

208.4671	1.013e0

208.5429	1.013e0

208.5683	3.038e0

208.6089	1.013e0

208.7088	3.038e0

208.7353	3.038e0

208.8125	2.025e0

208.8578	1.013e0

208.9989	5.319e0

209.0350	5.063e0

209.0574	7.575e0

209.1291	5.739e0

209.1925	2.025e0

209.2841	1.013e0

209.3388	1.013e0

209.4728	1.013e0

209.5747	2.025e0

209.6654	1.013e0

209.6842	1.013e0

209.7315	1.013e0

209.7805	2.025e0

209.8136	2.025e0

209.8731	1.013e0

209.9119	2.025e0

209.9590	3.038e0

210.0078	1.013e0

210.0723	2.939e0

210.1005	6.294e0

210.1826	5.153e0

210.2660	1.013e0

210.2970	2.025e0

210.3530	2.025e0

210.4085	1.013e0

210.4399	1.013e0

210.5373	3.440e0

210.6171	2.025e0

210.6592	1.013e0

210.6934	1.013e0

210.7293	2.025e0

210.8252	2.025e0

210.8823	1.013e0

210.9751	2.025e0

211.0046	2.025e0

211.0527	1.013e0

211.1106	5.430e0

211.1347	2.088e0

211.2078	1.013e0

211.2805	2.025e0

211.3083	1.013e0

211.3499	1.013e0

211.4598	2.025e0

211.4896	1.013e0

211.5903	1.013e0

211.6602	3.038e0

211.7399	1.013e0

211.7755	2.025e0

211.8952	1.013e0

211.9293	1.013e0

212.0068	6.683e0

212.0340	4.719e0

212.0848	4.430e0

212.1424	7.126e0

212.1855	2.772e0

212.2055	2.369e0

212.2705	1.013e0

212.3118	3.038e0

212.3578	2.025e0

212.4334	3.038e0

212.4563	2.025e0

212.4873	2.025e0

212.5879	2.025e0

212.6346	1.013e0

212.6848	2.025e0

212.7087	1.013e0

212.8589	1.013e0

212.8791	1.013e0

212.9174	1.013e0

212.9876	2.025e0

213.0221	1.148e1

213.0512	1.575e0

213.1039	6.228e1

213.1564	3.191e0

213.2083	5.063e0

213.2413	2.025e0

213.3170	2.025e0

213.3445	3.038e0

213.4451	2.025e0

213.4679	2.025e0

213.4877	2.025e0

213.5155	1.013e0

213.5497	1.013e0

213.5686	1.013e0

213.6389	1.013e0

213.6973	3.038e0

213.7637	2.135e0

213.8764	1.013e0

213.9182	1.013e0

213.9752	6.076e0

214.0037	2.744e1

214.0510	3.510e0

214.1035	1.553e1

214.1860	2.103e0

214.2096	3.038e0

214.2429	4.051e0

214.2968	1.013e0

214.3385	1.013e0

214.3861	1.013e0

214.4088	2.025e0

214.4336	2.025e0

214.5059	2.025e0

214.5839	1.013e0

214.6429	1.013e0

214.6922	1.013e0

214.7846	2.025e0

214.8446	1.013e0

214.8677	1.013e0

214.9036	1.013e0

214.9320	3.038e0

214.9673	2.025e0

215.0031	4.812e0

215.0436	3.209e0

215.0874	1.762e1

215.1122	6.201e0

215.1582	1.791e0

215.2150	1.013e0

215.2578	2.025e0

215.3625	2.025e0

215.4102	2.025e0

215.4808	1.013e0

215.5112	1.013e0

215.5326	2.025e0

215.5583	2.025e0

215.5900	7.089e0

215.6523	2.025e0

215.6875	3.896e0

215.7213	2.025e0

215.7589	3.038e0

215.7911	3.038e0

215.8394	2.641e0

215.9124	3.038e0

215.9601	3.197e0

215.9885	9.293e0

216.1389	5.663e2

216.1931	3.038e0

216.2357	2.025e0

216.2861	5.063e0

216.3415	3.038e0

216.3837	3.038e0

216.4112	2.025e0

216.4828	3.038e0

216.5046	2.025e0

216.5680	7.089e0

216.5969	5.122e0

216.6187	3.992e0

216.6402	2.025e0

216.6824	4.051e0

216.7573	3.038e0

216.8655	2.025e0

216.9184	2.025e0

216.9743	1.712e0

217.0098	2.169e0

217.0424	6.725e0

217.1056	1.357e1

217.1429	1.093e2

217.2112	1.013e0

217.2510	2.025e0

217.2838	2.025e0

217.3247	3.038e0

217.3573	3.038e0

217.4103	5.366e0

217.4959	2.025e0

217.5322	1.013e0

217.5562	1.013e0

217.5933	3.038e0

217.7292	1.013e0

217.7578	2.025e0

217.7818	2.025e0

217.8152	1.013e0

217.8727	3.038e0

217.9318	3.370e0

217.9824	3.978e0

218.0076	8.635e0

218.0701	2.143e0

218.0983	2.467e0

218.1552	2.209e1

218.2476	3.038e0

218.2743	2.025e0

218.2935	1.013e0

218.3489	1.013e0

218.3719	1.013e0

218.4077	1.013e0

218.4389	2.025e0

218.4617	2.025e0

218.4981	3.038e0

218.5609	2.025e0

218.6463	3.038e0

218.6896	1.013e0

218.7375	1.013e0

218.7889	2.025e0

218.8352	1.013e0

218.8753	3.038e0

218.9852	3.817e0

219.0542	1.915e0

219.0803	2.191e0

219.1633	1.080e0

219.1935	1.013e0

219.2400	2.025e0

219.3035	1.013e0

219.3391	1.013e0

219.3700	1.013e0

219.4743	3.038e0

219.5021	3.038e0

219.5482	2.025e0

219.5945	1.013e0

219.6267	1.013e0

219.6749	5.063e0

219.7565	2.025e0

219.7917	1.013e0

219.8151	1.013e0

219.8445	3.038e0

219.8984	1.013e0

219.9784	1.998e0

220.0386	1.949e1

220.0749	5.410e0

220.1734	1.575e0

220.2176	1.013e0

220.2651	1.013e0

220.3077	2.025e0

220.3558	1.013e0

220.3827	2.025e0

220.4383	1.013e0

220.4779	1.013e0

220.4979	1.013e0

220.5527	2.025e0

220.5766	1.013e0

220.6159	2.025e0

220.6515	2.025e0

220.7136	4.051e0

220.7702	1.013e0

220.8143	5.063e0

220.8533	1.013e0

220.8782	2.025e0

220.9243	1.013e0

220.9792	1.471e0

221.0563	8.695e0

221.3067	1.013e0

221.3549	2.025e0

221.4019	3.038e0

221.4413	2.025e0

221.5220	2.025e0

221.5576	5.063e0

221.6356	1.013e0

221.6586	2.025e0

221.7415	1.013e0

221.7723	2.025e0

221.8194	2.025e0

221.8645	1.013e0

221.9241	1.013e0

221.9488	3.038e0

222.0171	2.115e1

222.0820	1.715e0

222.2706	2.025e0

222.3168	1.013e0

222.3495	2.025e0

222.4189	1.013e0

222.4387	1.013e0

222.4863	1.013e0

222.5060	1.013e0

222.5345	2.025e0

222.5537	2.025e0

222.5879	3.038e0

222.6693	2.025e0

222.7080	1.013e0

222.7349	2.025e0

222.7799	2.025e0

222.8311	1.013e0

222.8968	3.038e0

222.9762	1.523e0

223.0221	1.272e1

223.0760	2.160e1

223.1116	1.772e0

223.1534	3.827e0

223.2091	2.025e0

223.2498	2.075e0

223.2720	2.988e0

223.3374	2.025e0

223.4095	2.025e0

223.4460	1.013e0

223.5303	1.013e0

223.5767	9.477e0

223.6332	1.013e0

223.6646	2.025e0

223.7204	2.025e0

223.7457	5.567e0

223.7814	3.038e0

223.8046	2.025e0

223.8711	3.038e0

223.9255	2.025e0

224.0131	2.580e2

224.0789	4.662e0

224.1625	3.037e0

224.1967	2.572e0

224.2479	6.076e0

224.3340	1.013e0

224.3763	1.013e0

224.4055	1.013e0

224.4402	4.051e0

224.5679	2.817e0

224.6102	3.038e0

224.6566	4.051e0

224.7052	2.025e0

224.7582	3.038e0

224.7834	1.013e0

224.8150	1.013e0

224.8386	1.013e0

224.8730	2.025e0

224.8980	1.013e0

224.9348	1.013e0

225.0067	4.329e1

225.0605	4.737e0

225.2026	3.038e0

225.2597	1.114e1

225.2936	7.331e0

225.3426	9.241e0

225.3758	3.038e0

225.4084	2.025e0

225.4361	3.038e0

225.4606	7.614e0

225.5063	3.958e0

225.5450	4.274e0

225.5801	3.667e0

225.6161	5.222e0

225.6442	7.494e0

225.6796	6.795e0

225.7520	8.101e0

225.7820	2.025e0

225.8252	1.519e1

225.8848	1.029e1

225.9464	1.233e1

225.9892	2.086e1

226.0147	3.893e1

226.1229	4.277e2

226.1899	6.390e0

226.2218	8.883e0

226.2885	3.312e1

226.3535	7.907e0

226.3761	1.470e1

226.4205	6.076e0

226.4661	4.051e0

226.5103	7.240e0

226.5786	1.075e1

226.6213	1.683e1

226.6862	1.316e1

226.7281	3.564e1

226.7855	3.600e1

226.8308	4.849e1

226.8806	3.371e1

226.9221	2.783e1

226.9444	1.884e1

227.0048	3.999e1

227.0367	1.638e1

227.1183	1.994e4

227.1962	4.204e1

227.2289	1.190e2

227.2610	2.102e2

227.3119	1.968e2

227.3710	1.472e2

227.4365	6.312e1

227.4897	6.313e1

227.5239	6.314e1

227.5773	4.210e1

227.6012	7.417e1

227.6643	2.316e2

227.7310	6.319e1

227.7791	2.107e1

227.8072	8.996e1

227.8618	4.215e1

227.9112	6.323e1

227.9400	4.216e1

227.9845	3.262e2

228.0352	2.109e1

228.0723	6.327e1

228.1240	3.446e3

228.2004	6.330e1

228.2254	1.266e2

228.2529	4.221e1

228.2787	4.222e1

228.3531	6.334e1

228.3811	2.112e1

228.4491	6.336e1

228.4871	6.337e1

228.5171	4.225e1

228.5521	6.339e1

228.5812	2.113e1

228.6669	2.114e1

228.7084	4.229e1

228.7708	6.344e1

228.8068	2.115e1

228.8372	4.231e1

228.9156	4.232e1

228.9388	2.116e1

229.0779	4.235e1

229.1300	4.096e2

229.1982	6.355e1

229.2510	4.237e1

229.2852	2.119e1

229.3223	2.119e1

229.3493	2.119e1

229.3942	2.120e1

229.4674	6.361e1

229.5905	2.121e1

229.6432	4.244e1

229.7330	2.123e1

229.8976	2.124e1

229.9476	4.249e1

230.0425	2.125e1

230.1247	8.503e1

230.1897	4.253e1

230.2723	2.127e1

230.2997	3.038e0

230.3244	2.025e0

230.3703	6.076e0

230.4108	2.025e0

230.4619	3.038e0

230.5075	4.051e0

230.5718	1.013e0

230.6089	1.013e0

230.6431	2.025e0

230.6655	2.025e0

230.6983	6.583e0

230.7403	5.063e0

230.8230	3.038e0

230.8566	3.038e0

230.8777	3.038e0

230.9279	3.038e0

230.9558	2.666e0

230.9880	3.545e0

231.0701	2.486e0

231.1225	7.265e0

231.1649	1.573e0

231.2169	4.742e0

231.2585	2.914e0

231.2859	4.051e0

231.3169	3.038e0

231.3482	1.013e0

231.3818	2.025e0

231.4514	6.076e0

231.4886	2.025e0

231.5403	3.038e0

231.5604	4.279e0

231.6105	6.076e0

231.6755	4.365e0

231.7371	7.089e0

231.7716	2.025e0

231.7990	2.025e0

231.8574	2.505e0

231.8771	3.038e0

231.9144	1.013e0

231.9583	3.038e0

232.0850	2.027e0

232.1941	6.089e0

232.2290	1.013e0

232.2620	2.025e0

232.3129	3.038e0

232.3831	2.025e0

232.4398	2.025e0

232.4756	4.051e0

232.5415	2.025e0

232.5784	1.013e0

232.6429	3.038e0

232.7077	2.025e0

232.7586	2.025e0

232.8114	2.025e0

232.8539	1.013e0

233.0942	7.599e1

233.2260	1.013e0

233.2554	1.013e0

233.2749	1.013e0

233.3380	2.025e0

233.3767	1.013e0

233.4129	2.025e0

233.4434	2.025e0

233.5254	4.080e0

233.5835	7.089e0

233.6410	1.013e0

233.6819	1.013e0

233.7258	1.013e0

233.7526	2.025e0

233.7829	2.025e0

233.8126	3.038e0

233.8633	3.038e0

233.9565	3.038e0

233.9963	2.064e0

234.0627	4.131e0

234.1052	3.636e0

234.1553	7.159e0

234.1973	1.013e0

234.2579	2.025e0

234.2837	1.013e0

234.3146	1.013e0

234.3761	1.013e0

234.4167	1.013e0

234.4735	1.013e0

234.5148	1.013e0

234.6050	1.013e0

234.6490	1.013e0

234.7188	1.013e0

234.7503	1.013e0

234.7717	1.013e0

234.8164	1.013e0

234.8854	1.013e0

234.9837	1.013e0

235.0135	3.995e0

235.0521	1.778e0

235.0806	1.778e0

235.1119	3.949e0

235.1462	9.804e0

235.2265	1.013e0

235.3015	1.013e0

235.3740	2.025e0

235.4191	1.013e0

235.4635	3.038e0

235.5132	3.038e0

235.5821	1.013e0

235.6549	1.013e0

235.7640	2.025e0

235.8716	1.013e0

235.9533	1.013e0

235.9778	1.013e0

236.0181	1.431e1

236.0536	4.234e0

236.1367	2.715e0

236.2434	1.013e0

236.2755	1.013e0

236.2966	1.013e0

236.3453	1.013e0

236.4229	1.013e0

236.4818	2.025e0

236.6024	1.013e0

236.6805	1.013e0

236.7750	1.013e0

236.8154	2.025e0

236.8476	1.013e0

236.8890	1.013e0

236.9762	6.076e0

237.0256	1.995e1

237.2040	1.359e0

237.2628	2.025e0

237.3264	2.025e0

237.3631	2.025e0

237.3886	1.013e0

237.4286	1.013e0

237.4737	2.025e0

237.5265	1.013e0

237.6496	2.025e0

237.6913	1.013e0

237.7728	1.013e0

237.8056	2.025e0

237.8564	3.038e0

238.0241	5.132e0

238.0800	1.013e0

238.1565	8.237e0

238.2080	3.038e0

238.2616	1.013e0

238.2975	1.013e0

238.3679	1.013e0

238.4060	2.025e0

238.4538	1.013e0

238.5029	1.013e0

238.5354	1.013e0

238.5768	1.013e0

238.6301	1.013e0

238.6754	1.013e0

238.6950	1.013e0

238.7208	1.013e0

238.7935	1.013e0

238.8352	1.013e0

238.8874	3.038e0

238.9714	1.013e0

239.0497	2.382e0

239.0876	1.547e0

239.1199	1.660e0

239.1612	4.852e0

239.2072	2.705e0

239.2587	1.013e0

239.3364	1.013e0

239.3572	1.013e0

239.4168	3.038e0

239.4648	1.013e0

239.5396	2.025e0

239.5676	1.013e0

239.6208	1.013e0

239.6576	1.013e0

239.6922	2.025e0

239.7234	1.013e0

239.7518	1.013e0

239.8866	5.063e0

239.9367	1.013e0

240.0220	2.480e0

240.0959	1.080e0

240.1534	1.518e1

240.2017	3.717e0

240.2412	1.013e0

240.3985	1.013e0

240.4268	1.013e0

240.4564	2.025e0

240.5198	2.025e0

240.5556	1.013e0

240.7311	5.241e0

240.8027	1.013e0

240.8351	1.013e0

240.8753	3.038e0

240.9836	2.025e0

241.0118	1.240e0

241.0421	3.423e0

241.1018	1.098e1

241.1379	1.287e1

241.1793	1.316e0

241.2157	2.920e0

241.2678	1.013e0

241.3468	1.013e0

241.3671	1.013e0

241.4002	1.013e0

241.4252	2.025e0

241.4497	1.013e0

241.5369	2.025e0

241.5642	3.038e0

241.6515	1.013e0

241.6814	1.013e0

241.7498	2.025e0

241.7844	1.013e0

241.8221	1.013e0

241.8447	2.025e0

241.8911	1.013e0

242.0253	2.678e1

242.0667	3.038e0

242.0966	4.450e0

242.1375	5.517e0

242.1812	2.616e0

242.2342	3.038e0

242.2858	3.038e0

242.3174	1.013e0

242.3512	1.013e0

242.3930	1.013e0

242.4503	2.025e0

242.5038	1.013e0

242.5247	1.013e0

242.5950	2.025e0

242.6596	2.025e0

242.7019	1.013e0

242.7543	3.038e0

242.8193	1.013e0

242.8647	1.013e0

242.9924	1.970e0

243.0237	8.827e0

243.0672	2.025e0

243.1169	3.837e0

243.1541	1.335e0

243.1912	4.711e0

243.2237	1.013e0

243.2869	1.013e0

243.3426	2.025e0

243.4404	2.025e0

243.4642	1.013e0

243.5056	1.013e0

243.5475	1.013e0

243.5971	1.013e0

243.7053	1.013e0

243.7818	2.025e0

243.8295	2.025e0

243.9091	1.013e0

243.9329	1.013e0

243.9908	2.776e0

244.0238	3.492e0

244.0580	1.013e0

244.1025	1.442e0

244.1327	1.870e0

244.2352	5.220e0

244.3363	2.025e0

244.3741	1.013e0

244.4571	1.013e0

244.5098	3.038e0

244.5975	4.051e0

244.6351	1.013e0

244.7218	1.013e0

244.7440	1.013e0

244.8055	1.013e0

244.8513	1.013e0

244.9010	1.013e0

244.9286	2.025e0

244.9679	2.025e0

244.9983	2.572e0

245.0318	4.678e0

245.0970	9.154e0

245.1474	1.677e0

245.1677	2.025e0

245.2095	1.013e0

245.2429	1.013e0

245.2750	1.013e0

245.3665	1.013e0

245.4095	2.025e0

245.4503	2.025e0

245.4791	2.025e0

245.5084	1.013e0

245.5719	1.013e0

245.5981	2.025e0

245.6504	1.013e0

245.6832	1.013e0

245.7212	1.013e0

245.8088	1.013e0

245.9404	2.025e0

245.9968	4.629e1

246.1371	1.676e0

246.1793	2.025e0

246.2173	2.025e0

246.2506	2.025e0

246.3799	1.013e0

246.4212	1.013e0

246.4504	2.025e0

246.5109	3.038e0

246.6878	1.013e0

246.7338	1.013e0

246.8134	1.013e0

246.8672	1.013e0

246.9271	1.013e0

246.9548	1.013e0

246.9904	2.972e0

247.0424	2.642e0

247.1020	1.442e0

247.1451	1.772e1

247.1877	2.686e0

247.2356	1.013e0

247.2863	1.013e0

247.3346	3.038e0

247.3600	1.013e0

247.4174	2.025e0

247.5777	1.013e0

247.6538	2.025e0

247.7115	1.013e0

247.7858	4.051e0

247.9371	1.013e0

247.9922	1.013e0

248.0341	3.655e0

248.0671	2.025e0

248.1210	1.811e0

248.1566	4.039e0

248.1791	3.029e0

248.2250	2.025e0

248.2511	1.013e0

248.3852	1.013e0

248.4382	2.025e0

248.4721	2.025e0

248.5286	1.013e0

248.5967	2.025e0

248.6289	1.013e0

248.7838	2.025e0

248.8089	2.025e0

248.8890	2.025e0

248.9641	1.013e0

248.9982	1.947e0

249.0637	2.999e0

249.1119	1.049e1

249.1704	2.622e0

249.2284	1.013e0

249.3955	1.013e0

249.4672	1.013e0

249.4930	1.013e0

249.5474	1.013e0

249.6013	1.013e0

249.6512	1.013e0

249.6815	1.013e0

249.7021	1.013e0

249.7904	1.013e0

249.8617	2.025e0

249.8919	1.013e0

249.9821	2.025e0

250.0261	2.025e0

250.0839	1.013e0

250.1504	1.327e0

250.2184	1.013e0

250.2788	1.013e0

250.3868	2.025e0

250.4932	1.013e0

250.5129	2.025e0

250.5774	3.038e0

250.5990	2.025e0

250.6274	1.013e0

250.8710	2.025e0

250.9572	2.025e0

250.9895	5.063e0

251.0230	3.855e0

251.0814	3.038e0

251.2165	1.013e0

251.2674	1.013e0

251.4070	3.038e0

251.4479	1.013e0

251.5401	1.013e0

251.6185	2.025e0

251.6459	2.139e0

251.6689	2.025e0

251.7127	1.013e0

251.8057	1.013e0

251.9426	2.025e0

251.9837	1.013e0

252.1370	7.341e0

252.2017	1.783e0

252.2274	1.013e0

252.2573	1.013e0

252.4142	1.013e0

252.5105	2.025e0

252.5950	1.013e0

252.6411	1.013e0

252.6877	3.038e0

252.7722	3.038e0

252.8846	4.051e0

252.9743	8.101e0

253.0752	4.051e0

253.1064	1.911e0

253.1693	1.542e0

253.2040	2.796e0

253.2548	2.025e0

253.3555	2.025e0

253.4442	1.013e0

253.4780	1.013e0

253.5202	1.013e0

253.5526	2.025e0

253.6514	1.013e0

253.7197	3.038e0

253.7660	1.013e0

253.7924	1.013e0

253.8635	1.013e0

253.8848	1.013e0

253.9694	1.983e0

254.0406	2.778e1

254.1701	4.001e0

254.2172	2.025e0

254.2740	1.013e0

254.3342	2.025e0

254.4048	3.038e0

254.4572	2.025e0

254.5763	1.013e0

254.6199	2.025e0

254.6832	2.025e0

254.8175	1.013e0

254.9377	2.025e0

254.9782	1.678e0

255.0244	3.981e0

255.0657	4.051e0

255.1136	3.561e0

255.2368	3.038e0

255.2799	1.013e0

255.3098	1.013e0

255.3764	1.013e0

255.4330	1.013e0

255.5684	1.013e0

255.6369	1.013e0

255.6701	1.013e0

255.6975	2.025e0

255.7508	1.013e0

255.8491	1.013e0

255.8896	2.100e0

255.9492	1.886e0

256.0316	2.025e0

256.0650	1.013e0

256.1187	1.164e0

256.1781	4.275e1

256.2498	9.114e0

256.2840	2.025e0

256.3113	1.013e0

256.3588	1.013e0

256.4572	1.013e0

256.4918	1.013e0

256.5844	2.025e0

256.6422	2.025e0

256.7139	2.025e0

256.7501	1.013e0

256.8293	3.038e0

256.9404	2.025e0

256.9796	2.996e0

257.0395	3.038e0

257.0920	1.013e0

257.1269	2.173e0

257.1675	5.441e1

257.2542	1.013e0

257.3437	3.038e0

257.4024	3.038e0

257.4544	1.013e0

257.4927	1.013e0

257.5556	2.025e0

257.6281	1.013e0

257.6706	1.013e0

257.7356	1.013e0

257.7697	1.013e0

257.8770	4.051e0

257.9247	3.038e0

258.0437	5.063e0

258.0961	1.650e0

258.1625	2.583e1

258.2384	1.013e0

258.2945	1.013e0

258.4005	2.025e0

258.5415	1.013e0

258.5698	2.025e0

258.6846	2.025e0

258.7556	1.013e0

258.8729	2.025e0

259.0005	5.035e0

259.1078	2.280e0

259.1780	2.083e1

259.2491	2.025e0

259.3163	1.013e0

259.3411	1.013e0

259.3795	1.013e0

259.4564	1.013e0

259.4785	1.013e0

259.6001	2.025e0

259.6967	1.013e0

259.7524	2.025e0

259.8312	3.038e0

259.8681	1.013e0

259.9803	2.552e0

260.0872	1.871e2

260.1442	4.283e0

260.1774	1.860e0

260.2294	2.025e0

260.2841	2.025e0

260.3195	4.051e0

260.3595	3.038e0

260.4734	4.446e0

260.5139	3.038e0

260.5566	4.051e0

260.6125	3.038e0

260.7132	1.013e0

260.7446	2.025e0

260.7719	1.013e0

260.8372	1.013e0

260.8629	1.013e0

260.9184	3.038e0

260.9981	5.843e1

261.0890	2.671e1

261.1302	3.392e1

261.2213	3.386e0

261.2581	1.013e0

261.3007	1.013e0

261.3267	1.013e0

261.4379	1.013e0

261.4861	1.013e0

261.5406	1.013e0

261.5753	2.025e0

261.6218	1.013e0

261.7818	3.038e0

261.8379	1.013e0

261.9499	1.013e0

261.9960	1.789e1

262.0827	6.223e1

262.1734	5.761e0

262.2350	3.038e0

262.2918	3.038e0

262.3476	3.038e0

262.4487	1.013e0

262.4749	1.013e0

262.5221	1.013e0

262.5667	4.051e0

262.6498	3.038e0

262.6935	1.013e0

262.7663	1.013e0

262.8198	1.013e0

262.8927	1.013e0

262.9382	3.930e0

262.9984	9.285e0

263.0918	1.565e1

263.2365	4.051e0

263.2964	1.013e0

263.3792	2.025e0

263.4797	3.038e0

263.5647	2.025e0

263.5941	2.025e0

263.6316	2.025e0

263.6811	2.025e0

263.8713	1.013e0

263.9229	2.025e0

264.0056	1.950e1

264.0839	3.038e0

264.2372	1.013e0

264.3413	2.025e0

264.3701	2.025e0

264.4148	2.025e0

264.4884	2.025e0

264.5192	2.025e0

264.5659	1.013e0

264.6215	2.025e0

264.6917	2.025e0

264.7438	1.013e0

264.8135	1.013e0

264.9274	2.025e0

264.9730	5.710e1

265.0743	6.280e0

265.1004	3.294e0

265.3672	1.013e0

265.4222	2.025e0

265.5094	1.013e0

265.5346	1.013e0

265.6332	2.025e0

265.7108	2.025e0

265.7785	1.013e0

265.8381	1.013e0

265.8680	1.013e0

265.9068	1.013e0

265.9736	4.282e0

266.0045	2.557e0

266.0774	4.051e0

266.2341	7.089e0

266.3637	1.013e0

266.5018	2.025e0

266.6318	1.013e0

266.6835	1.013e0

266.7278	1.013e0

266.7752	2.025e0

266.8172	3.038e0

266.8490	1.013e0

266.9220	4.051e0

267.0234	4.585e0

267.1092	1.013e0

267.1527	5.481e1

267.2602	3.038e0

267.2956	1.013e0

267.3284	2.025e0

267.3742	3.038e0

267.4178	1.013e0

267.5128	2.025e0

267.6565	1.013e0

267.6834	1.013e0

267.7786	4.051e0

267.8523	1.013e0

267.8739	1.013e0

267.9167	1.013e0

267.9909	5.722e0

268.0584	1.830e0

268.0953	1.013e0

268.1467	1.060e2

268.2172	3.414e0

268.2680	4.078e0

268.3049	2.025e0

268.4097	2.025e0

268.4566	2.025e0

268.5052	1.013e0

268.5448	1.013e0

268.5963	1.013e0

268.6613	2.025e0

268.6971	2.025e0

268.7791	1.013e0

268.8080	2.025e0

268.8449	2.025e0

268.9530	1.714e0

269.0330	3.038e0

269.1566	3.212e1

269.2240	1.013e0

269.2723	1.013e0

269.3333	1.013e0

269.3892	2.025e0

269.4981	1.013e0

269.5209	2.025e0

269.5561	1.013e0

269.6164	1.013e0

269.6557	3.038e0

269.7099	2.025e0

269.7685	6.076e0

269.8439	2.025e0

269.8909	2.025e0

269.9445	1.013e0

270.0021	1.234e0

270.0308	2.025e0

270.1637	1.357e2

270.2330	7.430e0

270.2842	3.038e0

270.3247	2.328e0

270.3881	4.051e0

270.4197	1.013e0

270.5485	3.038e0

270.6219	1.013e0

270.6767	1.013e0

270.7466	1.013e0

270.7864	1.013e0

270.8709	1.013e0

270.8962	1.013e0

271.0437	2.025e0

271.0930	1.013e0

271.1616	2.664e1

271.1922	1.396e1

271.2557	1.013e0

271.3481	2.025e0

271.4276	2.025e0

271.5174	1.013e0

271.5524	1.013e0

271.6267	2.025e0

271.6615	1.013e0

271.7295	2.025e0

271.8087	2.025e0

271.9299	1.013e0

272.0201	6.568e0

272.0927	3.038e0

272.1768	1.506e2

272.2535	4.051e0

272.3317	1.013e0

272.3977	1.013e0

272.5750	2.025e0

272.6081	1.013e0

272.6948	2.025e0

272.7795	2.025e0

272.8353	2.025e0

272.8708	3.214e0

272.9593	3.886e0

273.0005	8.961e0

273.1021	5.063e0

273.1785	3.310e1

273.2278	2.025e0

273.2577	3.038e0

273.3371	1.013e0

273.3662	2.025e0

273.4165	1.013e0

273.4594	2.025e0

273.5242	3.038e0

273.6802	1.013e0

273.7484	2.025e0

273.8022	3.038e0

273.8606	2.025e0

273.9049	2.025e0

273.9452	1.013e0

274.0403	3.739e0

274.0717	3.038e0

274.1550	2.516e2

274.2914	7.089e0

274.3355	3.038e0

274.4049	3.038e0

274.4839	2.025e0

274.5502	4.051e0

274.6105	3.038e0

274.6911	4.051e0

274.7591	4.051e0

274.8115	1.013e0

274.8993	3.038e0

274.9364	2.025e0

274.9728	1.323e0

275.0335	4.752e0

275.0869	2.025e0

275.1584	6.307e1

275.2377	3.038e0

275.2725	2.025e0

275.3059	3.038e0

275.3622	2.025e0

275.4305	3.038e0

275.5095	2.025e0

275.5923	3.038e0

275.6435	1.013e0

275.6796	3.038e0

275.7099	1.013e0

275.7629	3.038e0

275.8115	1.013e0

275.8509	1.013e0

275.9169	1.013e0

275.9815	3.292e0

276.0393	9.309e0

276.0735	3.038e0

276.1638	9.605e0

276.2291	2.025e0

276.2669	1.013e0

276.2974	1.013e0

276.3608	2.025e0

276.4415	2.025e0

276.4752	1.013e0

276.5186	2.025e0

276.5593	2.025e0

276.6534	2.025e0

276.6907	1.013e0

276.7140	1.013e0

276.8235	1.013e0

276.8566	3.038e0

276.9172	1.013e0

276.9572	3.038e0

276.9927	3.140e0

277.0408	4.051e0

277.1155	3.329e1

277.2381	1.013e0

277.2745	4.051e0

277.3474	2.025e0

277.3717	2.025e0

277.4103	2.025e0

277.4608	1.013e0

277.5001	1.013e0

277.5439	1.013e0

277.6203	1.013e0

277.6528	3.038e0

277.7172	1.013e0

277.7660	1.013e0

277.8013	1.013e0

277.9664	1.731e1

278.0517	2.025e0

278.1025	5.063e0

278.1812	1.666e0

278.2241	1.071e0

278.2668	1.013e0

278.3162	2.025e0

278.4118	1.013e0

278.4745	1.013e0

278.5745	2.025e0

278.6035	1.013e0

278.7075	2.025e0

278.7407	1.013e0

278.8267	2.025e0

278.9050	1.013e0

278.9475	3.038e0

279.0141	4.304e0

279.0984	3.254e1

279.1559	1.099e1

279.3774	2.025e0

279.4131	2.025e0

279.4869	1.013e0

279.6203	1.013e0

279.6824	2.025e0

279.7667	1.013e0

279.7897	1.013e0

279.8606	2.025e0

279.9236	4.051e0

279.9656	1.722e0

280.0953	5.063e0

280.1615	3.886e0

280.2254	2.433e0

280.3355	2.025e0

280.3703	1.013e0

280.4115	1.013e0

280.4423	1.013e0

280.5270	2.025e0

280.5543	1.013e0

280.6644	1.013e0

280.7543	1.013e0

280.8026	1.013e0

280.8523	1.013e0

280.9275	2.025e0

280.9859	5.165e0

281.0316	2.886e0

281.0910	1.506e0

281.1750	6.581e0

281.2393	5.836e0

281.2905	2.025e0

281.3193	1.013e0

281.3740	1.013e0

281.4113	2.025e0

281.5865	1.013e0

281.6408	2.025e0

281.7259	1.013e0

281.7703	1.013e0

281.7977	1.013e0

281.8450	1.013e0

281.8912	1.013e0

281.9627	1.842e0

282.0216	2.489e0

282.0754	4.544e0

282.2326	9.509e0

282.2672	3.038e0

282.3192	2.025e0

282.4807	1.013e0

282.5200	2.025e0

282.5733	2.025e0

282.6004	3.038e0

282.6621	1.013e0

282.7399	1.013e0

282.7732	2.025e0

282.8146	1.013e0

282.8733	2.025e0

282.9108	2.025e0

282.9773	1.561e1

283.0431	4.131e0

283.0916	2.025e0

283.1833	1.933e1

283.2271	5.583e0

283.2844	1.013e0

283.3726	1.013e0

283.4038	1.013e0

283.4901	1.013e0

283.5414	3.038e0

283.5631	2.025e0

283.6687	1.013e0

283.7051	1.013e0

283.8752	1.013e0

283.9147	1.013e0

284.0023	1.115e0

284.0500	3.038e0

284.1781	3.533e1

284.2553	2.025e0

284.3351	3.038e0

284.3767	5.063e0

284.4875	3.038e0

284.5346	6.076e0

284.6320	2.025e0

284.6771	1.013e0

284.7126	2.025e0

284.7566	1.013e0

284.7836	1.013e0

284.8296	1.013e0

284.9054	1.013e0

284.9932	5.874e0

285.0965	3.038e0

285.1880	4.440e0

285.2397	3.038e0

285.3070	3.038e0

285.3620	1.013e0

285.3986	1.013e0

285.4420	2.025e0

285.5954	2.025e0

285.6786	2.025e0

285.7690	2.025e0

285.8043	2.025e0

285.8694	1.013e0

285.9264	2.025e0

285.9646	1.965e0

286.0366	1.013e0

286.1094	1.013e0

286.1817	1.595e1

286.3001	2.025e0

286.3378	1.013e0

286.4819	2.025e0

286.5624	1.013e0

286.5898	1.013e0

286.6759	2.025e0

286.7553	1.013e0

286.8163	2.025e0

286.9225	1.013e0

287.0103	3.627e0

287.0451	2.642e0

287.1203	6.062e0

287.1988	3.221e0

287.2486	2.025e0

287.3502	1.013e0

287.3776	1.013e0

287.4172	1.013e0

287.4914	4.051e0

287.6129	3.038e0

287.6655	1.013e0

287.7009	2.025e0

287.7935	2.025e0

287.8232	1.013e0

287.8687	1.013e0

288.0165	2.675e0

288.0705	2.890e0

288.1287	2.507e0

288.1721	1.867e0

288.2085	3.949e0

288.2572	6.076e0

288.3112	1.013e0

288.3553	1.013e0

288.4459	1.013e0

288.4771	2.025e0

288.5212	2.025e0

288.5760	3.038e0

288.6175	2.025e0

288.8166	1.013e0

288.9311	6.076e0

289.0060	2.025e0

289.1242	1.094e1

289.2159	3.021e0

289.2425	3.038e0

289.2822	1.013e0

289.3619	1.013e0

289.4042	1.013e0

289.5193	2.025e0

289.6106	1.013e0

289.6498	2.025e0

289.7121	3.038e0

289.7971	4.051e0

289.8960	2.025e0

289.9651	1.013e0

290.0468	3.038e0

290.1274	1.434e2

290.2033	1.615e0

290.2383	7.475e0

290.2815	2.905e0

290.3524	1.013e0

290.3884	3.038e0

290.4349	1.013e0

290.4666	1.013e0

290.5074	2.025e0

290.5890	2.025e0

290.6345	2.025e0

290.6951	2.025e0

290.7586	2.025e0

290.8022	1.013e0

290.8695	1.013e0

290.9789	2.025e0

291.0297	5.063e0

291.1281	3.697e1

291.2548	2.025e0

291.2881	2.025e0

291.3139	1.013e0

291.3990	1.013e0

291.4309	1.013e0

291.4779	1.013e0

291.6240	2.025e0

291.6637	1.013e0

291.7184	1.013e0

291.7983	1.013e0

291.8245	2.025e0

291.8772	2.025e0

291.9267	2.025e0

291.9984	5.063e0

292.2462	2.662e0

292.2874	3.038e0

292.3478	1.013e0

292.3992	2.025e0

292.4431	5.063e0

292.4982	1.013e0

292.5873	2.025e0

292.6900	2.025e0

292.8821	2.025e0

292.9254	1.013e0

292.9920	6.962e0

293.0708	4.843e0

293.1934	3.148e0

293.2311	2.707e0

293.3647	3.038e0

293.4358	1.013e0

293.5130	2.025e0

293.5637	5.063e0

293.6179	1.013e0

293.7145	5.063e0

293.7644	1.013e0

293.8041	1.013e0

293.8358	1.013e0

293.8635	1.013e0

293.9537	3.155e0

294.0139	1.013e0

294.0655	2.025e0

294.1022	1.091e0

294.1549	1.089e1

294.2216	3.446e0

294.2957	3.038e0

294.4019	1.013e0

294.4569	1.013e0

294.5052	3.038e0

294.5953	4.051e0

294.6435	1.013e0

294.6812	2.025e0

294.7202	1.013e0

294.8022	1.013e0

294.8438	1.013e0

294.9763	1.013e0

295.0994	1.025e1

295.1471	2.756e1

295.2044	2.110e0

295.2523	2.043e0

295.3053	1.013e0

295.3662	2.025e0

295.3926	1.013e0

295.5214	2.025e0

295.5607	2.025e0

295.6186	8.101e0

295.6814	3.038e0

295.7254	2.025e0

295.8208	1.013e0

295.8905	2.025e0

295.9459	2.025e0

296.0438	5.063e0

296.0981	9.256e0

296.1545	9.345e0

296.2447	6.638e0

296.3690	1.013e0

296.4433	1.013e0

296.5426	1.013e0

296.5924	2.025e0

296.6715	3.038e0

296.7448	1.013e0

296.8482	2.025e0

296.8798	2.025e0

296.9234	1.013e0

296.9816	4.051e0

297.0147	2.025e0

297.0667	4.051e0

297.1372	2.474e0

297.2709	3.999e0

297.3124	2.025e0

297.4185	1.013e0

297.4669	2.025e0

297.5052	1.013e0

297.5507	1.013e0

297.6299	1.013e0

297.6516	1.013e0

297.7495	2.025e0

297.8105	2.025e0

297.8631	1.013e0

297.9140	4.051e0

297.9901	7.089e0

298.0227	3.038e0

298.0800	3.127e0

298.1523	1.088e1

298.1941	2.937e1

298.3407	4.051e0

298.3766	2.025e0

298.4442	1.013e0

298.5196	1.013e0

298.5420	1.013e0

298.6508	1.013e0

298.7759	1.013e0

298.8175	1.013e0

298.8575	2.025e0

298.8971	3.038e0

298.9547	4.051e0

299.0448	2.025e0

299.0723	1.612e0

299.1397	1.278e0

299.1963	1.057e1

299.2906	2.025e0

299.4138	1.013e0

299.4764	2.025e0

299.5292	1.013e0

299.5734	2.025e0

299.6461	3.038e0

299.6785	2.025e0

299.7040	2.025e0

299.7676	1.013e0

299.8563	2.025e0

299.9149	1.013e0

299.9731	2.025e0

300.0005	2.025e0

300.0404	1.013e0

300.2031	9.856e1

300.2661	4.828e0

300.3026	2.025e0

300.3362	2.025e0

300.4179	2.025e0

300.5235	1.013e0

300.6944	1.013e0

300.7426	2.025e0

300.7734	3.038e0

300.8610	3.038e0

300.9208	1.013e0

300.9532	1.013e0

301.0075	3.038e0

301.1124	4.071e1

301.2058	2.136e1

301.2817	5.063e0

301.3672	1.013e0

301.4664	5.063e0

301.5565	1.013e0

301.5980	1.023e0

301.6241	2.025e0

301.6991	1.013e0

301.7328	3.038e0

301.8138	3.038e0

301.8578	2.266e0

301.9022	1.013e0

301.9636	2.734e1

302.0500	2.025e0

302.1109	3.397e0

302.1958	6.156e0

302.2672	2.025e0

302.2991	1.013e0

302.3786	1.013e0

302.4508	2.025e0

302.5423	2.025e0

302.6253	2.025e0

302.7242	4.051e0

302.8039	1.013e0

302.8688	1.013e0

302.9119	2.025e0

302.9632	3.038e0

303.1149	3.627e1

303.2516	1.013e0

303.2893	2.025e0

303.3512	2.025e0

303.4747	1.013e0

303.5386	1.013e0

303.5865	1.013e0

303.6583	1.013e0

303.7101	1.013e0

303.7699	1.013e0

303.8256	2.025e0

303.8774	1.013e0

303.9491	4.051e0

303.9841	2.025e0

304.0251	1.013e0

304.1053	6.792e0

304.1362	9.887e0

304.1811	6.177e0

304.2080	3.683e0

304.2484	3.891e0

304.3034	4.253e1

304.4101	2.025e0

304.4469	2.025e0

304.4798	1.013e0

304.5527	3.038e0

304.6032	2.025e0

304.6395	2.025e0

304.6950	2.025e0

304.7512	3.038e0

304.8062	2.025e0

304.8905	3.038e0

304.9625	4.051e0

305.0187	1.013e0

305.0703	2.025e0

305.1345	5.357e1

305.1646	3.464e1

305.2626	1.013e0

305.3074	1.360e1

305.3700	1.013e0

305.4416	2.025e0

305.5117	2.025e0

305.5623	2.025e0

305.6066	1.013e0

305.6454	1.013e0

305.7048	3.038e0

305.7890	3.038e0

305.8474	3.038e0

305.9286	1.013e0

306.0658	4.620e0

306.1403	1.009e1

306.2099	2.025e0

306.2570	3.038e0

306.2968	3.038e0

306.3456	1.013e0

306.3884	1.013e0

306.4245	1.013e0

306.4680	1.013e0

306.5125	1.013e0

306.5515	2.025e0

306.5947	3.038e0

306.6572	1.013e0

306.7182	2.025e0

306.7798	1.013e0

306.8045	2.025e0

306.8601	2.025e0

306.9210	2.025e0

306.9707	3.038e0

307.0083	2.025e0

307.0776	2.965e0

307.1414	8.581e0

307.2390	1.013e0

307.2758	1.013e0

307.3504	3.038e0

307.4025	2.025e0

307.4437	1.013e0

307.5174	3.038e0

307.5756	1.013e0

307.6441	1.013e0

307.8172	1.013e0

307.9716	1.013e0

308.0473	2.025e0

308.1133	3.039e0

308.2758	2.025e0

308.3438	1.013e0

308.3933	2.025e0

308.4838	1.013e0

308.5218	2.025e0

308.5878	1.013e0

308.8888	5.063e0

308.9363	1.013e0

308.9886	3.038e0

309.0278	3.038e0

309.0681	1.013e0

309.1721	2.013e0

309.1985	1.184e0

309.3163	1.013e0

309.3524	1.013e0

309.3805	1.013e0

309.4745	2.025e0

309.5157	3.038e0

309.6209	2.025e0

309.7508	2.025e0

309.9424	2.025e0

310.0335	2.025e0

310.0733	1.013e0

310.1158	3.149e0

310.1697	3.483e0

310.3177	1.013e0

310.3756	2.025e0

310.4290	3.038e0

310.5034	1.013e0

310.5474	3.038e0

310.6063	1.013e0

310.6624	1.013e0

310.6931	2.025e0

310.7185	1.013e0

310.7794	1.013e0

310.8026	1.013e0

310.9162	2.025e0

310.9859	3.038e0

311.0612	1.013e0

311.0870	1.717e0

311.1445	1.266e1

311.1833	4.023e0

311.2247	1.307e0

311.2738	2.025e0

311.3242	4.051e0

311.3703	2.025e0

311.4561	1.013e0

311.4843	1.013e0

311.5352	1.013e0

311.5779	3.038e0

311.7892	1.013e0

311.8211	1.013e0

311.9134	2.025e0

312.0324	1.013e0

312.1700	4.385e0

312.2129	1.073e1

312.2875	3.038e0

312.3467	2.025e0

312.3729	2.025e0

312.4778	2.025e0

312.5153	1.013e0

312.5674	1.013e0

312.6255	2.025e0

312.6685	2.025e0

312.7739	1.013e0

312.8565	2.025e0

312.9247	2.025e0

313.0025	2.025e0

313.0459	1.013e0

313.1375	3.240e0

313.1985	2.335e0

313.2343	4.489e0

313.2820	2.025e0

313.3342	1.013e0

313.3704	1.013e0

313.4545	1.013e0

313.5169	1.013e0

313.5571	2.025e0

313.6021	1.013e0

313.6394	1.013e0

313.7384	1.013e0

313.7612	1.013e0

313.8082	1.013e0

313.8885	1.013e0

313.9286	2.025e0

313.9873	2.025e0

314.0397	1.013e0

314.1990	2.336e1

314.3223	1.013e0

314.4152	1.013e0

314.5367	2.025e0

314.5696	2.025e0

314.6658	1.013e0

314.7565	1.013e0

314.8064	2.025e0

314.8595	1.013e0

314.8932	1.013e0

314.9520	4.051e0

314.9973	2.025e0

315.0288	2.025e0

315.1046	4.390e0

315.1289	2.735e0

315.1900	1.338e1

315.3528	2.840e0

315.4203	2.174e0

315.5103	2.025e0

315.5485	3.038e0

315.6089	1.013e0

315.6435	2.025e0

315.6800	3.038e0

315.7738	1.013e0

315.9529	3.038e0

316.0487	3.038e0

316.1708	3.136e0

316.2061	8.460e0

316.3085	2.025e0

316.4668	2.025e0

316.5392	1.013e0

316.7148	3.038e0

316.8142	1.013e0

316.8522	1.013e0

316.9020	2.025e0

316.9750	2.025e0

317.0436	5.063e0

317.1299	5.517e0

317.1627	4.051e0

317.2165	1.684e0

317.2831	1.013e0

317.3153	1.013e0

317.4108	1.013e0

317.5142	1.013e0

317.6330	2.025e0

317.6859	1.013e0

317.7612	2.025e0

317.8646	2.025e0

318.0068	2.025e0

318.0685	2.142e0

318.1485	2.366e0

318.2010	1.152e0

318.3063	2.025e0

318.3992	2.025e0

318.4630	1.013e0

318.5589	2.025e0

318.6127	1.013e0

318.6530	1.013e0

318.7221	1.013e0

318.8202	2.025e0

318.9002	5.063e0

318.9454	4.051e0

318.9931	2.025e0

319.1116	5.063e0

319.1909	3.262e0

319.2879	2.025e0

319.3544	1.013e0

319.3826	1.013e0

319.4792	2.025e0

319.5263	4.051e0

319.5964	1.013e0

319.6488	1.013e0

319.6866	3.038e0

319.7375	2.025e0

319.7882	2.025e0

319.8533	1.013e0

319.8879	2.025e0

319.9474	1.013e0

319.9857	2.025e0

320.0507	4.051e0

320.1198	5.063e0

320.3186	1.013e0

320.3507	1.013e0

320.4518	1.013e0

320.5364	1.013e0

320.5766	1.013e0

320.6276	2.025e0

320.6878	3.038e0

320.7330	1.013e0

320.8131	2.025e0

320.8917	2.025e0

320.9890	3.131e0

321.0276	3.038e0

321.0583	3.038e0

321.1286	7.497e0

321.1653	3.717e0

321.2714	1.013e0

321.3076	1.013e0

321.3521	1.013e0

321.4853	1.013e0

321.5593	2.025e0

321.6300	2.025e0

321.6711	1.013e0

321.7661	2.025e0

321.8240	1.013e0

321.9443	2.025e0

322.0116	3.038e0

322.0711	2.025e0

322.1438	2.050e0

322.2046	3.895e0

322.2974	4.051e0

322.3708	1.013e0

322.5115	2.025e0

322.6248	2.025e0

322.7032	3.038e0

322.8127	2.025e0

323.0354	4.051e0

323.0663	2.025e0

323.1458	2.728e0

323.1955	2.623e0

323.2493	2.024e0

323.3152	2.025e0

323.3500	1.013e0

323.4529	2.025e0

323.4784	1.013e0

323.5467	1.013e0

323.5750	1.013e0

323.6179	3.038e0

323.6598	1.013e0

323.7237	1.013e0

323.7814	1.013e0

323.8461	3.038e0

323.9431	1.013e0

324.0688	4.051e0

324.1273	3.038e0

324.1953	6.848e0

324.2830	1.013e0

324.3154	1.013e0

324.3929	4.051e0

324.4814	4.051e0

324.5178	1.013e0

324.5948	2.025e0

324.6898	2.025e0

324.8092	1.013e0

324.9014	3.038e0

325.2078	5.904e0

325.2627	1.850e0

325.3007	2.025e0

325.3399	1.013e0

325.4258	3.038e0

325.5376	2.025e0

325.7333	1.013e0

325.8156	2.025e0

325.8863	1.013e0

325.9390	1.013e0

325.9894	3.038e0

326.0728	3.038e0

326.1645	1.374e0

326.2218	6.952e0

326.2671	4.051e0

326.3174	2.025e0

326.3758	4.658e1

326.4367	2.675e0

326.4979	1.013e0

326.5551	1.013e0

326.6120	1.013e0

326.6494	3.038e0

326.7335	2.025e0

326.8631	1.013e0

326.9213	5.063e0

326.9914	2.025e0

327.0302	4.051e0

327.1122	3.614e0

327.1739	5.585e1

327.2422	6.370e0

327.2755	2.470e0

327.3877	1.623e1

327.4450	1.864e0

327.4765	1.013e0

327.5445	1.013e0

327.6123	1.013e0

327.6846	2.025e0

327.7186	1.013e0

327.7954	1.013e0

327.8812	1.013e0

327.9461	6.076e0

327.9952	2.025e0

328.0685	3.038e0

328.1877	1.577e1

328.2629	3.876e0

328.3073	2.025e0

328.3571	1.013e0

328.4681	2.025e0

328.5170	1.013e0

328.5587	1.013e0

328.6035	2.025e0

328.6698	3.038e0

328.8391	1.013e0

328.9202	6.076e0

328.9675	4.051e0

329.0722	4.051e0

329.2234	4.246e0

329.3068	3.038e0

329.3586	1.013e0

329.4031	3.038e0

329.6264	2.025e0

329.6791	1.013e0

329.7650	1.013e0

329.8113	3.038e0

329.8573	1.013e0

329.9076	4.051e0

329.9493	5.063e0

329.9861	4.051e0

330.0453	4.051e0

330.1231	4.112e0

330.2277	3.975e0

330.2589	4.752e0

330.3092	1.013e0

330.3627	1.013e0

330.5497	2.025e0

330.6509	2.025e0

330.7607	1.013e0

330.7932	1.013e0

330.8297	2.025e0

330.9113	3.038e0

330.9635	4.051e0

331.0123	2.025e0

331.1429	1.346e0

331.1683	1.707e0

331.3636	2.025e0

331.4113	1.013e0

331.4412	1.013e0

331.4889	1.013e0

331.5595	2.025e0

331.6389	1.013e0

331.6978	1.013e0

331.7366	1.013e0

331.8210	2.025e0

331.9009	1.013e0

331.9314	2.025e0

332.0124	2.025e0

332.0919	1.889e0

332.1662	5.030e0

332.2870	1.557e0

332.3352	1.114e1

332.4091	1.013e0

332.4929	1.013e0

332.5647	1.013e0

332.6105	2.025e0

332.6425	1.013e0

332.6904	1.013e0

332.7438	2.025e0

332.8313	1.013e0

332.9020	3.038e0

332.9595	5.063e0

333.0279	2.025e0

333.0692	2.025e0

333.1417	7.441e0

333.2600	1.994e0

333.2906	3.038e0

333.3381	3.038e0

333.5513	2.025e0

333.6316	1.013e0

333.6825	2.025e0

333.7336	1.013e0

333.7965	1.013e0

333.8454	1.013e0

333.8838	1.013e0

333.9296	3.038e0

334.0003	1.013e0

334.0567	2.849e0

334.1152	3.779e0

334.1670	1.841e0

334.2229	2.070e0

334.2672	1.850e0

334.3018	2.025e0

334.3708	2.025e0

334.4339	3.038e0

334.4811	1.013e0

334.5419	3.038e0

334.6443	2.025e0

334.9053	1.777e0

334.9484	6.076e0

335.1162	1.657e0

335.2566	2.351e0

335.2884	1.013e0

335.3333	1.013e0

335.3714	3.038e0

335.4969	1.013e0

335.6061	4.051e0

335.7240	3.038e0

335.7987	1.013e0

335.9035	4.051e0

335.9735	3.038e0

336.0502	1.931e0

336.1050	3.494e0

336.1368	2.965e0

336.2323	1.989e0

336.3183	1.171e1

336.3900	2.025e0

336.4715	1.013e0

336.5410	1.013e0

336.7445	2.025e0

336.8192	3.038e0

336.8870	1.013e0

337.0264	1.013e0

337.1416	1.199e0

337.2163	5.044e0

337.2717	1.870e0

337.3129	4.051e0

337.3777	1.013e0

337.5112	1.013e0

337.6129	2.025e0

337.7296	1.013e0

337.7740	1.013e0

337.8889	4.051e0

337.9625	3.938e0

337.9916	3.038e0

338.0891	5.415e0

338.1520	5.585e0

338.2315	3.795e0

338.3129	2.025e0

338.3461	1.013e0

338.4341	1.013e0

338.4973	1.013e0

338.5423	1.013e0

338.5748	1.013e0

338.6485	1.013e0

338.7671	1.013e0

338.8202	1.013e0

338.9448	2.025e0

338.9756	1.013e0

339.1118	1.404e0

339.2178	4.857e0

339.3106	1.013e0

339.4021	1.013e0

339.4784	2.025e0

339.5645	2.025e0

339.6094	1.013e0

339.6765	2.025e0

339.7403	2.025e0

339.8600	4.051e0

339.9096	3.372e0

339.9633	2.025e0

340.0548	1.781e0

340.1026	4.330e0

340.1948	1.992e0

340.2823	2.025e0

340.3801	6.076e0

340.4318	1.013e0

340.5192	1.013e0

340.5587	3.038e0

340.6201	2.025e0

340.7267	1.013e0

340.7882	1.013e0

340.8313	2.025e0

340.8779	1.013e0

341.0392	1.013e0

341.0922	3.316e0

341.1234	2.832e0

341.2026	1.599e0

341.2478	4.462e0

341.3086	1.013e0

341.3783	3.038e0

341.4266	1.013e0

341.5169	1.013e0

341.5611	3.038e0

341.6191	1.013e0

341.6641	1.013e0

341.7037	2.025e0

341.7377	1.013e0

341.7745	1.013e0

341.9061	2.025e0

341.9351	3.038e0

341.9919	1.013e0

342.0361	3.038e0

342.1125	2.065e0

342.2328	5.208e0

342.2695	1.968e0

342.3607	2.025e0

342.4059	1.013e0

342.4344	2.025e0

342.4836	1.013e0

342.5289	1.013e0

342.5665	1.013e0

342.6208	2.025e0

342.7212	2.025e0

342.8124	1.013e0

342.9069	2.025e0

343.0175	2.025e0

343.0927	3.037e1

343.1937	5.304e0

343.2356	1.424e0

343.2874	3.038e0

343.3541	1.013e0

343.5346	2.025e0

343.6190	1.013e0

343.6669	3.038e0

343.7238	1.013e0

343.7484	1.013e0

343.9338	2.025e0

343.9712	3.038e0

344.0416	2.025e0

344.0940	6.677e0

344.2303	1.026e2

344.3408	1.013e0

344.4396	2.025e0

344.5296	2.025e0

344.6629	4.051e0

344.7174	5.063e0

344.7712	5.063e0

344.9156	1.485e1

344.9670	3.656e0

345.1337	4.928e0

345.2284	2.014e1

345.3266	1.013e0

345.3672	1.013e0

345.5096	1.013e0

345.5404	1.013e0

345.5935	1.013e0

345.6221	1.013e0

345.6880	1.013e0

345.7167	1.013e0

345.8358	1.013e0

345.9167	1.488e1

346.0086	2.025e0

346.2502	4.348e0

346.3247	1.013e0

346.4336	1.013e0

346.4726	1.013e0

346.5329	1.013e0

346.5672	1.013e0

346.6450	1.013e0

346.7472	3.038e0

346.7919	2.025e0

346.8551	1.013e0

346.9163	4.968e0

346.9865	1.013e0

347.0618	1.732e0

347.1073	2.361e0

347.1685	1.894e0

347.2213	4.265e0

347.3411	3.038e0

347.4220	1.013e0

347.6025	1.013e0

347.7059	3.038e0

347.8704	1.013e0

347.9205	6.663e0

347.9543	3.630e0

348.0266	1.013e0

348.0786	2.218e0

348.1551	3.490e0

348.1978	3.722e0

348.2354	2.260e0

348.2893	4.051e0

348.3617	3.038e0

348.4309	3.038e0

348.5308	2.025e0

348.6483	1.013e0

348.6939	1.013e0

348.7314	1.013e0

348.7876	1.013e0

348.8211	1.013e0

348.9186	2.774e0

349.0250	1.013e0

349.1848	2.652e1

349.2781	1.882e0

349.3600	2.025e0

349.3975	1.013e0

349.4554	3.038e0

349.4922	1.013e0

349.5703	1.013e0

349.6572	2.025e0

349.7144	1.013e0

349.7445	1.013e0

349.8524	2.025e0

349.8809	3.038e0

350.0482	1.013e0

350.1094	2.786e0

350.1888	3.549e0

350.2776	1.752e0

350.3524	1.013e0

350.3834	2.025e0

350.5087	3.038e0

350.6181	3.038e0

350.6748	2.025e0

350.7485	2.025e0

350.8984	1.013e0

350.9836	1.013e0

351.0560	2.775e0

351.1510	1.753e0

351.2848	3.914e0

351.3633	2.025e0

351.4125	1.013e0

351.4952	2.025e0

351.5815	1.013e0

351.6915	3.038e0

351.7360	2.025e0

351.8207	1.013e0

351.8542	1.013e0

351.9177	2.925e0

351.9979	2.829e0

352.0973	1.416e1

352.3140	1.013e0

352.3694	1.013e0

352.4023	1.013e0

352.4644	2.025e0

352.5132	3.038e0

352.5593	2.025e0

352.6041	1.013e0

352.9575	1.843e0

353.0133	2.081e0

353.0568	1.894e0

353.0971	2.864e0

353.2410	3.485e0

353.2923	1.013e0

353.3372	2.025e0

353.4466	1.013e0

353.4961	1.013e0

353.5405	4.393e0

353.7602	1.013e0

353.8058	1.013e0

353.8426	2.025e0

353.8804	2.025e0

353.9321	1.694e0

353.9810	2.872e0

354.0573	3.787e0

354.1251	5.591e0

354.1768	4.496e0

354.2360	1.603e0

354.2994	3.038e0

354.3320	2.025e0

354.3870	1.013e0

354.4813	2.025e0

354.5454	1.013e0

354.6758	4.051e0

354.7256	2.025e0

354.7652	3.038e0

354.8574	2.025e0

354.8956	3.038e0

354.9707	4.182e0

355.0496	6.076e0

355.1829	1.202e1

355.2923	3.993e0

355.3640	1.013e0

355.4022	1.013e0

355.5098	2.025e0

355.5757	2.025e0

355.6493	1.013e0

355.7275	1.013e0

355.8225	1.013e0

355.9337	4.789e0

356.0026	3.038e0

356.0464	3.995e0

356.0792	4.518e0

356.2258	3.444e0

356.2676	1.948e0

356.3526	2.025e0

356.5053	1.013e0

356.5410	1.013e0

356.6230	2.025e0

356.6620	1.013e0

356.7202	1.013e0

356.8075	1.013e0

356.8818	1.013e0

356.9324	1.906e0

357.0204	1.959e0

357.0878	6.088e0

357.1558	2.579e0

357.2281	2.560e0

357.2869	6.542e0

357.3993	1.013e0

357.4442	2.025e0

357.5575	2.025e0

357.6145	1.013e0

357.6786	3.038e0

357.7216	2.025e0

357.8264	3.038e0

357.9128	6.076e0

357.9530	5.966e0

358.0363	2.181e1

358.1082	1.874e0

358.1772	4.230e0

358.2313	1.391e0

358.2794	1.974e0

358.3434	1.013e0

358.3994	1.013e0

358.4250	1.013e0

358.5108	3.038e0

358.5859	2.025e0

358.6459	1.013e0

358.7456	2.025e0

358.7780	2.025e0

358.9246	3.038e0

358.9601	5.063e0

359.0288	2.645e0

359.1132	1.806e0

359.2276	1.171e0

359.3420	2.025e0

359.4531	5.063e0

359.5245	2.025e0

359.5789	1.013e0

359.6389	2.025e0

359.7362	2.025e0

359.7980	1.013e0

359.8438	1.013e0

359.8816	2.025e0

359.9635	2.025e0

360.0142	5.743e0

360.0770	1.071e0

360.2193	5.516e0

360.3437	1.013e0

360.3997	1.013e0

360.5448	1.013e0

360.5864	1.013e0

360.6730	3.038e0

360.7423	4.051e0

360.7943	1.013e0

360.8567	3.038e0

360.9063	4.051e0

361.0270	2.499e0

361.1099	1.247e0

361.1903	6.426e0

361.2200	9.161e0

361.3172	4.051e0

361.5561	3.038e0

361.6364	1.013e0

361.7227	1.013e0

361.8232	1.013e0

361.8938	1.013e0

361.9551	1.013e0

362.0284	2.419e0

362.0662	1.201e0

362.1535	2.829e0

362.2088	1.376e1

362.3197	3.038e0

362.4462	1.013e0

362.4753	1.013e0

362.5954	1.013e0

362.6412	1.013e0

362.6806	4.051e0

362.7328	1.013e0

362.7840	4.051e0

362.8538	2.025e0

362.9194	6.076e0

362.9967	2.025e0

363.0939	5.789e0

363.1611	2.207e0

363.2855	1.615e0

363.3288	3.038e0

363.4409	3.038e0

363.5393	1.013e0

363.6183	1.013e0

363.6508	1.013e0

363.7351	1.013e0

363.8058	2.025e0

363.8972	3.574e0

363.9330	4.527e0

363.9813	3.038e0

364.0928	2.519e0

364.3379	8.101e0

364.3979	2.025e0

364.4715	2.025e0

364.5705	2.025e0

364.6678	2.025e0

364.7815	3.038e0

364.8264	2.025e0

364.9134	3.038e0

364.9741	1.013e0

365.0620	1.609e0

365.0939	3.555e0

365.1274	3.512e0

365.2105	1.847e1

365.2613	2.767e0

365.2986	2.025e0

365.3862	1.013e0

365.5105	1.013e0

365.6235	2.025e0

365.6860	1.013e0

365.8045	2.025e0

365.8881	1.013e0

365.9304	3.038e0

365.9748	2.025e0

366.0745	4.621e0

366.1244	3.439e0

366.1740	1.375e0

366.2241	2.774e0

366.3351	3.038e0

366.4060	1.013e0

366.4428	1.013e0

366.5330	2.025e0

366.5883	4.051e0

366.6664	2.025e0

366.8022	1.013e0

366.9310	1.013e0

366.9721	1.013e0

367.0675	7.345e0

367.1395	1.379e1

367.2062	6.582e0

367.2607	3.866e0

367.3652	3.038e0

367.4141	4.051e0

367.5060	2.025e0

367.5552	2.025e0

367.6335	1.519e1

367.7393	3.038e0

367.7845	2.025e0

367.8362	1.013e0

367.8821	1.013e0

367.9280	1.013e0

368.0712	9.441e1

368.1447	5.160e0

368.2264	3.805e0

368.2727	1.783e0

368.3477	1.013e0

368.4267	7.089e0

368.4785	3.038e0

368.5245	1.805e0

368.5647	1.013e0

368.6362	3.038e0

368.7725	2.025e0

368.8467	1.013e0

368.9349	3.038e0

369.0199	2.883e0

369.0769	3.537e1

369.1576	2.596e0

369.2039	4.243e0

369.2502	5.303e0

369.3348	5.063e0

369.3906	4.051e0

369.4428	3.038e0

369.4890	2.025e0

369.5765	1.013e0

369.6404	2.025e0

369.7084	2.483e0

369.7594	5.034e0

369.8716	2.025e0

369.9308	6.076e0

370.0489	1.395e1

370.1086	7.757e0

370.1796	2.456e0

370.2235	6.300e0

370.3094	5.063e0

370.3983	4.051e0

370.4766	1.013e0

370.5139	2.025e0

370.5790	2.025e0

370.6546	4.051e0

370.7629	1.013e0

370.8134	2.025e0

370.9153	3.038e0

370.9682	3.038e0

371.0076	3.038e0

371.0787	3.277e0

371.1745	3.443e0

371.2601	4.237e0

371.3209	3.038e0

371.3708	6.349e0

371.4719	2.025e0

371.5461	1.013e0

371.6148	4.051e0

371.6629	1.013e0

371.9413	2.025e0

372.0444	1.016e2

372.1255	5.453e0

372.2051	3.327e0

372.2507	6.788e0

372.3542	1.722e1

372.4178	2.025e0

372.4626	1.013e0

372.5090	1.013e0

372.5820	1.013e0

372.6624	2.025e0

372.6947	2.025e0

372.8781	5.063e0

372.9405	2.025e0

373.0449	2.389e1

373.1941	1.895e0

373.2502	7.275e0

373.3499	4.231e0

373.5342	5.063e0

373.6131	3.038e0

373.6484	3.038e0

373.7208	3.038e0

373.7670	2.025e0

373.8502	1.013e0

373.9100	8.283e0

374.0005	2.025e0

374.0593	6.778e0

374.1462	2.256e0

374.1819	2.101e0

374.3115	4.909e0

374.3692	1.013e0

374.4869	1.013e0

374.5207	2.025e0

374.5623	1.013e0

374.6336	2.025e0

374.6958	1.013e0

374.7629	1.013e0

374.8355	1.013e0

374.8759	1.013e0

374.9346	3.038e0

374.9875	2.025e0

375.0522	3.792e0

375.1689	2.395e0

375.2259	2.345e0

375.3051	4.293e0

375.3896	2.025e0

375.4883	2.025e0

375.5380	2.025e0

375.7519	1.013e0

375.7939	1.013e0

375.8680	2.025e0

375.9067	2.025e0

376.0037	1.013e0

376.0602	3.977e0

376.1466	1.756e0

376.3301	3.038e0

376.4116	1.013e0

376.5254	1.013e0

376.5906	2.025e0

376.6593	1.013e0

376.7999	1.013e0

376.9032	2.025e0

376.9593	6.076e0

377.0187	3.893e0

377.1135	4.922e0

377.1792	1.906e0

377.3452	1.013e0

377.6245	1.013e0

377.6808	1.013e0

377.8033	3.038e0

377.8810	3.038e0

377.9836	3.038e0

378.0661	2.025e0

378.1277	1.925e0

378.1841	1.264e0

378.3820	3.038e0

378.4305	1.013e0

378.5854	3.038e0

378.7130	1.013e0

378.7553	1.013e0

378.8013	1.013e0

378.9213	2.025e0

379.0027	1.013e0

379.0563	1.013e0

379.1172	2.025e0

379.1687	3.038e0

379.4865	1.013e0

379.5954	2.025e0

379.6496	1.013e0

379.6830	1.013e0

379.7391	3.038e0

379.8498	2.025e0

379.9147	1.013e0

379.9508	2.025e0

379.9933	1.013e0

380.0369	2.025e0

380.1283	2.025e0

380.1808	8.527e0

380.2450	4.547e0

380.3366	5.063e0

380.4593	1.013e0

380.5694	3.038e0

380.6064	2.025e0

380.7431	1.013e0

380.9096	2.025e0

380.9644	2.025e0

381.0319	2.025e0

381.1162	7.089e0

381.1746	1.731e0

381.2188	2.284e0

381.3413	6.076e0

381.4536	1.013e0

381.5587	1.013e0

381.6365	1.013e0

381.6902	2.025e0

381.8612	6.076e0

381.9628	2.025e0

382.0343	2.025e0

382.1387	6.076e0

382.2318	6.886e0

382.2919	1.512e0

382.4030	3.038e0

382.5579	2.025e0

382.6374	3.038e0

382.7194	2.025e0

382.7752	1.013e0

382.8453	3.038e0

382.9369	4.656e0

383.0193	1.013e0

383.1024	4.285e0

383.1860	7.686e0

383.2444	5.896e0

383.3609	1.013e0

383.4115	3.038e0

383.5475	2.025e0

383.6255	3.038e0

383.6944	1.013e0

383.7625	1.013e0

383.8033	1.013e0

383.8537	3.134e0

383.9498	3.038e0

383.9922	1.013e0

384.1057	2.025e0

384.2024	3.134e0

384.3047	8.314e0

384.3480	1.961e0

384.4345	1.013e0

384.5190	1.013e0

384.5654	1.013e0

384.6327	1.013e0

384.6964	1.013e0

384.7827	2.025e0

384.8704	6.076e0

384.9617	1.013e0

385.0157	3.246e0

385.0718	3.038e0

385.1042	3.038e0

385.1771	2.780e0

385.2994	8.760e0

385.3586	5.063e0

385.4473	2.025e0

385.5496	2.025e0

385.6275	1.013e0

385.7008	1.013e0

385.8600	3.038e0

385.9800	2.025e0

386.0999	2.025e0

386.1799	2.798e0

386.2329	6.117e0

386.2961	7.476e0

386.3743	1.013e0

386.4272	2.025e0

386.4589	1.013e0

386.5301	1.013e0

386.7115	2.025e0

386.7556	1.013e0

386.8344	1.013e0

386.9255	3.038e0

386.9918	2.025e0

387.1036	4.051e0

387.1812	4.707e0

387.2287	4.414e0

387.3330	3.038e0

387.5349	2.025e0

387.5861	1.013e0

387.6342	1.013e0

387.7624	2.025e0

387.8718	2.025e0

387.9252	3.291e0

387.9723	2.025e0

388.0293	4.292e0

388.0737	2.025e0

388.1426	3.038e0

388.2566	6.254e1

388.3814	3.038e0

388.5560	1.013e0

388.6042	1.013e0

388.6455	1.013e0

388.6926	3.038e0

388.8336	3.038e0

388.9203	5.063e0

389.0879	2.025e0

389.1363	1.998e0

389.2125	5.119e0

389.2607	2.117e1

389.3415	2.025e0

389.4369	1.013e0

389.4997	2.025e0

389.5507	1.013e0

389.6179	1.013e0

389.6584	2.025e0

389.7030	1.013e0

389.8043	3.038e0

389.9034	3.038e0

389.9908	1.013e0

390.0803	2.025e0

390.2241	1.063e0

390.3902	2.025e0

390.5532	1.013e0

390.6168	1.013e0

390.7055	1.013e0

390.7585	1.013e0

390.8415	1.013e0

390.8753	1.013e0

390.9693	3.038e0

391.0424	1.013e0

391.0943	2.025e0

391.1472	4.051e0

391.2100	3.152e0

391.2838	4.330e1

391.5273	1.013e0

391.7545	3.038e0

391.8188	4.051e0

391.8977	3.038e0

391.9578	2.025e0

391.9923	1.013e0

392.0409	1.013e0

392.1300	1.998e0

392.2865	1.446e1

392.3604	2.025e0

392.5201	4.051e0

392.5996	2.025e0

392.6385	2.025e0

392.7635	1.013e0

392.8354	1.013e0

392.9096	1.013e0

393.0124	3.038e0

393.1153	1.056e1

393.1519	1.399e1

393.2152	7.974e0

393.3412	2.025e0

393.5153	1.013e0

393.5602	2.025e0

393.6058	1.013e0

393.7173	1.013e0

393.9077	2.025e0

393.9860	2.025e0

394.0695	2.025e0

394.1128	3.038e0

394.1668	2.025e0

394.2782	2.693e0

394.3559	4.384e0

394.4428	1.013e0

394.4847	1.013e0

394.5370	2.025e0

394.5964	2.025e0

394.6912	3.038e0

394.8026	2.025e0

394.8618	1.013e0

394.9257	3.038e0

394.9807	1.013e0

395.0335	4.051e0

395.1141	2.698e0

395.1616	3.038e0

395.2311	2.649e0

395.2948	1.885e0

395.3916	3.038e0

395.5583	1.013e0

395.6240	2.025e0

395.6925	2.025e0

395.7322	1.013e0

395.8137	4.051e0

395.9006	3.038e0

395.9739	3.038e0

396.0231	2.202e0

396.0912	3.038e0

396.1898	4.503e0

396.2848	3.038e0

396.3353	2.025e0

396.4048	3.038e0

396.4560	2.025e0

396.5521	3.038e0

396.6261	2.025e0

396.6669	2.025e0

396.7597	1.013e0

396.9045	2.025e0

397.0081	5.063e0

397.1080	4.051e0

397.1617	1.970e0

397.2042	3.275e0

397.2746	6.076e0

397.3865	3.038e0

397.5324	1.013e0

397.7029	2.025e0

397.7693	2.025e0

397.8138	1.013e0

397.9042	3.038e0

397.9922	1.013e0

398.0249	1.013e0

398.1020	1.620e1