Elemental Composition Report

Single Mass Analysis

Tolerance = 15.0 PPM   /   DBE: min = -15.0, max = 100.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

876 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 19-19    H: 0-150    N: 0-10    O: 0-10    Na: 0-1    S: 0-1    56Fe: 0-1

Minimum:   	               	         	         	-15.0

Maximum:   	               	5.0      	15.0     	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	Formula

311.1747   	311.1760       	-1.3     	-4.2     	9.5      	5.9        	C19  H23  N2  O2

REPORT MASSES AS +/-5mDa, referenced against

Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

ANALYSIS RUN USING:  WATERS LCT PREMIER (ESI POSITIVE/ESI NEGATIVE)

147.7692	5.063e-2

147.8169	2.532e-2

147.8622	1.266e-2

147.8835	2.038e0

147.9544	2.051e0

148.0288	2.532e-2

148.0789	2.843e-1

148.1149	6.100e1

148.2227	2.025e0

148.2404	1.013e0

148.2794	1.013e0

148.3052	1.013e0

148.3407	1.013e0

148.4002	3.038e0

148.4363	1.988e0

148.4604	1.266e-2

148.5009	1.025e0

148.5579	1.013e0

148.6516	2.691e0

148.6815	2.051e0

148.7066	1.266e-2

148.7388	1.266e-2

148.7570	2.025e0

148.7843	2.532e-2

148.8619	3.585e0

148.8852	1.266e-2

148.9496	2.025e0

148.9674	4.063e0

149.0280	8.849e0

149.0501	2.383e0

149.1063	2.470e0

149.1223	7.624e0

149.1638	1.013e0

149.2027	2.025e0

149.2738	1.025e0

149.3004	1.013e0

149.3815	1.013e0

149.4006	3.038e0

149.4204	1.266e-2

149.4443	2.532e-2

149.4983	1.266e-2

149.5324	5.063e0

149.5694	1.013e0

149.5993	2.038e0

149.6250	1.013e0

149.7095	1.013e0

149.7351	1.013e0

149.7807	2.031e0

149.8106	1.038e0

149.8330	3.798e-2

149.8736	2.025e0

149.9376	1.013e0

149.9715	4.051e0

150.0370	2.060e0

150.0971	2.984e0

150.1432	1.084e0

150.2576	4.051e0

150.3083	2.025e0

150.3295	2.025e0

150.3539	1.013e0

150.4158	1.013e0

150.4353	2.532e-2

150.4520	1.266e-2

150.4910	1.266e-2

150.5183	2.025e0

150.5824	1.013e0

150.6047	1.013e0

150.6961	3.038e0

150.7418	2.025e0

150.7894	3.038e0

150.8366	1.013e0

150.9097	1.025e0

150.9470	1.013e0

150.9966	2.107e0

151.0461	1.228e1

151.1092	5.889e-1

151.1496	2.794e0

151.1925	2.532e-2

151.2438	3.063e0

151.2672	4.051e0

151.2961	3.038e0

151.3396	1.013e0

151.4421	6.329e-2

151.4996	1.013e0

151.5479	8.152e0

151.5880	1.013e0

151.6221	4.051e0

151.6887	3.038e0

151.7646	1.025e0

151.8088	4.051e0

151.8337	1.013e0

151.8512	2.532e-2

151.8910	3.038e0

151.9480	1.266e-2

151.9714	2.532e-2

152.0140	1.025e0

152.0295	2.025e0

152.0498	2.674e0

152.0678	5.415e-1

152.1065	8.433e-1

152.1215	7.436e0

152.1885	2.051e0

152.2924	1.013e0

152.4001	1.013e0

152.4392	2.025e0

152.5020	3.038e0

152.5470	3.038e0

152.5939	1.013e0

152.6336	1.051e0

152.6582	4.569e-2

152.6824	1.013e0

152.7484	2.025e0

152.7708	1.266e-2

152.8075	1.013e0

152.8403	2.532e-2

152.8729	1.013e0

152.8964	2.025e0

152.9353	4.051e0

152.9639	3.038e0

153.0074	1.266e-2

153.0569	2.440e0

153.1385	1.845e0

153.1740	2.532e-2

153.2015	1.013e0

153.2200	1.025e0

153.3664	1.013e0

153.3856	1.013e0

153.4978	2.025e0

153.5146	1.266e-2

153.5705	1.266e-2

153.6126	3.798e-2

153.6451	3.038e0

153.6896	2.038e0

153.7154	1.266e-2

153.7876	2.025e0

153.8898	1.266e-2

153.9130	1.266e-2

154.0118	1.051e0

154.0349	1.266e-2

154.1064	5.273e0

154.1375	1.087e1

154.2044	4.051e0

154.2194	4.051e0

154.2666	1.038e0

154.3582	3.038e0

154.3880	2.025e0

154.4639	3.038e0

154.4854	2.532e-2

154.5359	1.422e0

154.5595	1.013e0

154.5929	1.266e-2

154.6332	3.038e0

154.6572	1.025e0

154.6920	1.266e-2

154.7348	2.025e0

154.7757	3.038e0

154.8181	1.038e0

154.8603	1.025e0

154.8903	1.266e-2

154.9365	2.051e0

154.9691	2.025e0

155.0140	3.038e0

155.0323	1.013e0

155.1445	2.057e0

155.2115	1.266e-2

155.2442	3.038e0

155.3313	2.038e0

155.3605	2.025e0

155.4168	1.266e-2

155.4645	3.038e0

155.5108	3.038e0

155.5362	1.038e0

155.5692	1.013e0

155.6002	1.025e0

155.6286	1.266e-2

155.6482	1.013e0

155.6719	1.266e-2

155.6979	1.266e-2

155.7315	1.013e0

155.7441	1.013e0

155.8386	8.101e0

155.8672	2.025e0

155.8842	1.013e0

155.9102	2.532e-2

155.9393	1.025e0

155.9824	3.063e0

156.0821	1.001e1

156.1960	1.013e0

156.2272	2.025e0

156.2461	1.548e0

156.2854	1.013e0

156.3040	1.093e0

156.3778	3.038e0

156.4862	1.025e0

156.5048	2.025e0

156.5613	1.013e0

156.5832	1.799e0

156.6054	1.527e0

156.6281	2.025e0

156.6778	1.013e0

156.7361	1.025e0

156.7561	3.038e0

156.7894	1.025e0

156.8425	2.532e-2

156.8779	5.063e0

156.9473	2.025e0

156.9938	1.933e0

157.0389	1.080e2

157.1006	3.229e0

157.1704	1.266e-2

157.1967	3.038e0

157.2158	4.051e0

157.2804	2.025e0

157.3033	1.013e0

157.4005	3.038e0

157.4483	5.063e0

157.5158	3.038e0

157.5630	3.038e0

157.5865	1.013e0

157.6114	4.447e0

157.6413	1.748e0

157.6637	1.013e0

157.6873	1.013e0

157.7357	2.532e-2

157.7567	1.266e-2

157.7771	2.025e0

157.7986	2.038e0

157.8134	1.042e0

157.8339	1.266e-2

157.8839	1.013e0

157.9174	1.266e-2

157.9559	2.532e-2

158.0145	7.933e-1

158.0339	4.717e0

158.0971	6.798e-1

158.1171	1.732e0

158.1541	1.013e0

158.1977	1.745e0

158.2518	2.025e0

158.2694	2.025e0

158.3086	1.013e0

158.3632	3.038e0

158.4221	3.038e0

158.4526	2.038e0

158.5188	1.013e0

158.5540	2.025e0

158.5893	1.013e0

158.6274	2.025e0

158.6630	5.063e0

158.6928	1.266e-2

158.7211	3.038e0

158.7497	1.013e0

158.7819	2.025e0

158.8177	2.038e0

158.8658	2.038e0

158.9266	5.063e0

158.9642	1.266e-2

158.9841	1.266e-2

159.0336	1.144e1

159.0528	5.154e0

159.0921	5.913e0

159.1161	2.428e0

159.1499	1.698e0

159.1736	2.025e0

159.2322	1.025e0

159.2657	2.025e0

159.2824	1.013e0

159.3358	2.025e0

159.3560	2.051e0

159.3801	1.013e0

159.5219	5.609e0

159.5468	1.038e0

159.5843	2.025e0

159.6134	5.076e0

159.6524	3.051e0

159.7222	1.013e0

159.7715	3.038e0

159.8020	3.798e-2

159.8344	2.038e0

159.9095	3.038e0

159.9402	1.266e-2

159.9693	3.798e-2

160.0279	1.266e-2

160.0567	1.037e0

160.1186	3.396e0

160.1539	1.782e0

160.1827	2.025e0

160.2076	2.532e-2

160.2406	3.051e0

160.2595	1.013e0

160.2955	2.025e0

160.3133	2.025e0

160.3578	2.532e-2

160.3977	2.025e0

160.4250	3.038e0

160.4420	1.786e0

160.4651	1.266e-2

160.4856	1.013e0

160.5427	2.025e0

160.5667	3.038e0

160.5964	1.266e-2

160.6267	1.266e-2

160.6553	2.025e0

160.7210	1.013e0

160.7382	2.025e0

160.7643	1.025e0

160.8125	2.025e0

160.8610	2.025e0

160.8802	4.051e0

160.9302	1.013e0

160.9656	3.038e0

161.0077	1.013e0

161.0355	4.051e0

161.1295	3.144e0

161.1675	2.038e0

161.1929	6.076e0

161.2160	2.025e0

161.2522	2.532e-2

161.2708	1.025e0

161.3009	1.013e0

161.3332	2.025e0

161.4153	1.013e0

161.4291	1.013e0

161.4601	2.025e0

161.5018	2.532e-2

161.5275	1.266e-2

161.5494	4.063e0

161.6015	1.013e0

161.6690	1.266e-2

161.7061	2.025e0

161.7581	3.038e0

161.7824	2.025e0

161.8147	3.038e0

161.8717	1.013e0

161.9021	1.013e0

161.9292	2.707e0

161.9835	3.076e0

162.0374	1.025e0

162.0590	9.179e-1

162.0819	3.898e0

162.1063	1.938e0

162.1505	5.526e0

162.1864	1.013e0

162.2099	2.025e0

162.2646	2.038e0

162.3303	4.051e0

162.3915	6.282e0

162.4187	5.856e0

162.4556	3.038e0

162.4755	2.038e0

162.5008	1.025e0

162.5232	2.025e0

162.5520	1.013e0

162.5666	2.025e0

162.6047	2.532e-2

162.6231	1.013e0

162.6552	2.025e0

162.6856	4.051e0

162.7144	1.013e0

162.7315	1.013e0

162.7653	1.013e0

162.8012	6.076e0

162.8951	9.114e0

162.9241	7.594e0

162.9492	2.806e0

162.9941	6.076e0

163.0260	5.076e0

163.0549	6.969e0

163.1196	1.825e3

163.2198	1.359e1

163.2736	1.861e2

163.3357	7.101e0

163.3619	4.790e0

163.3914	2.063e0

163.4237	2.624e0

163.4689	8.029e0

163.5038	5.804e0

163.5317	1.073e1

163.5755	3.038e0

163.5926	4.793e0

163.6098	6.775e0

163.6565	8.101e0

163.6787	5.851e0

163.6953	2.952e0

163.7399	3.051e0

163.7642	6.076e0

163.7894	3.063e0

163.8096	3.038e0

163.8463	2.853e0

163.8805	6.376e0

163.9155	4.063e0

163.9437	3.038e0

163.9595	3.316e0

163.9841	3.038e0

164.0212	3.559e0

164.0721	2.710e0

164.1115	2.759e2

164.1275	3.905e2

164.1929	5.644e0

164.2160	3.038e0

164.2397	2.051e0

164.2587	2.025e0

164.2844	1.266e-2

164.3181	1.266e-2

164.3353	1.013e0

164.4409	2.532e-2

164.4829	4.456e0

164.5066	3.051e0

164.5292	7.601e-1

164.5567	1.266e-2

164.5901	3.038e0

164.6273	5.076e0

164.6683	6.329e-2

164.7184	5.497e0

164.7679	2.038e0

164.8059	2.038e0

164.8625	2.404e0

164.9012	4.051e0

164.9213	1.013e0

164.9642	4.706e0

164.9844	6.724e0

165.0090	4.063e0

165.0805	7.089e0

165.1137	2.678e1

165.1303	4.159e1

165.1777	2.025e0

165.1992	3.051e0

165.2379	3.038e0

165.2641	3.038e0

165.2894	4.844e0

165.3279	1.013e0

165.3721	3.880e0

165.4486	3.866e0

165.5127	1.013e0

165.5363	1.013e0

165.5636	3.038e0

165.5931	1.025e0

165.6249	2.025e0

165.6457	1.266e-2

165.6770	2.025e0

165.7172	1.063e0

165.7382	3.038e0

165.7725	1.013e0

165.7943	2.025e0

165.8147	1.393e0

165.8440	3.765e0

165.8886	1.013e0

165.9160	2.051e0

165.9611	2.649e0

166.0083	7.089e0

166.0354	9.009e-2

166.0633	1.013e0

166.0951	4.809e0

166.1201	1.001e1

166.1447	6.441e0

166.1783	3.051e0

166.2207	1.013e0

166.2450	1.013e0

166.2721	1.013e0

166.3059	3.051e0

166.3356	2.038e0

166.3973	2.025e0

166.4270	2.025e0

166.4674	1.013e0

166.4917	1.013e0

166.5239	3.871e0

166.5514	2.025e0

166.5809	2.025e0

166.7072	1.013e0

166.7316	1.013e0

166.7615	7.089e0

166.8040	6.041e-1

166.9032	1.013e0

166.9275	1.266e-2

166.9446	1.266e-2

166.9838	1.025e0

167.0468	1.025e0

167.0634	3.220e0

167.0853	2.025e0

167.1006	1.475e0

167.1798	1.025e0

167.1972	1.025e0

167.2189	1.266e-2

167.2383	6.223e-1

167.2587	2.532e-2

167.3541	2.267e0

167.4427	2.025e0

167.4769	2.025e0

167.5017	2.038e0

167.5531	1.013e0

167.5797	1.013e0

167.6088	3.038e0

167.6426	2.025e0

167.6787	3.798e-2

167.7092	2.025e0

167.7285	1.013e0

167.7566	2.025e0

167.8899	1.266e-2

167.9244	1.013e0

167.9611	1.038e0

168.0004	1.266e-2

168.0250	3.860e0

168.0481	1.266e-2

168.0823	4.051e0

168.1130	6.535e0

168.1473	3.945e0

168.1983	3.038e0

168.2411	1.013e0

168.2655	1.013e0

168.3024	1.051e0

168.3481	1.013e0

168.3691	2.025e0

168.4012	2.025e0

168.4395	4.051e0

168.4779	1.025e0

168.5273	2.025e0

168.5482	1.013e0

168.5791	3.038e0

168.6493	3.038e0

168.7206	1.013e0

168.7486	2.025e0

168.7655	2.025e0

168.8103	2.532e-2

168.8903	3.038e0

168.9104	1.013e0

168.9639	2.038e0

169.0281	1.266e-2

169.0481	2.038e0

169.0937	2.566e0

169.1130	1.379e0

169.1413	2.514e0

169.2180	2.025e0

169.2459	1.013e0

169.2659	1.266e-2

169.2921	1.051e0

169.3461	2.025e0

169.4446	2.025e0

169.4839	5.063e-2

169.5330	2.025e0

169.5567	1.038e0

169.6846	1.025e0

169.7231	1.013e0

169.7608	1.266e-2

169.8009	3.038e0

169.8871	2.025e0

169.9274	1.266e-2

169.9568	2.025e0

169.9981	2.025e0

170.0329	3.038e0

170.0682	4.051e0

170.0933	2.025e0

170.2305	2.025e0

170.2768	3.038e0

170.3339	3.038e0

170.3879	1.013e0

170.4193	1.013e0

170.4819	1.266e-2

170.4987	1.013e0

170.5760	1.266e-2

170.6029	1.013e0

170.6203	2.532e-2

170.6625	1.013e0

170.6903	1.266e-2

170.7630	1.013e0

170.8081	1.266e-2

170.8812	1.013e0

170.9243	2.025e0

171.0303	1.013e0

171.0438	1.266e-2

171.0861	2.025e0

171.1125	1.719e0

171.1538	2.922e0

171.1771	3.798e-2

171.2078	1.013e0

171.2910	1.013e0

171.3165	3.038e0

171.4156	1.427e0

171.4696	3.038e0

171.5801	1.013e0

171.5954	2.025e0

171.7153	1.013e0

171.7689	4.051e0

171.7996	3.051e0

171.8302	1.013e0

171.8600	2.025e0

171.8846	1.051e0

171.9250	1.013e0

171.9802	1.266e-2

172.0083	1.266e-2

172.0671	1.266e-2

172.0895	4.648e0

172.1241	1.938e0

172.1557	4.513e0

172.1818	4.051e0

172.2155	1.025e0

172.2491	2.314e0

172.2774	3.051e0

172.3781	2.532e-2

172.5037	1.013e0

172.5871	1.025e0

172.6100	2.532e-2

172.6492	1.038e0

172.7339	1.025e0

172.7617	2.038e0

172.8245	2.038e0

172.8526	1.266e-2

172.8862	2.025e0

172.9100	2.532e-2

172.9537	3.038e0

173.0349	4.051e0

173.0740	3.659e0

173.1370	2.230e0

173.1738	1.013e0

173.1948	1.266e-2

173.2160	3.038e0

173.2531	2.025e0

173.2974	2.038e0

173.4191	3.038e0

173.4854	1.266e-2

173.5085	2.038e0

173.5468	2.532e-2

173.5707	1.063e0

173.6326	1.013e0

173.6628	2.025e0

173.7204	1.038e0

173.7374	2.025e0

173.7780	2.025e0

173.8352	1.013e0

173.8722	2.025e0

173.8972	3.038e0

173.9307	1.013e0

173.9894	1.266e-2

174.0328	3.038e0

174.0865	3.038e0

174.1305	2.389e0

174.1644	1.092e1

174.1898	2.025e0

174.2145	1.013e0

174.2487	1.266e-2

174.3018	1.266e-2

174.3284	2.025e0

174.3479	1.013e0

174.3996	2.025e0

174.5164	3.942e0

174.5560	1.025e0

174.5827	1.437e0

174.6161	3.038e0

174.6494	1.013e0

174.6893	1.025e0

174.7619	1.013e0

174.8072	2.025e0

174.8422	1.266e-2

174.8741	1.013e0

174.9203	1.025e0

174.9616	1.013e0

175.0040	1.013e0

175.0323	1.266e-2

175.1005	3.038e0

175.1200	2.402e0

175.1581	8.681e0

175.1906	2.025e0

175.2270	5.103e0

175.2450	1.025e0

175.2762	1.025e0

175.3206	2.025e0

175.3667	1.013e0

175.4473	1.063e0

175.5496	2.025e0

175.6090	1.013e0

175.6321	2.025e0

175.6640	2.025e0

175.7746	1.266e-2

175.8030	1.025e0

175.8906	1.013e0

175.9118	2.025e0

175.9669	2.025e0

175.9864	2.038e0

176.0102	3.051e0

176.0542	2.532e-2

176.1035	3.834e0

176.1202	1.497e0

176.1715	3.942e0

176.2064	2.025e0

176.2308	1.170e0

176.2527	4.051e0

176.2978	3.051e0

176.3144	1.025e0

176.3931	2.025e0

176.4909	1.013e0

176.5157	2.025e0

176.5538	3.798e-2

176.5785	1.013e0

176.6212	1.266e-2

176.6940	2.025e0

176.7229	3.038e0

176.7551	3.051e0

176.8132	3.038e0

176.8496	2.025e0

176.8895	2.025e0

176.9264	2.234e0

176.9763	2.025e0

177.1032	8.841e0

177.1391	2.402e0

177.2223	1.266e-2

177.2501	1.013e0

177.2710	1.013e0

177.3068	1.266e-2

177.4271	3.038e0

177.4514	1.013e0

177.5050	1.013e0

177.6287	1.013e0

177.6570	1.013e0

177.7007	2.038e0

177.7247	1.266e-2

177.7533	1.013e0

177.8026	1.013e0

177.8429	2.025e0

177.8643	2.025e0

177.9770	2.025e0

178.0432	1.013e0

178.0804	1.038e0

178.1112	3.228e0

178.1338	3.684e0

178.1548	3.456e0

178.2031	1.013e0

178.2417	2.025e0

178.2668	1.013e0

178.3489	1.013e0

178.5441	5.063e0

178.5799	1.013e0

178.6376	1.063e0

178.6857	1.013e0

178.7356	1.013e0

178.7803	1.025e0

178.7981	2.025e0

178.8646	1.025e0

178.9256	2.025e0

178.9452	1.013e0

179.0069	5.949e0

179.0501	2.025e0

179.0947	4.191e0

179.1242	1.262e1

179.2690	2.025e0

179.3155	3.038e0

179.3414	2.025e0

179.3980	2.063e0

179.4897	3.798e-2

179.5505	3.834e0

179.6283	2.532e-2

179.6533	1.013e0

179.7791	2.025e0

179.8203	1.013e0

179.8619	1.450e0

179.9119	3.038e0

179.9727	2.532e-2

179.9989	3.038e0

180.0216	2.025e0

180.0465	2.025e0

180.0743	4.051e0

180.1008	4.575e0

180.1379	2.774e0

180.1705	5.019e0

180.2873	1.013e0

180.3158	2.532e-2

180.3517	1.013e0

180.3840	1.266e-2

180.4693	6.076e0

180.5224	2.051e0

180.5637	2.025e0

180.5907	1.013e0

180.6123	2.025e0

180.6302	1.013e0

180.6697	2.038e0

180.6947	1.013e0

180.7235	1.013e0

180.7451	1.013e0

180.7736	1.025e0

180.8284	1.025e0

180.8466	3.051e0

180.8909	1.025e0

180.9160	1.013e0

180.9950	1.013e0

181.0115	2.277e0

181.0525	2.025e0

181.0738	2.025e0

181.1750	1.025e0

181.2236	2.025e0

181.2594	1.013e0

181.3712	2.051e0

181.4262	2.051e0

181.4520	1.266e-2

181.4701	1.013e0

181.4989	1.013e0

181.6008	3.051e0

181.6391	1.266e-2

181.6572	1.013e0

181.7283	1.266e-2

181.7585	2.025e0

181.7887	2.025e0

181.8374	2.025e0

181.8949	2.025e0

181.9147	1.013e0

181.9687	2.025e0

181.9896	8.012e-1

182.0093	3.798e-2

182.0313	1.025e0

182.0812	1.025e0

182.1252	1.599e-1

182.1615	2.410e0

182.1833	1.025e0

182.2140	3.038e0

182.2553	3.038e0

182.2769	2.025e0

182.3191	3.038e0

182.4433	2.025e0

182.5979	2.025e0

182.6302	3.038e0

182.6591	2.025e0

182.7042	1.266e-2

182.7403	1.013e0

182.7635	1.025e0

182.8188	1.266e-2

182.9082	1.266e-2

182.9299	1.025e0

182.9851	1.519e1

183.0309	1.013e0

183.0561	1.266e-2

183.0908	1.014e1

183.1591	1.809e0

183.2055	9.653e-2

183.2323	1.266e-2

183.2601	3.038e0

183.3242	3.038e0

183.3649	1.013e0

183.3985	4.051e0

183.4787	2.025e0

183.5165	1.013e0

183.5454	1.025e0

183.5942	2.532e-2

183.6189	2.038e0

183.6511	2.038e0

183.7217	2.025e0

183.7897	1.013e0

183.8456	2.532e-2

183.8654	1.013e0

183.9070	2.025e0

183.9269	1.013e0

183.9539	2.025e0

183.9811	1.266e-2

184.0479	2.025e0

184.0786	1.266e-2

184.1003	1.899e0

184.1563	5.204e-1

184.2014	1.013e0

184.2301	2.025e0

184.2561	4.051e0

184.3376	1.013e0

184.3808	5.063e0

184.5220	1.013e0

184.5678	3.038e0

184.6087	1.013e0

184.6485	1.266e-2

184.6720	2.025e0

184.7354	1.025e0

184.7775	4.247e0

184.8006	1.025e0

184.8403	2.025e0

184.8762	1.266e-2

184.9529	3.038e0

185.0130	3.038e0

185.0344	2.025e0

185.0899	2.038e0

185.1136	2.893e0

185.1757	1.013e0

185.2028	3.038e0

185.2699	1.266e-2

185.3079	2.025e0

185.3364	2.063e0

185.4329	1.013e0

185.4601	4.051e0

185.5217	2.532e-2

185.5489	2.025e0

185.6793	2.532e-2

185.7190	1.013e0

185.7551	1.013e0

185.7731	2.025e0

185.8111	1.025e0

185.8345	1.013e0

185.8706	1.013e0

185.9320	1.013e0

185.9537	1.013e0

185.9825	2.025e0

186.0224	1.013e0

186.0914	1.266e-2

186.1204	1.788e0

186.1531	2.840e0

186.1967	2.025e0

186.2330	1.013e0

186.2638	2.025e0

186.2838	1.266e-2

186.3237	1.013e0

186.3634	2.612e0

186.3815	5.634e0

186.4621	2.076e0

186.4980	1.038e0

186.5180	1.025e0

186.5997	2.025e0

186.6251	1.013e0

186.6723	2.532e-2

186.7014	1.038e0

186.7233	1.636e0

186.7641	3.038e0

186.8259	3.038e0

186.8523	3.702e0

186.8867	1.013e0

186.9140	2.025e0

186.9394	2.025e0

187.0066	1.013e0

187.0354	3.051e0

187.0731	5.063e0

187.1299	7.224e0

187.1697	2.949e0

187.1884	3.038e0

187.2648	1.025e0

187.3194	1.013e0

187.3696	1.038e0

187.4522	2.025e0

187.4977	2.025e0

187.5231	1.051e0

187.5705	4.860e0

187.6141	1.038e0

187.6505	1.013e0

187.6959	5.063e0

187.7306	1.025e0

187.7888	2.025e0

187.8107	2.025e0

187.8289	1.013e0

187.8949	3.277e0

187.9235	1.266e-2

187.9563	1.013e0

187.9964	1.013e0

188.0527	6.076e0

188.0892	1.025e0

188.1738	2.038e0

188.2058	2.025e0

188.2295	1.013e0

188.3115	2.532e-2

188.3406	1.025e0

188.3716	1.025e0

188.5849	2.532e-2

188.6195	1.013e0

188.6450	1.507e0

188.7070	1.266e-2

188.7398	1.266e-2

188.7763	1.038e0

188.8019	2.532e-2

188.8274	2.025e0

188.9067	3.038e0

188.9421	3.038e0

188.9679	1.025e0

188.9897	2.025e0

189.0255	2.335e0

189.1075	5.898e0

189.1300	1.580e0

189.1651	2.796e0

189.1922	1.266e-2

189.2215	2.025e0

189.2728	1.266e-2

189.3076	2.025e0

189.4396	2.025e0

189.4714	4.051e0

189.5029	5.172e0

189.5332	1.013e0

189.5619	1.038e0

189.5992	1.013e0

189.6248	2.025e0

189.6714	6.089e0

189.7379	3.798e-2

189.7637	4.051e0

189.7891	2.025e0

189.8439	3.038e0

189.8951	1.013e0

189.9390	3.038e0

189.9610	1.013e0

190.0305	3.063e0

190.0907	1.025e0

190.1159	1.771e0

190.1711	1.873e0

190.2060	1.013e0

190.2650	3.038e0

190.2823	1.038e0

190.3018	1.025e0

190.3533	2.532e-2

190.3992	2.025e0

190.5019	2.025e0

190.5824	2.025e0

190.6067	2.051e0

190.6447	1.025e0

190.7095	4.051e0

190.7588	2.038e0

190.7911	2.025e0

190.8137	2.895e-1

190.8368	1.013e0

190.9251	2.025e0

190.9472	1.013e0

191.0079	5.063e0

191.0738	4.051e0

191.1217	4.618e0

191.1572	2.593e0

191.2010	1.013e0

191.2303	2.038e0

191.2981	2.532e-2

191.3220	3.038e0

191.3816	2.038e0

191.4650	1.013e0

191.5279	1.013e0

191.5482	2.025e0

191.5835	1.013e0

191.6020	1.266e-2

191.6352	1.266e-2

191.6846	2.025e0

191.7194	1.266e-2

191.7524	1.025e0

191.8587	5.063e0

191.8844	6.076e0

191.9231	2.038e0

191.9579	2.025e0

191.9913	1.013e0

192.0540	5.145e0

192.0825	9.267e0

192.1354	4.351e0

192.1741	2.025e0

192.2108	2.025e0

192.2383	1.025e0

192.2567	1.013e0

192.3173	2.025e0

192.3540	1.025e0

192.3888	1.013e0

192.4594	2.025e0

192.5169	2.025e0

192.5595	2.038e0

192.5851	3.038e0

192.6135	3.038e0

192.6402	1.013e0

192.6935	1.025e0

192.7284	1.266e-2

192.7541	2.025e0

192.8166	2.025e0

192.8595	1.025e0

192.9060	1.013e0

192.9487	2.532e-2

192.9877	4.051e0

193.0350	1.013e0

193.0686	3.102e0

193.0977	5.853e0

193.1334	5.453e0

193.1857	1.013e0

193.2080	2.025e0

193.2417	1.038e0

193.2936	3.038e0

193.3528	1.013e0

193.4669	1.013e0

193.5202	2.025e0

193.5479	2.025e0

193.5738	2.025e0

193.6148	2.532e-2

193.6486	1.266e-2

193.7169	1.025e0

193.7665	1.025e0

193.8659	1.013e0

193.8954	1.013e0

193.9607	1.038e0

194.0221	2.076e0

194.1014	1.352e0

194.1491	6.322e0

194.1916	2.025e0

194.2362	1.013e0

194.3018	3.038e0

194.3627	1.013e0

194.3848	1.013e0

194.4291	2.025e0

194.4880	1.013e0

194.5502	1.038e0

194.6298	2.532e-2

194.6665	2.025e0

194.7133	4.051e0

194.7514	1.013e0

194.7698	2.025e0

194.8929	1.266e-2

194.9448	1.025e0

194.9789	3.038e0

195.0223	1.013e0

195.0494	5.063e0

195.1072	1.292e0

195.1430	2.679e-1

195.2050	4.321e0

195.2674	1.038e0

195.3080	2.025e0

195.3541	2.532e-2

195.3895	1.013e0

195.4196	1.013e0

195.4497	2.025e0

195.4978	5.786e0

195.5810	2.532e-2

195.6326	2.025e0

195.6608	1.013e0

195.7023	1.013e0

195.7442	2.038e0

195.7691	1.025e0

195.7876	1.266e-2

195.8874	3.038e0

195.9832	2.025e0

196.0219	3.798e-2

196.0878	1.858e0

196.1161	1.397e0

196.1670	6.219e-1

196.2119	1.013e0

196.2787	1.013e0

196.3101	2.051e0

196.4464	2.532e-2

196.4727	1.013e0

196.5422	3.038e0

196.5762	2.038e0

196.6433	1.025e0

196.6868	3.038e0

196.7148	1.013e0

196.7610	2.025e0

196.8073	1.025e0

196.8969	2.038e0

196.9328	2.025e0

197.0037	4.051e0

197.0345	5.063e0

197.1586	1.450e0

197.1879	4.051e0

197.2511	3.038e0

197.2920	2.038e0

197.3106	1.013e0

197.4043	7.961e-1

197.5587	4.156e0

197.6110	3.038e0

197.6424	2.038e0

197.6683	2.527e0

197.7101	1.266e-2

197.7478	1.025e0

197.8119	2.051e0

197.8452	1.266e-2

197.8971	2.025e0

197.9343	2.025e0

197.9608	1.013e0

197.9854	2.532e-2

198.0480	3.038e0

198.1549	4.529e0

198.1936	4.243e0

198.2546	4.051e0

198.2769	4.051e0

198.3534	1.013e0

198.3889	4.051e0

198.5556	2.025e0

198.6512	3.038e0

198.6792	2.025e0

198.7088	1.013e0

198.7450	4.051e0

198.7819	1.038e0

198.8127	1.025e0

198.8386	2.025e0

198.8832	2.025e0

198.9760	1.266e-2

199.0390	4.209e0

199.0621	5.871e0

199.1281	3.570e0

199.1824	4.854e0

199.2174	1.038e0

199.2529	2.762e0

199.3033	1.025e0

199.3433	2.532e-2

199.3704	3.038e0

199.4233	2.025e0

199.5235	1.013e0

199.5839	3.038e0

199.6427	3.038e0

199.7096	4.051e0

199.7483	1.038e0

199.8617	2.051e0

199.9211	1.013e0

199.9793	3.038e0

200.0141	4.181e0

200.0416	1.013e0

200.1131	2.818e2

200.2067	2.532e-2

200.2464	2.025e0

200.2842	3.038e0

200.3321	2.025e0

200.3732	3.169e0

200.4622	1.013e0

200.5072	3.038e0

200.5751	4.051e0

200.6203	1.013e0

200.6501	1.013e0

200.7542	3.038e0

200.7784	2.025e0

200.8411	4.063e0

200.9180	2.025e0

200.9664	2.038e0

201.0159	2.025e0

201.1146	2.447e1

201.2008	1.266e-2

201.2448	3.038e0

201.3226	2.025e0

201.3723	2.025e0

201.4032	3.038e0

201.4549	3.798e-2

201.4983	1.013e0

201.5512	2.532e-2

201.6203	1.025e0

201.6684	1.025e0

201.6965	4.845e0

201.7806	1.013e0

201.9109	2.025e0

201.9758	2.532e-2

202.0116	2.025e0

202.0383	3.557e0

202.1000	1.196e1

202.1250	9.434e0

202.1963	2.025e0

202.2168	2.532e-2

202.2436	1.161e0

202.2647	2.025e0

202.2914	1.013e0

202.3119	1.025e0

202.4081	5.063e0

202.5158	4.076e0

202.5558	2.025e0

202.5874	2.427e0

202.6441	1.051e0

202.6841	1.013e0

202.7636	1.013e0

202.8084	1.025e0

202.8457	5.063e0

202.9037	2.025e0

202.9429	2.025e0

202.9678	1.013e0

203.0138	1.013e0

203.0475	1.013e0

203.0865	5.825e0

203.1037	4.848e0

203.1291	3.535e0

203.1772	2.453e1

203.2287	2.532e-2

203.2792	2.025e0

203.3206	2.051e0

203.3643	3.038e0

203.4380	1.013e0

203.4848	2.025e0

203.5168	2.025e0

203.5950	2.025e0

203.6204	3.038e0

203.6405	2.038e0

203.6922	2.025e0

203.7147	3.038e0

203.7661	1.038e0

203.8055	1.013e0

203.8422	4.063e0

203.8643	2.025e0

203.8887	1.013e0

203.9267	1.025e0

203.9728	2.532e-2

204.0140	1.266e-2

204.0655	2.025e0

204.0906	1.266e-2

204.1150	2.025e0

204.1500	1.657e1

204.2155	1.025e0

204.2423	2.025e0

204.2760	2.025e0

204.3195	2.025e0

204.3677	1.013e0

204.3901	1.013e0

204.4126	2.025e0

204.4465	1.013e0

204.5306	3.038e0

204.5568	2.025e0

204.5959	2.170e0

204.6336	3.051e0

204.6972	1.013e0

204.7279	1.038e0

204.7496	2.025e0

204.7965	1.266e-2

204.8480	1.025e0

204.8827	2.025e0

204.9278	1.772e0

204.9945	3.038e0

205.0559	3.038e0

205.1355	1.021e2

205.1851	6.267e0

205.2297	4.182e0

205.2776	4.063e0

205.3395	4.065e0

205.3716	2.025e0

205.4496	5.419e0

205.4798	1.154e0

205.5394	4.051e0

205.5800	5.063e0

205.6532	2.038e0

205.7138	1.025e0

205.7521	6.076e0

205.7751	2.532e-2

205.8341	5.076e0

205.9265	4.051e0

205.9885	6.076e0

206.0228	1.266e-2

206.1365	1.454e1

206.1715	2.785e0

206.2059	2.025e0

206.2519	3.038e0

206.2918	6.346e0

206.3589	2.532e-2

206.4685	3.038e0

206.5165	3.798e-2

206.6144	1.025e0

206.6444	1.013e0

206.7365	2.025e0

206.7667	1.025e0

206.8211	1.266e-2

206.8679	2.844e0

206.8869	5.063e0

207.0067	3.038e0

207.0419	3.038e0

207.1068	1.810e0

207.1569	2.704e0

207.2902	2.038e0

207.5564	3.798e-2

207.5818	2.025e0

207.6213	4.051e0

207.7257	3.798e-2

207.8183	3.038e0

207.8487	2.718e0

207.9053	2.532e-2

207.9285	1.950e0

208.0394	3.951e1

208.0999	6.802e-1

208.2134	1.013e0

208.2968	3.051e0

208.3980	2.025e0

208.4810	4.051e0

208.5897	4.076e0

208.6450	1.025e0

208.6996	2.025e0

208.7448	2.063e0

208.7937	2.025e0

208.8146	2.025e0

208.8640	1.025e0

208.9126	2.025e0

208.9447	2.038e0

209.0456	6.076e0

209.1259	3.474e0

209.1986	2.025e0

209.2314	1.025e0

209.2828	2.532e-2

209.3633	3.038e0

209.4003	2.025e0

209.4617	2.025e0

209.5466	1.013e0

209.5889	2.532e-2

209.6466	1.013e0

209.6656	1.013e0

209.7040	1.013e0

209.7467	1.266e-2

209.7943	2.025e0

209.8667	2.038e0

209.9316	3.038e0

209.9620	1.025e0

210.0602	1.025e0

210.1258	4.395e0

210.1664	3.961e0

210.2397	1.266e-2

210.2757	1.025e0

210.2966	1.013e0

210.3362	2.025e0

210.3852	1.266e-2

210.4288	4.051e0

210.4741	2.025e0

210.6086	2.051e0

210.6632	1.266e-2

210.7012	5.180e0

210.7426	2.025e0

210.7816	1.038e0

210.8523	1.013e0

210.9237	3.038e0

211.0188	1.025e0

211.0529	2.025e0

211.0894	1.823e0

211.1206	7.555e-1

211.1474	2.167e0

211.1861	2.912e0

211.2610	1.013e0

211.2945	1.025e0

211.3656	3.038e0

211.4511	1.051e0

211.5090	2.025e0

211.5423	3.901e0

211.5786	4.051e0

211.6487	2.038e0

211.6794	1.013e0

211.7117	3.051e0

211.7462	2.038e0

211.8102	2.038e0

211.8351	2.532e-2

211.8860	4.051e0

211.9399	3.038e0

212.0067	1.084e1

212.0717	1.989e0

212.0943	1.810e0

212.1424	2.363e0

212.1856	1.938e0

212.2354	3.051e0

212.2783	1.013e0

212.3252	2.025e0

212.3522	1.266e-2

212.3826	2.025e0

212.4514	3.063e0

212.5343	3.038e0

212.5785	2.025e0

212.6178	2.532e-2

212.6480	1.025e0

212.6852	1.266e-2

212.7126	2.532e-2

212.7432	5.063e0

212.7823	1.013e0

212.8150	2.025e0

212.8472	2.025e0

212.8985	1.013e0

212.9226	4.051e0

212.9590	3.038e0

213.0823	2.894e0

213.1077	2.660e0

213.1416	6.776e-1

213.1855	6.408e0

213.2408	3.038e0

213.2820	1.013e0

213.3408	2.025e0

213.3863	1.013e0

213.4147	1.013e0

213.4415	1.013e0

213.5126	3.038e0

213.5398	4.051e0

213.6315	1.266e-2

213.6543	1.013e0

213.6812	3.038e0

213.7179	3.038e0

213.7605	3.038e0

213.8251	1.266e-2

213.8766	1.025e0

213.9070	1.013e0

213.9308	1.013e0

213.9934	5.663e1

214.0648	2.025e0

214.1188	8.711e-1

214.1424	6.205e0

214.1771	1.659e0

214.2160	2.038e0

214.2672	2.025e0

214.2890	1.266e-2

214.3205	2.038e0

214.3843	2.025e0

214.4222	2.532e-2

214.4516	2.025e0

214.5546	3.038e0

214.6029	1.013e0

214.6791	2.532e-2

214.7515	3.038e0

214.8295	1.013e0

214.8689	2.025e0

214.9360	1.025e0

215.0108	6.098e0

215.0560	1.013e0

215.0903	2.858e0

215.1138	4.125e0

215.1536	2.677e-1

215.1820	7.728e-1

215.2172	2.025e0

215.2808	1.266e-2

215.4160	2.025e0

215.4608	2.025e0

215.5037	1.013e0

215.5226	2.025e0

215.5982	3.038e0

215.6599	1.013e0

215.7201	2.532e-2

215.8007	2.532e-2

215.8315	1.266e-2

215.8735	3.063e0

215.9919	2.111e1

216.0467	1.266e-2

216.1390	3.927e1

216.2042	2.025e0

216.2453	2.025e0

216.3017	2.038e0

216.3715	5.366e0

216.3965	3.748e0

216.4326	1.013e0

216.5312	1.013e0

216.5601	2.025e0

216.6721	4.051e0

216.7262	1.025e0

216.7738	1.266e-2

216.8569	1.038e0

216.9140	3.038e0

216.9990	1.625e0

217.0822	1.787e0

217.1460	6.069e0

217.2113	2.025e0

217.2349	1.013e0

217.2781	1.013e0

217.3027	4.051e0

217.3412	1.013e0

217.4857	3.038e0

217.5579	4.051e0

217.6252	1.025e0

217.7093	1.266e-2

217.7330	2.532e-2

217.7836	1.013e0

217.8239	2.038e0

217.8539	1.013e0

217.9376	2.051e0

218.0656	9.292e1

218.1361	8.039e0

218.1732	7.438e0

218.4089	3.038e0

218.4447	2.025e0

218.4831	1.253e0

218.6553	1.013e0

218.7376	1.013e0

218.8237	2.051e0

218.8832	2.038e0

218.9261	1.013e0

219.0215	3.706e-1

219.0620	1.923e1

219.1091	5.891e-1

219.1986	4.051e0

219.2461	2.051e0

219.2897	4.051e0

219.3353	2.025e0

219.3862	3.038e0

219.5262	2.159e0

219.5665	5.063e-2

219.6319	5.063e0

219.7326	1.025e0

219.7611	1.266e-2

219.8213	2.025e0

219.8880	2.051e0

219.9792	3.658e0

220.0082	1.371e0

220.0373	3.123e0

220.0686	6.404e0

220.2103	4.610e0

220.2313	3.517e0

220.3241	2.025e0

220.3865	1.013e0

220.4269	4.051e0

220.5329	2.025e0

220.6856	4.051e0

220.7168	2.532e-2

220.7742	2.038e0

220.8128	2.532e-2

220.8705	2.025e0

220.9205	1.025e0

220.9397	2.025e0

220.9910	3.189e0

221.0323	2.607e0

221.0908	8.200e-1

221.1300	5.290e0

221.2241	1.266e-2

221.2914	1.013e0

221.3492	2.025e0

221.3817	1.013e0

221.5250	2.025e0

221.5760	2.025e0

221.6299	2.532e-2

221.6874	1.025e0

221.7153	2.038e0

221.7545	1.013e0

221.7818	2.025e0

221.8194	2.025e0

221.8845	1.013e0

221.9357	1.013e0

221.9954	2.176e0

222.0542	7.307e-1

222.0860	3.138e-1

222.1292	1.790e0

222.1656	1.398e0

222.1920	5.271e-1

222.2580	4.913e0

222.2948	2.532e-2

222.3264	2.038e0

222.3592	2.025e0

222.3920	1.013e0

222.4210	3.038e0

222.4901	1.013e0

222.5422	3.038e0

222.5758	2.226e0

222.6135	1.266e-2

222.7359	2.038e0

222.7719	2.051e0

222.8235	1.013e0

222.8458	2.532e-2

222.9187	2.025e0

223.0202	2.850e0

223.0628	3.038e0

223.1065	4.209e0

223.1444	1.379e-1

223.1846	1.206e0

223.2379	2.025e0

223.2647	1.013e0

223.3276	3.051e0

223.3746	1.013e0

223.4886	2.025e0

223.5261	3.038e0

223.5535	3.781e0

223.6447	1.013e0

223.6873	2.025e0

223.7625	2.025e0

223.7885	2.025e0

223.8281	1.013e0

223.8726	1.266e-2

223.8937	2.025e0

223.9248	3.038e0

224.0119	6.063e1

224.1459	4.209e1

224.2308	4.051e0

224.2934	1.013e0

224.3337	5.076e0

224.3722	3.038e0

224.4323	2.025e0

224.4750	2.025e0

224.5730	4.051e0

224.7105	7.114e0

224.7473	2.532e-2

224.7838	1.025e0

224.9098	2.038e0

224.9796	6.918e0

225.0238	3.087e0

225.1457	3.407e0

225.1840	2.203e0

225.2318	2.025e0

225.2601	4.051e0

225.3215	2.025e0

225.3643	4.051e0

225.4268	4.051e0

225.4964	2.532e-2

225.5474	2.209e0

225.5769	4.051e0

225.6292	1.266e-2

225.7046	2.025e0

225.7404	1.266e-2

225.7770	2.038e0

225.9705	7.089e0

226.0175	3.231e0

226.0433	8.956e0

226.1242	5.631e1

226.1690	1.071e1

226.2165	5.076e0

226.2941	1.051e0

226.3356	3.650e0

226.3615	3.438e0

226.4522	2.025e0

226.4939	2.025e0

226.5161	2.025e0

226.5372	2.025e0

226.6050	2.025e0

226.6400	1.013e0

226.6731	2.532e-2

226.7098	2.532e-2

226.8116	1.025e0

226.9992	6.813e-1

227.0516	3.798e-2

227.1198	1.463e2

227.1901	2.701e-1

227.2419	3.541e-1

227.2960	5.063e0

227.3360	2.532e-2

227.3923	1.013e0

227.4220	2.025e0

227.5320	1.013e0

227.5728	4.051e0

227.6667	3.200e0

227.7077	3.038e0

227.7499	5.063e0

227.8155	2.025e0

227.8675	2.025e0

227.9301	4.089e0

227.9613	6.089e0

227.9913	4.307e0

228.0214	2.268e0

228.0620	1.013e0

228.1203	7.912e0

228.1853	5.573e0

228.2286	2.038e0

228.2600	2.532e-2

228.3382	3.338e0

228.4311	2.025e0

228.5149	1.013e0

228.5673	3.038e0

228.6682	2.025e0

228.7206	2.025e0

228.7791	2.532e-2

228.8164	1.013e0

228.8712	5.063e-2

228.9307	9.114e0

228.9766	2.624e0

229.0127	1.038e0

229.0854	6.532e-2

229.1379	1.752e0

229.1682	3.777e0

229.2029	1.013e0

229.2304	1.266e-2

229.3038	3.038e0

229.3642	1.013e0

229.4646	1.038e0

229.5141	2.532e-2

229.5413	1.013e0

229.5744	2.025e0

229.7868	3.038e0

229.8646	2.025e0

229.8942	3.038e0

229.9478	1.013e0

229.9717	3.798e-2

230.0110	3.038e0

230.1332	1.131e0

230.1877	3.263e0

230.2376	2.025e0

230.2610	1.038e0

230.3088	1.025e0

230.3347	3.998e0

230.3789	1.013e0

230.5365	2.025e0

230.6119	2.038e0

230.6411	1.013e0

230.6770	2.025e0

230.7239	1.025e0

230.7805	2.025e0

230.8952	3.038e0

231.0716	2.073e0

231.2062	2.025e0

231.3051	2.025e0

231.3410	3.092e0

231.4449	1.013e0

231.4651	1.266e-2

231.5334	1.025e0

231.5581	1.013e0

231.6004	2.025e0

231.6247	2.025e0

231.6524	2.025e0

231.6955	1.013e0

231.7258	2.025e0

231.8721	3.051e0

231.9310	2.038e0

232.0017	3.063e0

232.0469	1.013e0

232.1857	3.038e0

232.2502	1.013e0

232.2883	2.532e-2

232.4164	1.013e0

232.4521	2.025e0

232.5221	4.598e0

232.5714	3.038e0

232.6268	2.318e-1

232.6591	3.621e0

232.7526	2.025e0

232.7922	3.076e0

232.8475	2.038e0

232.9111	2.025e0

232.9516	2.025e0

233.0176	2.076e0

233.0558	3.051e0

233.0949	2.988e1

233.2240	3.038e0

233.3042	1.013e0

233.3359	1.013e0

233.3890	2.025e0

233.4334	2.025e0

233.4862	3.038e0

233.5283	3.038e0

233.6260	3.500e0

233.6791	2.025e0

233.7262	3.038e0

233.7612	3.038e0

233.8338	1.025e0

233.8723	1.025e0

233.9457	1.266e-2

233.9840	4.051e0

234.0641	1.013e0

234.1030	1.183e0

234.1727	4.790e0

234.2250	7.048e0

234.2768	2.038e0

234.3403	2.025e0

234.4568	2.710e0

234.4802	3.534e0

234.5514	3.038e0

234.6120	4.051e0

234.6782	3.038e0

234.7186	1.013e0

234.7595	1.013e0

234.8304	2.051e0

234.8785	2.038e0

234.9212	2.038e0

234.9696	3.051e0

235.0142	3.038e0

235.0461	2.025e0

235.0836	3.016e0

235.1142	1.783e0

235.1528	4.231e0

235.2031	2.025e0

235.2600	1.013e0

235.3062	5.097e0

235.3778	3.063e0

235.4029	2.025e0

235.4496	2.025e0

235.6489	4.051e0

235.7124	3.038e0

235.7390	3.038e0

235.7862	2.025e0

235.8384	3.038e0

235.8952	3.038e0

235.9492	1.013e0

236.0089	3.926e0

236.0376	6.201e0

236.0770	2.038e0

236.2557	1.013e0

236.3069	2.025e0

236.3285	2.025e0

236.3619	3.038e0

236.4149	1.013e0

236.4719	1.025e0

236.5070	2.532e-2

236.6006	2.025e0

236.6687	2.025e0

236.8185	3.038e0

236.8927	2.532e-2

236.9477	1.025e0

236.9712	1.013e0

237.0093	2.025e0

237.0533	3.038e0

237.1028	2.374e0

237.1342	4.546e-1

237.2180	2.025e0

237.2392	2.532e-2

237.2645	1.013e0

237.3223	2.025e0

237.3868	3.038e0

237.5263	3.165e0

237.5591	3.038e0

237.6739	1.266e-2

237.7037	1.013e0

237.7617	3.038e0

237.8560	2.601e0

237.8898	2.532e-2

237.9390	2.038e0

237.9788	2.038e0

238.0213	4.051e0

238.0732	3.715e0

238.1150	2.038e0

238.1561	3.362e0

238.2099	2.523e0

238.2326	2.553e0

238.3116	2.962e0

238.3746	3.038e0

238.4803	5.063e0

238.5195	2.025e0

238.5708	2.025e0

238.5971	1.013e0

238.6674	1.266e-2

238.7020	1.025e0

238.7586	3.038e0

238.7985	2.025e0

238.8477	3.038e0

238.9055	1.266e-2

238.9868	1.025e0

239.0205	1.013e0

239.0935	3.722e0

239.1406	6.607e0

239.1763	1.227e0

239.2063	2.038e0

239.2382	2.025e0

239.2949	1.013e0

239.3283	1.013e0

239.3582	2.038e0

239.4097	1.025e0

239.4517	2.025e0

239.5238	2.025e0

239.5848	2.025e0

239.6097	2.025e0

239.7687	1.266e-2

239.8279	2.025e0

239.9121	2.532e-2

239.9475	1.025e0

240.0439	2.025e0

240.0689	1.013e0

240.0997	1.283e0

240.1561	7.415e0

240.2380	5.063e0

240.2895	4.051e0

240.3443	2.532e-2

240.4349	1.013e0

240.5857	2.025e0

240.6896	4.352e0

240.7741	1.051e0

240.8103	2.025e0

240.8410	2.025e0

240.8850	1.013e0

240.9131	1.013e0

240.9757	3.038e0

241.0289	2.025e0

241.0594	1.851e0

241.0905	5.463e-1

241.1352	7.467e1

241.2303	3.038e0

241.2682	2.532e-2

241.3092	3.038e0

241.3457	3.038e0

241.4062	2.532e-2

241.4794	2.025e0

241.5160	2.025e0

241.5901	1.013e0

241.6695	2.025e0

241.7217	3.095e0

241.8179	2.025e0

241.9415	2.692e-1

242.0293	3.076e0

242.1354	3.563e1

242.2204	4.035e0

242.2708	3.051e0

242.3699	2.025e0

242.4878	1.013e0

242.5159	1.266e-2

242.5531	1.018e0

242.5899	3.038e0

242.6241	2.025e0

242.6900	1.013e0

242.7238	1.013e0

242.7523	1.025e0

242.7984	3.038e0

242.8619	1.038e0

242.9128	2.038e0

242.9659	3.038e0

243.0057	1.266e-2

243.0611	1.025e0

243.1465	1.804e0

243.1893	4.968e1

243.2878	2.038e0

243.3279	2.025e0

243.3652	2.025e0

243.4100	1.013e0

243.4809	4.051e0

243.5394	2.025e0

243.5695	2.515e0

243.6217	4.051e0

243.6516	3.063e0

243.7420	1.013e0

243.7737	2.532e-2

243.8475	5.063e0

243.8831	1.013e0

243.9303	2.025e0

243.9725	3.038e0

244.0308	2.025e0

244.1077	3.441e0

244.1420	1.512e0

244.1783	2.407e0

244.2103	3.971e0

244.2704	1.013e0

244.3092	2.025e0

244.3981	1.013e0

244.4827	5.063e0

244.5461	6.076e0

244.5920	7.757e0

244.6532	3.798e-2

244.7099	2.025e0

244.7436	1.025e0

244.8090	1.013e0

244.8353	2.025e0

244.9055	2.025e0

245.0290	1.640e1

245.0863	4.350e0

245.1179	1.340e0

245.1602	1.374e0

245.2029	1.861e0

245.2994	3.038e0

245.3714	1.013e0

245.4919	1.013e0

245.5505	2.025e0

245.6593	2.025e0

245.6812	1.025e0

245.7357	2.025e0

245.7735	2.025e0

245.8046	1.013e0

245.9060	2.025e0

245.9420	3.038e0

245.9965	4.756e0

246.0612	4.964e0

246.1696	3.198e0

246.2176	3.044e0

246.2781	1.025e0

246.3182	3.798e-2

246.3859	2.025e0

246.4085	2.025e0

246.4577	3.038e0

246.5979	1.038e0

246.6720	3.038e0

246.7134	1.013e0

246.7388	1.013e0

246.8670	3.038e0

246.9012	3.798e-2

246.9459	3.038e0

246.9750	2.025e0

247.0320	5.154e0

247.0964	2.303e0

247.1496	3.613e0

247.1744	2.514e0

247.2838	2.025e0

247.3554	4.063e0

247.4737	2.025e0

247.5196	1.013e0

247.5494	1.013e0

247.6325	2.025e0

247.6639	3.798e-2

247.7191	5.063e0

247.7663	1.025e0

247.7990	1.013e0

247.8449	1.266e-2

248.0331	1.326e0

248.0889	2.025e0

248.1167	1.380e0

248.1789	2.868e-1

248.2229	1.020e0

248.3126	3.038e0

248.3647	1.013e0

248.4204	3.038e0

248.4827	1.013e0

248.5128	5.063e-2

248.5702	4.051e0

248.6427	3.798e-2

248.6864	1.266e-2

248.7206	1.013e0

248.7586	1.013e0

248.8310	6.076e0

248.9115	2.038e0

248.9493	2.038e0

248.9862	3.972e0

249.0225	1.173e0

249.0637	3.038e0

249.1273	5.250e0

249.1712	1.489e0

249.2327	3.063e0

249.3210	1.013e0

249.3770	5.002e0

249.4423	2.025e0

249.4709	2.025e0

249.5408	3.038e0

249.6207	2.025e0

249.6772	2.025e0

249.7153	1.266e-2

249.7732	1.013e0

249.7995	2.025e0

249.8975	2.025e0

249.9511	2.038e0

250.0044	4.835e0

250.0909	1.151e0

250.1437	4.714e0

250.2072	1.856e0

250.2499	2.023e0

250.2822	1.266e-2

250.3204	1.013e0

250.4566	2.532e-2

250.5129	2.532e-2

250.6211	2.025e0

250.6731	1.013e0

250.7152	2.025e0

250.7534	2.025e0

250.7740	2.038e0

250.8377	1.013e0

250.8936	1.025e0

250.9172	2.216e0

250.9791	2.298e1

251.0410	1.655e0

251.0631	4.760e0

251.1189	1.429e0

251.1635	3.861e0

251.3804	1.025e0

251.4496	2.038e0

251.4935	1.025e0

251.6002	1.013e0

251.6775	2.025e0

251.7005	1.013e0

251.7789	1.038e0

251.9214	3.038e0

251.9643	3.216e0

252.0127	2.090e0

252.0495	2.279e0

252.1375	1.313e0

252.1729	3.861e0

252.2230	1.013e0

252.2768	4.051e0

252.3919	1.266e-2

252.4341	1.013e0

252.6159	4.076e0

252.6478	2.025e0

252.7259	2.025e0

252.7555	3.038e0

252.8168	4.051e0

252.8649	5.063e0

252.9588	2.532e-2

252.9891	7.912e0

253.0133	3.202e0

253.1547	3.078e0

253.1866	3.903e0

253.2170	2.735e0

253.2431	2.532e-2

253.2845	1.266e-2

253.3394	4.051e0

253.3769	2.025e0

253.4492	1.013e0

253.5546	2.025e0

253.7113	1.266e-2

253.7703	1.025e0

253.7979	2.025e0

253.8905	2.532e-2

253.9228	2.025e0

253.9873	2.033e0

254.0463	2.243e0

254.0983	9.174e-2

254.1779	5.063e0

254.2188	1.013e0

254.3103	6.076e0

254.3868	5.063e0

254.4173	7.531e-1

254.5374	2.025e0

254.5916	1.013e0

254.7530	2.025e0

254.8158	2.025e0

254.8799	1.013e0

254.9696	3.032e0

255.0962	1.067e0

255.1604	4.626e0

255.2123	2.051e0

255.2546	3.063e0

255.3199	1.025e0

255.3611	3.038e0

255.5186	1.038e0

255.5492	1.025e0

255.6345	5.063e0

255.7265	3.038e0

255.7986	1.013e0

255.8479	3.038e0

255.9083	2.051e0

255.9706	2.930e0

256.0014	1.724e0

256.0281	1.296e0

256.0919	1.569e0

256.1845	3.011e1

256.2189	5.332e0

256.2607	1.013e0

256.2912	3.051e0

256.3434	1.025e0

256.3925	1.266e-2

256.4258	1.038e0

256.5088	3.038e0

256.5936	4.619e0

256.6722	2.025e0

256.7091	3.038e0

256.7495	2.038e0

256.8759	2.532e-2

256.9398	2.979e0

256.9803	1.673e0

257.0612	1.816e0

257.1166	2.544e0

257.1821	5.063e0

257.2045	3.051e0

257.2615	1.266e-2

257.3368	4.051e0

257.3809	1.013e0

257.5170	1.013e0

257.5741	3.038e0

257.6542	3.038e0

257.6794	2.025e0

257.8046	2.025e0

257.8418	1.013e0

257.8800	1.266e-2

257.9089	1.013e0

257.9491	2.517e0

258.0161	1.614e0

258.0720	5.725e0

258.1824	2.025e0

258.2090	1.013e0

258.2407	1.025e0

258.2770	1.013e0

258.3790	1.025e0

258.4481	2.025e0

258.4915	3.038e0

258.6251	3.038e0

258.7305	3.038e0

258.7603	1.266e-2

258.8146	2.025e0

258.8649	2.025e0

258.8918	3.038e0

258.9727	9.182e-1

259.0125	4.672e0

259.0854	5.275e0

259.1071	3.164e0

259.1779	3.579e0

259.2214	1.013e0

259.2702	2.532e-2

259.3070	2.025e0

259.4031	2.872e0

259.4286	3.038e0

259.4500	2.025e0

259.5044	6.076e0

259.5589	7.089e0

259.6944	2.025e0

259.7174	1.266e-2

259.7865	1.025e0

259.8530	2.025e0

259.9255	2.025e0

259.9529	2.504e0

260.0392	2.536e0

260.0877	5.831e1

260.2332	1.076e0

260.2882	3.714e0

260.3221	2.025e0

260.4029	4.051e0

260.4546	1.013e0

260.5050	4.051e0

260.5399	1.013e0

260.6395	3.949e0

260.6862	1.013e0

260.8327	1.266e-2

260.9606	2.552e0

261.0014	1.779e1

261.0964	1.368e1

261.1902	1.930e0

261.2662	2.051e0

261.3125	1.266e-2

261.3539	2.532e-2

261.4286	1.013e0

261.4888	4.051e0

261.5308	3.038e0

261.6889	2.025e0

261.7234	2.025e0

261.7987	1.013e0

261.8488	2.025e0

261.9334	3.394e-1

261.9588	1.225e0

262.0082	2.326e0

262.0843	2.236e1

262.1621	9.267e0

262.2163	2.009e0

262.2895	1.013e0

262.3539	1.013e0

262.3967	3.276e0

262.4948	1.013e0

262.5732	2.025e0

262.6549	2.025e0

262.7458	1.013e0

262.7751	3.038e0

262.8152	1.013e0

262.9081	4.051e0

262.9473	2.025e0

262.9763	1.136e0

263.0046	2.030e0

263.1018	8.197e0

263.1458	3.717e0

263.2578	3.594e0

263.2910	2.297e0

263.4228	1.013e0

263.5056	1.858e0

263.5298	2.218e0

263.5870	3.038e0

263.6328	1.013e0

263.7594	5.063e0

263.8061	1.013e0

263.8448	2.025e0

263.9144	1.266e-2

263.9512	1.847e0

264.0120	3.517e0

264.0746	4.909e0

264.1524	3.615e0

264.2140	3.022e0

264.2980	1.013e0

264.3621	3.038e0

264.4159	1.025e0

264.4799	3.038e0

264.5347	6.076e0

264.5859	5.063e0

264.6440	2.025e0

264.6717	2.532e-2

264.7125	1.266e-2

264.8562	3.038e0

264.9699	1.968e0

265.0688	1.224e0

265.1324	2.637e0

265.1858	3.939e0

265.2316	1.013e0

265.2745	2.025e0

265.3748	3.038e0

265.5176	3.038e0

265.6058	3.038e0

265.6424	1.266e-2

265.6694	2.025e0

265.7363	3.038e0

265.7799	2.025e0

265.9065	3.038e0

265.9607	2.984e0

265.9963	2.971e0

266.0377	1.038e0

266.1002	2.150e0

266.1537	2.181e1

266.1921	6.993e0

266.2509	2.025e0

266.2976	2.025e0

266.4102	1.013e0

266.4644	3.038e0

266.5085	2.532e-2

266.5441	8.101e0

266.6614	5.063e0

266.7161	2.025e0

266.7633	1.025e0

266.8581	3.038e0

266.9301	1.266e-2

266.9676	1.021e0

267.0010	3.033e0

267.0387	1.013e0

267.1107	1.931e0

267.1713	1.706e1

267.2650	6.651e0

267.3199	2.532e-2

267.3507	2.025e0

267.3914	1.025e0

267.4495	4.890e-1

267.7606	1.013e0

267.8174	3.038e0

267.8526	1.013e0

267.9431	1.266e-2

267.9740	2.020e0

268.0395	1.025e0

268.0751	3.250e0

268.1204	2.595e0

268.1819	3.955e0

268.2290	3.798e-2

268.3413	2.532e-2

268.4306	4.051e0

268.4749	1.266e-2

268.5179	1.013e0

268.6461	3.038e0

268.7276	3.038e0

268.7804	2.025e0

268.8483	1.013e0

268.9182	2.025e0

268.9572	1.034e0

269.0036	2.022e0

269.0386	1.025e0

269.0868	1.224e0

269.1661	3.029e0

269.2105	1.977e0

269.2771	7.089e0

269.3066	4.063e0

269.3436	1.025e0

269.3806	2.025e0

269.4485	2.114e0

269.4737	2.025e0

269.5379	4.051e0

269.5959	4.104e0

269.6450	4.051e0

269.6859	2.051e0

269.7907	1.013e0

269.8829	3.038e0

269.9300	1.266e-2

269.9648	1.023e0

270.0599	3.650e0

270.1099	1.574e0

270.1747	2.735e0

270.2051	9.775e-1

270.2842	7.089e0

270.3394	4.051e0

270.3938	2.025e0

270.4745	2.025e0

270.5121	1.013e0

270.6172	1.013e0

270.7770	1.013e0

270.8351	1.266e-2

270.8935	1.025e0

270.9914	1.013e0

271.0802	2.025e0

271.1515	2.388e0

271.2449	3.038e0

271.3289	3.038e0

271.3791	2.025e0

271.4151	3.038e0

271.4424	2.698e0

271.4959	1.013e0

271.5653	2.025e0

271.5897	2.051e0

271.6312	3.798e-2

271.6779	3.038e0

271.7698	4.051e0

271.8281	2.025e0

271.8862	1.013e0

271.9724	4.051e0

272.0202	5.114e0

272.0933	3.849e0

272.1893	1.716e1

272.2586	4.051e0

272.4252	3.038e0

272.4644	3.038e0

272.5018	2.025e0

272.5645	1.266e-2

272.6120	3.038e0

272.6782	1.013e0

272.8370	1.266e-2

272.9292	1.013e0

272.9905	2.025e0

273.0323	3.038e0

273.1314	3.270e0

273.2211	4.807e0

273.2853	1.013e0

273.3264	2.025e0

273.3716	1.266e-2

273.4168	2.025e0

273.4959	4.051e0

273.5700	2.855e0

273.6077	3.063e0

273.6937	1.013e0

273.8246	1.013e0

273.8540	2.038e0

273.8895	2.025e0

273.9304	1.266e-2

273.9713	1.038e0

274.0011	2.038e0

274.0507	3.038e0

274.1160	1.827e0

274.1512	1.695e0

274.2380	1.013e0

274.3348	2.025e0

274.3792	2.025e0

274.4435	3.038e0

274.5417	1.013e0

274.6266	1.013e0

274.6548	2.025e0

274.6805	2.025e0

274.7464	2.025e0

274.8167	3.038e0

274.8720	7.299e0

274.8893	2.025e0

274.9455	1.025e0

275.0218	1.013e0

275.1095	8.397e-1

275.1544	1.577e0

275.3087	1.025e0

275.3367	3.038e0

275.3614	2.038e0

275.4218	2.066e0

275.4551	3.051e0

275.4853	2.025e0

275.5819	2.025e0

275.6229	1.013e0

275.6794	5.063e0

275.8512	1.013e0

275.9054	2.038e0

275.9619	6.076e0

276.0251	2.025e0

276.0947	1.025e0

276.1311	2.750e0

276.2130	4.198e0

276.2673	1.266e-2

276.2977	1.013e0

276.3637	1.013e0

276.4866	1.013e0

276.5682	3.051e0

276.6626	2.038e0

276.7415	3.038e0

276.7727	3.518e0

276.8249	6.076e0

276.8810	4.051e0

276.9125	2.025e0

277.1221	1.779e1

277.1837	1.307e0

277.3095	2.025e0

277.3931	4.051e0

277.5073	3.038e0

277.6303	3.038e0

277.7653	2.532e-2

277.8701	3.856e0

277.9215	4.341e0

277.9687	2.025e0

278.0084	1.266e-2

278.1827	5.148e0

278.2348	1.013e0

278.3434	4.051e0

278.3697	2.532e-2

278.4344	3.038e0

278.4835	1.013e0

278.5567	4.063e0

278.6982	4.051e0

278.7663	3.038e0

278.8069	2.025e0

278.8594	3.038e0

278.9100	4.051e0

278.9543	1.013e0

278.9901	1.013e0

279.0139	2.025e0

279.0501	1.038e0

279.0894	7.114e0

279.1200	7.089e0

279.1591	4.210e0

279.2367	5.063e0

279.2863	2.025e0

279.3445	4.051e0

279.4411	1.025e0

279.5568	5.063e0

279.5996	3.038e0

279.6862	2.025e0

279.7438	1.013e0

279.8552	8.101e0

279.9431	2.038e0

279.9971	1.266e-2

280.0468	2.025e0

280.0865	4.812e0

280.1675	2.714e0

280.2322	1.266e-2

280.2715	1.025e0

280.2988	1.266e-2

280.3449	1.013e0

280.3767	4.051e0

280.4711	2.025e0

280.5535	2.025e0

280.6810	3.041e0

280.7223	1.013e0

280.7792	2.038e0

280.8516	1.013e0

280.9222	1.025e0

280.9889	1.266e-2

281.0416	2.532e-2

281.1367	2.038e0

281.1823	3.332e0

281.2508	4.051e0

281.3009	5.063e0

281.3618	3.038e0

281.4508	6.076e0

281.5368	4.051e0

281.5739	4.051e0

281.6326	3.038e0

281.7968	1.266e-2

281.8553	1.013e0

281.9084	3.051e0

281.9439	1.038e0

282.0089	7.089e0

282.0828	1.013e0

282.1449	1.013e0

282.2450	4.383e0

282.2889	7.089e0

282.3280	4.051e0

282.3627	3.684e0

282.4300	3.038e0

282.4958	2.025e0

282.6417	3.038e0

282.8170	3.038e0

282.8694	2.038e0

282.9554	6.076e0

283.0209	2.038e0

283.0850	3.038e0

283.1773	1.459e1

283.2319	2.532e-2

283.2918	3.038e0

283.3177	2.025e0

283.3733	2.025e0

283.4610	3.038e0

283.5005	2.025e0

283.5501	2.532e-2

283.5812	1.828e0

283.6312	4.784e0

283.6881	2.025e0

283.7289	2.532e-2

283.8294	2.025e0

283.8614	1.013e0

283.9036	2.025e0

283.9485	1.051e0

284.0063	3.038e0

284.0768	6.076e0

284.1632	3.638e0

284.2201	3.225e0

284.3349	1.025e0

284.3781	2.733e0

284.4207	1.013e0

284.4700	3.038e0

284.5095	5.063e0

284.6003	5.563e-1

284.6299	3.520e0

284.7517	2.532e-2

284.7893	3.038e0

284.8252	3.038e0

284.8842	5.255e-1

284.9141	2.025e0

284.9499	1.013e0

285.0852	1.641e0

285.1959	1.799e2

285.2742	2.025e0

285.3088	3.038e0

285.3720	7.101e0

285.4760	2.051e0

285.5290	4.051e0

285.5772	1.013e0

285.6733	4.051e0

285.7202	3.038e0

285.8130	2.025e0

285.8784	4.051e0

285.9491	2.025e0

285.9927	2.025e0

286.0435	2.532e-2

286.1030	1.519e0

286.2009	5.350e1

286.2688	3.038e0

286.3014	2.865e0

286.3368	5.063e0

286.4051	4.051e0

286.4374	3.038e0

286.5007	2.025e0

286.5613	1.013e0

286.6297	3.798e-2

286.6750	4.051e0

286.7071	3.038e0

286.7711	2.532e-2

286.8074	2.532e-2

286.8691	5.076e0

286.9335	2.025e0

287.0062	2.025e0

287.0815	3.077e0

287.1901	7.204e0

287.2205	2.197e0

287.2589	1.013e0

287.2862	1.013e0

287.3811	2.025e0

287.4166	1.013e0

287.6168	4.740e-1

287.6920	1.013e0

287.7825	1.013e0

287.8322	1.013e0

287.8731	1.266e-2

287.9706	3.038e0

287.9951	3.038e0

288.0511	4.051e0

288.0888	2.333e0

288.1207	6.564e-1

288.1848	1.836e0

288.2516	1.266e-2

288.2913	1.013e0

288.3820	1.266e-2

288.4698	4.268e0

288.5672	1.013e0

288.6788	3.038e0

288.7137	3.038e0

288.8156	1.013e0

288.8864	6.076e0

288.9442	3.237e0

288.9870	1.013e0

289.0259	1.025e0

289.0504	2.532e-2

289.0871	1.180e0

289.1678	3.533e-1

289.1975	1.541e0

289.2480	2.532e-2

289.2935	1.013e0

289.3462	3.038e0

289.3998	2.025e0

289.4456	4.400e0

289.5379	4.063e0

289.6561	3.038e0

289.7152	1.013e0

289.7669	2.025e0

289.8507	4.051e0

289.8773	2.025e0

289.9323	1.013e0

290.0255	3.038e0

290.1070	4.519e0

290.1538	4.713e0

290.2094	5.773e0

290.2693	3.038e0

290.3474	1.266e-2

290.3889	1.025e0

290.4420	2.025e0

290.4954	2.053e0

290.5284	5.035e0

290.6142	3.038e0

290.7295	2.025e0

290.8246	4.051e0

290.8921	1.025e0

290.9490	2.025e0

290.9829	2.025e0

291.0248	2.532e-2

291.1066	1.560e0

291.1534	1.629e0

291.2769	1.266e-2

291.3352	3.038e0

291.3906	4.051e0

291.4533	1.266e-2

291.5178	3.038e0

291.5630	2.025e0

291.6388	5.063e-2

291.6888	1.025e0

291.7657	3.377e0

291.8054	3.038e0

291.8624	2.038e0

291.9542	2.038e0

291.9867	2.025e0

292.0439	4.051e0

292.1693	2.378e0

292.2383	4.063e0

292.3032	1.013e0

292.3696	3.038e0

292.4414	2.532e-2

292.6691	2.025e0

292.6987	1.266e-2

292.7744	3.038e0

292.8464	2.025e0

292.9048	3.038e0

292.9849	2.025e0

293.0311	1.013e0

293.0779	4.359e0

293.1869	1.453e1

293.3130	2.532e-2

293.3836	2.532e-2

293.4235	5.513e0

293.4987	3.038e0

293.5578	5.063e0

293.6567	2.532e-2

293.6877	2.025e0

293.7514	2.025e0

293.7812	1.266e-2

293.8777	1.013e0

293.8991	1.013e0

294.0089	1.266e-2

294.0545	1.114e1

294.1036	1.180e0

294.1725	6.458e0

294.2693	1.266e-2

294.3138	1.013e0

294.3453	4.051e0

294.4132	3.038e0

294.5374	1.702e0

294.6560	1.013e0

294.7239	3.038e0

294.8703	2.025e0

294.9191	2.025e0

294.9517	1.013e0

295.0533	8.749e0

295.0944	1.532e0

295.1487	1.158e1

295.2532	1.038e0

295.3230	1.266e-2

295.3499	1.266e-2

295.4088	4.675e0

295.4529	2.025e0

295.5461	1.013e0

295.5917	2.025e0

295.7383	2.025e0

295.7711	2.038e0

295.8116	1.266e-2

295.8710	1.013e0

295.9715	4.076e0

296.0413	3.666e0

296.0729	6.971e0

296.1555	4.821e0

296.2207	2.999e0

296.2721	1.266e-2

296.3470	1.013e0

296.3966	2.025e0

296.5567	3.798e-2

296.5870	2.025e0

296.7283	2.025e0

296.8104	2.025e0

296.8774	1.013e0

296.9329	6.076e0

296.9958	2.025e0

297.0435	2.025e0

297.1148	2.874e0

297.1654	2.696e1

297.2117	9.025e0

297.2542	3.038e0

297.2919	3.038e0

297.3282	2.038e0

297.4734	1.038e0

297.5524	2.025e0

297.5959	3.038e0

297.6518	3.526e0

297.7880	3.038e0

297.8631	1.013e0

297.9029	1.013e0

297.9774	1.013e0

298.0907	2.418e0

298.1538	4.319e0

298.2014	7.199e0

298.2644	2.025e0

298.3521	2.025e0

298.4423	2.532e-2

298.4771	1.266e-2

298.5396	2.025e0

298.6330	3.074e0

298.8006	5.063e-2

298.9079	1.013e0

298.9449	1.013e0

299.0070	6.786e0

299.0942	3.969e0

299.1638	2.947e0

299.2129	2.473e0

299.2565	3.337e0

299.2989	1.013e0

299.3741	3.161e0

299.4460	1.013e0

299.5387	1.013e0

299.6034	1.013e0

299.6513	2.025e0

299.6883	2.025e0

299.9016	1.266e-2

299.9415	1.038e0

299.9980	3.038e0

300.0330	2.532e-2

300.0626	1.266e-2

300.1298	1.825e0

300.1903	3.989e0

300.2468	1.025e0

300.2816	1.046e0

300.3521	2.025e0

300.5804	4.051e0

300.6778	3.038e0

300.7443	3.038e0

300.7768	1.013e0

300.8734	3.038e0

300.9560	1.013e0

301.0205	3.038e0

301.0621	2.532e-2

301.1126	6.581e0

301.1592	3.760e0

301.3082	2.025e0

301.3575	3.038e0

301.4004	2.025e0

301.5194	4.051e0

301.5691	1.013e0

301.6061	1.013e0

301.6287	1.013e0

301.7043	2.025e0

301.7290	2.025e0

301.8346	5.063e0

301.8817	2.025e0

301.9532	7.929e0

302.0203	1.025e0

302.2486	2.025e0

302.3059	4.051e0

302.3456	1.013e0

302.3860	1.266e-2

302.4412	1.013e0

302.4892	3.038e0

302.5448	1.013e0

302.6803	2.025e0

302.7161	1.013e0

302.7520	2.532e-2

302.8078	2.532e-2

302.8718	2.110e0

302.9969	1.013e0

303.0527	3.038e0

303.0964	9.089e-1

303.1226	3.936e0

303.1852	4.270e0

303.2301	2.532e0

303.2722	1.025e0

303.3260	2.025e0

303.3642	2.025e0

303.4316	2.532e-2

303.5313	2.025e0

303.5736	3.038e0

303.7524	1.013e0

303.8164	1.013e0

303.8708	3.038e0

303.9385	2.025e0

304.0363	3.038e0

304.0747	3.024e0

304.1095	5.966e0

304.2924	8.101e0

304.3769	5.063e0

304.4391	3.038e0

304.4952	2.025e0

304.5667	4.982e0

304.6278	4.051e0

304.6758	5.063e0

304.7255	1.013e0

304.8584	2.025e0

304.9120	4.513e0

304.9691	2.025e0

305.0119	3.466e0

305.0759	5.022e0

305.1580	3.164e0

305.1916	2.251e0

305.2431	1.500e0

305.4093	2.025e0

305.5678	6.329e-2

305.6116	3.038e0

305.7234	2.025e0

305.7600	1.013e0

305.7959	1.013e0

305.8695	2.025e0

305.9704	2.761e0

306.0197	2.025e0

306.1917	1.297e0

306.2351	1.512e0

306.2767	3.038e0

306.3074	1.051e0

306.3553	2.025e0

306.3818	1.038e0

306.4274	4.051e0

306.4752	1.013e0

306.6501	1.051e0

306.8411	1.038e0

306.9250	2.046e0

306.9766	2.017e0

307.0308	3.038e0

307.0731	2.999e0

307.1349	6.153e0

307.2862	3.038e0

307.3374	1.013e0

307.4545	1.013e0

307.4933	2.073e0

307.6165	2.025e0

307.6779	1.013e0

307.7357	4.051e0

307.7896	1.013e0

307.8734	1.266e-2

307.9143	2.025e0

307.9572	2.014e0

308.0202	1.974e0

308.0504	2.532e-2

308.1265	1.544e0

308.2129	4.947e0

308.2644	2.025e0

308.3185	2.025e0

308.4007	2.025e0

308.4505	1.266e-2

308.5025	2.038e0

308.5699	2.051e0

308.6049	2.025e0

308.7003	3.038e0

308.7704	2.025e0

308.8062	5.063e0

308.8564	1.025e0

308.8992	3.038e0

308.9711	2.951e0

309.0757	4.063e0

309.1727	2.231e0

309.2126	5.319e0

309.2881	4.051e0

309.3571	1.025e0

309.3951	1.013e0

309.4506	3.038e0

309.5017	2.025e0

309.6019	3.038e0

309.6861	2.025e0

309.7703	2.532e-2

309.8455	5.076e0

309.8824	3.038e0

309.9243	4.045e0

309.9925	2.936e0

310.0680	3.038e0

310.1387	3.237e0

310.2039	5.506e0

310.2829	1.025e0

310.3349	3.051e0

310.3815	3.038e0

310.4426	2.025e0

310.4952	4.051e0

310.5240	4.825e0

310.5623	3.837e0

310.5995	4.223e0

310.6711	4.051e0

310.7233	3.530e0

310.7545	3.038e0

310.8001	7.089e0

310.8646	1.114e1

310.9301	4.025e0

310.9781	2.966e0

311.0453	8.397e0

311.1747	1.831e3

311.2937	9.006e0

311.3228	6.089e0

311.3613	9.878e0

311.4675	1.114e1

311.5103	6.315e0

311.5414	9.285e0

311.5958	6.679e0

311.6443	9.657e0

311.7072	1.016e1

311.7452	1.071e0

311.7982	4.780e0

311.8963	1.114e1

311.9799	1.274e1

312.0583	9.993e0

312.1808	4.560e2

312.2752	7.514e0

312.3479	1.316e1

312.3803	1.114e1

312.4637	4.051e0

312.5480	7.023e0

312.6625	4.862e0

312.7118	4.089e0

312.7894	2.025e0

312.8223	5.063e0

312.8727	7.101e0

312.9540	7.013e0

313.0009	3.051e0

313.0309	3.038e0

313.0837	5.999e0

313.1827	7.522e1

313.2466	1.212e1

313.3049	7.101e0

313.3627	8.152e0

313.4267	5.101e0

313.4857	2.025e0

313.5502	7.185e0

313.6083	6.482e0

313.6458	4.051e0

313.6776	5.526e0

313.7996	1.203e0

313.8430	4.051e0

313.8973	2.038e0

313.9511	3.987e0

314.0056	4.051e0

314.0598	2.051e0

314.1158	1.870e0

314.1837	9.867e0

314.2771	2.038e0

314.3349	3.658e0

314.3732	2.025e0

314.4098	1.013e0

314.4503	3.798e-2

314.5012	3.038e0

314.5623	3.038e0

314.6632	3.038e0

314.8784	7.959e0

314.9339	2.021e0

314.9781	2.004e0

315.0453	4.031e0

315.1636	2.361e0

315.2703	1.929e0

315.3246	4.228e0

315.3542	2.025e0

315.4604	2.532e-2

315.4963	3.038e0

315.5492	3.038e0

315.6114	4.516e0

315.6900	5.063e-2

315.7402	1.013e0

315.7690	2.025e0

315.8082	2.532e-2

315.8648	2.025e0

315.9272	2.025e0

315.9598	2.975e0

316.0129	3.975e0

316.1153	7.882e0

316.2117	1.404e1

316.3693	1.025e0

316.4591	3.694e0

316.4888	3.407e0

316.5617	2.038e0

316.6406	2.025e0

316.7224	4.051e0

316.8586	4.051e0

316.9089	9.360e-1

316.9516	1.013e0

317.0149	1.777e0

317.0623	3.798e-2

317.1125	4.857e0

317.1993	3.422e0

317.2751	9.427e-1

317.3132	3.038e0

317.3622	1.013e0

317.4693	3.051e0

317.5948	1.013e0

317.6360	1.013e0

317.7040	1.013e0

317.7459	2.453e0

317.7844	1.013e0

317.8455	1.013e0

317.8896	2.025e0

317.9503	1.013e0

317.9939	3.736e0

318.0388	4.829e0

318.0774	3.038e0

318.1111	3.037e0

318.3698	5.063e0

318.4247	3.038e0

318.4701	3.038e0

318.5764	2.532e-2

318.6409	3.063e0

318.6838	4.051e0

318.7109	3.038e0

318.7459	4.051e0

318.7838	3.038e0

318.8328	3.798e-2

318.9075	4.051e0

318.9638	4.051e0

319.0069	6.851e-1

319.0909	9.737e-1

319.1430	2.695e0

319.1976	5.223e0

319.2853	2.789e0

319.3489	1.013e0

319.4093	1.013e0

319.4727	4.051e0

319.5526	2.532e-2

319.5986	3.038e0

319.6617	2.025e0

319.7715	3.038e0

319.9056	1.013e0

319.9601	5.063e0

320.0559	2.025e0

320.1197	2.405e0

320.2585	3.170e0

320.3261	4.051e0

320.3958	2.025e0

320.5392	2.025e0

320.6161	2.025e0

320.6925	2.025e0

320.7508	4.051e0

320.8842	2.025e0

320.9709	1.013e0

321.0167	2.352e0

321.1180	1.857e0

321.2328	2.987e0

321.2938	2.079e0

321.3447	3.038e0

321.4757	1.013e0

321.5125	2.025e0

321.6518	1.025e0

321.6899	1.013e0

321.8838	1.013e0

321.9767	1.038e0

322.1028	3.037e0

322.1632	4.759e0

322.2307	2.115e0

322.3565	1.013e0

322.4001	1.025e0

322.5687	2.025e0

322.5993	3.451e0

322.6913	1.013e0

322.7458	2.692e0

322.8618	2.025e0

322.9342	2.025e0

323.0329	2.466e0

323.0685	4.051e0

323.1346	1.758e0

323.3589	1.038e0

323.4035	2.025e0

323.5780	1.013e0

323.6248	2.025e0

323.7941	1.013e0

323.8993	2.025e0

323.9585	3.038e0

324.0569	8.092e-1

324.1204	3.049e0

324.2573	3.358e0

324.2906	2.997e0

324.3731	1.013e0

324.4879	1.013e0

324.5839	1.013e0

324.8944	1.013e0

324.9765	1.025e0

325.0958	2.910e0

325.1466	3.438e0

325.1924	9.892e0

325.2513	3.440e0

325.3259	3.038e0

325.4036	6.076e0

325.4840	3.038e0

325.5326	1.013e0

325.5809	1.266e-2

325.7189	1.013e0

325.7766	3.038e0

325.8328	2.025e0

325.9817	2.903e0

326.0272	2.302e0

326.1208	1.992e0

326.2059	5.164e0

326.2522	3.549e-1

326.3795	1.555e1

326.4725	1.013e0

326.5757	2.038e0

326.6218	1.013e0

326.7455	1.013e0

326.8210	3.038e0

326.8516	1.051e0

326.8987	1.013e0

327.0254	2.167e0

327.0765	1.925e0

327.1169	1.278e0

327.1720	8.101e0

327.2263	4.154e0

327.2653	1.582e0

327.2939	1.759e0

327.3517	2.051e0

327.4178	1.013e0

327.7174	1.013e0

327.8147	2.025e0

327.8878	2.025e0

327.9490	2.025e0

328.0198	3.167e0

328.0869	1.620e0

328.1385	6.136e-1

328.2024	5.063e0

328.2491	8.613e0

328.3136	1.038e0

328.5332	2.532e-2

328.6076	2.025e0

328.6994	1.013e0

328.8007	3.524e0

328.8699	2.025e0

328.9178	2.532e-2

328.9648	3.798e-2

329.0241	3.167e0

329.0839	3.129e0

329.1318	2.605e0

329.1924	3.840e0

329.2486	4.456e0

329.3659	5.063e-2

329.4301	2.025e0

329.4868	2.025e0

329.5712	3.798e-2

329.6293	2.025e0

329.6993	2.025e0

329.7354	2.051e0

329.7922	1.013e0

329.8365	1.013e0

329.8972	4.051e0

329.9527	1.266e-2

330.0206	2.493e1

330.1366	6.090e0

330.2080	8.233e0

330.3260	2.025e0

330.3905	3.038e0

330.4635	5.076e0

330.5757	4.051e0

330.6463	3.051e0

330.7187	2.025e0

330.7555	2.025e0

330.8352	3.242e0

330.8850	1.013e0

331.0029	5.031e0

331.0359	6.430e0

331.2761	2.506e0

331.3486	1.013e0

331.4176	1.013e0

331.5519	2.025e0

331.6291	3.038e0

331.6970	3.038e0

331.7309	3.038e0

331.7838	1.013e0

331.8235	2.038e0

331.8923	3.038e0

331.9503	2.025e0

332.0229	1.568e1

332.0960	4.692e0

332.1701	1.071e0

332.3270	5.063e0

332.4375	2.143e0

332.4940	3.038e0

332.5724	3.038e0

332.6335	3.038e0

332.7146	1.013e0

332.8217	1.025e0

332.8714	8.636e-1

332.9054	3.212e0

332.9538	2.025e0

333.0577	2.274e0

333.0909	5.635e0

333.1583	3.455e2

333.2620	2.397e0

333.2912	2.983e0

333.3313	6.076e0

333.3878	5.076e0

333.4220	3.038e0

333.5559	5.318e0

333.6411	3.038e0

333.7520	3.038e0

333.8363	4.051e0

333.8927	1.013e0

333.9456	1.013e0

334.0241	4.703e0

334.0898	7.744e1

334.1606	8.661e1

334.2556	4.376e0

334.3077	7.341e-1

334.3455	4.051e0

334.4001	3.038e0

334.4468	1.145e0

334.4719	3.109e0

334.5189	6.292e0

334.5504	2.822e0

334.6213	4.051e0

334.7442	7.089e0

334.8112	6.737e0

334.8764	4.051e0

334.9301	6.076e0

334.9711	4.051e0

334.9991	4.340e0

335.0995	3.226e1

335.1693	1.333e1

335.2158	1.461e-1

335.2681	1.080e0

335.3151	3.024e0

335.3823	4.051e0

335.4429	1.013e0

335.5334	2.025e0

335.6539	2.025e0

335.7256	4.051e0

335.8171	1.013e0

335.8672	2.532e-2

335.9107	1.013e0

335.9759	4.051e0

336.0230	8.073e-1

336.1241	2.506e0

336.2204	3.624e0

336.2675	4.289e0

336.3759	2.532e-2

336.4274	1.266e-2

336.5127	2.025e0

336.5529	3.038e0

336.6088	1.266e-2

336.6503	3.038e0

336.7470	3.038e0

336.7881	1.013e0

336.8328	1.013e0

336.8696	1.013e0

336.9476	2.532e-2

336.9841	1.013e0

337.1490	3.963e0

337.2273	1.440e1

337.2744	5.215e0

337.3884	1.013e0

337.4415	2.025e0

337.6906	1.013e0

337.7463	4.051e0

337.7950	2.025e0

337.8489	4.240e0

337.9254	2.025e0

338.0981	3.097e0

338.1576	8.424e0

338.1966	1.128e1

338.2577	3.801e0

338.3007	3.595e0

338.4465	3.038e0

338.5074	1.013e0

338.5738	2.025e0

338.6742	5.063e0

338.7324	1.013e0

338.9204	3.038e0

339.0234	2.388e0

339.0974	1.087e0

339.1573	3.277e1

339.2360	5.396e0

339.3331	2.025e0

339.4760	3.051e0

339.5439	5.063e0

339.6365	3.038e0

339.7678	1.025e0

339.8748	2.025e0

339.9269	1.266e-2

339.9856	2.532e-2

340.0281	1.807e0

340.0635	1.606e0

340.1571	1.178e0

340.2627	4.971e-1

340.3403	3.038e0

340.3883	6.089e0

340.4772	2.532e-2

340.5037	2.025e0

340.6122	2.532e-2

340.6510	1.013e0

340.7138	3.038e0

340.8701	3.798e-2

340.9170	1.013e0

340.9659	1.013e0

341.0344	2.845e0

341.1556	2.071e0

341.2745	4.772e0

341.4251	2.025e0

341.5047	2.025e0

341.5601	1.013e0

341.8020	2.025e0

341.8668	2.025e0

341.9248	1.025e0

341.9963	8.781e-1

342.0513	1.892e0

342.3210	1.013e0

342.3548	1.025e0

342.3960	3.051e0

342.4408	2.025e0

342.5000	1.038e0

342.6049	4.063e0

342.7480	2.025e0

342.8653	2.063e0

343.1277	2.440e0

343.1648	3.765e0

343.2041	5.614e0

343.2858	1.933e0

343.3179	1.266e-2

343.3838	1.013e0

343.5021	1.013e0

343.5638	1.013e0

343.6006	3.038e0

343.7575	5.063e0

343.9251	1.013e0

344.0086	3.631e0

344.2064	8.481e0

344.2649	2.383e0

344.3080	3.808e0

344.3420	4.254e0

344.3888	1.013e0

344.4770	2.025e0

344.5403	3.038e0

344.6451	6.076e0

344.6845	2.038e0

344.7241	1.013e0

344.7671	4.051e0

344.8263	5.815e0

344.9019	1.013e0

344.9505	2.025e0

344.9978	9.974e-1

345.0483	6.460e0

345.1324	2.872e0

345.2807	1.013e0

345.3631	2.532e-2

345.4821	1.038e0

345.5470	1.013e0

345.6900	1.013e0

345.7392	1.013e0

345.9644	3.051e0

346.0363	6.629e0

346.0940	2.699e-1

346.3473	1.013e0

346.4350	1.038e0

346.6558	1.013e0

346.7384	5.063e0

346.8816	1.013e0

346.9464	1.038e0

347.0597	1.598e0

347.0912	1.188e0

347.2095	5.506e1

347.2795	4.632e0

347.3199	1.812e0

347.3630	3.038e0

347.4122	1.013e0

347.4550	2.532e-2

347.6039	3.669e-1

347.6649	4.051e0

347.7131	3.038e0

347.8520	1.013e0

347.9001	2.025e0

348.0265	1.013e0

348.0963	7.956e0

348.2072	1.032e2

348.3106	4.868e0

348.4233	2.113e0

348.5097	3.038e0

348.5599	2.025e0

348.6414	3.038e0

348.7410	4.063e0

348.8357	1.013e0

348.8753	2.025e0

348.9245	1.051e0

348.9940	1.013e0

349.0412	2.025e0

349.0753	2.583e0

349.1263	1.304e1

349.2083	3.259e1

349.2637	2.058e0

349.3633	2.025e0

349.4089	2.025e0

349.4707	3.038e0

349.5750	5.063e0

349.6634	4.051e0

349.7489	4.568e0

349.8288	5.063e0

349.9890	1.266e-2

350.0352	2.609e0

350.1369	3.257e0

350.1813	1.292e0

350.3463	1.013e0

350.3970	4.725e0

350.5533	1.013e0

350.6292	5.063e-2

350.7035	2.025e0

350.7999	3.038e0

350.8626	3.038e0

350.9346	1.051e0

351.0042	2.025e0

351.1167	2.180e0

351.3404	1.013e0

351.3699	1.013e0

351.4265	1.266e-2

351.5791	4.051e0

351.6341	1.013e0

351.7033	1.013e0

351.7731	1.013e0

351.8463	1.025e0

351.9036	4.051e0

352.0332	1.266e-2

352.0792	3.844e0

352.1205	2.312e0

352.1936	2.076e0

352.3427	2.025e0

352.3836	1.013e0

352.4648	3.038e0

352.6143	2.038e0

352.7289	5.063e0

352.8499	2.025e0

352.9370	1.013e0

352.9904	1.013e0

353.0311	3.038e0

353.1151	1.698e0

353.1526	2.107e0

353.2876	1.791e0

353.3747	1.013e0

353.4505	1.013e0

353.6776	2.440e0

353.7413	3.798e-2

353.8047	2.025e0

353.8629	4.051e0

353.9278	2.025e0

353.9857	1.013e0

354.0402	3.038e0

354.1740	7.363e0

354.2146	2.847e1

354.3030	1.038e0

354.3554	1.025e0

354.4463	5.063e0

354.5858	3.038e0

354.6644	3.038e0

354.7534	6.076e0

354.8120	1.013e0

354.8585	2.025e0

354.9484	2.025e0

355.0014	3.038e0

355.0311	2.532e-2

355.0813	4.894e0

355.1489	1.278e0

355.2098	2.584e0

355.4278	1.013e0

355.4772	4.063e0

355.6822	2.025e0

355.7239	4.051e0

355.8369	3.038e0

355.9274	3.038e0

356.0445	1.013e0

356.1288	2.025e0

356.1955	1.710e0

356.2371	8.842e0

356.3046	7.370e-1

356.3754	1.266e-2

356.4393	1.013e0

356.4798	2.025e0

356.5544	2.582e0

356.5947	2.532e-2

356.6309	2.025e0

356.7005	1.013e0

356.7557	1.013e0

356.8370	3.038e0

356.9261	4.051e0

356.9857	2.025e0

357.1023	1.013e0

357.1408	2.025e0

357.2152	1.913e0

357.2460	2.692e0

357.2828	2.737e0

357.4601	3.038e0

357.5587	1.013e0

357.6130	2.025e0

357.6450	2.025e0

357.6897	1.013e0

357.7738	1.013e0

357.8874	3.488e0

357.9512	4.051e0

358.0098	1.025e0

358.0724	2.025e0

358.1151	3.038e0

358.2115	8.635e1

358.2672	4.570e0

358.3421	3.051e0

358.4389	2.025e0

358.4851	3.916e0

358.5638	2.025e0

358.6539	8.425e0

358.8898	1.038e0

358.9585	3.038e0

359.0326	3.038e0

359.0956	2.532e-2

359.1565	4.271e0

359.2104	2.092e1

359.2904	1.013e0

359.3353	1.013e0

359.4001	2.038e0

359.4395	1.013e0

359.5092	2.025e0

359.5443	3.038e0

359.6113	1.025e0

359.6787	3.038e0

359.7383	2.025e0

359.8096	1.038e0

359.8459	2.025e0

359.9393	2.025e0

359.9828	4.051e0

360.0505	2.025e0

360.1155	1.013e0

360.2350	1.225e1

360.3519	1.025e0

360.4514	1.038e0

360.5068	4.051e0

360.6593	1.013e0

360.7137	5.063e0

360.7937	2.532e-2

360.9157	7.182e0

360.9909	2.025e0

361.1485	6.230e0

361.2265	1.801e1

361.3202	3.038e0

361.3796	2.038e0

361.4326	3.074e0

361.4756	1.025e0

361.5343	1.038e0

361.5734	3.038e0

361.6438	2.038e0

361.8419	2.025e0

361.8735	2.038e0

361.9437	2.532e-2

362.0078	1.013e0

362.1336	3.038e0

362.2186	2.020e1

362.2882	3.903e0

362.3883	1.013e0

362.4442	1.013e0

362.5548	3.060e0

362.6247	3.038e0

362.6765	4.076e0

362.7164	2.025e0

362.7570	1.013e0

362.8434	5.063e0

362.9167	2.025e0

363.0408	1.013e1

363.1122	4.051e0

363.2165	1.078e0

363.2920	3.903e0

363.3957	1.013e0

363.4504	6.076e0

363.6026	3.038e0

363.6484	2.025e0

363.7073	3.798e-2

363.7995	2.532e-2

363.8736	2.025e0

364.0396	4.762e0

364.0841	4.051e0

364.1313	1.013e0

364.1778	1.670e0

364.2971	3.798e-2

364.3936	1.013e0

364.5785	1.981e0

364.6426	4.185e0

364.7096	1.266e-2

364.7486	1.013e0

364.8031	2.532e-2

364.8657	1.038e0

365.0479	1.013e0

365.1550	1.013e0

365.1994	6.787e0

365.3088	6.052e0

365.3818	3.472e0

365.4507	1.266e-2

365.4900	2.025e0

365.6015	2.532e-2

365.8163	2.025e0

366.0945	2.025e0

366.1500	2.532e-2

366.3058	1.025e0

366.3499	2.025e0

366.4849	4.063e0

366.5513	2.025e0

366.5983	3.038e0

366.6368	4.051e0

366.7370	1.013e0

366.7912	1.013e0

366.9163	2.532e-2

366.9986	3.434e0

367.0503	2.025e0

367.1253	2.025e0

367.1899	1.687e0

367.3788	3.038e0

367.4668	4.001e0

367.5378	2.025e0

367.6075	1.063e0

367.6709	2.025e0

367.7104	2.025e0

367.7657	3.038e0

367.8246	1.013e0

367.9676	1.013e0

368.0269	4.063e0

368.1126	3.038e0

368.2299	1.169e1

368.3018	2.025e0

368.4241	5.063e0

368.5336	1.013e0

368.5749	2.025e0

368.6302	1.013e0

368.6712	1.013e0

368.7630	1.013e0

368.8462	2.051e0

368.9091	2.025e0

368.9986	6.076e0

369.0655	2.025e0

369.1098	1.013e0

369.2343	1.109e0

369.2802	1.305e0

369.3925	5.063e0

369.4424	1.025e0

369.4831	3.038e0

369.5484	2.963e0

369.6104	2.025e0

369.6393	2.025e0

369.7719	5.063e0

369.8105	2.038e0

369.9172	3.038e0

370.0552	2.025e0

370.1349	4.051e0

370.1725	2.579e0

370.2554	1.826e0

370.2874	5.922e0

370.3315	1.004e0

370.4175	9.957e-1

370.5370	4.051e0

370.6857	3.798e-2

370.7367	1.013e0

370.7975	2.038e0

370.9639	2.051e0

371.0212	1.013e0

371.1342	1.013e0

371.2183	2.053e0

371.2773	1.734e0

371.3548	2.025e0

371.3847	1.013e0

371.4568	1.025e0

371.4935	2.025e0

371.5416	2.963e0

371.6004	2.025e0

371.7427	1.038e0

371.8784	1.013e0

372.0786	1.013e0

372.2087	3.195e0

372.2519	1.750e0

372.2881	2.932e0

372.3406	1.006e1

372.3938	3.038e0

372.4629	2.025e0

372.5073	4.051e0

372.5548	3.038e0

372.6307	1.013e0

372.7101	2.025e0

372.7609	1.013e0

372.8570	2.025e0

372.9745	3.038e0

373.0720	4.051e0

373.1529	2.038e0

373.2144	4.086e0

373.3899	5.076e0

373.5414	1.038e0

373.7733	6.076e0

373.8379	2.025e0

373.8792	2.025e0

373.9751	5.000e0

374.0473	4.051e0

374.1204	6.095e0

374.1826	6.992e1

374.2691	2.897e0

374.3257	3.051e0

374.3780	4.051e0

374.4310	2.922e0

374.4666	1.154e0

374.4981	2.025e0

374.6414	3.038e0

374.7651	2.532e-2

374.8307	5.063e0

374.9124	2.025e0

374.9768	2.025e0

375.0659	4.051e0

375.1803	1.193e1

375.2307	7.988e0

375.3361	4.008e0

375.4297	2.025e0

375.4695	1.013e0

375.5627	2.532e-2

375.6881	3.038e0

375.7366	2.025e0

375.7858	3.038e0

375.8756	1.013e0

375.9620	3.038e0

376.0136	2.025e0

376.0704	2.038e0

376.1245	4.051e0

376.1888	2.429e0

376.2479	4.328e0

376.3029	4.479e0

376.3824	3.038e0

376.4973	3.909e0

376.5384	2.025e0

376.6289	3.798e-2

376.7122	2.051e0

376.8642	2.025e0

376.9676	1.013e0

377.0428	2.532e-2

377.1247	3.051e0

377.1969	5.352e0

377.3032	1.417e0

377.3847	1.013e0

377.4556	2.025e0

377.5107	1.013e0

377.5401	1.013e0

377.6448	1.266e-2

377.7665	4.480e0

377.9764	1.025e0

378.0547	3.038e0

378.1096	3.038e0

378.1728	1.981e0

378.2363	1.951e0

378.3699	5.063e0

378.4340	2.025e0

378.5486	1.025e0

378.6056	1.013e0

378.6776	1.013e0

378.9253	1.013e0

378.9800	2.025e0

379.0783	2.025e0

379.1487	5.327e0

379.3778	2.025e0

379.4395	2.025e0

379.5311	2.025e0

379.6046	3.038e0

379.6424	3.038e0

379.7046	2.165e0

379.7439	2.025e0

379.8448	4.051e0

379.9628	2.025e0

380.0300	2.025e0

380.3078	2.659e0

380.4169	2.025e0

380.4559	2.025e0

380.5513	1.013e0

380.6511	3.038e0

380.7296	2.532e-2

380.7636	1.013e0

380.9259	1.013e0

381.0323	4.051e0

381.1299	1.236e1

381.1749	2.470e1

381.2742	2.882e0

381.3438	9.712e-1

381.3906	2.025e0

381.5351	1.051e0

381.6909	1.025e0

381.7227	3.038e0

381.8168	4.051e0

381.9169	6.076e0

381.9659	7.710e-2

381.9970	3.798e-2

382.0270	2.025e0

382.0844	2.025e0

382.1111	3.505e0

382.1637	6.397e0

382.2448	1.064e1

382.3621	2.025e0

382.4063	2.532e-2

382.4540	2.025e0

382.5046	3.038e0

382.5725	2.025e0

382.6348	4.051e0

382.7275	4.051e0

382.8554	4.051e0

382.9711	4.051e0

383.0891	2.025e0

383.1595	1.117e1

383.2190	2.501e0

383.3009	3.726e0

383.4103	2.025e0

383.4799	1.013e0

383.6197	1.013e0

383.6674	1.013e0

383.8624	4.051e0

383.9454	2.025e0

383.9879	3.798e-2

384.0529	4.063e0

384.1520	2.141e0

384.2172	2.545e0

384.3360	2.888e0

384.3743	3.038e0

384.4261	3.038e0

384.5313	3.038e0

384.5916	2.025e0

384.7357	1.013e0

384.8604	1.013e0

385.2088	3.459e0

385.2486	2.328e0

385.4591	2.025e0

385.5890	2.025e0

385.6673	3.038e0

385.7126	2.025e0

385.8813	3.842e0

385.9500	1.013e0

386.0295	1.013e0

386.1126	1.774e0

386.2174	2.993e0

386.2930	3.052e0

386.3858	3.038e0

386.4522	1.013e0

386.4985	1.266e-2

386.5441	4.051e0

386.6270	2.025e0

386.7224	2.025e0

386.8150	4.051e0

386.9870	2.272e0

387.0383	2.532e-2

387.1094	1.908e0

387.1799	2.850e0

387.2465	9.379e1

387.3822	3.038e0

387.4558	1.013e0

387.4863	1.266e-2

387.5451	1.266e-2

387.6741	2.025e0

387.8340	3.038e0

387.8990	2.025e0

387.9506	1.013e0

388.0080	4.051e0

388.0853	1.336e0

388.1521	2.735e0

388.2457	2.913e1

388.3745	9.114e0

388.4471	2.025e0

388.5221	2.025e0

388.6387	3.038e0

388.6870	1.521e0

388.8398	3.038e0

388.9984	3.038e0

389.0723	1.680e0

389.1899	2.328e0

389.2418	4.415e0

389.2825	1.864e0

389.3932	2.025e0

389.4428	2.025e0

389.5282	3.038e0

389.6308	3.038e0

389.7094	4.051e0

389.7957	2.025e0

389.8494	2.025e0

389.9242	5.063e0

390.0221	2.025e0

390.0617	2.025e0

390.1119	1.003e0

390.3160	2.713e0

390.4044	3.038e0

390.4880	2.025e0

390.5551	2.025e0

390.6916	3.038e0

390.8669	3.038e0

390.9359	1.013e0

391.0212	2.025e0

391.0645	3.038e0

391.1106	3.029e0

391.2786	1.621e1

391.3375	2.025e0

391.4153	3.038e0

391.5404	3.038e0

391.8731	3.038e0

391.9219	3.038e0

392.0064	1.013e0

392.0636	2.532e-2

392.1267	4.496e0

392.2576	5.210e0

392.2917	4.057e0

392.4092	1.266e-2

392.4990	2.025e0

392.5378	3.038e0

392.6226	3.038e0

392.6724	1.013e0

392.8425	2.532e-2

392.8959	1.013e0

393.0097	3.293e0

393.0957	2.933e0

393.1860	3.471e0

393.3224	5.063e0

393.3851	2.532e-2

393.4818	2.038e0

393.6322	3.051e0

393.7414	2.025e0

393.7885	4.345e0

393.9187	2.025e0

394.0555	2.025e0

394.1296	3.599e0

394.3104	1.172e0

394.3949	3.798e-2

394.4583	3.038e0

394.5163	2.025e0

394.6315	1.013e0

394.9110	2.025e0

394.9488	1.013e0

395.0394	4.051e0

395.1241	1.747e1

395.2183	5.849e0

395.3914	3.038e0

395.4958	8.101e0

395.6047	2.025e0

395.6417	2.025e0

395.6977	2.025e0

395.7813	3.038e0

395.8442	2.025e0

395.9849	2.025e0

396.0520	5.063e-2

396.1359	5.460e0

396.2199	2.615e0

396.3013	4.017e0

396.4010	3.038e0

396.4592	3.038e0

396.5340	1.038e0

396.5869	3.457e0

396.6370	3.038e0

396.7701	2.025e0

396.8247	5.063e-2

396.9740	1.013e0

397.0994	7.983e0

397.1924	3.053e0

397.3544	1.038e0

397.4070	2.251e0

397.4552	3.038e0

397.5170	4.051e0

397.6591	5.063e0

397.7085	1.013e0

397.7875	2.954e0

397.8538	1.266e-2

397.9279	3.038e0

397.9716	6.076e0

398.1168	2.907e0

398.1902	4.404e0

398.2368	1.739e0

398.3056	6.293e0

398.4586	2.038e0

398.5212	1.013e0

398.6132	2.051e0

398.6802	1.013e0

398.7997	2.025e0

398.8687	2.025e0

398.9834	1.013e0

399.1085	2.718e0

399.1460	2.871e0

399.3077	1.625e0

399.3946	5.026e0

399.4693	3.038e0

399.5113	2.038e0

399.5834	1.013e0

399.7422	1.013e0

399.8900	1.038e0

399.9933	2.025e0

400.0499	1.748e0

400.1913	2.042e1

400.2553	3.910e0

400.3438	2.663e0

400.3768	3.038e0