Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

181 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 12-12    H: 0-200    N: 0-10    O: 0-10    Na: 0-1    I: 0-2

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	i-FIT (Norm) 	Formula

192.1393   	192.1388       	0.5      	2.6      	4.5      	315.4      	0.0          	C12  H18  N  O

REPORT MASSES AS +/-5mDa, referenced against

Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

99.6069	1.013e0

99.6337	5.063e0

99.6546	1.013e0

99.6760	1.013e0

99.6918	1.013e0

99.7159	1.013e0

99.7675	2.025e0

99.7874	1.013e0

99.7980	1.013e0

99.8312	2.025e0

99.8883	1.013e0

99.9041	2.025e0

99.9228	1.013e0

99.9333	1.013e0

99.9571	2.025e0

99.9958	2.025e0

100.0237	1.013e0

100.0476	1.013e0

100.0819	1.924e1

100.1187	6.076e0

100.1327	2.025e0

100.1832	1.013e0

100.2124	1.013e0

100.2271	2.025e0

100.2737	2.025e0

100.3269	1.013e0

100.3746	1.013e0

100.3908	1.013e0

100.4215	2.025e0

100.4413	1.013e0

100.4680	4.051e0

100.4919	1.013e0

100.5080	1.013e0

100.5280	2.025e0

100.5533	2.025e0

100.5798	1.013e0

100.5986	2.025e0

100.6170	1.013e0

100.6304	1.013e0

100.6451	2.025e0

100.6599	2.025e0

100.6758	3.038e0

100.6879	2.025e0

100.7146	2.025e0

100.7692	2.025e0

100.8412	1.013e0

100.8697	3.038e0

100.8840	1.013e0

100.9026	2.025e0

100.9265	1.013e0

100.9532	2.025e0

100.9680	4.051e0

101.0028	2.025e0

101.0173	1.013e0

101.0527	3.038e0

101.0761	2.620e2

101.1137	1.607e0

101.1349	2.025e0

101.1553	4.352e0

101.1778	2.025e0

101.2138	2.025e0

101.2327	3.038e0

101.2498	2.025e0

101.2751	3.038e0

101.3006	2.025e0

101.3195	1.013e0

101.3301	1.013e0

101.3608	2.025e0

101.3782	2.025e0

101.3887	1.013e0

101.4077	1.013e0

101.4331	2.025e0

101.4451	1.013e0

101.4732	2.025e0

101.4951	4.051e0

101.5241	2.025e0

101.5388	1.013e0

101.5696	2.025e0

101.5976	1.013e0

101.6191	2.025e0

101.6567	1.013e0

101.6741	2.025e0

101.6886	1.013e0

101.7049	3.038e0

101.7238	1.013e0

101.7437	2.025e0

101.7612	1.013e0

101.7848	4.051e0

101.8148	3.804e0

101.8283	1.013e0

101.8575	1.013e0

101.8829	3.038e0

101.9059	3.038e0

101.9247	2.025e0

101.9355	1.013e0

101.9878	2.025e0

102.0766	3.034e1

102.0944	8.107e0

102.1335	2.329e1

102.1622	2.025e0

102.1770	1.013e0

102.2106	2.025e0

102.2307	1.013e0

102.2521	1.013e0

102.2683	1.013e0

102.2859	2.025e0

102.3428	3.038e0

102.3934	2.131e0

102.4083	1.013e0

102.4218	1.013e0

102.4487	1.013e0

102.4672	1.013e0

102.5143	2.025e0

102.5586	1.013e0

102.5911	1.013e0

102.6223	3.038e0

102.6449	1.013e0

102.6826	2.025e0

102.7081	2.025e0

102.7392	2.025e0

102.8145	2.025e0

102.8388	3.038e0

102.8740	1.013e0

102.8926	1.013e0

102.9144	1.013e0

102.9541	3.038e0

103.0111	1.013e0

103.0518	3.038e0

103.0984	4.661e0

103.1429	3.038e0

103.1712	3.038e0

103.2020	3.038e0

103.2433	1.013e0

103.2528	2.025e0

103.2731	1.013e0

103.3080	1.013e0

103.3569	1.013e0

103.4431	1.013e0

103.4650	1.013e0

103.5082	1.013e0

103.5377	1.013e0

103.5647	1.013e0

103.5782	1.013e0

103.6029	1.013e0

103.6188	1.013e0

103.6976	1.013e0

103.7230	2.025e0

103.7489	1.013e0

103.7704	1.013e0

103.7826	2.025e0

103.8003	1.013e0

103.8138	2.025e0

103.8721	2.025e0

103.8896	1.013e0

103.9193	1.013e0

103.9412	1.013e0

103.9519	1.013e0

103.9736	2.025e0

104.0020	2.025e0

104.0378	3.038e0

104.0660	1.013e0

104.0792	3.648e0

104.1389	2.025e0

104.1879	1.013e0

104.2337	1.013e0

104.2664	1.013e0

104.2772	1.013e0

104.3071	1.013e0

104.3315	2.025e0

104.3791	2.025e0

104.3981	2.025e0

104.4252	2.025e0

104.4783	1.013e0

104.4971	1.013e0

104.5270	1.013e0

104.5378	1.013e0

104.5881	2.025e0

104.6602	2.025e0

104.6840	3.038e0

104.7035	1.013e0

104.7309	2.025e0

104.7622	4.051e0

104.7827	1.013e0

104.8234	1.013e0

104.8464	2.025e0

104.8671	1.013e0

104.9064	2.131e0

104.9497	2.235e0

105.0058	1.013e0

105.0478	3.443e2

105.1094	2.014e0

105.1291	7.089e0

105.1446	3.038e0

105.1619	5.063e0

105.1745	3.038e0

105.2061	4.051e0

105.2264	1.013e0

105.2654	5.063e0

105.2836	2.025e0

105.3067	2.025e0

105.3217	1.013e0

105.3409	1.013e0

105.3626	3.038e0

105.3825	2.930e0

105.3968	2.025e0

105.4091	1.013e0

105.4255	2.025e0

105.4443	1.013e0

105.4580	1.013e0

105.4800	1.013e0

105.5114	2.025e0

105.5342	5.063e0

105.5510	1.013e0

105.5755	1.013e0

105.6109	3.038e0

105.6328	2.025e0

105.6709	1.013e0

105.6902	2.025e0

105.7202	5.063e0

105.7555	1.013e0

105.7805	1.013e0

105.8266	2.025e0

105.8395	4.051e0

105.8678	3.038e0

105.9389	1.013e0

105.9500	1.013e0

105.9773	2.025e0

106.0501	1.401e1

106.0700	6.556e0

106.0852	3.905e0

106.1235	2.218e0

106.1714	2.025e0

106.1824	1.013e0

106.2237	1.013e0

106.2345	1.013e0

106.2533	1.772e0

106.3303	1.013e0

106.3525	1.013e0

106.3811	2.025e0

106.4016	1.013e0

106.4237	1.013e0

106.4426	1.013e0

106.4647	1.013e0

106.5389	1.013e0

106.5525	1.013e0

106.5908	1.013e0

106.6155	2.025e0

106.6446	2.265e0

106.6800	2.025e0

106.7404	2.025e0

106.7535	3.038e0

106.7720	1.013e0

106.7904	3.038e0

106.8323	3.038e0

106.8597	1.013e0

106.9258	1.013e0

106.9532	1.013e0

106.9669	2.025e0

106.9835	2.025e0

107.0218	1.013e0

107.0528	3.038e0

107.1675	1.013e0

107.1966	2.025e0

107.2172	2.025e0

107.2669	1.013e0

107.2915	2.025e0

107.3384	1.013e0

107.3533	2.025e0

107.3962	1.013e0

107.4291	1.013e0

107.4718	3.038e0

107.5061	1.013e0

107.6109	1.013e0

107.6344	2.025e0

107.7066	3.038e0

107.7793	1.013e0

107.7944	2.025e0

107.8040	1.013e0

107.8371	1.013e0

107.8647	1.013e0

107.9060	1.013e0

107.9283	1.013e0

107.9834	1.013e0

107.9943	1.013e0

108.0470	1.013e0

108.0842	5.810e0

108.1368	2.025e0

108.1684	2.025e0

108.1825	1.013e0

108.2267	1.013e0

108.2430	2.025e0

108.2623	1.013e0

108.2789	2.025e0

108.2899	1.013e0

108.4450	1.013e0

108.4587	2.025e0

108.5391	1.013e0

108.6443	1.013e0

108.6705	2.025e0

108.7191	1.013e0

108.7315	2.025e0

108.8195	3.038e0

108.8411	2.025e0

108.8521	1.013e0

108.9493	1.013e0

108.9811	2.025e0

109.0060	2.025e0

109.0269	1.013e0

109.0518	1.013e0

109.1406	3.038e0

109.1850	1.013e0

109.2126	1.013e0

109.2293	1.013e0

109.2431	1.013e0

109.3043	2.025e0

109.3586	2.025e0

109.3878	1.013e0

109.4392	2.025e0

109.4571	1.013e0

109.4767	1.013e0

109.4934	1.013e0

109.5298	1.013e0

109.5592	3.038e0

109.5852	1.013e0

109.6325	1.013e0

109.6741	1.013e0

109.7353	1.013e0

109.7578	1.013e0

109.7980	2.025e0

109.8585	4.051e0

109.8774	1.018e0

109.9138	1.013e0

109.9779	1.013e0

109.9944	2.025e0

110.0627	2.025e0

110.0767	2.854e0

110.1450	1.013e0

110.1700	3.038e0

110.1868	1.013e0

110.2064	1.013e0

110.2370	1.013e0

110.2831	2.055e0

110.3094	2.025e0

110.3333	2.025e0

110.3708	1.013e0

110.4015	1.013e0

110.4254	2.025e0

110.4687	2.025e0

110.5219	1.013e0

110.5747	2.025e0

110.7369	2.025e0

110.7648	1.013e0

110.7760	1.013e0

110.8292	1.013e0

110.8503	2.025e0

110.8698	2.025e0

110.8909	5.063e0

110.9104	1.013e0

110.9329	1.013e0

110.9664	5.063e0

110.9829	1.013e0

111.0615	4.051e0

111.0968	4.773e1

111.1504	3.038e0

111.1660	3.038e0

111.2239	3.038e0

111.2519	1.013e0

111.2971	1.013e0

111.3432	2.025e0

111.3627	2.025e0

111.3755	3.038e0

111.4708	1.013e0

111.4923	4.051e0

111.5575	1.013e0

111.6026	1.013e0

111.6250	1.013e0

111.6497	3.038e0

111.6896	2.025e0

111.7990	1.013e0

111.8188	1.013e0

111.8680	2.025e0

111.9143	1.013e0

111.9566	1.013e0

111.9987	1.013e0

112.0589	3.038e0

112.0916	7.323e0

112.1239	1.744e0

112.2547	1.013e0

112.2971	1.013e0

112.3180	2.025e0

112.3475	1.013e0

112.3673	1.013e0

112.4123	1.013e0

112.4548	1.013e0

112.4886	1.013e0

112.5195	1.013e0

112.5322	2.025e0

112.5505	2.025e0

112.6239	1.013e0

112.6381	1.013e0

112.6773	2.025e0

112.7112	1.013e0

112.7281	1.013e0

112.7819	3.038e0

112.8185	3.038e0

112.9174	1.013e0

112.9684	1.013e0

113.0075	2.025e0

113.0415	1.013e0

113.0805	5.619e0

113.1164	1.576e1

113.1518	1.013e0

113.1687	1.013e0

113.2790	1.013e0

113.3382	1.013e0

113.3610	1.013e0

113.4007	1.013e0

113.4515	1.013e0

113.4659	2.025e0

113.5124	2.025e0

113.6212	1.013e0

113.6744	3.038e0

113.6922	2.025e0

113.7253	3.038e0

113.7519	1.013e0

113.7631	1.013e0

113.8001	1.013e0

113.8112	1.013e0

113.8368	2.025e0

113.8682	1.013e0

113.8992	1.013e0

113.9192	1.013e0

113.9474	1.013e0

113.9644	1.013e0

113.9897	1.013e0

114.0067	1.013e0

114.0354	2.025e0

114.0548	4.752e0

114.0718	2.639e0

114.1021	4.680e0

114.1147	2.041e0

114.1390	3.038e0

114.1991	3.038e0

114.2425	2.025e0

114.2596	1.013e0

114.3022	2.025e0

114.3304	2.025e0

114.3592	1.013e0

114.3889	2.025e0

114.4104	1.013e0

114.4258	2.025e0

114.4456	2.025e0

114.4786	1.013e0

114.4897	2.025e0

114.5238	2.025e0

114.5494	1.013e0

114.5721	2.025e0

114.6033	1.013e0

114.6321	1.013e0

114.6663	1.013e0

114.6818	2.025e0

114.6974	1.013e0

114.7287	1.013e0

114.7457	1.013e0

114.7700	2.025e0

114.7885	1.013e0

114.8111	1.013e0

114.8226	2.025e0

114.8453	1.013e0

114.8711	1.013e0

114.8936	1.013e0

114.9165	1.013e0

115.0079	2.025e0

115.0319	2.025e0

115.0608	2.677e0

115.0924	6.610e1

115.1295	8.413e0

115.1646	1.013e0

115.2057	2.025e0

115.2301	2.025e0

115.2536	3.437e0

115.2756	1.013e0

115.3157	1.013e0

115.3599	2.025e0

115.3983	1.013e0

115.4257	2.025e0

115.4756	1.013e0

115.5040	3.038e0

115.5183	2.025e0

115.5352	1.013e0

115.5671	1.013e0

115.5926	1.013e0

115.6782	1.013e0

115.6954	1.013e0

115.7269	2.025e0

115.8785	1.013e0

115.8957	1.013e0

115.9145	3.038e0

115.9471	1.013e0

115.9687	2.025e0

115.9908	3.038e0

116.0158	1.013e0

116.0300	1.013e0

116.0530	1.013e0

116.0826	3.122e0

116.0947	2.776e0

116.1182	4.685e0

116.1862	2.025e0

116.2105	1.013e0

116.2477	1.013e0

116.2707	2.025e0

116.3052	1.013e0

116.3450	1.013e0

116.3881	1.013e0

116.4284	1.013e0

116.4843	2.025e0

116.5256	1.013e0

116.5630	1.013e0

116.5945	1.013e0

116.6062	1.013e0

116.6548	2.025e0

116.7812	1.013e0

116.8156	1.013e0

116.9016	2.025e0

116.9307	1.013e0

116.9449	1.013e0

116.9981	2.025e0

117.0168	1.013e0

117.0340	2.025e0

117.0737	2.206e1

117.1120	2.268e0

117.1277	1.516e0

117.1635	1.013e0

117.1865	1.013e0

117.2181	1.013e0

117.2384	1.013e0

117.2497	1.013e0

117.3138	3.038e0

117.3388	1.013e0

117.3891	2.025e0

117.4280	1.013e0

117.4423	1.013e0

117.4625	1.013e0

117.5089	1.013e0

117.5434	2.025e0

117.5592	2.025e0

117.5952	1.013e0

117.6094	1.013e0

117.6814	1.013e0

117.7204	2.025e0

117.7422	2.025e0

117.7767	2.025e0

117.8158	3.038e0

117.8606	1.013e0

117.8764	2.025e0

117.9411	1.013e0

118.0221	1.013e0

118.0424	1.013e0

118.0638	3.038e0

118.0963	5.184e0

118.1837	3.038e0

118.2070	2.025e0

118.2227	2.025e0

118.2544	2.025e0

118.2701	1.013e0

118.3325	2.046e0

118.3601	1.013e0

118.3716	1.013e0

118.3918	1.013e0

118.4785	1.013e0

118.5596	1.013e0

118.6056	2.025e0

118.6725	2.025e0

118.6898	1.013e0

118.7200	2.025e0

118.7478	2.025e0

118.8171	1.013e0

118.8518	1.013e0

118.9271	1.013e0

118.9793	2.025e0

119.0081	4.051e0

119.0635	1.013e0

119.0872	2.022e0

119.1045	1.775e0

119.1476	1.013e0

119.1736	2.025e0

119.2054	1.013e0

119.2520	1.013e0

119.3304	1.013e0

119.3478	1.013e0

119.4262	1.013e0

119.4391	2.025e0

119.4640	2.025e0

119.4913	2.025e0

119.5539	1.013e0

119.5814	4.380e0

119.6412	1.013e0

119.6671	2.025e0

119.7223	1.013e0

119.7442	2.025e0

119.7573	1.013e0

119.7750	1.013e0

119.8338	3.038e0

119.8560	1.013e0

119.8735	1.013e0

119.8938	1.013e0

119.9128	2.025e0

119.9581	1.013e0

119.9815	2.025e0

120.0193	1.013e0

120.0550	7.759e1

120.1618	1.013e0

120.1925	2.025e0

120.2200	1.013e0

120.2403	2.025e0

120.2667	1.013e0

120.2783	1.013e0

120.3061	2.025e0

120.3367	2.025e0

120.3589	3.038e0

120.3923	1.013e0

120.4302	1.013e0

120.4476	1.013e0

120.5000	1.013e0

120.5234	2.025e0

120.5348	1.013e0

120.5598	2.025e0

120.5932	1.013e0

120.6101	3.038e0

120.6326	2.025e0

120.6605	1.013e0

120.7015	1.013e0

120.7274	1.013e0

120.7539	1.013e0

120.7918	1.013e0

120.9350	1.013e0

121.0020	1.013e0

121.0262	5.063e0

121.0677	7.595e0

121.2713	1.013e0

121.2858	1.013e0

121.3268	1.013e0

121.3488	2.025e0

121.3708	2.025e0

121.4438	2.025e0

121.4849	1.013e0

121.5114	2.025e0

121.5730	2.025e0

121.5989	1.013e0

121.6194	1.013e0

121.7388	3.038e0

121.7778	1.013e0

121.7982	1.013e0

121.8558	2.025e0

121.8954	2.025e0

121.9322	2.025e0

121.9481	1.013e0

121.9686	1.013e0

121.9979	1.013e0

122.0273	1.013e0

122.0482	7.068e0

122.0714	1.013e0

122.1033	5.352e1

122.1506	1.013e0

122.1772	2.025e0

122.1918	1.013e0

122.2183	2.025e0

122.2535	1.013e0

122.2741	1.013e0

122.3092	1.013e0

122.3408	3.038e0

122.3739	1.013e0

122.3885	1.013e0

122.4443	1.013e0

122.4884	1.013e0

122.5060	1.013e0

122.5240	1.013e0

122.5532	2.025e0

122.5959	2.025e0

122.6768	1.013e0

122.7092	1.013e0

122.7311	2.025e0

122.7478	1.013e0

122.7669	3.038e0

122.7859	1.013e0

122.8302	1.013e0

122.9333	1.013e0

122.9757	2.025e0

123.0198	2.025e0

123.0372	2.625e0

123.0590	5.063e0

123.0997	3.256e1

123.1124	1.014e1

123.1334	1.013e0

123.1541	1.013e0

123.1717	1.013e0

123.1939	2.025e0

123.2130	1.013e0

123.2504	3.038e0

123.2719	1.013e0

123.2841	1.013e0

123.3075	1.013e0

123.4137	3.038e0

123.4432	1.013e0

123.4815	1.013e0

123.5021	2.025e0

123.5319	1.013e0

123.5480	2.025e0

123.5702	1.013e0

123.6056	4.051e0

123.6590	1.013e0

123.6706	2.025e0

123.6867	1.923e0

123.7304	3.038e0

123.7915	1.013e0

123.8122	1.013e0

123.8536	1.013e0

123.8774	1.013e0

123.8896	1.013e0

123.9573	1.013e0

123.9930	1.013e0

124.0284	1.013e0

124.0718	4.051e0

124.0931	2.118e1

124.1425	2.025e0

124.1755	3.038e0

124.1940	1.013e0

124.2091	2.025e0

124.2354	1.013e0

124.2768	1.013e0

124.2991	2.025e0

124.3487	4.051e0

124.3798	3.038e0

124.4424	3.038e0

124.4917	2.025e0

124.5201	1.013e0

124.5470	2.025e0

124.5599	3.038e0

124.6091	1.013e0

124.6829	1.013e0

124.6983	1.013e0

124.7190	1.013e0

124.7306	1.013e0

124.7514	1.013e0

124.7636	1.013e0

124.8167	1.013e0

124.8567	2.025e0

124.8850	1.013e0

124.9176	2.025e0

124.9358	1.013e0

125.0097	1.013e0

125.0246	1.013e0

125.0481	1.013e0

125.0635	1.013e0

125.0806	1.532e0

125.1527	1.013e0

125.1673	1.013e0

125.2119	1.013e0

125.2667	2.025e0

125.2982	1.013e0

125.3406	3.038e0

125.3991	1.013e0

125.4468	1.013e0

125.4798	1.013e0

125.5123	2.025e0

125.5347	2.025e0

125.5466	2.025e0

125.5708	3.038e0

125.6317	1.013e0

125.6733	1.013e0

125.7000	1.013e0

125.7327	1.013e0

125.7656	1.013e0

125.7983	1.013e0

125.8102	1.013e0

125.8298	2.025e0

125.8507	2.025e0

125.8730	1.013e0

125.9950	2.291e0

126.0173	2.025e0

126.0545	1.013e0

126.0741	2.185e0

126.1099	6.438e0

126.1455	2.025e0

126.2249	1.013e0

126.3496	4.051e0

126.3888	1.013e0

126.4056	2.025e0

126.4444	2.025e0

126.5534	2.025e0

126.5803	1.013e0

126.6608	1.013e0

126.7042	2.025e0

126.7420	1.013e0

126.7567	1.013e0

126.7853	2.025e0

126.8046	1.013e0

126.8163	1.013e0

126.8643	1.013e0

126.8796	1.013e0

126.8960	2.025e0

126.9245	2.025e0

126.9781	1.013e0

126.9989	1.013e0

127.0260	1.013e0

127.0647	1.013e0

127.0978	1.210e0

127.1368	1.013e0

127.1785	1.013e0

127.2236	2.025e0

127.2426	3.038e0

127.2778	2.025e0

127.3018	1.013e0

127.3854	2.025e0

127.4234	2.025e0

127.4576	1.013e0

127.5404	2.025e0

127.5716	1.013e0

127.5887	3.038e0

127.6197	1.013e0

127.7065	1.013e0

127.7547	3.038e0

127.7880	1.013e0

127.8238	2.025e0

127.8719	1.013e0

127.8990	2.025e0

127.9379	1.013e0

127.9743	1.013e0

127.9968	2.025e0

128.0132	1.013e0

128.0466	1.013e0

128.0718	1.765e0

128.1125	2.285e0

128.1353	2.913e0

128.1639	1.013e0

128.1966	1.013e0

128.2688	1.013e0

128.2867	1.013e0

128.2991	1.013e0

128.3365	2.025e0

128.3652	1.013e0

128.4252	1.013e0

128.4539	2.025e0

128.4889	1.013e0

128.5201	2.025e0

128.5640	1.013e0

128.6757	3.038e0

128.7537	1.013e0

128.7854	2.025e0

128.8205	1.013e0

128.8353	1.013e0

128.9046	1.013e0

128.9256	4.051e0

129.0710	3.166e0

129.1082	1.898e1

129.1404	3.378e0

129.1549	2.698e0

129.1914	1.013e0

129.2062	1.013e0

129.2366	2.025e0

129.2639	2.025e0

129.2787	2.025e0

129.3091	1.013e0

129.3243	1.013e0

129.3484	1.013e0

129.3605	1.013e0

129.3832	2.025e0

129.3967	1.013e0

129.4269	1.013e0

129.4692	1.013e0

129.5391	1.013e0

129.5963	1.013e0

129.6227	3.038e0

129.6614	2.025e0

129.6962	1.013e0

129.7142	1.013e0

129.8095	3.038e0

129.8656	4.051e0

129.8961	1.013e0

129.9456	4.051e0

129.9789	3.605e0

130.0142	1.013e0

130.0427	7.089e0

130.0781	5.780e0

130.1018	1.713e2

130.1329	5.136e0

130.1655	6.886e1

130.2050	2.077e0

130.2343	5.063e0

130.2632	8.101e0

130.3003	2.025e0

130.3188	2.025e0

130.3567	1.013e0

130.3764	4.051e0

130.4044	3.038e0

130.4237	2.995e0

130.4475	2.025e0

130.4696	3.038e0

130.4961	3.038e0

130.5374	2.329e1

130.5633	4.747e0

130.5902	4.652e0

130.6268	1.013e0

130.6848	1.013e0

130.7272	4.051e0

130.7726	1.013e0

130.7851	1.013e0

130.8192	2.457e0

130.8598	5.513e0

130.9184	1.013e0

130.9395	1.013e0

130.9759	4.051e0

131.0405	3.560e0

131.0615	3.038e0

131.0869	1.248e1

131.1032	4.121e0

131.1625	8.101e0

131.1846	4.051e0

131.2271	3.038e0

131.2596	1.013e0

131.2972	2.025e0

131.3232	1.013e0

131.3578	3.038e0

131.3961	1.013e0

131.4466	3.038e0

131.4923	3.527e0

131.5353	3.038e0

131.5625	6.076e0

131.6373	2.025e0

131.7284	2.025e0

131.7437	1.013e0

131.7622	1.013e0

131.7983	1.013e0

131.8566	1.013e0

131.8809	1.013e0

131.9328	2.025e0

131.9551	2.421e0

131.9816	2.061e0

132.0185	1.013e0

132.0304	2.025e0

132.0517	2.025e0

132.0880	4.643e1

132.1712	1.013e0

132.1861	2.025e0

132.2137	1.013e0

132.3389	1.013e0

132.3546	1.013e0

132.4095	1.013e0

132.4216	1.013e0

132.4949	1.013e0

132.5135	1.013e0

132.5957	1.013e0

132.6233	1.013e0

132.6463	2.025e0

132.6695	1.013e0

132.6947	2.850e0

132.7151	3.038e0

132.7873	2.025e0

132.8085	2.025e0

132.8716	1.013e0

132.8961	1.013e0

132.9876	1.013e0

133.0002	1.013e0

133.0280	3.038e0

133.0507	2.025e0

133.0890	5.304e0

133.1779	1.013e0

133.2181	1.013e0

133.2703	1.013e0

133.2852	1.013e0

133.3129	1.013e0

133.3469	2.025e0

133.3746	2.025e0

133.4078	1.013e0

133.4417	1.013e0

133.5032	1.013e0

133.5895	1.013e0

133.6076	2.025e0

133.6812	1.013e0

133.6938	1.013e0

133.7721	2.025e0

133.7887	3.038e0

133.8623	1.013e0

133.9423	2.025e0

133.9889	1.013e0

134.0008	1.013e0

134.0348	1.013e0

134.0544	2.025e0

134.0792	1.137e0

134.1305	1.428e1

134.1979	1.013e0

134.2161	1.013e0

134.2533	1.013e0

134.2655	1.013e0

134.3253	2.025e0

134.3485	1.013e0

134.4197	1.013e0

134.4594	1.013e0

134.4784	1.013e0

134.5307	1.013e0

134.5441	2.025e0

134.6198	1.013e0

134.6663	1.013e0

134.6814	1.013e0

134.7061	3.038e0

134.7631	2.025e0

134.7988	1.013e0

134.8821	1.013e0

134.9130	2.025e0

134.9249	2.025e0

134.9472	2.025e0

134.9623	1.013e0

134.9901	1.013e0

135.0179	1.013e0

135.0332	1.013e0

135.0766	3.038e0

135.0988	1.795e1

135.1568	1.013e0

135.1971	1.013e0

135.2712	1.013e0

135.2896	1.013e0

135.3484	1.013e0

135.3976	1.013e0

135.4286	1.013e0

135.4475	1.013e0

135.4811	1.013e0

135.5432	2.025e0

135.5632	2.025e0

135.6004	2.025e0

135.6235	1.013e0

135.6454	1.013e0

135.6704	1.013e0

135.6910	3.038e0

135.7134	1.013e0

135.7364	4.051e0

135.7848	1.013e0

135.8064	3.038e0

135.8311	1.013e0

135.8622	1.054e0

135.8942	4.051e0

135.9593	2.025e0

136.0015	1.013e0

136.0262	2.025e0

136.0509	1.013e0

136.0827	1.481e1

136.1197	2.441e1

136.1535	1.013e0

136.1752	1.013e0

136.2063	1.013e0

136.2246	1.013e0

136.2461	1.013e0

136.2932	1.013e0

136.3211	2.025e0

136.3441	2.025e0

136.3857	1.013e0

136.4047	1.013e0

136.4590	2.025e0

136.4837	2.025e0

136.5219	3.038e0

136.5594	1.013e0

136.6345	1.013e0

136.6624	4.051e0

136.6936	2.025e0

136.7305	1.013e0

136.7646	1.013e0

136.7941	2.025e0

136.8300	1.013e0

136.8427	1.013e0

136.9155	4.051e0

136.9402	2.025e0

136.9888	1.013e0

137.0585	4.051e0

137.1879	2.025e0

137.2191	1.013e0

137.2359	2.025e0

137.2545	2.025e0

137.2798	2.025e0

137.3054	3.038e0

137.3262	2.025e0

137.3901	1.013e0

137.4150	1.013e0

137.4541	2.025e0

137.4662	2.025e0

137.5085	1.013e0

137.5334	3.038e0

137.5677	1.013e0

137.6081	1.013e0

137.7192	2.025e0

137.7359	1.013e0

137.7606	1.013e0

137.8079	1.013e0

137.8318	3.038e0

137.8511	1.013e0

137.9110	4.051e0

137.9417	1.013e0

137.9544	1.013e0

138.0232	1.013e0

138.0634	5.063e0

138.1732	2.025e0

138.2101	1.013e0

138.2759	2.025e0

138.3922	3.038e0

138.4477	1.013e0

138.5073	1.013e0

138.5385	2.025e0

138.5574	2.025e0

138.6200	1.013e0

138.7200	2.025e0

138.7638	2.025e0

138.8200	1.013e0

138.9108	1.013e0

138.9359	1.013e0

139.0675	5.063e0

139.1063	4.373e0

139.1599	2.025e0

139.2210	2.025e0

139.3529	1.013e0

139.3940	1.013e0

139.4438	1.013e0

139.5726	1.013e0

139.6024	2.025e0

139.6322	1.013e0

139.6684	2.025e0

139.6999	3.038e0

139.7135	1.013e0

139.7496	2.025e0

139.8279	5.063e0

139.8678	1.013e0

139.9020	2.025e0

139.9181	1.013e0

139.9995	1.013e0

140.0406	1.991e0

140.0710	2.335e0

140.0901	5.622e0

140.1455	2.216e0

140.1793	1.013e0

140.2011	2.025e0

140.2453	1.013e0

140.2825	1.013e0

140.3141	1.013e0

140.3522	4.406e0

140.3963	1.013e0

140.4344	3.038e0

140.4657	1.013e0

140.4810	1.013e0

140.5496	3.038e0

140.5884	1.013e0

140.6008	1.013e0

140.6309	2.025e0

140.6639	2.025e0

140.7079	1.013e0

140.7394	1.013e0

140.7880	3.038e0

140.8816	2.025e0

140.9284	2.025e0

140.9713	2.025e0

141.0231	1.013e0

141.0520	1.881e0

141.0666	2.995e0

141.0826	2.173e0

141.1548	3.038e0

141.2033	1.013e0

141.2774	3.038e0

141.3231	1.013e0

141.3611	1.013e0

141.4056	1.013e0

141.4354	3.038e0

141.4655	1.013e0

141.5222	1.013e0

141.5700	1.013e0

141.6109	2.025e0

141.6647	2.025e0

141.6848	2.025e0

141.7061	1.013e0

141.7530	1.013e0

141.8276	2.025e0

141.8543	1.013e0

141.8826	1.013e0

141.9240	1.013e0

141.9749	2.025e0

142.0096	1.013e0

142.0411	3.642e0

142.0699	2.977e0

142.1031	2.023e1

142.1265	1.070e0

142.1518	1.013e0

142.1698	2.025e0

142.1932	1.013e0

142.2281	1.013e0

142.2803	2.025e0

142.2946	1.013e0

142.3393	1.013e0

142.3579	1.013e0

142.4058	1.013e0

142.4691	1.013e0

142.5334	3.038e0

142.5576	1.013e0

142.5771	1.013e0

142.6152	1.013e0

142.6291	2.025e0

142.6530	1.013e0

142.6922	2.025e0

142.7503	2.025e0

142.7769	2.025e0

142.7989	1.013e0

142.8785	1.013e0

142.9704	1.013e0

142.9959	5.063e0

143.0673	4.843e1

143.1258	1.120e1

143.1676	3.038e0

143.2055	1.013e0

143.2404	1.013e0

143.2642	3.038e0

143.2982	2.025e0

143.3552	1.013e0

143.3682	1.013e0

143.4032	1.013e0

143.4219	1.013e0

143.4520	2.025e0

143.4706	4.051e0

143.5106	3.038e0

143.5715	1.114e1

143.6353	1.013e0

143.6545	1.013e0

143.6805	3.038e0

143.7135	2.025e0

143.7404	2.025e0

143.7946	4.051e0

143.8520	1.013e0

143.8805	2.025e0

143.8969	1.013e0

143.9156	1.013e0

143.9702	1.013e0

144.0142	1.013e0

144.0352	4.015e0

144.0664	3.988e0

144.1134	3.038e0

144.1487	1.013e0

144.1850	3.038e0

144.2158	1.013e0

144.2487	3.038e0

144.2794	1.013e0

144.2951	1.013e0

144.3303	1.013e0

144.3463	1.013e0

144.3715	2.025e0

144.3912	1.013e0

144.4516	1.013e0

144.4725	2.025e0

144.4982	2.025e0

144.5684	2.025e0

144.5825	1.013e0

144.6068	2.025e0

144.6370	3.038e0

144.6991	2.025e0

144.7293	1.013e0

144.7630	2.025e0

144.7907	1.013e0

144.8094	1.013e0

144.8258	2.025e0

144.8609	1.013e0

144.9279	1.013e0

144.9924	9.037e0

145.0351	1.998e0

145.0675	3.886e0

145.1466	3.675e0

145.1631	2.025e0

145.1872	1.013e0

145.2175	2.025e0

145.2886	3.038e0

145.3181	2.025e0

145.3378	1.013e0

145.3730	3.038e0

145.4066	2.025e0

145.4369	1.013e0

145.4533	1.013e0

145.5106	1.013e0

145.5441	2.025e0

145.5810	1.013e0

145.6039	1.013e0

145.6359	1.013e0

145.6965	2.025e0

145.7318	1.013e0

145.7670	1.013e0

145.7801	1.013e0

145.8407	1.013e0

145.8605	2.025e0

145.8842	2.025e0

145.9662	1.013e0

146.0047	1.013e0

146.0749	6.478e1

146.1203	9.318e0

146.1557	1.013e0

146.2300	4.051e0

146.2583	1.013e0

146.2841	1.013e0

146.3067	4.051e0

146.4518	3.416e0

146.4709	1.013e0

146.5537	2.025e0

146.5721	3.038e0

146.6425	2.025e0

146.6729	1.013e0

146.7148	1.013e0

146.7970	2.025e0

146.8858	1.013e0

146.9433	1.013e0

146.9699	2.025e0

146.9875	4.051e0

147.0115	1.013e0

147.0472	1.612e0

147.0832	1.582e1

147.1020	4.661e0

147.1223	4.095e0

147.1723	3.038e0

147.1984	1.013e0

147.2305	1.013e0

147.2560	4.051e0

147.2980	1.013e0

147.3629	1.013e0

147.4077	1.013e0

147.4256	2.025e0

147.4436	2.025e0

147.4697	2.410e0

147.5179	1.013e0

147.5853	1.013e0

147.6645	2.215e0

147.7015	1.013e0

147.8532	2.025e0

147.8764	2.025e0

147.9084	1.013e0

147.9373	1.013e0

147.9826	1.013e0

148.0019	1.013e0

148.0263	2.025e0

148.0701	2.417e0

148.1165	5.593e0

148.1476	1.013e0

148.1634	2.025e0

148.1812	3.038e0

148.2086	2.025e0

148.2961	1.013e0

148.3342	4.051e0

148.3820	4.051e0

148.4032	1.013e0

148.4291	3.038e0

148.4452	1.013e0

148.4712	2.025e0

148.4934	1.013e0

148.5443	1.411e0

148.5636	2.025e0

148.6492	1.013e0

148.7463	2.025e0

148.7885	1.013e0

148.8084	2.025e0

148.9437	1.013e0

148.9670	1.013e0

148.9960	1.013e0

149.1614	1.013e0

149.2003	1.013e0

149.2202	1.013e0

149.2425	1.013e0

149.2624	1.013e0

149.2880	2.025e0

149.3453	2.025e0

149.3790	1.013e0

149.4246	1.013e0

149.4469	1.013e0

149.4668	1.013e0

149.5280	1.013e0

149.5414	1.013e0

149.5611	1.013e0

149.6392	1.013e0

149.6681	3.038e0

149.6988	2.025e0

149.7271	1.013e0

149.7726	4.051e0

149.7949	1.013e0

149.8082	1.013e0

149.8438	1.013e0

149.8630	1.013e0

149.8861	1.013e0

149.9117	2.025e0

149.9807	1.013e0

150.0096	1.013e0

150.0293	1.013e0

150.0501	2.521e0

150.0720	3.404e0

150.1037	2.938e1

150.1365	2.451e1

150.1789	1.013e0

150.2278	1.013e0

150.2865	1.013e0

150.3042	2.025e0

150.3396	2.025e0

150.3790	2.025e0

150.4478	2.025e0

150.4751	2.025e0

150.5017	2.025e0

150.5417	5.063e0

150.5682	2.025e0

150.6713	1.013e0

150.6927	3.038e0

150.7527	1.013e0

150.8126	2.025e0

150.8665	1.013e0

150.9009	2.025e0

150.9156	1.013e0

150.9512	1.013e0

150.9848	2.025e0

151.0535	6.191e1

151.0936	4.364e0

151.1097	6.734e0

151.1301	2.389e0

151.1611	2.025e0

151.1767	1.013e0

151.2046	5.063e0

151.2587	7.089e0

151.3565	1.013e0

151.3862	1.013e0

151.3989	1.013e0

151.4289	1.013e0

151.4464	2.025e0

151.4724	3.038e0

151.4905	1.013e0

151.5191	2.025e0

151.5553	1.316e1

151.5888	1.013e0

151.6120	2.025e0

151.6855	2.025e0

151.7065	2.025e0

151.7522	1.013e0

151.7721	2.025e0

151.8129	2.025e0

151.8451	2.025e0

151.8866	1.013e0

151.9080	2.025e0

151.9355	1.013e0

151.9705	2.025e0

152.0109	4.051e0

152.0553	1.521e1

152.0847	1.888e0

152.1223	4.140e0

152.2341	1.013e0

152.2522	2.025e0

152.3380	3.038e0

152.3701	2.025e0

152.3914	1.013e0

152.4277	1.013e0

152.4552	2.025e0

152.4834	2.025e0

152.5196	1.013e0

152.5488	2.025e0

152.5783	2.025e0

152.5997	2.025e0

152.6406	1.013e0

152.6641	1.013e0

152.7033	1.013e0

152.7526	1.013e0

152.7686	1.013e0

152.8085	1.013e0

152.9096	2.025e0

152.9774	2.025e0

152.9989	1.013e0

153.0548	1.207e1

153.0783	3.997e0

153.1468	2.439e1

153.2484	1.013e0

153.2821	2.025e0

153.3112	1.013e0

153.3358	2.025e0

153.3706	1.013e0

153.4326	2.025e0

153.4493	1.013e0

153.4978	3.038e0

153.5481	3.038e0

153.5715	1.013e0

153.6334	1.013e0

153.6469	1.013e0

153.6673	2.025e0

153.6930	2.025e0

153.7151	2.025e0

153.7559	2.025e0

153.8053	1.013e0

153.8277	2.025e0

153.8438	3.038e0

153.8634	3.038e0

153.9092	2.025e0

153.9301	1.013e0

153.9779	2.025e0

154.0775	3.545e0

154.0972	5.071e0

154.1208	2.672e0

154.1597	2.025e0

154.1993	2.025e0

154.2559	2.025e0

154.3293	1.013e0

154.3461	1.013e0

154.3687	1.013e0

154.3889	2.025e0

154.4317	1.013e0

154.4552	2.025e0

154.4846	1.013e0

154.5172	1.013e0

154.5621	2.025e0

154.6006	1.013e0

154.6240	3.038e0

154.6646	3.038e0

154.7540	3.038e0

154.7802	2.025e0

154.8416	2.025e0

154.8777	1.013e0

154.9080	1.013e0

154.9475	1.013e0

154.9768	1.013e0

154.9970	1.013e0

155.0366	1.013e0

155.0536	1.721e0

155.0860	3.090e0

155.1161	1.653e0

155.1548	4.786e0

155.1972	2.025e0

155.2156	1.013e0

155.2418	3.038e0

155.3048	1.013e0

155.3276	1.013e0

155.3511	1.013e0

155.4008	2.025e0

155.4270	3.038e0

155.4843	3.038e0

155.5204	1.013e0

155.5700	1.013e0

155.5994	1.013e0

155.6296	1.013e0

155.6920	1.013e0

155.7089	1.013e0

155.7419	1.013e0

155.7804	3.038e0

155.8049	1.013e0

155.8354	1.013e0

155.8546	1.013e0

155.8885	1.013e0

155.9042	1.013e0

155.9447	1.013e0

155.9760	2.025e0

155.9962	2.025e0

156.0409	1.013e0

156.0829	2.233e1

156.1193	2.363e0

156.1488	1.900e0

156.1751	3.038e0

156.3259	1.013e0

156.3546	2.025e0

156.4005	4.051e0

156.4355	1.013e0

156.4592	2.025e0

156.4955	1.013e0

156.5452	1.013e0

156.5724	2.025e0

156.6120	1.013e0

156.7048	1.013e0

156.7269	2.025e0

156.7486	1.013e0

156.7682	1.013e0

156.7986	3.038e0

156.8282	1.013e0

156.8647	1.013e0

156.8983	1.013e0

157.0082	1.013e0

157.0216	1.013e0

157.0867	2.984e0

157.1113	4.801e0

157.1337	1.489e0

157.1540	1.193e0

157.1782	2.025e0

157.2178	1.013e0

157.3466	7.058e0

157.3845	1.013e0

157.4207	1.013e0

157.4378	1.013e0

157.4679	1.013e0

157.5246	1.013e0

157.5781	1.013e0

157.5960	2.025e0

157.6198	4.051e0

157.6561	2.025e0

157.7763	2.025e0

157.8444	4.051e0

157.9086	1.013e0

157.9347	1.013e0

157.9670	2.025e0

158.0551	1.013e0

158.0888	1.013e0

158.1924	3.038e0

158.2356	1.013e0

158.2625	1.013e0

158.2924	1.013e0

158.3646	2.025e0

158.4027	1.013e0

158.4196	1.013e0

158.4697	1.013e0

158.5253	1.410e0

158.5534	5.063e0

158.6071	3.038e0

158.7307	3.038e0

158.7506	1.013e0

158.7973	1.013e0

158.8220	3.038e0

158.8479	1.013e0

158.9113	2.025e0

158.9383	1.013e0

158.9652	1.013e0

158.9866	2.025e0

159.0054	1.013e0

159.0657	1.013e0

159.1214	8.917e0

159.1581	4.886e0

159.1933	2.025e0

159.3641	1.013e0

159.3811	1.013e0

159.4848	1.013e0

159.5163	2.025e0

159.5780	3.038e0

159.6865	1.013e0

159.7096	1.623e0

159.7299	2.025e0

159.7903	1.013e0

159.8320	2.025e0

159.8807	1.013e0

159.9734	2.025e0

160.0136	3.038e0

160.0665	3.968e0

160.1235	2.810e0

160.1471	1.694e0

160.2205	1.013e0

160.2539	1.013e0

160.2742	1.013e0

160.2947	1.013e0

160.3327	3.038e0

160.3986	1.013e0

160.4375	2.025e0

160.5074	2.025e0

160.5436	1.013e0

160.5905	1.013e0

160.6180	1.013e0

160.6511	1.013e0

160.7013	1.013e0

160.7392	4.051e0

160.7722	2.025e0

160.8198	1.013e0

160.8465	1.013e0

160.8705	1.013e0

160.9174	1.013e0

160.9810	4.051e0

161.0421	1.013e0

161.0688	6.076e0

161.0925	2.861e0

161.1266	1.974e0

161.1599	1.013e0

161.1907	1.013e0

161.2445	2.025e0

161.2685	1.013e0

161.2966	2.025e0

161.3258	2.025e0

161.3624	2.025e0

161.3952	2.025e0

161.4265	1.013e0

161.4853	2.025e0

161.5112	1.013e0

161.5415	1.013e0

161.5685	1.013e0

161.5856	2.025e0

161.7174	1.013e0

161.7408	1.013e0

161.7644	2.025e0

161.8457	1.013e0

161.8962	1.013e0

161.9254	2.025e0

161.9468	1.013e0

161.9707	1.013e0

161.9878	1.013e0

162.0606	2.025e0

162.1076	1.308e0

162.1455	2.296e0

162.1667	1.013e0

162.2012	1.013e0

162.2755	1.013e0

162.2986	1.013e0

162.3562	1.013e0

162.4512	2.025e0

162.5103	2.025e0

162.5396	1.013e0

162.5918	2.025e0

162.6339	1.013e0

162.6855	1.013e0

162.7226	4.051e0

162.7586	2.025e0

162.7830	2.025e0

162.8209	1.013e0

162.8507	1.013e0

162.8732	2.025e0

162.8973	2.025e0

162.9289	1.013e0

162.9685	2.025e0

162.9864	1.013e0

163.0211	5.063e0

163.0714	1.013e0

163.1005	1.969e0

163.1156	3.333e0

163.1369	7.145e0

163.1638	1.519e0

163.2649	2.025e0

163.2956	1.013e0

163.3163	2.025e0

163.3363	1.013e0

163.3703	1.013e0

163.4044	1.013e0

163.5552	4.051e0

163.6901	1.013e0

163.7096	1.013e0

163.7408	2.025e0

163.7840	4.051e0

163.8259	1.013e0

163.9209	1.013e0

163.9341	1.013e0

164.0332	1.013e0

164.0617	3.038e0

164.0841	4.750e0

164.1147	8.352e1

164.1560	9.655e0

164.1934	2.025e0

164.2293	3.038e0

164.2738	3.038e0

164.3437	4.051e0

164.3724	3.038e0

164.4061	2.025e0

164.4611	3.679e0

164.5312	3.038e0

164.5577	3.038e0

164.6064	2.025e0

164.6327	1.013e0

164.7230	3.038e0

164.7653	1.013e0

164.7995	4.051e0

164.8634	2.327e0

164.9088	1.013e0

164.9292	2.025e0

164.9709	2.025e0

165.0112	1.013e0

165.0576	2.025e0

165.1175	2.258e1

165.1528	1.786e0

165.1994	1.013e0

165.2163	1.013e0

165.2850	2.025e0

165.3670	1.013e0

165.3921	3.038e0

165.4489	1.013e0

165.4754	3.038e0

165.5044	3.038e0

165.5576	3.038e0

165.6432	1.013e0

165.6692	2.025e0

165.6936	2.025e0

165.7287	1.013e0

165.7769	1.013e0

165.8128	3.038e0

165.8843	2.025e0

165.9277	1.013e0

165.9977	2.025e0

166.0538	1.013e0

166.0920	3.132e0

166.1143	5.010e0

166.1386	5.467e0

166.1844	1.013e0

166.2078	3.038e0

166.2390	1.013e0

166.3074	1.013e0

166.3654	1.013e0

166.4323	3.038e0

166.4857	1.013e0

166.5401	1.013e0

166.5853	1.013e0

166.6125	1.013e0

166.7221	1.013e0

166.7430	3.038e0

166.7993	3.038e0

166.8357	1.013e0

166.8712	4.051e0

167.0995	2.727e0

167.1686	3.038e0

167.2067	2.025e0

167.2510	1.013e0

167.2806	2.025e0

167.3105	2.025e0

167.3334	1.013e0

167.3853	1.013e0

167.4123	1.013e0

167.4367	1.013e0

167.4576	1.013e0

167.5016	2.025e0

167.5435	1.013e0

167.5946	1.013e0

167.6503	1.013e0

167.6806	1.013e0

167.7096	5.063e0

167.7852	3.038e0

167.8525	1.013e0

167.8770	1.013e0

167.8943	1.013e0

167.9288	1.013e0

167.9595	1.013e0

168.0674	3.038e0

168.1262	4.131e0

168.1874	1.013e0

168.2508	2.025e0

168.2874	1.013e0

168.3140	1.013e0

168.3386	1.013e0

168.3595	1.013e0

168.4299	2.025e0

168.4983	2.025e0

168.5457	1.013e0

168.5735	2.025e0

168.6388	1.013e0

168.7128	2.025e0

168.7766	1.013e0

168.8391	1.013e0

168.8548	2.025e0

168.9184	1.013e0

168.9533	1.013e0

168.9767	1.013e0

168.9906	1.013e0

169.0290	2.025e0

169.0734	4.832e0

169.1056	3.572e0

169.2016	1.013e0

169.2331	2.025e0

169.2843	1.013e0

169.3228	2.025e0

169.3931	3.038e0

169.4196	1.013e0

169.5059	1.013e0

169.5887	1.013e0

169.6202	1.013e0

169.6548	1.013e0

169.6785	1.013e0

169.8523	3.038e0

169.9354	3.038e0

169.9596	1.013e0

170.0113	1.013e0

170.0499	1.013e0

170.0735	1.013e0

170.1664	7.975e0

170.1999	2.025e0

170.2596	2.096e0

170.2815	1.013e0

170.3531	2.025e0

170.3755	1.013e0

170.4483	1.013e0

170.4827	4.051e0

170.5032	1.013e0

170.5558	1.013e0

170.5888	3.038e0

170.6301	2.025e0

170.6494	1.013e0

170.6810	1.013e0

170.6948	1.013e0

170.7254	1.013e0

170.7675	1.013e0

170.7991	1.013e0

170.8295	1.013e0

170.9122	2.025e0

170.9371	1.013e0

171.0004	2.025e0

171.0395	2.025e0

171.0756	3.038e0

171.1224	1.395e0

171.1559	1.456e1

171.1913	2.025e0

171.2299	1.013e0

171.2867	2.025e0

171.3483	1.013e0

171.4103	1.013e0

171.4366	2.025e0

171.4739	4.051e0

171.5154	3.038e0

171.5497	2.025e0

171.5829	2.025e0

171.6152	2.025e0

171.6365	1.013e0

171.7029	1.013e0

171.7266	1.013e0

171.7478	1.013e0

171.7900	1.013e0

171.8246	1.013e0

171.8415	1.013e0

171.8803	1.013e0

171.9430	2.025e0

171.9847	1.013e0

172.0269	1.013e0

172.0681	2.025e0

172.0965	2.918e0

172.1495	1.427e0

172.1710	3.038e0

172.2023	2.025e0

172.2393	1.013e0

172.2569	1.013e0

172.3155	1.013e0

172.3403	1.013e0

172.4003	1.013e0

172.4173	1.013e0

172.4589	1.013e0

172.4818	2.025e0

172.5292	1.013e0

172.6127	2.025e0

172.6480	1.013e0

172.8219	1.013e0

172.8677	1.013e0

172.9284	3.038e0

172.9688	2.025e0

172.9882	2.025e0

173.0406	3.038e0

173.0918	4.051e0

173.1957	2.025e0

173.2276	1.013e0

173.2593	2.025e0

173.2839	1.013e0

173.3464	1.013e0

173.4065	1.013e0

173.4338	1.013e0

173.4474	1.013e0

173.4829	2.025e0

173.5076	1.013e0

173.5360	1.013e0

173.5947	1.013e0

173.7277	2.025e0

173.7737	1.013e0

173.8227	1.013e0

173.8715	1.013e0

173.8944	2.025e0

173.9763	1.013e0

174.0099	2.025e0

174.0541	1.013e0

174.1062	3.811e0

174.1295	4.914e0

174.1659	1.067e1

174.2157	1.013e0

174.2431	1.013e0

174.2567	1.013e0

174.2780	1.013e0

174.2993	2.025e0

174.3834	1.013e0

174.4077	2.025e0

174.4396	2.025e0

174.4803	2.025e0

174.5083	2.025e0

174.5800	1.013e0

174.6118	1.013e0

174.6368	1.013e0

174.7204	1.013e0

174.7523	2.025e0

174.7843	1.013e0

174.8503	2.025e0

174.9353	1.013e0

174.9628	1.013e0

175.0173	2.025e0

175.0581	1.013e0

175.0969	3.022e0

175.1275	8.057e0

175.1685	2.025e0

175.2129	1.013e0

175.3093	3.038e0

175.3748	1.013e0

175.3992	1.013e0

175.5083	1.013e0

175.5468	4.051e0

175.5885	2.025e0

175.6278	2.025e0

175.6543	2.025e0

175.7010	3.869e0

175.8040	2.025e0

175.8431	1.013e0

175.8745	1.013e0

175.9110	2.025e0

175.9696	1.013e0

175.9910	1.013e0

176.0366	1.013e0

176.0623	2.025e0

176.0909	2.025e0

176.1293	1.332e1

176.1644	1.907e0

176.1939	5.063e0

176.2196	1.013e0

176.2656	1.013e0

176.3716	1.013e0

176.4537	3.038e0

176.5114	2.025e0

176.5619	3.038e0

176.6116	2.025e0

176.6863	1.013e0

176.7382	1.013e0

176.7597	1.013e0

176.8575	2.025e0

176.8819	2.025e0

176.9079	1.013e0

176.9506	1.013e0

176.9941	4.051e0

177.0362	1.013e0

177.0689	3.038e0

177.0871	3.867e0

177.1153	2.552e0

177.1942	3.038e0

177.2827	2.025e0

177.3398	1.013e0

177.5096	1.013e0

177.5845	2.025e0

177.6194	1.013e0

177.6616	3.038e0

177.7543	1.013e0

177.7968	2.025e0

177.8420	1.013e0

177.8743	1.013e0

177.9277	2.025e0

177.9599	2.025e0

178.0126	1.013e0

178.0549	1.013e0

178.0817	2.025e0

178.1013	2.920e0

178.1389	6.262e0

178.1675	2.002e1

178.2252	1.013e0

178.2695	2.025e0

178.3678	2.025e0

178.3837	2.025e0

178.4205	1.013e0

178.4485	1.013e0

178.4986	1.013e0

178.5307	1.013e0

178.5629	1.013e0

178.6339	3.038e0

178.6723	1.013e0

178.7179	3.038e0

178.8168	2.025e0

178.8675	2.025e0

178.8944	2.025e0

178.9177	2.025e0

178.9356	1.013e0

178.9659	2.025e0

178.9999	4.051e0

179.0198	3.038e0

179.0426	2.025e0

179.0738	3.038e0

179.1303	1.901e1

179.1637	1.485e1

179.2106	3.038e0

179.2648	2.025e0

179.2854	4.051e0

179.3442	1.013e0

179.3782	2.025e0

179.4444	1.013e0

179.4999	2.025e0

179.5565	4.051e0

179.5755	1.013e0

179.6114	2.025e0

179.6418	2.025e0

179.6722	1.013e0

179.7081	1.013e0

179.7471	1.013e0

179.7682	1.013e0

179.8572	2.025e0

179.9012	4.051e0

179.9495	5.063e0

180.0374	5.063e0

180.1109	2.105e2

180.1678	3.933e0

180.2035	2.025e0

180.2428	2.080e0

180.2744	4.051e0

180.3168	2.025e0

180.3475	3.038e0

180.3886	3.038e0

180.4280	1.013e0

180.4531	1.013e0

180.4988	3.038e0

180.5404	5.036e0

180.5688	3.038e0

180.6061	1.013e0

180.6312	1.013e0

180.6528	1.013e0

180.7450	3.038e0

180.7835	2.025e0

180.8136	1.013e0

180.8400	2.025e0

180.8829	2.025e0

180.8991	2.025e0

180.9206	1.013e0

180.9691	2.025e0

180.9852	2.025e0

181.0164	7.351e0

181.0426	3.038e0

181.0624	3.038e0

181.1159	2.241e1

181.1715	3.083e0

181.1904	2.025e0

181.2066	1.013e0

181.2425	2.025e0

181.3036	1.013e0

181.3324	1.013e0

181.4249	1.013e0

181.4532	1.013e0

181.5107	1.013e0

181.5448	2.025e0

181.5862	1.013e0

181.6305	3.038e0

181.6654	1.013e0

181.7013	2.025e0

181.7597	3.038e0

181.7862	1.013e0

181.8705	3.038e0

181.8951	1.471e0

181.9499	2.025e0

182.0308	2.025e0

182.1035	1.899e0

182.1417	2.282e0

182.1789	2.025e0

182.1987	1.013e0

182.2527	1.013e0

182.2815	2.025e0

182.3157	2.025e0

182.3391	1.013e0

182.3860	1.013e0

182.4127	2.025e0

182.5105	1.013e0

182.5539	2.025e0

182.5791	1.013e0

182.5971	1.013e0

182.6367	1.013e0

182.6998	2.025e0

182.7558	2.025e0

182.7845	2.025e0

182.8948	2.025e0

182.9345	2.025e0

182.9901	3.650e0

183.0180	5.473e0

183.0725	3.038e0

183.1091	1.747e0

183.1524	3.215e0

183.1871	2.025e0

183.2287	3.038e0

183.2621	1.013e0

183.2989	3.038e0

183.3623	1.013e0

183.3949	1.013e0

183.4202	1.013e0

183.4490	2.025e0

183.5031	1.013e0

183.5500	1.013e0

183.6042	1.013e0

183.6259	1.013e0

183.6693	1.013e0

183.7622	1.013e0

183.7991	3.038e0

183.8447	1.013e0

183.8846	3.038e0

183.9207	1.013e0

183.9460	1.013e0

183.9893	2.025e0

184.0471	2.025e0

184.0724	2.025e0

184.1339	2.128e0

184.1678	5.369e0

184.1935	2.025e0

184.2205	1.013e0

184.2850	1.013e0

184.3209	1.013e0

184.3604	1.013e0

184.3927	1.013e0

184.4416	2.025e0

184.5845	3.038e0

184.6568	1.013e0

184.7256	1.013e0

184.7714	3.038e0

184.8487	2.025e0

184.9205	1.013e0

184.9817	1.013e0

185.0428	1.013e0

185.0788	1.876e0

185.0952	1.919e0

185.2166	1.013e0

185.3170	3.038e0

185.3759	1.013e0

185.4321	2.025e0

185.4810	2.025e0

185.5064	3.038e0

185.5318	1.013e0

185.5572	1.013e0

185.5880	2.025e0

185.6279	2.025e0

185.7166	1.013e0

185.7346	1.013e0

185.7780	1.013e0

185.8466	2.025e0

185.8953	2.025e0

185.9513	1.013e0

185.9783	2.025e0

186.0163	2.025e0

186.0344	1.013e0

186.0741	1.681e0

186.1448	2.152e0

186.1855	2.733e0

186.2312	6.363e0

186.3066	2.025e0

186.3357	1.013e0

186.3629	2.025e0

186.4247	3.038e0

186.5181	3.038e0

186.5571	2.025e0

186.5853	3.038e0

186.6225	1.013e0

186.6678	3.038e0

186.7060	1.013e0

186.7242	1.013e0

186.7496	1.013e0

186.7751	1.013e0

186.8368	2.025e0

186.8877	2.025e0

186.9551	4.051e0

186.9885	3.038e0

187.0222	1.013e0

187.0458	2.025e0

187.0768	5.594e0

187.1101	4.987e0

187.1333	2.442e0

187.2658	1.013e0

187.2840	2.025e0

187.3241	1.013e0

187.3459	1.013e0

187.3967	3.038e0

187.4532	2.025e0

187.4805	1.013e0

187.5132	1.013e0

187.5460	1.013e0

187.5897	1.013e0

187.6279	2.025e0

187.6588	3.038e0

187.7425	1.013e0

187.7644	1.013e0

187.7971	1.013e0

187.8153	1.013e0

187.8845	1.013e0

187.9852	3.038e0

188.0374	2.025e0

188.1447	1.334e0

188.2232	1.013e0

188.2560	2.025e0

188.2888	1.013e0

188.3781	2.025e0

188.4054	1.013e0

188.4387	4.051e0

188.5002	1.013e0

188.5257	1.013e0

188.5476	1.013e0

188.5768	2.025e0

188.5987	2.025e0

188.6461	3.038e0

188.6680	2.025e0

188.7154	1.013e0

188.7464	2.025e0

188.7847	1.013e0

188.8266	2.025e0

188.8649	1.013e0

188.9105	3.038e0

188.9707	1.013e0

189.0276	5.063e0

189.0742	3.637e0

189.0929	1.612e0

189.1753	2.533e0

189.2521	2.025e0

189.2887	1.013e0

189.3070	1.013e0

189.3400	2.025e0

189.3804	1.013e0

189.4061	1.013e0

189.4354	1.013e0

189.4538	3.038e0

189.5197	2.025e0

189.6003	1.013e0

189.6331	1.013e0

189.7682	1.013e0

189.7932	2.624e0

189.8651	2.025e0

189.8962	1.013e0

189.9291	1.013e0

189.9730	1.013e0

190.0005	3.038e0

190.0333	2.025e0

190.1387	3.043e0

190.1741	1.013e0

190.1999	1.013e0

190.2662	1.013e0

190.2846	1.013e0

190.3195	2.025e0

190.3496	3.038e0

190.3754	3.038e0

190.4151	2.025e0

190.4792	1.013e0

190.5051	2.354e0

190.5506	2.025e0

190.5798	2.025e0

190.6156	4.051e0

190.6652	4.621e0

190.7179	7.134e0

190.7379	2.383e0

190.7734	4.787e0

190.7968	5.340e0

190.8511	5.063e0

190.8988	8.150e0

190.9473	3.036e0

190.9706	5.063e0

190.9977	7.089e0

191.0405	6.242e0

191.0690	6.857e0

191.1051	1.277e1

191.1307	1.191e1

191.1656	1.454e1

191.1934	4.051e0

191.2415	7.089e0

191.2983	1.316e1

191.3365	8.101e0

191.3805	8.884e0

191.4875	1.233e1

191.5324	6.133e0

191.5969	7.982e0

191.6393	1.195e1

191.6648	7.406e0

191.7107	9.114e0

191.7524	1.468e1

191.7858	1.316e1

191.8136	1.095e1

191.8419	2.070e1

191.8643	2.232e1

191.9154	3.519e1

191.9648	2.652e1

191.9947	2.452e1

192.0359	2.868e1

192.0850	3.595e1

192.1393	5.804e3

192.2156	2.025e0

192.2929	1.974e3

192.3607	1.147e1

192.4030	1.233e1

192.4473	8.098e0

192.4709	2.347e1

192.5203	3.260e1

192.5471	1.196e1

192.5922	5.179e1

192.6423	3.289e1

192.6679	1.881e1

192.7186	2.312e1

192.7450	1.289e1

192.7657	8.375e0

192.8006	6.948e0

192.8250	2.273e1

192.8866	2.532e1

192.9417	3.064e1

193.0092	3.367e1

193.0499	8.112e0

193.0795	1.844e1

193.1519	1.918e3

193.2233	1.631e1

193.2721	8.101e0

193.2970	1.638e1

193.3195	1.215e1

193.3508	1.149e1

193.3801	4.051e0

193.4284	1.327e1

193.4708	1.418e1

193.5283	8.101e0

193.5734	6.076e0

193.6072	6.164e0

193.6362	8.236e0

193.6644	1.620e1

193.6912	6.076e0

193.7134	6.444e0

193.7399	1.022e1

193.7781	8.622e0

193.8030	4.689e0

193.8316	8.853e0

193.8717	5.738e0

193.8918	6.989e0

193.9510	3.038e0

193.9985	1.201e1

194.0269	3.038e0

194.0568	4.121e0

194.0750	5.535e0

194.1576	1.958e2

194.2284	6.076e0

194.2760	9.091e0

194.3095	1.114e1

194.3479	8.101e0

194.3835	5.698e0

194.4259	9.114e0

194.4719	8.462e0

194.5189	6.076e0

194.5467	8.105e0

194.6033	4.957e0

194.6310	5.349e0

194.6648	4.452e0

194.6892	5.154e0

194.7432	6.076e0

194.7876	6.363e0

194.8285	2.025e0

194.8644	9.151e0

194.8945	7.277e0

194.9273	5.063e0

194.9606	7.779e0

195.0121	5.063e0

195.0468	5.063e0

195.0719	3.847e0

195.1069	1.590e1

195.1595	1.905e1

195.2080	5.383e0

195.2436	3.038e0

195.3104	5.477e0

195.3477	3.038e0

195.3818	5.063e0

195.4171	2.025e0

195.4485	3.955e0

195.4815	3.038e0

195.5155	3.038e0

195.5525	2.025e0

195.5913	1.013e0

195.6208	1.013e0

195.6587	5.063e0

195.6808	3.038e0

195.7194	5.063e0

195.7573	3.038e0

195.7887	2.025e0

195.8238	2.025e0

195.8496	2.025e0

195.8781	3.038e0

195.9404	9.114e0

195.9826	1.131e1

196.0386	3.639e0

196.0838	9.092e0

196.1108	2.520e0

196.1663	1.126e1

196.2036	2.025e0

196.3031	5.063e0

196.3390	1.013e0

196.3629	2.025e0

196.4099	2.025e0

196.4681	3.038e0

196.4941	2.025e0

196.5262	4.573e0

196.5699	1.013e0

196.6163	2.025e0

196.6390	2.025e0

196.6596	1.013e0

196.6916	2.025e0

196.7288	2.025e0

196.7540	4.051e0

196.7824	1.013e0

196.8194	1.013e0

196.8566	1.013e0

196.8757	2.049e0

196.9286	4.921e0

196.9746	2.025e0

196.9978	3.038e0

197.0592	6.011e0

197.0975	1.635e0

197.1262	2.467e0

197.1470	1.519e0

197.1707	2.025e0

197.1892	1.013e0

197.2263	4.051e0

197.2854	1.013e0

197.3260	3.038e0

197.3983	1.013e0

197.4334	3.618e0

197.4851	3.038e0

197.5217	4.218e0

197.5474	2.025e0

197.6061	8.101e0

197.6445	3.038e0

197.6926	4.051e0

197.7452	1.013e0

197.7794	1.013e0

197.8130	2.025e0

197.8441	5.063e0

197.9241	1.013e0

198.0031	4.051e0

198.0394	4.051e0

198.1010	7.832e0

198.1270	6.695e0

198.1535	2.025e0

198.1755	1.013e0

198.2094	1.013e0

198.2353	1.013e0

198.2910	2.025e0

198.3416	2.025e0

198.3831	2.025e0

198.4207	2.025e0

198.4410	2.025e0

198.4745	1.013e0

198.4968	1.013e0

198.5378	1.013e0

198.5607	2.025e0

198.6172	1.013e0

198.6506	1.013e0

198.6802	4.051e0

198.7279	3.038e0

198.7572	2.025e0

198.7882	4.051e0

198.8602	1.013e0

198.9106	2.025e0

198.9448	3.182e0

199.0099	5.485e0

199.0406	3.827e1

199.1341	2.362e0

199.1488	1.414e0

199.2294	4.051e0

199.2684	3.038e0

199.3190	3.038e0

199.3742	1.013e0

199.4189	1.013e0

199.4411	1.013e0

199.5150	2.025e0

199.5674	2.025e0

199.5966	4.051e0

199.6420	2.025e0

199.6897	1.013e0

199.7345	3.038e0

199.7606	1.013e0

199.8355	1.013e0

199.8586	1.013e0

199.8906	2.025e0

200.0004	2.048e1

200.0452	4.051e0

200.1081	1.758e0

200.2004	2.025e0

200.2299	6.076e0

200.2941	2.025e0

200.3471	2.025e0

200.3697	1.031e0

200.4093	2.025e0

200.4720	3.038e0

200.5275	1.013e0

200.5621	3.338e0

200.6214	1.013e0

200.6627	2.025e0

200.7646	2.025e0

200.8227	4.051e0

200.8626	1.013e0

200.9005	1.013e0

200.9942	5.063e0

201.0550	2.025e0

201.0829	3.783e0

201.1070	4.751e0

201.1396	1.115e0

201.1860	1.910e0

201.2419	3.564e0

201.2767	2.025e0

201.2934	2.025e0

201.3316	2.025e0

201.3642	1.013e0

201.4294	2.025e0

201.5058	4.051e0

201.5560	1.013e0

201.5810	2.508e0

201.6044	2.356e0

201.6500	3.038e0

201.6809	1.013e0

201.7443	2.025e0

201.8068	2.025e0

201.8282	1.013e0

201.8664	3.038e0

201.9829	1.013e0

202.0164	1.013e0

202.0352	1.013e0

202.1060	3.022e0

202.1790	2.560e0

202.2507	1.013e0

202.2756	2.025e0

202.3448	1.013e0

202.3988	5.063e0

202.4530	2.025e0

202.5533	1.013e0

202.5799	2.025e0

202.6397	1.013e0

202.6815	1.013e0

202.7199	1.013e0

202.7723	2.025e0

202.7964	2.025e0

202.8279	3.038e0

202.8614	3.038e0

202.9048	1.013e0

202.9291	2.025e0

202.9808	1.013e0

203.0131	2.025e0

203.0686	4.051e0

203.1176	3.038e0

203.1915	6.274e0

203.3662	1.013e0

203.4168	1.013e0

203.4353	1.013e0

203.5532	1.013e0

203.5927	4.051e0

203.6280	1.013e0

203.6644	2.025e0

203.7060	4.051e0

203.7581	5.063e0

203.8748	1.013e0

203.9084	2.025e0

203.9739	1.013e0

204.0207	2.025e0

204.0880	1.013e0

204.1067	1.013e0

204.1878	2.234e0

204.2883	4.051e0

204.3517	2.025e0

204.4517	1.013e0

204.4788	3.038e0

204.5092	1.013e0

204.5731	1.013e0

204.6272	2.025e0

204.6722	1.013e0

204.7274	2.025e0

204.7546	2.025e0

204.8932	3.038e0

204.9288	2.025e0

204.9532	1.013e0

204.9767	1.013e0

205.0506	2.025e0

205.1443	4.895e1

205.1774	1.519e0

205.2318	1.013e0

205.2685	4.051e0

205.3323	2.025e0

205.3574	1.013e0

205.3932	4.051e0

205.4539	2.025e0

205.5211	2.025e0

205.5568	2.025e0

205.6013	8.203e0

205.6430	1.013e0

205.6637	2.025e0

205.7210	2.025e0

205.7850	3.038e0

205.8614	4.051e0

205.9208	1.013e0

205.9632	1.013e0

206.0014	1.013e0

206.0315	1.013e0

206.0733	5.126e0

206.0917	6.078e0

206.1241	1.478e0

206.1562	1.013e0

206.2343	2.025e0

206.2793	1.013e0

206.3178	1.013e0

206.3414	1.013e0

206.3638	1.013e0

206.4014	1.013e0

206.4322	1.013e0

206.4520	1.013e0

206.5047	1.013e0

206.5275	2.025e0

206.5778	2.025e0

206.6212	2.025e0

206.6635	2.114e0

206.7226	2.025e0

206.8110	1.013e0

206.8524	1.013e0

206.8943	1.013e0

206.9331	3.038e0

207.0130	1.013e0

207.0616	3.038e0

207.1162	3.544e0

207.1842	3.544e0

207.2406	2.025e0

207.2623	1.013e0

207.4524	1.013e0

207.4936	2.025e0

207.5406	2.025e0

207.5809	4.051e0

207.6191	4.051e0

207.6422	2.025e0

207.6666	1.013e0

207.7143	4.051e0

207.7777	1.013e0

207.8172	1.013e0

207.8948	2.025e0

207.9471	1.013e0

207.9773	1.013e0

208.0005	2.025e0

208.0491	4.658e1

208.1462	4.839e0

208.1801	1.188e0

208.2102	2.881e0

208.2353	3.158e0

208.2787	4.051e0

208.3841	1.013e0

208.4765	1.013e0

208.5047	2.025e0

208.5255	1.013e0

208.5603	2.025e0

208.6065	1.013e0

208.6329	1.013e0

208.6639	1.013e0

208.7083	2.025e0

208.7634	4.051e0

208.8271	2.025e0

208.8830	1.013e0

208.9345	4.051e0

208.9755	5.063e0

209.0251	3.038e0

209.0533	4.051e0

209.1216	9.815e0

209.1436	7.511e0

209.1819	4.665e0

209.2916	3.038e0

209.3439	1.013e0

209.3802	2.025e0

209.4116	3.038e0

209.4553	1.013e0

209.5289	1.013e0

209.5572	2.025e0

209.6384	2.025e0

209.6742	1.013e0

209.7253	1.013e0

209.7516	1.013e0

209.7818	1.013e0

209.8113	2.025e0

209.8894	1.013e0

209.9594	2.025e0

210.0056	2.025e0

210.0709	1.013e0

210.1150	5.255e0

210.1622	4.003e0

210.1937	3.331e0

210.2484	1.013e0

210.2825	1.013e0

210.3789	2.025e0

210.4412	2.025e0

210.4602	1.013e0

210.6028	2.025e0

210.6379	2.025e0

210.7083	4.051e0

210.7457	1.013e0

210.8076	2.025e0

210.8861	2.025e0

210.9348	1.013e0

210.9669	2.025e0

211.0301	3.038e0

211.0616	1.013e0

211.1010	1.013e0

211.1462	4.635e0

211.1815	1.446e0

211.2433	1.013e0

211.2675	3.038e0

211.3199	3.038e0

211.4713	1.013e0

211.5027	3.038e0

211.5443	1.013e0

211.5788	3.038e0

211.6370	2.025e0

211.7071	1.013e0

211.7453	1.013e0

211.8038	1.013e0

211.8442	2.025e0

211.8966	2.025e0

211.9308	2.025e0

212.0159	6.076e0

212.0597	2.025e0

212.1108	2.025e0

212.1561	7.504e0

212.1934	6.076e0

212.2521	3.038e0

212.3321	2.025e0

212.3534	1.013e0

212.4297	4.051e0

212.5166	1.013e0

212.5392	2.025e0

212.6663	1.013e0

212.6987	1.013e0

212.7954	1.013e0

212.8525	1.013e0

212.8959	1.013e0

212.9538	1.013e0

212.9984	2.025e0

213.0354	8.210e0

213.1103	2.025e0

213.2199	7.355e0

213.2547	2.025e0

213.3435	4.051e0

213.3880	2.025e0

213.4256	2.025e0

213.4811	1.013e0

213.5547	1.013e0

213.6557	1.013e0

213.6872	3.038e0

213.7295	1.013e0

213.7492	1.013e0

213.8226	1.013e0

213.8892	2.025e0

213.9200	1.013e0

213.9927	5.063e0

214.0166	9.302e0

214.0583	2.025e0

214.1031	4.051e0

214.1338	2.791e1

214.1778	2.743e0

214.1987	3.038e0

214.2409	2.025e0

214.2619	2.025e0

214.3624	3.038e0

214.4253	1.013e0

214.4600	4.051e0

214.5267	1.013e0

214.5585	1.013e0

214.5795	2.025e0

214.6033	3.038e0

214.6517	1.013e0

214.7260	1.013e0

214.7489	2.025e0

214.7957	2.025e0

214.8250	4.051e0

214.8572	1.013e0

214.9547	4.051e0

214.9868	1.013e0

215.0288	1.013e0

215.0712	3.038e0

215.1259	3.334e0

215.2105	3.038e0

215.2438	1.013e0

215.2742	1.013e0

215.2945	1.013e0

215.3258	2.025e0

215.4144	3.038e0

215.4502	2.025e0

215.5133	3.038e0

215.5439	2.025e0

215.5906	2.025e0

215.6382	1.013e0

215.6726	1.013e0

215.8174	1.013e0

215.8458	3.038e0

215.9032	1.013e0

215.9497	1.013e0

215.9981	5.805e0

216.0672	1.013e0

216.1070	3.038e0

216.1540	5.570e0

216.1831	1.013e0

216.2122	1.013e0

216.2706	3.038e0

216.3000	2.025e0

216.3209	1.013e0

216.3477	1.013e0

216.3915	2.025e0

216.4182	1.013e0

216.4831	2.025e0

216.5244	2.025e0

216.5633	1.013e0

216.5823	1.013e0

216.7828	1.013e0

216.8287	1.013e0

216.8916	2.025e0

216.9438	3.038e0

216.9699	1.013e0

217.0177	2.025e0

217.0535	9.114e0

217.1166	1.013e1

217.1379	4.289e0

217.2265	3.038e0

217.3127	2.025e0

217.3443	3.038e0

217.3912	2.025e0

217.4151	2.025e0

217.4673	1.013e0

217.5374	1.013e0

217.5653	2.025e0

217.6037	4.051e0

217.6483	1.013e0

217.7006	2.025e0

217.7610	1.013e0

217.8155	3.038e0

217.8910	1.013e0

217.9140	1.013e0

217.9541	2.025e0

218.0101	1.013e1

218.0594	1.013e0

218.0950	1.013e0

218.1540	1.435e0

218.2163	1.013e0

218.2398	1.013e0

218.2920	3.038e0

218.5263	1.013e0

218.5462	1.013e0

218.5933	2.025e0

218.6373	1.013e0

218.6642	1.013e0

218.6832	1.013e0

218.7119	1.013e0

218.7503	2.025e0

218.8339	3.038e0

218.8653	1.013e0

218.8959	2.025e0

219.0486	3.859e0

219.0837	3.038e0

219.1162	1.013e0

219.1877	3.179e0

219.2347	1.013e0

219.2686	3.038e0

219.3653	3.038e0

219.4036	2.025e0

219.4285	2.025e0

219.4550	1.013e0

219.4938	1.013e0

219.5354	2.025e0

219.5824	3.038e0

219.6318	1.013e0

219.6796	1.013e0

219.7562	2.025e0

219.7968	3.038e0

219.8457	3.038e0

219.9119	2.025e0

219.9349	3.038e0

219.9864	3.494e0

220.0572	1.120e1

220.1200	6.032e0

220.2265	2.025e0

220.2586	1.013e0

220.3253	1.013e0

220.3513	2.025e0

220.3882	2.025e0

220.4319	1.013e0

220.4973	2.025e0

220.5382	1.013e0

220.6259	1.013e0

220.6681	1.013e0

220.8184	2.025e0

220.8718	3.038e0

220.9390	2.025e0

221.0247	2.342e0

221.0480	1.013e0

221.0984	1.013e0

221.1378	6.480e0

221.1642	4.303e0

221.2013	5.013e0

221.2656	1.013e0

221.2849	1.013e0

221.3469	3.038e0

221.4195	1.013e0

221.5215	2.025e0

221.5504	1.013e0

221.6216	2.025e0

221.6702	2.025e0

221.7176	2.025e0

221.7574	3.038e0

221.7946	1.013e0

221.8230	1.013e0

221.8638	2.025e0

221.8944	1.013e0

221.9476	2.025e0

221.9900	2.144e0

222.0248	1.794e1

222.1274	2.415e1

222.1901	3.582e0

222.2303	1.013e0

222.3469	2.025e0

222.4443	4.051e0

222.5018	3.203e0

222.5377	2.025e0

222.5836	1.013e0

222.6383	1.013e0

222.6801	3.038e0

222.6990	3.038e0

222.7831	2.025e0

222.8150	2.025e0

222.8615	1.013e0

222.8883	2.025e0

222.9095	3.038e0

222.9403	1.013e0

223.0357	1.044e1

223.1524	3.125e1

223.1912	1.207e2

223.2892	2.025e0

223.3130	2.025e0

223.3843	1.013e0

223.4088	1.013e0

223.4357	1.013e0

223.4659	2.025e0

223.5136	3.038e0

223.5708	1.013e0

223.6152	1.013e0

223.6690	2.025e0

223.7062	4.051e0

223.7284	2.025e0

223.7619	1.013e0

223.7898	3.038e0

223.8336	5.945e0

223.8735	2.025e0

223.9183	3.038e0

223.9472	2.561e0

224.0206	1.789e2

224.1399	1.981e2

224.1962	2.509e1

224.2791	1.013e0

224.3062	1.013e0

224.3352	1.013e0

224.3753	2.025e0

224.4261	3.908e0

224.4929	6.076e0

224.5271	4.026e0

224.5611	1.013e0

224.6017	1.013e0

224.6809	3.038e0

224.7320	3.038e0

224.7601	1.013e0

224.8046	3.038e0

224.8633	3.038e0

224.9081	3.038e0

224.9557	3.038e0

224.9937	8.080e0

225.0251	2.190e1

225.0771	1.595e0

225.1145	8.497e0

225.1403	2.650e1

225.1628	1.169e1

225.1990	1.013e0

225.2193	4.051e0

225.2421	3.038e0

225.2950	1.013e0

225.3246	3.038e0

225.3673	1.013e0

225.3963	2.025e0

225.4474	3.038e0

225.4783	2.025e0

225.5221	1.013e0

225.5742	1.013e0

225.6226	1.013e0

225.6758	2.025e0

225.7418	1.013e0

225.7852	1.013e0

225.8057	1.013e0

225.8375	2.025e0

225.8859	1.013e0

225.9052	2.025e0

225.9379	4.051e0

225.9922	4.668e0

226.0251	4.299e1

226.0602	9.312e0

226.1047	5.547e0

226.1324	1.709e1

226.1844	4.541e0

226.2330	7.089e0

226.2634	1.875e0

226.2886	1.013e0

226.3213	2.025e0

226.3785	4.051e0

226.4150	3.038e0

226.4649	1.013e0

226.5366	1.013e0

226.5796	3.038e0

226.6247	3.038e0

226.6837	3.038e0

226.7343	3.038e0

226.7614	2.025e0

226.7990	2.420e0

226.8486	1.013e0

226.9126	1.013e0

226.9414	1.013e0

226.9689	2.025e0

227.0233	8.174e0

227.1374	1.924e1

227.1924	2.743e0

227.2493	2.025e0

227.3011	1.013e0

227.3334	2.025e0

227.3614	2.025e0

227.4052	1.013e0

227.4339	1.013e0

227.4796	3.038e0

227.5345	3.038e0

227.6163	3.038e0

227.6458	2.025e0

227.6761	2.025e0

227.7269	2.025e0

227.7584	2.025e0

227.8458	1.013e0

227.8749	1.013e0

227.9203	2.025e0

227.9952	1.571e2

228.0768	2.025e0

228.1334	4.759e0

228.1772	1.830e0

228.2755	2.025e0

228.3412	3.038e0

228.3827	3.038e0

228.4413	3.038e0

228.4645	2.025e0

228.5061	2.025e0

228.5412	2.025e0

228.5682	1.013e0

228.6014	1.013e0

228.6373	2.025e0

228.6943	5.456e0

228.7350	4.051e0

228.7958	3.038e0

228.8464	3.038e0

228.8721	2.098e0

228.9259	1.013e0

228.9549	3.490e0

228.9921	1.438e1

229.0410	1.761e0

229.0790	2.025e0

229.1690	1.409e0

229.2664	2.025e0

229.2880	1.013e0

229.3170	1.013e0

229.3484	1.013e0

229.3944	3.038e0

229.4650	1.013e0

229.4865	1.013e0

229.5255	1.013e0

229.5583	1.013e0

229.6033	1.013e0

229.6283	2.025e0

229.6945	2.025e0

229.7157	1.013e0

229.7842	1.013e0

229.8924	4.051e0

229.9320	1.013e0

229.9536	1.013e0

230.0230	3.004e0

230.0513	2.025e0

230.1064	4.305e1

230.1961	3.531e0

230.2476	2.025e0

230.2690	2.025e0

230.3438	2.025e0

230.3647	1.013e0

230.4002	2.025e0

230.4251	1.013e0

230.4932	4.051e0

230.5478	2.025e0

230.6043	2.025e0

230.6589	2.025e0

230.7425	2.025e0

230.7895	2.025e0

230.8402	2.025e0

230.9046	1.013e0

230.9456	1.013e0

231.0770	5.366e0

231.1142	3.536e0

231.2517	1.013e0

231.3185	2.025e0

231.4098	1.013e0

231.4684	2.025e0

231.5290	3.038e0

231.5697	2.025e0

231.6461	3.038e0

231.7573	1.013e0

231.8062	3.038e0

231.8510	2.025e0

231.9749	1.272e0

232.0178	1.018e0

232.0405	2.027e0

232.0629	2.025e0

232.1091	2.029e0

232.2068	2.846e0

232.2833	1.013e0

232.3738	6.076e0

232.4371	1.013e0

232.5388	1.013e0

232.5699	4.051e0

232.6405	2.025e0

232.7270	2.025e0

232.7675	2.025e0

232.8315	3.038e0

232.8790	1.013e0

232.9299	3.038e0

232.9691	3.038e0

233.1057	4.185e1

233.1762	1.516e2

233.2266	1.573e0

233.2816	2.025e0

233.3192	2.025e0

233.3881	2.025e0

233.4328	3.038e0

233.4777	2.025e0

233.5079	3.038e0

233.5442	2.025e0

233.5764	3.038e0

233.6422	2.025e0

233.7145	1.013e0

233.8037	3.038e0

233.8561	5.063e0

233.9318	4.051e0

233.9798	3.576e0

234.0611	4.051e0

234.1292	1.519e0

234.1807	3.721e1

234.2681	1.013e0

234.2964	1.013e0

234.3474	3.038e0

234.4533	3.038e0

234.4792	1.013e0

234.5198	2.025e0

234.5869	3.038e0

234.6421	1.013e0

234.7199	1.013e0

234.7566	1.013e0

234.8172	3.038e0

234.8748	3.038e0

234.9003	2.025e0

234.9589	3.038e0

234.9843	3.625e0

235.0104	4.632e0

235.0838	5.133e0

235.1157	3.707e0

235.1917	9.735e2

235.3061	7.089e0

235.3451	1.013e1

235.4135	8.101e0

235.4546	4.051e0

235.5012	4.051e0

235.5576	8.415e0

235.5833	2.025e0

235.6206	2.025e0

235.6433	3.996e0

235.6783	8.949e0

235.7280	1.199e1

235.8091	3.038e0

235.8391	5.063e0

235.8747	2.025e0

235.9285	2.025e0

235.9681	5.941e0

235.9967	2.348e0

236.0317	2.509e0

236.0877	1.220e0

236.1318	2.038e0

236.1967	1.554e2

236.2502	3.971e0

236.3152	5.063e0

236.3555	2.025e0

236.3827	1.013e0

236.4186	4.051e0

236.4530	2.025e0

236.4950	3.038e0

236.5824	4.051e0

236.6155	3.038e0

236.6487	1.013e0

236.7023	2.025e0

236.7641	2.025e0

236.8212	4.051e0

236.8579	3.038e0

236.9017	2.025e0

236.9336	5.063e0

236.9684	5.063e0

237.0327	1.424e1

237.0984	5.640e0

237.1314	1.227e0

237.2079	6.870e2

237.2800	8.507e0

237.3198	1.157e1

237.3689	2.025e0

237.4214	6.076e0

237.4707	1.114e1

237.5062	3.038e0

237.5695	7.089e0

237.6295	2.025e0

237.6802	3.038e0

237.7109	2.025e0

237.7526	9.114e0

237.8115	5.894e0

237.8756	3.526e0

237.9014	2.995e0

237.9386	6.076e0

237.9847	3.038e0

238.0090	6.174e0

238.0788	6.726e0

238.1219	6.437e0

238.2100	1.372e2

238.2783	3.038e0

238.3047	4.051e0

238.3514	8.101e0

238.4164	2.025e0

238.4599	1.013e0

238.5003	1.013e0

238.5510	4.051e0

238.6143	3.038e0

238.6639	6.072e0

238.7025	3.038e0

238.7300	1.596e0

238.7934	2.138e0

238.8266	3.038e0

238.8661	2.025e0

238.8981	1.013e0

238.9349	1.013e0

238.9861	1.815e0

239.0429	2.998e0

239.0653	2.025e0

239.0983	1.779e0

239.1846	2.845e2

239.2755	3.038e0

239.2989	2.025e0

239.3294	2.739e0

239.3809	2.025e0

239.4342	2.025e0

239.4588	2.025e0

239.5080	4.051e0

239.5372	4.051e0

239.6219	1.013e0

239.6576	6.076e0

239.7261	4.051e0

239.7779	1.013e0

239.8096	1.412e0

239.8443	6.076e0

239.8757	5.772e0

239.9493	4.051e0

239.9995	3.030e0

240.0316	1.534e0

240.0837	4.434e0

240.1551	1.336e1

240.1851	5.999e1

240.2459	4.183e0

240.3153	3.038e0

240.3609	2.025e0

240.3956	2.025e0

240.4577	1.013e0

240.5150	2.025e0

240.5489	1.013e0

240.5871	3.038e0

240.7130	5.063e0

240.7780	7.089e0

240.8235	1.013e0

240.8800	2.025e0

240.9047	2.025e0

240.9482	1.013e0

240.9780	2.842e0

241.0331	1.861e0

241.0569	2.025e0

241.1135	8.787e0

241.2020	3.949e0

241.2534	2.948e0

241.2953	3.038e0

241.3449	3.794e0

241.4117	3.038e0

241.4509	2.025e0

241.4867	4.051e0

241.5419	1.013e0

241.5914	2.025e0

241.6252	1.013e0

241.6728	2.025e0

241.7017	2.025e0

241.7480	3.038e0

241.7935	3.038e0

241.8806	1.013e0

241.9252	4.051e0

241.9592	2.025e0

242.0252	1.732e1

242.0504	1.104e1

242.3003	1.215e1

242.4266	2.025e0

242.4677	2.025e0

242.5344	3.038e0

242.6300	1.013e0

242.6535	1.013e0

242.7487	1.013e0

242.7841	4.051e0

242.9234	2.025e0

243.0356	3.178e0

243.0801	1.663e0

243.3084	1.013e0

243.3423	2.025e0

243.3801	3.038e0

243.4603	5.063e0

243.4935	4.051e0

243.5367	1.013e0

243.6180	2.025e0

243.6661	1.013e0

243.7391	1.013e0

243.7917	2.025e0

243.9303	1.013e0

244.0063	2.018e0

244.0358	3.030e0

244.0864	2.676e0

244.3496	1.013e0

244.4390	3.038e0

244.4955	1.013e0

244.5243	1.013e0

244.5661	1.013e0

244.6326	3.038e0

244.6692	1.013e0

244.7429	2.615e0

244.7675	2.025e0

244.8289	2.025e0

244.8523	1.013e0

244.9046	2.025e0

244.9360	1.013e0

244.9818	1.013e0

245.0193	1.610e0

245.0636	4.051e0

245.1122	3.541e0

245.2573	2.595e0

245.3898	1.013e0

245.4912	3.038e0

245.6128	2.025e0

245.6387	2.025e0

245.6803	1.013e0

245.7264	2.025e0

245.7621	2.025e0

245.8152	3.038e0

245.8366	3.038e0

245.9513	1.033e0

246.0068	5.710e1

246.1058	1.589e0

246.1378	2.087e0

246.2602	2.025e0

246.2850	3.038e0

246.3421	2.025e0

246.3938	1.013e0

246.4317	2.025e0

246.4576	3.038e0

246.4934	1.013e0

246.5923	2.025e0

246.7168	2.025e0

246.7489	1.013e0

246.8738	1.013e0

246.9402	2.025e0

247.0049	1.432e1

247.0981	1.381e0

247.1415	6.781e0

247.2050	3.158e0

247.2652	1.013e0

247.3013	2.025e0

247.3374	2.025e0

247.3814	2.025e0

247.4214	1.013e0

247.4588	1.013e0

247.4810	2.025e0

247.5611	2.025e0

247.6207	1.013e0

247.6627	1.013e0

247.7007	2.025e0

247.7769	1.013e0

247.8038	2.025e0

247.8520	2.025e0

247.8824	2.025e0

247.9594	3.038e0

248.0042	4.519e0

248.2681	2.025e0

248.3084	1.013e0

248.3621	1.013e0

248.4160	1.013e0

248.4878	4.051e0

248.5499	1.013e0

248.6569	4.051e0

248.7297	1.013e0

248.7664	4.051e0

248.8299	3.038e0

248.8748	3.038e0

248.9631	3.349e0

248.9900	3.573e0

249.0172	3.604e0

249.0787	1.767e1

249.1372	2.107e0

249.2066	1.928e2

249.3126	2.025e0

249.3684	2.025e0

249.4143	1.013e0

249.4459	4.051e0

249.5005	2.025e0

249.5321	1.013e0

249.6136	3.038e0

249.6556	3.038e0

249.7087	2.025e0

249.7400	2.025e0

249.7767	2.025e0

249.8048	1.013e0

249.8249	1.013e0

249.8588	1.013e0

249.9133	2.025e0

249.9713	3.038e0

250.0172	1.646e0

250.1412	1.142e0

250.2097	5.323e1

250.2817	4.051e0

250.3337	1.013e0

250.3835	1.013e0

250.4346	1.013e0

250.5137	5.230e0

250.5651	1.013e0

250.6071	1.013e0

250.6364	1.013e0

250.6666	1.013e0

250.7289	4.051e0

250.7667	1.013e0

250.8185	4.051e0

250.8660	2.025e0

250.9056	1.013e0

250.9888	1.304e1

251.0386	1.709e0

251.1038	7.908e1

251.2233	8.131e1

251.3009	5.063e0

251.3334	3.038e0

251.3769	3.815e0

251.4272	2.025e0

251.4615	1.013e0

251.5186	5.063e0

251.5754	1.013e0

251.6057	2.025e0

251.6645	2.025e0

251.7059	1.013e0

251.7361	1.013e0

251.7863	2.025e0

251.8329	2.025e0

251.8917	2.025e0

251.9464	2.025e0

251.9868	3.038e0

252.0707	4.917e0

252.1087	1.045e1

252.1448	3.237e1

252.2227	1.837e1

252.2802	2.025e0

252.3138	1.013e0

252.3347	1.013e0

252.3713	4.051e0

252.4232	1.013e0

252.4826	1.013e0

252.5097	2.025e0

252.5378	1.013e0

252.5906	3.038e0

252.6493	4.051e0

252.7107	1.013e0

252.7717	2.025e0

252.7991	3.038e0

252.8295	1.013e0

252.8716	2.025e0

252.8985	2.025e0

252.9318	2.025e0

252.9914	8.101e0

253.0602	2.940e0

253.1134	4.954e0

253.1408	3.176e0

253.2069	7.386e0

253.2518	1.013e0

253.2862	2.025e0

253.3150	2.025e0

253.3403	1.013e0

253.3982	4.051e0

253.4288	1.013e0

253.5074	2.025e0

253.5820	1.013e0

253.6017	1.013e0

253.6352	3.038e0

253.6872	2.025e0

253.7382	1.013e0

253.7637	2.025e0

253.8013	1.013e0

253.8317	1.013e0

253.9103	4.051e0

253.9624	1.013e0

254.0061	1.589e0

254.0551	1.868e1

254.1115	3.966e0

254.1452	3.423e0

254.1720	3.925e0

254.2101	2.816e0

254.2585	1.013e0

254.2870	2.025e0

254.3392	1.013e0

254.4074	2.025e0

254.4729	4.051e0

254.5348	1.013e0

254.5693	4.051e0

254.5972	1.013e0

254.6492	1.013e0

254.6988	5.063e0

254.7634	2.025e0

254.7949	1.637e0

254.8526	1.013e0

254.8971	2.025e0

254.9743	2.260e0

255.0367	2.025e0

255.0586	4.051e0

255.0899	3.038e0

255.1595	3.569e2

255.2412	6.017e0

255.2769	2.025e0

255.3232	4.051e0

255.3590	4.905e0

255.4401	5.063e0

255.4967	1.013e0

255.5311	1.013e0

255.5654	1.013e0

255.6078	1.013e0

255.6406	7.089e0

255.6944	2.025e0

255.7425	4.331e0

255.7865	7.089e0

255.8770	3.038e0

255.9189	1.013e0

256.0288	2.025e0

256.0641	3.038e0

256.0934	3.038e0

256.1622	5.458e1

256.1869	3.296e1

256.2878	5.063e0

256.3802	4.051e0

256.4058	3.162e0

256.4966	2.025e0

256.5572	6.076e0

256.6583	2.025e0

256.7274	3.038e0

256.7988	2.025e0

256.8843	4.051e0

256.9272	1.013e0

256.9947	6.766e0

257.0233	4.803e0

257.1721	1.866e0

257.2119	2.324e0

257.3485	3.038e0

257.4536	3.038e0

257.5362	1.013e0

257.5616	1.013e0

257.6132	1.013e0

257.6428	1.013e0

257.6821	3.038e0

257.7469	2.025e0

257.7841	5.063e0

257.8985	1.013e0

257.9291	1.013e0

257.9824	3.370e0

258.0486	1.013e0

258.0938	2.848e0

258.1282	3.737e0

258.2945	3.038e0

258.3296	3.038e0

258.3888	5.063e0

258.4575	1.013e0

258.4880	1.013e0

258.5085	1.013e0

258.5385	2.025e0

258.5923	2.025e0

258.6730	2.025e0

258.7331	2.025e0

258.7776	1.013e0

258.8200	1.013e0

258.8852	2.025e0

258.9111	2.025e0

259.0222	3.038e0

259.1317	1.153e1

259.2747	1.013e0

259.3431	1.013e0

259.4023	2.025e0

259.4420	3.038e0

259.5738	1.013e0

259.6643	1.013e0

259.7553	2.025e0

259.7801	2.025e0

259.8094	1.013e0

259.8770	1.013e0

259.9096	2.025e0

259.9439	3.038e0

259.9818	3.038e0

260.0363	3.038e0

260.0901	4.431e0

260.1346	2.875e0

260.1909	1.355e1

260.2150	5.121e0

260.2831	2.025e0

260.3150	1.013e0

260.3668	1.013e0

260.4480	2.025e0

260.5174	1.013e0

260.6130	2.025e0

260.6581	2.025e0

260.6817	2.025e0

260.7263	1.013e0

260.8118	1.013e0

260.8640	3.038e0

260.9310	2.025e0

260.9760	3.038e0

261.0051	8.101e0

261.0352	3.038e0

261.0729	2.664e0

261.1425	5.894e1

261.2023	2.123e0

261.2366	2.287e0

261.2804	1.013e0

261.3239	1.013e0

261.3860	2.025e0

261.5012	2.025e0

261.5453	2.025e0

261.6109	1.013e0

261.6626	1.013e0

261.7177	3.038e0

261.7922	1.013e0

261.8492	4.051e0

261.8815	1.013e0

261.9121	1.013e0

261.9508	1.013e0

261.9816	1.013e0

262.0162	2.025e0

262.1020	3.659e0

262.1448	6.993e0

262.2096	6.522e0

262.2657	3.799e0

262.3415	1.013e0

262.3917	3.038e0

262.4313	3.038e0

262.4887	2.025e0

262.5380	2.025e0

262.5859	3.038e0

262.6392	1.013e0

262.8492	4.051e0

262.9239	1.013e0

262.9530	1.013e0

262.9937	6.076e0

263.0259	4.051e0

263.0549	2.025e0

263.0897	2.025e0

263.1547	3.367e0

263.2238	1.390e2

263.2936	1.013e0

263.3325	1.013e0

263.3812	1.013e0

263.4108	2.025e0

263.4472	2.025e0

263.5062	3.897e0

263.5614	1.013e0

263.6072	3.038e0

263.6661	3.038e0

263.6953	2.025e0

263.7515	1.013e0

263.7856	2.025e0

263.8423	1.013e0

263.8770	1.013e0

263.9270	4.051e0

264.0026	8.313e0

264.0472	3.038e0

264.0948	2.025e0

264.1498	2.282e0

264.2234	2.549e1

264.2833	1.013e0

264.3169	2.025e0

264.3642	7.089e0

264.4543	3.038e0

264.4933	1.013e0

264.5280	1.013e0

264.5627	2.025e0

264.6487	3.038e0

264.6827	3.038e0

264.7491	4.051e0

264.7835	1.013e0

264.8282	2.025e0

264.8571	2.025e0

264.8919	1.013e0

264.9491	6.076e0

264.9886	1.094e1

265.0819	1.013e0

265.1233	2.090e0

265.1601	2.547e0

265.2002	2.999e1

265.2397	1.442e2

265.3615	2.025e0

265.3919	2.025e0

265.4638	5.399e0

265.4996	2.025e0

265.5458	1.013e0

265.5752	1.013e0

265.6070	2.025e0

265.6819	3.038e0

265.7097	2.025e0

265.7485	1.013e0

265.8009	2.025e0

265.8341	5.063e0

265.9040	1.013e0

265.9439	2.025e0

265.9718	2.025e0

266.0043	2.025e0

266.0312	2.025e0

266.1004	1.013e0

266.1342	4.037e0

266.2116	6.111e0

266.2446	3.563e1

266.3234	2.025e0

266.3997	3.038e0

266.4773	1.013e0

266.5120	3.038e0

266.5441	4.051e0

266.6174	2.025e0

266.6746	3.038e0

266.7589	2.025e0

266.8110	2.025e0

266.8727	2.025e0

266.9585	2.025e0

267.0034	3.038e0

267.0706	5.265e0

267.1325	1.292e0

267.2176	5.916e0

267.2656	6.268e0

267.3207	3.038e0

267.3798	2.025e0

267.4051	1.013e0

267.4544	1.013e0

267.5446	2.025e0

267.6064	1.013e0

267.6494	1.013e0

267.7099	3.038e0

267.8009	1.013e0

267.8752	2.025e0

267.9186	1.013e0

267.9532	1.013e0

268.0025	3.038e0

268.0506	4.051e0

268.0957	2.025e0

268.1228	1.439e0

268.1616	2.305e0

268.2476	2.708e0

268.3068	2.025e0

268.3446	1.013e0

268.3983	1.013e0

268.5113	1.013e0

268.5630	1.217e0

268.5892	2.025e0

268.6321	1.013e0

268.6807	2.025e0

268.7844	3.436e0

268.8457	2.025e0

268.9037	2.025e0

268.9355	2.025e0

268.9634	3.038e0

269.0126	2.025e0

269.0380	2.025e0

269.0936	3.038e0

269.2555	1.024e0

269.3314	2.025e0

269.3861	1.013e0

269.4502	4.051e0

269.4829	1.013e0

269.5219	1.013e0

269.5649	1.013e0

269.5959	1.013e0

269.7130	4.051e0

269.7750	3.038e0

269.8223	2.025e0

269.8837	1.013e0

269.9321	2.025e0

269.9965	1.013e0

270.0336	2.025e0

270.0967	3.038e0

270.1694	1.362e1

270.2184	5.218e0

270.3076	1.013e0

270.3598	1.013e0

270.4373	2.025e0

270.4786	1.013e0

270.4993	1.013e0

270.5294	1.013e0

270.6215	2.025e0

270.6738	1.013e0

270.7187	1.013e0

270.7533	3.038e0

270.8135	1.013e0

270.8485	2.025e0

270.8756	2.025e0

270.9377	1.013e0

270.9847	1.013e0

271.0421	3.038e0

271.0917	2.025e0

271.1256	3.413e0

271.1468	2.386e0

271.1804	4.460e0

271.2248	4.364e0

271.3127	1.013e0

271.3741	1.013e0

271.4996	2.025e0

271.5346	2.238e0

271.5677	1.013e0

271.6046	2.025e0

271.6806	6.076e0

271.7297	2.696e0

271.7762	3.038e0

271.9080	1.013e0

272.0060	3.038e0

272.0532	1.013e0

272.0909	2.420e0

272.1582	1.436e0

272.2474	1.391e0

272.3536	3.038e0

272.3925	2.025e0

272.4646	1.013e0

272.5018	2.025e0

272.5730	3.038e0

272.6225	4.051e0

272.6556	2.025e0

272.7197	2.025e0

272.8149	2.025e0

272.8385	1.013e0

272.9478	2.066e0

272.9829	2.025e0

273.0417	4.051e0

273.0998	1.853e0

273.1526	2.607e0

273.1777	4.663e0

273.2189	2.278e0

273.2778	2.151e0

273.3180	1.013e0

273.3908	2.025e0

273.5055	1.013e0

273.5385	2.025e0

273.5613	2.025e0

273.6501	2.025e0

273.7016	5.063e0

273.7432	1.013e0

273.7742	1.013e0

273.7961	1.013e0

273.9420	1.013e0

273.9851	1.013e0

274.0533	2.025e0

274.1105	6.744e0

274.1595	3.619e0

274.2045	9.776e0

274.2913	2.025e0

274.3283	1.013e0

274.3869	2.025e0

274.4297	1.013e0

274.4567	2.025e0

274.5041	1.013e0

274.5663	1.013e0

274.5930	1.013e0

274.6326	1.013e0

274.7118	2.025e0

274.8305	1.013e0

274.8658	1.013e0

274.9079	2.025e0

274.9568	1.013e0

275.0972	4.051e0

275.1242	2.825e0

275.1628	6.570e0

275.2147	9.366e0

275.2763	2.595e0

275.3677	2.025e0

275.4122	1.013e0

275.4604	1.013e0

275.5207	3.038e0

275.5619	1.013e0

275.5892	1.013e0

275.6554	1.013e0

275.6807	1.013e0

275.7691	1.013e0

275.8002	2.025e0

275.8965	3.038e0

275.9595	1.013e0

275.9969	2.025e0

276.0522	5.063e0

276.1130	4.940e0

276.2183	5.636e0

276.2837	3.038e0

276.3609	2.025e0

276.3944	2.025e0

276.4295	2.025e0

276.4761	1.013e0

276.5281	1.013e0

276.6060	4.447e0

276.6623	3.038e0

276.7476	3.038e0

276.8049	2.025e0

276.8690	3.469e0

277.0112	1.013e0

277.0608	5.272e0

277.1350	2.468e1

277.2089	8.678e0

277.2362	1.037e1

277.2779	3.038e0

277.3286	1.013e0

277.3558	1.013e0

277.3778	1.013e0

277.4176	3.038e0

277.4656	1.013e0

277.5261	2.025e0

277.5588	2.025e0

277.6024	3.038e0

277.6570	1.013e0

277.6804	2.025e0

277.7627	1.013e0

277.8252	1.013e0

277.9132	4.051e0

277.9757	1.214e1

278.0103	5.075e0

278.0371	3.038e0

278.0774	2.025e0

278.1374	3.764e0

278.1881	2.025e0

278.2512	4.397e0

278.3029	2.025e0

278.3422	1.013e0

278.3940	2.025e0

278.4425	2.025e0

278.5589	3.038e0

278.6195	2.025e0

278.7099	3.038e0

278.7885	4.051e0

278.8758	3.038e0

278.9242	2.025e0

279.0175	1.013e0

279.0507	2.449e0

279.1114	1.607e1

279.1648	4.062e0

279.2203	4.577e1

279.2908	2.025e0

279.3385	3.038e0

279.3814	1.013e0

279.4531	1.013e0

279.4930	2.025e0

279.5480	2.025e0

279.6070	1.013e0

279.6655	1.013e0

279.7097	2.025e0

279.7927	4.051e0

279.8477	2.025e0

279.9115	5.063e0

279.9913	3.149e0

280.0383	1.013e0

280.0769	2.025e0

280.1103	3.969e0

280.1581	3.660e0

280.2238	1.196e1

280.2983	2.025e0

280.3571	2.025e0

280.4491	1.013e0

280.4727	2.025e0

280.4964	1.013e0

280.5320	1.013e0

280.5852	3.038e0

280.6469	2.025e0

280.6844	2.025e0

280.7374	2.025e0

280.7864	1.013e0

280.8099	1.013e0

280.8409	1.013e0

280.9394	2.025e0

280.9858	5.203e0

281.0627	3.038e0

281.1238	2.783e0

281.1604	1.056e0

281.2179	2.156e0

281.2437	8.553e0

281.2893	1.013e0

281.3393	2.025e0

281.4080	2.025e0

281.4727	1.013e0

281.5001	1.013e0

281.5315	1.013e0

281.6196	1.013e0

281.6643	4.221e0

281.7547	3.038e0

281.7864	2.025e0

281.8210	1.013e0

281.9006	1.013e0

281.9340	2.025e0

281.9785	3.038e0

282.0420	2.025e0

282.0997	3.038e0

282.1277	2.612e0

282.2805	2.505e0

282.3381	1.013e0

282.3951	1.013e0

282.5208	1.013e0

282.5540	2.025e0

282.6695	1.013e0

282.7365	1.013e0

282.7894	2.025e0

282.8519	2.025e0

282.9368	2.025e0

283.0014	4.051e0

283.0411	2.025e0

283.0894	2.025e0

283.1734	9.176e0

283.2924	2.427e0

283.4280	1.013e0

283.5851	2.025e0

283.6419	2.025e0

283.7343	4.051e0

283.7736	3.038e0

283.8231	2.025e0

283.8672	2.025e0

283.9131	2.025e0

283.9661	2.025e0

284.0100	2.025e0

284.0370	2.025e0

284.0979	2.025e0

284.1738	5.117e0

284.2966	1.013e0

284.3514	1.013e0

284.3868	1.013e0

284.4721	1.013e0

284.4930	1.013e0

284.5440	1.013e0

284.6464	2.025e0

284.6910	1.013e0

284.7223	2.025e0

284.7763	1.013e0

284.8849	4.051e0

284.9335	1.013e0

284.9690	1.013e0

285.0081	3.038e0

285.0711	3.005e0

285.1301	1.425e0

285.3033	3.038e0

285.3660	2.025e0

285.4628	2.025e0

285.5404	3.038e0

285.5941	1.013e0

285.6516	1.013e0

285.6967	1.013e0

285.7362	1.013e0

285.8226	1.013e0

285.8835	2.025e0

285.9598	2.025e0

285.9969	2.025e0

286.0468	4.051e0

286.1304	4.323e0

286.3256	2.025e0

286.4085	2.025e0

286.4467	2.025e0

286.4736	2.025e0

286.5590	1.013e0

286.6179	2.025e0

286.6614	2.025e0

286.6938	1.013e0

286.7635	2.025e0

286.7935	1.013e0

286.9097	3.311e0

286.9525	2.025e0

286.9960	1.013e0

287.0257	2.025e0

287.0861	1.947e0

287.1633	3.343e0

287.1918	1.287e0

287.3448	4.051e0

287.3783	1.013e0

287.5254	2.025e0

287.6066	3.038e0

287.7170	3.038e0

287.7616	2.025e0

287.8196	2.025e0

287.9734	2.025e0

288.0499	1.013e0

288.1104	5.999e0

288.1480	2.449e0

288.2197	1.042e2

288.3082	2.416e0

288.3535	2.025e0

288.4130	2.025e0

288.4666	2.025e0

288.5584	2.025e0

288.6065	2.025e0

288.6320	1.013e0

288.6774	1.013e0

288.7132	2.025e0

288.7857	2.025e0

288.8172	1.013e0

288.8653	3.038e0

288.9839	5.063e0

289.0168	4.051e0

289.0593	2.248e0

289.0944	2.943e0

289.1576	2.851e0

289.2192	3.116e1

289.2837	2.493e0

289.3262	3.038e0

289.3618	2.025e0

289.3979	4.051e0

289.4642	3.038e0

289.4930	2.025e0

289.5852	2.025e0

289.6220	2.025e0

289.7398	5.821e0

289.8116	2.025e0

289.8538	3.038e0

289.9105	1.013e0

289.9676	2.025e0

290.0247	1.013e0

290.0471	1.013e0

290.1238	3.018e0

290.1584	3.127e0

290.2247	8.618e0

290.3267	2.025e0

290.4275	1.013e0

290.4898	3.038e0

290.5350	1.013e0

290.5853	3.038e0

290.6305	1.013e0

290.6528	1.013e0

290.6995	1.013e0

290.7947	3.038e0

290.8447	2.025e0

290.9074	2.025e0

290.9439	1.013e0

290.9797	3.038e0

291.0289	2.025e0

291.1055	3.985e0

291.1638	2.495e0

291.2533	7.760e0

291.2927	1.013e0

291.3284	1.013e0

291.4193	1.013e0

291.4589	2.025e0

291.5735	1.013e0

291.6234	8.637e0

291.7007	2.025e0

291.7730	4.051e0

291.8326	1.013e0

291.8778	1.013e0

291.9284	1.013e0

291.9566	2.025e0

292.0013	3.052e0

292.0844	2.975e0

292.1173	2.500e0

292.1624	2.378e0

292.2139	1.079e2

292.2621	6.449e0

292.3023	3.038e0

292.3428	2.025e0

292.3819	3.038e0

292.4349	2.025e0

292.5099	1.013e0

292.5680	2.025e0

292.6114	2.025e0

292.7360	2.025e0

292.7933	2.025e0

292.8184	2.025e0

292.8732	1.013e0

292.9100	1.013e0

292.9497	1.013e0

292.9866	2.025e0

293.0401	4.051e0

293.0677	3.043e0

293.1598	4.139e0

293.2244	2.900e1

293.2853	7.804e0

293.3376	3.038e0

293.4078	3.165e0

293.4340	3.089e0

293.4735	2.025e0

293.5141	2.025e0

293.5956	1.013e0

293.6469	2.025e0

293.6738	1.121e0

293.7134	1.013e0

293.7609	1.013e0

293.8600	1.013e0

293.9239	2.025e0

293.9790	5.106e0

294.0079	5.337e0

294.0623	2.008e0

294.0995	1.936e0

294.1406	1.113e0

294.2401	4.610e0

294.2860	3.683e0

294.4103	2.025e0

294.4619	2.025e0

294.4999	2.025e0

294.5570	1.013e0

294.5887	1.013e0

294.6718	1.013e0

294.7036	2.025e0

294.7592	3.038e0

294.7966	2.025e0

294.8407	1.013e0

294.8817	1.013e0

294.9116	2.025e0

294.9859	2.025e0

295.0128	1.013e0

295.0848	1.965e0

295.1097	2.938e0

295.1640	1.540e1

295.2504	1.753e0

295.4474	2.025e0

295.5478	1.013e0

295.5815	2.025e0

295.6389	1.013e0

295.6685	2.025e0

295.6984	1.013e0

295.7531	4.051e0

295.8589	2.025e0

295.9283	1.013e0

295.9885	7.089e0

296.0433	3.038e0

296.0828	1.965e0

296.1083	1.906e0

296.2793	1.100e0

296.3712	1.013e0

296.5311	2.025e0

296.6059	3.038e0

296.7137	1.013e0

296.7838	3.038e0

296.9800	3.038e0

297.0451	2.025e0

297.1092	1.863e0

297.2285	2.634e0

297.3033	3.385e0

297.3685	1.013e0

297.3962	1.013e0

297.4558	1.013e0

297.4910	3.038e0

297.5335	2.025e0

297.6355	2.025e0

297.6728	3.038e0

297.7476	3.038e0

297.8274	1.013e0

297.8766	1.013e0

297.9323	1.013e0

297.9666	2.025e0

298.0174	4.051e0

298.1607	9.611e0

298.1981	7.146e0

298.2361	2.460e0

298.2784	1.702e0

298.3056	2.025e0

298.3511	4.848e0

298.3948	2.346e0

298.4484	2.025e0

298.4791	1.013e0

298.5160	1.013e0

298.5836	4.051e0

298.6607	2.025e0

298.7360	5.063e0

298.8101	1.013e0

298.8574	2.025e0

298.9095	1.013e0

298.9414	1.013e0

298.9866	2.025e0

299.0621	2.025e0

299.1051	2.876e0

299.1608	4.381e0

299.2337	3.952e0