 Elemental Composition Report

Single Mass Analysis

Tolerance = 15.0 PPM / DBE: min = -15.0, max = 100.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

904 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 19-19 H: 0-150 N: 0-10 O: 0-10 Na: 0-1 S: 0-1 56Fe: 0-1

Minimum: -15.0

Maximum: 5.0 15.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT Formula

327.1700 327.1709 -0.9 -2.8 9.5 29.7 C19 H23 N2 O3

REPORT MASSES AS +/-5mDa, referenced against

 Leucine Enkephalin @ 557.2802 (M+H, C13 isotope) and 556.2771 (M+H, C12 isotope) positive mode, 555.2645 (M-H, C13) and 554.2615 (M-H, C12) negative mode.

or Sulfadimethoxine @312.0840 (M+H, C13) and 311.0814 (M+H, C12) positive mode, 310.0684 (M-H, C13) and 309.0658 (M-H, C12) negative mode.

This software version MassLynx 4.1 is calibrated ignoring the electron in all cases.

ANALYSIS RUN USING: WATERS LCT PREMIER (ESI POSITIVE/ESI NEGATIVE)

132.3374 2.063e0

132.3755 2.025e0

132.4196 2.038e0

132.4503 2.532e-2

132.4900 5.063e-2

132.5575 2.025e0

132.5907 2.532e-2

132.6505 1.025e0

132.6891 1.013e0

132.7088 2.532e-2

132.7837 1.266e-2

132.8235 1.013e0

132.8436 1.025e0

132.8814 2.532e-2

132.9003 1.266e-2

133.0846 7.881e0

133.1135 1.231e0

133.2682 1.266e-2

133.3290 1.266e-2

133.4491 1.013e0

133.5165 2.051e0

133.5534 1.266e-2

133.6937 1.038e0

133.7685 1.013e0

133.7914 1.155e-1

133.8176 1.025e0

133.8484 2.025e0

133.9251 1.266e-2

133.9742 2.532e-2

134.0130 2.025e0

134.0961 7.226e0

134.1896 1.266e-2

134.2123 2.038e0

134.2855 1.266e-2

134.3528 1.266e-2

134.6921 1.266e-2

134.8062 1.266e-2

134.9682 1.025e0

135.2692 2.532e-2

135.4468 1.025e0

135.5212 3.051e0

135.6898 1.266e-2

135.7145 1.025e0

135.7392 1.266e-2

135.8196 1.013e0

135.8489 3.038e0

135.8753 2.532e-2

136.0353 1.025e0

136.1047 1.096e0

136.3868 1.266e-2

136.4060 1.266e-2

136.4458 3.038e0

136.4848 1.025e0

136.5423 1.025e0

136.5797 1.266e-2

136.6029 2.532e-2

136.6357 1.266e-2

136.8773 2.038e0

136.9166 2.532e-2

137.0485 2.025e0

137.2354 1.013e0

137.5345 2.025e0

137.6341 1.266e-2

137.6874 1.266e-2

137.7216 1.266e-2

137.8193 1.025e0

137.8458 1.266e-2

137.9228 2.532e-2

138.0085 1.266e-2

138.0429 1.013e0

138.1990 3.038e0

138.2241 2.532e-2

138.3316 2.532e-2

138.3708 1.013e0

138.4832 1.013e0

138.6300 1.013e0

138.6678 1.013e0

138.6909 1.025e0

138.7304 1.013e0

138.7930 1.266e-2

138.8789 1.025e0

138.9024 1.013e0

138.9308 1.266e-2

138.9595 2.051e0

139.2222 1.266e-2

139.3098 1.266e-2

139.3292 1.266e-2

139.4337 2.025e0

139.5045 1.025e0

139.7399 1.013e0

139.7903 2.532e-2

139.8435 1.266e-2

139.9313 1.266e-2

139.9442 1.266e-2

140.0288 1.266e-2

140.3098 1.038e0

140.3692 1.013e0

140.4224 1.266e-2

140.6081 2.025e0

140.6873 1.266e-2

140.7553 1.038e0

140.8068 2.025e0

140.9062 2.025e0

141.1757 1.051e0

141.2328 2.532e-2

141.2547 1.013e0

141.2895 1.013e0

141.4505 1.266e-2

141.5330 1.266e-2

141.5929 1.025e0

141.7252 3.798e-2

141.8789 2.532e-2

141.9535 1.025e0

141.9728 1.025e0

142.3339 1.013e0

142.3461 1.013e0

142.4158 1.266e-2

142.4418 1.013e0

142.7553 1.266e-2

142.7916 1.025e0

143.0256 2.532e-2

143.1781 1.266e-2

143.4132 1.266e-2

143.6523 1.266e-2

143.9069 1.266e-2

144.0578 3.112e0

144.1312 2.672e0

144.2959 1.266e-2

144.3574 2.532e-2

144.7067 2.025e0

144.7946 1.013e0

144.8358 1.266e-2

144.9609 1.266e-2

145.0849 7.466e0

145.1357 1.760e0

145.1801 1.025e0

145.2373 1.025e0

145.2955 2.025e0

145.3694 3.038e0

145.4924 1.013e0

145.5527 2.436e0

145.6075 1.013e0

145.7042 1.266e-2

145.8066 1.266e-2

145.8690 2.532e-2

145.9624 2.532e-2

146.1920 1.266e-2

146.3156 2.038e0

146.3511 4.051e0

146.4300 1.266e-2

146.5393 1.038e0

146.6166 2.532e-2

146.7832 1.266e-2

146.8584 2.038e0

146.8962 1.013e0

147.1656 3.798e-2

147.1896 2.038e0

147.2367 1.025e0

147.3654 1.038e0

147.5346 2.532e-2

147.6087 1.013e0

147.6573 1.013e0

147.6828 1.013e0

147.7560 2.025e0

147.8005 2.532e-2

147.8757 2.532e-2

147.9062 1.025e0

148.0805 1.105e-1

148.2296 2.532e-2

148.3072 1.025e0

148.3259 2.025e0

148.4557 1.266e-2

148.4790 2.532e-2

148.6763 1.013e0

148.7762 1.013e0

148.8090 1.013e0

148.8234 2.025e0

148.9260 1.266e-2

149.0478 1.242e0

149.2602 1.013e0

149.3247 1.266e-2

149.4969 1.013e0

149.5714 1.266e-2

149.6103 1.266e-2

149.6302 1.013e0

149.7048 1.266e-2

149.7247 1.025e0

150.1476 3.038e0

150.2646 2.038e0

150.3932 1.025e0

150.4439 1.266e-2

150.6644 3.798e-2

150.7288 2.532e-2

150.8609 1.013e0

151.1815 5.063e-2

151.3284 1.013e0

151.4000 2.532e-2

151.4576 1.038e0

151.6424 1.013e0

151.8582 5.063e-2

151.8842 2.038e0

151.9204 2.038e0

152.2233 3.038e0

152.2910 1.266e-2

152.3102 1.266e-2

152.4113 1.051e0

152.4480 2.025e0

152.7998 2.532e-2

152.8715 1.013e0

152.9242 1.013e0

153.3415 1.266e-2

153.4110 1.025e0

153.6053 1.266e-2

153.7680 2.025e0

153.8323 1.013e0

153.9379 1.266e-2

154.0538 2.010e0

154.2145 1.266e-2

154.2809 1.266e-2

154.3799 1.013e0

154.6328 3.798e-2

154.8922 1.013e0

155.0942 3.265e0

155.3189 1.013e0

155.4312 1.266e-2

155.4616 1.013e0

155.5231 2.532e-2

155.5609 1.013e0

155.7529 1.266e-2

155.7905 1.025e0

155.8421 1.038e0

155.8891 1.266e-2

156.1593 1.025e0

156.3043 1.266e-2

156.3885 2.025e0

156.5565 1.266e-2

156.7995 1.013e0

156.9711 3.051e0

157.1887 3.038e0

157.5191 1.025e0

157.6089 2.025e0

157.7520 1.013e0

157.8710 2.051e0

158.1663 2.025e0

158.2190 1.051e0

158.2616 1.025e0

158.2823 2.471e-1

158.3761 3.798e-2

158.5895 2.532e-2

158.6208 1.266e-2

158.6532 2.025e0

158.7282 1.013e0

158.7907 4.051e0

158.8486 1.013e0

158.8756 2.025e0

158.8993 1.266e-2

158.9427 1.266e-2

159.0013 2.051e0

159.1372 1.756e0

159.1636 2.532e-2

159.2048 2.038e0

159.2894 2.025e0

159.3931 2.532e-2

159.4994 1.013e0

159.5463 2.532e-2

159.7002 1.013e0

159.7540 1.013e0

159.7845 2.025e0

159.8750 1.266e-2

159.9191 1.013e0

159.9557 1.013e0

159.9771 3.798e-2

160.0092 2.025e0

160.0332 1.013e0

160.1219 1.656e0

160.1811 1.013e0

160.2079 1.013e0

160.2318 1.013e0

160.2466 2.025e0

160.2940 2.532e-2

160.3425 1.013e0

160.3953 1.038e0

160.4445 2.025e0

160.4876 1.266e-2

160.5344 1.013e0

160.6035 2.532e-2

160.6418 1.013e0

160.6868 5.063e0

160.7229 1.025e0

160.8424 1.025e0

160.9253 1.025e0

160.9695 2.568e-1

161.0259 1.013e0

161.0448 2.532e-2

161.1139 4.658e0

161.2593 2.532e-2

161.2891 1.013e0

161.4000 2.038e0

161.4207 1.013e0

161.4447 1.266e-2

161.4986 1.013e0

161.5921 1.025e0

161.6216 2.532e-2

161.6440 2.532e-2

161.6771 1.266e-2

161.7654 1.013e0

161.7926 4.051e0

161.8364 2.025e0

161.9196 2.025e0

162.1626 2.532e-2

162.2928 1.266e-2

162.3470 1.025e0

162.5980 1.013e0

162.6248 1.013e0

162.6927 1.266e-2

162.7232 2.025e0

162.8414 1.013e0

162.9061 1.013e0

162.9299 1.025e0

162.9649 2.051e0

163.1783 1.025e0

163.2162 2.333e0

163.2592 1.266e-2

163.2845 2.025e0

163.3370 1.266e-2

163.4392 1.266e-2

163.5278 1.025e0

163.5878 2.038e0

163.6635 1.013e0

163.6908 1.013e0

163.7142 1.025e0

163.8914 1.025e0

163.9199 1.038e0

164.0018 3.798e-2

164.2371 2.038e0

164.2743 2.038e0

164.3478 3.798e-2

164.4751 1.025e0

164.5573 1.428e0

164.7836 2.025e0

164.8115 1.025e0

164.9492 2.025e0

165.0157 1.013e0

165.1675 1.025e0

165.3115 2.038e0

165.3263 1.025e0

165.3676 1.013e0

165.3910 1.025e0

165.4677 1.025e0

165.4921 2.025e0

165.5483 3.038e0

165.7792 1.025e0

165.8015 1.266e-2

165.9385 2.532e-2

166.1033 2.324e0

166.1666 2.532e-2

166.1900 2.025e0

166.2945 1.266e-2

166.3413 2.025e0

166.3732 1.266e-2

166.4319 1.266e-2

166.5771 3.038e0

166.6099 2.051e0

166.6738 1.025e0

166.6968 2.532e-2

166.7599 2.038e0

166.7846 1.266e-2

166.8402 1.025e0

166.8638 1.266e-2

166.9647 2.532e-2

167.0048 1.013e0

167.0339 2.038e0

167.4787 1.013e0

167.5027 1.025e0

167.5515 1.013e0

167.6575 1.266e-2

167.6920 1.013e0

167.7413 1.038e0

167.8094 1.025e0

167.9180 3.051e0

168.1054 3.415e-2

168.1529 5.617e-1

168.2220 1.013e0

168.2947 2.025e0

168.3888 1.962e0

168.4368 3.038e0

168.4843 1.266e-2

168.5293 2.025e0

168.6740 1.025e0

168.7330 1.025e0

168.7705 2.025e0

168.8664 3.798e-2

168.8843 1.025e0

168.9228 1.013e0

168.9707 1.013e0

169.2220 3.798e-2

169.2577 1.266e-2

169.3502 3.038e0

169.5069 1.025e0

169.5862 1.013e0

169.6318 1.013e0

169.6673 2.532e-2

169.7593 3.038e0

169.9535 1.013e0

169.9860 2.532e-2

170.0053 1.013e0

170.2079 1.025e0

170.2520 1.025e0

170.3172 1.013e0

170.4554 3.063e0

170.4938 1.266e-2

170.5305 2.025e0

170.7013 1.038e0

170.7580 1.013e0

170.9243 1.013e0

171.0388 5.063e-2

171.2432 5.063e0

171.3625 1.266e-2

171.3901 1.266e-2

171.4537 2.532e-2

171.5085 1.266e-2

171.5887 2.038e0

171.6331 4.554e0

171.7137 1.266e-2

171.8513 2.025e0

171.8777 1.266e-2

171.9403 1.266e-2

172.0554 6.076e0

172.1963 2.532e-2

172.2924 5.063e0

172.4599 1.025e0

172.5197 1.025e0

172.5518 2.532e-2

172.6936 1.038e0

172.7536 1.266e-2

172.7745 2.532e-2

172.9205 1.025e0

172.9751 2.051e0

173.0226 1.025e0

173.1555 2.310e0

173.2914 1.266e-2

173.3226 2.532e-2

173.4697 1.025e0

173.5435 1.266e-2

173.6834 1.266e-2

173.6970 1.013e0

173.7534 2.025e0

173.7817 1.013e0

173.9985 1.266e-2

174.0429 1.038e0

174.2504 2.025e0

174.2861 2.532e-2

174.6057 1.013e0

174.6235 1.013e0

174.6650 3.038e0

174.7884 1.266e-2

174.8429 3.798e-2

174.9497 1.013e0

174.9775 1.266e-2

175.0525 1.173e0

175.2417 1.013e0

175.3260 1.013e0

175.3651 1.266e-2

175.5182 2.025e0

175.5547 1.266e-2

175.7028 1.013e0

175.7428 2.025e0

175.9102 1.266e-2

175.9333 2.532e-2

176.0542 2.838e0

176.0741 2.532e-2

176.1145 1.161e0

176.1456 5.007e0

176.2047 3.798e-2

176.3480 1.013e0

176.5397 1.025e0

176.6118 2.038e0

176.6373 2.532e-2

176.7678 1.013e0

176.7891 1.013e0

176.8471 3.038e0

176.9409 2.038e0

176.9978 2.532e-2

177.1407 1.253e0

177.1817 1.013e0

177.2084 2.532e-2

177.3300 2.025e0

177.3769 2.051e0

177.4340 1.025e0

177.4784 1.266e-2

177.5176 1.038e0

177.5408 1.025e0

177.5818 1.013e0

177.7195 1.013e0

177.8358 1.266e-2

177.8609 2.532e-2

177.9215 3.038e0

177.9573 1.013e0

178.0148 2.025e0

178.0487 1.013e0

178.0905 4.514e-1

178.2188 2.532e-2

178.2580 2.025e0

178.2848 1.025e0

178.3668 1.051e0

178.4146 3.051e0

178.5281 1.013e0

178.5555 1.038e0

178.5887 1.266e-2

178.6132 1.266e-2

178.6366 1.098e0

178.6590 3.038e0

178.6832 1.317e0

178.7411 3.038e0

178.8684 1.266e-2

178.8971 2.532e-2

178.9132 2.532e-2

179.0433 2.025e0

179.1200 1.461e1

179.3631 2.532e-2

179.4131 2.025e0

179.5837 1.025e0

179.6409 1.038e0

179.6696 1.266e-2

179.7075 5.063e-2

179.7971 1.025e0

179.9046 1.266e-2

179.9749 1.038e0

180.1744 8.285e-1

180.6106 1.025e0

180.9392 5.089e0

181.1787 2.532e-2

181.2205 5.063e-2

181.2542 1.013e0

181.4044 1.013e0

181.4918 2.532e-2

181.5849 1.051e0

181.6249 2.532e-2

181.9157 3.798e-2

181.9742 1.013e0

182.0031 2.025e0

182.1899 3.466e-1

182.2860 1.025e0

182.3437 1.025e0

182.3636 1.025e0

182.4620 2.051e0

182.5448 3.038e0

182.7531 1.013e0

182.8349 1.013e0

182.9120 1.025e0

182.9499 2.532e-2

183.0616 1.013e0

183.2235 1.266e-2

183.3416 1.013e0

183.5197 3.051e0

183.6144 1.038e0

183.6682 1.025e0

183.7271 1.266e-2

183.9071 1.266e-2

183.9324 3.798e-2

184.0444 1.013e0

184.2392 1.025e0

184.3624 1.051e0

184.4986 1.266e-2

184.5528 1.266e-2

184.6703 2.532e-2

184.7385 3.038e0

184.7917 2.025e0

184.8386 2.025e0

184.9752 1.266e-2

184.9966 2.025e0

185.1646 1.218e0

185.2935 1.266e-2

185.4258 1.025e0

185.5000 1.025e0

185.7714 1.266e-2

185.8436 1.266e-2

185.9158 1.266e-2

186.3402 2.532e-2

186.3656 1.013e0

186.4091 1.266e-2

186.4345 1.013e0

186.4600 1.025e0

186.4817 1.266e-2

186.5870 1.013e0

186.7532 3.038e0

186.7796 1.013e0

186.9140 3.798e-2

186.9540 1.266e-2

187.1976 2.025e0

187.2813 2.025e0

187.3605 1.038e0

187.4668 2.532e-2

187.6015 1.266e-2

187.6451 1.266e-2

187.6997 1.266e-2

187.7325 1.266e-2

187.7689 1.266e-2

187.8154 1.038e0

187.8599 1.013e0

187.9473 2.025e0

188.1013 2.230e-1

188.1672 1.659e0

188.2897 2.532e-2

188.3170 2.532e-2

188.3662 1.013e0

188.4354 2.025e0

188.5794 2.038e0

188.6797 1.025e0

188.7016 1.013e0

188.7563 1.013e0

188.8366 2.532e-2

188.8767 1.266e-2

188.9122 1.038e0

189.1624 1.080e0

189.2014 1.013e0

189.2344 1.266e-2

189.5222 1.025e0

189.6376 1.013e0

189.6705 1.013e0

189.7508 1.025e0

189.9774 1.038e0

190.0506 1.266e-2

190.2300 1.938e0

190.2484 3.798e-2

190.3258 1.266e-2

190.3496 1.025e0

190.5368 2.025e0

190.5953 2.532e-2

190.6373 7.595e-2

190.6740 1.013e0

190.7839 3.798e-2

190.8299 2.051e0

190.9095 5.089e0

191.0847 9.257e-1

191.1538 2.960e0

191.2972 2.123e0

191.3652 3.038e0

191.5244 1.051e0

192.0299 1.677e-1

192.6705 1.272e0

192.7475 2.016e0

192.7938 3.950e0

192.8238 6.290e0

192.8755 1.524e1

192.9172 7.230e0

192.9898 4.388e0

193.3096 2.396e0

193.4246 6.329e-2

193.5402 1.392e-1

193.7241 1.085e1

193.8735 1.051e0

193.8969 2.689e-1

193.9396 1.038e0

194.0047 4.051e0

194.0239 2.134e0

194.1158 1.899e1

194.2619 2.187e0

194.2960 3.798e-2

194.8759 3.163e0

195.0112 2.025e0

195.0315 2.025e0

195.0784 2.826e0

195.1185 1.004e2

195.2262 4.872e0

195.3062 1.038e0

195.3915 2.532e-2

195.4776 1.038e0

195.5496 2.101e0

195.7022 2.532e-2

195.8042 3.798e-2

195.8393 2.038e0

195.9474 2.532e-2

196.1213 2.171e1

196.1572 7.819e-1

196.3766 1.266e-2

196.6076 1.013e0

196.6810 2.025e0

196.7129 1.266e-2

196.8239 1.038e0

197.0504 3.038e0

197.1338 1.599e0

197.2419 1.266e-2

197.2711 4.051e0

197.3373 2.038e0

197.4028 2.025e0

197.6371 3.051e0

197.6675 1.013e0

197.7031 1.063e0

197.7345 1.266e-2

197.8230 1.025e0

197.9435 5.063e-2

197.9761 1.025e0

198.0323 2.532e-2

198.3140 1.025e0

198.3326 2.532e-2

198.3859 1.013e0

198.4975 2.025e0

198.5309 1.266e-2

198.6254 1.013e0

198.6811 1.025e0

198.8034 1.025e0

198.8275 1.013e0

198.9045 2.312e0

199.0240 7.620e0

199.0818 1.013e0

199.2377 5.257e-1

199.3787 2.025e0

199.4295 3.038e0

199.5063 1.013e0

199.5718 1.025e0

199.6445 2.025e0

199.8133 1.266e-2

199.8458 2.532e-2

199.9155 1.266e-2

200.0595 3.038e0

200.2829 1.038e0

200.3702 1.025e0

200.5243 1.013e0

200.6500 1.025e0

200.6975 2.532e-2

200.7207 1.266e-2

200.7952 1.013e0

200.8156 1.025e0

200.8976 3.038e0

200.9627 1.025e0

201.0512 2.038e0

201.1005 1.013e0

201.1608 1.580e0

201.2401 1.266e-2

201.3817 2.025e0

201.5344 1.013e0

201.6301 2.038e0

201.6587 2.532e-2

201.7199 1.051e0

201.7711 2.532e-2

201.9948 2.025e0

202.0509 1.013e0

202.0694 1.013e0

202.3153 4.051e0

202.5798 1.038e0

202.6765 1.025e0

202.7524 2.025e0

202.8756 1.266e-2

203.0316 3.038e0

203.1234 5.650e-1

203.2119 1.013e0

203.2520 1.025e0

203.4019 1.013e0

203.5345 1.266e-2

203.5837 1.013e0

203.9498 2.025e0

204.0599 4.051e0

204.1478 2.271e0

204.1702 7.564e-1

204.2590 1.266e-2

204.2891 2.025e0

204.3155 1.013e0

204.3770 1.266e-2

204.4182 1.266e-2

204.4950 1.266e-2

204.6741 3.798e-2

204.8115 2.532e-2

204.8752 2.532e-2

204.9352 1.266e-2

205.0223 1.038e0

205.2668 1.013e0

205.3044 1.025e0

205.3346 1.266e-2

205.4375 1.013e0

205.5012 1.025e0

205.6056 2.532e-2

205.6682 2.532e-2

205.7217 1.025e0

205.7507 2.025e0

205.8284 1.025e0

205.8971 4.051e0

205.9638 1.025e0

206.2013 1.038e0

206.3027 1.013e0

206.3264 1.266e-2

206.3871 1.266e-2

206.4941 1.266e-2

206.5479 1.025e0

206.6425 1.266e-2

207.1482 5.459e0

207.2854 1.025e0

207.3212 2.025e0

207.3523 2.532e-2

207.3738 1.266e-2

207.4001 1.266e-2

207.4303 1.266e-2

207.5066 2.038e0

207.5876 1.025e0

207.7115 3.038e0

207.8941 4.016e0

207.9366 1.266e-2

207.9629 1.025e0

208.2643 2.532e-2

208.3263 1.013e0

208.3848 1.025e0

208.4399 2.025e0

208.5261 1.025e0

208.5728 2.025e0

208.6550 5.063e-2

208.7335 1.013e0

208.7881 1.266e-2

208.8259 1.013e0

208.9493 3.038e0

209.1017 1.038e0

209.1262 3.753e0

209.2065 2.025e0

209.2370 1.013e0

209.5142 1.013e0

209.5522 1.266e-2

209.5797 3.798e-2

209.6693 2.025e0

209.7675 1.013e0

209.8429 3.038e0

209.9411 1.266e-2

210.2067 2.532e-2

210.2719 1.013e0

210.3147 1.013e0

210.3390 2.038e0

210.3924 3.798e-2

210.4344 1.266e-2

210.6892 3.051e0

210.7237 1.013e0

210.7520 2.025e0

211.0660 1.013e0

211.1113 2.025e0

211.3329 3.038e0

211.5298 1.266e-2

211.5648 2.025e0

211.5886 1.266e-2

211.8400 3.798e-2

211.8746 1.266e-2

212.0565 1.266e-2

212.2186 3.038e0

212.3730 1.013e0

212.4260 2.532e-2

212.5312 1.038e0

212.5841 1.038e0

212.6214 2.038e0

212.6442 1.013e0

212.7201 1.025e0

212.7534 2.051e0

212.8580 2.532e-2

212.8909 2.025e0

212.9268 2.025e0

213.0303 3.441e0

213.2021 1.266e-2

213.2261 1.013e0

213.2901 1.038e0

213.3692 1.025e0

213.4414 2.532e-2

213.4628 1.038e0

213.5061 1.013e0

213.5681 1.025e0

213.6922 1.013e0

213.7169 1.025e0

213.7739 1.266e-2

213.7967 2.025e0

213.8393 1.013e0

213.9715 4.051e0

214.0064 8.550e1

214.1600 2.597e0

214.2516 1.943e0

214.2996 2.038e0

214.3481 1.013e0

214.3682 1.025e0

214.4070 3.051e0

214.4811 1.266e-2

214.7545 1.038e0

214.8049 2.038e0

214.8313 1.266e-2

214.8904 1.013e0

215.0617 1.266e-2

215.2426 2.025e0

215.2992 1.266e-2

215.3378 1.266e-2

215.4312 1.266e-2

215.5894 2.038e0

215.6362 2.025e0

215.6694 2.025e0

215.8893 3.798e-2

215.9191 1.025e0

215.9545 1.013e0

216.0640 1.266e-2

216.0885 1.292e0

216.3310 1.025e0

216.3507 1.025e0

216.4112 1.266e-2

216.5305 2.025e0

216.5908 1.032e0

216.6172 2.025e0

216.6974 2.532e-2

216.7695 2.532e-2

217.1560 5.406e0

217.3392 2.532e-2

217.3937 2.038e0

217.4328 2.532e-2

217.5781 1.025e0

217.6206 1.013e0

217.6908 1.013e0

217.7756 2.025e0

217.8019 1.025e0

218.1967 3.798e-2

218.3010 2.532e-2

218.3546 1.013e0

218.5116 1.013e0

218.5710 1.013e0

218.6339 1.013e0

218.8577 1.025e0

218.9616 2.532e-2

219.1134 8.504e0

219.2547 1.025e0

219.6581 2.532e-2

219.7121 3.038e0

219.7787 4.051e0

219.9635 2.038e0

220.1472 1.877e1

220.2041 2.532e-2

220.2981 1.025e0

220.3462 1.266e-2

220.3886 1.266e-2

220.4440 1.025e0

220.6711 1.025e0

220.7244 3.038e0

220.7619 3.798e-2

220.8109 2.063e0

220.9972 1.025e0

221.0240 2.025e0

221.4989 1.025e0

221.8153 1.013e0

221.8663 1.013e0

221.9299 1.013e0

222.0285 1.241e1

222.1256 2.033e-3

222.2412 2.025e0

222.2902 2.532e-2

222.3283 1.025e0

222.4391 2.532e-2

222.8654 2.532e-2

222.9117 2.038e0

223.0516 2.025e0

223.1097 6.081e1

223.2603 2.025e0

223.4229 2.532e-2

223.4471 2.025e0

223.4962 1.266e-2

223.5538 1.781e0

223.6028 3.798e-2

223.6553 2.532e-2

223.6775 2.532e-2

223.8311 1.038e0

223.8937 2.063e0

223.9419 2.025e0

224.0631 2.532e-2

224.1128 1.774e1

224.2071 3.038e0

224.3810 1.025e0

224.4091 1.025e0

224.4428 2.051e0

224.5725 2.025e0

224.8651 2.532e-2

224.9405 1.266e-2

224.9705 2.192e0

225.2537 1.038e0

225.2976 2.025e0

225.3794 1.013e0

225.4191 1.063e0

225.6271 2.025e0

225.7121 2.025e0

225.7468 1.266e-2

225.7741 2.025e0

226.2251 1.038e0

226.2537 2.532e-2

226.2879 4.051e0

226.3434 3.798e-2

226.6958 1.025e0

226.8336 5.063e0

226.8798 3.038e0

227.1928 8.348e-1

227.2348 3.051e0

227.2661 5.063e0

227.3935 4.051e0

227.5105 3.038e0

227.5890 3.798e-2

227.6309 2.532e-2

227.6662 1.266e-2

227.8095 1.025e0

227.9024 1.013e0

227.9355 2.051e0

228.0128 7.089e0

228.3726 1.013e0

228.5253 2.532e-2

228.6020 3.051e0

228.6815 2.025e0

228.7583 1.013e0

228.9116 3.076e0

228.9771 2.025e0

229.0316 3.038e0

229.4557 2.025e0

229.5101 2.532e-2

229.6516 1.013e0

229.7260 5.063e-2

229.9696 2.532e-2

230.0163 2.025e0

230.2637 1.013e0

230.4976 1.013e0

230.5305 1.266e-2

230.5502 1.266e-2

230.5864 1.025e0

230.6515 1.025e0

230.6867 1.013e0

230.8252 2.025e0

231.0143 1.013e0

231.1671 1.057e0

231.2166 1.013e0

231.2875 1.025e0

231.4730 6.076e0

231.6425 2.025e0

231.7278 2.532e-2

231.8113 3.798e-2

231.9843 1.013e0

232.1298 1.702e0

232.1830 1.327e0

232.2109 1.266e-2

232.2481 1.013e0

232.4205 3.051e0

232.6487 1.013e0

232.6728 1.266e-2

232.7543 1.013e0

232.7737 1.013e0

233.0184 1.013e0

233.3381 1.013e0

233.6137 1.295e0

233.6877 2.532e-2

233.7768 2.025e0

233.8130 1.013e0

233.8821 1.025e0

233.9265 1.266e-2

233.9561 1.266e-2

233.9933 3.038e0

234.0402 1.013e0

234.3722 1.025e0

234.5391 2.038e0

234.5944 2.532e-2

234.6428 1.013e0

234.6988 3.798e-2

234.7889 1.266e-2

234.8481 1.025e0

234.8715 1.038e0

235.1010 1.328e-1

235.1459 5.586e0

235.4410 1.013e0

235.4835 2.532e-2

235.5758 2.532e-2

235.9122 2.038e0

236.2346 2.268e0

236.2556 1.025e0

236.2859 1.013e0

236.3796 6.329e-2

236.5483 6.076e0

236.5900 1.025e0

236.6128 4.172e0

236.6552 4.063e0

236.6858 6.329e-2

236.7681 4.051e0

237.1810 9.758e1

237.5336 1.025e0

237.6226 1.266e-2

237.8335 3.051e0

237.9162 1.025e0

238.1097 4.040e1

238.2319 4.051e0

238.3604 3.051e0

238.4564 1.266e-2

238.4883 3.798e-2

238.5784 3.038e0

238.9227 2.038e0

239.1146 7.329e0

239.2440 1.025e0

239.4642 2.532e-2

239.5846 1.013e0

239.6412 1.025e0

239.7409 1.013e0

239.7646 2.025e0

239.7928 2.532e-2

239.8750 1.025e0

240.2208 2.025e0

240.3701 1.038e0

240.4310 1.038e0

240.4919 2.038e0

240.5406 1.013e0

240.7150 2.532e-2

240.7756 1.038e0

240.8692 1.013e0

240.9277 3.063e0

240.9864 2.532e-2

241.2730 4.051e0

241.3307 1.025e0

241.4413 2.025e0

241.4889 1.266e-2

241.5245 2.063e0

241.7363 1.266e-2

241.7931 2.532e-2

242.1937 1.232e0

242.3827 2.038e0

242.4975 2.051e0

242.7255 1.013e0

242.7858 3.038e0

243.1996 1.818e0

243.2714 1.013e0

243.3146 1.038e0

243.3807 3.038e0

243.5987 1.013e0

243.6402 1.266e-2

243.7030 2.051e0

243.7714 1.025e0

243.8530 1.013e0

244.2182 4.051e0

244.2729 2.038e0

244.3738 1.813e0

244.4173 1.266e-2

244.4730 3.798e-2

244.6036 1.013e1

244.6311 3.038e0

244.7354 2.025e0

244.8029 1.013e0

244.8658 2.025e0

245.2985 2.532e-2

245.4281 1.025e0

245.4974 1.013e0

245.7860 1.266e-2

245.9281 1.013e0

246.0153 2.025e0

246.0579 1.025e0

246.3922 2.532e-2

246.4171 6.076e0

246.6116 1.266e-2

246.6633 1.025e0

246.7531 2.532e-2

246.8029 1.266e-2

246.8653 1.266e-2

246.9164 3.051e0

247.0482 2.038e0

247.2331 2.532e-2

247.2748 1.025e0

247.3496 2.532e-2

247.3778 2.532e-2

247.7029 2.025e0

247.8269 1.013e0

247.9687 1.013e0

248.0347 1.421e0

248.0723 3.038e0

248.2127 3.038e0

248.2406 2.025e0

248.4162 1.013e0

248.4923 1.013e0

248.5883 1.013e0

248.6237 2.038e0

248.6771 4.051e0

248.7392 3.038e0

248.8102 1.013e0

248.8682 2.038e0

249.0208 2.817e0

249.1656 3.085e0

249.3187 1.013e0

249.3918 2.025e0

249.4948 2.038e0

249.5634 2.025e0

249.7455 2.025e0

249.7931 1.013e0

249.9050 1.013e0

249.9272 2.025e0

249.9696 1.266e-2

250.0689 7.595e-2

250.1222 2.743e0

250.1614 4.765e0

250.2630 1.266e-2

250.3011 1.038e0

250.4083 3.508e-2

250.4311 1.025e0

250.4642 1.013e0

250.5612 1.013e0

250.6852 2.532e-2

250.7723 5.076e0

250.9214 2.025e0

251.0088 3.038e0

251.1358 2.135e1

251.2788 2.532e-2

251.4108 1.025e0

251.4353 8.612e-1

251.4725 2.532e-2

251.5943 2.076e0

251.6399 1.013e0

251.7324 1.266e-2

251.9267 1.307e0

252.0895 3.302e0

252.3350 1.266e-2

252.4536 2.532e-2

252.4940 1.093e0

252.5911 7.536e1

252.6458 2.025e0

252.7129 2.025e0

252.7633 2.532e-2

252.7943 1.842e0

252.8376 1.013e0

252.8680 1.013e0

252.9138 3.038e0

252.9759 4.051e0

253.0879 2.200e1

253.1370 2.032e0

253.1579 2.140e0

253.2932 3.953e0

253.3347 2.025e0

253.3837 1.815e0

253.4211 1.266e-2

253.5479 1.025e0

253.5791 1.051e0

253.6454 1.025e0

253.7896 1.266e-2

253.8230 2.025e0

253.9045 1.038e0

253.9841 1.013e0

254.0703 2.879e0

254.2852 1.266e-2

254.3394 1.266e-2

254.3737 1.013e0

254.4563 3.798e-2

254.5820 1.051e0

254.6276 1.013e0

254.7849 1.266e-2

255.0994 6.359e-1

255.2732 1.038e0

255.4002 1.266e-2

255.4504 1.266e-2

255.4849 1.025e0

255.6000 1.013e0

255.6445 3.038e0

255.6927 2.025e0

255.8191 1.025e0

255.8543 1.266e-2

255.8769 1.266e-2

256.0841 1.449e-1

256.1385 1.048e1

256.2646 2.532e-2

256.3034 3.798e-2

256.4059 5.063e-2

256.5090 1.013e0

256.5901 3.051e0

256.6328 1.013e0

256.7048 1.266e-2

256.7374 2.038e0

256.8971 1.013e0

257.1616 9.335e0

257.3321 1.013e0

257.3763 5.076e0

257.4812 2.025e0

257.5241 1.013e0

257.5828 1.266e-2

257.6365 4.181e0

257.7666 3.051e0

257.8256 1.013e0

257.8907 1.266e-2

258.0397 3.038e0

258.1345 4.643e0

258.3044 5.063e-2

258.3630 3.038e0

258.4337 3.038e0

258.5092 1.025e0

258.5864 1.025e0

258.6673 2.532e-2

258.6946 1.025e0

258.7617 2.051e0

258.8303 1.013e0

258.8687 2.025e0

258.9144 2.638e0

258.9454 1.013e0

258.9886 1.025e0

259.2285 1.266e-2

259.3214 1.013e0

259.3775 1.013e0

259.6899 1.013e0

259.7358 1.025e0

259.7756 2.025e0

259.9600 1.025e0

260.2518 4.063e0

260.3197 2.532e-2

260.3842 3.317e0

260.4056 2.025e0

260.4462 3.798e-2

260.4908 1.013e0

260.5628 1.038e0

260.6139 2.532e-2

260.8405 2.532e-2

260.8932 1.038e0

261.2786 2.025e0

261.5337 1.013e0

261.6721 2.025e0

261.9501 3.798e-2

262.1679 4.623e0

262.3184 2.038e0

262.3855 1.013e0

262.4583 1.266e-2

262.4923 2.025e0

262.5404 1.025e0

262.5783 2.038e0

262.6393 2.025e0

262.6962 1.266e-2

262.8536 3.038e0

262.9449 1.266e-2

263.1692 3.135e0

263.4976 3.038e0

263.5906 1.025e0

263.8117 1.013e0

263.8852 1.013e0

263.9468 1.013e0

263.9894 1.013e0

264.0460 1.830e0

264.1843 9.687e-2

264.3368 1.025e0

264.3817 1.266e-2

264.4794 2.025e0

264.6751 1.266e-2

264.8999 2.532e-2

265.0195 4.341e-1

265.1149 4.051e1

265.2052 1.430e1

265.2467 8.101e0

265.2950 6.076e0

265.5216 1.025e0

265.5565 2.025e0

265.5790 1.351e0

265.6148 5.089e0

265.8879 1.038e0

266.1006 1.830e0

266.1318 1.601e0

266.5125 3.798e-2

266.5900 1.013e0

266.6267 2.025e0

266.6790 2.532e-2

266.7552 1.013e0

266.8636 1.013e0

267.0063 7.456e-1

267.1365 4.857e0

267.2766 2.532e-2

267.5328 3.038e0

267.6064 1.266e-2

267.8037 2.025e0

267.8452 2.025e0

267.8754 3.038e0

267.9524 2.025e0

268.0579 1.439e0

268.2024 1.767e0

268.3058 1.013e0

268.3407 2.532e-2

268.3842 1.266e-2

268.4635 1.266e-2

268.4956 3.038e0

268.6162 1.266e-2

268.6591 1.266e-2

268.6983 1.038e0

268.7330 1.013e0

268.8418 3.038e0

268.9077 2.025e0

269.2237 2.532e-2

269.3212 1.013e0

269.3606 3.038e0

269.4171 2.532e-2

269.5194 5.063e-2

269.5695 1.013e0

269.5998 1.266e-2

269.7576 2.532e-2

269.8251 1.025e0

269.9537 1.266e-2

269.9906 2.025e0

270.1861 4.114e0

270.3058 4.051e0

270.3954 1.266e-2

270.4253 1.013e0

270.5856 2.025e0

270.7499 4.063e0

270.8095 1.013e0

270.8347 2.532e-2

270.8995 2.051e0

270.9994 3.063e0

271.0801 4.606e0

271.1876 5.763e0

271.2874 3.798e-2

271.4567 2.038e0

271.5481 2.038e0

271.6113 1.038e0

271.6949 3.798e-2

271.8837 1.013e0

271.9936 2.051e0

272.1628 1.112e0

272.2694 1.013e0

272.3051 1.025e0

272.4136 1.013e0

272.5000 1.266e-2

272.5308 1.013e0

272.6455 2.025e0

272.7324 1.038e0

273.0145 2.025e0

273.0997 3.897e1

273.1768 3.060e0

273.2473 2.532e-2

273.2794 2.038e0

273.3507 2.532e-2

273.4095 3.038e0

273.4829 2.038e0

273.5149 3.038e0

273.6013 1.153e1

273.6649 1.013e0

273.7040 1.266e-2

273.7476 2.532e-2

273.8228 2.532e-2

274.1086 6.310e0

274.2449 1.038e0

274.3515 1.013e0

274.4218 1.013e0

274.6035 3.051e0

274.6718 1.013e0

274.7108 4.924e0

274.7931 1.025e0

274.8336 2.025e0

274.9738 2.038e0

275.0464 1.013e0

275.0947 1.079e1

275.3628 1.013e0

275.4433 1.266e-2

275.4896 2.532e-2

275.5396 1.013e0

275.6674 2.025e0

275.7169 1.013e0

275.7532 1.025e0

275.9329 2.532e-2

275.9805 1.013e0

276.3825 1.266e-2

276.4219 4.051e0

276.4990 2.038e0

276.5309 3.798e-2

276.5974 1.025e0

276.7850 1.013e0

276.9219 1.013e0

276.9531 2.025e0

277.2951 3.038e0

277.3670 2.038e0

277.3951 1.266e-2

277.4346 1.013e0

277.7861 3.038e0

277.8738 2.025e0

277.9211 8.269e-1

277.9934 2.025e0

278.0479 2.025e0

278.1751 2.796e0

278.4094 1.013e0

278.4903 1.266e-2

278.7020 1.013e0

279.0865 1.316e1

279.1424 1.586e0

279.1908 8.270e0

279.3222 2.532e-2

279.4014 5.063e-2

279.5594 1.266e-2

279.5861 2.025e0

279.6693 1.266e-2

279.7104 1.013e0

279.7883 3.038e0

279.8378 2.025e0

279.9198 1.013e0

280.1093 1.047e0

280.2453 1.051e0

280.3823 1.266e-2

280.5020 1.025e0

280.5378 1.266e-2

280.6684 4.051e0

280.7711 3.029e-1

280.8700 2.025e0

280.9580 2.532e-2

281.1526 1.303e0

281.2794 5.076e0

281.4877 2.038e0

281.5353 1.013e0

281.5844 2.025e0

281.6492 1.025e0

281.7125 5.076e0

281.7827 3.051e0

281.9141 2.025e0

282.0674 2.532e-2

282.1085 1.331e0

282.1895 8.325e-1

282.2624 2.532e-2

282.4457 1.013e0

282.5166 1.266e-2

282.5753 2.532e-2

282.6288 1.266e-2

282.6547 1.266e-2

282.7272 1.013e0

282.8071 1.013e0

282.8619 1.013e0

282.9190 1.025e0

283.0309 1.266e-2

283.1108 1.013e0

283.1815 3.179e2

283.2547 2.025e0

283.4067 2.025e0

283.4767 3.038e0

283.5271 3.038e0

283.5633 2.025e0

283.6116 4.996e0

283.6477 3.798e-2

283.6941 3.063e0

283.7461 1.013e0

283.7928 3.798e-2

283.8628 3.038e0

283.9171 2.025e0

283.9942 2.038e0

284.1878 7.414e1

284.2658 2.025e0

284.2946 4.051e0

284.3553 1.013e0

284.3960 3.798e-2

284.4880 2.025e0

284.5408 4.051e0

284.6129 2.026e0

284.6696 1.013e0

284.8664 1.266e-2

284.9068 1.025e0

284.9293 1.266e-2

285.1752 5.728e0

285.2260 1.050e0

285.2647 3.038e0

285.3323 2.025e0

285.3954 2.025e0

285.4722 3.038e0

285.5450 3.038e0

285.7572 3.038e0

285.8792 3.038e0

286.0469 1.013e0

286.2142 2.390e0

286.2594 1.266e-2

286.3563 5.063e-2

286.4351 2.025e0

286.5089 2.532e-2

286.5467 1.013e0

286.6043 3.051e0

286.7037 1.025e0

286.8162 1.025e0

286.8572 2.025e0

286.9248 1.266e-2

286.9992 1.051e0

287.0455 3.487e0

287.2354 2.515e0

287.4056 1.266e-2

287.4646 1.013e0

287.5552 1.025e0

287.6348 1.013e0

287.9060 1.266e-2

287.9972 3.038e0

288.2337 1.220e1

288.2908 2.025e0

288.3648 1.051e0

288.6277 1.266e-2

288.7848 1.051e0

289.0260 1.013e0

289.3141 1.013e0

289.3812 1.013e0

289.5182 1.025e0

289.6029 1.266e-2

289.6453 1.013e0

289.7080 3.798e-2

289.9021 1.013e0

289.9544 2.532e-2

290.0987 2.025e0

290.1964 1.476e0

290.2843 1.025e0

290.3447 1.266e-2

290.4272 1.266e-2

290.5201 2.532e-2

290.6491 3.051e0

290.7353 1.013e0

290.7710 1.266e-2

290.8026 2.025e0

290.8663 2.025e0

290.9486 1.013e0

291.0199 1.013e0

291.0999 1.051e0

291.2117 2.482e0

291.3622 1.025e0

291.4723 1.025e0

291.5075 2.902e0

291.6008 1.266e-2

291.6796 1.025e0

291.7233 2.025e0

291.7879 2.193e-1

291.8150 1.025e0

291.8987 3.038e0

292.0198 1.013e0

292.3638 1.013e0

292.3995 1.266e-2

292.5221 1.013e0

292.6610 2.038e0

292.7457 1.266e-2

292.9318 2.532e-2

293.0367 2.038e0

293.1249 1.527e0

293.3391 2.532e-2

293.4196 1.266e-2

293.4495 3.038e0

293.5185 1.038e0

293.6056 2.025e0

293.6735 2.025e0

293.7410 1.013e0

293.8008 1.038e0

293.8908 2.025e0

293.9744 1.013e0

294.0378 1.013e0

294.1016 2.025e0

294.4655 1.013e0

294.5764 2.532e-2

294.6160 1.013e0

294.7375 1.025e0

294.7695 1.025e0

294.8856 3.051e0

295.0432 4.051e0

295.0856 1.038e0

295.2596 4.051e0

295.3056 1.013e0

295.3788 2.025e0

295.5034 1.013e0

295.5949 2.025e0

295.6286 1.125e0

295.6899 1.013e0

295.7136 1.013e0

295.8538 1.013e0

295.9413 1.025e0

296.0668 2.025e0

296.0999 2.532e-2

296.1674 1.762e0

296.2591 1.025e0

296.2841 2.025e0

296.3312 3.038e0

296.4417 2.025e0

296.5665 1.266e-2

296.6692 1.013e0

296.7925 1.266e-2

296.8817 2.025e0

296.9351 3.038e0

297.0875 4.051e0

297.3140 1.038e0

297.3641 1.266e-2

297.4052 1.013e0

297.4703 1.013e0

297.4996 2.025e0

297.5809 3.051e0

297.8978 1.038e0

297.9739 3.038e0

298.1121 5.670e0

298.2854 1.013e0

298.3548 2.532e-2

298.4179 1.025e0

298.6864 1.013e0

298.7222 2.025e0

298.8057 1.013e0

298.8353 1.025e0

298.8934 2.025e0

299.0760 1.025e0

299.1245 1.917e-1

299.3007 1.025e0

299.3888 1.266e-2

299.5831 2.038e0

299.6393 2.025e0

299.9228 1.013e0

299.9670 1.266e-2

300.0654 3.038e0

300.2643 1.038e0

300.3076 3.038e0

300.3494 1.266e-2

300.4536 1.025e0

300.6403 3.798e-2

300.7820 1.266e-2

300.9128 1.266e-2

301.0129 1.266e-2

301.2602 2.025e0

301.3657 2.532e-2

301.5024 1.266e-2

301.6721 1.038e0

301.7570 1.266e-2

302.1867 2.591e0

302.4293 1.038e0

302.5539 1.266e-2

302.6085 2.025e0

302.6656 1.013e0

302.7161 4.051e0

303.0082 1.266e-2

303.1882 1.349e0

303.2807 2.025e0

303.3372 3.051e0

303.3790 2.025e0

303.4630 2.025e0

303.6120 2.532e-2

303.6780 1.013e0

303.7619 1.013e0

303.9208 1.013e0

304.1581 8.506e0

304.2002 3.338e0

304.2273 2.352e0

304.4997 1.025e0

304.5495 4.051e0

304.6163 2.038e0

305.0288 2.532e-2

305.4459 2.051e0

305.5058 2.025e0

305.7253 1.266e-2

305.7572 1.266e-2

305.8595 1.013e0

305.9237 2.038e0

305.9928 1.013e0

306.0738 3.798e-2

306.1381 8.815e0

306.2925 2.025e0

306.3474 2.802e0

306.3925 2.025e0

306.6161 1.266e-2

306.6547 1.013e0

306.8400 1.013e0

306.9079 2.025e0

306.9666 1.266e-2

306.9918 2.532e-2

307.0667 4.063e0

307.1500 1.125e0

307.2596 1.013e0

307.3116 1.013e0

307.4406 1.266e-2

307.6202 4.051e0

307.6835 1.025e0

307.9655 6.076e0

308.1165 2.220e0

308.2003 1.294e0

308.2500 1.092e0

308.2997 3.171e0

308.3437 2.025e0

308.4857 1.266e-2

308.5696 1.013e0

308.6352 2.025e0

308.6957 1.013e0

308.7937 1.038e0

308.8355 1.025e0

308.8983 2.532e-2

309.1055 5.837e0

309.1382 4.361e0

309.2185 2.333e0

309.2645 2.025e0

309.3603 2.025e0

309.4160 1.013e0

309.4552 2.532e-2

309.5300 1.025e0

309.6245 1.266e-2

309.6806 1.266e-2

309.7086 1.013e0

309.7979 2.532e-2

309.8452 1.232e0

309.8869 2.025e0

310.0611 1.266e-2

310.2259 1.214e0

310.2644 2.025e0

310.2997 2.532e-2

310.4258 1.025e0

310.5845 1.038e0

310.6385 2.025e0

310.9547 2.532e-2

311.0991 3.798e-2

311.2614 2.532e-2

311.3295 3.798e-2

311.4727 2.532e-2

311.5381 1.025e0

311.7327 1.038e0

311.7754 1.266e-2

311.9214 4.051e0

311.9708 2.532e-2

312.3270 3.798e-2

312.4329 2.025e0

312.5677 2.038e0

312.8431 3.038e0

313.1535 4.893e0

313.2286 4.904e1

313.4622 1.038e0

313.5143 1.266e-2

313.5648 2.532e-2

313.5945 2.025e0

313.6311 2.025e0

313.7074 1.013e0

313.8117 2.038e0

313.8761 1.025e0

313.9042 1.013e0

314.1848 4.637e-1

314.3249 2.025e0

314.4749 1.013e0

314.6217 2.025e0

314.7802 1.266e-2

314.9733 1.013e0

315.0735 2.025e0

315.1526 6.953e-1

315.1924 1.655e0

315.2364 4.718e0

315.2748 1.013e0

315.3271 1.013e0

315.5482 1.266e-2

315.6020 3.798e-2

315.6746 2.025e0

315.8040 4.051e0

316.3412 2.025e0

316.4486 1.025e0

316.5702 1.266e-2

316.5939 1.266e-2

316.6688 1.025e0

316.7111 1.013e0

317.1035 2.025e0

317.2360 1.364e0

317.4647 5.260e0

317.5357 1.038e0

317.5688 2.025e0

317.6149 1.266e-2

317.6529 2.038e0

318.3106 1.013e0

318.4297 2.532e-2

318.5154 1.266e-2

318.5437 1.266e-2

318.6927 2.532e-2

318.7425 1.013e0

318.7771 1.266e-2

318.9824 2.025e0

319.0938 7.874e-1

319.2841 1.010e1

319.3308 1.013e0

319.7292 4.051e0

319.8737 2.532e-2

320.0298 1.013e0

320.1442 9.264e0

320.2793 2.380e-1

320.3259 2.025e0

320.4065 2.051e0

320.5391 1.266e-2

320.5886 1.025e0

320.6492 1.266e-2

320.7267 2.025e0

320.7622 1.266e-2

320.8398 2.051e0

321.0046 1.025e0

321.1951 1.802e0

321.3392 1.013e0

321.3915 2.532e-2

321.5250 1.013e0

321.9914 2.532e-2

322.0694 2.025e0

322.1417 5.315e0

322.1942 1.410e0

322.4870 1.013e0

322.5753 2.532e-2

322.6010 1.900e0

322.6729 1.013e0

322.7760 1.025e0

322.8508 1.013e0

323.0323 1.266e-2

323.0798 2.794e0

323.3239 1.025e0

323.3940 2.025e0

323.7000 1.013e0

323.7927 2.025e0

323.8379 1.013e0

323.8616 1.013e0

323.9124 1.025e0

324.0883 1.867e0

324.2058 2.361e0

324.2701 1.912e-1

324.3938 3.038e0

324.4328 5.063e-2

324.4781 1.038e0

324.5256 5.739e0

324.5772 1.003e1

324.6666 5.082e0

324.7012 2.038e0

324.7892 6.089e0

324.8561 3.063e0

324.9135 8.101e0

324.9928 4.051e0

325.0792 1.197e0

325.1595 9.297e-1

325.2022 3.502e0

325.3295 1.487e1

325.4185 1.215e1

325.4895 1.063e0

325.5238 5.063e0

325.5760 9.050e0

325.6569 9.332e0

325.7017 5.629e0

325.7412 2.038e0

325.8041 5.630e0

325.8333 7.114e0

325.8802 1.114e1

325.9243 8.436e0

326.0186 9.838e0

326.1499 1.208e0

326.1974 4.372e0

326.2806 9.439e0

326.4396 5.063e0

326.4986 7.588e0

326.5688 1.765e1

326.6266 2.564e1

326.7267 4.661e1

326.7857 2.809e1

326.8742 5.118e1

326.9466 2.197e1

326.9852 2.206e1

327.0365 2.682e1

327.1700 2.724e4

327.2547 1.190e2

327.3318 2.874e2

327.3823 1.796e2

327.4333 1.885e2

327.5032 3.376e2

327.5990 2.613e2

327.6524 7.395e1

327.7068 1.469e2

327.7580 1.226e2

327.8064 1.712e2

327.8692 1.013e2

327.9169 6.395e1

327.9649 2.332e1

328.0117 7.195e1

328.0570 1.013e2

328.1733 6.739e3

328.2786 2.014e2

328.3680 1.746e2

328.4441 2.025e2

328.4828 1.236e2

328.5833 8.521e1

328.6526 1.995e2

328.7072 5.063e1

328.7730 2.025e2

328.8467 2.432e1

328.9001 2.532e1

328.9534 2.532e1

329.0927 7.595e1

329.1752 8.880e2

329.2294 9.347e1

329.3474 7.295e1

329.3985 1.325e2

329.4694 2.332e1

329.5406 2.232e1

329.6398 5.063e1

329.7280 5.063e1

329.7631 2.432e1

329.8315 7.395e1

329.9947 2.332e1

330.0337 2.332e1

330.1846 1.651e2

330.3875 7.395e1

330.4635 4.051e0

330.5715 6.294e0

330.6183 3.858e0

330.6910 1.022e1

330.8011 7.576e0

330.8385 9.289e0

330.9154 4.629e0

330.9769 3.798e-2

331.1118 7.139e0

331.2264 2.949e0

331.2969 9.707e0

331.3473 7.089e0

331.3889 4.051e0

331.4336 1.208e0

331.4756 3.051e0

331.5318 6.608e-1

331.6463 9.960e0

331.7255 8.572e0

331.8499 4.429e0

332.1826 3.087e0

332.2181 2.083e0

332.3860 2.518e0

332.4603 2.000e0

332.4948 9.165e-1

332.5393 2.084e0

332.5916 3.984e0

332.6222 1.872e0

332.7025 3.247e0

332.8637 1.243e0

332.9347 1.392e0

333.0246 5.509e0

333.1819 7.924e1

333.3080 1.314e0

333.3712 1.313e0

333.4095 4.321e0

333.4817 5.482e0

333.5159 4.748e0

333.6717 1.191e0

334.1837 9.168e0

334.3746 2.440e0

334.7963 1.277e0

334.8797 2.151e0

334.9083 9.059e-1

335.0242 2.148e0

335.9817 2.236e0

337.7813 1.013e0

338.4751 3.565e0

338.6931 2.038e0

338.7848 1.025e0

338.9771 2.749e0

339.3209 1.794e0

339.6831 1.025e0

339.8478 1.179e0

339.8760 1.181e0

339.9174 2.278e0

339.9743 1.025e0

340.2042 4.284e2

340.3150 6.137e0

340.4640 4.905e-1

340.5227 4.555e0

340.6059 3.611e-1

340.6492 2.301e0

340.7338 1.025e0

340.7867 2.277e0

340.9293 7.849e-1

340.9874 2.025e0

341.2090 1.113e2

341.3115 3.448e0

341.5308 1.246e0

341.6754 8.881e0

341.7900 1.013e0

341.8398 6.966e-1

341.8837 2.886e0

342.0104 3.535e0

342.2875 2.336e0

342.3209 1.848e0

342.4369 4.347e0

342.5566 1.395e0

342.5894 3.320e0

342.6355 5.614e0

342.7688 1.584e0

342.8434 1.773e0

342.8788 3.268e0

343.0103 3.187e0

343.3268 1.755e0

343.3924 2.829e0

343.4444 1.861e0

343.4761 5.063e0

343.5370 9.766e0

343.6134 9.033e0

343.6582 7.516e0

343.7124 9.518e0

343.7867 1.294e1

343.8708 5.766e0

343.9135 5.730e0

343.9603 6.248e0

344.0093 3.462e0

344.0641 2.331e0

344.1968 9.721e3

344.2988 4.263e1

344.3593 7.095e1

344.4376 9.827e1

344.5234 2.005e2

344.6263 4.763e1

344.7366 1.246e2

344.8392 4.663e1

344.8922 5.063e1

344.9277 1.763e1

344.9679 3.719e1

345.0286 7.195e1

345.0928 2.232e1

345.1994 2.095e3

345.3885 4.963e1

345.5230 4.563e1

345.5815 7.495e1

345.6654 4.663e1

345.7187 5.063e1

345.7721 1.013e2

345.8338 2.532e1

345.8732 2.132e1

345.9532 2.532e1

346.0310 2.332e1

346.0763 2.432e1

346.2205 1.212e2

346.2610 4.663e1

346.3136 2.132e1

346.4095 5.063e1

346.5088 1.025e0

346.5829 1.037e1

346.6531 8.097e0

346.7766 5.966e0

346.8578 5.341e0

346.9283 4.530e-1

346.9672 1.051e0

347.0177 7.087e0

347.2086 1.006e1

347.2686 1.342e0

347.3157 4.591e0

347.3844 3.251e0

347.5759 3.299e-1

347.6238 1.034e0

347.7271 2.038e0

347.7779 5.063e-2

347.8436 7.398e0

347.8824 1.573e0

347.9565 3.038e0

348.0802 5.451e0

348.4005 2.921e0

348.8550 1.008e1

348.8895 2.051e0

348.9791 6.429e0

349.0310 6.229e-1

349.1537 1.572e3

349.2895 8.098e0

349.3317 1.130e1

349.3948 8.559e0

349.4846 6.055e0

349.5701 1.004e1

349.6637 9.124e0

349.7619 6.355e0

349.8448 8.836e0

349.8831 2.114e0

349.9742 1.972e0

350.0315 3.404e0

350.0762 1.103e0

350.1584 3.454e2

350.3544 3.469e0

350.4037 3.897e0

350.4486 3.401e0

350.4905 4.946e0

350.5547 3.549e0

350.6350 3.375e0

350.6698 4.252e0

350.7457 2.025e0

350.8147 6.851e0

350.8980 3.063e0

351.1621 3.601e1

351.3810 5.002e0

351.5571 2.937e0

351.6015 4.011e0

351.7374 1.013e0

351.7715 2.532e-2

351.8614 5.063e0

352.0661 2.792e0

352.1305 3.322e0

352.1751 1.278e0

352.4482 2.710e0

352.5168 2.025e0

352.5808 2.025e0

352.6262 2.021e0

352.6697 1.917e0

352.9106 1.038e0

353.0185 4.991e-1

353.7821 2.025e0

353.8226 2.025e0

353.8842 3.038e0

354.3339 1.217e0

354.4771 2.863e0

354.5449 1.025e0

354.6032 1.491e0

354.7389 1.013e0

354.8481 2.025e0

354.9798 2.025e0

355.4872 2.025e0

355.5998 1.890e0

355.7617 2.025e0

355.8416 1.025e0

356.1988 3.001e1

356.3552 3.639e0

356.4622 2.067e0

356.5001 3.038e0

356.6265 1.277e0

356.6635 6.205e-1

356.9467 1.266e-2

356.9779 2.025e0

357.1733 1.001e-1

357.2258 8.639e0

357.4498 1.025e0

357.4852 2.532e-2

357.7088 2.038e0

357.7890 1.038e0

357.8370 2.532e-2

357.8773 1.477e0

357.9283 1.013e0

358.1339 5.333e-2

358.2163 2.169e2

358.3899 6.027e0

358.4456 4.063e0

358.4975 2.025e0

358.5435 3.063e0

358.6540 5.276e0

358.7248 3.038e0

358.7870 1.266e-2

358.8269 1.013e0

359.0592 9.921e-1

359.2167 4.799e1

359.2815 5.130e-1

359.3696 3.038e0

359.4421 4.051e0

359.5569 1.025e0

359.7700 2.025e0

359.8589 1.013e0

360.1182 1.532e0

360.3402 3.798e-2

360.4894 1.013e0

360.5435 4.051e0

360.7179 1.013e0

360.8552 1.013e0

360.9707 1.038e0

361.0428 4.114e-1

361.3365 4.051e0

361.4292 1.266e-2

361.6845 2.025e0

361.7608 2.025e0

361.8881 1.025e0

362.1822 9.162e1

362.4075 2.025e0

362.4486 3.038e0

362.5272 2.532e-2

362.5641 2.025e0

362.6637 8.986e0

362.7584 2.532e-2

362.8054 1.013e0

362.8708 2.025e0

363.1918 7.555e0

363.2919 1.274e0

363.3845 2.051e0

363.4421 1.013e0

363.4791 1.266e-2

363.5585 1.013e0

363.6607 2.739e0

363.7834 1.013e0

363.8820 3.038e0

363.9637 1.025e0

364.0251 2.646e0

364.0748 1.607e0

364.1285 1.027e0

364.3068 1.076e0

364.4286 1.137e0

364.5645 2.024e0

364.6427 1.855e0

364.7427 1.038e0

365.0535 3.417e0

365.1305 3.002e2

365.2895 2.466e0

365.3383 4.628e-1

365.6012 1.911e0

365.6642 1.600e-1

365.7135 2.214e-1

365.8339 3.051e0

366.0064 2.841e0

366.1299 6.707e1

366.4673 5.829e-1

366.4984 2.025e0

366.5897 5.745e-1

366.6612 1.893e1

366.7314 1.729e0

366.8876 2.532e-2

366.9442 3.038e0

367.1328 3.172e1

367.3585 6.802e0

367.4543 2.313e0

367.5070 5.826e0

367.6174 2.149e0

367.6581 1.556e0

367.7035 1.557e0

367.7964 1.013e0

367.8527 1.025e0

368.1107 1.014e0

368.2051 1.724e1

368.3277 1.610e0

368.5414 2.471e0

368.5967 5.063e0

368.6668 3.409e0

368.8723 1.266e-2

369.0167 4.056e0

369.6004 5.031e0

369.6744 5.583e0

369.7719 7.296e0

369.9294 6.076e0

369.9782 9.139e0

370.0486 4.097e0

370.2130 2.965e3

370.3520 1.719e1

370.3962 1.689e1

370.4384 2.177e1

370.5043 6.814e0

370.5947 1.105e1

370.6622 7.752e0

370.7142 1.159e1

370.7778 1.384e1

370.8434 1.138e1

370.9212 9.482e0

370.9711 8.559e0

371.0015 7.170e0

371.0703 1.355e1

371.2195 9.066e2

371.3663 1.660e1

371.4524 3.314e0

371.5066 8.262e0

371.5611 8.083e0

371.6867 2.826e0

371.7582 9.114e0

371.8475 1.004e1

371.8968 1.502e0

371.9613 1.013e1

372.0894 9.044e0

372.2301 6.053e2

372.4093 4.036e0

372.5427 9.828e0

372.5870 9.943e-3

372.7026 6.022e0

372.7570 7.471e0

372.8461 3.051e0

372.8927 3.063e0

372.9897 6.029e0

373.2302 2.334e2

373.4194 5.382e0

373.4822 3.486e0

373.5451 4.031e0

373.5947 2.063e0

373.6347 3.032e0

373.6741 3.438e0

373.7672 2.758e0

373.8531 3.078e0

373.9381 7.488e-1

374.0281 7.714e0

374.2078 8.386e2

374.3807 1.831e1

374.4857 5.318e0

374.5202 5.398e0

374.5696 6.231e0

374.6420 1.311e2

374.7466 7.910e0

374.8154 2.642e0

374.8634 2.004e0

374.9213 5.042e0

374.9656 4.708e0

375.0057 4.467e0

375.0601 2.077e0

375.1435 8.882e1

375.2113 1.908e2

375.3682 8.074e0

375.4433 7.042e0

375.5336 2.863e0

375.5727 3.573e0

375.6481 2.450e1

375.7418 1.393e0

375.8259 5.246e0

375.8847 1.266e0

375.9912 4.975e0

376.0460 3.767e0

376.1414 7.610e0

376.2203 2.419e1

376.3111 3.376e0

376.4002 2.852e0

376.4548 2.153e0

376.5529 3.541e0

376.6397 1.581e1

376.7656 3.051e0

376.8234 4.779e0

376.8668 1.722e0

376.9989 3.051e0

377.0417 1.266e-2

377.1249 2.237e0

377.3356 3.355e0

377.5764 1.380e0

377.8703 1.578e0

378.0073 2.532e-2

378.0652 4.666e0

378.1313 5.352e0

378.4084 1.871e0

378.6082 1.501e0

378.7808 1.981e0

378.9142 9.785e-1

378.9588 1.266e-2

379.5052 1.013e0

379.6062 2.593e0

379.6853 2.149e0

379.7575 1.882e0

380.3626 4.161e-1

380.4087 1.013e0

380.4738 1.038e0

380.5565 7.570e-1

380.6781 1.347e0

380.7835 2.532e-2

380.9533 5.063e0

381.1130 4.644e0

381.1638 1.595e0

381.3778 2.470e0

381.4651 3.798e-2

381.5719 3.931e-1

381.6088 3.038e0

381.8026 1.013e0

381.9192 2.019e0

382.0683 3.991e0

382.4181 1.025e0

382.4762 2.025e0

382.5773 8.541e-1

382.6928 1.408e0

382.7696 2.025e0

382.9370 3.038e0

383.1069 2.669e0

383.4823 2.025e0

383.5613 7.127e0

383.7083 4.051e0

384.0714 3.320e-2

384.2295 1.553e2

384.4588 2.076e0

385.0317 2.028e0

385.1126 1.734e0

385.2304 3.711e1

385.4085 2.025e0

385.4825 1.013e0

385.7208 2.296e0

385.7683 1.038e0

385.9940 2.063e0

386.2425 1.019e2

386.5104 1.038e0

386.5610 5.063e-2

386.6152 1.819e0

386.7812 5.063e0

387.1091 1.013e0

387.1703 1.715e1

387.2413 7.249e1

387.3810 1.901e0

387.4552 1.025e0

387.5209 1.013e0

387.6725 1.422e1

387.7645 3.051e0

387.8674 1.760e0

387.9126 3.798e-2

387.9570 2.025e0

388.0227 3.051e0

388.1079 3.038e0

388.2431 7.072e1

388.4287 1.013e0

388.4748 3.038e0

388.5805 1.266e-2

388.6654 2.954e0

388.8464 2.025e0

388.9002 2.025e0

388.9523 1.013e0

389.1291 3.497e0

389.2631 2.287e1

389.5247 1.025e0

389.7010 1.025e0

389.8131 1.025e0

389.9945 5.063e0

390.2954 3.172e0

390.4644 1.013e0

390.5406 1.025e0

390.7608 2.025e0

390.8562 2.025e0

390.9688 3.263e-1

391.0825 3.038e0

391.4338 2.025e0

391.5024 3.063e0

391.6396 1.153e0

391.7535 3.038e0

391.8085 1.013e0

392.0792 1.025e0

392.1583 3.727e0

392.3707 2.790e0

392.4738 2.532e-2

392.5952 3.038e0

392.8850 1.013e0

393.0106 1.266e-2

393.4653 4.051e0

393.5024 3.038e0

393.5676 1.013e0

393.6262 5.856e0

393.7144 1.025e0

393.8386 1.266e-2

393.8742 2.025e0

394.0088 2.025e0

394.1630 2.753e0

394.6863 1.266e-2

394.7250 1.013e0

394.7881 2.051e0

394.9876 1.013e0

395.0262 1.266e-2

395.1580 5.566e1

395.2992 3.535e-1

395.3636 1.715e0

395.4038 2.532e-2

395.4819 3.038e0

395.5641 2.025e0

395.6567 3.493e1

395.7898 3.051e0

395.8332 4.063e0

395.9289 2.025e0

396.0149 4.582e0

396.1590 1.640e1

396.3453 1.997e0

396.4807 2.025e0

396.5837 1.013e0

396.6526 9.350e0

396.7538 1.013e0

396.8365 3.335e0

396.9632 2.025e0

397.0526 3.038e0

397.1504 1.483e1

397.3135 4.639e-1

397.4665 3.038e0

397.5512 2.038e0

397.5911 2.532e-2

397.6578 8.114e0

397.8069 2.025e0

397.8684 2.025e0

397.9725 2.025e0

398.2196 3.693e2

398.3704 1.540e0

398.4495 5.063e0

398.5124 4.051e0

398.5572 1.038e0

398.6582 5.089e0

398.7083 1.025e0

398.7856 2.532e-2

398.8218 4.051e0

398.8849 5.063e-2

398.9658 2.051e0

399.0299 5.849e-1

399.0785 1.266e-2

399.2028 3.647e1

399.2458 3.839e1

399.3660 2.025e0

399.4232 1.038e0

399.5302 2.038e0

399.7151 3.038e0

399.8023 3.038e0

399.8826 1.025e0

400.2473 2.030e2

400.3658 7.089e0

400.5556 1.266e-2

400.6652 3.114e0

400.7314 3.798e-2

400.7917 4.051e0

400.8672 2.025e0

400.9533 5.063e-2

401.0063 7.595e-2

401.0642 6.076e0

401.2493 4.609e1

401.3557 2.025e0

401.4128 2.025e0

401.5031 3.038e0

401.5565 1.266e-2

401.6096 3.051e0

401.7722 2.051e0

401.9185 4.051e0

401.9809 2.025e0

402.0706 3.038e0

402.1985 2.797e1

402.2356 2.495e1

402.4283 2.025e0

402.6007 1.013e0

402.6737 1.025e0

402.7238 2.532e-2

402.9189 3.645e0

403.0104 3.798e-2

403.1124 3.038e0

403.1916 4.172e0

403.2435 7.872e0

403.3644 1.025e0

403.4108 1.643e-1

403.4749 1.013e0

403.7494 1.025e0

403.8015 2.532e-2

403.8975 1.266e-2

404.0953 1.013e0

404.2199 3.294e1

404.3144 3.367e-1

404.3814 2.038e0

404.5751 1.038e0

404.6470 2.532e-2

404.8999 2.025e0

404.9740 1.013e0

405.1335 2.025e0

405.1869 3.423e1

405.4390 1.013e0

405.5133 4.051e0

405.5750 1.266e-2

405.6802 4.356e0

405.8401 1.266e-2

405.9338 2.025e0

406.0476 2.025e0

406.1847 4.877e0