 Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

83 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 11-11 H: 0-150 N: 0-10 O: 0-10

Minimum: -1.5

Maximum: 5.0 10.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

188.1183 188.1188 -0.5 -2.7 6.5 254.4 0.0 C11 H14 N3