Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 80.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

238 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 27-27 H: 0-200 N: 0-10 O: 0-10 106Pd: 0-1

Minimum: -1.5

Maximum: 5.0 10.0 80.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

432.2177 432.2175 0.2 0.5 13.5 125.4 0.0 C27 H30 N O4