

Elemental Composition Report for [M+H}+

Single Mass Analysis

Tolerance = 5.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

224 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 20-40 H: 0-80 N: 1-10 O: 1-10

Minimum: -1.5

Maximum: 5.0 5.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

404.1856 404.1862 -0.6 -1.5 13.5 77.0 0.0 C25 H26 N O4