

Elemental Composition Report for [M+H]+

Single Mass Analysis

Tolerance = 5.0 PPM / DBE: min = -1.5, max = 50.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

266 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 20-30 H: 0-100 N: 0-10 O: 0-10

Minimum: -1.5

Maximum: 5.0 5.0 50.0

Mass Calc. Mass mDa PPM DBE i-FIT Formula

384.1802 384.1811 -0.9 -2.3 10.5 7.5 C22 H26 N O5