Table 1. Crystal data and structure refinement for CB2213.

Identification code	CB2213

Formula	C21 H17 Br O2

Formula weight	381.26

Temperature	173(2) K

Diffractometer, wavelength	Agilent Xcalibur PX Ultra A, 1.54184 Å

Crystal system, space group	Triclinic, P-1

Unit cell dimensions	a = 10.4067(3) Å	a = 71.693(3)°

b = 11.6025(4) Å	b = 78.254(3)°

c = 15.2010(5) Å	g = 72.294(3)°

Volume, Z	1648.09(10) Å3, 4

Density (calculated)	1.537 Mg/m3

Absorption coefficient	3.472 mm-1

F(000)	776

Crystal colour / morphology	Colourless blocks

Crystal size	0.363 x 0.200 x 0.185 mm3

q range for data collection	4.155 to 73.773°

Index ranges	-12<=h<=12, -14<=k<=14, -18<=l<=18

Reflns collected / unique	28045 / 6543 [R(int) = 0.0342]

Reflns observed [F>4s(F)]	5477

Completeness to theta(full)	0.999 to 67.684 deg

Absorption correction	Analytical

Max. and min. transmission	0.654 and 0.471

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	6543 / 6 / 439

Goodness-of-fit on F2	1.091

Final R indices [F>4s(F)]	R1 = 0.0385, wR2 = 0.0847

R indices (all data)	R1 = 0.0498, wR2 = 0.0918

Largest diff. peak, hole	0.508, -0.561 eÅ-3

Mean and maximum shift/error	0.000 and 0.001

Table 2. Bond lengths [Å] and angles [°] for CB2213.

C(1A)-O(11A)	1.472(3)

C(1A)-C(10A)	1.508(4)

C(1A)-C(2A)	1.512(4)

C(2A)-C(3A)	1.517(4)

C(2A)-Br(2A)	1.969(3)

C(3A)-C(4A)	1.525(4)

C(4A)-C(5A)	1.515(4)

C(5A)-C(6A)	1.392(4)

C(5A)-C(10A)	1.396(4)

C(6A)-C(7A)	1.380(4)

C(7A)-C(8A)	1.382(4)

C(8A)-C(9A)	1.380(4)

C(9A)-C(10A)	1.392(4)

O(11A)-C(12A)	1.357(3)

O(12A)-C(12A)	1.208(3)

C(12A)-C(13A)	1.492(4)

C(13A)-C(14A)	1.374(4)

C(13A)-C(22A)	1.441(4)

C(14A)-C(15A)	1.400(4)

C(15A)-C(16A)	1.362(4)

C(16A)-C(17A)	1.407(4)

C(17A)-C(18A)	1.420(4)

C(17A)-C(22A)	1.429(4)

C(18A)-C(19A)	1.361(5)

C(19A)-C(20A)	1.398(5)

C(20A)-C(21A)	1.373(4)

C(21A)-C(22A)	1.413(4)

C(1B)-O(11B)	1.458(3)

C(1B)-C(2B)	1.492(4)

C(1B)-C(10B)	1.520(4)

C(2B)-C(3B)	1.501(4)

C(2B)-Br(2B)	1.970(3)

C(3B)-C(4B)	1.531(5)

C(4B)-C(5B)	1.500(5)

C(5B)-C(6B)	1.384(4)

C(5B)-C(10B)	1.403(4)

C(6B)-C(7B)	1.375(5)

C(7B)-C(8B)	1.421(5)

C(8B)-C(9B)	1.340(5)

C(9B)-C(10B)	1.384(5)

O(11B)-C(12B)	1.349(4)

O(12B)-C(12B)	1.202(4)

C(12B)-C(13B)	1.497(4)

C(13B)-C(14B)	1.373(4)

C(13B)-C(22B)	1.433(4)

C(14B)-C(15B)	1.402(4)

C(15B)-C(16B)	1.365(5)

C(16B)-C(17B)	1.404(4)

C(17B)-C(18B)	1.424(4)

C(17B)-C(22B)	1.429(4)

C(18B)-C(19B)	1.357(5)

C(19B)-C(20B)	1.406(4)

C(20B)-C(21B)	1.369(4)

C(21B)-C(22B)	1.412(4)

O(11A)-C(1A)-C(10A)	106.3(2)

O(11A)-C(1A)-C(2A)	106.8(2)

C(10A)-C(1A)-C(2A)	113.4(2)

C(1A)-C(2A)-C(3A)	112.0(3)

C(1A)-C(2A)-Br(2A)	108.19(19)

C(3A)-C(2A)-Br(2A)	110.8(2)

C(2A)-C(3A)-C(4A)	112.3(2)

C(5A)-C(4A)-C(3A)	114.3(2)

C(6A)-C(5A)-C(10A)	118.3(3)

C(6A)-C(5A)-C(4A)	119.6(3)

C(10A)-C(5A)-C(4A)	122.0(3)

C(7A)-C(6A)-C(5A)	121.9(3)

C(6A)-C(7A)-C(8A)	119.4(3)

C(9A)-C(8A)-C(7A)	119.6(3)

C(8A)-C(9A)-C(10A)	121.2(3)

C(9A)-C(10A)-C(5A)	119.5(3)

C(9A)-C(10A)-C(1A)	119.2(2)

C(5A)-C(10A)-C(1A)	121.4(3)

C(12A)-O(11A)-C(1A)	116.0(2)

O(12A)-C(12A)-O(11A)	121.6(3)

O(12A)-C(12A)-C(13A)	126.5(3)

O(11A)-C(12A)-C(13A)	111.8(2)

C(14A)-C(13A)-C(22A)	119.7(3)

C(14A)-C(13A)-C(12A)	118.7(2)

C(22A)-C(13A)-C(12A)	121.6(2)

C(13A)-C(14A)-C(15A)	122.1(3)

C(16A)-C(15A)-C(14A)	119.8(3)

C(15A)-C(16A)-C(17A)	120.6(3)

C(16A)-C(17A)-C(18A)	120.2(3)

C(16A)-C(17A)-C(22A)	120.8(3)

C(18A)-C(17A)-C(22A)	119.1(3)

C(19A)-C(18A)-C(17A)	121.1(3)

C(18A)-C(19A)-C(20A)	119.9(3)

C(21A)-C(20A)-C(19A)	120.9(3)

C(20A)-C(21A)-C(22A)	121.0(3)

C(21A)-C(22A)-C(17A)	118.0(3)

C(21A)-C(22A)-C(13A)	124.9(3)

C(17A)-C(22A)-C(13A)	117.1(2)

O(11B)-C(1B)-C(2B)	109.5(2)

O(11B)-C(1B)-C(10B)	108.9(3)

C(2B)-C(1B)-C(10B)	111.0(3)

C(1B)-C(2B)-C(3B)	110.9(3)

C(1B)-C(2B)-Br(2B)	111.0(2)

C(3B)-C(2B)-Br(2B)	110.1(2)

C(2B)-C(3B)-C(4B)	110.0(3)

C(5B)-C(4B)-C(3B)	114.9(3)

C(6B)-C(5B)-C(10B)	118.5(3)

C(6B)-C(5B)-C(4B)	119.8(3)

C(10B)-C(5B)-C(4B)	121.5(3)

C(7B)-C(6B)-C(5B)	122.0(3)

C(6B)-C(7B)-C(8B)	118.2(3)

C(9B)-C(8B)-C(7B)	119.8(3)

C(8B)-C(9B)-C(10B)	122.2(3)

C(9B)-C(10B)-C(5B)	119.1(3)

C(9B)-C(10B)-C(1B)	120.9(3)

C(5B)-C(10B)-C(1B)	120.0(3)

C(12B)-O(11B)-C(1B)	117.1(2)

O(12B)-C(12B)-O(11B)	123.6(3)

O(12B)-C(12B)-C(13B)	125.4(3)

O(11B)-C(12B)-C(13B)	111.0(3)

C(14B)-C(13B)-C(22B)	120.5(3)

C(14B)-C(13B)-C(12B)	119.1(3)

C(22B)-C(13B)-C(12B)	120.4(3)

C(13B)-C(14B)-C(15B)	120.9(3)

C(16B)-C(15B)-C(14B)	120.1(3)

C(15B)-C(16B)-C(17B)	121.2(3)

C(16B)-C(17B)-C(18B)	121.1(3)

C(16B)-C(17B)-C(22B)	119.7(3)

C(18B)-C(17B)-C(22B)	119.3(3)

C(19B)-C(18B)-C(17B)	120.7(3)

C(18B)-C(19B)-C(20B)	120.0(3)

C(21B)-C(20B)-C(19B)	121.0(3)

C(20B)-C(21B)-C(22B)	120.8(3)

C(21B)-C(22B)-C(17B)	118.1(3)

C(21B)-C(22B)-C(13B)	124.1(3)

C(17B)-C(22B)-C(13B)	117.7(3)