Table 1. Crystal data and structure refinement for CB2214.

Identification code	CB2214

Formula	C21 H17 Br O2

Formula weight	381.26

Temperature	173(2) K

Diffractometer, wavelength	Agilent Xcalibur PX Ultra A, 1.54184 Å

Crystal system, space group	Monoclinic, I2

Unit cell dimensions	a = 14.0980(3) Å	a = 90°

b = 7.50617(16) Å	b = 92.4017(17)°

c = 16.0950(3) Å	g = 90°

Volume, Z	1701.71(6) Å3, 4

Density (calculated)	1.488 Mg/m3

Absorption coefficient	3.363 mm-1

F(000)	776

Crystal colour / morphology	Colourless blocks

Crystal size	0.301 x 0.203 x 0.055 mm3

q range for data collection	4.085 to 73.745°

Index ranges	-16<=h<=17, -9<=k<=8, -19<=l<=18

Reflns collected / unique	7173 / 3205 [R(int) = 0.0224]

Reflns observed [F>4s(F)]	3071

Completeness to theta(full)	0.999 to 67.684 deg

Absorption correction	Analytical

Max. and min. transmission	0.841 and 0.516

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	3205 / 1 / 218

Goodness-of-fit on F2	1.070

Final R indices [F>4s(F)]	R1 = 0.0342, wR2 = 0.0715

R indices (all data)	R1 = 0.0376, wR2 = 0.0748

Absolute structure parameter	-0.032(11)

Largest diff. peak, hole	0.672, -0.812 eÅ-3

Mean and maximum shift/error	0.000 and 0.001

Table 2. Bond lengths [Å] and angles [°] for CB2214.

C(1)-O(11)	1.463(5)

C(1)-C(10)	1.501(6)

C(1)-C(2)	1.506(7)

C(2)-C(3)	1.496(8)

C(2)-Br(2)	1.973(4)

C(3)-C(4)	1.510(8)

C(4)-C(5)	1.499(8)

C(5)-C(10)	1.392(6)

C(5)-C(6)	1.395(8)

C(6)-C(7)	1.385(14)

C(7)-C(8)	1.361(14)

C(8)-C(9)	1.384(10)

C(9)-C(10)	1.391(7)

O(11)-C(12)	1.342(5)

C(12)-O(12)	1.186(5)

C(12)-C(13)	1.495(5)

C(13)-C(14)	1.365(7)

C(13)-C(22)	1.430(7)

C(14)-C(15)	1.407(7)

C(15)-C(16)	1.360(7)

C(16)-C(17)	1.406(7)

C(17)-C(18)	1.409(7)

C(17)-C(22)	1.428(6)

C(18)-C(19)	1.349(9)

C(19)-C(20)	1.415(7)

C(20)-C(21)	1.368(7)

C(21)-C(22)	1.420(7)

O(11)-C(1)-C(10)	108.0(3)

O(11)-C(1)-C(2)	104.9(4)

C(10)-C(1)-C(2)	112.9(4)

C(3)-C(2)-C(1)	112.5(4)

C(3)-C(2)-Br(2)	109.8(4)

C(1)-C(2)-Br(2)	107.3(3)

C(2)-C(3)-C(4)	112.3(4)

C(5)-C(4)-C(3)	114.4(5)

C(10)-C(5)-C(6)	118.3(6)

C(10)-C(5)-C(4)	122.5(5)

C(6)-C(5)-C(4)	119.1(6)

C(7)-C(6)-C(5)	120.9(7)

C(8)-C(7)-C(6)	120.1(6)

C(7)-C(8)-C(9)	120.3(7)

C(8)-C(9)-C(10)	120.1(7)

C(9)-C(10)-C(5)	120.2(5)

C(9)-C(10)-C(1)	118.8(5)

C(5)-C(10)-C(1)	121.0(4)

C(12)-O(11)-C(1)	118.8(3)

O(12)-C(12)-O(11)	123.1(4)

O(12)-C(12)-C(13)	126.8(4)

O(11)-C(12)-C(13)	110.0(3)

C(14)-C(13)-C(22)	120.6(4)

C(14)-C(13)-C(12)	118.7(5)

C(22)-C(13)-C(12)	120.7(4)

C(13)-C(14)-C(15)	121.1(5)

C(16)-C(15)-C(14)	119.7(5)

C(15)-C(16)-C(17)	121.5(4)

C(16)-C(17)-C(18)	121.1(4)

C(16)-C(17)-C(22)	119.5(4)

C(18)-C(17)-C(22)	119.5(5)

C(19)-C(18)-C(17)	120.9(5)

C(18)-C(19)-C(20)	120.4(6)

C(21)-C(20)-C(19)	120.6(6)

C(20)-C(21)-C(22)	120.3(5)

C(21)-C(22)-C(17)	118.3(4)

C(21)-C(22)-C(13)	123.9(4)

C(17)-C(22)-C(13)	117.7(4)