Table 1. Crystal data and structure refinement for CB2204.

Identification code	CB2204

Formula	C48 H56 N6 O4, 2(C7 H4 N O3 S), 2(C H4 O)

Formula weight	1209.41

Temperature	173(2) K

Diffractometer, wavelength	Agilent Xcalibur PX Ultra A, 1.54184 Å

Crystal system, space group	Monoclinic, P21

Unit cell dimensions	a = 10.8225(8) Å	a = 90°

b = 28.4373(16) Å	b = 110.772(7)°

c = 10.9044(6) Å	g = 90°

Volume, Z	3137.8(4) Å3, 2

Density (calculated)	1.280 Mg/m3

Absorption coefficient	1.324 mm-1

F(000)	1280

Crystal colour / morphology	Colourless needles

Crystal size	0.375 x 0.092 x 0.040 mm3

q range for data collection	4.336 to 74.049°

Index ranges	-13<=h<=9, -34<=k<=33, -13<=l<=10

Reflns collected / unique	18643 / 11971 [R(int) = 0.0816]

Reflns observed [F>4s(F)]	7940

Absorption correction	Analytical

Max. and min. transmission	0.955 and 0.770

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	11971 / 3 / 751

Goodness-of-fit on F2	0.995

Final R indices [F>4s(F)]	R1 = 0.0692, wR2 = 0.1578

R indices (all data)	R1 = 0.1005, wR2 = 0.1890

Absolute structure parameter	-0.03(3)

Largest diff. peak, hole	0.328, -0.336 eÅ-3

Mean and maximum shift/error	0.000 and 0.003

Table 2. Bond lengths [Å] and angles [°] for CB2204.

N(1)-C(10)	1.307(9)

N(1)-N(2)	1.396(8)

N(2)-C(3)	1.306(9)

C(3)-O(11)	1.345(8)

C(3)-C(4)	1.451(9)

C(4)-C(9)	1.379(9)

C(4)-C(5)	1.417(10)

C(5)-C(6)	1.361(11)

C(6)-C(7)	1.408(11)

C(7)-C(8)	1.378(11)

C(8)-C(9)	1.413(10)

C(9)-C(10)	1.430(9)

C(10)-O(35)	1.360(8)

O(11)-C(12)	1.447(8)

C(12)-C(13)	1.519(10)

C(12)-C(25)	1.537(9)

C(13)-C(14)	1.372(11)

C(13)-C(22)	1.436(10)

C(14)-C(15)	1.411(11)

C(15)-N(16)	1.330(10)

N(16)-C(17)	1.345(10)

C(17)-C(22)	1.430(10)

C(17)-C(18)	1.440(11)

C(18)-C(19)	1.335(12)

C(19)-C(20)	1.418(12)

C(20)-O(23)	1.367(11)

C(20)-C(21)	1.402(11)

C(21)-C(22)	1.399(11)

O(23)-C(24)	1.419(12)

C(25)-N(26)	1.509(9)

C(25)-C(30)	1.541(10)

N(26)-C(27)	1.485(10)

N(26)-C(31)	1.521(9)

C(27)-C(28)	1.540(12)

C(28)-C(29)	1.524(11)

C(29)-C(30)	1.540(10)

C(29)-C(32)	1.558(12)

C(31)-C(32)	1.521(11)

C(32)-C(33)	1.505(13)

C(33)-C(34)	1.554(13)

O(35)-C(36)	1.450(8)

C(36)-C(37)	1.521(10)

C(36)-C(49)	1.540(10)

C(37)-C(38)	1.364(10)

C(37)-C(46)	1.446(10)

C(38)-C(39)	1.407(12)

C(39)-N(40)	1.314(11)

N(40)-C(41)	1.381(10)

C(41)-C(46)	1.395(11)

C(41)-C(42)	1.426(11)

C(42)-C(43)	1.353(12)

C(43)-C(44)	1.387(12)

C(44)-O(47)	1.367(9)

C(44)-C(45)	1.375(11)

C(45)-C(46)	1.416(10)

O(47)-C(48)	1.411(12)

C(49)-N(50)	1.498(9)

C(49)-C(54)	1.555(9)

N(50)-C(51)	1.496(9)

N(50)-C(55)	1.511(9)

C(51)-C(52)	1.549(11)

C(52)-C(53)	1.533(11)

C(53)-C(56)	1.530(12)

C(53)-C(54)	1.532(11)

C(55)-C(56)	1.531(10)

C(56)-C(57)	1.569(11)

C(57)-C(58)	1.515(13)

S(60)-O(69)	1.433(6)

S(60)-O(70)	1.445(6)

S(60)-N(61)	1.613(7)

S(60)-C(68)	1.763(8)

N(61)-C(62)	1.336(10)

C(62)-O(62)	1.251(9)

C(62)-C(63)	1.488(10)

C(63)-C(64)	1.355(12)

C(63)-C(68)	1.393(11)

C(64)-C(65)	1.383(14)

C(65)-C(66)	1.381(15)

C(66)-C(67)	1.368(14)

C(67)-C(68)	1.371(11)

S(80)-O(89)	1.422(7)

S(80)-O(90)	1.437(7)

S(80)-N(81)	1.612(5)

S(80)-C(88)	1.741(8)

N(81)-C(82)	1.324(10)

C(82)-O(82)	1.272(9)

C(82)-C(83)	1.479(10)

C(83)-C(84)	1.374(11)

C(83)-C(88)	1.385(10)

C(84)-C(85)	1.395(13)

C(85)-C(86)	1.394(14)

C(86)-C(87)	1.359(12)

C(87)-C(88)	1.407(10)

C(10)-N(1)-N(2)	119.0(6)

C(3)-N(2)-N(1)	118.9(6)

N(2)-C(3)-O(11)	120.8(6)

N(2)-C(3)-C(4)	124.5(6)

O(11)-C(3)-C(4)	114.6(6)

C(9)-C(4)-C(5)	120.6(6)

C(9)-C(4)-C(3)	116.0(6)

C(5)-C(4)-C(3)	123.3(6)

C(6)-C(5)-C(4)	118.4(7)

C(5)-C(6)-C(7)	121.5(8)

C(8)-C(7)-C(6)	120.3(8)

C(7)-C(8)-C(9)	118.8(7)

C(4)-C(9)-C(8)	120.3(7)

C(4)-C(9)-C(10)	116.8(6)

C(8)-C(9)-C(10)	122.9(6)

N(1)-C(10)-O(35)	119.9(6)

N(1)-C(10)-C(9)	124.8(6)

O(35)-C(10)-C(9)	115.3(6)

C(3)-O(11)-C(12)	116.8(5)

O(11)-C(12)-C(13)	111.0(6)

O(11)-C(12)-C(25)	107.3(5)

C(13)-C(12)-C(25)	109.5(5)

C(14)-C(13)-C(22)	117.9(7)

C(14)-C(13)-C(12)	120.7(6)

C(22)-C(13)-C(12)	121.3(7)

C(13)-C(14)-C(15)	120.6(7)

N(16)-C(15)-C(14)	123.3(8)

C(15)-N(16)-C(17)	117.1(7)

N(16)-C(17)-C(22)	124.6(7)

N(16)-C(17)-C(18)	117.3(7)

C(22)-C(17)-C(18)	118.1(8)

C(19)-C(18)-C(17)	121.0(8)

C(18)-C(19)-C(20)	121.0(7)

O(23)-C(20)-C(21)	124.2(8)

O(23)-C(20)-C(19)	115.5(7)

C(21)-C(20)-C(19)	120.4(8)

C(22)-C(21)-C(20)	119.2(7)

C(21)-C(22)-C(17)	120.3(6)

C(21)-C(22)-C(13)	123.2(7)

C(17)-C(22)-C(13)	116.5(7)

C(20)-O(23)-C(24)	117.4(7)

N(26)-C(25)-C(12)	113.4(5)

N(26)-C(25)-C(30)	106.1(5)

C(12)-C(25)-C(30)	117.3(6)

C(27)-N(26)-C(25)	108.4(5)

C(27)-N(26)-C(31)	108.8(6)

C(25)-N(26)-C(31)	112.8(5)

N(26)-C(27)-C(28)	107.6(6)

C(29)-C(28)-C(27)	108.4(6)

C(28)-C(29)-C(30)	109.2(6)

C(28)-C(29)-C(32)	107.8(7)

C(30)-C(29)-C(32)	108.8(6)

C(29)-C(30)-C(25)	107.9(6)

C(32)-C(31)-N(26)	109.5(6)

C(33)-C(32)-C(31)	110.2(7)

C(33)-C(32)-C(29)	115.7(7)

C(31)-C(32)-C(29)	106.3(6)

C(32)-C(33)-C(34)	113.3(8)

C(10)-O(35)-C(36)	117.6(5)

O(35)-C(36)-C(37)	110.4(6)

O(35)-C(36)-C(49)	107.5(6)

C(37)-C(36)-C(49)	110.5(6)

C(38)-C(37)-C(46)	117.4(7)

C(38)-C(37)-C(36)	120.9(6)

C(46)-C(37)-C(36)	121.7(6)

C(37)-C(38)-C(39)	120.4(7)

N(40)-C(39)-C(38)	124.4(8)

C(39)-N(40)-C(41)	116.1(7)

N(40)-C(41)-C(46)	124.1(7)

N(40)-C(41)-C(42)	116.5(7)

C(46)-C(41)-C(42)	119.4(7)

C(43)-C(42)-C(41)	120.1(8)

C(42)-C(43)-C(44)	121.0(8)

O(47)-C(44)-C(45)	124.8(8)

O(47)-C(44)-C(43)	114.7(7)

C(45)-C(44)-C(43)	120.5(8)

C(44)-C(45)-C(46)	120.1(8)

C(41)-C(46)-C(45)	119.0(7)

C(41)-C(46)-C(37)	117.5(7)

C(45)-C(46)-C(37)	123.5(7)

C(44)-O(47)-C(48)	118.2(7)

N(50)-C(49)-C(36)	112.5(5)

N(50)-C(49)-C(54)	106.8(5)

C(36)-C(49)-C(54)	117.7(6)

C(51)-N(50)-C(49)	108.7(5)

C(51)-N(50)-C(55)	108.0(6)

C(49)-N(50)-C(55)	112.3(5)

N(50)-C(51)-C(52)	108.3(6)

C(53)-C(52)-C(51)	107.0(6)

C(56)-C(53)-C(54)	110.2(6)

C(56)-C(53)-C(52)	107.9(7)

C(54)-C(53)-C(52)	108.7(7)

C(53)-C(54)-C(49)	107.6(6)

N(50)-C(55)-C(56)	109.0(6)

C(53)-C(56)-C(55)	106.8(6)

C(53)-C(56)-C(57)	115.4(7)

C(55)-C(56)-C(57)	110.1(7)

C(58)-C(57)-C(56)	111.3(8)

O(69)-S(60)-O(70)	114.6(4)

O(69)-S(60)-N(61)	111.8(4)

O(70)-S(60)-N(61)	110.1(4)

O(69)-S(60)-C(68)	111.3(4)

O(70)-S(60)-C(68)	110.2(4)

N(61)-S(60)-C(68)	97.6(4)

C(62)-N(61)-S(60)	110.1(5)

O(62)-C(62)-N(61)	122.4(7)

O(62)-C(62)-C(63)	121.7(7)

N(61)-C(62)-C(63)	115.8(7)

C(64)-C(63)-C(68)	120.6(8)

C(64)-C(63)-C(62)	129.8(8)

C(68)-C(63)-C(62)	109.6(7)

C(63)-C(64)-C(65)	117.6(9)

C(66)-C(65)-C(64)	122.2(10)

C(67)-C(66)-C(65)	119.8(10)

C(66)-C(67)-C(68)	118.3(9)

C(67)-C(68)-C(63)	121.4(8)

C(67)-C(68)-S(60)	131.7(7)

C(63)-C(68)-S(60)	106.9(6)

O(89)-S(80)-O(90)	115.8(4)

O(89)-S(80)-N(81)	111.2(4)

O(90)-S(80)-N(81)	109.5(4)

O(89)-S(80)-C(88)	110.4(4)

O(90)-S(80)-C(88)	111.1(4)

N(81)-S(80)-C(88)	97.4(3)

C(82)-N(81)-S(80)	110.0(5)

O(82)-C(82)-N(81)	123.0(7)

O(82)-C(82)-C(83)	121.0(7)

N(81)-C(82)-C(83)	115.9(6)

C(84)-C(83)-C(88)	120.6(7)

C(84)-C(83)-C(82)	130.0(7)

C(88)-C(83)-C(82)	109.4(6)

C(83)-C(84)-C(85)	118.9(8)

C(86)-C(85)-C(84)	119.9(9)

C(87)-C(86)-C(85)	121.8(8)

C(86)-C(87)-C(88)	117.9(8)

C(83)-C(88)-C(87)	120.8(7)

C(83)-C(88)-S(80)	107.3(5)

C(87)-C(88)-S(80)	131.8(6)