

Elemental Composition Report for [M+ACN+Na]+

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

167 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 1-13 H: 0-100 N: 0-1 O: 0-10 Na: 0-1 S: 1-2

Minimum: -1.5

Maximum: 5.0 10.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

292.0622 292.0619 0.3 1.0 5.5 103.4 0.0 C12 H15 N O4 Na S