Table 1. Crystal data and structure refinement for JAB2207.

Identification code	JAB2207

Formula	C18 H20 O4 S

Formula weight	332.40

Temperature	173(2) K

Diffractometer, wavelength	Agilent Xcalibur PX Ultra A, 1.54184 Å

Crystal system, space group	Monoclinic, P21/c

Unit cell dimensions	a = 7.0019(2) Å	a = 90°

b = 11.1321(3) Å	b = 95.061(3)°

c = 20.8963(6) Å	g = 90°

Volume, Z	1622.43(8) Å3, 4

Density (calculated)	1.361 Mg/m3

Absorption coefficient	1.927 mm-1

F(000)	704

Crystal colour / morphology	Colourless tablets

Crystal size	0.229 x 0.154 x 0.064 mm3

q range for data collection	4.248 to 73.680°

Index ranges	-8<=h<=8, -8<=k<=13, -14<=l<=25

Reflns collected / unique	5390 / 3130 [R(int) = 0.0358]

Reflns observed [F>4s(F)]	2360

Absorption correction	Analytical

Max. and min. transmission	0.885 and 0.707

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	3130 / 1 / 216

Goodness-of-fit on F2	1.058

Final R indices [F>4s(F)]	R1 = 0.0423, wR2 = 0.0998

R indices (all data)	R1 = 0.0631, wR2 = 0.1181

Largest diff. peak, hole	0.268, -0.324 eÅ-3

Mean and maximum shift/error	0.000 and 0.001

Table 2. Bond lengths [Å] and angles [°] for JAB2207.

C(1)-C(7)	1.525(3)

C(1)-C(15)	1.532(3)

C(1)-C(4)	1.574(3)

C(1)-C(2)	1.582(3)

C(2)-S(3)	1.777(2)

S(3)-O(6)	1.4332(18)

S(3)-O(5)	1.4353(19)

S(3)-C(4)	1.777(2)

C(7)-C(8)	1.389(3)

C(7)-C(12)	1.401(3)

C(8)-C(9)	1.398(3)

C(9)-C(10)	1.384(3)

C(10)-O(13)	1.377(3)

C(10)-C(11)	1.397(3)

C(11)-C(12)	1.380(3)

O(13)-C(14)	1.421(3)

C(15)-C(20)	1.386(3)

C(15)-C(16)	1.392(3)

C(16)-C(17)	1.401(3)

C(17)-C(18)	1.397(3)

C(17)-C(21)	1.500(3)

C(18)-O(22)	1.369(3)

C(18)-C(19)	1.398(3)

C(19)-C(20)	1.399(3)

C(19)-C(23)	1.505(3)

C(7)-C(1)-C(15)	110.13(17)

C(7)-C(1)-C(4)	112.72(18)

C(15)-C(1)-C(4)	113.84(17)

C(7)-C(1)-C(2)	112.85(17)

C(15)-C(1)-C(2)	111.29(17)

C(4)-C(1)-C(2)	95.36(17)

C(1)-C(2)-S(3)	89.87(14)

O(6)-S(3)-O(5)	117.71(13)

O(6)-S(3)-C(4)	111.71(12)

O(5)-S(3)-C(4)	113.62(11)

O(6)-S(3)-C(2)	112.03(12)

O(5)-S(3)-C(2)	114.45(12)

C(4)-S(3)-C(2)	82.10(10)

C(1)-C(4)-S(3)	90.16(14)

C(8)-C(7)-C(12)	117.3(2)

C(8)-C(7)-C(1)	121.7(2)

C(12)-C(7)-C(1)	120.84(19)

C(7)-C(8)-C(9)	122.0(2)

C(10)-C(9)-C(8)	119.4(2)

O(13)-C(10)-C(9)	124.7(2)

O(13)-C(10)-C(11)	115.5(2)

C(9)-C(10)-C(11)	119.8(2)

C(12)-C(11)-C(10)	119.9(2)

C(11)-C(12)-C(7)	121.7(2)

C(10)-O(13)-C(14)	117.0(2)

C(20)-C(15)-C(16)	118.50(19)

C(20)-C(15)-C(1)	119.58(19)

C(16)-C(15)-C(1)	121.92(19)

C(15)-C(16)-C(17)	121.8(2)

C(18)-C(17)-C(16)	117.9(2)

C(18)-C(17)-C(21)	121.3(2)

C(16)-C(17)-C(21)	120.7(2)

O(22)-C(18)-C(17)	122.1(2)

O(22)-C(18)-C(19)	116.2(2)

C(17)-C(18)-C(19)	121.7(2)

C(18)-C(19)-C(20)	118.1(2)

C(18)-C(19)-C(23)	119.7(2)

C(20)-C(19)-C(23)	122.1(2)

C(15)-C(20)-C(19)	121.9(2)