

Elemental Composition Report

Single Mass Analysis

Tolerance = 15.0 PPM / DBE: min = -1.5, max = 50.0

Selected filters: None

Monoisotopic Mass, Even Electron Ions

40 formula(e) evaluated with 1 results within limits (up to 50 best isotopic matches for each mass)

Elements Used:

C: 19-19 H: 0-50 O: 1-10 S: 0-3

Minimum: -1.5

Maximum: 5.0 15.0 50.0

Mass Calc. Mass mDa PPM DBE i-FIT Formula

379.1201 379.1215 -1.4 -3.7 8.5 1.3 C19 H23 O6 S