****

****

Elemental Composition Report for [M+H}+

Single Mass Analysis

Tolerance = 5.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

22 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 17-17 H: 0-100 O: 0-10 S: 0-1

Minimum: -1.5

Maximum: 5.0 5.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

319.1028 319.1009 2.4 4.8 8.5 82.5 0.0 C17 H19 O4 S