

Theoretical mass for [M+H]+: 377.1059

Elemental Composition Report for 394m/z

Single Mass Analysis

Tolerance = 5.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

96 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 1-35 H: 0-70 N: 0-1 O: 0-10 S: 1-1

Minimum: -1.5

Maximum: 5.0 5.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

394.1344 394.1324 2.0 5.1 8.5 102.6 0.0 C19 H24 N O6 S [M+NH4]+ adduct