Table 1. Crystal data and structure refinement for JAB2220.

Identification code	JAB2220

Formula	C10 H11 N3 O4 S

Formula weight	269.28

Temperature	173(2) K

Diffractometer, wavelength	Agilent Xcalibur 3 E, 0.71073 Å

Crystal system, space group	Monoclinic, Pn

Unit cell dimensions	a = 10.1622(5) Å	a = 90°

b = 7.2365(4) Å	b = 97.245(4)°

c = 16.3016(8) Å	g = 90°

Volume, Z	1189.24(10) Å3, 4

Density (calculated)	1.504 Mg/m3

Absorption coefficient	0.283 mm-1

F(000)	560

Crystal colour / morphology	Colourless tablets

Crystal size	0.472 x 0.230 x 0.116 mm3

q range for data collection	2.512 to 28.847°

Index ranges	-13<=h<=13, -9<=k<=9, -20<=l<=20

Reflns collected / unique	7406 / 7406 [R(int) = ?]

Reflns observed [F>4s(F)]	4858

Completeness to theta(full)	1.000 to 25.242 deg

Absorption correction	Analytical

Max. and min. transmission	0.977 and 0.926

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	7406 / 62 / 328

Goodness-of-fit on F2	0.984

Final R indices [F>4s(F)]	R1 = 0.1008, wR2 = 0.2323

R indices (all data)	R1 = 0.1323, wR2 = 0.2478

Absolute structure parameter	0.05(14)

Largest diff. peak, hole	3.232, -0.536 eÅ-3

Mean and maximum shift/error	0.001 and 0.007

Table 2. Bond lengths [Å] and angles [°] for JAB2220.

C(1A)-C(4A)	1.430(18)

C(1A)-C(2A)	1.475(17)

C(1A)-C(5A)	1.647(18)

C(1A)-S(13A)	1.802(13)

C(2A)-O(3A)	1.421(17)

O(3A)-C(4A)	1.506(15)

C(5A)-C(10A)	1.395(17)

C(5A)-C(6A)	1.44(2)

C(6A)-C(7A)	1.30(2)

C(7A)-C(8A)	1.35(2)

C(8A)-O(11A)	1.357(17)

C(8A)-C(9A)	1.41(2)

C(9A)-C(10A)	1.43(2)

O(11A)-C(12A)	1.51(2)

S(13A)-O(15A)	1.409(9)

S(13A)-O(14A)	1.443(9)

S(13A)-N(16A)	1.635(12)

N(16A)-N(17A)	1.348(18)

N(17A)-N(18A)	1.106(18)

C(1B)-C(4B)	1.34(2)

C(1B)-C(5B)	1.531(17)

C(1B)-C(2B)	1.561(17)

C(1B)-S(13B)	1.820(12)

C(2B)-O(3B)	1.447(18)

O(3B)-C(4B)	1.368(17)

C(5B)-C(6B)	1.34(2)

C(5B)-C(10B)	1.370(18)

C(6B)-C(7B)	1.44(2)

C(7B)-C(8B)	1.43(2)

C(8B)-C(9B)	1.34(2)

C(8B)-O(11B)	1.356(19)

C(9B)-C(10B)	1.39(2)

O(11B)-C(12B)	1.37(2)

S(13B)-O(14B)	1.414(9)

S(13B)-O(15B)	1.450(11)

S(13B)-N(16B)	1.696(12)

N(16B)-N(17B)	1.276(16)

N(17B)-N(18B)	1.188(18)

C(4A)-C(1A)-C(2A)	91.6(11)

C(4A)-C(1A)-C(5A)	115.8(10)

C(2A)-C(1A)-C(5A)	114.5(10)

C(4A)-C(1A)-S(13A)	117.3(10)

C(2A)-C(1A)-S(13A)	115.9(9)

C(5A)-C(1A)-S(13A)	102.4(9)

O(3A)-C(2A)-C(1A)	89.0(10)

C(2A)-O(3A)-C(4A)	90.7(9)

C(1A)-C(4A)-O(3A)	87.5(9)

C(10A)-C(5A)-C(6A)	116.7(11)

C(10A)-C(5A)-C(1A)	118.2(11)

C(6A)-C(5A)-C(1A)	125.1(11)

C(7A)-C(6A)-C(5A)	122.6(14)

C(6A)-C(7A)-C(8A)	121.8(15)

C(7A)-C(8A)-O(11A)	120.9(14)

C(7A)-C(8A)-C(9A)	120.5(15)

O(11A)-C(8A)-C(9A)	118.5(14)

C(8A)-C(9A)-C(10A)	118.3(14)

C(5A)-C(10A)-C(9A)	119.8(12)

C(8A)-O(11A)-C(12A)	119.5(13)

O(15A)-S(13A)-O(14A)	118.7(5)

O(15A)-S(13A)-N(16A)	111.4(6)

O(14A)-S(13A)-N(16A)	103.7(6)

O(15A)-S(13A)-C(1A)	112.8(6)

O(14A)-S(13A)-C(1A)	104.5(7)

N(16A)-S(13A)-C(1A)	104.4(6)

N(17A)-N(16A)-S(13A)	112.7(9)

N(18A)-N(17A)-N(16A)	172.8(15)

C(4B)-C(1B)-C(5B)	127.6(12)

C(4B)-C(1B)-C(2B)	81.5(10)

C(5B)-C(1B)-C(2B)	118.9(10)

C(4B)-C(1B)-S(13B)	105.4(10)

C(5B)-C(1B)-S(13B)	108.4(9)

C(2B)-C(1B)-S(13B)	112.6(9)

O(3B)-C(2B)-C(1B)	90.0(10)

C(4B)-O(3B)-C(2B)	85.1(10)

C(1B)-C(4B)-O(3B)	103.4(12)

C(6B)-C(5B)-C(10B)	121.4(13)

C(6B)-C(5B)-C(1B)	120.4(12)

C(10B)-C(5B)-C(1B)	118.2(12)

C(5B)-C(6B)-C(7B)	119.5(15)

C(8B)-C(7B)-C(6B)	117.8(14)

C(9B)-C(8B)-O(11B)	129.4(14)

C(9B)-C(8B)-C(7B)	119.8(14)

O(11B)-C(8B)-C(7B)	110.8(14)

C(8B)-C(9B)-C(10B)	121.0(14)

C(5B)-C(10B)-C(9B)	120.3(13)

C(8B)-O(11B)-C(12B)	115.4(14)

O(14B)-S(13B)-O(15B)	121.0(6)

O(14B)-S(13B)-N(16B)	103.9(6)

O(15B)-S(13B)-N(16B)	112.0(6)

O(14B)-S(13B)-C(1B)	108.7(5)

O(15B)-S(13B)-C(1B)	109.6(5)

N(16B)-S(13B)-C(1B)	99.4(6)

N(17B)-N(16B)-S(13B)	111.7(9)

N(18B)-N(17B)-N(16B)	174.7(14)