Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

411 formula(e) evaluated with 2 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 12-12 H: 0-200 N: 0-10 O: 0-10 Na: 0-1 I: 0-1

Minimum: -1.5

Maximum: 5.0 10.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

334.0308 334.0304 0.4 1.2 4.5 95.7 0.1 C12 H17 N O2 I

334.0301 0.7 2.1 13.5 97.8 2.2 C12 H5 N7 O4 Na