Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 80.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

301 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 17-17 H: 0-150 N: 0-10 O: 0-15 Na: 0-1 Cl: 2-2

Minimum: -1.5

Maximum: 5.0 10.0 80.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

374.0920 374.0926 -0.6 -1.6 6.5 131.5 0.0 C17 H22 N O4 Cl2

MECN ADDUCT ALSO PRESENT