Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 80.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

237 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 19-19 H: 0-200 N: 0-10 O: 0-10 Na: 0-1 Cl: 1-1

Minimum: -1.5

Maximum: 5.0 10.0 80.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

368.1631 368.1629 0.2 0.5 6.5 83.7 0.0 C19 H27 N O4 Cl