Elemental Composition Report

Single Mass Analysis

Tolerance = 5.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

236 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 25-25 H: 0-200 N: 0-10 O: 0-10 Na: 0-1

Minimum: -1.5

Maximum: 5.0 5.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

426.2282 426.2280 0.2 0.5 10.5 94.6 0.0 C25 H32 N O5