Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 80.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

1030 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 24-24 H: 0-200 N: 0-20 O: 0-20 Na: 0-1 S: 1-1 Cl: 1-1 63Cu: 0-1

Minimum: -1.5

Maximum: 5.0 10.0 80.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

440.1078 440.1087 -0.9 -2.0 13.5 68.8 0.0 C24 H23 N O3 S Cl