Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 80.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

474 formula(e) evaluated with 2 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 28-28 H: 0-200 N: 0-10 O: 0-10 Na: 0-1 S: 0-1

Minimum: -1.5

Maximum: 5.0 10.0 80.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

464.2272 464.2259 1.3 2.8 12.5 102.4 0.0 C28 H34 N O3 S

464.2314 -4.2 -9.0 14.5 105.8 3.4 C28 H31 N3 O2 Na