Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 80.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

369 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 28-28 H: 0-200 N: 0-10 O: 0-16 Na: 0-1 S: 1-1

Minimum: -1.5

Maximum: 5.0 10.0 80.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

462.2091 462.2103 -1.2 -2.6 13.5 57.6 0.0 C28 H32 N O3 S