Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

171 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 33-33 H: 0-100 N: 0-10 O: 0-15 Si: 1-1 S: 1-1

Minimum: -1.5

Maximum: 5.0 10.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

578.2770 578.2760 1.0 1.7 13.5 61.1 0.0 C33 H44 N O4 Si S