reference

Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 80.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

1340 formula(e) evaluated with 2 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 15-15    H: 0-200    N: 0-10    O: 0-10    Na: 0-1    S: 0-2    79Br: 0-1

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	80.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	i-FIT (Norm) 	Formula

365.9771   	365.9756       	1.5      	4.1      	16.5     	94.2       	1.1          	C15  H4  N5  O3  S2

365.9800       	-2.9     	-7.9     	9.5      	93.6       	0.4          	C15  H13  N  O3  S  79Br