Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 80.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

464 formula(e) evaluated with 2 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 17-17    H: 0-200    N: 0-10    O: 0-10    Na: 0-1    79Br: 0-1

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	80.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	i-FIT (Norm) 	Formula

360.0229   	360.0235       	-0.6     	-1.7     	10.5     	68.9       	0.7          	C17  H15  N  O3  79Br

360.0246       	-1.7     	-4.7     	19.5     	69.0       	0.7          	C17  H3  N7  O2  Na