



Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 80.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

464 formula(e) evaluated with 2 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 17-17 H: 0-200 N: 0-10 O: 0-10 Na: 0-1 79Br: 0-1

Minimum: -1.5

Maximum: 5.0 10.0 80.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

360.0229 360.0235 -0.6 -1.7 10.5 68.9 0.7 C17 H15 N O3 79Br

 360.0246 -1.7 -4.7 19.5 69.0 0.7 C17 H3 N7 O2 Na