Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 80.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

498 formula(e) evaluated with 2 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 16-16    H: 0-200    N: 0-10    O: 0-11    Na: 0-1    S: 0-1    Br: 2-2

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	80.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	i-FIT (Norm) 	Formula

473.9025   	473.9010       	1.5      	3.2      	9.5      	103.6      	1.7          	C16  H14  N  O4  S  Br2

473.9065       	-4.0     	-8.4     	11.5     	102.0      	0.2          	C16  H11  N3  O3  Na  Br2