[M-H]-

Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 80.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

469 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 19-19    H: 0-100    N: 0-10    O: 0-10    Na: 0-1    S: 1-1    Br: 1-1    56Fe: 0-1

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	80.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	i-FIT (Norm) 	Formula

452.0161   	452.0167       	-0.6     	-1.3     	10.5     	50.5       	0.0          	C19  H19  N  O5  S  Br