Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

125 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 9-9    H: 0-200    N: 0-10    O: 0-10    Na: 0-1

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	i-FIT (Norm) 	Formula

166.0866   	166.0868       	-0.2     	-1.2     	4.5      	181.3      	0.0          	C9  H12  N  O2