Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

472 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 18-18 H: 0-200 N: 0-10 O: 0-10 Na: 0-1 S: 0-1

Minimum: -1.5

Maximum: 5.0 10.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

357.1788 357.1790 -0.2 -0.6 6.5 132.7 0.0 C18 H26 N2 O4 Na

M+CH3CN+Na ADDUCT