Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM   /   DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

258 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 23-23    H: 0-150    N: 0-10    O: 0-11    Na: 0-1    F: 2-2

Minimum:   	               	         	         	-1.5

Maximum:   	               	5.0      	10.0     	100.0

Mass       	Calc. Mass     	mDa      	PPM      	DBE      	i-FIT      	i-FIT (Norm) 	Formula

435.2570   	435.2572       	-0.2     	-0.5     	8.5      	73.0       	0.0          	C23  H33  N4  O2  F2