

Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

123 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 9-9 H: 0-150 N: 0-15 O: 0-15 Na: 0-1 F: 1-1

Minimum: -1.5

Maximum: 5.0 10.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

183.0462 183.0457 0.5 2.7 5.5 157.5 0.0 C9 H8 O3 F