

Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

152 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 19-19 H: 0-100 N: 0-10 O: 0-15

Minimum: 80.00 -1.5

Maximum: 100.00 5.0 10.0 100.0

Mass RA Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

295.1327 100.00 295.1334 -0.7 -2.4 10.5 87.9 0.0 C19 H19 O3