Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

171 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 23-23 H: 0-100 N: 0-10 O: 0-15 Si: 1-1

Minimum: -1.5

Maximum: 5.0 10.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

387.2360 387.2355 0.5 1.3 7.5 119.1 0.0 C23 H35 O3 Si