Table 1. Crystal data and structure refinement for JAB1901.

Identification code	JAB1901

Formula	C10 H10 O3

Formula weight	178.18

Temperature	173(2) K

Diffractometer, wavelength	Agilent Xcalibur 3 E, 0.71073 Å

Crystal system, space group	Orthorhombic, P212121

Unit cell dimensions	a = 5.8102(4) Å	 = 90°

b = 8.9036(5) Å	 = 90°

c = 16.3032(9) Å	 = 90°

Volume, Z	843.39(9) Å3, 4

Density (calculated)	1.403 Mg/m3

Absorption coefficient	0.104 mm-1

F(000)	376

Crystal colour / morphology	Colourless blocky needles

Crystal size	0.581 x 0.285 x 0.118 mm3

 range for data collection	2.607 to 28.155°

Index ranges	-6<=h<=6, -11<=k<=7, -20<=l<=19

Reflns collected / unique	4811 / 1761 [R(int) = 0.0275]

Reflns observed [F>4(F)]	1599

Absorption correction	Analytical

Max. and min. transmission	0.989 and 0.950

Refinement method	Full-matrix least-squares on F2

Data / restraints / parameters	1761 / 1 / 123

Goodness-of-fit on F2	1.082

Final R indices [F>4(F)]	R1 = 0.0321, wR2 = 0.0682

R indices (all data)	R1 = 0.0373, wR2 = 0.0709

Absolute structure parameter	0.6(6)

Largest diff. peak, hole	0.201, -0.163 eÅ-3

Mean and maximum shift/error	0.000 and 0.000

Table 2. Bond lengths [Å] and angles [°] for JAB1901.

C(1)-C(7)	1.518(3)

C(1)-C(5)	1.525(3)

C(1)-C(4)	1.542(3)

C(1)-C(2)	1.546(3)

C(2)-O(3)	1.462(2)

O(3)-C(4)	1.460(2)

C(5)-O(5)	1.204(2)

C(5)-O(6)	1.325(2)

C(7)-C(8)	1.389(3)

C(7)-C(12)	1.396(3)

C(8)-C(9)	1.390(3)

C(9)-C(10)	1.380(3)

C(10)-C(11)	1.384(3)

C(11)-C(12)	1.388(3)

C(7)-C(1)-C(5)	108.61(15)

C(7)-C(1)-C(4)	117.68(16)

C(5)-C(1)-C(4)	115.17(16)

C(7)-C(1)-C(2)	117.55(17)

C(5)-C(1)-C(2)	111.14(15)

C(4)-C(1)-C(2)	85.24(14)

O(3)-C(2)-C(1)	90.92(14)

C(4)-O(3)-C(2)	91.39(14)

O(3)-C(4)-C(1)	91.17(15)

O(5)-C(5)-O(6)	124.23(19)

O(5)-C(5)-C(1)	122.46(18)

O(6)-C(5)-C(1)	113.31(17)

C(8)-C(7)-C(12)	119.23(17)

C(8)-C(7)-C(1)	120.26(18)

C(12)-C(7)-C(1)	120.48(17)

C(7)-C(8)-C(9)	120.32(19)

C(10)-C(9)-C(8)	120.10(19)

C(9)-C(10)-C(11)	120.12(18)

C(10)-C(11)-C(12)	120.1(2)

C(11)-C(12)-C(7)	120.16(19)