Elemental Composition Report

Single Mass Analysis

Tolerance = 10.0 PPM / DBE: min = -1.5, max = 100.0

Element prediction: Off

Number of isotope peaks used for i-FIT = 3

Monoisotopic Mass, Even Electron Ions

612 formula(e) evaluated with 1 results within limits (all results (up to 1000) for each mass)

Elements Used:

C: 16-16 H: 0-100 N: 0-10 O: 0-15 Na: 0-1 56Fe: 0-2 I: 0-3

Minimum: -1.5

Maximum: 5.0 10.0 100.0

Mass Calc. Mass mDa PPM DBE i-FIT i-FIT (Norm) Formula

253.0874 253.0865 0.9 3.6 10.5 96.7 0.0 C16 H13 O3